BEFORE THE FLORIDA PUBLIC SERVICE COMMISSION

|  |  |
| --- | --- |
| In re: Application for limited proceeding rate increase in Polk County by Orchid Springs Development Corporation. | DOCKET NO. 20180063-WSORDER NO. PSC-2018-0591-PAA-WSISSUED: December 19, 2018 |

The following Commissioners participated in the disposition of this matter:

ART GRAHAM, Chairman

JULIE I. BROWN

DONALD J. POLMANN

GARY F. CLARK

ANDREW GILES FAY

NOTICE OF PROPOSED AGENCY ACTION ORDER

APPROVING RATE INCREASE

FOR ORCHID SPRINGS DEVELOPMENT CORPORATION

AND FINAL ORDER ON

RECOVERY OF RATE CASE EXPENSE AND TEMPORARY RATES

BY THE COMMISSION:

            NOTICE is hereby given by the Florida Public Service Commission (Commission) that the actions discussed herein, *except for* (1) the reduction of rates after four years based upon the recovery of rate case expense, and (2) the granting of temporary rates in the event of protest, are preliminary in nature and will become final unless a person whose interests are substantially affected files a petition for a formal proceeding, pursuant to Rule 25-22.029, Florida Administrative Code (F.A.C.). The reduction of rates after four years and the granting of temporary rates in the event of protest are final agency actions and subject to reconsideration and appeal as described below under the heading, “NOTICE OF FURTHER PROCEEDINGS OR JUDICIAL REVIEW.”

**Case Background**

 Orchid Springs Development Corporation (Orchid Springs or Utility) is a Class C utility providing service to approximately 336 water and wastewater customers in Polk County. Effective July 7, 1998, Orchid Springs was granted Certificate Nos. 600-W and 516-S. The Utility’s rates and charges were last approved in a Staff-assisted rate case (SARC) in 2015. The Utility has filed two index and pass-through applications since its last rate case. According to Orchid Springs’ 2017 annual report, total gross revenues were $101,959 for water and $210,342 for wastewater. Total operating expenses were $104,567 for water and $238,576 for wastewater.

 On May 11, 2018, Orchid Springs filed for a limited proceeding; the Utility is seeking to include additional plant investment and recover additional operation and maintenance costs that have occurred since its last rate case. A customer meeting was held June 19, 2018, in Winter Haven, Florida. Approximately 65 customers were in attendance, including Orchid Springs’ representatives. Nine customers spoke at the meeting and several customer comments were received after the meeting. On June 27, 2018, Orchid Springs filed a document that responded to all customer concerns from the meeting.

 By this Order, we address Orchid Springs’ proposed rates. We have jurisdiction pursuant to Sections 367.081 and 367.0822, Florida Statutes (F.S.).

**Review and Decision**

**I. Limited Proceeding**

 Limited proceedings generally address specific or significant changes that would adversely affect the normal operating income of the Utility and are narrow in scope. We find that Orchid Springs’ case is sufficiently narrow in scope to qualify for a limited proceeding and that Orchid Springs has met all of the minimum filing requirements as set forth in Rule 25-30.445, Florida Administrative Code (F.A.C.).

A. Secondary Water Quality Standards

 Pursuant to Rule 25-30.445(4)(o), F.A.C., utilities are required to provide a copy of all customer complaints that it received regarding Florida Department of Environmental Protection (DEP) secondary water quality standards during the past five years as well as a copy of the Utility’s most recent secondary water quality standards test results. The Utility did not receive any customer complaints regarding DEP secondary water quality standards during the past five years. Additionally, documentation provided by Orchid Springs indicates that the Utility is currently passing secondary standards.

 We also reviewed complaints received by this Commission for the period January 1, 2013, through November 28, 2018. None of the complaints received addressed the quality of  Orchid Springs’ product.

 A customer meeting was held June 19, 2018, in Winter Haven, Florida. At the customer meeting, a total of nine customers spoke. Three of the customers expressed displeasure with the taste or smell of the water. Other concerns raised at the meeting addressed the requested rate increase. As of November 28, 2018, four customers filed written comments in this docket. All four customers expressed concern regarding the rate increase. One of the four comments additionally addressed a billing concern as well as an odor that lasted less than two hours when the Utility was working in the area.

 Orchid Springs has provided the necessary information to comply with Rule 25-30.445(4)(o), F.A.C. Based on review of the information provided by the Utility, as well as additional information gathered throughout the course of this docket, we find that no actions need to be taken with respect to secondary standards and note that the overall quality of service for the Orchid Springs’ water system was considered satisfactory in the Utility’s last rate case.[[1]](#footnote-1)

B. Rate Base

 Since its last SARC, the Utility made several capital improvements to its water and wastewater systems and requested that related costs be included in rate base as part of this proceeding. The appropriate plant additions, as well as corresponding adjustments to accumulated depreciation, depreciation expense, and taxes other than income (TOTI) are reflected below. The approved additions to plant are supported by invoices for the completed work. In addition, as a result of approved changes to operating expense, the Utility’s working capital allowance shall also be updated.

*1. Plant Additions*

 In its initial filing, Orchid Springs requested consideration of several capital additions to its water and wastewater systems. Both the water and wastewater systems are 49 years old and are in need of repairs and refurbishment. We recognized concerns regarding the age of Orchid Springs’ systems and the need for frequent repairs in the 2014 SARC. The items requested in this proceeding address equipment that either failed or was in need of replacement due to age.

 In total, the Utility is requesting an increase of $32,531 for water system additions and $16,723 for wastewater system additions. We reviewed Orchid Springs’ filing, Utility responses to data requests, and the 2014 SARC Order and find that several adjustments to the Utility’s requested capital additions are necessary. In the table below, we summarize plant additions requested by the Utility and the amount we allowed for cost recovery in this proceeding.

**Summary of Requested and Approved Plant Additions**

|  |  |  |
| --- | --- | --- |
| Project Name | Amount Requested | Amount Approved |
| Water: |  |  |
| Water Meter Replacement | $13,097 | $8,209 |
| Flow Meter Replacement | 3,926 | 3,926 |
| Fire Hydrant Replacement | 4,975 | 4,975 |
| Well Pump Replacement | 10,533 | 10,533 |
|  Total Water | $32,531 | $27,643 |
| Wastewater: |  |  |
| Lift Station Pump Repair | $4,980 | $4,980 |
| Manhole Renovation | 10,843 | 805 |
| Engineering for Collection System | 900 | 0 |
|  Total Wastewater | $16,723 | $5,785 |
| Total Water and Wastewater | $49,254 | $33,428 |

Only the lift station pump repair contains a retirement. The adjustment for the retirement is reflected in Schedule No. 1-C of this Order. Based on the plant additions described above, we make the following corresponding adjustments.

**Corresponding Adjustments**

|  |  |  |  |
| --- | --- | --- | --- |
| System | Accum. Dep. | Dep. Expense | TOTI |
| Water | ($1,458) | $1,458 | $498 |
| Wastewater | $3,620 | $115 | $37 |

 Our adjustments to accumulated depreciation are shown in Schedule No. 1-C of this Order, while adjustments for depreciation expense and TOTI are reflected in Schedule No. 3-C of this Order.

 In our review, we considered the Utility’s 2014 SARC, in which the Utility requested and was granted recovery of $69,170 for wastewater pro forma plant. Of the $69,170, approximately $10,000 was for miscellaneous repairs that occurred in the first five months of 2015. With respect to the miscellaneous repairs, Order No. PSC-15-0569-PAA-WS, specifically states:

All of the work included in this category was performed in the first five months of 2015, and included manhole repairs, parts for lift stations, stump removal and backfilling, and repairs to wastewater collection lines.

 Thus, wastewater costs that were incurred within the first five months of 2015 shall not be recovered in this proceeding. Excluding recovery of these costs prevents the potential allowance of costs already being recovered by the Utility. Disallowance of these costs is reflected in our approved amount for the Engineering for Collection System and the Manhole Renovation projects. For the remaining items, our approved amount is based on invoices provided by the Utility. We note that the summation of the actual invoice amounts for the meter replacements was less than the amount requested by the Utility.

*2. Working Capital Allowance*

 “Working capital” is the short-term, investor-supplied funds that are necessary to meet operating expenses of the Utility. Consistent with Rule 25-30.433(3), F.A.C., we used the one-eighth of the operation and maintenance (O&M) expense formula approach for calculating the working capital allowance. We made several adjustments to O&M expense which result in increases to O&M expenses of $5,235 for water and $21,262 for wastewater. These adjustments are discussed below under the heading “D. Operating Expense.” We also removed the unamortized balance of rate case expense pursuant to Section 367.081(9), F.S.[[2]](#footnote-2) Applying the formula, we approve a working capital allowance of $9,526 ($76,211/8) for water, based on the adjusted O&M expense of $76,211 ($80,059 - $3,848). We approve a working capital allowance of $23,132 ($185,059/8) for wastewater, based on the adjusted O&M expense of $185,059 ($188,501 - $3,442). These amounts represent incremental increases of $173 for water and $2,227 for wastewater.

*3. Rate Base Summary*

 Based on the foregoing, the appropriate rate base is $61,055 for water and $118,837 for wastewater. Rate base is shown on Schedule Nos. 1-A and 1-B of this Order. The related adjustments are shown on Schedule No. 1-C of this Order.

C. Rate of Return

 The capital structure used to determine the cost of capital in this docket is consistent with the capital structure used in the Utility’s last rate case. Rule 25-30.445(4)(e), F.A.C., requires that the weighted average cost of capital be calculated based on the most recent 12-month period and include all of the appropriate capital structure components. We used the equity cost rate of 9.38 percent from the Utility’s last rate case as well as the minimum 2.00 percent cost rate for customer deposits pursuant to Rule 25-30.311(4)(a), F.A.C. The Utility’s 2017 Annual Report reflects negative retained earnings of $492,629. We reviewed the conditions during the Utility’s last rate case and identified negative retained earnings in that docket. In that docket, we removed negative retained earnings from our calculations. Consistent with the Utility’s last rate case, we removed that amount for purposes of calculating the Utility’s rate of return. We anticipate that in subsequent rate cases, the appropriateness of including any negative retained earnings and netting this amount against the Utility’s other equity components will be addressed.

 The Utility’s capital structure has been reconciled with our approved rate bases. We approve a return on equity (ROE) of 9.38 percent, with a range of 8.38 percent to 10.38 percent, and an overall rate of return of 8.03 percent. The ROE and overall rate of return are shown on Schedule No. 2 of this Order.

D. Operating Expense

 Orchid Springs requested that we approve increased operating expenses related to land maintenance, purchased wastewater treatment, purchased emergency water, and salaries. The Utility also requested recovery of rate case expense. We address each of the Utility’s requests below. We include corresponding adjustments to depreciation expense and TOTI based on the plant additions approved above under the heading “B. Rate Base.” The corresponding adjustments are reflected in Schedule No. 3-C of this Order.

*1. Land Maintenance*

 In its application, Orchid Springs included a request for the recovery of $6,000 per year ($500 per month) associated with maintenance of land occupied by the Utility’s decommissioned wastewater plant. The Utility is unable to sell the land in its current condition and rehabilitation costs would exceed the land’s potential value. The Utility is required to maintain the land pursuant to a Polk County Ordinance and Land Development Code.

 The Utility provided a bid from Prince & Sons, Inc. to illustrate the reasonableness of the $6,000 being requested. The bid reflects yearly maintenance expense of $15,000 ($1,500/month x 10 months). We find that it is appropriate for the Utility to recover the costs associated with maintaining this land with its current provider, a review of the Utility’s test year ledger reveals that the Utility paid for eleven months of land maintenance in 2017 and, during the first six months of 2018, paid for five months. In addition, the Prince & Sons, Inc. bid reflected that land maintenance would occur only ten times during the year. As such, we find that the land maintenance expense should occur ten times throughout the year. Accordingly, we approve land maintenance expense of $5,000 ($500/month x 10 months), which is reflected in wastewater Account No. 763 (Repairs and Maintenance).

*2. Purchased Wastewater Treatment Service*

 The Utility purchases wastewater treatment service from the City of Winter Haven. In the Utility’s prior SARC, $117,987 was included for purchased wastewater expense during the test year. According to the Utility, the City of Winter Haven’s wastewater treatment rates are typically adjusted in October, but we did not adjust test year expenses for the 2015 known change. Purchased wastewater treatment costs for 2015 were $130,975, as reflected in the Utility’s annual report. While the Utility has filed its index and pass-through rate adjustments in 2016 and 2017, the Utility asserts the adjustment in bulk rates must be addressed here. We note that the Utility’s annual reports reflect purchased wastewater treatment expense of $142,226 in 2016 and $141,989 in 2017. As such, the Utility argued that it continues to experience a substantial shortfall on recovery of purchased wastewater treatment costs and requested additional wastewater treatment service expense of $17,976. The Utility’s calculations are shown in the table below.

**Requested Purchased Wastewater Treatment Adjustment**

|  |  |
| --- | --- |
| Approved in last rate case | $117,987  |
| Add: 2016 Pass-Through | $3,648 |
|  2017 Pass-Through | $2,378 |
|  Total | $124,013 |
| Expense (2017 Annual Report) | $141,989  |
| Utility's requested adjustment | $17,976 |

 Although we make an adjustment to purchased wastewater treatment service, we do not agree with the Utility’s calculation. We reviewed the Utility’s SARC increases as well as City of Winter Haven billing for 2017 and calculated the Utility’s 2017 purchased wastewater treatment expense as $137,778 using 2017 actual billing. As such, purchased wastewater treatment expense from the last rate case shall be increased by $13,765 as reflected in the table below.

**Approved Purchased Wastewater Treatment Adjustment**

|  |  |
| --- | --- |
| Approved in last rate case | $117,987  |
| Add: 2016 Pass-Through | $3,648 |
|  2017 Pass-Through | $2,378 |
|  Total | $124,013 |
| Expense (Actual 2017) | $137,778  |
| Approved adjustment | $13,765 |

*3. Purchased Emergency Water*

 The Utility operates a water plant with one well and has an interconnect with the City of Winter Haven to provide backup water supply as needed. The Utility initially requested recovery of purchased water cost when it became necessary to operate the interconnection during the failure of the well pump in 2017. The City of Winter Haven, the contract operator of the water and wastewater systems, was able to order a new pump and ultimately replace it. The well was out of service during August and September 2017, and approximately 1,602,506 gallons of water was purchased at a cost of $9,373.

 During the first half of 2018, the Utility was also required to purchase water from the City of Winter Haven through the emergency interconnect. On January 20, 2018, the well was taken offline to repair a damaged pressure switch. The switch was repaired and placed back in service on January 24, 2018. The Utility purchased 407,000 gallons of water, at a cost of $2,463, during this period to allow for the repair. On June 2, 2018, there was an electrical issue that required that the well be taken offline. This was repaired and the well was placed back in service on June 5, 2018. The Utility purchased 321,000 gallons of water, at a cost of $1,937, during this period to allow for the repair. As such, the Utility has requested recovery of purchased water expense of $13,773. The Utility used a 5-year amortization period, resulting in purchased water expense of $2,755 as shown in the table below.

**Requested Purchased Emergency Water Adjustment**

|  |  |
| --- | --- |
| Date | Cost |
| 08/08/17 - 09/06/17 | $9,373 |
| 01/20/18 - 01/24/18 | $2,463 |
| 06/02/18 - 06/05/18 | $1,937 |
|  Total | $13,773 |
| Amortized Expense ($13,773/5 years) | $2,755 |

 In October, the Utility altered its request to amortize purchased emergency water over five years and opted instead to request that the average expense for the years 2010 through 2018 be used in this case. The resulting average purchased water expense is $4,063. The Utility claims that using the average “provides a more accurate picture of the expected average expense in the future for rate setting.” While we see the value of using a multi-year average, the Utility did not appear to make an argument to average purchased water expense in its last rate case. If it had done so at that time, the average expense for a five-year period from 2010 through 2014, or some portion of that period, could have been discussed. Instead, we approved purchased water expense of $1,082, which reflected recorded purchased water for 2014, less a 5.8 percent excessive unaccounted for water (EUW) adjustment. Upon review, we find that the appropriate period for review in the instant docket is 2015 through 2018.

 Based on the foregoing, we find that the Utility’s emergency water purchases were each related to unique events associated with failed equipment which has since been replaced. Therefore, we do not find the emergency water purchases during 2017 and 2018 to be indicative of emergency water purchases going forward. Indeed, since the last repair was made in June 2018, the Utility has not purchased any additional emergency water. As such, emergency purchased water shall be recovered and amortized over a five-year period. Again, we approved purchased water expense of $1,082 per year in the Utility’s last rate case. Any adjustment in the instant docket would need to take into account our decisions in the prior docket. In that docket, we applied an adjustment of 5.8 percent for excessive unaccounted for water which would also need to be applied to any additional purchased emergency water approved in this docket. The Utility purchases water from the City of Winter Haven for emergency purposes only. Using the billing data provided by the Utility, we note that the purchased water associated with the 2017 outage was $10,310, not the $9,373 originally proposed by the Utility. We verified the purchased water associated with the 2018 outages and note no changes. Actual billing data reflected total purchased water of $10,536 for 2017 and $4,639 for the first six months of 2018. These amounts include the emergency purchased water discussed above. Our calculations appear in the table below.

**Approved Purchased Emergency Water Adjustment**

|  |  |  |  |
| --- | --- | --- | --- |
| Description | 2017 | 2018 (YTD) | Total |
| Actual Purchased Water  | $10,536 | $4,639 |  |
| Less: Purchased Water from Last Rate Case | (1,082) | (1,082) |  |
| Appropriate Add’l Purchased Water | $9,454 | $3,557 |  |
| Less: EUW (5.8%) | (548) | (206) |  |
| Recommended Add’l Purchased Water | $8,906 | $3,351 | $12,257 |
|  |  |  |  |
| Amortized (5 years) | $1,781 | $670 | $2,451 |

 We approve purchased emergency water expense of $12,257 which, amortized over five years, is $2,451 per year.

*4. Salaries*

 The Utility is requesting a salary of $40,000for the manager and $30,000 for the president of Orchid Springs Development Corporation. The Utility argues that while salary was addressed in its last rate case, the salary approved by this Commission is insufficient to compensate for work performed managing the day to day operation of the Utility, especially given the age and condition of the systems. Moreover, the Utility alleges that this Commission is inconsistent in the methodology it uses to establish salary levels for Utility managers and presidents.

 We note that the requested salary increases represent an increase of 159 percent for the manager and 188 percent for the president above the salaries approved in the last rate case. The Utility asserts that the following changes support the increases in salaries.

a. Because of the age of the system and as a result of work done in 2016, the manager and president have spent a great deal of time determining how to keep the system viable.

b. The sewer collection system is beyond the end of its useful life and will require a significant investment in capital. In its current condition and age, it already requires significantly higher maintenance cost incurred and overseen by these individuals daily to keep Utility in compliance with DEP regulations.

c. The manager and president are working on putting together a phased capital improvement plan which will require close collaboration with a civil engineer to design each phase and provide specifications for each phase in order to put the jobs out to bid.

d. The manager and president also will be required to work with financial institutions to put financing in place as well as work with choosing a Utility contractor in order to institute a long-term, phased rehabilitation plan.

 We reviewed the position descriptions provided by the Utility in the last rate case and find that many of the “new” duties identified by the Utility in the instant docket were actually part of the position descriptions we considered previously. Moreover, the age and condition of the systems do not represent new information. In fact, the age and condition referenced by the Utility are what necessitated the interconnection for wastewater services with the City of Winter Haven as well as the $69,170 in pro forma plant approved by this Commission in the last rate case. Similarly, the job descriptions associated with previously-approved salaries already encompass the “additional” job functions used to support the salary increase here. The job description for Officer (president) in the last rate case included the following: determine operating and capital expenditures coordinate and implement long range strategic planning of both water and sewer capital improvements, and acquire funding for the Utility as needed. The description for the Operations Manager in the last rate case included the responsibility of project manager of renovations (schedule, supervise, and perform testing of sewer lines; evaluate testing, and meet with civil engineer). We also note that the City of Winter Haven provides system maintenance and repairs for the water and wastewater systems, performs all wastewater treatment, and provides emergency purchased water.

 In a letter summarizing the Utility’s response to customers, the Utility stated,

The Utility has not sought any increases in salaries. It has requested only that it be allowed to recover the existing costs for the reasonable salaries of necessary employees. The Utility requests recognition of salaries for a small number of employees whose salaries are directly related to the work necessary to continue to operate the Utility in an efficient manner in conformance with many state, county and federal standards. The Florida PSC must review these proposed costs based on customary salaries for similar positions at other companies in our area.

 In the same letter, Orchid Springs also stated, “the Utility cannot reasonably be compared to other utilities as there are significant differences between utilities including, but not limited to, age of plant and equipment, the number of customers, and capacity.” While the Utility was addressing a comparison of its rates to those of the City of Winter Haven, we find that the same argument can be made for the comparison of salaries across utilities. In fact, there is no “one size fits all” when it comes to establishing the appropriate level of water and wastewater salaries. There are numerous factors that need to be addressed, including the job duties and responsibilities that are being fulfilled by Utility employees as well as by others contracted by the Utility. We must also consider the operations of each system to determine the level of contractual services used and whether the Utility performs its own treatment services or it is a reseller. In Orchid Springs’ case, the Utility has interconnected with the City of Winter Haven for emergency water service and all of its wastewater treatment. Under this contract, the City of Winter Haven functions as the contract operator for the water and wastewater systems and performs some system maintenance and repairs for both systems.

 We do not understand the Utility’s assertion that the requested salary adjustment is not an increase. The authorized salaries were set in the last rate case only after careful review of the Utility’s operating conditions. In that docket, we reviewed salaries in light of the duties and responsibilities at that time, as well as the Utility’s change in operations. These considerations yielded the salaries that are currently in place. We find that the conditions that existed then remain unchanged and that the Utility has failed to provide sufficient justification for increasing salaries at this time.

*5. Rate Case Expense*

 Orchid Springs initially submitted $15,000 in rate case expense, with an annual amortization expense of $3,750. The Utility provided updated rate case expense showing actual rate case expense and an estimate of expenses through the completion of the docket. The update reflected actual expenses of $9,695 for legal and $2,050 for the Utility’s rate consultant through June 2018 with an additional $10,495 in estimated rate case expense. The breakdown of fees is shown below.

**Actual and Estimated Rate Case Expense**

|  |  |  |  |
| --- | --- | --- | --- |
|  | Utility | Utility | Total Actual |
| Expense | Actual | Estimated | & Est. RCE |
| Legal Services & Fees (Sundstrom & Mindlin) | $9,695  | $6,675  | $16,370  |
| Consulting Services  | 2,050 | 3,500  | 5,550  |
| Travel | 0  | 320  | 320  |
|  Total | $11,745  | $10,495  | $22,240  |

 Pursuant to Section 367.081(7), F.S., we must determine the reasonableness of rate case expenses and disallow all rate case expenses determined to be unreasonable. We have reviewed the requested actual expenses, supporting documentation, and estimated expenses for the current case and find that some adjustments are necessary to the Utility’s proposed rate case expense.

a. Legal Services

 The first adjustment relates to the Utility’s legal fees. Orchid Springs included $16,370 in legal fees and costs to complete this limited proceeding. The Utility provided invoices from Sundstrom & Mindlin, LLP (Sundstrom) through June 2018, showing actual expenses associated with the rate case totaling $9,695, and estimated an additional $6,675 to complete. These amounts included 27.7 hours of actual time and an estimate that an additional 17.5 hours would be required to complete the limited proceeding. Our adjustments to legal fees focus on Sundstrom’s estimate to complete, which included 3.5 hours to “review the audit report and assist client and consultant in preparing response to issues raised” and $550 for copying and miscellaneous costs and fees. Since no audit was conducted in this docket and no corresponding response would have been necessary, the 3.5 hours, or $1,225 (3.5 hrs. x $350/hr.) shall be removed from the estimate to complete. Thus, we approve 14 hours (17.5 hours – 3.5 hours) to complete. No additional detail was provided to explain what miscellaneous costs and fees might be expected through completion of the docket. As such, $550 in estimated costs and fees shall also be removed for lack of support. Accordingly, the appropriate amount of legal fees is $14,595, a total reduction of $1,775 ($1,225 + $550).

b. Consulting Services

 The next adjustment relates to the Utility’s consulting fees. The Utility requested actual consulting services expense of $2,050 for services rendered by Gary Morse through June 2018, and requested an additional $3,500 as part of the consultant’s estimate to complete. In support of its actual costs, the Utility provided four invoices. The submitted invoices provided the actual hours worked, a brief description of the activities that took place, and reflected the resulting amount due. Based on the support provided, the actual expense is reasonable. However, adjustments to the estimate to complete are necessary. The consultant’s estimate to complete includes 35 hours at $100 per hour. Upon review, we find the requested number of hours to be excessive, especially since the attorney’s estimate to complete included only 17.5 hours. In addition, the estimate to complete includes time “to review inquiries from auditors and staff” and for “review of the audit report and assist in responding to same and preparation of documents for such response.” As noted above, no Staff audit was conducted in this docket and no audit report was produced. As such, a response from the Utility is not necessary. While there was an outstanding data request when the estimate to complete was provided, the Utility and its attorney, not the consultant, would appear to be responsible for the bulk of any required response. In the absence of a detailed breakdown by hour and task, the consultant’s estimated hours shall be limited to the same number of hours approved for the attorney above. We reduced the Utility’s requested amount for consulting services by 21 hours, or $2,100 (21 hours x $100/hr.). Accordingly, the appropriate amount of consulting fees is $3,450, a reduction of $2,100.

c. Travel

 We made no adjustments to the requested travel expense of $320 as it appears reasonable. The requested travel expense reflects hotel costs for two people for one night each and meals for each person to attend the Commission Conference. The Utility has estimated hotel costs of $125 per room per person and $35 for meals per person. We find the room rate to be reasonable and note that the amount requested for meals is in line with the allowance provided for State of Florida employees.

d. Noticing Costs & Filing Fee

 Orchid Springs did not reflect the $2,000 filing fee or the costs associated with copying and mailing the required notices. The Utility paid the $2,000 filing fee ($1,000 for water and $1,000 for wastewater) on April 19, 2018. The Utility is required by Rule 25-30.446, F.A.C., to provide notices of the customer meeting and notices of final rates in this case to its customers. By this Order, we also require the Utility to provide notice of the four-year rate reduction to its customers when the rates are reduced to remove the amortized rate case expense. For noticing, we approve $465 for postage expense, $248 for printing expense, and $47 for envelopes. This results in $760 ($465 + $248 + $47) for the noticing requirement.

*e. Rate Case Summary*

 In summary, Orchid Springs’ total rate case expense shall be decreased by $3,875 for unsupported and unreasonable rate case expense. Rate case expense shall be increased by $2,000 to reflect the filing fee paid by the Utility and by $760 to reflect the costs associated with noticing requirements. Given these adjustments, the appropriate total rate case expense is $21,125, which amortized over four years is $5,281 per year. We allocate the annual rate case expense to the water and wastewater systems based on the equivalent residential connections, resulting in annual rate case expense of $2,784 for water and $2,497 for wastewater. A breakdown of rate case expense follows:

 **Appropriate Rate Case Expense**

|  |  |  |  |
| --- | --- | --- | --- |
|   | Utility | Approved  | Approved |
| Expense | Act. & Est. | Adjustment | Total RCE |
| Legal Services & Fees (Sundstrom & Mindlin) | $16,370  | ($1,775) | $14,595 |
| Consulting Services  | 5,550  | (2,100) | 3,450 |
| Travel | 320 | 0 | 320 |
| Noticing Costs & Filing Fee | 0 | 2,760 | 2,760  |
|  Total | $22,240  | ($1,115) | $21,125  |

*6. Operating Expenses Summary*

 Adjustments result in operating expenses of $93,836 for water and $217,523 for wastewater. Operating expenses are shown on Schedule Nos. 3-A and 3-B of this Order. The adjustments are shown on Schedule No. 3-C of this Order.

E. Operating Margin

 In Docket No. 140239-WS, we found that the application of the operating ratio methodology at a margin of 10.00 percent of O&M expense was appropriate for determining the water revenue requirement. The same conditions continue to exist in the current docket. The Utility has a water rate base of $61,055 and net water O&M expenses of $76,526,[[3]](#footnote-3) and therefore, is a candidate for the operating ratio method of calculating revenue requirement for water. Orchid Springs is a Class C utility and the approved water revenue requirement of $101,489 is substantially below the threshold level for Class B status ($200,000 per system). The Utility is built out and there is no potential for future growth. Therefore, the Utility will not become a Class B utility in the foreseeable future.

 In addition, the overall quality of service for the Orchid Springs’ water system was considered satisfactory in the Utility’s last rate case. Based on review of the information provided by the Utility, as well as additional information gathered throughout the course of this docket, no actions need to be taken with respect to secondary standards.While the current Utility owner is a developer, being developer-owned does not, in itself, disqualify a utility from the operating ratio method. The system is built out and was originally placed into service in 1972. In the last rate case, we determined that there is no potential for future growth. Finally, Orchid Springs owns its water treatment plant, but interconnects with the City of Winter Haven for emergency back-up service.

 We calculated the revenue requirement and find that the operating ratio method of revenue requirement calculation for the water system and the return on rate base revenue requirement calculation for the wastewater system place the Utility in the best posture to cover the expenses necessary to provide reliable, quality service going forward. This methodology is consistent with the Utility’s last rate case.

F. Revenue Requirement

 The operating ratio method shall be used to calculate the water revenue requirement. Using this methodology, Orchid Springs will have an operating margin of 10.00 percent, resulting in an annual increase of $7,822 for water. Our water revenue requirement calculation is shown in the table below:

**Water Revenue Requirement**

|  |  |  |
| --- | --- | --- |
| Adjusted O&M Expense |  | $76,526[[4]](#footnote-4) |
| Operating Margin (%) |  | x 10.00% |
| Operating Margin  |  | $7,653  |
| O&M Expense |  | 80,059 |
| Depreciation Expense  |  | 6,741 |
| Amortization  |  | 0 |
| Taxes Other Than Income |  | 7,036 |
| Revenue Requirement  |  | $101,489 |
| Less Adjusted Test Year Revenues |  | 93,667 |
| Annual Increase |  | $7,822 |
| Percent Increase |  | 8.35% |

 Using the return on rate base methodology, we find an annual increase of $23,837 (11.73 percent) for wastewater to be appropriate. This will allow the Utility the opportunity to recover its expenses and earn an 8.03 percent return on its wastewater investment. Our wastewater revenue requirement calculation is shown in the table below:

**Wastewater Revenue Requirement**

|  |  |  |
| --- | --- | --- |
| Adjusted Rate Base |  | $118,837 |
| Rate of Return |  | x 8.03% |
| Return on Rate Base |  | $9,543  |
| Adjusted O&M Expense |  | 188,501 |
| Depreciation Expense  |  | 3,650 |
| Amortization  |  | 12,225 |
| Taxes Other Than Income |  | 13,146 |
| Revenue Requirement  |  | $227,066 |
| Less Adjusted Test Year Revenues |  | 203,229 |
| Annual Increase |  | $23,837 |
| Percent Increase |  | 11.73% |

**II. Water and Wastewater Rates**

 In the Utility’s 1998 SARC, the approved BFC generated approximately 50 percent of the revenue requirement. In the 2014 SARC, the rate structure was not changed; however, the resulting BFC generated approximately 52 percent of the Utility’s revenues. In that case, the billing analysis reflected a seasonal customer base. In this proceeding, the BFC generates approximately 56 percent of the revenues. There appears to be an upward trend in the amount of revenues generated from the BFC, which further indicates a seasonal customer base. As a result, we find the existing BFC allocation to be reasonable for water. In addition, the wastewater BFC generates approximately 49 percent of the revenues and is consistent with Commission practice. Therefore, in order to maintain revenue stability, and consistent with prior limited proceedings, an across-the-board increase shall be applied to water and wastewater rates. This produces additional service revenues of $7,822 (an 8.35 percent increase) for water and $23,837 (an 11.73 percent increase) for wastewater.

 Based on the foregoing, the rate increase of 8.35 percent for water and 11.73 percent for wastewater shall be applied as an across-the-board increase monthly to service rates. The Utility shall file revised tariff sheets and a proposed customer notice to reflect the approved rates. The rates, as shown on Schedule Nos. 4-A and 4-B of this Order, shall be effective for service (1) rendered on or after the stamped approval date on the tariff sheets pursuant to Rule 25-30.475(1), F.A.C, and (2) after our Staff has approved the proposed customer notice and the notice has been received by the customers. The Utility shall provide proof of the date that notice was given within 10 days of the date of the notice.

**III. Rate Case Expense** (Final Agency Action)

 Pursuant to Section 367.081(8), F.S., Orchid Springs’ water and wastewater rates shall be reduced immediately following the expiration of the four-year rate case expense recovery period by the amount of the rate case expense previously included in the rates. The reduction will reflect the removal of revenues associated with the amortization of rate case expense and the gross-up for regulatory assessment fees (RAFs), which is $2,915 for water and $2,615 for wastewater. Using the Utility’s current revenues, expenses, and customer base, the reduction in revenues will result in the rate decrease shown on Schedule Nos. 4-A and 4-B of this Order.[[5]](#footnote-5)

 Orchid Springs shall file revised tariff sheets no later than one month prior to the actual date of the required rate reduction. The Utility also shall file a proposed customer notice setting forth the lower rates and the reason for the reduction. If Orchid Springs files this reduction in conjunction with a price index or pass-through rate adjustment, separate data shall be filed for the price index and/or pass-through increase or decrease and the reduction in the rates due to the amortized rate case expense.

**IV. Temporary Rates** (Final Agency Action)

 By this Order we approve an increase in rates. A timely protest might delay what may be a justified rate increase resulting in an unrecoverable loss of revenue to the Utility. Therefore, pursuant to Section 367.081(2), F.S., which requires us to “fix rates which are just, reasonable, compensatory, and not unfairly discriminatory,” and consistent with our prior Orders, in the event of a protest filed by a party other than the Utility, the increased rates are approved as temporary rates. The Utility shall file revised tariff sheets and a proposed customer notice to reflect the approved rates. The approved rates shall be effective for service rendered on or after the stamped approval date on the tariff sheet, pursuant to Rule 25-30.475(1), F.A.C. In addition, the temporary rates shall not be implemented until our Staff has approved the proposed notice, and the notice has been received by the customers. The increased rates collected by the Utility shall be subject to the refund provisions discussed below.

 The Utility is authorized to collect the temporary rates upon our Staff’s approval of an appropriate security for the potential refund and the proposed customer notice. Security shall be in the form of a bond or letter of credit in the amount of $21,421. Alternatively, the Utility could establish an escrow agreement with an independent financial institution.

 If the Utility chooses a bond as security, the bond shall contain wording to the effect that it will be terminated only under the following conditions:

a. This Commission approves the rate increase; or,

b. If this Commission denies the increase, the Utility shall refund the amount collected that is attributable to the increase.

 If the Utility chooses a letter of credit as a security, it shall contain the following conditions:

a. The letter of credit is irrevocable for the period it is in effect.

b. The letter of credit will be in effect until a final Commission Order is rendered, either approving or denying the rate increase.

 If security is provided through an escrow agreement, the following conditions shall be part of the agreement:

a. The Commission Clerk, or his or her designee, must be a signatory to the escrow agreement.

 b. No monies in the escrow account may be withdrawn by the Utility without the prior written authorization of the Commission Clerk, or his or her designee.

c. The escrow account shall be an interest bearing account.

d. If a refund to the customers is required, all interest earned by the escrow account shall be distributed to the customers.

e. If a refund to the customers is not required, the interest earned by the escrow account shall revert to the Utility.

f. All information on the escrow account shall be available from the holder of the escrow account to a Commission representative at all times.

g. The amount of revenue subject to refund shall be deposited in the escrow account within seven days of receipt.

h. This escrow account is established by the direction of the Florida Public Service Commission for the purpose(s) set forth in its Order requiring such account. Pursuant to *Cosentino v. Elson*, 263 So. 2d 253 (Fla. 3d DCA 1972), escrow accounts are not subject to garnishments.

i. The account must specify by whom and on whose behalf such monies were paid.

 In no instance shall the maintenance and administrative costs associated with the refund be borne by the customers. These costs are the responsibility of, and shall be borne by, the Utility. Irrespective of the form of security chosen by the Utility, an account of all monies received as a result of the rate increase shall be maintained by the Utility. If a refund is ultimately required, it shall be paid with interest calculated pursuant to Rule 25-30.360(4), F.A.C.

 The Utility shall maintain a record of the amount of the bond, and the amount of revenues that are subject to refund. In addition, after the increased rates are in effect, pursuant to Rule 25-30.360(6), F.A.C., the Utility shall file reports with the Office of Commission Clerk no later than the 20th of every month indicating the monthly and total amount of money subject to refund at the end of the preceding month. The report filed shall also indicate the status of the security being used to guarantee repayment of any potential refund.

 Based on the foregoing, it is

 ORDERED by the Florida Public Service Commission that Orchid Springs Development Corporation’s request for a limited proceeding rate increase is granted as modified by this Order. Orchid Springs shall be allowed an annual increase of $7,822 (8.35 percent) for water, resulting in an adjusted revenue requirement of $101,489. For wastewater, the Utility shall be allowed an annual increase of $23,837 (11.73 percent), resulting in an adjusted revenue requirement of $227,066. The adjusted revenue requirements are reflected on Schedule Nos. 3-A and 3-B. It is further

 ORDERED that a rate increase of 8.35 percent for water and 11.73 percent for wastewater shall be applied as an across-the-board increase monthly to service rates. Orchid Springs Development Corporation shall file revised tariff sheets and a proposed customer notice to reflect the approved rates. The rates, as shown on Schedule Nos. 4-A and 4-B of this Order, shall be effective for service rendered on or after the stamped approval date on the tariff sheets, and after our Staff has approved the proposed customer notice and the notice has been received by the customers. The Utility shall provide proof of the date that notice was given within 10 days of the date of the notice. It is further

 ORDERED that the approved water and wastewater rates shall be reduced as shown on Schedule Nos. 4-A and 4-B of this Order, to remove rate case expense grossed-up for regulatory assessment fees and amortized over a four-year period. The decrease in rates shall become effective immediately following the expiration of the four-year rate case expense recovery period. Orchid Springs Development Corporation shall file revised tariffs and a proposed customer notice setting forth the lower rates and the reason for the reduction no later than one month prior to the actual date of the required rate reduction. If Orchid Springs Development Corporation files this reduction in conjunction with a price index or pass-through rate adjustment, separate data shall be filed for the price index and/or pass-through increase or decrease and the reduction in the rates due to the amortized rate case expense. *(Final Agency Action)* It is further

 ORDERED that the approved rates are approved on a temporary basis, subject to refund, in the event of a protest filed by a substantially affected person or party. Orchid Springs Development Corporation shall file revised tariff sheets and a proposed customer notice to reflect the approved rates. The approved rates shall be effective for service rendered on or after the stamped approval date on the tariff sheet, and shall not be implemented until our Staff has approved the proposed notice, and the notice has been received by the customers. Prior to implementation of any temporary rates, the Orchid Springs Development Corporation shall provide appropriate security. If the rates are approved on a temporary basis, the rates collected by Orchid Springs Development Corporation shall be subject to refund as set forth in the body of this Order. After the increased rates are in effect Orchid Springs Development Corporation shall file reports with the Commission Clerk's office no later than the 20th of every month indicating the monthly and total amount of money subject to refund at the end of the preceding month. The reports shall also indicate the status of the security being used to guarantee repayment of any potential refund. *(Final Agency Action)* It is further

 ORDERED that if no person whose substantial interests are affected by the proposed agency action files a protest within 21 days of the issuance of this Order, a consummating Order shall be issued. The docket shall remain open for our Staff’s verification that the revised tariff sheets and customer notice have been filed by Orchid Springs Development Corporation and approved by our Staff. Once these actions are complete, this docket shall be closed administratively.

 By ORDER of the Florida Public Service Commission this 19th day of December, 2018.

|  |  |
| --- | --- |
|  | /s/ Carlotta S. Stauffer |
|  | CARLOTTA S. STAUFFERCommission Clerk |

Florida Public Service Commission

2540 Shumard Oak Boulevard

Tallahassee, Florida 32399

(850) 413‑6770

www.floridapsc.com

Copies furnished: A copy of this document is provided to the parties of record at the time of issuance and, if applicable, interested persons.

CWM

Commissioner Brown dissents without opinion.

NOTICE OF FURTHER PROCEEDINGS OR JUDICIAL REVIEW

 The Florida Public Service Commission is required by Section 120.569(1), Florida Statutes, to notify parties of any administrative hearing or judicial review of Commission orders that is available under Sections 120.57 or 120.68, Florida Statutes, as well as the procedures and time limits that apply. This notice should not be construed to mean all requests for an administrative hearing or judicial review will be granted or result in the relief sought.

 As identified in the body of this order, our actions proposed herein are preliminary in nature except the decisions regarding (1) the granting of temporary rates in the event of a protest, and (2) the reduction for rate case expense, which are final agency action. Any person whose substantial interests are affected by the action proposed by this order may file a petition for a formal proceeding, in the form provided by Rule 28-106.201, Florida Administrative Code. This petition must be received by the Office of Commission Clerk, at 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850, by the close of business on January 9, 2019.

 If such a petition is filed, mediation may be available on a case-by-case basis. If mediation is conducted, it does not affect a substantially interested person's right to a hearing. In the absence of such a petition, this order shall become effective and final upon the issuance of a Consummating Order.

 Any objection or protest filed in this docket before the issuance date of this Order is considered abandoned unless it satisfies the foregoing conditions and is renewed within the specified protest period.

 Any party adversely affected by the Commission's final action in this matter may request: (1) reconsideration of the decision by filing a motion for reconsideration with the Office of Commission Clerk, within fifteen (15) days of the issuance of this order in the form prescribed by Rule 25-22.060, Florida Administrative Code; or (2) judicial review by the Florida Supreme Court in the case of an electric, gas or telephone utility or the First District Court of Appeal in the case of a water or wastewater utility by filing a notice of appeal with the Office of Commission Clerk and filing a copy of the notice of appeal and the filing fee with the appropriate court. This filing must be completed within thirty (30) days after the issuance of this order, pursuant to Rule 9.110, Florida Rules of Appellate Procedure. The notice of appeal must be in the form specified in Rule 9.900(a), Florida Rules of Appellate Procedure.

|  |  |
| --- | --- |
| **ORCHID SPRINGS DEVELOPMENT CORPORATION** | **SCHEDULE NO. 1-A** |
| **TEST YEAR ENDED 12/31/17** |  | **DOCKET NO. 20180063-WS** |
| **SCHEDULE OF WATER RATE BASE** |  |  |   |
|   | **BALANCE** | **COMM.** | **BALANCE** |
|   |  **PER** | **ADJUSTMENTS** | **PER** |
| **DESCRIPTION** | **2014 SARC** | **TO UTIL. BAL.** | **COMM.** |
|  |  |  |  |
| UTILITY PLANT IN SERVICE | $282,444  | $27,643  | $310,087  |
|   |  |  |   |
| LAND & LAND RIGHTS | 1,682  | 0  | 1,682  |
|   |  |  |   |
| ACCUMULATED DEPRECIATION | (258,783) | (1,458) | (260,241) |
|   |  |  |   |
| CIAC  | (171,516) | 0  | (171,516) |
|   |  |  |   |
| AMORTIZATION OF CIAC | 171,516  | 0  | 171,516  |
|   |  |  |   |
| WORKING CAPITAL ALLOWANCE | 9,353  | 173  | 9,526  |
|   |  |  |   |
| WATER RATE BASE | $34,696  | $26,359  | $61,055  |
|   |   |   |   |

|  |  |
| --- | --- |
| **ORCHID SPRINGS DEVELOPMENT CORPORATION** | **SCHEDULE NO. 1-B** |
| **TEST YEAR ENDED 12/31/17** |  | **DOCKET NO. 20180063-WS** |
| **SCHEDULE OF WASTEWATER RATE BASE** |  |   |
|   | **BALANCE** | **COMM.** | **BALANCE** |
|   | **PER**  | **ADJUSTMENTS** | **PER** |
| **DESCRIPTION** | **2014 SARC** | **TO UTIL. BAL.** | **COMM.** |
|  |  |  |  |
| UTILITY PLANT IN SERVICE | $560,385  | $2,050  | $562,435  |
|   |  |  |   |
| LAND & LAND RIGHTS | 0  | 0  | 0  |
|   |  |  |   |
| ACCUMULATED DEPRECIATION | (470,351) | 3,620  | (466,731) |
|   |  |  |   |
| CIAC | (302,109) | 0  | (302,109) |
|   |  |  |   |
| AMORTIZATION OF CIAC | 302,109  | 0  | 302,109  |
|   |  |  |   |
| WORKING CAPITAL ALLOWANCE | 20,905  | 2,227  | 23,132  |
|   |  |  |   |
| WASTEWATER RATE BASE | $110,940  | $7,897  | $118,837  |
|   |   |   |   |

|  |  |  |
| --- | --- | --- |
|   | **ORCHID SPRINGS DEVELOPMENT CORPORATION** | **SCHEDULE NO. 1-C** |
|   | **TEST YEAR ENDED 12/31/17** | **DOCKET NO. 20180063-WS** |
|   | **ADJUSTMENTS TO RATE BASE** |  |   |
|   |   | **WATER** | **WASTEWATER** |
|   | **UTILITY PLANT IN SERVICE** |  |   |
| 1. | To reflect appropriate plant additions. | $27,643  | $5,785  |
| 2. | To reflect retirement associated with plant additions. | 0  | (3,735) |
|   |  Total | $27,643  | $2,050  |
|   |  |  |   |
|   | **ACCUMULATED DEPRECIATION** |  |   |
|  | To reflect acc. dep. associated with plant additions. | ($1,458) | $3,620  |
|   |  |  |   |
|   | **WORKING CAPITAL ALLOWANCE** |  |   |
|   | To reflect 1/8 of test year O & M expenses. | $173 | $2,227 |
|   |   |   |   |

|  |  |  |  |
| --- | --- | --- | --- |
|   | **ORCHID SPRINGS DEVELOPMENT CORPORATION** |   | **SCHEDULE NO. 2** |
|   | **TEST YEAR ENDED 12/31/17** |  |  | **DOCKET NO. 20180063-WS** |
|   | **SCHEDULE OF CAPITAL STRUCTURE** |  |  |  |  |  |   |
|   |   |   |   | **TEST YEAR** | **ADJUSTMENTS** | **RECONCILED** |   |   |   |
|   |  |  | **COMM.** | **BALANCE** | **TO** | **CAPITAL** | **PERCENT** |  |  |
|   |  | **PER** | **ADJUST-** | **PER** | **RECONCILE** | **STRUCTURE** | **OF** |  | **WEIGHTED** |
|   | **CAPITAL COMPONENT** | **UTILITY** | **MENTS** | **COMM.** | **TO RATE BASE** | **PER COMM.** | **TOTAL** | **COST** | **COST** |
|   |  |  |  |  |  |  |  |  |  |
| 1. | COMMON EQUITY | $521,049  | $0  | $521,049  | ($384,393) | $136,656  | 75.97% | 9.38% | 7.13% |
| 2. | LONG-TERM DEBT | $116,799  | $0  | $116,799  | ($86,166) | 30,633  | 17.03% | 4.50% | 0.77% |
| 3. | SHORT-TERM DEBT | 0  | 0  | 0  | 0  | 0  | 0.00% | 0.00% | 0.00% |
| 4. | PREFERRED STOCK | 0  | 0  | 0  | 0  | 0  | 0.00% | 0.00% | 0.00% |
| 5. | CUSTOMER DEPOSITS | 12,603  | 0  | 12,603  | 0  | 12,603  | 7.01% | 2.00% | 0.14% |
| 6. | DEFERRED INCOME TAXES | 0 | 0 | 0 | 0 | 0 | 0.00% | 0.00% |  0.00% |
| 7. | TOTAL | $650,451  | $0  | $650,451  | ($470,559) | $179,892  | 100.00% |  | 8.03% |
|   |  |  |  |  |  |  |  |  |   |
|   |  |  |  | **RANGE OF REASONABLENESS** | **LOW** | **HIGH** |   |
|   |  |  |  | RETURN ON EQUITY |  | 8.38% | 10.38% |   |
|   |  |  |  | OVERALL RATE OF RETURN |  | 7.27% | 8.79% |   |
|   |   |   |   |   |   |   |   |   |   |

|  |  |  |  |
| --- | --- | --- | --- |
|   | **ORCHID SPRINGS DEVELOPMENT CORPORATION** |   | **SCHEDULE NO. 3-A** |
|   | **TEST YEAR ENDED 12/31/17** |  |  |  | **DOCKET NO. 20180063-WS** |
|   | **SCHEDULE OF WATER OPERATING INCOME**  |   |   |   |
|   |   | **APPROVED** |  | **COMM.** | **ADJUST.** |  |
|   |  | **IN** | **COMM.**  | **ADJUSTED** | **FOR** | **REVENUE** |
|   |   | **2014 SARC** | **ADJUSTMENTS** | **TEST YEAR** | **INCREASE** | **REQUIREMENT** |
|   |   |   |   |   |   |   |
| 1. | **OPERATING REVENUES**  | $93,667 | $0 | $93,667 | $7,822 | $101,489 |
|   |  |  |  |  | 8.35% |   |
|   | **OPERATING EXPENSES:** |  |  |  |  |   |
| 2. |  OPERATION & MAINTENANCE | $74,824  | $5,235  | $80,059  | $0  | $80,059  |
|   |  |  |  |  |  |   |
| 3. |  DEPRECIATION  | 5,283 | 1,458 | 6,741 | 0 | 6,741 |
|   |  |  |  |  |  |   |
| 4. |  AMORTIZATION | 0  | 0  | 0  | 0 | 0  |
|   |  |  |  |  |  |   |
| 5. |  TAXES OTHER THAN INCOME | 6,186 | 498 | 6,684 | 352  | 7,036 |
|   |  |  |  |  |  |   |
| 6. |  INCOME TAXES | 0  | 0  | 0  | 0 | 0  |
|   |  |  |  |  |  |   |
| 7. | **TOTAL OPERATING EXPENSES**  | $86,293 | $7,191  | $93,484 | $352  | $93,836 |
|   |  |  |  |  |  |   |
| 8. | **OPERATING INCOME/(LOSS)**  | $7,374  |  | $183 |  | $7,652  |
|   |  |  |  |  |  |   |
| 9. | **WATER RATE BASE**  | $34,696  |  | $61,055  |  | $61,055 |
|   |  |  |  |  |  |   |
| 10. | **OPERATING MARGIN** | 10.00% |  |  |  | 10.00% |
|   |   |   |   |   |   |   |

|  |  |  |  |
| --- | --- | --- | --- |
|   | **ORCHID SPRINGS DEVELOPMENT CORPORATION** |   | **SCHEDULE NO. 3-B** |
|   | **TEST YEAR ENDED 12/31/17** |  |  |  | **DOCKET NO. 20180063-WS** |
|   | **SCHEDULE OF WASTEWATER OPERATING INCOME** |   |   |   |
|   |   | **APPROVED** |  | **COMM.** | **ADJUST.** |  |
|   |  | **IN** | **COMM.**  | **ADJUSTED** | **FOR** | **REVENUE** |
|   |   | **2014 SARC** | **ADJUSTMENTS** | **TEST YEAR** | **INCREASE** | **REQUIREMENT** |
|   |   |   |   |   |   |   |
| 1. | **OPERATING REVENUES**  | $203,229  | $0  | $203,229  | $23,837 | $227,066 |
|   |  |  |  |  | 11.73% |   |
|   | **OPERATING EXPENSES:** |  |  |  |  |   |
| 2. |  OPERATION & MAINTENANCE | $167,239  | $21,262  | $188,501  | $0  | $188,501  |
|   |  |  |  |  |  |   |
| 3. |  DEPRECIATION (NET) | 3,535  | 115  | 3,650  | 0  | 3,650  |
|   |  |  |  |  |  |   |
| 4. |  AMORTIZATION | 12,225  | 0  | 12,225  | 0  | 12,225  |
|   |  |  |  |  |  |   |
| 5. |  TAXES OTHER THAN INCOME | 12,037  | 37  | 12,074  | 1,073  | 13,146 |
|   |  |  |  |  |  |   |
| 6. |  INCOME TAXES | 0 | 0 | 0 | 0  | 0  |
|   |  |  |  |  |  |   |
| 7. | **TOTAL OPERATING EXPENSES**  | $195,036  | $21,414  | $216,450 | $1,073  | $217,523  |
|   |  |  |  |  |  |   |
| 8. | **OPERATING INCOME/(LOSS)**  | $8,193  |  | ($13,211) |  | $9,543  |
|   |  |  |  |  |  |   |
| 9. | **WASTEWATER RATE BASE**  | $110,940  |  | $118,837  |  | $118,837  |
|   |  |  |  |  |  |   |
| 10. | **RATE OF RETURN** | 7.39% |  | (11.13%) |  | 8.03% |
|   |   |   |   |   |   |   |

|  |  |  |
| --- | --- | --- |
|   | **ORCHID SPRINGS DEVELOPMENT CORPORATION** | **SCHEDULE NO. 3-C** |
|   | **TEST YEAR ENDED 12/31/17** | **DOCKET NO. 20180063-WS** |
|   | **ADJUSTMENTS TO OPERATING INCOME** |  |  |
|   |   | **WATER** | **WASTEWATER** |
|   | **OPERATION AND MAINTENANCE EXPENSES** |  |   |
| 1. | Purchased Water (610) |  |  |
|  | a. To reflect appropriate amount of amort. emerg. purchased water. | $2,451  | $0  |
|  |  |  |  |
| 2. | Purchased Wastewater Treatment (710)  |  |  |
|  | a. To reflect appropriate purchased wastewater expense. | $0  | $13,765  |
|   |  |  |  |
| 3. | Repairs and Maintenance (663/763) |   |  |
|   | a. To reflect appropriate mowing expense for WWTP. | $0  | $5,000  |
|  |  |  |  |
| 4. | Regulatory Commission Expense (665/765) |  |  |
|   | To reflect appropriate amortized rate case expense. | $2,784  | $2,497  |
|   |  |  |  |
|   | **TOTAL OPERATION & MAINTENANCE ADJUSTMENTS** | $5,235  | $21,262  |
|   |  |  |   |
|  | **DEPRECIATION EXPENSE** |  |  |
|   | To reflect net depreciation expense associated with plant additions. | $1,458  | $115  |
|  |  |  |  |
|  | **TAXES OTHER THAN INCOME** |  |  |
|   | To reflect appropriate taxes associated with plant additions. | $498  | $37  |
|   |   |  |  |

|  |  |
| --- | --- |
| **ORCHID SPRINGS DEVELOPMENT CORPORATION**  |   **SCHEDULE NO. 4-A** |
| **TEST YEAR ENDED 12/31/17** |  | **DOCKET NO. 20180063-WS** |
| **MONTHLY WATER RATES** |  |  |  |
|  | **RATES AT** | **COMM.** | **4 YEAR** |
|  | **TIME OF** | **APPROVED** | **RATE** |
|  | **FILING** | **RATES** | **REDUCTION** |
| **Residential and General Service** |  |  |   |
| Base Facility Charge by Meter Size |  |  |   |
| 5/8" x 3/4" | $9.96 | $10.79 | $0.31 |
| 3/4" | $14.94 | $16.19 | $0.47 |
| 1" | $24.90 | $26.98 | $0.78 |
| 1-1/2" | $49.80 | $53.95 | $1.55 |
| 2" | $79.68 | $86.32 | $2.48 |
| 3" | $159.36 | $172.64 | $4.96 |
| 4" | $249.00 | $269.75 | $7.75 |
| 6" | $498.00 | $539.50 | $15.50 |
|   |  |  |   |
| Charge per 1,000 gallons - Residential and General Service | $1.81 | $1.96 | $0.06 |
|   |  |  |   |
| **Typical Residential 5/8" x 3/4" Meter Bill Comparison** |  |   |
| 4,000 Gallons | $17.20  | $18.63  |   |
| 6,000 Gallons | $20.82 | $22.55  |   |
| 8,000 Gallons | $24.44  | $26.47  |   |

|  |  |  |
| --- | --- | --- |
| **ORCHID SPRINGS DEVELOPMENT CORPORATION** |   |  **SCHEDULE NO. 4-B** |
| **TEST YEAR ENDED 12/31/17** |  |  **DOCKET NO. 20180063-WS** |
| **MONTHLY WASTEWATER RATES** |  |  |  |
|  | **RATES AT** | **COMM.** | **4 YEAR** |
|  | **TIME OF** | **APPROVED** | **RATE** |
|  | **FILING** | **RATES** | **REDUCTION** |
| **Residential** |  |  |   |
| Base Facility Charge - All Meter Sizes | $24.64  | $27.53 | $0.32 |
|  |  |  |   |
| Charge Per 1,000 gallons  |  |  |   |
| 6,000 gallon cap | $5.88  | $6.57 | $0.08 |
|  |  |  |   |
| **General Service** |  |  |   |
| Base Facility Charge by Meter Size |  |  |   |
| 5/8" x 3/4" | $24.64 | $27.53 | $0.32 |
| 3/4" | $36.96 | $41.30 | $0.48 |
| 1" | $61.60 | $68.83 | $0.79 |
| 1-1/2" | $123.20 | $137.65 | $1.59 |
| 2" | $197.12 | $220.24 | $2.54 |
| 3" | $394.24 | $440.48 | $5.07 |
| 4" | $616.00 | $688.25 | $7.93 |
| 6" | $1,232.00 | $1,376.50 | $15.85 |
|  |  |  |   |
| Charge per 1,000 gallons  | $7.00 | $7.82 | $0.09 |
|  |  |  |   |
| **Typical Residential 5/8" x 3/4" Meter Bill Comparison** |  |   |
| 4,000 Gallons | $48.16  | $53.81  |   |
| 6,000 Gallons | $59.92  | $66.95  |   |
| 8,000 Gallons | $59.92  | $66.95 |   |

1. Because this review is part of a limited proceeding, if further action regarding water quality were warranted, it would be undertaken as a separate matter. [↑](#footnote-ref-1)
2. Section 367.081(9), F.S., which became effective July 1, 2016, states, “A utility may not earn a return on the unamortized balance of the rate case expense. Any unamortized balance of rate case expense shall be excluded in calculating the utility’s rate base.” Therefore, we excluded rate case expense from the working capital calculations. [↑](#footnote-ref-2)
3. We approve O&M expense of $80,059, but that amount is reduced by $3,533 related to purchased water expense because it is not eligible for the operating margin. The $3,533 is comprised of the $1,082 approved in the last rate case and our adjustment of $2,451. [↑](#footnote-ref-3)
4. The adjusted O&M expense amount was reduced by $3,533 related to purchased water expense because it is not eligible for the operating margin. [↑](#footnote-ref-4)
5. The Utility’s 2014 SARC, the approved rate case expense grossed up for RAFS of $1,125 for water and $999 for wastewater. These amounts are still included in the balance of unamortized rate case expense in the current docket and are scheduled to be removed in January 2020. [↑](#footnote-ref-5)