## Res EE
MPS - Residential Measures
Measure | End-Use | Measure Description | Baseline
Energy Star Clothes Dryer | Appliances | One Electric Resistance Clothes Dryer meeting current ENERGY STAR® Standards | One Clothes Dryer meeting Federal Standard
Energy Star Clothes Washer | Appliances | One Clothes Washer meeting current ENERGY STAR® Standards | One Clothes Washer meeting Federal Standard
Energy Star Dishwasher | Appliances | One Dishwasher meeting current ENERGY STAR® Requirements | One Dishwasher meeting Federal Standard
Energy Star Freezer | Appliances | One Freezer meeting current ENERGY STAR® Standards | One Freezer meeting Federal Standard
Energy Star Refrigerator | Appliances | One Refrigerator meeting current ENERGY STAR® Standards | One Refrigerator meeting Federal Standard
Heat Pump Clothes Dryer* | Appliances | One Heat Pump Clothes Dryer | One Clothes Dryer meeting Federal Standard
Removal of 2nd Refrigerator-Freezer | Appliances | No Refrigerator | Current Market Average Refrigerator
High Efficiency Convection Oven* | Cooking | One Full-Size Convection Oven meeting current ENERGY STAR® Standards | One Standard Economy-Grade Full-Size Oven
High Efficiency Induction Cooktop* | Cooking | One residential induction cooktop | One standard residential electric cooktop
Drain Water Heat Recovery* | Domestic Hot Water | Hot Water Loop with 50 Gallon Electric Resistance Heater and Drain Water Heat Exchanger | Standard Hot Water Loop with 50 Gallon Electric Resistance Heater, No Drain Water Heat Recovery
Faucet Aerator | Domestic Hot Water | Low-flow lavatory faucet aerator, flow rate: 1.0 gpm | Federal lavatory flow rate standard, 1994, flow rate: 2.2 gpm
Heat Pump Water Heater | Domestic Hot Water | Heat Pump Water Heater (EF=2.50) | Code-Compliant 50 Gallon Electric Resistance Water Heater
Heat Trap | Domestic Hot Water | Heat Trap | Existing Water Heater without heat trap
Hot Water Pipe Insulation | Domestic Hot Water | 1' of Insulated Pipe in Unconditioned Spaces, Insulation of R-5 | 1' of Pipe in Unconditioned Spaces with Code Minimum of 1"of Insulation
Instantaneous Hot Water System* | Domestic Hot Water | Instantaneous Hot Water System | Standard Efficiency Storage Tank Water Heater
Low Flow Showerhead | Domestic Hot Water | Low-Flow Handheld Showerhead, Flow Rate: 1.50 gpm | Standard Handheld Showerhead, Flow Rate: 2.50 gpm
Solar Water Heater | Domestic Hot Water | Solar Powered 50 Gallon Electric Resistance Water Heater (EF = 1.84) | Code-Compliant 50 Gallon Electric Resistance Water Heater
Thermostatic Shower Restriction Valve* | Domestic Hot Water | Hot Water Loop with 50 Gallon Electric Resistance Heater and Pressure Balance Shower Valves | Standard Hot Water Loop with 50 Gallon Electric Resistance Heater and Standard Shower Valves
Water Heater Blanket | Domestic Hot Water | 50 Gallon Electric Resistance Water Heater with Insulated Tank Wrap (R-11) | Market Average 50 Gallon Electric Resistance Water Heater, No Tank Wrap
Water Heater Thermostat Setback | Domestic Hot Water | 50 Gallon Electric Resistance Water Heater with Temperature Set-point of 125°F | Market Average 50 Gallon Electric Resistance Water Heater, Temp. Set-point = 130°F
Water Heater Timeclock | Domestic Hot Water | Water Heater Timeclock | Existing Water Heater without time clock
Energy Star Air Purifier* | Electronics | One 120 CFM Air Purifier meeting current ENERGY STAR® Standards | One Standard Air Purifier
Energy Star Audio-Video Equipment | Electronics | One DVD/Blu-Ray Player meeting current ENERGY STAR® Standards | One Market Average DVD/Blu-Ray Player
Energy Star Imaging Equipment* | Electronics | One imaging device meeting current ENERGY STAR® Standards | One non-ENERGY STAR® imaging device
Energy Star Personal Computer | Electronics | One Personal Computer (desktop or laptop) meeting current ENERGY STAR® Standards | One non-ENERGY STAR® Personal Computer
Energy Star TV | Electronics | One Television meeting current ENERGY STAR® Standards | One non-ENERGY STAR® Television
Smart Power Strip | Electronics | Smart plug strips for entertainment centers and home office | Standard entertainment center or home office usage, no smart strip controls
CFL - 15W Flood | Lighting | CFL (assume 15W) replacing EISA-2020 compliant baseline lamp (65w flood) | EISA-2020 compliant baseline lamp (65W flood)
CFL - 15W Flood (Exterior) | Lighting | CFL (assume 15W) replacing EISA-2020 compliant baseline lamp (65w flood) | EISA-2020 compliant baseline lamp (65W flood)
CFL-13W | Lighting | CFL (assume 13W) replacing EISA-2020 compliant baseline lamp (60w equivalent) | EISA-2020 compliant baseline lamp (60W equivalent)
CFL-23W | Lighting | CFL (assume 23W) replacing EISA-2020 compliant baseline lamp (100w equivalent) | EISA-2020 compliant baseline lamp (100W equivalent)
Exterior Lighting Controls* | Lighting | Timer on Outdoor Lighting, Controlling 120 Watts | 120 Watts of Lighting, Manually Controlled
Interior Lighting Controls* | Lighting | Switch Mounted Occupancy Sensor, 120 Watts Controlled | 120 Watts of Lighting, Manually Controlled
LED - 14W | Lighting | LED (assume 14W) replacing EISA-2020 compliant baseline lamp (100w equivalent) | EISA-2020 compliant baseline lamp (100W equivalent)
LED - 9W | Lighting | LED (assume 9W) replacing EISA-2020 compliant baseline lamp (60w equivalent) | EISA-2020 compliant baseline lamp (60W equivalent)
LED - 9W Flood | Lighting | LED (assume 9W) replacing EISA-2020 compliant baseline lamp (65w flood) | EISA Compliant Halogen Lamp
LED - 9W Flood (Exterior) | Lighting | LED (assume 9W) replacing EISA-2020 compliant baseline lamp (65w flood) | EISA Compliant Halogen Lamp
LED Specialty Lamps-5W Chandelier* | Lighting | 5 W Chandelier LED | Standard incandescent chandelier lamp
Linear LED* | Lighting | Linear LED Lamps in Linear Fluorescent Fixture | Standard (32w) T8 lamps in Linear Fluorescent Fixture
Low Wattage T8 Fixture | Lighting | Low Wattage (28w) T8 Lamps in Linear Fluorescent Fixture | Standard (32w) T8 lamps in Linear Fluorescent Fixture
Energy Star Bathroom Ventilating Fan* | Miscellaneous | Bathroom Exhaust Fan meeting current ENERGY STAR Standards | Bathroom Exhaust Fan meeting Federal Standard
Energy Star Ceiling Fan* | Miscellaneous | 60" Ceiling Fan Meeting current ENERGY STAR Standards | Standard, non-ENERGYSTAR Ceiling Fan
Energy Star Dehumidifier* | Miscellaneous | One Dehumidifier meeting current ENERGY STAR Standards | One Dehumidifier meeting Federal Standard
Heat Pump Pool Heater* | Miscellaneous | Heat Pump Swimming Pool Heater | Electric Resistance Swimming Pool Heater
Solar Pool Heater* | Miscellaneous | Solar Swimming Pool Heater | Electric Resistance Swimming Pool Heater
Solar Powered Pool Pumps | Miscellaneous | Solar Powered Pool Pump | Single Speed Pool Pump Motor
Two Speed Pool Pump | Miscellaneous | Dual Speed Pool Pump Motor | Single Speed Pool Pump Motor
Variable Speed Pool Pump | Miscellaneous | Variable Speed Pool Pump Motor | Single Speed Pool Pump Motor
15 SEER Central AC | Space Cooling | 15 SEER Central AC | Code-Compliant Central AC, 14 SEER
16 SEER Central AC | Space Cooling | 16 SEER Central AC | Code-Compliant Central AC, 14 SEER
17 SEER Central AC | Space Cooling | 17 SEER Central AC | Code-Compliant Central AC, 14 SEER
18 SEER Central AC | Space Cooling | 18 SEER Central AC | Code-Compliant Central AC, 14 SEER
21 SEER Central AC | Space Cooling | 21 SEER Central AC | Code-Compliant Central AC, 14 SEER
Central AC Tune Up | Space Cooling | System tune-up, including coil cleaning, refrigerant charging, and other diagnostics | Existing Typical Central AC without Regular Maintenance/tune-up
Energy Star Room AC | Space Cooling | Room AC meeting current ENERGY STAR standards | Code-Compliant Room AC
Solar Attic Fan* | Space Cooling | Standard Central Air Conditioning with Solar Attic Fan | Standard Central Air Conditioning, No Solar Attic Fan
14 SEER ASHP from base electric resistance heating | Space Cooling, Space Heating | 14 SEER Air Source Heat Pump | Base AC, 14 SEER, Electric resistance heating, 3.41 HSPF
15 SEER Air Source Heat Pump | Space Cooling, Space Heating | 15 SEER Air Source Heat Pump | Code-Compliant ASHP, 14 SEER, 8.2 HSPF
16 SEER Air Source Heat Pump | Space Cooling, Space Heating | 16 SEER Air Source Heat Pump | Code-Compliant ASHP, 14 SEER, 8.2 HSPF
17 SEER Air Source Heat Pump | Space Cooling, Space Heating | 17 SEER Air Source Heat Pump | Code-Compliant ASHP, 14 SEER, 8.2 HSPF
18 SEER Air Source Heat Pump | Space Cooling, Space Heating | 18 SEER Air Source Heat Pump | Code-Compliant ASHP, 14 SEER, 8.2 HSPF
21 SEER Air Source Heat Pump | Space Cooling, Space Heating | 21 SEER Air Source Heat Pump | Code-Compliant ASHP, 14 SEER, 8.2 HSPF
21 SEER ASHP from base electric resistance heating | Space Cooling, Space Heating | 21 SEER Air Source Heat Pump | Base AC, 14 SEER, Electric resistance heating, 3.41 HSPF
Air Sealing-Infiltration Control | Space Cooling, Space Heating | Standard Heating and Cooling System with Improved Infiltration Control | Standard Heating and Cooling System with Standard Infiltration Control
Ceiling Insulation(R12 to R38) | Space Cooling, Space Heating | Blown-in insulation in ceiling cavity/attic, older (pre-1982) homes | Existing ceiling insulation based on building code at time of construction
Ceiling Insulation(R19 to R38) | Space Cooling, Space Heating | Blown-in insulation in ceiling cavity/attic, existing (1982-1985) homes | Existing ceiling insulation based on building code at time of construction
Ceiling Insulation(R2 to R38) | Space Cooling, Space Heating | Blown-in insulation in ceiling cavity/attic, older (pre-1982) homes | Existing ceiling insulation based on building code at time of construction
Ceiling Insulation(R30 to R38) | Space Cooling, Space Heating | Blown-in insulation in ceiling cavity/attic, existing (1986-2016) homes | Existing ceiling insulation based on building code at time of construction
Duct Insulation | Space Cooling, Space Heating | Standard Electric Heating and Central AC with Insulated Ductwork | Standard Electric Heating and Central AC with Uninsulated Ductwork
Duct Repair | Space Cooling, Space Heating | Duct Repair to eliminate/minimize leaks, includes testing and sealing | Standard Electric Heating and Central AC with typical duct leakage
Energy Star Certified Roof Products | Space Cooling, Space Heating | Energy Star Certified Roof Products | Standard Black Roof
Energy Star Door* | Space Cooling, Space Heating | 21ft2 of Opaque Door meeting current Energy Star Requirements | 21ft2 of Opaque Door meeting current FL Code Requirements
Energy Star Windows | Space Cooling, Space Heating | 100ft2 of Window meeting current Energy Star Version Requirements | 100ft2 of Window current FL energy code requirements
Floor Insulation* | Space Cooling, Space Heating | Increased Floor Insulation (R-13) | Standard Electric Heating and Central AC with Uninsulated Floor
Green Roof* | Space Cooling, Space Heating | Vegetated Roof Surface on top of Standard Roof | Standard Black Roof
Ground Source Heat Pump* | Space Cooling, Space Heating | Ground Source Heat Pump | Code-Compliant ASHP, 14 SEER, 8.2 HSPF
Heat Pump Tune Up | Space Cooling, Space Heating | System tune-up, including coil cleaning, refrigerant charging, and other diagnostics | Standard Heating and Cooling System without Regular Maintenance/tune-up
Home Energy Management System* | Space Cooling, Space Heating | Typical HVAC by Building Type Controlled by Home Energy Management System (smart hub and hub-connected thermostat) | Typical HVAC by Building Type, Manually Controlled
Programmable Thermostat | Space Cooling, Space Heating | Pre-set programmable thermostat that replaces manual thermostat | Standard Heating and Cooling System with Manual Thermostat
Radiant Barrier | Space Cooling, Space Heating | Radiant Barrier | No radiant barrier
Sealed crawlspace* | Space Cooling, Space Heating | Encapsulated and semi-conditioned crawlspace | Naturally vented, unconditioned crawlspace
Smart Thermostat* | Space Cooling, Space Heating | Thermostats that include "smart" features such as occupancy sensors, geo-fencing, multi-zone sensors | Standard Heating and Cooling System with Manual Thermostat
Spray Foam Insulation(Base R12) | Space Cooling, Space Heating | Open cell spray foam along roofline in older (pre-1982) homes | Existing ceiling insulation based on building code at time of construction
Spray Foam Insulation(Base R19) | Space Cooling, Space Heating | Open cell spray foam along roofline in existing (1982-1985) homes | Existing ceiling insulation based on building code at time of construction
Spray Foam Insulation(Base R2) | Space Cooling, Space Heating | Open cell spray foam along roofline in older (pre-1982) homes | Existing ceiling insulation based on building code at time of construction
Spray Foam Insulation(Base R30) | Space Cooling, Space Heating | Open cell spray foam along roofline in existing (1986-2016) homes | Existing ceiling insulation based on building code at time of construction
Storm Door* | Space Cooling, Space Heating | 21ft2 of Opaque Door meeting current Energy Star Version Requirements | 21ft2 of Opaque Door meeting current FL Code Requirements
Variable Refrigerant Flow (VRF) HVAC Systems* | Space Cooling, Space Heating | Variable Refrigerant Flow (VRF) HVAC Systems | Code-Compliant ASHP, 14 SEER, 8.2 HSPF
Wall Insulation | Space Cooling, Space Heating | Increased Exterior Above-Grade Wall Insulation (R-13) | Market Average Existing Exterior Above-Grade Wall Insulation
Window Sun Protection | Space Cooling, Space Heating | Window Film Applied to Standard Window | Standard Window with below Code Required Minimum SHGC
HVAC ECM Motor | Space Heating | Variable Speed Electronically Commutated Motor for an Electric Furnace | Permanent Split Capacitor Motor for Electric Furnace

## Com EE
MPS - Commercial Measures
Measure | End-Use | Measure Description | Baseline
Efficient Exhaust Hood | Cooking | Kitchen ventilation with automatically adjusting fan controls | Kitchen ventilation with constant speed ventilation motor
Energy Star Commercial Oven | Cooking | One 12-Pan Combination Oven meeting current ENERGY STAR® Standards | One Standard Economy-Grade 12-Pan Combination Oven
Energy Star Fryer | Cooking | One Standard Vat Electric Fryer meeting current ENERGY STAR® Standards | One Standard Economy-Grade Standard Vat Electric Fryer
Energy Star Griddle | Cooking | One Griddle meeting current ENERGY STAR® Standards | One Conventional Griddle
Energy Star Hot Food Holding Cabinet | Cooking | One Hot Food Holding Cabinet meeting current ENERGY STAR® Standards | One Standard Hot Food Holding Cabinet
Energy Star Steamer | Cooking | One 4-Pan Electric Steamer meeting current ENERGY STAR® Standards | One Standard Economy-Grade 4-Pan Steamer
Induction Cooktops | Cooking | Efficient Induction Cooktop | One Standard Electric Cooktop
Drain Water Heat Recovery | Domestic Hot Water | Hot Water Loop with 50 Gallon Electric Resistance Heater and Drain Water Heat Exchanger | Standard Hot Water Loop with 50 Gallon Electric Resistance Heater, No Drain Water Heat Recovery
Energy Star Commercial Dishwasher | Domestic Hot Water | One Dishwasher meeting current ENERGY STAR® Requirements | One Dishwasher meeting Federal Standard
Faucet Aerator | Domestic Hot Water | Low-flow lavatory faucet aerator, flow rate: 1.0 gpm | Federal lavatory flow rate standard, 1994, flow rate: 2.2 gpm
Heat Pump Water Heater | Domestic Hot Water | Efficient 50 Gallon Electric Heat Pump Water Heater | Code-Compliant 50 Gallon Electric Heat Pump Water Heater
Hot Water Circulation Pump Control | Domestic Hot Water | Recirculation Pump with Demand Control Mechanism | Uncontrolled Recirculation Pump
Hot Water Pipe Insulation | Domestic Hot Water | 1' of Insulated Pipe in Unconditioned Spaces, Insulation of R-4 | 1' of Pipe in Unconditioned Spaces with Code Minimum of 1"of Insulation
Instantaneous Hot Water System* | Domestic Hot Water | Instantaneous Hot Water System | Code-Compliant Electric Storage Water Heater
Low Flow Shower Head* | Domestic Hot Water | Low-Flow Handheld Showerhead, Flow Rate: 1.50 gpm | Standard Handheld Showerhead, Flow Rate: 2.50 gpm
Low-Flow Pre-Rinse Sprayers | Domestic Hot Water | Low-Flow Pre-Rinse Sprayer with Flow Rate of 1.6 gpm | Pre-Rinse Sprayer 10% Less Efficient than Federal Standard
Solar Water Heater | Domestic Hot Water | Solar Powered 50 Gallon Electric Resistance Water Heater (EF = 4.05) | Code-Compliant 50 Gallon Electric Heat Pump Water Heater
Tank Wrap on Water Heater* | Domestic Hot Water | 50 Gallon Electric Resistance Water Heater with Insulated Tank Wrap (R-11) | Market Average 50 Gallon Electric Resistance Water Heater, No Tank Wrap
Thermostatic Shower Restriction Valve* | Domestic Hot Water | Hot Water Loop with 50 Gallon Electric Resistance Heater and Pressure Balance Shower Valves | Standard Hot Water Loop with 50 Gallon Electric Resistance Heater and Standard Shower Valves
Bi-Level Lighting Control (Exterior)* | Exterior Lighting | Bi-Level Controls on Exterior Lighting, 500 Watts Controlled | 500 Watts of Lighting, Manually Controlled
CFL - 15W Flood | Exterior Lighting | CFL (assume 15W) replacing EISA-2020 compliant baseline lamp (65w flood) | EISA-2020 compliant baseline lamp (65W flood)
High Efficiency HID Lighting | Exterior Lighting | One Pulse Start Metal Halide 200W | Average Lumen Equivalent High Intensity Discharge Fixture
LED - 9W Flood | Exterior Lighting | LED (assume 9W) replacing EISA-2020 compliant baseline lamp (65w flood) | EISA-2020 compliant baseline lamp (65W flood)
LED Display Lighting (Exterior)* | Exterior Lighting | One Letter of LED Signage, < 2ft in Height | One Letter of Neon or Argon-mercury Signage, < 2ft in Height
LED Exterior Lighting | Exterior Lighting | One 65W LED Canopy Light | Average Lumen Equivalent Exterior HID Area Lighting
LED Parking Lighting* | Exterior Lighting | One 160W LED Area Light | Average Lumen Equivalent Exterior HID Area Lighting
LED Street Lights* | Exterior Lighting | One 210W LED Area Light | Average Lumen Equivalent Exterior HID Area Lighting
LED Traffic and Crosswalk Lighting* | Exterior Lighting | LED Crosswalk Sign | Energy Star Qualifying Crosswalk Sign
Outdoor Lighting Controls | Exterior Lighting | Install Exterior Photocell Dimming Controls, 500 Watts Controlled | 500 Watts of Lighting, Manually Controlled
Bi-Level Lighting Control (Interior)* | Interior Lighting | Bi-Level Controls on Interior Lighting, 500 Watts Controlled | 500 Watts of Lighting, Manually Controlled
CFL-23W | Interior Lighting | CFL (assume 23W) replacing EISA-2020 compliant baseline lamp (100w equivalent) | EISA-2020 compliant baseline lamp (100W equivalent)
High Bay Fluorescent (T5) | Interior Lighting | One 4' 4-Lamp High Bay T5 Fixture | Average Lumen Equivalent High Intensity Discharge Fixture
High Bay LED | Interior Lighting | One 150W High Bay LED Fixture | Weighted Existing Fluorescent High-Bay Fixture
Interior Lighting Controls | Interior Lighting | Install Interior Photocell Dimming Controls, 500 Watts Controlled | 500 Watts of Lighting, Manually Controlled
LED - 14W | Interior Lighting | LED (assume 14W) replacing EISA-2020 compliant baseline lamp (100w equivalent) | EISA-2020 compliant baseline lamp (100W equivalent)
LED Display Lighting (Interior) | Interior Lighting | One Letter of LED Signage, < 2ft in Height | One Letter of Neon or Argon-mercury Signage, < 2ft in Height
LED Linear - Fixture Replacement* | Interior Lighting | 2x4 LED Troffer | Lumen-Equivalent 32-Watt T8 Fixture
LED Linear - Lamp Replacement | Interior Lighting | Linear LED (21W) | Lumen-Equivalent 32-Watt T8 Lamp
Premium T8 - Fixture Replacement | Interior Lighting | Reduced Wattage (28W) T8 Fixture with Low Ballast Factor | Lumen-Equivalent 32-Watt T8 Fixture
Premium T8 - Lamp Replacement | Interior Lighting | Replace Bulbs in T8 Fixture with Reduced Wattage (28W) Bulbs | 32-Watt T8 Fixture
Efficient Battery Charger* | Miscellaneous | Single-phase Ferro resonant or silicon-controlled rectifier charging equipment with power conversion efficiency >=89% & maintenance power <= 10 W | FR or SCR charging stations with power conversion efficiency < 89% or > 10 W
Efficient Motor Belts* | Miscellaneous | Synchronous belt, 98% efficiency | Standard V-belt drive
ENERGY STAR Commercial Clothes Washer* | Miscellaneous | One Commercial Clothes Washer meeting current ENERGY STAR® Requirements | One Commercial Clothes Washer meeting Federal Standard
ENERGY STAR Water Cooler* | Miscellaneous | One Storage Type Hot/Cold Water Cooler Unit meeting current ENERGY STAR® Standards | One Standard Storage Type Hot/Cold Water Cooler Unit
Engine Block Timer* | Miscellaneous | Plug-in timer that activates engine block timer to reduce unnecessary run time | Engine block heater (typically used for backup generators) running continuously
Regenerative Drive Elevator Motor* | Miscellaneous | Regenerative drive produced energy when motor in overhaul condition | Standard motor
Solar Pool Heater* | Miscellaneous | Solar Swimming Pool Heater | Electric Resistance Swimming Pool Heater
Heat Pump Pool Heater* | Miscellaneous | Heat Pump Swimming Pool Heater | Electric Resistance Swimming Pool Heater
Two Speed Pool Pump* | Miscellaneous | Dual Speed Pool Pump Motor | Single Speed Pool Pump Motor
Variable Speed Pool Pump* | Miscellaneous | Variable Speed Pool Pump Motor | Single Speed Pool Pump Motor
Solar Powered Pool Pump* | Miscellaneous | Solar Powered Pool Pump Motor | Single Speed Pool Pump Motor
VSD Controlled Compressor | Miscellaneous | Variable Speed Drive Control - includes all non-HVAC applications | Constant speed motors & pumps
Facility Energy Management System | Multiple End-Uses | Energy Management System deployed to automatically control HVAC, lighting, and other systems as applicable | Standard/manual facility equipment controls
Retro-Commissioning* | Multiple End-Uses | Perform facility retro-commissioning, including assessment, process improvements, and optimization of energy-consuming equipment and systems at the facility | Comparable facility, no retro-commissioning
ENERGY STAR Imaging Equipment | Office Equipment | One imaging device meeting current ENERGY STAR® Standards | One non-ENERGY STAR® imaging device
Energy Star PCs | Office Equipment | One Personal Computer (desktop or laptop) meeting current ENERGY STAR® Standards | One non-ENERGY STAR® Personal Computer
Energy Star Servers | Office Equipment | One Server meeting current ENERGY STAR Standards | One Standard Server
Energy Star Uninterruptable Power Supply* | Office Equipment | Standard Desktop Plugged into Energy Star Uninterruptable Power Supply at 25% Load | Standard Desktop Plugged into Uninterruptable Power Supply at 25% Load
Network PC Power Management* | Office Equipment | One computer and monitor attached to centralized energy management system that controls when desktop computers and monitors plugged into a network power down to lower power states. | One computer and monitor, manually controlled
Server Virtualization | Office Equipment | 2 Virtual Host Server | 20 Single Application Servers
Smart Strip Plug Outlet* | Office Equipment | One Smart Strip Plug Outlet | One Standard plug strip/outlet
Anti-Sweat Controls | Refrigeration | One Medium Temperature Reach-In Case with Anti-Sweat Heater Controls | One Medium Temperature Reach-In Case without Anti-Sweat Heater Controls
Automatic Door Closer for Walk-in Coolers and Freezers | Refrigeration | One Medium Temperature Walk-In Refrigerator Door with Auto-Closer | One Medium Temperature Walk-In Refrigerator Door without Auto-Closer
Demand Defrost | Refrigeration | Walk-In Freezer System with Demand-Controlled Electric Defrost Cycle | Walk-In Freezer System with Timer-Controlled Electric Defrost Cycle
Energy Star Commercial Glass Door Freezer* | Refrigeration | One Glass Door Freezer meeting current ENERGY STAR® Standards | One Glass Door Freezer meeting Federal Standards
Energy Star Commercial Glass Door Refrigerator* | Refrigeration | One Glass Door Refrigerator meeting current ENERGY STAR® Standards | One Glass Door Refrigerator meeting Federal Standards
Energy Star Commercial Solid Door Freezer* | Refrigeration | One Solid Door Freezer meeting current ENERGY STAR® Standards | One Solid Door Freezer meeting Federal Standards
Energy Star Commercial Solid Door Refrigerator* | Refrigeration | One Solid Door Refrigerator meeting current ENERGY STAR® Standards | One Solid Door Refrigerator meeting Federal Standards
Energy Star Ice Maker | Refrigeration | One Continuous Self-Contained Ice Maker meeting current ENERGY STAR® Standards (8.9 kWh / 100 lbs of ice) | One Continuous Self-Contained Ice Maker meeting Federal Standard
Energy Star Refrigerator* | Refrigeration | One Refrigerator meeting current ENERGY STAR® Standards | One Refrigerator meeting Federal Standard
Energy Star Vending Machine | Refrigeration | One Refrigerated Vending Machine meeting current ENERGY STAR® Standards | One standard efficiency Refrigerated Vending Machine
Floating Head Pressure Controls | Refrigeration | Medium-Temperature Refrigeration System with 5HP Compressor and Adjustable Condenser Head Pressure Control Valve | Medium-Temperature Refrigeration System with 5 HP Compressor without Adjustable Condenser Head Pressure Control Valve
Freezer-Cooler Replacement Gaskets | Refrigeration | New Door Gasket on One-Door Medium Temperature Reach-In Case | Worn or Damaged Door Gasket on One-Door Medium Temperature Reach-In Case
High Efficiency Refrigeration Compressor | Refrigeration | High Efficiency Refrigeration Compressors | Existing Compressor
High R-Value Glass Doors | Refrigeration | Display Door with High R-Value, One-Door Medium Temperature Reach-In Case | Standard Door, One-Door Medium Temperature Reach-In Case
Night Covers for Display Cases | Refrigeration | One Open Vertical Case with Night Covers | One Existing Open Vertical Case, No Night Covers
PSC to ECM Evaporator Fan Motor (Reach-In)* | Refrigeration | Medium Temperature Reach-In Case with Electronically Commutated Evaporator Fan Motor | Medium Temperature Reach-In Case with Permanent Split Capacitor Evaporator Fan Motor
PSC to ECM Evaporator Fan Motor (Walk-In, Refrigerator) | Refrigeration | Medium Temperature Walk-In Case with Electronically Commutated Evaporator Fan Motor | Medium Temperature Reach-In Case with Permanent Split Capacitor Evaporator Fan Motor
Refrigerated Display Case LED Lighting* | Refrigeration | 60" Refrigerated Case LED Strip | Lumen-Equivalent 32-Watt T8 Fixture
Refrigerated Display Case Lighting Controls* | Refrigeration | Occupancy Sensors for Refrigerated Case Lighting to reduce run time | Market-Share Weighted Existing Linear Fluorescent Fixture
Strip Curtains for Walk-ins | Refrigeration | Walk-in cooler with strip curtains at least 0.06 inches thick covering the entire area of the doorway | Walk-in cooler without strip curtains
Chilled Water Controls Optimization* | Space Cooling | Deploy an algorithm package on the chiller to totalize the available power inputs and calculate the cooling load, and accordingly apply small set-point adjustments to the plant control system | Standard chilled water controls
Chilled Water System - Variable Speed Drives | Space Cooling | 10HP Chilled Water Pump with VFD Control | 10HP Chilled Water Pump Single Speed
Cool Roof | Space Cooling | Cool Roof - Includes both DX and chiller cooling systems | Code-Compliant Flat Roof
High Efficiency Chiller (Air Cooled, 50 tons) | Space Cooling | High Efficiency Chiller (Air Cooled, 50 tons) | Code-Compliant Air Cooled Positive Displacement Chiller, 50 Tons
High Efficiency Chiller (Water cooled-centrifugal, 200 tons) | Space Cooling | Water Cooled Centrifugal Chiller with Integral VFD, 200 Tons | Code-Compliant Water Cooled Centrifugal Chiller, 200 Tons
Thermal Energy Storage | Space Cooling | Deploy thermal energy storage technology (ice harvester, etc.) to shift load | Code compliant chiller
Air Curtains* | Space Cooling, Space Heating | Air Curtain across door opening | Door opening with no air curtain
Airside Economizer* | Space Cooling, Space Heating | Airside Economizer | No economizer
Ceiling Insulation(R12 to R38) | Space Cooling, Space Heating | Blown-in insulation in ceiling cavity/attic | Market Average Existing Ceiling Insulation in older steep slope, residential style commercial building
Ceiling Insulation(R19 to R38) | Space Cooling, Space Heating | Blown-in insulation in ceiling cavity/attic | Market Average Existing Ceiling Insulation in older steep slope, residential style commercial building
Ceiling Insulation(R2 to R38) | Space Cooling, Space Heating | Blown-in insulation in ceiling cavity/attic | Market Average Existing Ceiling Insulation in older steep slope, residential style commercial building
Ceiling Insulation(R30 to R38) | Space Cooling, Space Heating | Blown-in insulation in ceiling cavity/attic | Market Average Existing Ceiling Insulation in older steep slope, residential style commercial building
Dedicated Outdoor Air System on VRF unit* | Space Cooling, Space Heating | Code-Compliant VRF utilizing Dedicated Outdoor Air System | Code-Compliant PTHP
Destratification Fans* | Space Cooling, Space Heating | Destratification Fans improve temperature distribution by circulating warmer air from the ceiling back down to the floor level | No destratification fan
Duct Insulation | Space Cooling, Space Heating | Standard Electric Heating and Central AC with Insulated Ductwork (R-8) | Standard Electric Heating and Central AC with Uninsulated Ductwork (R-4)
Duct Sealing Repair | Space Cooling, Space Heating | Duct Repair to eliminate/minimize leaks, includes testing and sealing | Standard AC with typical duct leakage
Energy Recovery Ventilation System (ERV) | Space Cooling, Space Heating | Unitary Cooling Equipment that Incorporates Energy Recovery | Current Market Packaged or Split DX Unit
Facility Commissioning* | Space Cooling, Space Heating | Perform facility commissioning to optimize building operations in new facilities | Standard new construction facility with no commissioning
Floor Insulation* | Space Cooling, Space Heating | Increased Floor Insulation (R-19) | Market Average Existing Floor Insulation
Geothermal Heat Pump | Space Cooling, Space Heating | Geothermal Heat Pump | Code-Compliant Air Source Heat Pump
Green Roof* | Space Cooling, Space Heating | Green Roof | Code-Compliant Flat Roof
High Efficiency Chiller (Water cooled-positive displacement, 100 tons) | Space Cooling, Space Heating | Water Cooled Positive Displacement Chiller with Integral VFD, 100 Tons | Code-Compliant Water Cooled Positive Displacement Chiller, 100 Tons
High Efficiency Data Center Cooling* | Space Cooling, Space Heating | High Efficiency CRAC (computer room air conditioner) | Standard Efficiency CRAC
High Efficiency DX 135k- less than 240k BTU | Space Cooling, Space Heating | High Efficiency DX Unit, 15 tons | Code-Compliant Packaged or Split DX Unit, 15 Tons
High Efficiency PTAC | Space Cooling, Space Heating | High Efficiency PTAC | Code-Compliant PTAC
High Efficiency PTHP | Space Cooling, Space Heating | High Efficiency PTHP | Code-Compliant PTHP
Hotel Card Energy Control Systems | Space Cooling, Space Heating | Guest Room HVAC Unit Controlled by Hotel-Key-Card Activated Energy Control System | Guest Room HVAC Unit, Manually Controlled by Guest
HVAC tune-up | Space Cooling, Space Heating | PTAC/PTHP system tune-up, including coil cleaning, refrigerant charging, and other diagnostics | Existing PTAC/PTHP without Regular Maintenance/tune-up
HVAC tune-up_RTU | Space Cooling, Space Heating | Rooftop Unit (RTU) System tune-up, including coil cleaning, refrigerant charging, and other diagnostics | Existing typical RTU without Regular Maintenance/tune-up
Infiltration Reduction - Air Sealing* | Space Cooling, Space Heating | Reduced leakage through caulking, weather-stripping | Standard Heating and Cooling System with Moderate Infiltration
Low U-Value Windows* | Space Cooling, Space Heating | 100ft2 of Window meeting current Energy Star Standards | 100ft2 of Window meeting Florida energy code
Programmable Thermostat* | Space Cooling, Space Heating | Pre-set programmable thermostat that replaces manual thermostat | Standard Heating and Cooling System with Manual Thermostat
Roof Insulation | Space Cooling, Space Heating | Roof Insulation (built-up roof applicable to flat/low slope roofs) | Code-Compliant Flat Roof
Smart Thermostat* | Space Cooling, Space Heating | Thermostats that include "smart" features such as occupancy sensors, geo-fencing, multi-zone sensors | Standard Heating and Cooling System with Manual Thermostat
Variable Refrigerant Flow (VRF) HVAC Systems* | Space Cooling, Space Heating | Variable Refrigerant Flow (VRF) HVAC Systems | Code-Compliant PTHP
Wall Insulation* | Space Cooling, Space Heating | Increased Exterior Above-Grade Wall Insulation | Market Average Existing Exterior Above-Grade Wall Insulation
Warehouse Loading Dock Seals* | Space Cooling, Space Heating | Seals to reduce infiltration losses at loading dock | Loading dock with no seals
Water Cooled Refrigeration Heat Recovery* | Space Cooling, Space Heating | The heat reclaim system transfers waste heat from refrigeration system to space heating or hot water | No heat recovery
Waterside Economizer* | Space Cooling, Space Heating | Waterside Economizer | No economizer
Window Sun Protection | Space Cooling, Space Heating | Window Sun Protection (Includes sunscreen, film, tinting or overhang to minimize heat gain through window) | Standard Window with below Code Required Minimum SHGC
ECM Motors on Furnaces | Space Heating | Variable Speed Electronically Commutated Motor for an Electric Furnace | Permanent Split Capacitor Motor for Electric Furnace
10HP Open Drip-Proof(ODP) Motor* | Ventilation and Circulation | High Efficiency 10 HP Open-Drip Proof Motor, 4-Pole, 1800 RPM | 10 HP Open-Drip Proof Motor with EPACT 1992 Efficiency
CO Sensors for Parking Garage Exhaust* | Ventilation and Circulation | Enclosed Parking Garage Exhaust with CO Control | Constant Volume Enclosed Parking Garage Exhaust
Demand Controlled Ventilation | Ventilation and Circulation | Return Air System with CO2 Sensors | Standard Return Air System, No Sensors
High Speed Fans | Ventilation and Circulation | High Speed Fan, 24" - 35" Blade Diameter | Standard Speed Fan, 24" - 35" Blade Diameter
VAV System* | Ventilation and Circulation | Variable Air Volume Distribution System | Constant Air Volume Distribution System

## Ind EE
MPS - Industrial Measures
Measure | End-Use | Measure Description | Baseline
Building Envelope Improvements | HVAC | Facility envelope improvements to improve thermal efficiency. Individual improvements may include additional insulation, cool roof, infiltration reduction, improved fenestration efficiency | Typical existing facility
HVAC Equipment Upgrades | HVAC | Equipment upgrades to improve operating efficiency. Includes high efficiency HVAC equipment (including DX units and chillers), HVAC VFDs, economizers, ECM motors | Market average HVAC equipment at existing facilities
HVAC Recommissioning | HVAC | Diagnostic evaluation and optimization of facility HVAC system | Comparable facility, no retro-commissioning
HVAC Improved Controls | HVAC | Improved control technologies such as EMS, thermostats, demand controlled ventilation | Standard/manual HVAC controls
Efficient Lighting - High Bay | Industrial Lighting | Efficient high bay lighting fixtures, including HID and LED | Market average high bay lighting
Efficient Lighting - Other Interior Lighting | Industrial Lighting | Efficient interior lighting, including conversion to efficient linear fluorescent, LEDs, and delamping | Market average interior lighting
Lighting Controls – Interior* | Industrial Lighting | Improved control technologies for interior lighting, such as time clocks, bi-level fixture controls, photocell controls, and occupancy/vacancy sensors | Standard/manual interior lighting controls
Efficient Lighting – Exterior* | Exterior Lighting | Efficient exterior lighting, including exterior walkway lighting, pathway lighting, security lighting, and customer-owned street lighting | Market average exterior lighting
Lighting Controls - Exterior | Exterior Lighting | Improved control technologies for exterior lighting, such as time clocks, bi-level fixture controls, photocell controls, and motion sensors | Standard/manual exterior lighting controls
Compressed Air System Optimization | Compressed Air | Compressed air system improvements, including system optimization, appropriate sizing, minimizing air pressure, replace compressed air use with mechanical or electrical functions | Standard compressed air system operations
Compressed Air Controls | Compressed Air | Improved control technologies for compressed air system, including optimized distribution system, VFD controls | Standard compressed air system operations with manual controls
Compressed Air Equipment | Compressed Air | Equipment upgrades to improve operating efficiency, including motor replacement, integrated VFD compressed air systems, improved nozzles, receiver capacity additions | Market average compressed air equipment
Fan Improved Controls | Motors Fans Blowers | Improved fan control technologies | Standard/manual fan controls
Fan System Optimization | Motors Fans Blowers | Fan system optimization | Standard fan operation
Fan Equipment Upgrades | Motors Fans Blowers | Equipment upgrades to improve operating efficiency, including motor replacement, VFD installation | Market average fan equipment
Pump Improved Controls | Motors Pumps | Improved pump control technologies | Standard/manual pump controls
Pump System Optimization | Motors Pumps | Pump system optimization | Standard pump system operations
Pump Equipment Upgrade | Motors Pumps | Equipment upgrades to improve operating efficiency, including motor replacement, VFD installation | Market average pump equipment
Motor Equipment Upgrades | Motors Pumps | Equipment upgrades to improve operating efficiency, including motor replacement, efficient drives, ECM motors, VFD installation | Market average motors
Motor Improved Controls | Motors Pumps | Improved motor control technologies | Standard/manual motor controls
Motor Optimization | Motors Pumps | Motor system optimization, including replacing drive belts, electric actuators, pump/motor rewinds | Standard motor operation
Process Heat Improved Controls | Process Heating | Improved process heat control technologies | Standard/manual process heat controls
Process Heat System Optimization | Process Heating | Process heat system optimization | Standard process heat system operations
Process Heat Equipment Upgrade | Process Heating | Equipment upgrades to improve operating efficiency | Market average process heating equipment
Process Other Systems Optimization | Process Specific | Process other system optimization | Standard process other system operations
Process Other Equipment Upgrades | Process Specific | Equipment upgrades to improve operating efficiency of industry-specific process equipment, such as injection molders, extruders, and other machinery | Market average process equipment
Process Refrig System Optimization | Process Cooling | Process refrigeration system optimization, including ventilation optimization, demand defrost, and floating head pressure controls | Standard process refrigeration system operations
Process Refrig Controls* | Process Cooling | Improved process refrigeration control technologies | Standard/manual process refrigeration controls
Process Refrig Equipment Upgrade* | Process Cooling | Equipment upgrades to improve operating efficiency, including efficient refrigeration compressors, evaporator fan motors, and related equipment | Market average process refrigeration equipment
Plant Energy Management | Multiple End-Uses | Facility control technologies and optimization to improve energy efficiency, including the installation of high efficient equipment, controls, and implementing system optimization practices to improve plant efficiency | Standard/manual plant energy management practices

## MPS DR
Measure | Type | Sector | Season | Measure Description
Central air conditioner - Load Shed | Direct load control | Residential | Summer | Direct load control program where utility provides day ahead notification that it will send remote signal to shed AC unit load during peak usage period.
Central Heating - Load Shed | Direct load control | Residential | Winter | Direct load control program where utility provides day ahead notification that it will send remote signal to shed AC unit load during peak usage period.
Central air conditioner - 50% cycling | Direct load control | Residential | Summer | Direct load control program where utility provides day ahead notification that it will send remote signal to cycle AC unit during peak usage period
Central Heating - 50% cycling | Direct load control | Residential | Winter | Direct load control program where utility provides day ahead notification that it will send remote signal to cycle AC unit during peak usage period
Smart thermostats - Utility Installation* | Direct load control | Residential | Summer and Winter | Similar to AC load control program, but allows customers to participate using a compatible smart thermostat rather than an AC switch
Smart thermostats – BYOT* | Direct load control | Residential | Summer and Winter | Similar to AC load control program, but allows customers to participate using a compatible smart thermostat rather than an AC switch
CPP + Tech | Pricing | Residential | Summer and Winter | Electricity rate that varies based on time of day. Can be same rate schedule for every day during a given season (time of use, or TOU) and with critical peak pricing (CPP) days when peak period rates are substantially higher for a limited number of days per year (customers receive advance notification of CPP event). Customers also receive technology that they can pre-program to curtail load when an event is called.
Water heater switches | Direct load control | Residential | Summer and Winter | Load control switch that is installed on a water heater
Pool pump switches | Direct load control | Residential | Summer and Winter | Load control program with switch installed on pool pump
Room AC* | Direct load control | Residential | Summer | Load control program that is focused on room AC units rather than central AC
Central air conditioner - Load Shed | Direct load control | Small C&I | Summer | Direct load control program where utility provides day ahead notification that it will send remote signal to shed AC unit load during peak usage period.
Central Heating - Load Shed* | Direct load control | Small C&I | Winter | Direct load control program where utility provides day ahead notification that it will send remote signal to shed AC unit load during peak usage period.
Central air conditioner - 50% cycling | Direct load control | Small C&I | Summer | Direct load control program where utility provides day ahead notification that it will send remote signal to cycle AC unit during peak usage period
Central Heating - 50% cycling* | Direct load control | Small C&I | Winter | Direct load control program where utility provides day ahead notification that it will send remote signal to cycle AC unit during peak usage period
Smart thermostats - Utility Installation* | Direct load control | Small C&I | Summer and Winter | Similar to AC load control program, but allows customers to participate using a compatible smart thermostat rather than an AC switch
Smart thermostats – BYOT* | Direct load control | Small C&I | Summer and Winter | Similar to AC load control program, but allows customers to participate using a compatible smart thermostat rather than an AC switch
CPP + Tech | Pricing | Small C&I | Summer and Winter | Electricity rate that varies based on time of day. Can be same rate schedule for every day during a given season (time of use, or TOU) and with critical peak pricing (CPP) days when peak period rates are substantially higher for a limited number of days per year (customers receive advance notification of CPP event). Customers also receive technology that they can pre-program to curtail load when an event is called.
CPP + Tech* | Pricing | Large C&I | Summer and Winter | Electricity rate that varies based on time of day. Can be same rate schedule for every day during a given season (time of use, or TOU) and with critical peak pricing (CPP) days when peak period rates are substantially higher for a limited number of days per year (customers receive advance notification of CPP event). Customers also receive technology that they can pre-program to curtail load when an event is called.
Auto DR* | Utility-controlled loads | Large C&I | Summer and Winter | Custom load control of specific end-uses/processes that is triggered by utility signal to building management system; customer can sometimes opt-out of specific events
Firm Service Level | Contractual | Large C&I | Summer and Winter | Customer commits to a maximum usage level during peak periods and, when notified by the utility, agrees to cut usage to that level.
Guaranteed Load Drop* | Contractual | Large C&I | Summer and Winter | Customer agrees to reduce usage by an agreed upon amount when notified

## MPS DSRE
Measure | Sector | Measure Description
PV System | Residential/Non-Residential | Roof-mounted system, including multiple panels, AC/DC inverter, racking system, and electrical system interconnections
Battery Storage from PV System* | Residential/Non-Residential | Lithium-ion battery system designed to integrate with an on-site PV system to store and discharge excess energy from PV generation
CHP – Fuel Cell* | Non-Residential | An electrochemical cell-based generator that reacts hydrogen fuel with oxygen
CHP – Micro Turbine* | Non-Residential | Small combustion turbine that burns gaseous or liquid fuel to drive a generator
CHP – Gas Turbine* | Non-Residential | A combustion turbine that burns gaseous or liquid fuel to drive a generator
CHP – Reciprocating Engine* | Non-Residential | An engine that uses one or more pistons to convert pressure into rotational motion
CHP - Steam Turbine* | Non-Residential | A turbine that extracts thermal energy from pressured steam to drive a generator