## April Update_Baseline
AVOIDED COST UPDATE - April 10 | BASELINE OUTLOOK (Moderate Escalation of Capacity and O&M Costs, and NG Prices)
| YEAR | COST ELEMENT | WINTER (Nov-Mar) |  | APRIL, OCTOBER |  | SUMMER (May-Sep) |  | ANNUAL
|  |  | Off-Peak | Peak | Off-Peak | Peak | Off-Peak | Peak
|  | Energy, Variable O&M | 29.4267 | 33.7365 | 27.6415 | 33.0831 | 31.0616 | 35.7702 | 31.8835
| 2018 | Generation Capacity | 3.8875 | 15.9053 | 5.3369 | 16.4935 | 2.904 | 26.2203 | 11.089
|  | Transmission | 1.4426 | 4.9328 | 1.8576 | 5.0998 | 0.8877 | 8.8206 | 3.6361
|  | All-In G&T Avoided Cost | 34.7567 | 54.5746 | 34.8359 | 54.6763 | 34.8532 | 70.811 | 46.6086
|  | Energy, Variable O&M | 34.5611 | 39.7424 | 31.9676 | 38.0594 | 35.2811 | 39.9866 | 36.711
| 2019 | Generation Capacity | 3.8875 | 15.9053 | 5.3369 | 16.4935 | 2.904 | 26.2203 | 11.089
|  | Transmission | 1.479 | 5.0574 | 1.9045 | 5.2286 | 0.91013 | 9.0434 | 3.728
|  | All-In G&T Avoided Cost | 39.9276 | 60.7052 | 39.2089 | 59.7815 | 39.0951 | 75.2503 | 51.5279
|  | Energy, Variable O&M | 39.6955 | 45.7484 | 36.2936 | 43.0357 | 39.5005 | 44.2031 | 41.5385
| 2020 | Generation Capacity | 3.8875 | 15.9053 | 5.3369 | 16.4935 | 2.904 | 26.2203 | 11.089
|  | Transmission | 1.5155 | 5.182 | 1.9514 | 5.3574 | 0.93255 | 9.2662 | 3.8198
|  | All-In G&T Avoided Cost | 45.0984 | 66.8357 | 43.5819 | 64.8866 | 43.3371 | 79.6896 | 56.4473
|  | Energy, Variable O&M | 39.6961 | 45.7369 | 36.5246 | 43.2843 | 39.7599 | 44.4877 | 41.689
| 2021 | Generation Capacity | 3.8875 | 15.9053 | 5.3369 | 16.4935 | 2.904 | 26.2203 | 11.089
|  | Transmission | 1.5532 | 5.3112 | 2 | 5.491 | 0.9558 | 9.4972 | 3.915
|  | All-In G&T Avoided Cost | 45.1368 | 66.9534 | 43.8615 | 65.2688 | 43.6197 | 80.2052 | 56.693
|  | Energy, Variable O&M | 39.6966 | 45.7253 | 36.757 | 43.5344 | 40.0209 | 44.7742 | 41.8405
| 2022 | Generation Capacity | 3.8875 | 15.9053 | 5.3369 | 16.4935 | 2.904 | 26.2203 | 11.089
|  | Transmission | 1.592 | 5.4436 | 2.0499 | 5.6278 | 0.97962 | 9.734 | 4.0126
|  | All-In G&T Avoided Cost | 45.1761 | 67.0742 | 44.1438 | 65.6557 | 43.9045 | 80.7284 | 56.9421
|  | Energy, Variable O&M | 39.6972 | 45.7138 | 36.9909 | 43.7859 | 40.2837 | 45.0625 | 41.993
| 2023 | Generation Capacity | 3.8875 | 15.9053 | 5.3369 | 16.4935 | 2.904 | 26.2203 | 11.089
|  | Transmission | 1.6316 | 5.5793 | 2.101 | 5.7681 | 1.004 | 9.9766 | 4.1126
|  | All-In G&T Avoided Cost | 45.2163 | 67.1984 | 44.4288 | 66.0475 | 44.1917 | 81.2593 | 57.1947
|  | Energy, Variable O&M | 39.6978 | 45.7023 | 37.2263 | 44.0388 | 40.5482 | 45.3526 | 42.1465
| 2024 | Generation Capacity | 3.8875 | 15.9053 | 5.3369 | 16.4935 | 2.904 | 26.2203 | 11.089
|  | Transmission | 1.6723 | 5.7184 | 2.1534 | 5.9119 | 1.0291 | 10.2253 | 4.2152
|  | All-In G&T Avoided Cost | 45.2576 | 67.3259 | 44.7165 | 66.4442 | 44.4812 | 81.7982 | 57.4507
|  | Energy, Variable O&M | 40.6711 | 46.8386 | 38.2179 | 45.2209 | 41.5843 | 46.5142 | 43.2166
| 2025 | Generation Capacity | 3.8875 | 15.9053 | 5.3369 | 16.4935 | 2.904 | 26.2203 | 11.089
|  | Transmission | 1.7139 | 5.8606 | 2.2069 | 6.059 | 1.0547 | 10.4796 | 4.32
|  | All-In G&T Avoided Cost | 46.2724 | 68.6045 | 45.7618 | 67.7733 | 45.543 | 83.2141 | 58.6256
|  | Energy, Variable O&M | 41.6682 | 48.0032 | 39.236 | 46.4346 | 42.6469 | 47.7056 | 44.3138
| 2026 | Generation Capacity | 3.8875 | 15.9053 | 5.3369 | 16.4935 | 2.904 | 26.2203 | 11.089
|  | Transmission | 1.7565 | 6.0064 | 2.2618 | 6.2097 | 1.0809 | 10.7403 | 4.4275
|  | All-In G&T Avoided Cost | 47.3122 | 69.9149 | 46.8347 | 69.1377 | 46.6318 | 84.6662 | 59.8303
|  | Energy, Variable O&M | 42.6898 | 49.1967 | 40.2812 | 47.6809 | 43.7367 | 48.9275 | 45.4389
| 2027 | Generation Capacity | 3.8875 | 15.9053 | 5.3369 | 16.4935 | 2.904 | 26.2203 | 11.089
|  | Transmission | 1.8002 | 6.1558 | 2.3181 | 6.3641 | 1.1078 | 11.0075 | 4.5376
|  | All-In G&T Avoided Cost | 48.3775 | 71.2578 | 47.9362 | 70.5385 | 47.7484 | 86.1552 | 61.0655
|  | Energy, Variable O&M | 43.7365 | 50.42 | 41.3542 | 48.9607 | 44.8543 | 50.1807 | 46.5927
| 2028 | Generation Capacity | 3.8875 | 15.9053 | 5.3369 | 16.4935 | 2.904 | 26.2203 | 11.089
|  | Transmission | 1.845 | 6.3089 | 2.3758 | 6.5224 | 1.1353 | 11.2812 | 4.6505
|  | All-In G&T Avoided Cost | 49.4689 | 72.6342 | 49.0669 | 71.9766 | 48.8936 | 87.6822 | 62.3321
|  | Energy, Variable O&M | 47.2028 | 54.5058 | 42.2865 | 49.8435 | 46.0011 | 51.3658 | 48.7883
| 2029 | Generation Capacity | 3.8921 | 15.9242 | 5.3432 | 16.5131 | 2.9074 | 26.2515 | 11.1022
|  | Transmission | 1.891 | 6.466 | 2.4349 | 6.6848 | 1.1636 | 11.5622 | 4.7663
|  | All-In G&T Avoided Cost | 52.9858 | 76.8961 | 50.0646 | 73.0415 | 50.0721 | 89.1794 | 64.6568
|  | Energy, Variable O&M | 48.0008 | 55.4123 | 43.004 | 50.67 | 46.7636 | 52.2087 | 49.6012
| 2030 | Generation Capacity | 3.8793 | 15.872 | 5.3257 | 16.4589 | 2.8979 | 26.1654 | 11.0658
|  | Transmission | 1.938 | 6.627 | 2.4955 | 6.8513 | 1.1926 | 11.85 | 4.8849
|  | All-In G&T Avoided Cost | 53.8181 | 77.9113 | 50.8253 | 73.9803 | 50.854 | 90.2241 | 65.5519
|  | Energy, Variable O&M | 48.5648 | 56.0437 | 43.5231 | 51.2563 | 47.3063 | 52.8035 | 50.1759
| 2031 | Generation Capacity | 3.8522 | 15.7609 | 5.2884 | 16.3438 | 2.8776 | 25.9823 | 10.9884
|  | Transmission | 1.9863 | 6.792 | 2.5577 | 7.0219 | 1.2223 | 12.1451 | 5.0066
|  | All-In G&T Avoided Cost | 54.4032 | 78.5966 | 51.3692 | 74.622 | 51.4062 | 90.9309 | 66.1709
|  | Energy, Variable O&M | 49.8342 | 57.497 | 44.6422 | 52.5592 | 48.5055 | 54.1355 | 51.4633
| 2032 | Generation Capacity | 3.8145 | 15.6067 | 5.2367 | 16.1838 | 2.8495 | 25.728 | 10.8808
|  | Transmission | 2.0358 | 6.9612 | 2.6214 | 7.1967 | 1.2527 | 12.4475 | 5.1312
|  | All-In G&T Avoided Cost | 55.6844 | 80.0649 | 52.5002 | 75.9398 | 52.6077 | 92.311 | 67.4754
|  | Energy, Variable O&M | 50.7681 | 58.5575 | 45.4768 | 53.5198 | 49.3915 | 55.1145 | 52.4107
| 2033 | Generation Capacity | 3.7702 | 15.4257 | 5.176 | 15.9962 | 2.8164 | 25.4297 | 10.7546
|  | Transmission | 2.0865 | 7.1345 | 2.6866 | 7.3759 | 1.2839 | 12.7575 | 5.259
|  | All-In G&T Avoided Cost | 56.6248 | 81.1177 | 53.3394 | 76.8919 | 53.4918 | 93.3016 | 68.4244
|  | Energy, Variable O&M | 51.6403 | 59.5449 | 46.2598 | 54.4173 | 50.2198 | 56.0283 | 53.2954
| 2034 | Generation Capacity | 3.7232 | 15.2332 | 5.1114 | 15.7965 | 2.7813 | 25.1123 | 10.6204
|  | Transmission | 2.1384 | 7.3121 | 2.7535 | 7.5596 | 1.3159 | 13.0751 | 5.39
|  | All-In G&T Avoided Cost | 57.5019 | 82.0902 | 54.1247 | 77.7734 | 54.3169 | 94.2156 | 69.3057
|  | Energy, Variable O&M | 52.5241 | 60.5453 | 47.0535 | 55.3269 | 51.0594 | 56.9543 | 54.1919
| 2035 | Generation Capacity | 3.6764 | 15.0418 | 5.0472 | 15.5981 | 2.7463 | 24.7969 | 10.487
|  | Transmission | 2.1916 | 7.4942 | 2.8221 | 7.7478 | 1.3486 | 13.4007 | 5.5242
|  | All-In G&T Avoided Cost | 58.3922 | 83.0814 | 54.9228 | 78.6728 | 55.1543 | 95.1519 | 70.2031
|  | Energy, Variable O&M | 53.5947 | 61.7633 | 48.0069 | 56.4272 | 52.0737 | 58.0766 | 55.2777
| 2036 | Generation Capacity | 3.6324 | 14.8616 | 4.9867 | 15.4113 | 2.7134 | 24.4998 | 10.3614
|  | Transmission | 2.2462 | 7.6808 | 2.8924 | 7.9407 | 1.3822 | 13.7344 | 5.6617
|  | All-In G&T Avoided Cost | 59.4733 | 84.3058 | 55.886 | 79.7792 | 56.1693 | 96.3108 | 71.3008
|  | Energy, Variable O&M | 54.4225 | 62.7015 | 48.7564 | 57.2878 | 52.8682 | 58.9537 | 56.1226
| 2037 | Generation Capacity | 3.5928 | 14.6996 | 4.9323 | 15.2432 | 2.6838 | 24.2327 | 10.2484
|  | Transmission | 2.3022 | 7.8721 | 2.9644 | 8.1385 | 1.4166 | 14.0764 | 5.8027
|  | All-In G&T Avoided Cost | 60.3175 | 85.2732 | 56.6531 | 80.6695 | 56.9687 | 97.2628 | 72.1737
|  | Energy, Variable O&M | 55.2067 | 63.5847 | 49.4686 | 58.0987 | 53.6176 | 59.7779 | 56.9198
| 2038 | Generation Capacity | 3.5588 | 14.5604 | 4.8856 | 15.0989 | 2.6584 | 24.0032 | 10.1514
|  | Transmission | 2.3595 | 8.0681 | 3.0382 | 8.3411 | 1.4519 | 14.4269 | 5.9472
|  | All-In G&T Avoided Cost | 61.125 | 86.2132 | 57.3925 | 81.5387 | 57.7279 | 98.208 | 73.0183

## April Update_Low Sensitivity
AVOIDED COST UPDATE - April 10 | BASELINE OUTLOOK (Moderate Escalation of Capacity and O&M Costs, and NG Prices)
| YEAR | COST ELEMENT | WINTER (Nov-Mar) |  | APRIL, OCTOBER |  | SUMMER (May-Sep) |  | ANNUAL
|  |  | Off-Peak | Peak | Off-Peak | Peak | Off-Peak | Peak
|  | Energy, Variable O&M | 29.4267 | 33.7365 | 27.6415 | 33.0831 | 31.0616 | 35.7702 | 31.8835
| 2018 | Generation Capacity | 3.8875 | 15.9053 | 5.3369 | 16.4935 | 2.904 | 26.2203 | 11.089
|  | Transmission | 1.4426 | 4.9328 | 1.8576 | 5.0998 | 0.8877 | 8.8206 | 3.6361
|  | All-In G&T Avoided Cost | 34.7567 | 54.5746 | 34.8359 | 54.6763 | 34.8532 | 70.811 | 46.6086
|  | Energy, Variable O&M | 34.5533 | 39.7342 | 31.9598 | 38.0511 | 35.2733 | 39.9784 | 36.703
| 2019 | Generation Capacity | 3.8875 | 15.9053 | 5.3369 | 16.4935 | 2.904 | 26.2203 | 11.089
|  | Transmission | 1.4716 | 5.032 | 1.8949 | 5.2023 | 0.90554 | 8.9979 | 3.7092
|  | All-In G&T Avoided Cost | 39.9124 | 60.6714 | 39.1916 | 59.7468 | 39.0828 | 75.1965 | 51.5012
|  | Energy, Variable O&M | 39.68 | 45.7319 | 36.2781 | 43.0191 | 39.485 | 44.1865 | 41.5225
| 2020 | Generation Capacity | 3.8875 | 15.9053 | 5.3369 | 16.4935 | 2.904 | 26.2203 | 11.089
|  | Transmission | 1.5006 | 5.1311 | 1.9322 | 5.3047 | 0.92338 | 9.1751 | 3.7823
|  | All-In G&T Avoided Cost | 45.068 | 66.7682 | 43.5472 | 64.8174 | 43.3124 | 79.5819 | 56.3938
|  | Energy, Variable O&M | 39.6831 | 45.723 | 36.5115 | 43.2704 | 39.7469 | 44.4738 | 41.6756
| 2021 | Generation Capacity | 3.8875 | 15.9053 | 5.3369 | 16.4935 | 2.904 | 26.2203 | 11.089
|  | Transmission | 1.5304 | 5.2332 | 1.9707 | 5.4103 | 0.94176 | 9.3577 | 3.8575
|  | All-In G&T Avoided Cost | 45.101 | 66.8615 | 43.8191 | 65.1742 | 43.5926 | 80.0518 | 56.6221
|  | Energy, Variable O&M | 39.6862 | 45.7142 | 36.7465 | 43.5231 | 40.0104 | 44.7629 | 41.8297
| 2022 | Generation Capacity | 3.8875 | 15.9053 | 5.3369 | 16.4935 | 2.904 | 26.2203 | 11.089
|  | Transmission | 1.5609 | 5.3374 | 2.0099 | 5.518 | 0.9605 | 9.5439 | 3.9343
|  | All-In G&T Avoided Cost | 45.1345 | 66.9568 | 44.0932 | 65.5346 | 43.8749 | 80.5271 | 56.853
|  | Energy, Variable O&M | 39.6893 | 45.7053 | 36.9829 | 43.7773 | 40.2757 | 45.0539 | 41.9848
| 2023 | Generation Capacity | 3.8875 | 15.9053 | 5.3369 | 16.4935 | 2.904 | 26.2203 | 11.089
|  | Transmission | 1.5919 | 5.4436 | 2.0499 | 5.6278 | 0.97961 | 9.7339 | 4.0126
|  | All-In G&T Avoided Cost | 45.1687 | 67.0541 | 44.3697 | 65.8986 | 44.1593 | 81.0081 | 57.0864
|  | Energy, Variable O&M | 39.6923 | 45.6964 | 37.2208 | 44.033 | 40.5428 | 45.3468 | 42.1409
| 2024 | Generation Capacity | 3.8875 | 15.9053 | 5.3369 | 16.4935 | 2.904 | 26.2203 | 11.089
|  | Transmission | 1.6236 | 5.5519 | 2.0907 | 5.7398 | 0.99911 | 9.9276 | 4.0924
|  | All-In G&T Avoided Cost | 45.2034 | 67.1536 | 44.6484 | 66.2663 | 44.4458 | 81.4947 | 57.3223
|  | Energy, Variable O&M | 40.6592 | 46.8259 | 38.2061 | 45.2082 | 41.5725 | 46.5016 | 43.2043
| 2025 | Generation Capacity | 3.8875 | 15.9053 | 5.3369 | 16.4935 | 2.904 | 26.2203 | 11.089
|  | Transmission | 1.6478 | 5.6346 | 2.1218 | 5.8252 | 1.014 | 10.0754 | 4.1534
|  | All-In G&T Avoided Cost | 46.1945 | 68.3658 | 45.6648 | 67.5269 | 45.4904 | 82.7972 | 58.4467
|  | Energy, Variable O&M | 41.6496 | 47.9833 | 39.2175 | 46.4148 | 42.6283 | 47.6858 | 44.2947
| 2026 | Generation Capacity | 3.8875 | 15.9053 | 5.3369 | 16.4935 | 2.904 | 26.2203 | 11.089
|  | Transmission | 1.6723 | 5.7185 | 2.1534 | 5.912 | 1.0291 | 10.2254 | 4.2152
|  | All-In G&T Avoided Cost | 47.2094 | 69.607 | 46.7077 | 68.8202 | 46.5614 | 84.1314 | 59.5989
|  | Energy, Variable O&M | 42.6641 | 49.1693 | 40.2556 | 47.6535 | 43.711 | 48.9001 | 45.4125
| 2027 | Generation Capacity | 3.8875 | 15.9053 | 5.3369 | 16.4935 | 2.904 | 26.2203 | 11.089
|  | Transmission | 1.6972 | 5.8036 | 2.1855 | 6 | 1.0444 | 10.3776 | 4.278
|  | All-In G&T Avoided Cost | 48.2488 | 70.8782 | 47.7779 | 70.147 | 47.6594 | 85.498 | 60.7795
|  | Energy, Variable O&M | 43.7034 | 50.3846 | 41.3212 | 48.9254 | 44.8212 | 50.1454 | 46.5586
| 2028 | Generation Capacity | 3.8875 | 15.9053 | 5.3369 | 16.4935 | 2.904 | 26.2203 | 11.089
|  | Transmission | 1.7225 | 5.89 | 2.218 | 6.0893 | 1.06 | 10.5321 | 4.3416
|  | All-In G&T Avoided Cost | 49.3133 | 72.1799 | 48.8761 | 71.5082 | 48.7852 | 86.8977 | 61.9893
|  | Energy, Variable O&M | 47.2051 | 54.5095 | 42.2888 | 49.8474 | 46.0045 | 51.3701 | 48.7917
| 2029 | Generation Capacity | 3.9014 | 15.9624 | 5.356 | 16.5527 | 2.9144 | 26.3144 | 11.1288
|  | Transmission | 1.7568 | 6.0072 | 2.2621 | 6.2105 | 1.081 | 10.7417 | 4.428
|  | All-In G&T Avoided Cost | 52.8633 | 76.479 | 49.9069 | 72.6105 | 50 | 88.4262 | 64.3485
|  | Energy, Variable O&M | 48.0058 | 55.4201 | 43.0089 | 50.6784 | 46.771 | 52.2181 | 49.6083
| 2030 | Generation Capacity | 3.8994 | 15.9542 | 5.3533 | 16.5442 | 2.9129 | 26.301 | 11.1231
|  | Transmission | 1.7917 | 6.1267 | 2.3071 | 6.3341 | 1.1026 | 10.9555 | 4.5162
|  | All-In G&T Avoided Cost | 53.697 | 77.5011 | 50.6694 | 73.5567 | 50.7865 | 89.4746 | 65.2477
|  | Energy, Variable O&M | 48.5726 | 56.0557 | 43.5306 | 51.2692 | 47.3178 | 52.8182 | 50.187
| 2031 | Generation Capacity | 3.8833 | 15.8883 | 5.3312 | 16.4759 | 2.9009 | 26.1923 | 11.0772
|  | Transmission | 1.8274 | 6.2487 | 2.3531 | 6.4601 | 1.1245 | 11.1735 | 4.606
|  | All-In G&T Avoided Cost | 54.2833 | 78.1927 | 51.2149 | 74.2052 | 51.3432 | 90.1839 | 65.8702
|  | Energy, Variable O&M | 49.8445 | 57.513 | 44.6522 | 52.5763 | 48.5208 | 54.1548 | 51.478
| 2032 | Generation Capacity | 3.8557 | 15.7752 | 5.2933 | 16.3586 | 2.8802 | 26.0059 | 10.9984
|  | Transmission | 1.8638 | 6.373 | 2.3999 | 6.5887 | 1.1469 | 11.3958 | 4.6977
|  | All-In G&T Avoided Cost | 55.5639 | 79.6613 | 52.3454 | 75.5236 | 52.5479 | 91.5565 | 67.174
|  | Energy, Variable O&M | 50.7805 | 58.5766 | 45.4888 | 53.5403 | 49.4097 | 55.1376 | 52.4282
| 2033 | Generation Capacity | 3.8196 | 15.6275 | 5.2437 | 16.2054 | 2.8532 | 25.7623 | 10.8953
|  | Transmission | 1.9008 | 6.4998 | 2.4476 | 6.7198 | 1.1697 | 11.6226 | 4.7912
|  | All-In G&T Avoided Cost | 56.5009 | 80.7039 | 53.1802 | 76.4654 | 53.4327 | 92.5225 | 68.1147
|  | Energy, Variable O&M | 51.654 | 59.5661 | 46.2731 | 54.44 | 50.2401 | 56.054 | 53.3149
| 2034 | Generation Capacity | 3.778 | 15.4574 | 5.1866 | 16.029 | 2.8222 | 25.4819 | 10.7767
|  | Transmission | 1.9387 | 6.6292 | 2.4963 | 6.8535 | 1.193 | 11.8539 | 4.8865
|  | All-In G&T Avoided Cost | 57.3707 | 81.6527 | 53.9561 | 77.3225 | 54.2552 | 93.3898 | 68.9781
|  | Energy, Variable O&M | 52.5385 | 60.5675 | 47.0675 | 55.3507 | 51.0806 | 56.9812 | 54.2123
| 2035 | Generation Capacity | 3.7338 | 15.2764 | 5.1259 | 15.8413 | 2.7892 | 25.1835 | 10.6506
|  | Transmission | 1.9773 | 6.7611 | 2.546 | 6.9899 | 1.2167 | 12.0898 | 4.9838
|  | All-In G&T Avoided Cost | 58.2495 | 82.605 | 54.7394 | 78.1819 | 55.0864 | 94.2546 | 69.8467
|  | Energy, Variable O&M | 53.6089 | 61.7853 | 48.0208 | 56.4508 | 52.0947 | 58.1033 | 55.2979
| 2036 | Generation Capacity | 3.6892 | 15.0942 | 5.0647 | 15.6524 | 2.7559 | 24.8832 | 10.5235
|  | Transmission | 2.0166 | 6.8957 | 2.5967 | 7.129 | 1.2409 | 12.3304 | 5.0829
|  | All-In G&T Avoided Cost | 59.3147 | 83.7752 | 55.6822 | 79.2322 | 56.0915 | 95.3168 | 70.9044
|  | Energy, Variable O&M | 54.4368 | 62.7235 | 48.7703 | 57.3114 | 52.8892 | 58.9804 | 56.1428
| 2037 | Generation Capacity | 3.6463 | 14.9184 | 5.0058 | 15.4701 | 2.7238 | 24.5934 | 10.401
|  | Transmission | 2.0567 | 7.0329 | 2.6484 | 7.2709 | 1.2656 | 12.5758 | 5.1841
|  | All-In G&T Avoided Cost | 60.1398 | 84.6749 | 56.4244 | 80.0524 | 56.8786 | 96.1496 | 71.7279
|  | Energy, Variable O&M | 55.2194 | 63.6044 | 49.481 | 58.1197 | 53.6364 | 59.8018 | 56.9378
| 2038 | Generation Capacity | 3.6063 | 14.7548 | 4.9509 | 15.3005 | 2.6939 | 24.3237 | 10.2869
|  | Transmission | 2.0977 | 7.1728 | 2.7011 | 7.4156 | 1.2908 | 12.826 | 5.2873
|  | All-In G&T Avoided Cost | 60.9234 | 85.532 | 57.1329 | 80.8358 | 57.6211 | 96.9515 | 72.512

## April Update_High Sensitivity
AVOIDED COST UPDATE - April 10 | High Sensitivity Avoided Cost Outlook
| YEAR | COST ELEMENT | WINTER (Nov-Mar) |  | APRIL, OCTOBER |  | SUMMER (May-Sep) |  | ANNUAL
|  |  | Off-Peak | Peak | Off-Peak | Peak | Off-Peak | Peak
|  | Energy, Variable O&M | 29.4267 | 33.7365 | 27.6415 | 33.0831 | 31.0616 | 35.7702 | 31.8835
| 2018 | Generation Capacity | 3.8875 | 15.9053 | 5.3369 | 16.4935 | 2.904 | 26.2203 | 11.089
|  | Transmission | 1.4426 | 4.9328 | 1.8576 | 5.0998 | 0.8877 | 8.8206 | 3.6361
|  | All-In G&T Avoided Cost | 34.7567 | 54.5746 | 34.8359 | 54.6763 | 34.8532 | 70.811 | 46.6086
|  | Energy, Variable O&M | 34.8348 | 40.0348 | 32.2413 | 38.3518 | 35.5548 | 40.279 | 36.993
| 2019 | Generation Capacity | 3.8875 | 15.9053 | 5.3369 | 16.4935 | 2.904 | 26.2203 | 11.089
|  | Transmission | 1.4864 | 5.0825 | 1.9139 | 5.2545 | 0.91464 | 9.0883 | 3.7464
|  | All-In G&T Avoided Cost | 40.2086 | 61.0226 | 39.4921 | 60.0998 | 39.3734 | 75.5875 | 51.8284
|  | Energy, Variable O&M | 40.2429 | 46.3331 | 36.841 | 43.6204 | 40.048 | 44.7878 | 42.1024
| 2020 | Generation Capacity | 3.8875 | 15.9053 | 5.3369 | 16.4935 | 2.904 | 26.2203 | 11.089
|  | Transmission | 1.5301 | 5.2322 | 1.9703 | 5.4093 | 0.94158 | 9.3559 | 3.8568
|  | All-In G&T Avoided Cost | 45.6605 | 67.4706 | 44.1482 | 65.5232 | 43.8935 | 80.364 | 57.0482
|  | Energy, Variable O&M | 40.396 | 46.4847 | 37.2216 | 44.0293 | 40.4569 | 45.2324 | 42.4085
| 2021 | Generation Capacity | 3.8875 | 15.9053 | 5.3369 | 16.4935 | 2.904 | 26.2203 | 11.089
|  | Transmission | 1.5759 | 5.3887 | 2.0292 | 5.571 | 0.96973 | 9.6357 | 3.9721
|  | All-In G&T Avoided Cost | 45.8593 | 67.7786 | 44.5877 | 66.0937 | 44.3306 | 81.0883 | 57.4696
|  | Energy, Variable O&M | 40.5496 | 46.6367 | 37.6061 | 44.4419 | 40.8701 | 45.6813 | 42.7171
| 2022 | Generation Capacity | 3.8875 | 15.9053 | 5.3369 | 16.4935 | 2.904 | 26.2203 | 11.089
|  | Transmission | 1.623 | 5.5498 | 2.0899 | 5.7376 | 0.99873 | 9.9238 | 4.0909
|  | All-In G&T Avoided Cost | 46.0601 | 68.0918 | 45.0329 | 66.673 | 44.7728 | 81.8254 | 57.897
|  | Energy, Variable O&M | 40.7038 | 46.7893 | 37.9946 | 44.8584 | 41.2874 | 46.1347 | 43.0285
| 2023 | Generation Capacity | 3.8875 | 15.9053 | 5.3369 | 16.4935 | 2.904 | 26.2203 | 11.089
|  | Transmission | 1.6715 | 5.7157 | 2.1524 | 5.9092 | 1.0286 | 10.2205 | 4.2132
|  | All-In G&T Avoided Cost | 46.2628 | 68.4103 | 45.4839 | 67.2611 | 45.22 | 82.5755 | 58.3307
|  | Energy, Variable O&M | 40.8587 | 46.9423 | 38.3872 | 45.2789 | 41.7091 | 46.5927 | 43.3425
| 2024 | Generation Capacity | 3.8875 | 15.9053 | 5.3369 | 16.4935 | 2.904 | 26.2203 | 11.089
|  | Transmission | 1.7215 | 5.8866 | 2.2167 | 6.0858 | 1.0593 | 10.5261 | 4.3392
|  | All-In G&T Avoided Cost | 46.4676 | 68.7342 | 45.9408 | 67.8582 | 45.6724 | 83.339 | 58.7707
|  | Energy, Variable O&M | 41.954 | 48.2089 | 39.5003 | 46.5906 | 42.867 | 47.8843 | 44.5381
| 2025 | Generation Capacity | 3.8875 | 15.9053 | 5.3369 | 16.4935 | 2.904 | 26.2203 | 11.089
|  | Transmission | 1.76 | 6.0182 | 2.2663 | 6.2218 | 1.083 | 10.7613 | 4.4361
|  | All-In G&T Avoided Cost | 47.6014 | 70.1323 | 47.1034 | 69.3059 | 46.8539 | 84.8659 | 60.0632
|  | Energy, Variable O&M | 43.0786 | 49.5097 | 40.6457 | 47.9403 | 44.057 | 49.2118 | 45.7667
| 2026 | Generation Capacity | 3.8875 | 15.9053 | 5.3369 | 16.4935 | 2.904 | 26.2203 | 11.089
|  | Transmission | 1.7993 | 6.1526 | 2.3169 | 6.3608 | 1.1072 | 11.0017 | 4.5352
|  | All-In G&T Avoided Cost | 48.7654 | 71.5676 | 48.2994 | 70.7946 | 48.0682 | 86.4338 | 61.3909
|  | Energy, Variable O&M | 44.2335 | 50.8456 | 41.8243 | 49.3292 | 45.2801 | 50.5761 | 47.0291
| 2027 | Generation Capacity | 3.8875 | 15.9053 | 5.3369 | 16.4935 | 2.904 | 26.2203 | 11.089
|  | Transmission | 1.8395 | 6.2901 | 2.3686 | 6.5029 | 1.1319 | 11.2475 | 4.6366
|  | All-In G&T Avoided Cost | 49.9604 | 73.0409 | 49.5298 | 72.3256 | 49.316 | 88.0439 | 62.7547
|  | Energy, Variable O&M | 45.4193 | 52.2175 | 43.037 | 50.7582 | 46.5371 | 51.9782 | 48.3265
| 2028 | Generation Capacity | 3.8875 | 15.9053 | 5.3369 | 16.4935 | 2.904 | 26.2203 | 11.089
|  | Transmission | 1.8806 | 6.4306 | 2.4216 | 6.6482 | 1.1572 | 11.4988 | 4.7401
|  | All-In G&T Avoided Cost | 51.1873 | 74.5534 | 50.7955 | 73.8999 | 50.5983 | 89.6973 | 64.1556
|  | Energy, Variable O&M | 64.4016 | 74.5849 | 56.9042 | 67.3487 | 62.0312 | 69.3851 | 66.1857
| 2029 | Generation Capacity | 3.8715 | 15.8398 | 5.3149 | 16.4256 | 2.892 | 26.1124 | 11.0434
|  | Transmission | 1.9368 | 6.6229 | 2.494 | 6.847 | 1.1918 | 11.8426 | 4.8819
|  | All-In G&T Avoided Cost | 70.2099 | 97.0477 | 64.7131 | 90.6213 | 66.1151 | 107.3401 | 82.1109
|  | Energy, Variable O&M | 66.2767 | 76.747 | 58.5366 | 69.2682 | 63.7948 | 71.3523 | 68.086
| 2030 | Generation Capacity | 3.8364 | 15.6963 | 5.2668 | 16.2768 | 2.8658 | 25.8758 | 10.9433
|  | Transmission | 1.9947 | 6.8209 | 2.5685 | 7.0517 | 1.2275 | 12.1967 | 5.0278
|  | All-In G&T Avoided Cost | 72.1079 | 99.2642 | 66.3719 | 92.5967 | 67.8881 | 109.4248 | 84.0572
|  | Energy, Variable O&M | 67.4559 | 78.0946 | 59.5779 | 70.4773 | 64.9082 | 72.5874 | 69.2809
| 2031 | Generation Capacity | 3.7882 | 15.4993 | 5.2007 | 16.0725 | 2.8299 | 25.551 | 10.806
|  | Transmission | 2.0544 | 7.0249 | 2.6453 | 7.2626 | 1.2642 | 12.5614 | 5.1782
|  | All-In G&T Avoided Cost | 73.2985 | 100.6188 | 67.4239 | 93.8124 | 69.0022 | 110.6998 | 85.2651
|  | Energy, Variable O&M | 70.8208 | 81.993 | 62.4776 | 73.9107 | 68.0585 | 76.1117 | 72.6865
| 2032 | Generation Capacity | 3.7333 | 15.2744 | 5.1252 | 15.8393 | 2.7888 | 25.1803 | 10.6492
|  | Transmission | 2.1158 | 7.2349 | 2.7244 | 7.4797 | 1.302 | 12.937 | 5.333
|  | All-In G&T Avoided Cost | 76.6699 | 104.5023 | 70.3272 | 97.2297 | 72.1493 | 114.229 | 88.6687
|  | Energy, Variable O&M | 73.1983 | 84.7378 | 64.5388 | 76.3389 | 70.2885 | 78.6011 | 75.093
| 2033 | Generation Capacity | 3.677 | 15.0443 | 5.048 | 15.6007 | 2.7468 | 24.801 | 10.4888
|  | Transmission | 2.1791 | 7.4512 | 2.8059 | 7.7034 | 1.3409 | 13.3238 | 5.4925
|  | All-In G&T Avoided Cost | 79.0544 | 107.2333 | 72.3927 | 99.643 | 74.3762 | 116.7259 | 91.0743
|  | Energy, Variable O&M | 75.4043 | 87.282 | 66.4553 | 78.5933 | 72.3594 | 80.9114 | 77.3265
| 2034 | Generation Capacity | 3.6239 | 14.8268 | 4.975 | 15.3751 | 2.7071 | 24.4424 | 10.3371
|  | Transmission | 2.2442 | 7.674 | 2.8898 | 7.9337 | 1.381 | 13.7222 | 5.6567
|  | All-In G&T Avoided Cost | 81.2724 | 109.7828 | 74.3201 | 101.9021 | 76.4475 | 119.0759 | 93.3203
|  | Energy, Variable O&M | 77.6677 | 89.8931 | 68.4216 | 80.9072 | 74.485 | 83.2831 | 79.6186
| 2035 | Generation Capacity | 3.5768 | 14.6343 | 4.9104 | 15.1755 | 2.6719 | 24.125 | 10.2029
|  | Transmission | 2.3113 | 7.9035 | 2.9762 | 8.1709 | 1.4223 | 14.1325 | 5.8258
|  | All-In G&T Avoided Cost | 83.5558 | 112.4308 | 76.3082 | 104.2536 | 78.5792 | 121.5405 | 95.6473
|  | Energy, Variable O&M | 80.5731 | 93.2539 | 70.9347 | 83.8763 | 77.2105 | 86.3293 | 82.5612
| 2036 | Generation Capacity | 3.5378 | 14.4746 | 4.8568 | 15.0099 | 2.6428 | 23.8617 | 10.0915
|  | Transmission | 2.3804 | 8.1398 | 3.0652 | 8.4152 | 1.4648 | 14.555 | 6
|  | All-In G&T Avoided Cost | 86.4913 | 115.8683 | 78.8568 | 107.3014 | 81.3181 | 124.746 | 98.6528
|  | Energy, Variable O&M | 82.6608 | 95.6631 | 72.7551 | 86.0194 | 79.1794 | 88.5267 | 84.6806
| 2037 | Generation Capacity | 3.5078 | 14.3518 | 4.8156 | 14.8825 | 2.6203 | 23.6593 | 10.0059
|  | Transmission | 2.4516 | 8.3832 | 3.1568 | 8.6668 | 1.5086 | 14.9902 | 6.1794
|  | All-In G&T Avoided Cost | 88.6202 | 118.3981 | 80.7275 | 109.5688 | 83.3084 | 127.1762 | 100.866
|  | Energy, Variable O&M | 84.6304 | 97.9317 | 74.4753 | 88.0392 | 81.0358 | 90.596 | 86.6785
| 2038 | Generation Capacity | 3.4872 | 14.2675 | 4.7873 | 14.7951 | 2.6049 | 23.5203 | 9.9472
|  | Transmission | 2.5249 | 8.6338 | 3.2512 | 8.926 | 1.5537 | 15.4385 | 6.3642
|  | All-In G&T Avoided Cost | 90.6425 | 120.833 | 82.5138 | 111.7603 | 85.1944 | 129.5548 | 102.9898

## December, Initial (B,L,H)
BASELINE AVOIDED COST OUTLOOK (Moderate Escalation of Capacity and O&M Costs, and NG Prices) | [7 empty] | LOW AVOIDED COST SENSITIVITY CASE (Low Escalation of Capacity and O&M Costs, and NG Prices) | [7 empty] | HIGH AVOIDED COST SENSITIVITY CASE (High Escalation of Capacity and O&M Costs, and NG Prices)
YEAR | COST ELEMENT | WINTER (Nov-Mar) |  | APRIL, OCTOBER |  | SUMMER (May-Sep) |  | YEAR | COST ELEMENT | WINTER (Nov-Mar) |  | APRIL, OCTOBER |  | SUMMER (May-Sep) |  | YEAR | COST ELEMENT | WINTER (Nov-Mar) |  | APRIL, OCTOBER |  | SUMMER (May-Sep)
|  | Off-Peak | Peak | Off-Peak | Peak | Off-Peak | Peak |  |  | Off-Peak | Peak | Off-Peak | Peak | Off-Peak | Peak |  |  | Off-Peak | Peak | Off-Peak | Peak | Off-Peak | Peak
| Energy, Variable O&M | 38.037 | 41.8656 | 30.7479 | 35.8396 | 31.4058 | 34.8503 |  | Energy, Variable O&M | 37.9009 | 41.7159 | 30.6353 | 35.7084 | 31.2912 | 34.7231 |  | Energy, Variable O&M | 38.19 | 42.0341 | 30.8745 | 35.9873 | 31.5347 | 34.9934
2018 | Generation Capacity | 4.4694 | 14.6313 | 3.7897 | 21.4773 | 4.2087 | 23.7918 | 2018 | Generation Capacity | 4.4694 | 14.6313 | 3.7897 | 21.4773 | 4.2087 | 23.7918 | 2018 | Generation Capacity | 4.4694 | 14.6313 | 3.7897 | 21.4773 | 4.2087 | 23.7918
| Transmission | 1.3645 | 4.403 | 1.1459 | 6.4939 | 1.2726 | 7.1938 |  | Transmission | 1.3645 | 4.403 | 1.1459 | 6.4939 | 1.2726 | 7.1938 |  | Transmission | 1.3645 | 4.403 | 1.1459 | 6.4939 | 1.2726 | 7.1938
| All-In G&T Avoided Cost | 43.8709 | 60.8999 | 35.6835 | 63.8109 | 36.8871 | 65.8359 |  | All-In G&T Avoided Cost | 43.7349 | 60.7502 | 35.5709 | 63.6796 | 36.7725 | 65.7088 |  | All-In G&T Avoided Cost | 44.024 | 61.0684 | 35.8102 | 63.9585 | 37.016 | 65.979
| Energy, Variable O&M | 37.8769 | 42.2547 | 30.9284 | 35.8114 | 31.6085 | 34.7989 |  | Energy, Variable O&M | 37.6071 | 41.9537 | 30.7027 | 35.5501 | 31.3786 | 34.5459 |  | Energy, Variable O&M | 38.1818 | 42.5948 | 31.1833 | 36.1066 | 31.8681 | 35.0848
2019 | Generation Capacity | 4.5305 | 14.5337 | 3.8178 | 21.3944 | 4.2066 | 23.7999 | 2019 | Generation Capacity | 4.5305 | 14.5337 | 3.8178 | 21.3944 | 4.2066 | 23.7999 | 2019 | Generation Capacity | 4.5305 | 14.5337 | 3.8178 | 21.3944 | 4.2066 | 23.7999
| Transmission | 1.4185 | 4.5172 | 1.1898 | 6.6651 | 1.3106 | 7.4154 |  | Transmission | 1.4185 | 4.5172 | 1.1898 | 6.6651 | 1.3106 | 7.4154 |  | Transmission | 1.4185 | 4.5172 | 1.1898 | 6.6651 | 1.3106 | 7.4154
| All-In G&T Avoided Cost | 43.8259 | 61.3056 | 35.936 | 63.8709 | 37.1257 | 66.0142 |  | All-In G&T Avoided Cost | 43.556 | 61.0045 | 35.7103 | 63.6095 | 36.8959 | 65.7611 |  | All-In G&T Avoided Cost | 44.1307 | 61.6457 | 36.1909 | 64.1661 | 37.3854 | 66.3001
| Energy, Variable O&M | 38.5575 | 43.5806 | 31.8128 | 36.5943 | 32.5304 | 35.5306 |  | Energy, Variable O&M | 38.1462 | 43.1156 | 31.4652 | 36.1945 | 32.1762 | 35.1437 |  | Energy, Variable O&M | 39.0242 | 44.108 | 32.2071 | 37.0479 | 32.9323 | 35.9695
2020 | Generation Capacity | 4.5915 | 14.4361 | 3.8459 | 21.3115 | 4.2046 | 23.8079 | 2020 | Generation Capacity | 4.5915 | 14.4361 | 3.8459 | 21.3115 | 4.2046 | 23.8079 | 2020 | Generation Capacity | 4.5915 | 14.4361 | 3.8459 | 21.3115 | 4.2046 | 23.8079
| Transmission | 1.4725 | 4.6313 | 1.2337 | 6.8362 | 1.3487 | 7.637 |  | Transmission | 1.4725 | 4.6313 | 1.2337 | 6.8362 | 1.3487 | 7.637 |  | Transmission | 1.4725 | 4.6313 | 1.2337 | 6.8362 | 1.3487 | 7.637
| All-In G&T Avoided Cost | 44.6215 | 62.6479 | 36.8924 | 64.742 | 38.0837 | 66.9756 |  | All-In G&T Avoided Cost | 44.2102 | 62.183 | 36.5448 | 64.3422 | 37.7294 | 66.5886 |  | All-In G&T Avoided Cost | 45.0882 | 63.1754 | 37.2867 | 65.1956 | 38.4855 | 67.4145
| Energy, Variable O&M | 39.9722 | 45.6335 | 33.2575 | 38.0638 | 34.0289 | 36.922 |  | Energy, Variable O&M | 39.4036 | 44.9844 | 32.7733 | 37.5096 | 33.535 | 36.3861 |  | Energy, Variable O&M | 40.62 | 46.373 | 33.8092 | 38.6953 | 34.5916 | 37.5326
2021 | Generation Capacity | 4.6445 | 14.349 | 3.8663 | 21.2507 | 4.2043 | 23.8088 | 2021 | Generation Capacity | 4.6445 | 14.349 | 3.8663 | 21.2507 | 4.2043 | 23.8088 | 2021 | Generation Capacity | 4.6445 | 14.349 | 3.8663 | 21.2507 | 4.2043 | 23.8088
| Transmission | 1.5343 | 4.7413 | 1.2774 | 7.0212 | 1.3891 | 7.8665 |  | Transmission | 1.5343 | 4.7413 | 1.2774 | 7.0212 | 1.3891 | 7.8665 |  | Transmission | 1.5343 | 4.7413 | 1.2774 | 7.0212 | 1.3891 | 7.8665
| All-In G&T Avoided Cost | 46.151 | 64.7238 | 38.4012 | 66.3358 | 39.6223 | 68.5973 |  | All-In G&T Avoided Cost | 45.5824 | 64.0747 | 37.917 | 65.7815 | 39.1284 | 68.0614 |  | All-In G&T Avoided Cost | 46.7988 | 65.4633 | 38.9529 | 66.9672 | 40.185 | 69.2079
| Energy, Variable O&M | 41.2762 | 47.5955 | 34.6284 | 39.4336 | 35.4541 | 38.2146 |  | Energy, Variable O&M | 40.5425 | 46.7495 | 33.9986 | 38.7164 | 34.8112 | 37.5217 |  | Energy, Variable O&M | 42.1155 | 48.5633 | 35.3489 | 40.2541 | 36.1895 | 39.0072
2022 | Generation Capacity | 4.6981 | 14.2625 | 3.8868 | 21.1901 | 4.2041 | 23.8098 | 2022 | Generation Capacity | 4.6981 | 14.2625 | 3.8868 | 21.1901 | 4.2041 | 23.8098 | 2022 | Generation Capacity | 4.6981 | 14.2625 | 3.8868 | 21.1901 | 4.2041 | 23.8098
| Transmission | 1.5986 | 4.854 | 1.3227 | 7.2112 | 1.4307 | 8.1028 |  | Transmission | 1.5986 | 4.854 | 1.3227 | 7.2112 | 1.4307 | 8.1028 |  | Transmission | 1.5986 | 4.854 | 1.3227 | 7.2112 | 1.4307 | 8.1028
| All-In G&T Avoided Cost | 47.5729 | 66.712 | 39.8379 | 67.8349 | 41.0888 | 70.1271 |  | All-In G&T Avoided Cost | 46.8393 | 65.866 | 39.208 | 67.1176 | 40.446 | 69.4342 |  | All-In G&T Avoided Cost | 48.4123 | 67.6798 | 40.5584 | 68.6554 | 41.8242 | 70.9198
| Energy, Variable O&M | 42.7877 | 49.8343 | 36.199 | 41.015 | 37.0852 | 39.709 |  | Energy, Variable O&M | 41.8751 | 48.7713 | 35.4093 | 40.1202 | 36.2786 | 38.8453 |  | Energy, Variable O&M | 43.8362 | 51.0554 | 37.1063 | 42.0429 | 38.0119 | 40.7012
2023 | Generation Capacity | 4.7524 | 14.1765 | 3.9073 | 21.1296 | 4.2038 | 23.8107 | 2023 | Generation Capacity | 4.7524 | 14.1765 | 3.9073 | 21.1296 | 4.2038 | 23.8107 | 2023 | Generation Capacity | 4.7524 | 14.1765 | 3.9073 | 21.1296 | 4.2038 | 23.8107
| Transmission | 1.6657 | 4.9693 | 1.3696 | 7.4064 | 1.4735 | 8.3462 |  | Transmission | 1.6657 | 4.9693 | 1.3696 | 7.4064 | 1.4735 | 8.3462 |  | Transmission | 1.6657 | 4.9693 | 1.3696 | 7.4064 | 1.4735 | 8.3462
| All-In G&T Avoided Cost | 49.2058 | 68.98 | 41.476 | 69.5509 | 42.7626 | 71.8659 |  | All-In G&T Avoided Cost | 48.2932 | 67.9171 | 40.6862 | 68.6561 | 41.9559 | 71.0021 |  | All-In G&T Avoided Cost | 50.2543 | 70.2011 | 42.3832 | 70.5789 | 43.6892 | 72.8581
| Energy, Variable O&M | 43.5522 | 51.2343 | 37.1413 | 41.871 | 38.0762 | 40.5011 |  | Energy, Variable O&M | 42.4703 | 49.9616 | 36.1976 | 40.8072 | 37.1117 | 39.4751 |  | Energy, Variable O&M | 44.8003 | 52.7025 | 38.2299 | 43.0982 | 39.189 | 41.6847
2024 | Generation Capacity | 4.8073 | 14.091 | 3.928 | 21.0693 | 4.2036 | 23.8116 | 2024 | Generation Capacity | 4.8073 | 14.091 | 3.928 | 21.0693 | 4.2036 | 23.8116 | 2024 | Generation Capacity | 4.8073 | 14.091 | 3.928 | 21.0693 | 4.2036 | 23.8116
| Transmission | 1.7356 | 5.0874 | 1.4182 | 7.6068 | 1.5177 | 8.5969 |  | Transmission | 1.7356 | 5.0874 | 1.4182 | 7.6068 | 1.5177 | 8.5969 |  | Transmission | 1.7356 | 5.0874 | 1.4182 | 7.6068 | 1.5177 | 8.5969
| All-In G&T Avoided Cost | 50.0951 | 70.4126 | 42.4874 | 70.5471 | 43.7975 | 72.9096 |  | All-In G&T Avoided Cost | 49.0132 | 69.1399 | 41.5438 | 69.4833 | 42.8329 | 71.8836 |  | All-In G&T Avoided Cost | 51.3432 | 71.8808 | 43.576 | 71.7743 | 44.9102 | 74.0932
| Energy, Variable O&M | 44.6447 | 52.5221 | 38.2262 | 42.771 | 39.1513 | 41.396 |  | Energy, Variable O&M | 43.3792 | 51.0334 | 37.118 | 41.5311 | 38.0195 | 40.1994 |  | Energy, Variable O&M | 46.1107 | 54.2468 | 39.5099 | 44.2074 | 40.4623 | 42.7822
2025 | Generation Capacity | 4.8665 | 13.9935 | 3.949 | 21.0067 | 4.2126 | 23.7768 | 2025 | Generation Capacity | 4.8665 | 13.9935 | 3.949 | 21.0067 | 4.2126 | 23.7768 | 2025 | Generation Capacity | 4.8665 | 13.9935 | 3.949 | 21.0067 | 4.2126 | 23.7768
| Transmission | 1.8097 | 5.2038 | 1.4685 | 7.8117 | 1.5665 | 8.8418 |  | Transmission | 1.8097 | 5.2038 | 1.4685 | 7.8117 | 1.5665 | 8.8418 |  | Transmission | 1.8097 | 5.2038 | 1.4685 | 7.8117 | 1.5665 | 8.8418
| All-In G&T Avoided Cost | 51.3208 | 71.7194 | 43.6436 | 71.5895 | 44.9303 | 74.0146 |  | All-In G&T Avoided Cost | 50.0554 | 70.2307 | 42.5355 | 70.3496 | 43.7986 | 72.818 |  | All-In G&T Avoided Cost | 52.7868 | 73.4441 | 44.9274 | 73.0259 | 46.2414 | 75.4008
| Energy, Variable O&M | 45.4112 | 53.4266 | 39.0314 | 43.3446 | 39.9392 | 41.977 |  | Energy, Variable O&M | 43.9664 | 51.7268 | 37.7612 | 41.934 | 38.6431 | 40.6148 |  | Energy, Variable O&M | 47.092 | 55.4041 | 40.5091 | 44.9855 | 41.4469 | 43.5616
2026 | Generation Capacity | 4.9264 | 13.8968 | 3.97 | 20.9444 | 4.2215 | 23.7419 | 2026 | Generation Capacity | 4.9264 | 13.8968 | 3.97 | 20.9444 | 4.2215 | 23.7419 | 2026 | Generation Capacity | 4.9264 | 13.8968 | 3.97 | 20.9444 | 4.2215 | 23.7419
| Transmission | 1.8869 | 5.3228 | 1.5206 | 8.0222 | 1.617 | 9.0937 |  | Transmission | 1.8869 | 5.3228 | 1.5206 | 8.0222 | 1.617 | 9.0937 |  | Transmission | 1.8869 | 5.3228 | 1.5206 | 8.0222 | 1.617 | 9.0937
| All-In G&T Avoided Cost | 52.2245 | 72.6462 | 44.5221 | 72.3112 | 45.7777 | 74.8127 |  | All-In G&T Avoided Cost | 50.7797 | 70.9464 | 43.2518 | 70.9006 | 44.4816 | 73.4505 |  | All-In G&T Avoided Cost | 53.9053 | 74.6236 | 45.9997 | 73.9521 | 47.2854 | 76.3973
| Energy, Variable O&M | 46.7063 | 54.9531 | 40.3079 | 44.4265 | 41.2062 | 43.0501 |  | Energy, Variable O&M | 45.0571 | 53.0127 | 38.8523 | 42.8222 | 39.7223 | 41.4998 |  | Energy, Variable O&M | 48.6328 | 57.2198 | 42.0083 | 46.3006 | 42.9397 | 44.8612
2027 | Generation Capacity | 4.987 | 13.8007 | 3.9912 | 20.8822 | 4.2305 | 23.7072 | 2027 | Generation Capacity | 4.987 | 13.8007 | 3.9912 | 20.8822 | 4.2305 | 23.7072 | 2027 | Generation Capacity | 4.987 | 13.8007 | 3.9912 | 20.8822 | 4.2305 | 23.7072
| Transmission | 1.9675 | 5.4446 | 1.5746 | 8.2383 | 1.669 | 9.3528 |  | Transmission | 1.9675 | 5.4446 | 1.5746 | 8.2383 | 1.669 | 9.3528 |  | Transmission | 1.9675 | 5.4446 | 1.5746 | 8.2383 | 1.669 | 9.3528
| All-In G&T Avoided Cost | 53.6608 | 74.1983 | 45.8736 | 73.547 | 47.1058 | 76.1102 |  | All-In G&T Avoided Cost | 52.0116 | 72.258 | 44.418 | 71.9427 | 45.6219 | 74.5598 |  | All-In G&T Avoided Cost | 55.5873 | 76.4651 | 47.574 | 75.4212 | 48.8393 | 77.9212
| Energy, Variable O&M | 47.4166 | 55.7917 | 41.0745 | 44.932 | 41.952 | 43.5676 |  | Energy, Variable O&M | 45.5794 | 53.6299 | 39.4465 | 43.1512 | 40.2938 | 41.8456 |  | Energy, Variable O&M | 49.5718 | 58.3276 | 42.9842 | 47.0211 | 43.8972 | 45.5877
2028 | Generation Capacity | 5.0484 | 13.7053 | 4.0125 | 20.8202 | 4.2396 | 23.6725 | 2028 | Generation Capacity | 5.0484 | 13.7053 | 4.0125 | 20.8202 | 4.2396 | 23.6725 | 2028 | Generation Capacity | 5.0484 | 13.7053 | 4.0125 | 20.8202 | 4.2396 | 23.6725
| Transmission | 2.0514 | 5.5691 | 1.6305 | 8.4603 | 1.7227 | 9.6193 |  | Transmission | 2.0514 | 5.5691 | 1.6305 | 8.4603 | 1.7227 | 9.6193 |  | Transmission | 2.0514 | 5.5691 | 1.6305 | 8.4603 | 1.7227 | 9.6193
| All-In G&T Avoided Cost | 54.5165 | 75.0661 | 46.7174 | 74.2125 | 47.9143 | 76.8594 |  | All-In G&T Avoided Cost | 52.6792 | 72.9043 | 45.0894 | 72.4317 | 46.2561 | 75.1373 |  | All-In G&T Avoided Cost | 56.6717 | 77.602 | 48.6271 | 76.3016 | 49.8595 | 78.8795
| Energy, Variable O&M | 48.1324 | 56.6339 | 41.6919 | 45.6074 | 42.5816 | 44.2214 |  | Energy, Variable O&M | 46.1042 | 54.2475 | 39.8948 | 43.6415 | 40.7511 | 42.3204 |  | Energy, Variable O&M | 50.5216 | 59.4452 | 43.809 | 47.9233 | 44.738 | 46.4608
2029 | Generation Capacity | 5.1921 | 14.0953 | 4.1267 | 21.4128 | 4.3602 | 24.3462 | 2029 | Generation Capacity | 5.1921 | 14.0953 | 4.1267 | 21.4128 | 4.3602 | 24.3462 | 2029 | Generation Capacity | 5.1921 | 14.0953 | 4.1267 | 21.4128 | 4.3602 | 24.3462
| Transmission | 2.0882 | 5.6688 | 1.6596 | 8.6117 | 1.7536 | 9.7915 |  | Transmission | 2.0779 | 5.641 | 1.6515 | 8.5694 | 1.745 | 9.7434 |  | Transmission | 2.0994 | 5.6995 | 1.6686 | 8.6583 | 1.7631 | 9.8444
| All-In G&T Avoided Cost | 55.4127 | 76.3981 | 47.4782 | 75.632 | 48.6954 | 78.3592 |  | All-In G&T Avoided Cost | 53.3742 | 73.9838 | 45.6729 | 73.6237 | 46.8563 | 76.4101 |  | All-In G&T Avoided Cost | 57.8132 | 79.24 | 49.6042 | 77.9944 | 50.8612 | 80.6515
| Energy, Variable O&M | 49.0738 | 57.7416 | 42.509 | 46.5013 | 43.4146 | 45.0865 |  | Energy, Variable O&M | 46.8396 | 55.1128 | 40.5293 | 44.3357 | 41.3981 | 42.9924 |  | Energy, Variable O&M | 51.7167 | 60.8513 | 44.8509 | 49.0631 | 45.7999 | 47.5637
2030 | Generation Capacity | 5.3399 | 14.4965 | 4.2441 | 22.0222 | 4.4843 | 25.0392 | 2030 | Generation Capacity | 5.3399 | 14.4965 | 4.2441 | 22.0222 | 4.4843 | 25.0392 | 2030 | Generation Capacity | 5.3399 | 14.4965 | 4.2441 | 22.0222 | 4.4843 | 25.0392
| Transmission | 2.1255 | 5.7703 | 1.6894 | 8.7659 | 1.785 | 9.9668 |  | Transmission | 2.1047 | 5.7138 | 1.6728 | 8.68 | 1.7675 | 9.8691 |  | Transmission | 2.1486 | 5.8328 | 1.7077 | 8.8609 | 1.8043 | 10.0748
| All-In G&T Avoided Cost | 56.5392 | 78.0084 | 48.4425 | 77.2894 | 49.6839 | 80.0924 |  | All-In G&T Avoided Cost | 54.2842 | 75.323 | 46.4463 | 75.0379 | 47.65 | 77.9007 |  | All-In G&T Avoided Cost | 59.2052 | 81.1807 | 50.8026 | 79.9462 | 52.0885 | 82.6776
| Energy, Variable O&M | 49.7433 | 58.5294 | 43.085 | 47.1314 | 44.002 | 45.6965 |  | Energy, Variable O&M | 47.3124 | 55.6691 | 40.931 | 44.7751 | 41.808 | 43.4181 |  | Energy, Variable O&M | 52.631 | 61.9272 | 45.6438 | 49.9304 | 46.6082 | 48.4032
2031 | Generation Capacity | 5.4919 | 14.9091 | 4.3649 | 22.6491 | 4.612 | 25.7519 | 2031 | Generation Capacity | 5.4919 | 14.9091 | 4.3649 | 22.6491 | 4.612 | 25.7519 | 2031 | Generation Capacity | 5.4919 | 14.9091 | 4.3649 | 22.6491 | 4.612 | 25.7519
| Transmission | 2.1636 | 5.8736 | 1.7196 | 8.9228 | 1.8169 | 10.1452 |  | Transmission | 2.1319 | 5.7875 | 1.6944 | 8.792 | 1.7903 | 9.9964 |  | Transmission | 2.1988 | 5.9693 | 1.7476 | 9.0682 | 1.8465 | 10.3105
| All-In G&T Avoided Cost | 57.3988 | 79.3121 | 49.1695 | 78.7032 | 50.4309 | 81.5936 |  | All-In G&T Avoided Cost | 54.9362 | 76.3657 | 46.9903 | 76.2161 | 48.2103 | 79.1664 |  | All-In G&T Avoided Cost | 60.3218 | 82.8056 | 51.7563 | 81.6477 | 53.0668 | 84.4655
| Energy, Variable O&M | 50.6403 | 59.5847 | 43.8622 | 47.9816 | 44.7944 | 46.5195 |  | Energy, Variable O&M | 47.9963 | 56.4738 | 41.5195 | 45.4188 | 42.4082 | 44.0413 |  | Energy, Variable O&M | 53.7943 | 63.2958 | 46.6569 | 51.0388 | 47.641 | 49.4757
2032 | Generation Capacity | 5.6482 | 15.3335 | 4.4891 | 23.2937 | 4.7432 | 26.4848 | 2032 | Generation Capacity | 5.6482 | 15.3335 | 4.4891 | 23.2937 | 4.7432 | 26.4848 | 2032 | Generation Capacity | 5.6482 | 15.3335 | 4.4891 | 23.2937 | 4.7432 | 26.4848
| Transmission | 2.2023 | 5.9787 | 1.7504 | 9.0825 | 1.8495 | 10.3268 |  | Transmission | 2.1594 | 5.8621 | 1.7162 | 8.9054 | 1.8134 | 10.1254 |  | Transmission | 2.2503 | 6.109 | 1.7885 | 9.2804 | 1.8897 | 10.5518
| All-In G&T Avoided Cost | 58.4908 | 80.8969 | 50.1018 | 80.3578 | 51.3871 | 83.3311 |  | All-In G&T Avoided Cost | 55.8038 | 77.6694 | 47.7249 | 77.6179 | 48.9648 | 80.6515 |  | All-In G&T Avoided Cost | 61.6927 | 84.7383 | 52.9346 | 83.6129 | 54.274 | 86.5123
| Energy, Variable O&M | 51.3956 | 60.4735 | 44.5138 | 48.6943 | 45.4588 | 47.2094 |  | Energy, Variable O&M | 48.5423 | 57.1163 | 41.9856 | 45.9287 | 42.8837 | 44.5351 |  | Energy, Variable O&M | 54.8135 | 64.4951 | 47.5423 | 52.0073 | 48.5436 | 50.413
2033 | Generation Capacity | 5.809 | 15.7699 | 4.6169 | 23.9567 | 4.8782 | 27.2386 | 2033 | Generation Capacity | 5.809 | 15.7699 | 4.6169 | 23.9567 | 4.8782 | 27.2386 | 2033 | Generation Capacity | 5.809 | 15.7699 | 4.6169 | 23.9567 | 4.8782 | 27.2386
| Transmission | 2.2417 | 6.0857 | 1.7817 | 9.2451 | 1.8826 | 10.5116 |  | Transmission | 2.1872 | 5.9377 | 1.7384 | 9.0203 | 1.8368 | 10.256 |  | Transmission | 2.3029 | 6.2519 | 1.8304 | 9.4976 | 1.934 | 10.7987
| All-In G&T Avoided Cost | 59.4463 | 82.3291 | 50.9124 | 81.8961 | 52.2196 | 84.9597 |  | All-In G&T Avoided Cost | 56.5385 | 78.8239 | 48.3409 | 78.9056 | 49.5987 | 82.0298 |  | All-In G&T Avoided Cost | 62.9254 | 86.517 | 53.9896 | 85.4616 | 55.3558 | 88.4504
| Energy, Variable O&M | 53.3309 | 62.7506 | 46.2106 | 50.5505 | 47.188 | 49.0052 |  | Energy, Variable O&M | 50.188 | 59.0526 | 43.4258 | 47.5042 | 44.3514 | 46.0594 |  | Energy, Variable O&M | 57.1116 | 67.1991 | 49.5606 | 54.2151 | 50.6002 | 52.5488
2034 | Generation Capacity | 5.9743 | 16.2188 | 4.7483 | 24.6386 | 5.0171 | 28.0139 | 2034 | Generation Capacity | 5.9743 | 16.2188 | 4.7483 | 24.6386 | 5.0171 | 28.0139 | 2034 | Generation Capacity | 5.9743 | 16.2188 | 4.7483 | 24.6386 | 5.0171 | 28.0139
| Transmission | 2.2819 | 6.1947 | 1.8136 | 9.4106 | 1.9163 | 10.6998 |  | Transmission | 2.2154 | 6.0143 | 1.7608 | 9.1366 | 1.8605 | 10.3883 |  | Transmission | 2.3568 | 6.3982 | 1.8732 | 9.7198 | 1.9792 | 11.0514
| All-In G&T Avoided Cost | 61.587 | 85.1641 | 52.7725 | 84.5997 | 54.1213 | 87.7189 |  | All-In G&T Avoided Cost | 58.3778 | 81.2857 | 49.9349 | 81.2793 | 51.229 | 84.4616 |  | All-In G&T Avoided Cost | 65.4427 | 89.8161 | 56.1821 | 88.5735 | 57.5965 | 91.6141
| Energy, Variable O&M | 54.2372 | 63.817 | 46.9954 | 51.4091 | 47.9882 | 49.8362 |  | Energy, Variable O&M | 50.8629 | 59.8467 | 44.0055 | 48.1383 | 44.9427 | 46.6735 |  | Energy, Variable O&M | 58.3134 | 68.6131 | 50.6072 | 55.3601 | 51.667 | 53.6568
2035 | Generation Capacity | 6.1443 | 16.6804 | 4.8835 | 25.3398 | 5.1599 | 28.8113 | 2035 | Generation Capacity | 6.1443 | 16.6804 | 4.8835 | 25.3398 | 5.1599 | 28.8113 | 2035 | Generation Capacity | 6.1443 | 16.6804 | 4.8835 | 25.3398 | 5.1599 | 28.8113
| Transmission | 2.3227 | 6.3056 | 1.8461 | 9.579 | 1.9506 | 10.8913 |  | Transmission | 2.244 | 6.0919 | 1.7835 | 9.2545 | 1.8845 | 10.5223 |  | Transmission | 2.412 | 6.548 | 1.917 | 9.9473 | 2.0255 | 11.31
| All-In G&T Avoided Cost | 62.7042 | 86.8029 | 53.725 | 86.3279 | 55.0986 | 89.5388 |  | All-In G&T Avoided Cost | 59.2512 | 82.619 | 50.6725 | 82.7327 | 51.9871 | 86.0071 |  | All-In G&T Avoided Cost | 66.8697 | 91.8415 | 57.4077 | 90.6472 | 58.8525 | 93.778
| Energy, Variable O&M | 55.8275 | 65.6881 | 48.3861 | 52.9303 | 49.4055 | 51.3081 |  | Energy, Variable O&M | 52.1676 | 61.3818 | 45.1431 | 49.3828 | 46.1023 | 47.8777 |  | Energy, Variable O&M | 60.2672 | 70.912 | 52.32 | 57.2337 | 53.4125 | 55.4694
2036 | Generation Capacity | 6.3192 | 17.1552 | 5.0225 | 26.0611 | 5.3067 | 29.6313 | 2036 | Generation Capacity | 6.3192 | 17.1552 | 5.0225 | 26.0611 | 5.3067 | 29.6313 | 2036 | Generation Capacity | 6.3192 | 17.1552 | 5.0225 | 26.0611 | 5.3067 | 29.6313
| Transmission | 2.3643 | 6.4184 | 1.8791 | 9.7505 | 1.9855 | 11.0863 |  | Transmission | 2.2729 | 6.1705 | 1.8065 | 9.3739 | 1.9088 | 10.658 |  | Transmission | 2.4684 | 6.7012 | 1.9619 | 10.18 | 2.0729 | 11.5746
| All-In G&T Avoided Cost | 64.511 | 89.2617 | 55.2877 | 88.7419 | 56.6977 | 92.0257 |  | All-In G&T Avoided Cost | 60.7597 | 84.7075 | 51.9721 | 84.8177 | 53.3178 | 88.1671 |  | All-In G&T Avoided Cost | 69.0548 | 94.7684 | 59.3044 | 93.4748 | 60.7922 | 96.6754
| Energy, Variable O&M | 57.2678 | 67.3829 | 49.6436 | 54.3059 | 50.6872 | 52.6392 |  | Energy, Variable O&M | 53.324 | 62.7425 | 46.1491 | 50.4832 | 47.1278 | 48.9428 |  | Energy, Variable O&M | 62.0719 | 73.0356 | 53.9005 | 58.9626 | 55.0231 | 57.1421
2037 | Generation Capacity | 6.4991 | 17.6434 | 5.1654 | 26.8028 | 5.4578 | 30.4747 | 2037 | Generation Capacity | 6.4991 | 17.6434 | 5.1654 | 26.8028 | 5.4578 | 30.4747 | 2037 | Generation Capacity | 6.4991 | 17.6434 | 5.1654 | 26.8028 | 5.4578 | 30.4747
| Transmission | 2.4066 | 6.5333 | 1.9127 | 9.925 | 2.021 | 11.2847 |  | Transmission | 2.3023 | 6.2501 | 1.8298 | 9.4948 | 1.9334 | 10.7955 |  | Transmission | 2.5262 | 6.858 | 2.0078 | 10.4182 | 2.1214 | 11.8455
| All-In G&T Avoided Cost | 66.1735 | 91.5596 | 56.7218 | 91.0338 | 58.166 | 94.3986 |  | All-In G&T Avoided Cost | 62.1254 | 86.636 | 53.1444 | 86.7809 | 54.519 | 90.213 |  | All-In G&T Avoided Cost | 71.0972 | 97.537 | 61.0737 | 96.1837 | 62.6024 | 99.4623
| Energy, Variable O&M | 58.517 | 68.8528 | 50.7316 | 55.4961 | 51.7963 | 53.791 |  | Energy, Variable O&M | 54.2962 | 63.8864 | 46.9916 | 51.4048 | 47.9868 | 49.8348 |  | Energy, Variable O&M | 63.6804 | 74.9281 | 55.3067 | 60.5009 | 56.4564 | 58.6305
2038 | Generation Capacity | 6.6841 | 18.1456 | 5.3124 | 27.5657 | 5.6131 | 31.3421 | 2038 | Generation Capacity | 6.6841 | 18.1456 | 5.3124 | 27.5657 | 5.6131 | 31.3421 | 2038 | Generation Capacity | 6.6841 | 18.1456 | 5.3124 | 27.5657 | 5.6131 | 31.3421
| Transmission | 2.4497 | 6.6503 | 1.947 | 10.1027 | 2.0572 | 11.4867 |  | Transmission | 2.332 | 6.3307 | 1.8534 | 9.6173 | 1.9583 | 10.9348 |  | Transmission | 2.5853 | 7.0185 | 2.0548 | 10.662 | 2.1711 | 12.1227
| All-In G&T Avoided Cost | 67.6508 | 93.6487 | 57.991 | 93.1645 | 59.4666 | 96.6198 |  | All-In G&T Avoided Cost | 63.3122 | 88.3627 | 54.1574 | 88.5878 | 55.5583 | 92.1117 |  | All-In G&T Avoided Cost | 72.9497 | 100.0922 | 62.6739 | 98.7286 | 64.2406 | 102.0953