## SCI AP Screen
Utility | Segment (Housing Type or Size) | Sector | Measure | Summer NPV Benefits (per customer) | Winter NPV Benefits (per customer) | NPV Costs (per customer) | Number of Customers for Measure | Total Summer MW Saved from Measure | Total Winter MW Saved from Measure | Total Cost ($) | Total Benefit Summer Benefit ($) | Total Winter Benefit ($) | Total Benefit ($) | Cost-Effectiveness Ratio | Passes?
FPUC | 0-15,000 kWh | Small C&I | HVAC - Load Shed | 0.10638 | 0.19459 | 9.5796 | 1278.9395 | 0.89734 | 0.96825 | 213016.8174 | 136.0549 | 248.866 | 384.9209 | 0.001807 | No
FPUC | 15,001-25,000 kWh | Small C&I | HVAC - Load Shed | 0.22196 | 0.53845 | 9.5796 | 209.8816 | 0.30724 | 0.43969 | 202775.6871 | 46.5844 | 113.0111 | 159.5955 | 0.00078705 | No
FPUC | 25,001-50,000 kWh | Small C&I | HVAC - Load Shed | 0.29031 | 0.76136 | 9.5796 | 212.5922 | 0.40705 | 0.62974 | 202801.6526 | 61.7177 | 161.8594 | 223.5771 | 0.0011024 | No
FPUC | 50,001 kWh + | Small C&I | HVAC - Load Shed | 0.78057 | 0.97381 | 9.5796 | 167.456 | 0.86209 | 0.63445 | 202369.2671 | 130.7112 | 163.0696 | 293.7808 | 0.0014517 | No
FPUC | 0-15,000 kWh | Small C&I | HVAC - 50% cycling | 0.05319 | 0.097294 | 9.5796 | 1278.9395 | 0.44867 | 0.48413 | 213016.8174 | 68.0274 | 124.433 | 192.4604 | 0.0009035 | No
FPUC | 15,001-25,000 kWh | Small C&I | HVAC - 50% cycling | 0.11098 | 0.26923 | 9.5796 | 209.8816 | 0.15362 | 0.21984 | 202775.6871 | 23.2922 | 56.5055 | 79.7977 | 0.00039353 | No
FPUC | 25,001-50,000 kWh | Small C&I | HVAC - 50% cycling | 0.14516 | 0.38068 | 9.5796 | 212.5922 | 0.20353 | 0.31487 | 202801.6526 | 30.8589 | 80.9297 | 111.7886 | 0.00055122 | No
FPUC | 50,001 kWh + | Small C&I | HVAC - 50% cycling | 0.39029 | 0.4869 | 9.5796 | 167.456 | 0.43105 | 0.31722 | 202369.2671 | 65.3556 | 81.5348 | 146.8904 | 0.00072585 | No
FPUC | 0-15,000 kWh | Small C&I | Smart thermostats - Utility Installation | 0.05319 | 0.04135 | 22.3158 | 1278.9395 | 0.44867 | 0.20575 | 229305.685 | 68.0274 | 52.884 | 120.9115 | 0.00052729 | No
FPUC | 15,001-25,000 kWh | Small C&I | Smart thermostats - Utility Installation | 0.11098 | 0.11442 | 22.3158 | 209.8816 | 0.15362 | 0.093434 | 205448.7879 | 23.2922 | 24.0149 | 47.307 | 0.00023026 | No
FPUC | 25,001-50,000 kWh | Small C&I | Smart thermostats - Utility Installation | 0.14516 | 0.16179 | 22.3158 | 212.5922 | 0.20353 | 0.13382 | 205509.2751 | 30.8589 | 34.3951 | 65.254 | 0.00031752 | No
FPUC | 50,001 kWh + | Small C&I | Smart thermostats - Utility Installation | 0.39029 | 0.20693 | 22.3158 | 167.456 | 0.43105 | 0.13482 | 204502.0253 | 65.3556 | 34.6523 | 100.0079 | 0.00048903 | No
FPUC | 0-15,000 kWh | Small C&I | Smart thermostats - BYOT | 0.05319 | 0.04135 | 0 | 161.867 | 0.056785 | 0.026041 | 200765.1082 | 8.6098 | 6.6932 | 15.303 | 0 | No
FPUC | 15,001-25,000 kWh | Small C&I | Smart thermostats - BYOT | 0.11098 | 0.11442 | 0 | 27.1653 | 0.019883 | 0.012093 | 200765.1082 | 3.0147 | 3.1083 | 6.123 | 0 | No
FPUC | 25,001-50,000 kWh | Small C&I | Smart thermostats - BYOT | 0.14516 | 0.16179 | 0 | 26.5734 | 0.02544 | 0.016727 | 200765.1082 | 3.8573 | 4.2993 | 8.1566 | 0 | No
FPUC | 50,001 kWh + | Small C&I | Smart thermostats - BYOT | 0.39029 | 0.20693 | 0 | 19.8857 | 0.051188 | 0.01601 | 200765.1082 | 7.7611 | 4.115 | 11.8761 | 0 | No
FPUC | 0-15,000 kWh | Small C&I | CPP + Tech | 0.05319 | 0.060809 | 27.2577 | 1278.9395 | 0.44867 | 0.30258 | 235626.0896 | 68.0274 | 77.7706 | 145.7981 | 0.00061877 | No
FPUC | 15,001-25,000 kWh | Small C&I | CPP + Tech | 0.11098 | 0.16827 | 27.2577 | 209.8816 | 0.15362 | 0.1374 | 206486.0042 | 23.2922 | 35.316 | 58.6082 | 0.00028384 | No
FPUC | 25,001-50,000 kWh | Small C&I | CPP + Tech | 0.14516 | 0.23793 | 27.2577 | 212.5922 | 0.20353 | 0.19679 | 206559.8865 | 30.8589 | 50.5811 | 81.4399 | 0.00039427 | No
FPUC | 50,001 kWh + | Small C&I | CPP + Tech | 0.39029 | 0.30431 | 27.2577 | 167.456 | 0.43105 | 0.19827 | 205329.5778 | 65.3556 | 50.9592 | 116.3148 | 0.00056648 | No
FPUC | 0-15,000 kWh | Small C&I | Central air conditioner - Load Shed | 0.10638 | 0 | 22.3158 | 1851.2748 | 1.2989 | 0 | 242077.8122 | 196.9404 | 0 | 196.9404 | 0.00081354 | No
FPUC | 15,001-25,000 kWh | Small C&I | Central air conditioner - Load Shed | 0.22196 | 0 | 22.3158 | 320.4744 | 0.46914 | 0 | 207916.7558 | 71.131 | 0 | 71.131 | 0.00034211 | No
FPUC | 25,001-50,000 kWh | Small C&I | Central air conditioner - Load Shed | 0.29031 | 0 | 22.3158 | 313.9704 | 0.60116 | 0 | 207771.6134 | 91.1489 | 0 | 91.1489 | 0.0004387 | No
FPUC | 50,001 kWh + | Small C&I | Central air conditioner - Load Shed | 0.78057 | 0 | 22.3158 | 237.2297 | 1.2213 | 0 | 206059.081 | 185.1745 | 0 | 185.1745 | 0.00089865 | No
FPUC | 0-15,000 kWh | Small C&I | Central Heating - Load Shed | 0 | 0.097294 | 9.5796 | 1278.9395 | 0 | 0.48413 | 213016.8174 | 0 | 124.433 | 124.433 | 0.00058415 | No
FPUC | 15,001-25,000 kWh | Small C&I | Central Heating - Load Shed | 0 | 0.26923 | 9.5796 | 209.8816 | 0 | 0.21984 | 202775.6871 | 0 | 56.5055 | 56.5055 | 0.00027866 | No
FPUC | 25,001-50,000 kWh | Small C&I | Central Heating - Load Shed | 0 | 0.38068 | 9.5796 | 212.5922 | 0 | 0.31487 | 202801.6526 | 0 | 80.9297 | 80.9297 | 0.00039906 | No
FPUC | 50,001 kWh + | Small C&I | Central Heating - Load Shed | 0 | 0.4869 | 9.5796 | 167.456 | 0 | 0.31722 | 202369.2671 | 0 | 81.5348 | 81.5348 | 0.0004029 | No
FPUC | 0-15,000 kWh | Small C&I | Central air conditioner - 50% cycling | 0.05319 | 0 | 9.5796 | 1851.2748 | 0.64945 | 0 | 218499.5513 | 98.4702 | 0 | 98.4702 | 0.00045067 | No
FPUC | 15,001-25,000 kWh | Small C&I | Central air conditioner - 50% cycling | 0.11098 | 0 | 9.5796 | 320.4744 | 0.23457 | 0 | 203835.1199 | 35.5655 | 0 | 35.5655 | 0.00017448 | No
FPUC | 25,001-50,000 kWh | Small C&I | Central air conditioner - 50% cycling | 0.14516 | 0 | 9.5796 | 313.9704 | 0.30058 | 0 | 203772.8142 | 45.5745 | 0 | 45.5745 | 0.00022365 | No
FPUC | 50,001 kWh + | Small C&I | Central air conditioner - 50% cycling | 0.39029 | 0 | 9.5796 | 237.2297 | 0.61065 | 0 | 203037.6697 | 92.5872 | 0 | 92.5872 | 0.00045601 | No
FPUC | 0-15,000 kWh | Small C&I | Central Heating - 50% cycling | 0 | 0.075146 | 9.5796 | 1278.9395 | 0 | 0.37392 | 213016.8174 | 0 | 96.1072 | 96.1072 | 0.00045117 | No
FPUC | 15,001-25,000 kWh | Small C&I | Central Heating - 50% cycling | 0 | 0.20316 | 9.5796 | 209.8816 | 0 | 0.1659 | 202775.6871 | 0 | 42.64 | 42.64 | 0.00021028 | No
FPUC | 25,001-50,000 kWh | Small C&I | Central Heating - 50% cycling | 0 | 0.37872 | 9.5796 | 212.5922 | 0 | 0.31325 | 202801.6526 | 0 | 80.5125 | 80.5125 | 0.000397 | No
FPUC | 50,001 kWh + | Small C&I | Central Heating - 50% cycling | 0 | 0.49101 | 9.5796 | 167.456 | 0 | 0.3199 | 202369.2671 | 0 | 82.2226 | 82.2226 | 0.0004063 | No