BEFORE THE FLORIDA PUBLIC SERVICE COMMISSION

|  |  |
| --- | --- |
| In re: Application for increase in water rates in Gulf County by Lighthouse Utilities Company, Inc. | DOCKET NO. 20190118-WUORDER NO. PSC-2020-0167-PAA-WUISSUED: May 22, 2020 |

The following Commissioners participated in the disposition of this matter:

GARY F. CLARK, Chairman

ART GRAHAM

JULIE I. BROWN

DONALD J. POLMANN

ANDREW GILES FAY

NOTICE OF PROPOSED AGENCY ACTION

ORDER APPROVING INCREASE IN WATER RATES FOR LIGHTHOUSE UTILITY COMPANY, INC.

AND

ORDER REQUIRING FOUR-YEAR RATE REDUCTION AND PROOF OF ADJUSTMENTS OF BOOKS AND RECORDS

BY THE COMMISSION:

 NOTICE is hereby given by the Florida Public Service Commission that the action discussed herein, except with regard to requiring a four-year rate reduction and proof of adjustment of books and records, is preliminary in nature and will become final unless a person whose interests are substantially affected files a petition for a formal proceeding, pursuant to Rule 25-22.029, Florida Administrative Code (F.A.C.).

# **Background**

 Lighthouse Utilities Company, Inc. (Lighthouse or Utility) is a Class B utility serving approximately 1,897 customers in Gulf County. Rates were last established for this Utility by Order No. PSC-11-0268-PAA-WU (2010 Rate Case Order).[[1]](#footnote-1)

 On September 26, 2018, Lighthouse submitted a petition for a limited proceeding to increase its water rates.[[2]](#footnote-2) On October 10, 2018, Hurricane Michael destroyed or damaged substantial portions of the Utility’s water distribution system. Lighthouse wanted to include the monetary impact of Hurricane Michael in the limited proceeding; however, the Utility was unable to reach an agreement with the Office of Public Counsel (OPC) that a limited proceeding was the appropriate procedure for seeking rate relief under those circumstances. To avoid any further delay and expense, Lighthouse withdrew its application for a limited proceeding and, on July 12, 2019, filed a full rate case in the instant docket. The Utility requested that its application be processed using our Proposed Agency Action (PAA) procedure. Lighthouse initially requested interim rates but withdrew this request in a letter dated August 13, 2019.

 The Utility’s rate case application did not meet the minimum filing requirements (MFRs). On August 8, 2019, Commission staff sent Lighthouse a letter identifying deficiencies in the filing of its MFRs. The Utility filed a response to Commission staff’s first deficiency letter on September 30, 2019. However, Lighthouse’s response did not fully satisfy all of the deficiencies. Therefore, on October 17, 2019, Commission staff sent a second letter to the Utility that identified the outstanding deficiencies. On October 30, 2019, the Utility filed a response to that second deficiency letter which corrected the remaining deficiencies. Thus, October 30, 2019, was established as the official filing date for this docket, pursuant to Section 367.083, Florida Statutes (F.S.).

 A substantial portion of the expenses, costs, and investment that are part of this rate case are “environmental compliance costs” that will be incurred by the Utility in order to comply with a consent order and other requirements and conditions of the Florida Department of Environmental Protection (DEP). Another substantial portion of the costs, expenses, and investment that are part of this rate case are related to storm restoration and repair costs that the Utility has incurred, and will continue to incur, as a result of Hurricane Michael.

 The test year established for final rates is the simple-average period ended December 31, 2018. Lighthouse requested final rates designed to generate annual revenues of $984,348. This represents a revenue increase of $284,800, or 40.71 percent.

 The intervention of OPC was acknowledged by Order No. PSC-2019-0236-PCO-WU, issued June 18, 2019.

 By letter dated February 18, 2020, the Utility waived the statutory 5-month deadline for this case through May 5, 2020. This Order addresses Lighthouse’s requested final rates. We have jurisdiction pursuant to Section 367.081, F.S.

**Decision**

# Quality of Service

Pursuant to Rule 25-30.433(1), Florida Administrative Code (F.A.C.), we, in every rate case, must make a determination of the quality of service provided by the utility by evaluating the quality of the utility’s product (water) and the utility’s attempt to address customer satisfaction (water and wastewater). The rule states that we must consider the most recent chemical analyses, outstanding citations, violations, and consent orders on file with DEP and the county health department, along with any DEP and county health department officials’ testimony concerning quality of service. In addition, we must consider any customer testimony, comments, or complaints.

## Quality of the Utility’s Product

 In evaluating the quality of Lighthouse’s product, we reviewed the Utility’s compliance with DEP’s primary and secondary drinking water standards. Primary standards protect public health, while secondary standards regulate contaminants that may impact the taste, odor, and color of drinking water. As provided in Lighthouse’s MFRs, the Utility entered into a Consent Order with DEP on July 9, 2018, which was amended on May 23, 2019, for exceedances of the maximum contaminant levels (MCLs) for disinfection byproducts. In order to address the MCL exceedances outlined in the Consent Order, the Utility plans to install tank aerators and ventilators in its ground storage tanks, along with a chlorinator at its booster station. The Utility stated that it submitted its plans and permit application to DEP on January 14, 2020. These pro forma plant additions are discussed in more detail in Section IV, Adjustments to Pro Forma Plant.

 Lighthouse has no other outstanding citations or violations on file with DEP. Additionally, the most recent chemical analyses for all other contaminants, as required by DEP, were completed in 2017, and were in compliance with DEP’s drinking water standards. The Utility’s next chemical analyses are due to be completed in 2020.

 Commission staff held a noticed customer meeting on January 23, 2020, to receive customer comments regarding the quality of service. At the meeting, seven customers spoke, two of which provided comments on the water quality. One customer remarked positively about the water, and the second customer stated that their ice was cloudy. As stated above, we have reviewed Lighthouse’s most recent chemical analyses, including secondary standards which would affect the color, and all results were below the MCLs. The other comments made at the customer meeting are discussed below.

## The Utility’s Attempt to Address Customer Satisfaction

 Table 1 is a summary of the complaints made at the customer meeting, as well as complaints from our complaint tracking system, received by DEP, and received by Lighthouse, over the past five years.

**Table 0**

**Number of Complaints by Type and Source**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Complaint Type** | **Customer Meeting** | **Commission Records** | **DEP Records** | **Utility Records** |
| No Service | 0 | 0 | 0 | 4 |
| Water Pressure | 4 | 2 | 0 | 0 |
| Water Quality | 2 | 0 | 1 | 0 |
| Boil Water Notice | 1 | 0 | 2 | 0 |
| Repairs | 0 | 1 | 0 | 0 |
| Billing | 0 | 1 | 0 | 0 |
| Rate Case/Increase | 3 | 0 | 0 | 0 |
| Total\* | 10 | 4 | 3 | 4 |

\*A single customer complaint may be counted more than once if it fits into multiple categories

### Customer Meeting

 The majority of the customers at the customer meeting spoke about low water pressure issues and inquired about the infrastructure improvements the Utility requested in this rate proceeding. Three customers made comments regarding the rate case, including the Utility’s rate structure and general questions. Additionally, one customer voiced a desire for the Utility to issue boil water notices electronically, instead of its current method of issuing notices through the mail or via a newspaper publication. The customer stated that this could better ensure all customers received the boil water notices. At this time, Lighthouse has not requested cost recovery for implementing a new noticing system, and it appears that the Utility is issuing boil water notices in accordance with DEP requirements.

 Following the customer meeting, Lighthouse indicated that the Utility contacted multiple customers who spoke at the meeting in order to explain the status of the pro forma project, as well as address the water pressure concerns that were raised. As stated above, Lighthouse is actively working with DEP to address the requirements outlined in the Consent Order. As part of its pro forma request in this rate proceeding, the Utility is seeking to install tank aerators and ventilators to resolve the disinfection byproducts exceedances. In addition, the Utility also plans to replace the high service pumps at one of its water treatment plant (WTP) sites, which should help to improve the water pressure.

### Complaints

 A review of our complaint tracking system revealed four complaints in the previous five-year period. Two of the complaints were made in 2018, one related to low water pressure and one related to billing. The Utility responded that the low pressure was due to a mechanical failure, and the billing complaint was closed after the customer’s meter was tested. The other two complaints were made in 2019, with one customer filing a complaint that they were unable to access a shut off valve, and a second customer experiencing low water pressure. For the shut off valve complaint, the customer was informed that the valve was for Utility use, but a shut off valve could be installed on the customer’s side of the meter for personal use. Regarding the low water pressure complaint, a representative from Lighthouse contacted the customer and explained the planned improvements for the system, which should help with the low-pressure issues. Additionally, no customer correspondence was filed in the docket.

 The Utility provided six complaints, two of which were the 2018 complaints we received and are discussed above. The other four complaints were made in 2018 following Hurricane Michael and regarded service outages. All of these complaints were initially received by Commission staff as consumer contacts and were forwarded to the Utility for resolution.

 Furthermore, Commission staff contacted DEP requesting complaints regarding Lighthouse for the prior five years, and three complaints were provided. One of the complaints was a complaint we received in 2019 for low water pressure and is discussed above. The other two complaints were made in 2017 and 2018, regarding instances where boil water notices were not issued. DEP stated that the customer in 2017 was informed that boil water rescission notifications may have inadvertently been sent to some customers that were not affected by the boil water notice. For the second complaint, the Utility advised DEP that construction had taken place in the area, but pressure was never lost in the system and no boil water notice was issued.

## Conclusion

 Lighthouse has been responsive to customer complaints and is working to address the issues noted in the DEP Consent Order through the pro forma plant improvements discussed in Section IV. In consideration of the above, we find that the overall quality of service for Lighthouse is satisfactory.

# Water System Compliance with DEP Regulations

Rule 25-30.225(2), F.A.C., requires each water utility to maintain and operate its plant and facilities by employing qualified operators in accordance with the rules of DEP. Rule 25-30.433(2), F.A.C., requires consideration of whether the infrastructure and operating conditions of the plant and facilities are in compliance with Rule 25-30.225, F.A.C. In making this determination, we must consider testimony of DEP and county health department officials, sanitary surveys, citations, violations, and consent orders issued to the utility, customer testimony, comments, and complaints, and utility testimony and responses to the aforementioned items.

## Water System Infrastructure and Operating Conditions

 Lighthouse has two wells with a combined pumping capacity up to 810 gallons per minute (gpm). However, one of the wells is out of service due to storm damage. This leaves only the remaining well, which has a pumping capacity rated up to 410 gpm. The Utility has one ground storage tank with an aerator, a ground booster tank, a hydropneumatic tank, and a booster hydropneumatic tank.

 As discussed in Section I Quality of Service, the Utility will be installing tank aerators and ventilators in its ground-storage tanks, and a chlorinator at one of its water treatment plants to address the exceedances noted in the DEP Consent Order. We have reviewed Lighthouse’s most recent sanitary survey. This survey determines the Utility’s overall water facility compliance and is conducted by DEP. This sanitary survey, dated August 29, 2018, indicated that Lighthouse’s water treatment facility was in compliance with DEP’s rules and regulations.

## Conclusion

 Lighthouse’s water treatment facility infrastructure and operating conditions are currently in compliance with DEP rules and regulations.

# Audit Adjustments to Rate Base

Commission staff’s audit report was filed on February 3, 2020. In its response to Commission staff’s audit report, Lighthouse agreed to the audit adjustments as set forth in the tables below.

**Table 2**

|  |  |
| --- | --- |
| **Audit Finding** | **Description of Adjustment** |
| Audit Finding No. 1 | This finding is due largely to the following: 1) to reflect Commission-ordered adjustments (COAs) from the last rate case, 2) to reflect reclassifications from operation and maintenance (O&M) expenses to plant, 3) to remove amounts due to lack of support documentation, and 4) to reflect plant retirements. |
| Audit Finding No. 2 | This finding primarily reflects corresponding adjustments to Audit Finding No. 1 |
| Audit Finding No. 3 | This finding reflects unsupported additions to contributions in aid of construction (CIAC), along with recalculated adjustments to Accumulated Amortization of CIAC and CIAC amortization. |

Source: Commission staff audit report

 In response to Audit Finding No. 1, the Utility disagreed with the inclusion of a COA adjustment to Account 304 – Structures and Improvements. The Utility maintained that this adjustment had already been made and provided documentation for adjustments made to Account 333 – Services to reflect unsupported plant additions. Additionally, in further correspondence related to Audit Finding No. 2, the Utility subsequently responded that an agreed upon retirement for its booster station was a mischaracterization and that the asset should not have been retired. Lighthouse also provided a response to Audit Finding No. 3 disagreeing with the total amount of CIAC documentation and included additional documentation for an unsupported addition. Upon review of these explanations and support, we agree with Lighthouse’s proposed adjustments to Commission staff’s audit report.

 Our adjustments to rate base and corresponding adjustments to depreciation and CIAC amortization expense are reflected in the table below.

**Table 3**

**Audit Adjustments**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Audit Finding** | **Plant** | **Accum. Depr.** | **CIAC** | **Accum. Amort. of CIAC** | **Depreciation****Expense** | **CIAC Amortization****Expense** |
| **1** | $136,039 |  |  |  |  |  |
| **2** |  | ($148,937) |  |  | $6,396 |  |
| **3** |  |  | $41,275 | ($5,256) |  | $1,303 |

Source: Commission staff audit report and Utility response

# Adjustments to Pro Forma Plant

Lighthouse originally provided a cost estimate for pro forma plant additions totaling $383,600.[[3]](#footnote-3) The Utility stated that it sought bids through a news publication and received one bid for the project from an engineering firm. The engineering firm was awarded the project, and the firm completed an evaluation of Lighthouse’s existing water system and alternatives for future improvements. However, the firm prepared this improvement plan in April 2018, and Hurricane Michael subsequently impacted the Utility in October 2018. As a result, the plant additions requested by Lighthouse in this rate proceeding do not address all of the improvements delineated in the improvement plan. Instead, the Utility limited its request to addressing DEP compliance issues and restoring Lighthouse’s system to pre-hurricane conditions.

 To address the DEP Consent Order, the Utility will be installing tank aerators and ventilators in its ground-storage tanks to address the disinfection byproducts exceedances. Additionally, a chlorinator would be installed at the booster station to aid in resolving the exceedance issue. In order to restore the system to pre-hurricane conditions, the Utility provided cost estimates for repair and replacing equipment that was damaged by Hurricane Michael, including a new 8 inch well and high service pumps. Furthermore, the addition of the new well and pumps should help to address the low water pressure problems that were voiced by Lighthouse customers, as discussed in Section I Quality of Service.

 In response to a Commission staff data request and deficiency letter, the Utility updated its request from $383,600 to $994,000. This was a result of the Utility determining that the well, which was damaged during the hurricane, could not be repaired and the Utility would need to install a new well. Lighthouse stated that it expected construction for the improvements to begin once funding was secured in the first quarter of 2020. Additionally, the Utility stated that “substantial portions of the improvement project are anticipated to be completed and in service by December 31, 2020.”[[4]](#footnote-4) Subsequently, the Utility provided an updated schedule showing that the DEP Consent Order plant additions and the new well are estimated to be completed in the fourth quarter of 2020.[[5]](#footnote-5) The remaining improvements are estimated to be completed by the end of the second quarter of 2021, which exceeds 24 months from the end of the historic test year. However, pursuant to Section 367.081(2)(a)2., F.S., we have the authority to approve a longer period for pro forma consideration. Based on the totality of the Utility’s circumstances since its initial limited proceeding filing, we shall allow the inclusion of all the Utility’s requested pro forma plant projects for recognition in this proceeding.

 As such, we find that adjustments do not need to be made to the Utility’s pro forma plant projects. However, the Utility incorrectly calculated the accumulated depreciation and depreciation expense associated with some of the pro forma plant projects. Based on the useful life for plant accounts prescribed by Rule 25-30.140(2)(a), F.A.C., we have decreased both accumulated depreciation and depreciation expense by $19,272. Additionally, the Utility did not include pro forma property taxes in its filing. Therefore, we increased pro forma property taxes by $13,522.

# Used and Useful (U&U) Percentages

  Lighthouse’s WTP has two wells with a combined pumping capacity of up to 810 gpm. However, one of the wells is out of service due to storm damage, leaving the remaining well pumping capacity rated up to 410 gpm. The Utility has one ground storage tank with an aerator, which has a capacity of 316,000 gallons, along with a ground booster tank with a capacity of 209,000 gallons. Also in service are a hydropneumatic tank with a capacity of 5,000 gallons, and a booster hydropneumatic tank with a capacity of 10,000 gallons. The distribution system is comprised of varying sizes of polyvinyl chloride (PVC) pipes.

 The U&U for Lighthouse’s WTP, storage, and distribution system were last determined in the 2010 Rate Case Order. In that Order, we found Lighthouse’s WTP water and storage to be 100 percent U&U. For the distribution system, we determined the U&U to be 82 percent.

## Water Treatment Plant Storage U&U

 As noted above, we found both the WTP and the storage to be 100 percent U&U in the prior rate proceeding. The Utility is currently only able to utilize one of its wells, and pursuant to Rule 25-30.4325(4), F.A.C., a water treatment system is considered 100 percent U&U if the system is served by a single well. However, as discussed in Section IV Adjustments to Pro Forma Plant, a new well with a pumping capacity of 450 gpm is included as part of Lighthouse’s requested pro forma plant projects. In determining the WTP U&U, we imputed the addition of the new well.

 Rule 25-30.4325, F.A.C., addresses the method by which the U&U of a water system is determined. The formula for calculating U&U for the WTP is given by [Peak Demand – Excessive Unaccounted for Water + Fire Flow + Growth] / Firm Reliable Capacity. Peak demand is based on a peak day for a water treatment system with storage capacity. Peak day demand is the single maximum day in the test year where there is no unusual occurrence on that day, such as a fire or line break. Based on the Monthly Operating Reports that the Utility files with DEP, the single maximum day in the test year was 701,200 gpd. As discussed below, the EUW was calculated to be 6.8 percent or 28,953 gpd.

 The fire flow requirement is 60,000 gpd, and the Utility did not request a growth allowance. The firm reliable capacity assumes loss of the largest capacity well and is therefore 410 gpm or 393,600 gpd, based on 16 hours of pumping for systems with storage capacity. This calculation results in a U&U greater than 100 percent; as such, we find the WTP to be 100 percent U&U.

 Lighthouse has two ground storage tanks, with a combined usable storage capacity of 525,000 gallons. Pursuant to Rule 25-30.4325, F.A.C., usable storage capacity less than or equal to the peak day demand shall be considered 100 percent U&U; thus, the Utility’s storage is 100 percent U&U. Therefore, consistent with our previous decision, we find the Utility’s WTP and storage to be 100 percent U&U.

## Excessive Unaccounted for Water (EUW)

 Rule 25-30.4325(1)(e), F.A.C., defines EUW as “unaccounted for water in excess of 10 percent of the amount produced.” Unaccounted for water is all water produced that is not sold, metered, or accounted for in the records of the utility. In determining whether adjustments to plant and operating expenses are necessary in accordance with Rule 25-30.4325(10), F.A.C., we consider several factors. These include (1) the causes of EUW, (2) any corrective action taken, or (3) the economic feasibility of a proposed solution. EUW is calculated by subtracting both the gallons sold to customers and the gallons used for other services, such as flushing, from the total gallons pumped for the test year.

 The Monthly Operating Reports indicate that the Utility pumped 154,498,000 gallons during the test year and purchased 2,187,000 gallons from the City of Port St. Joe. In response to data requests, the Utility indicated that it estimated 25,100,000 gallons for other uses, such as flushing, overflow of the aerators, and extinguishing four fires that occurred in the test year. Based on our analysis, the Utility sold 105,199,000 gallons of water for the test year. When both the gallons sold and water used for other uses is subtracted from the total gallons pumped and purchased, 26,386,000 gallons are unaccounted for. The formula for unaccounted for water is given by [gallons of unaccounted for water / (total gallons pumped + gallons purchased)]. The resulting unaccounted for water is 16.8 percent; therefore, the EUW is 6.8 percent. Accordingly, we made a corresponding adjustment to operating expenses for purchased power and chemical expenses.

With the expectation that the completion of the pro forma plant project to install tank aerators and ventilators in its ground-storage tanks referenced in Section IV Adjustments to Pro Forma Plant will reduce EUW levels, we find it is appropriate for the Utility to provide us with a report showing the impact of these improvements once they are completed. Therefore, Lighthouse shall file a report with this Commission twelve months after the completion this pro forma plant project. This report shall provide updated EUW levels and show the impact of the pro forma project on overall EUW.

## Water Distribution System U&U

 In the 2010 Rate Case Order, we found the Utility’s distribution system to be 82 percent U&U. That order stated that the “U&U analysis for the water distribution system is typically based on a comparison of the lots connected to the distribution system with the total number of lots within the distribution system.” However, we determined that the number of lots that could potentially connect to the distribution system could not be identified due to the nature of the service territory. The service territory consists of dispersed small developments, as well as coastal areas that are not intended to be developed. Instead, we used the capacity of the WTP as a proxy to estimate the capacity of the lines in the distribution system, which we compared to the number of connections being served.

 In the present case, the Utility is proposing to use this same method with its current number of connections and WTP capacity. In its MFRs, the Utility provided that the current number of connections it can serve is 1,994 connections. This value was developed by an engineering consultant, which was the same consultant utilized in the prior rate case. The number of active customer connections at the end of the test year was 1,883 connections. This results in a distribution system U&U of 94 percent. However, the Utility asserted that all of the distribution system assets and equipment are in use and any potential connections are dispersed through the system. Thus, we consider the distribution system 100 percent U&U.

 Consistent with our prior decision in the 2010 Rate Case Order, we agree with utilizing the same method for calculating the U&U of the distribution system. Based on a review of Lighthouse’s system maps, there appears to be vacant lots interspersed throughout the distribution system. However, due to the nature of the service area and the location of the various developments served by the Utility, the distribution lines appear to be in use and needed to serve the existing customers. Additionally, while the Utility did not request a growth allowance, there does appear to be potential growth in the area. In its MFRs, the Utility provided the number of residential customers over the past five years, which increased from 1,625 at the end of 2014 to 1,865 in 2018. Therefore, find the distribution system to be 100 percent U&U.

## Conclusion

We find Lighthouse’s WTP, storage, and distribution system to be 100 percent U&U. We calculated EUW as 6.8 percent and have made a corresponding adjustment to operating expenses for purchased power and chemical expenses. Furthermore, Lighthouse shall file a report with this Commission twelve months after the completion of the pro forma plant project to install tank aerators and ventilators in its ground-storage tanks referenced in Section IV Adjustments to Pro Forma Plant. This report shall provide updated EUW levels and show the impact of the pro forma plant project on overall EUW.

# Working Capital Allowance

Rule 25-30.433(3), F.A.C., requires that Class B utilities use the formula method, or one-eighth of O&M expenses, to calculate the working capital allowance. The Utility properly calculated working capital using the formula method. However, as discussed in subsequent issues, we find adjustments to Lighthouse’s O&M expenses to be necessary. As a result, we approve $72,127 for working capital. This reflects a decrease of $8,954 to the Utility’s requested working capital allowance of $81,081.

# Test Year Rate Base

Consistent with the other adjustments in this Order, the appropriate simple average rate base for the test year ended December 31, 2018, is $1,535,766. Our approved schedule for Lighthouse’s rate base is shown on Schedule No. 1-A and the adjustments we have made to rate base for the test year, subsequent to the adjustments made by the Utility, are shown on Schedule No. 1-B.

# Return on Equity (ROE)

The Utility requested an ROE of 10.55 percent. Consistent our practice, we set the Utility’s negative common equity balance to zero. Based on our leverage formula currently in effect, the appropriate ROE is 10.55 percent.[[6]](#footnote-6) We recognize an allowed range of plus or minus 100 basis points for ratemaking purposes.

# Cost of Capital

In its filing, Lighthouse requested an overall cost of capital of 8.01 percent. The Utility’s capital structure consists of debt. In its filing, Lighthouse reflected a cost rate of 8.01 percent for debt. The Utility was unable to provide any loan documentation for the purpose of the debt in time to be included in the Commission staff audit. In response to the audit, the Utility provided promissory notes for loans from four of its five lenders. All five of the lenders are listed as directors of the Utility. Lighthouse indicated that it believes the last promissory note was lost as a result of Hurricane Michael. We have reviewed the remaining available promissory notes associated with these loans.

 In its filing for a limited proceeding, Lighthouse planned to fund the pro forma projects through the Florida’s Drinking Water State Revolving Fund (Fund). However, the Utility’s request for funding through the Fund was eventually denied. Lighthouse has indicated that it has attempted to obtain funding through bank loans. However, the Utility was unable to secure bank loans, in part due to the COVID-19 pandemic. Subsequently, Lighthouse has indicated that it will obtain additional loans from its directors in order to fund the additions to pro forma plant at the same cost rate as the existing loans. We find that the appropriate cost rate for debt in this case is 8.01 percent.

 Based upon the proper components, amounts, and cost rates associated with the capital structure for the test year ended December 31, 2018, we approve a weighted average cost of capital of 8.01 percent. Schedule No. 2 details overall cost of capital we have approved for Lighthouse.

# Test Year Revenues

  In its revised MFRs, Lighthouse’s adjusted test year revenues were $699,548. The adjusted test revenues were the result of the Utility applying a four percent reduction to its per book balance of $728,696, which resulted in a decrease of $29,148. The Utility reduced test year revenues to account for the decrease in customers due to storm related damage from Hurricane Michael in 2018.

 At the noticed customer meeting, attendees commented that some customers had returned to the service area, and there was new construction. As a result, Commission staff requested the Utility provide billing data for the year ended December 31, 2019. The billing data indicated that the billing determinants were more in line with pre-Hurricane Michael billing determinants. Prior to filing its file and suspend rate request, the Utility filed a limited proceeding, in 2018,[[7]](#footnote-7) which was pre-Hurricane Michael. The billing determinants provided in the limited proceeding docket were based on the year ended December 31, 2017. In comparing the test year usage in this docket (year ended December 31, 2018) to the 2017 data, the usage decreased by approximately five percent from 2017 to 2018.[[8]](#footnote-8) However, when comparing 2017 usage to 2019 usage, it was relatively the same.[[9]](#footnote-9) Therefore, we find that the 2019 billing data reflects a more accurate depiction of test year revenues, post-Hurricane Michael.[[10]](#footnote-10)

 The Utility had a price index increase that became effective November 6, 2019. We annualized the rate increase using the 2019 billing determinants and determined service revenues to be $753,373. We did not adjust the miscellaneous revenues of $3,897, which are reflected in the Utility’s MFRs. Based on the above, the appropriate test year revenues are $757,270 ($753,373 + $3,897), which is an increase of $57,722 ($757,270 - $699,548) to the Utility’s adjusted test year revenues.

# Audit Adjustments to Operating Expenses

In its response to the Commission staff audit report, Lighthouse agreed to adjustments to reduce O&M expense by $15,546. The Utility suggested that the remaining adjustments of $28,423 were related to Hurricane Michael and should be capitalized and amortized. In a recent order, we amortized nonrecurring expenses incurred due to a hurricane over five years.[[11]](#footnote-11) Through subsequent correspondence, the Utility agreed that amortizing the expenses related to Hurricane Michael over five years is appropriate. This results in test year expenses related to Hurricane Michael of $5,685 ($28,423 / 5). Therefore, we have decreased O&M expense by $43,970 ($15,546 + $28,423) to reflect the audit adjustments and an increase of $5,685 to reflect the amortization of Hurricane Michael expenses. This results in a $38,285 net reduction of O&M expenses.

 Additionally, in its response to the Commission staff audit report, Lighthouse agreed with staff’s recommended adjustment to taxes other than income (TOTI). The adjustments were comprised of a decrease of $1,294 to correct regulatory assessment fees (RAFs) in the test year and a $1,000 decrease to remove the filing fee for the instant docket. Therefore, we decreased TOTI by $2,294 ($1,294 + $1,000).

# Adjustments to the Test Year O&M expenses

Based on our review of test year O&M expenses, we find several adjustments are necessary to the Utility’s O&M expenses. These are summarized below.

## Excessive Unaccounted for Water

 As discussed in Section V Used and Useful Percentages, we found an EUW adjustment of 6.8 percent to operating expenses for purchased power and chemical expenses to be appropriate in this case. Based on adjustments specified in Sections XI Audit Adjustments to Operating Expenses and XIV Adjustments to Pro Forma Expense, we approve a purchased power expense of $56,221 and chemicals expense of $8,190. However, as discussed in Sections V and XIV, EUW applies to purchased power only for the well and booster station. We approve a purchased power expense for the well of $51,439. As such, we have reduced purchased power expense by $3,498 (6.8 percent x $51,439) and chemicals expense by $557 (6.8 percent x $8,190).

## Rent Expense

 In its filing, the Utility recorded rent expense of $14,625. Lighthouse’s rent expense consisted of rent associated with an office building, at $1,922 per month, and a storage facility, at $749 per month, both of which the Utility splits evenly with an affiliated real estate company. The Utility also has a one-time expense of $144 related to a P.O. Box with the United States Postal Service included in rent expense.

 Due to Hurricane Michael, the Utility did not record rent expense for the office for two months during the test year. Therefore, we increased rent expense by $1,922 to reflect a full year of rent. There was also an out of period expense associated with the storage facility recorded in the test year. Therefore, we reduced rent expense by $375 ($749 / 2). As a result of these adjustments above, we increased rent expense by $1,547 ($1,922 - $375).

## Amortized Permit Renewal Expense

 The Commission staff audit reclassified $22,901 from plant in service as deferred debits for expense associated with renewing a consumptive use permit. The Utility argued, in its response to the Commission staff audit, that the amortization expense associated with this permit renewal should be included in O&M expense. The application for the permit was completed in 2013 and runs through 2023. We find it appropriate to amortize this expense over 10 years and have included it in miscellaneous expense. As such, we increased miscellaneous expense by $2,290 ($22,901 / 10).

# Adjustments to Salaries and Wages Expense

In its filing, the Utility recorded salaries and wages – officers expense of $130,408. Lighthouse recorded $76,000 for directors’ fees during the test year. This represents $750 per month for eight directors and an extra $500 per director in December as a bonus. This represents an annual compensation of $9,500 per director. In its last rate case, the Utility was allowed recovery for four directors with an annual compensation of $6,000 per director.

 In response to a Commission staff data request,[[12]](#footnote-12) Lighthouse indicated that its President’s salary of $54,408 is well below the range for a general manager of a small water system according the 2019 American Water Works Association (AWWA Survey). Further, the Utility suggested that taking four director salaries and adding them to the President’s salary of $54,408 results in a total management cost well within the range of standard salaries for a general manager in the AWWA Survey. We find it appropriate to limit the Utility to recovery for four directors, consistent with Lighthouse’s last rate case. Further, we do not find it to be prudent to give annual bonuses to each director beyond their monthly compensation. Therefore, we have eliminated these bonuses. As such, we approve a total of $36,000 ($750 x 12 x 4) for directors’ fees. The duties have not changed for the President or the directors since the last rate case.

 As discussed above, we negatively adjusted salaries and wages – officers expense by $38,000 ($9,500 x 4) to reduce the number of directors to four. Additionally, we have negatively adjusted salaries and wages – officers expense by $2,000 ($500 x 4) to eliminate the bonus for each director. This results in a total reduction to salaries and wages – officers expense of $40,000 ($38,000 + $2,000).

# Adjustments to Pro Forma Expense

Based on our review of test year O&M expenses, we find several adjustments to be necessary. These are summarized below.

## Purchased Power

 The Utility estimated that its test year purchased power expense would double, based on the pro forma plant additions. As discussed in Section IV Adjustments to Pro Forma Plant, the Utility is planning to add a new 8 inch well and new high service pumps. During the test year, the Utility was almost entirely limited to one well and recorded $51,649 for purchased power, which included power for the well, pumps, and offices. Based on Commission staff’s audit, the amount of purchased power for only the operation of the well and pumps was $46,867 for the test year. In view of the new well, which will have a larger pumping capacity of 450 gpm compared to the existing well’s pumping capacity of 410 gpm, the amount of purchased power will likely increase. However, we do not find that the additions will cause the purchased power expense to double, since the Utility did not provide support showing the customer demand would double. Except for two months during the test year when Lighthouse purchased water from the City of Port St. Joe, the Utility was able to meet demand utilizing its one well. We find that an increase to purchased power expense proportional to the increase in well pumping capacity is more appropriate. Therefore, based on the increased well pumping capacity, we approve a purchased power expense amount of $51,439 (450/410 x 46,867) for the operation of the wells and pumps, an increase of $4,572.

## Chemicals

 The Utility estimated that chemicals expense would increase by one-third based on the pro forma plant additions. As discussed in Section IV Adjustments to Pro Forma Plant, the Utility is planning to add a chlorinator at its booster station in part to address DEP compliance issues. During the test year, the Utility recorded $6,884 for chemicals. In view of the new chlorinator, the amount of chemicals required will increase; however, the exact quantity and cost of chemicals needed will not likely be known until the chlorinator is in service. Considering the chlorinator will be added at a booster station, the amount of chemicals used is expected to be less than what would be required at the WTP. Therefore, we find that a one-third increase to chemicals is reasonable to account for the new chlorinator, thus, we find an increase of $2,295 to chemicals expense to be appropriate.

## Conclusion

 Based on the adjustments above, we have increased purchased power expense by $4,572 and increased chemicals expense by $2,295.

# Rate Case Expense

In its MFRs, Lighthouse requested $94,547 for current rate case expense. Commission staff requested an update of the actual rate case expense incurred, with supporting documentation, as well as the estimated amount to complete the case. On March 5, 2020, the Utility submitted its last revised estimate of rate case expense, through completion of the PAA process, which totaled $114,473. A breakdown of the Utility’s requested rate case expense is shown below in Table 4.

**Table 4**

**Lighthouse Initial and Revised Rate Case Expense Report**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Description** | **MFR Estimated** | **Actual** | **Additional Estimated** | **Revised Total** |
| **Legal Fees** |
| Holland & Knight, LLP | $45,650 | $46,562 | $8,075 | $54,637 |
| **Accounting Fees** |
| Roberson & Associates, P.A. | 31,950 | 22,620 | 3,236 | 25,856 |
| **Engineering Fees** |
| Dewberry Engineers, Inc. | 0 | 987 | 4,916 | 5,903 |
| **Customer Notices** | 16,947 | 843 | 0 | 843 |
| **Limited Proceeding – Legal Fees** | 0 | 21,024 | 0 | 21,024 |
| **Limited Proceeding – Accounting Fees** | 0 | 6,210 | 0 | 6,210 |
|  **Total** | **$94,547** | **$98,246** | **$16,227** | **$114,473** |

Source: MFR Schedules B-3 and B-10, along with Utility responses to Commission staff data requests

 Pursuant to Section 367.081(7), F.S., we determine the reasonableness of rate case expense and must disallow any rate case expense we determine to be unreasonable. We examined the requested actual expenses, supporting documentation, and estimated expenses as listed above for the current rate case. Based on this review, we find the following adjustments to Lighthouse’s requested rate case expense are appropriate.

## Holland & Knight LLP (H&K)

 In its MFRs, the Utility included $45,650 in legal fees to complete the rate case. The Utility provided documentation detailing this expense through February 11, 2020. The actual fees and costs totaled $46,562 with an estimated $8,075 to complete the rate case, totaling $54,637.

 According to invoices, H&K identified and billed the Utility $8,795 related to the correction of MFR deficiencies. We have previously disallowed rate case expense associated with correcting MFR deficiencies because of duplicate filing costs. Consequently, we find it appropriate to reduce H&K’s actual legal fees by $8,795.

 H&K’s estimate to complete the rate case includes fees for 19 hours at $425 an hour, totaling $8,075. We find the full amount of the estimate to complete, $8,075, to be reasonable. Based on the above, we have reduced total legal fees from H&K by $8,795.

## Roberson & Associates, P.A. (R&A)

 In its MFRs, the Utility included $31,950 in accounting fees to complete the rate case. The Utility provided documentation detailing this expense through December 31, 2019. The actual fees total $22,620 with an estimated $3,236 to complete the rate case, totaling $25,856. This supporting documentation showed 68.75 hours related to correcting deficiencies. As stated previously, we have disallowed rate case expense associated with correcting MFR deficiencies because of duplicate filing costs. As such, we find it appropriate to reduce R&A’s actual accounting consultant by $6,749.

 R&A’s estimate to complete the rate case includes fees for 26 hours at $120. According to R&A’s summary, the consultant estimated the following:

**Table 5**

**R&A’s Estimate Hours to Complete Case**

|  |  |
| --- | --- |
| **Estimated Hours** | **Activity** |
| 4.00 | Attend customer meeting in Gulf County; pre- and post-meeting conferences with client. |
| 10.00 | Review Staff and Field Auditors recommendations, correspondence with client and consultants, respond to recommendations and resulting conference staff and client. |
| 9.00 | Travel to and from Tallahassee; Prepare for and attend Agenda conference; Discuss Agenda with client and staff. |
| 2.00 | Review PAA Order; conference with client and consultants regarding PAA order. |
| 1.00 | Prepare revised tariffs. |
| 26.00 | Total |

Source: Utility’s response to Commission staff’s third data request

 At the time the Utility provided the above estimate to Commission staff, the Commission Conference had not been changed to a teleconference format in response to the COVID-19 pandemic. As such, estimated costs associated with travel to attend the Commission Conference are no longer necessary. We find it appropriate to reduce the estimated cost to complete by four hours for travel, or $480 (4 hrs. x $120/hr.). We also find it appropriate to remove the $116 of estimated travel expenses associated with attending the Commission Conference.

 Based on the above, we have reduced the total accounting fees for R&A be by $7,345 ($6,749 + $480 + $116).

## Dewberry Engineers, Inc. (DEI)

 In its MFRs, the Utility did not include any engineering fees to complete the rate case. The Utility provided documentation detailing this expense through February 10, 2020. The actual fees to that date totaled $987, with an estimated $4,916 to complete the rate case. This resulted in a total to complete this rate case of $5,903.

 DEI estimates that a total of 20 hours is needed to complete the case. According to DEI’s summary, the consultant estimated the hours specified below in Table 6 to complete this case.

**Table 6**

**DEI’s Estimate Hours to Complete Case**

|  |  |
| --- | --- |
| **Estimated Hours** | **Activity** |
| 5.00 | Respond to Staff requests for documentation, including research and correspondence and other information to answer each point in requests. |
| 4.00 | Attend customer meeting in Gulf County; pre- and post-meeting conferences with client. |
| 9.00 | Travel to and from Tallahassee; Prepare for and attend Agenda Conference; Discuss Agenda with client and staff. |
| 2.00 | Review PAA Order; conference with client and consultants regarding PAA Order. |
| 20.00 | Total |

Source: Utility’s response to Commission staff’s third data request

 At the time the Utility proved the above estimate to Commission staff, the customer meeting had already occurred and a representative from DEI did not attend. As such, we find it appropriate to reduce the estimated cost to complete by two hours or $480 (2 hrs. x $240/hr.) to reflect a reasonable amount of time that would have been allotted to attend the customer meeting. Additionally, at the time the Utility provided the above estimate to Commission staff, the Commission Conference had not been changed to a teleconference format, as previously discussed. Costs associated with travel to attend the Commission Conference are no longer necessary. As such, we find it appropriate to reduce the estimated cost to complete by an additional four hours or $960 (4 hrs. x $240/hr.). Also, the $116 of estimated travel expenses associated with attending the Commission Conference are no longer necessary and thus it is appropriate to remove them.

 Based on the above, we have reduced the total engineering fees for DEI by $1,556 ($480 + $960 + $116).

## Customer Notice

 In its MFRs, Lighthouse included $16,947 of expenses associated with customer notices. The Utility provided documentation detailing the actual expense through January 9, 2020. The actual costs total $843 for one notice. An estimate to complete was not provided by the Utility. We find it reasonable to include the cost for two additional notices: a notice to customers regarding final rates and a notice reflecting the four-year rate case expense reduction. Using the Utility’s actual cost for the one notice previously issued in this case results in additional noticing costs of $1,685 ($843 x 2). Accordingly, we have increased the expense for customer notices, printing, and shipping fees by $1,685.

## Limited Proceeding

 Lighthouse originally petitioned to have a limited proceeding to increase its water rates in order to bring its water system into compliance with applicable water quality standards. Two weeks after the Utility’s filing, the service area was greatly affected by damage caused by Hurricane Michael. The hurricane destroyed or damaged large portions of Lighthouse’s distribution system and substantially impacted its customer base. Additionally, Lighthouse and OPC continued to discuss whether a limited proceeding was the appropriate process for seeking rate relief based on the Utility’s circumstances. To avoid any further delay and expense, Lighthouse withdrew its application for a limited proceeding and subsequently filed a full rate case.

 In its update to actual rate case expense, Lighthouse included documentation to support $27,234 in rate case expense from the limited proceeding docket. In a previous decision, Order No. PSC-16-0525-PAA-WS, issued November 21, 2016, In re: Application for increase in water rates in Lee County and wastewater rates in Pasco County by Ni Florida, LLC (Ni Florida), we did not allow for the recovery of rate case expense from another docket where the utility had withdrawn the corresponding application on its own motion. In Ni Florida, the utility’s withdrawal of its application was, in part, due to deficiencies in its own application, changes in ownership, and changes in the status of certain capital improvements. These were all circumstances over which the utility had some control.

 In the instant docket, however, the circumstances are different than those in Ni Florida. Here, the previous limited proceeding for which the Utility had applied was essentially “folded” into this proceeding and the application fee paid in that proceeding applied to this proceeding. Secondly, circumstances well beyond the control of the Utility (Hurricane Michael) were at least a partial factor in moving from a limited proceeding to a full rate case. Based on the above, we find that the Utility’s request to recover rate case expense associated with the limited proceeding docket is reasonable. Adjustments to the Utility’s request are discussed below.

### Legal Fees

 Lighthouse provided documentation supporting $21,024 of legal fees charged by H&K associated with the limited proceeding. This supporting documentation showed that 5.7 hours, or $2,423 (5.7 x $425/hr.), were related to correcting deficiencies. Accordingly, we find it appropriate to reduce the legal fees related to the limited proceeding by $2,423.

### Accounting Fees

 The Utility provided documentation supporting $6,210 of accounting fees charged by R&A associated with the limited proceeding. We find that this supporting documentation sufficiently demonstrates that all of these account fee expenses are reasonable. A breakdown of limited proceeding rate case expense is reflected in Table 7 below.

**Table 7**

**Limited Proceeding Rate Case Expense**

|  |  |  |  |
| --- | --- | --- | --- |
| **Description** | **Actual** | **Commission Adjustments** | **Commission-Approved Total** |
| Limited Proceeding – Legal Fees | $21,024 | ($2,423) | $18,602 |
| Limited Proceeding – Accounting Fees | 6,210 | 0 | 6,210 |
|  Total | $27,234 | $(2,423) | $24,812 |

Source: Utility’s responses to Commission staff data requests

## Conclusion

 Based upon the adjustments discussed above, we decreased Lighthouse’s revised rate case expense of $114,473 by $18,434. A breakdown of our approved rate case expense of $96,040 for Lighthouse is specified in Table 8 below.

**Table 8**

**Approved Rate Case Expense**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Description** | **MFR Estimated** | **Utility Revised Act. & Est.** | **CommissionAdjustments** | **Commission-Approved Total** |
| Legal Fees | $45,650 | $54,637 | ($8,795) | $45,842 |
| Accounting Fees | 31,950 | 25,856 | (7,345) | 18,511 |
| Engineering Fees | 0 | 5,903 | (1,556) | 4,347 |
| Customer Notices | 16,947 | 843 | 1,685 | 2,528 |
| Limited Proceeding - Legal Fees | 0 | 21,024 | (2,423) | 18,602 |
| Limited Proceeding - Accounting Fees | 0 | 6,210 | 0 | 6,210 |
|  Total | $94,547 | $114,473 | ($18,434) | $96,040 |

Source: MFR Schedules B-3 and B-10, along with Utility responses to Commission staff data requests

 In its MFRs, the Utility requested total rate case expense of $94,547. When amortized over four years, this represents an annual expense of $23,637. The total rate case expense of $96,040 we have approved for Lighthouse shall be amortized over four years, pursuant to Section 367.081(8), F.S., as the Utility did not request or justify a longer amortization period. This represents an annual expense of $24,010. Based on above, we have increased Lighthouse’s annual rate case expense by $373 ($24,010 - $23,637) relative to the Utility’s original filing.

# Revenue Requirement

In its filing, Lighthouse requested a revenue requirement to generate annual revenue of $984,348. This requested revenue requirement represents a revenue increase of $284,800 or approximately 40.71 percent.

 Consistent with our findings concerning rate base, cost of capital, and operating income issues, we approve rates for Lighthouse that are designed to generate a revenue requirement of $912,233. Our approved revenue requirement of $912,233 is $154,963 greater than the adjusted test year revenue of $757,270 we approved. This results in an increase of 20.46 percent. This approved revenue requirement will allow the Utility the opportunity to recover its expenses and earn an 8.01 percent return on its investment in rate base.

# Rate Structures and Rates

Lighthouse is located in Gulf County in the Northwest Water Management District. The Utility provides water service to approximately 1,837 residential customers and 60 general service customers including multi-family units, recreational areas, a state park, and governmental properties. Typically, we evaluate the seasonality of the Utility customers based on the percentage of bills at zero gallons, which is 13 percent in this case. However, based on billing data, it appears that the customers are in residence periodically throughout each month and there are also vacation rentals. Therefore, we find it appropriate to evaluate the seasonality based on the percentage of bills at the 1,000-gallon level, which is 35 percent. As a result, it appears that the customer base is seasonal. The average residential water demand is 4,199 per month. The average residential demand excluding zero-gallon bills is 4,825 gallons per month. Currently, the Utility’s water rate structure consists of a monthly base facility charge (BFC) and uniform gallonage charge for residential and general service customers.

 As discussed in Section X Test Year Revenues, we used 2019 billing determinants to calculate test year revenues. The 2019 usage billing determinants are five percent greater than the usage reflected in the 2018 billing determinants. By designing rates using the Utility’s 2018 billing determinants reflected in the MFRs, revenues in excess of revenue requirement we have approved for Lighthouse would be generated immediately upon the rates becoming effective. We find it appropriate to use 2019 billing determinants to design rates on a prospective basis in order to reflect known and measurable post-Hurricane Michael changes in billing determinants.

 We have analyzed the Utility’s billing data in order to evaluate the appropriate rate structure for the residential water customers. The goal of the evaluation was to select the rate design parameters that: (1) produce the approved revenue requirement; (2) equitably distribute cost recovery among the Utility’s customers; (3) establish the appropriate non-discretionary usage threshold for restricting repression; and (4) implement, where appropriate, water conserving rate structures consistent with Commission practice.

 It has been our practice to allow recovery of no more than 40 percent of the revenues to be generated from the BFC. However, due to the seasonality of the customer base, we find it more appropriate, in this circumstance, that 50 percent of the water revenues be generated from the BFC.[[13]](#footnote-13) This will provide revenue stability while customers are out of residence. The average people per household served by the water system is approximately 2.5; therefore, based on the number of people per household, 50 gallons per day per person, and the number of days per month, the non-discretionary usage threshold would be 4,000 gallons per month.[[14]](#footnote-14) We approve a traditional BFC with separate rate blocks for non-discretionary and discretionary usage for residential water customers. The rate blocks are: (1) 0-4,000 gallons and (2) all usage in excess of 4,000 gallons. This rate structure restricts repression at non-discretionary levels of consumption. General service customers shall be billed based on a BFC and uniform gallonage charge.

 Based on our approved revenue increase of 20.6 percent for Lighthouse, which excludes miscellaneous revenues, the residential consumption can be expected to decline by 2,069,000 gallons resulting in anticipated average residential demand of 4,106 gallons per month. Based on our evaluation of the billing data, a larger decrease in consumption may seem reasonable due to the amount of discretionary usage. However, as discussed above, Lighthouse customers are not all full-time, owner-occupied homes; instead, some are vacation rental properties. As is the case with the general service class, these homeowners may pass along increases to their customers. Therefore, to reflect this expected relative insensitivity to price changes, we find that a more appropriate price elasticity of demand would be -0.2 instead of -0.4, which is the figure normally used to calculate repression adjustments. This elasticity reflects our expectation that many of the Utility’s customers will simply pass the increase in cost to their renters instead of reducing their consumption. Based on the above, we approve a 2.2 percent reduction in test year residential gallons for ratesetting purposes and corresponding reductions of $986 for purchased power, $204 for purchased water, $143 for chemicals, and $63 for RAFs to reflect the anticipated repression. These adjustments result in a post-repression revenue requirement of $906,941.

 The approved rate structures and monthly water rates are shown on Schedule No. 4. The Utility shall file revised tariff sheets and a proposed customer notice to reflect these approved rates. The approved rates shall be effective for service rendered on or after the stamped approval date on the tariff sheet pursuant to Rule 25-30.475(1), F.A.C. Lighthouse may only implement the approved rates after Commission staff approves the proposed customer notice and the Lighthouse’s customers receive said notice. Within 10 days of the date of said notice, the Utility shall provide proof of the date notice was given.

# Initial Customer Deposits

Rule 25-30.311, F.A.C., provides the criteria for collecting, administering, and refunding customer deposits. Customer deposits are designed to minimize the exposure of bad debt expense for the Utility and, ultimately, the general body of ratepayers. An initial customer deposit ensures that the cost of providing service is recovered from the cost causer. Historically, we have set initial customer deposits equal to two times the average estimated bill.[[15]](#footnote-15) Currently, the Utility’s initial deposit for residential and general service water is $25 for the 5/8 inch x 3/4 inch and 1 inch meter sizes, and $50 for the 1 1/2 inch and 2 inch meter sizes. However, these amounts do not cover two months’ average bills based on the rates we have approved here. The Utility’s average monthly residential water usage after repression is 4,106 gallons per customer. Therefore, the average residential monthly bill based on the rates we have approved is approximately $33.25.

 We find that the appropriate initial customer deposits shall be $67 for the residential 5/8 inch x 3/4 inch meter size for water. The initial customer deposits for all other residential meter sizes and all general service meter sizes shall be two times the average estimated bill for water. The approved initial customer deposits shall be effective for services rendered or connections made on or after the stamped approval date on the tariff sheets pursuant to Rule 25-30.475, F.A.C. Lighthouse shall collect the approved deposits until we authorize the Utility to change them in a subsequent proceeding.

# Reduction of Rates to Reflect the Removal of Amortized Rate Case Expense

We have reduced Lighthouse’s water rates, as shown on Schedule No. 4, to remove the annual amortization of rate case expense grossed-up for RAFs. This decrease in rates shall become effective immediately following the expiration of the rate case expense recovery period, pursuant to Section 367.081(8), F.S. Lighthouse shall file revised tariffs and a proposed customer notice setting forth the lower rates and the reason for the reduction no later than one month prior to the actual date of the required rate reduction. If Lighthouse files this reduction in conjunction with a price index or pass-through rate adjustment, the Utility shall file separate data for the price index and/or pass-through increase or decrease and the reduction in the rates due to the amortized rate case expense.

# Adjustments to Books and Records

The Utility shall notify us, in writing, that it has adjusted its books in accordance with our decision. Lighthouse shall submit a letter within 90 days of the final order in this docket confirming that the adjustments to all the applicable NARUC USOA accounts have been made to the Utility’s books and records. In the event Lighthouse needs additional time to complete the adjustments, the Utility shall provide notice to this Commission of such need within seven days prior to this deadline. Upon the Utility providing good cause, Commission staff shall have administrative authority to grant an extension of up to 60 days.

 Based on the foregoing, it is

 ORDERED by the Florida Public Service Commission that Lighthouse Utility Company, Inc.’s application for an increase in water rates is hereby approved as set forth in the body of this Order. It is further

 ORDERED that all matters contained in schedules appended hereto are incorporated herein by reference. It is further

 ORDERED that Lighthouse Utility Company, Inc. is hereby authorized to charge the new rates as approved in the body of the Order. It is further

 ORDERED that the Utility shall file revised tariff sheets and a proposed customer notice to reflect the rates we have approved herein. The approved rates shall be effective for service rendered on or after the stamped approval date on the tariff sheet pursuant to Rule 25-30.475(1), F.A.C. In addition, Lighthouse may only implement the approved rates after Commission staff approves the proposed customer notice and the Lighthouse’s customers receive said notice. Within 10 days of the date of said notice, the Utility shall provide proof of the date notice was given. It is further

 ORDERED that the appropriate initial customer deposit for is $67 for Lighthouse customers with the residential 5/8 inch by 3/4 inch meter size. The initial customer deposits for all other residential meter sizes and all general service meter sizes shall be two times the average estimated bill for water. The approved initial customer deposits shall be effective for services rendered or connections made on or after the stamped approval date on the tariff sheets pursuant to Rule 25-30.475, F.A.C. Lighthouse shall collect the approved deposits until we authorize the Utility to change them by in a subsequent proceeding. It is further

 ORDERED that Lighthouse’s water rates shall be reduced, as shown on Schedule No. 4, to remove the annual amortization of rate case expense grossed-up for regulatory assessment fees. The decrease in rates shall become effective immediately following the expiration of the rate case expense recovery period. Lighthouse shall file revised tariffs and a proposed customer notice setting forth the lower rates, and the reason for the reduction, no later than one month prior to the actual date of the required rate reduction. If the Lighthouse files this reduction in conjunction with a price index or pass-through rate adjustment, the Utility shall file separate data for the price index and/or pass-through increase or decrease and the reduction in the rates due to the amortized rate case expense. It is further

 ORDERED that Lighthouse shall notify us, in writing, that it has adjusted its books in accordance with our decision. Lighthouse shall submit a letter within 90 days of the final order in this docket, confirming that the adjustments to all the applicable NARUC USOA accounts have been made to the Utility’s books and records. In the event Lighthouse needs additional time to complete the adjustments, the Utility shall provide notice to this Commission of such need within seven days prior to this deadline. Upon the Utility providing good cause, Commission staff shall have administrative authority to grant an extension of up to 60 days. It is further

 ORDERED that the provisions of this Order, issued as proposed agency action, shall become final and effective upon the issuance of a Consummating Order unless an appropriate petition, in the form provided by Rule 28-106.201, Florida Administrative Code, is received by the Commission Clerk, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850, by the close of business on the date set forth in the “Notice of Further Proceedings” attached hereto. It is further

 ORDERED that if no person whose substantial interests are affected by the proposed agency action files a protest within 21 days of the issuance of this Order, a consummating order shall be issued. The docket shall remain open for Commission staff’s verification that the revised tariff sheets and customer notice have been filed by the Utility and approved by Commission staff, and the Utility has notified Commission staff that the adjustments for all the applicable NARUC USOA primary accounts have been made. Once these actions are complete, this docket shall be closed administratively.

 By ORDER of the Florida Public Service Commission this 22nd day of May, 2020.

|  |  |
| --- | --- |
|  | /s/ Adam J. Teitzman |
|  | ADAM J. TEITZMANCommission Clerk |

Florida Public Service Commission

2540 Shumard Oak Boulevard

Tallahassee, Florida 32399

(850) 413‑6770

www.floridapsc.com

Copies furnished: A copy of this document is provided to the parties of record at the time of issuance and, if applicable, interested persons.

KMS

NOTICE OF FURTHER PROCEEDINGS OR JUDICIAL REVIEW

The Florida Public Service Commission is required by Section 120.569(1), Florida Statutes, to notify parties of any administrative hearing or judicial review of Commission orders that is available under Sections 120.57 or 120.68, Florida Statutes, as well as the procedures and time limits that apply. This notice should not be construed to mean all requests for an administrative hearing or judicial review will be granted or result in the relief sought.

 As identified in the body of this order, our actions herein, except for requiring a four-year rate adjustment and proof of adjustments of books and records, are preliminary in nature. Any person whose substantial interests are affected by the action proposed by this order may file a petition for a formal proceeding, in the form provided by Rule 28-106.201, Florida Administrative Code. This petition must be received by the Office of Commission Clerk, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850, by the close of business on June 12, 2020. If such a petition is filed, mediation may be available on a case-by-case basis. If mediation is conducted, it does not affect a substantially interested person's right to a hearing. In the absence of such a petition, this order shall become effective and final upon the issuance of a Consummating Order.

 Any objection or protest filed in this docket before the issuance date of this order is considered abandoned unless it satisfies the foregoing conditions and is renewed within the specified protest period.

 Any party adversely affected by the Commission's final action in this matter may request: 1) reconsideration of the decision by filing a motion for reconsideration with the Office of Commission Clerk, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850, within fifteen (15) days of the issuance of this order in the form prescribed by Rule 25-22.060, Florida Administrative Code; or 2) judicial review by the Florida Supreme Court in the case of an electric, gas or telephone utility or the First District Court of Appeal in the case of a water and/or wastewater utility by filing a notice of appeal with the Office of Commission Clerk, and filing a copy of the notice of appeal and the filing fee with the appropriate court. This filing must be completed within thirty (30) days after the issuance of this order, pursuant to Rule 9.110, Florida Rules of Appellate Procedure. The notice of appeal must be in the form specified in Rule 9.900(a), Florida Rules of Appellate Procedure.

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  **Lighthouse Utilities Company, Inc.** |  |   |   | **Schedule No. 1-A** |
|  **Schedule of Water Rate Base** |  |  | **Docket No. 20190118-WU** |
|  **Test Year Ended 12/31/18** |  |  |  |  |   |
|   |   |   |   |   |   |   |
|   |  | **Test Year** | **Utility** | **Adjusted** | **Commission** | **Commission** |
|   |  | **Per** | **Adjust-** | **Test Year** | **Adjust-** | **Adjusted** |
|   | **Description** | **Utility** | **ments** | **Per Utility** | **ments** | **Test Year** |
|   |  |  |  |  |  |   |
|   |   |   |   |   |   |   |
| 1 | Plant in Service | $3,540,547  | $994,000  | $4,534,547  | $136,039  | $4,670,586  |
|   |  |  |  |  |  |   |
| 2 | Land and Land Rights | 0  | 0  | 0  | 0  | 0  |
|   |  |  |  |  |  |   |
| 3 | Non-used and Useful Components | 0  | 0  | 0  | 0  | 0  |
|   |  |  |  |  |  |   |
| 4 | Accumulated Depreciation | (1,808,062) | (66,366) | (1,874,428) | (129,665) | (2,004,093) |
|   |  |  |  |  |  |   |
| 5 | CIAC | (2,482,733) | 0  | (2,482,733) | 41,275  | (2,441,458) |
|   |  |  |  |  |  |   |
| 6 | Amortization of CIAC | 1,243,859  | 0  | 1,243,859  | (5,256) | 1,238,603  |
|   |  |  |  |  |  |   |
| 7 | Working Capital Allowance | 81,081  | 0  | 81,081  | (8,954) | 72,127  |
|   |  |  |  |  |  |   |
| 8 | **Rate Base** | $574,692  | $927,634  | $1,502,326  | $33,440  | $1,535,766  |
|  |  |  |  |  |  |  |

|  |  |
| --- | --- |
| **Lighthouse Utilities Company, Inc.** | **Schedule No. 1-B** |
| **Adjustments to Rate Base** | **Docket No. 20190118-WU** |
| **Test Year Ended 12/31/18** |  |
|   |   |   |
|   | **Explanation** | **Water** |
|   |   |   |
|   |   |   |
|   | **Plant In Service** |   |
|  | To reflect audit adjustment to UPIS. | $136,039  |
|   |   |   |
|   | **Accumulated Depreciation** |   |
| 1 | To reflect audit adjustments to accumulated depreciation. | ($148,937) |
| 2 | To reflect appropriate pro forma accumulated depreciation. | 19,272  |
|   | **Total** | ($129,665) |
|   |   |   |
|   | **CIAC** |   |
|  | To reflect audit adjustments to CIAC. | $41,275  |
|   |   |   |
|   | **Accumulated Amortization of CIAC** |   |
|  | To reflect audit adjustments to accumulated amortization of CIAC. | ($5,256) |
|   |   |   |
|   | **Working Capital** |   |
|   | To reflect the appropriate amount of working capital. | ($8,954) |
|   |   |   |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Lighthouse Utilities Company, Inc.** |  |  |  |  | **Schedule No. 2**  |
| **Capital Structure-Simple Average** |  |  |  |  | **Docket No. 20190118-WU** |
| **Test Year Ended 12/31/18** |  |  |  |  |  |  |   |
|  |  |  | **Specific** | **Subtotal** | **Pro rata** | **Capital** |  |  |  |
|  |  | **Total** | **Adjust-** | **Adjusted** | **Adjust-** | **Reconciled** |  | **Cost** | **Weighted** |
|  | **Description** | **Capital** | **ments** | **Capital** | **ments** | **to Rate Base** | **Ratio** | **Rate** | **Cost** |
| **Per Utility** |   |   |   |   |   |   |   |   |
| 1 | Debt | $843,383  | $0  | $843,383  | $658,942  | $1,502,325  | 100.00% | 8.01% | 8.01% |
| 2 | Preferred Stock | 0  | 0  | 0  | 0  | 0  | 0.00% | 0.00% | 0.00% |
| 3 | Common Equity | (401,976) | 401,976  | 0  | 0  | 0  | 0.00% | 0.00% | 0.00% |
| 4 | Customer Deposits | 0  | 0  | 0  | 0  | 0  | 0.00% | 0.00% | 0.00% |
| 5 | **Total Capital** | $441,407  | $401,976  | $843,383  | $658,942  | $1,502,325  | 100.00% |   | 8.01% |
|   |   |  |  |  |  |  |   |   |   |
| **Commission Approved** |  |  |  |  |  |   |   |   |
| 6 | Debt | $843,383  | $994,000  | $1,837,383  | ($301,617) | $1,535,766  | 100.00% | 8.01% | 8.01% |
| 7 | Preferred Stock | 0  | 0  | 0  | 0  | 0  | 0.00% | 0.00% | 0.00% |
| 8 | Common Equity | (401,976) | 401,976  | 0  | 0  | 0  | 0.00% | 10.55% | 0.00% |
| 9 | Customer Deposits | 0  | 0  | 0  | 0  | 0  | 0.00% | 0.00% | 0.00% |
| 10 | **Total Capital** | $441,407  | $1,395,976  | $1,837,383  | ($301,617) | $1,535,766  | 100.00% |  | 8.01% |
|   |   |   |   |   |   |   |   |   |   |
|   |   |   |   |   |  |  | **LOW** | **HIGH** |   |
|   |   |   |   |   | RETURN ON EQUITY | 9.55% | 11.55% |   |
|   |   |   |  | OVERALL RATE OF RETURN | 8.01% | 8.01% |   |
|   |   |   |   |   |   |   |   |   |   |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Lighthouse Utilities Company, Inc.** |  |  |  |  | **Schedule No. 3-A** |
| **Statement of Water Operations** |  |  |  | **Docket No. 20190118-WU** |
| **Test Year Ended 12/31/18** |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  | **Test Year** | **Utility** | **Adjusted** | **Commission** | **Commission** |  |  |
|  |  | **Per** | **Adjust-** | **Test Year** | **Adjust-** | **Adjusted** | **Revenue** | **Revenue** |
|  | **Description** | **Utility** | **ments** | **Per Utility** | **ments** | **Test Year** | **Increase** | **Requirement** |
|   |   |   |   |   |   |   |   |   |
|   |   |   |   |   |   |   |   |   |
| 1 | **Operating Revenues:** | $728,696  | $255,652  | $984,348  | ($227,078) | $757,270  | $154,963  | $912,233  |
|   |   |   |   |   |   |   | 20.46% |   |
|   | **Operating Expenses** |   |   |   |   |   |   |   |
| 2 |  Operation & Maintenance | $648,651  | $23,638  | $672,289  | ($71,263) | $601,026  | $0 | $601,026  |
|   |   |   |   |   |   |   |   |   |
| 3 |  Depreciation | 32,434  | 66,366  | 98,800  | (11,573) | 87,227  | 0 | 87,227  |
|   |   |  |  |  |  |  |  |  |
| 4 |  Amortization | 0  | 0  | 0  | 0  | 0  | 0 | 0  |
|   |   |  |  |  |  |  |  |  |
| 5 |  Taxes Other Than Income | 66,738  | 26,244  | 92,982  | 1,009  | 93,991  | 6,973  | 100,964  |
|   |   |   |   |   |   |   |   |   |
| 6 |  Income Taxes | 0  | 0  | 0  | 0  | 0  | 0  | 0  |
|   |   |  |  |  |  |  |  |  |
| 7 | **Total Operating Expense** | 747,823  | 116,248  | 864,071  | (81,827) | 782,244  | 6,973  | 789,218  |
|   |   |   |   |   |   |   |   |   |
| 8 | **Operating Income** | ($19,127) | $139,404  | $120,277  | ($145,251) | ($24,974) | $147,989  | $123,015  |
|   |   |  |  |  |  |  |  |  |
| 9 | **Rate Base** | $574,692  |  | $1,502,326  |  | $1,535,766  |  | $1,535,766  |
|   |   |   |   |   |   |   |   |   |
| 10 | **Rate of Return** | (3.33%) |   | 8.01% |   | (1.63%) |   | 8.01% |
|   |   |   |   |   |   |   |   |   |

|  |  |
| --- | --- |
| **Lighthouse Utilities Company, Inc.** | **Schedule 3-B** |
| **Adjustment to Operating Income** | **Docket No. 20190118-WU** |
| **Test Year Ended 12/31/18** |  |
|   |   |   |
|   | **Explanation** | **Water** |
|   |   |   |
|   |   |   |
|   | **Operating Revenues** |   |
| 1 | Remove requested final revenue increase. | ($284,800) |
| 2 | To reflect the appropriate amount of annualized revenues. | 57,722  |
|   | **Total** | ($227,078) |
|   |   |   |
|   | **Operation and Maintenance Expense** |   |
| 1 | To reflect audit adjustments. | ($43,970) |
| 2 | To reflect amortization of hurricane expenses. | 5,685  |
| 2 | To reflect amortization of permit renewal expense. | 2,290  |
| 3 | To reflect EUW adjustment to purchased power. | (3,498) |
| 4 | To reflect EUW adjustment to chemicals. | (557) |
| 5 | To reflect 12 months of rent. | 1,547  |
| 6 | To reduce number of directors to four. | (40,000) |
| 7 | To increase purchased power in relation to pro forma projects. | 4,572  |
| 8 | To increase chemicals in relation to pro forma projects. | 2,295  |
| 9 | To reflect appropriate rate case expense for current docket. | 373  |
|   | **Total** | ($71,263) |
|   |   |   |
|   | **Depreciation Expense - Net** |   |
| 1 | To reflect audit adjustments to depreciation expense. | $6,396  |
| 2 | To reflect audit adjustments to CIAC amortization expense. | 1,303  |
| 3 | To reflect appropriate pro forma depreciation expense. | (19,272) |
|   | **Total** | ($11,573) |
|   |   |   |
|   | **Taxes Other Than Income** |   |
| 1 | RAFs on revenue adjustments above. | ($10,219) |
| 2 | To reflect audit adjustment to RAFs. | (1,294) |
| 3 | To reflect audit adjustments to remove filing fee. | (1,000) |
| 4 | To reflect property taxes on pro forma plant. | 13,522  |
|   | **Total** | $1,009  |
|   |   |   |



(A) The rates for the one inch through six inch meter sizes are incorrect due to meter factors. This error was made in the Utility's last rate case and has been corrected on a prospective basis with the rates we have approved for the Utility.

(1) The Utility's current rates are a result of a price index effective November 6, 2019.

1. Order No. PSC-11-0368-PAA-WU, issued September 1, 2011, in Docket No. 20100128-WU, In re: Application for increase in water rates in Gulf County by Lighthouse Utilities Company, Inc*.* [↑](#footnote-ref-1)
2. Docket No. 20180179-WU, In re: Application for limited proceeding rate increase in Gulf County, by Lighthouse Utilities Company, Inc*.* [↑](#footnote-ref-2)
3. Document No. 05489-2019, filed on July 12, 2019. [↑](#footnote-ref-3)
4. Document No. 11463-2019, filed on December 23, 2019. [↑](#footnote-ref-4)
5. Document No. 01276-2020, filed on March 5, 2020. [↑](#footnote-ref-5)
6. Order No. PSC-2019-0267-PAA-WS, issued July 7, 2019, in Docket No. 20190006-WS, In re: Water and wastewater industry annual reestablishment of authorized range of return on common equity for water and wastewater utilities pursuant to Section 367.081(4)(f), F.S. [↑](#footnote-ref-6)
7. The limited proceeding request was withdrawn in order to file a more comprehensive filing in the instant docket. [↑](#footnote-ref-7)
8. 2017 usage from limited proceeding filing – 110,578,000 gallons; 2018 usage from instant docket – 105,199,000 gallons [↑](#footnote-ref-8)
9. 2019 usage data – 110,693,000 gallons [↑](#footnote-ref-9)
10. It should be noted that the customer count was 1,884 in 2017, 1,911 in 2018, and 1,890 in 2019. [↑](#footnote-ref-10)
11. Order No. PSC-2018-0446-FOF-SU, issued September 4, 2018, in Docket No. 20170141-SU, In re: Application for increase in wastewater rates in Monroe County by K W Resort Utilities Corp. [↑](#footnote-ref-11)
12. Document No. 08995-2019, filed on September 23, 2019. [↑](#footnote-ref-12)
13. Order No. PSC-17-0209-PAA-WU, issued May 30, 2017, in Docket No. 20160065-WU, In re: Application for increase in water rates in Charlotte County by Bocilla Utilities, Inc*.* [↑](#footnote-ref-13)
14. Average person per household was obtained from www.census.gov/quickfacts/gulfcountyflorida. [↑](#footnote-ref-14)
15. Order Nos. PSC-2017-0428-PAA-WS, issued November 7, 2017, in Docket No. 20160195-WS, In re: Application for staff-assisted rate case in Lake County by Lakeside Waterworks, Inc. and PSC-17-0113-PAA-WS, issued March 28, 2017, in Docket No. 20130105-WS, In re: Application for certificates to provide water and wastewater service in Hendry and Collier Counties, by Consolidated Services of Hendry & Collier, LLC*.* [↑](#footnote-ref-15)