FLORIDA PUBLIC SERVICE COMMISSION

Fletcher Building

101 East Gaines Street

Tallahassee, Florida 32399-0850

M E M O R A N D U M

September 24, 1992

TO:			DIRECTOR OF RECORDS AND REPORTING

FROM:	DIVISION OF AUDITING AND FINANCIAL ANALYSIS (LEE)

DIVISION OF ELECTRIC AND GAS (TAYLOR)

DIVISION OF LEGAL SERVICES (CHRIST)

RE:DOCKET NO. 	920618-EI - TAMPA ELECTRIC COMPANY DEPRECIATION STUDY FOR BIG BEND AND GANNON STATIONS

AGENDA:	OCTOBER 6, 1992, CONTROVERSIAL, PROPOSED AGENCY ACTION, PARTIES MAY PARTICIPATE

CRITICAL DATES:OCTOBER 12, 1992 - HEARING BEGINS IN RATE CASE

(DOCKET NO. 920324-EI)

___________________________________________________________

ISSUE 1:	Should Tampa Electric Company ( TECO or Company) be prescribed new depreciation rates for use at the Big Bend and Gannon production plants at this time?

RECOMMENDATION:	Yes.  The Company was ordered to file revised site specific studies by June 30, 1992 for Big Bend and Gannon stations (Order No. 25619, from the Company's last full depreciation study).  The filing under discussion is that site specific study and a revision of rates for the two subject sites is indicated.

STAFF ANALYSIS:	An update on these two sites was required in order to take into account activity which had not yet been booked, and also updated life estimates.  In the filed update, TECO takes the position "the Company does not see sufficient reasons to change individual unit depreciation rates that would result in little or no change in annual depreciation."  This position is based on the fact that TECO's estimate for the combined depreciation expense for these two stations would net a change of only a negative $100,000.  (See Attachment #4, page 10.  Also Attachment #6, page 13.)

DOCKET NO. 920618-EI

SEPTEMBER 24, 1992

By the Company calculations however, the expenses of Big Bend are currently understated by about $900,000, and the expenses of Gannon are overstated by about a million.  Staff believes that a bottom-line measure of depreciation requirements should not take precedence over the determination of requirements on a more specific basis to the extent practicable.

The staff estimated depreciation expenses for 1992, based on the 1-1-92 data and the staff recommendation, indicates that annual expenses for Big Bend will increase by about $25,000 while those for Gannon will decrease just over $1.5 million.  This would be a decrease of almost $1.5 million for the net of the two plants.  (See Attachment #3, page 9.)

Without the staff-recommended reserve reallocations (see Issue 3) the estimated change in annual expenses for Big Bend is an increase of about $100,000 and for Gannon, a decrease of about $1.6 million.  The net of the two plants is a decrease of almost $1.5 million, as shown on Attachment 8, page 15.

- 2 -

DOCKET NO. 920618-EI

SEPTEMBER 24, 1992

ISSUE 2:  What should be the implementation date for any new depreciation rates?

RECOMMENDATION:	January 1, 1992.

STAFF ANALYSIS:  	Data and calculations abut this date, and this date is implied in the order for a filing prior to June 30, 1992.

The Company proposes that the interim rates for these two stations, set in its 1991 study, be approved as final rates effective January 1, 1991.

- 3 -

DOCKET NO. 920618-EI

SEPTEMBER 24, 1992

ISSUE 3:  Should there be any reserve reallocations or transfers?

RECOMMENDATION:	Yes.  Staff recommends reallocations of the reserves at these two stations as shown on Attachment #1, page 7.  This is basically a reallocation of the existing reserves at each of these stations to more nearly match the theoretically correct reserve position by unit.

STAFF ANALYSIS:  	The Company opposes reserve transfers as shown on the second page of its 9-2-92 letter (Attachment #4, page 11).  Staff does not believe that reallocations such as these recommended could be considered prior period adjustments, in that there is no adjustment to the total bottom-line reserve.  The ordinary action of Remaining Life depreciation does increase or decrease the expenses (and therefore the reserve) to compensate for historic under or over recovery.  Reallocations such as those recommended simply move existing reserve dollars (which were not historically developed by unit) to a more appropriate grouping.

If the recommended reserve reallocations are not approved, resultant depreciation rates and expenses are shown on Attachments 7 and 8, pages 14 and 15.

- 4 -

DOCKET NO. 920618-EI

SEPTEMBER 24, 1992

ISSUE 4:  What depreciation rates should be prescribed for Big Bend and Gannon stations?

RECOMMENDATION:	The Staff recommended rates are shown on Attachment #2, page 8.

STAFF ANALYSIS:  	The difference between the Company study figures and those of the staff are:  (1) Staff properly composited the remaining life values to be used for each of the units, by use of positive weighting, and (2) Staff reallocated the entire reserve amount at each site to the contained Units.

The Company's proposal is for continuation of current interim rates for each Unit.  (See Attachment #5, page 12.)

- 5 -

DOCKET NO. 920618-EI

SEPTEMBER 24, 1992

ISSUE 5:  Should this docket be closed?

RECOMMENDATION:	Yes, assuming no objections to the Proposed Agency Action Order are filed, within 21 days of that Order.

STAFF ANALYSIS:	In staff's opinion, no further action in this docket is required if no objections to the PAA Order are filed.

- 6 -

DOCKET NO. 920618-EI

SEPTEMBER 24, 1992

ATTACHMENT #2

TAMPA ELECTRIC COMPANY

BIG BEND AND GANNON STATIONS

REVISED DEPRECIATION RATES AS OF 1-1-92

INTERIM	<- - - RECOMMENDED - ->

DEPR.	REM.  NET	    *    DEPR.

ACCOUNT	           	RATE#     LIFE  SALV.  RES.  RATE

%		yr.s    %     %	 %

BIG BEND

Common				 2.4		32	 (11)  32.74   2.4

Unit #1				 3.0		23	 (11)  58.96   2.3

Unit #2				 2.7		26	 (11)  44.02   2.6

Unit #3				 2.5		27	 (11)  47.11   2.4

Unit #4				 2.6		35	 (11)  17.30   2.7

Unit #4 FGD.			 2.3		34	 (11)  25.55   2.5

GANNON

Common				 4.0		22	 (22)  41.24   3.7

Unit #1				 4.4		12.9	 (22)  79.80   3.3

Unit #2				 5.6		13.0	 (22)  73.78   3.7

Unit #3				 3.5		15.9	 (22)  61.00   3.8

Unit #4				 5.2		14.3	 (22)  72.71   3.4

Unit #5				 3.8		19.0	 (11)  45.75   3.4

Unit #6				 3.6		22	 (11)  41.24   3.2

# Only interim rates were ordered, life and salvage components were not shown in the order.

* This reserve shown is the Staff recommended reallocated reserve (see Attachment #1).

-8-

DOCKET NO. 920618-EI

SEPTEMBER 24, 1992

ATTACHMENT #7

TAMPA ELECTRIC COMPANY

BIG BEND AND GANNON STATIONS

REVISED DEPRECIATION RATES AS OF 1-1-92

WITHOUT STAFF RECOMMENDED RESERVE REALLOCATIONS

INTERIM	<- - - REVISED - - - ->

DEPR.	REM.  NET	    *    DEPR.

ACCOUNT	           	RATE#     LIFE  SALV.  RES.  RATE

%		yrs.    %     %      %

BIG BEND

Common				 2.4		32	 (11)  27.07   2.6

Unit #1				 3.0		23	 (11)  46.74   2.8

Unit #2				 2.7		26	 (11)  36.00   2.9

Unit #3				 2.5		27	 (11)  38.85   2.7

Unit #4				 2.6		35	 (11)  22.33   2.5

Unit #4 FGD.			 2.3		34	 (11)  32.80   2.3

GANNON

Common				 4.0		22	 (22)  38.13   3.8

Unit #1				 4.4		12.9	 (22)  75.05   3.6

Unit #2				 5.6		13.0	 (22)  83.37   3.0

Unit #3				 3.5		15.9	 (22)  59.37   3.9

Unit #4				 5.2		14.3	 (22)  75.87   3.2

Unit #5				 3.8		19.0	 (11)  48.70   3.3

Unit #6				 3.6		22	 (11)  39.18   3.3

# Only interim rates were ordered, life and salvage components were not shown in the order.

* This reserve shown is from the Company study as shown on Attachment #5, page 12.

- 14 -

DOCKET NO. 920618-EI

SEPTEMBER 24, 1992	ATTACHMENT #1

TAMPA ELECTRIC COMPANY

BIG BEND AND GANNON STATIONS

RESERVE REALLOCATIONS AS OF 1-1-92

RECOMMENDED

RESERVE

ACCOUNT	                        	 ALLOCATION

$

BIG BEND

(total reserve)   $286,671,126#

Common		....................     35,561,257

Unit #1		....................     42,692,814

Unit #2		....................     33,998,740

Unit #3		....................     62,538,822

Unit #4		....................     65,584,509

Unit #4 FGD	....................     46,294,984

286,671,126

GANNON

(total reserve)   $134,668,956#

Common		....................     16,195,625

Unit #1		....................     16,700,106

Unit #2		....................     16,132,840

Unit #3		....................     20,242,155

Unit #4		....................     17,644,284

Unit #5		....................     19,921,225

Unit #6		....................     27,832,721

134,668,956

Totals	$421,340,082# 	     $421,340,082

#  From Company study.

- 7 -

DOCKET NO. 920618-EI

SEPTEMBER 24, 1992	ATTACHMENT #3

TAMPA ELECTRIC COMPANY

BIG BEND AND GANNON STATIONS

ESTIMATED DEPRECIATION EXPENSES

BASED ON 1-1-92 DATA

INTERIM#			RECOMMENDED       CHANGE

1-1-92			DEPR. DEPR.         DEPR.   DEPR.       IN

ACCOUNT              INVESTMENT         RATE  EXPENSE       RATE    EXPENSE   EXPENSE

$             %       $	           %         $			         $

BIG BEND

Common			108,617,554	  2.4   2,606,821	    2.4   2,606,821      		   	0

Unit #1			 72,411,769	  3.0   2,172,353	    2.3	   1,665,471	    (506,882)

Unit #2			 77,227,014	  2.7   2,085,129	    2.6	   2,007,902	     (77,227)

Unit #3			132,740,816	  2.5   3,318,520	    2.4	   3,185,779	    (132,741)

Unit #4			379,067,023	  2.6   9,855,743	    2.7  10,234,809	     379,066

Unit #4 FGD		181,171,890	  2.3   4,166,953	    2.5  	 4,529,297	     362,344

24,205,519		    24,230,079	    	  24,560

GANNON

Common			 39,270,858	  4.0   1,570,834	    3.7   1,453,022	    (117,812)

Unit #1			 20,928,320	  4.4     920,846	    3.3	     690,635	    (230,211)

Unit #2			 21,865,436	  5.6   1,224,464	    3.7	     809,021	    (415,443)

Unit #3			 33,182,738	  3.5   1,161,396	    3.8   1,260,944	      99,548

Unit #4			 24,267,177	  5.2   1,261,893	    3.4	     825,084	    (436,809)

Unit #5			 43,542,200	  3.8   1,654,604	    3.4	   1,480,435	    (174,169)

Unit #6			 67,488,277	  3.6   2,429,578	    3.2   2,159,625	    (269,953)

10,223,615		     8,678,766	  (1,544,849)

#  The Company proposes

to retain as finalized

rates.

DOCKET NO. 920618-EI

SEPTEMBER 24, 1992	ATTACHMENT #8

TAMPA ELECTRIC COMPANY

BIG BEND AND GANNON STATIONS

ESTIMATED DEPRECIATION EXPENSES

WITHOUT STAFF RECOMMENDED RESERVE REALLOCATIONS

INTERIM#	       RECOMMENDED		       CHANGE

1-1-92	  DEPR. DEPR.         DEPR.   DEPR.       IN

ACCOUNT          INVESTMENT     RATE  EXPENSE       RATE    EXPENSE   EXPENSE

$              %       $         %        $            $

BIG BEND

Common			  108,617,554      2.4  2,606,821    2.6    2,824,056     217,235

Unit #1  		   	72,411,769      	3.0  2,172,353    2.8    2,027,530    (144,823)

Unit #2 		   	77,227,014      	2.7  2,085,129    2.9    2,239,583     154,454

Unit #3			  132,740,816      2.5  3,318,520    2.7    3,584,000     265,480

Unit #4	 	       379,067,023      2.6  9,855,743    2.5    9,476,676    (379,067)

Unit #4 FGD         	181,171,890      2.3  4,166,953    2.3    4,166,953       0

24,205,519          24,318,798     113,279

GANNON

Common			   39,270,858	    4.0  1,570,834	  3.8    1,492,293	     (78,541)

Unit #1			   20,928,320	    4.4    920,846	  3.6	      753,420	    (167,426)

Unit #2			   21,865,436	    5.6  1,224,464	  3.0	      655,963	    (568,501)

Unit #3			   33,182,738	    3.5  1,161,396	  3.9    1,294,127	     132,731

Unit #4			   24,267,177	    5.2  1,261,893	  3.2	      776,550	    (485,343)

Unit #5			   43,542,200	    3.8  1,654,604	  3.3	    1,436,893	    (217,711)

Unit #6			   67,488,277 	    3.6  2,429,578	  3.3    2,227,113	    (202,465)

10,223,615	         8,636,359	  (1,587,256)

#  The Company proposes

to retain as finalized

rates

DOCKET NO. 920618-EI

SEPTEMBER 24, 1992

TAMPA ELECTRIC COMPANY

BIG BEND AND GANNON STATIONS

THEO RESERVE WORKSHEET AS OF 1-1-92

WHOLE	REM.  NET	  THEORETICAL		        REALLOCATED

ACCOUNT	     		  INVEST.*	   LIFE	LIFE  SALV.   RESERVE		            RESERVE

$		   yrs.	yrs.    %    %		     $ 			             $

BIG BEND

(total res.) $286,671,126*

Common		.......... 108,617,554 ...  41  	32	 (11)  24.6  26,719,920   35,561,257

Unit #1		........... 72,411,769 ...  38  	23	 (11)  44.3  32,078,410   42,692,814

Unit #2		........... 77,227,014 ...  37  	26	 (11)  33.0  25,545,880   33,998,740

Unit #3		.......... 132,740,816 ...  40  	27	 (11)  35.4  46,990,250   62,538,822

Unit #4		.......... 379,067,023 ...  40  	35	 (11)  13.0  49,278,710   65,584,509

Unit #4 FGD	.......... 181,171,890 ...  41  	34	 (11)  19.2  34,785,000   46,294,984

___________  ___________

215,398,170  286,671,126

GANNON

(total res.) $134,668,956*

Common		........... 39,270,858 ...  32  	22	 (22)  38.4  15,080,010   16,195,625

Unit #1		........... 20,928,320 ...  33  	12.9  (22)  74.3  15,549,740   16,700,106

Unit #2		........... 21,865,436 ...  30  	13.0  (22)  68.7  15,021,550   16,132,840

Unit #3		........... 33,182,738 ...  30  	15.9  (22)  56.8  18,847,800   20,242,155

Unit #4		........... 24,267,177 ...  32  	14.3  (22)  67.7  16,428,880   17,644,284

Unit #5		........... 43,542,200 ...  31  	19.0  (11)  42.6  18,548,977   19,921,225

Unit #6		........... 67,488,277 ...  34  	22	 (11)  38.4  25,915,500   27,832,721

___________  ___________

125,392,457  134,668,956

Totals  $421,340,082										    $421,340,082

* From Company study.