1

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

3                                      DOCKET NO. 060262-WS

4   In the Matter of:

5   APPLICATION FOR INCREASE IN WATER AND

WASTEWATER RATES IN PASCO COUNTY BY

6   LABRADOR UTILITIES, INC.

______________________________________/

7

8

9

10

11             ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

A CONVENIENCE COPY ONLY AND ARE NOT

12               THE OFFICIAL TRANSCRIPT OF THE HEARING,

THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

13

14   PROCEEDINGS:        AGENDA CONFERENCE

ITEM NO. 9

15

BEFORE:             CHAIRMAN LISA POLAK EDGAR

16                       COMMISSIONER MATTHEW M. CARTER, II

COMMISSIONER KATRINA J. TEW

17

DATE:               Tuesday, January 23, 2007

18

PLACE:              Betty Easley Conference Center

19                       Room 148

4075 Esplanade Way

20                       Tallahassee, Florida

21   REPORTED BY:        LINDA BOLES, CRR, RPR

Official Commission Reporter

22                       (850)413-6734

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

2

1   PARTICIPATING:

2             MARTIN S. FRIEDMAN, ESQUIRE, JOHN WILLIAMS and FRANK

3   SEIDMAN, representing Labrador Utilities, Inc.

4              STEPHEN C. REILLY, ESQUIRE, representing the

5   Citizens of the State of Florida.

6             RALPH JAEGER, ESQUIRE, TIFFANY JOYCE, JENNIE LINGO

7   and GERALD EDWARDS, representing the Florida Public Service

8   Commission Staff.

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

3

1                        P R O C E E D I N G S

2             CHAIRMAN EDGAR:  We are going to go back on the

3   record and begin our next item, which is Item 9.

4             MS. JOYCE:  Good morning.  Tiffany Joyce, Commission

5   staff.  Item 9 is staff's recommendation on rate increase by

6   Labrador Utilities, Inc.  Staff is recommending to deny a final

7   rate increase, a refund of interim revenues and a show cause

8   issue for failure to comply with a Commission order.

9             We have Mr. Friedman and Mr. Williams on behalf of

10   the utility, we have Mr. Reilly and Ms. Merchant on behalf of

11   OPC, and staff is available to answer questions you may have.

12             CHAIRMAN EDGAR:  Thank you.

13             Mr. Friedman.

14             MR. FRIEDMAN:  Thank you.  Martin Friedman, law firm

15   of Rose, Sundstrom & Bentley representing Labrador.  And also

16   with me is John Williams and Frank Seidman in the back.

17             I want to address the show cause issue, and then I'm

18   going to have Mr. Williams address the remaining issues.  The

19   show cause issue involves the meter replacements, and the

20   intent of the prior order was to make sure that we had meters

21   that were accurately reflecting what the flow was.  And so you

22   could see in the staff recommendation the large number of

23   meters that were inaccurate that had to be replaced.

24             What I take exception to is that the company met the

25   intent of that order, which is to have working meters on all

FLORIDA PUBLIC SERVICE COMMISSION

4

1   the lots where there are people.  The meters that were not

2   installed in, quote, a timely manner were meters that were on

3   vacant lots.  The other exception I take is the staff seemed to

4   say that we should be testing, we should have tested the new

5   meters we put in, which, which seems a bit extreme to buy a new

6   meter that's been tested at the factory, put it in and then

7   test it again.  I don't think that's the intent of what that,

8   what that order said.  When the order said test the meters, I

9   think that implicitly is if we thought the meter should be

10   replaced, that we just went ahead and replaced it.  And we did

11   that to a substantial number of meters that we just didn't even

12   test.  We just replaced them with new meters.  And we think

13   that complies with the intent of the order.  And so although we

14   may not have strictly complied with testing every meter, we

15   complied with the intent of the order, which is to make sure

16   that we now have working meters on all of the active

17   connections.

18             The ones that we didn't meet the timing on were the

19   ones that were vacant lots.  I mean, you know, it doesn't have

20   anything to do with anything.  They've now all -- even the ones

21   on the vacant lots have been replaced or tested.  But to say

22   that we should be penalized because we didn't meet all the

23   testing on lots on vacant, on vacant lots that don't have

24   customers attached to them I think, I think is being a bit,

25   being a bit extreme.

FLORIDA PUBLIC SERVICE COMMISSION

5

1             And I would suggest to you that the utility has

2   complied with the requirements of that prior order and a show

3   cause is not necessary.  And I'm going to ask John Williams to

4   address the remaining issues.  Thank you.

5             MR. WILLIAMS:  The company is very disappointed that

6   the staff recommendation is to deny this rate increase and to

7   require a refund of the interim rates that were granted last

8   July.  We certainly acknowledge that many water meters were

9   changed out during and after the test year and that the

10   wastewater flow meter at the treatment plant was moved and

11   replaced.  These changes were required because of poor planning

12   and lack of maintenance over the years by the developer of the

13   neighborhood who owned the utility prior to the acquisition of

14   the system by Utilities, Inc., in mid-2002.

15             As staff has indicated, metered rates were first

16   implemented in early 2005 at the conclusion of the last rate

17   case.  Prior to that rate case the rates were extremely low

18   flat rates that were established by the developer who operated

19   the utility for many years below the PSC radar screen without a

20   PSC certificate of authorization.  Those noncompensatory flat

21   rates were established without PSC approval.

22             Subsequent to Utilities, Inc.'s, acquisition of the

23   Labrador system, the utility has been working to bring the

24   system into regulatory compliance with PSC, as well as the

25   environmental regulatory agencies.  The utility is currently

FLORIDA PUBLIC SERVICE COMMISSION

6

1   meeting all state and federal standards.  However, we

2   acknowledge there is still more work to be done to improve the

3   aesthetics of the water, the hardness that the customers raised

4   at the customer meeting, and to perhaps exceed current drinking

5   water standards in an attempt to meet customer satisfaction

6   levels as expressed at the customer meeting.

7             We filed this rate case because the water system was

8   losing money and the wastewater system was not earning a

9   reasonable return on investment.  This was confirmed by the

10   Commission auditors when they published the audit report.  It

11   was also acknowledged by the staff when they recommended

12   interim rates at the beginning of the case.

13             We do acknowledge there are problems with the test

14   year consumption data due to the problems we inherited from the

15   prior owner; however, we do not believe that these problems

16   justify the complete denial of the needed rate relief.  We

17   believe that the Commission staff can and should make whatever

18   conservative adjustment they believe is appropriate to

19   consumption data and to move forward to allow the company the

20   needed revenue increase.  To do otherwise will send the wrong

21   message to the owners of this company and to other companies

22   when there continues to be a much needed capital investment to

23   meet regulatory requirements and provide quality water service.

24             MR. FRIEDMAN:  And one, one suggestion I think, as

25   Ms. Merchant said, and if you don't like that argument, let me

FLORIDA PUBLIC SERVICE COMMISSION

7

1   give you another one.

2             One of the, one of the problems that the staff has is

3   they don't like the 2005 data, they don't like the 2006 data,

4   and so what they're saying is basically come back when 2007 is

5   done.  Now the company is losing money, as the auditors have

6   acknowledged, and yet now the staff recommendation would have

7   the company have to wait until '08 to file a rate case.  And

8   you wouldn't get interim rates probably until sometime, you'd

9   have to wait until '07 closed out, you'd probably talk about

10   July or so of '08 before you would, before you would have any,

11   any of the revenue that the auditors have acknowledged the

12   company is, is entitled to.

13             And so one of the, one of the suggestions that I have

14   floated around that apparently has not been grasped or embraced

15   wholeheartedly by anybody other than myself, and that is to

16   keep the docket open.  I mean, keep the interim rates going.

17   Keep -- if the staff really believes that we need to wait until

18   2007 and use that consumption data, let's keep the status quo,

19   let's keep the interim rates in effect, and we will file the

20   correct information or refile the MFRs based upon what the

21   company looks like in, in, in a 2007 test year.  That, that,

22   that protects the customers.  If we're wrong, the customers

23   will get a refund with interest.  Otherwise, the company will

24   continue to bleed for two and a half years without any way to

25   get that revenue that the auditors have acknowledged the

FLORIDA PUBLIC SERVICE COMMISSION

8

1   company is entitled to.

2             And I would suggest, as John mentioned, just because

3   you can't -- just because we don't have adequate billing

4   determinants doesn't mean you don't give somebody a rate

5   increase.  If they're entitled to a rate increase, you figure

6   out a way to do it.  We've done it before, we did it before in

7   this case before we had billing determinants, we did the best

8   guess we could at that time.  Unfortunately it didn't result in

9   adequate rates, which is why we're back here so soon.  And so

10   maybe the, the way to -- and the staff is concerned, well, you

11   know, what happens if we don't do it right this time and you're

12   back again next year?  And maybe the way to, to allay that fear

13   is to keep the status quo, keep the interim rates in effect,

14   and let's refile based on 2007 meter reading data, which will

15   give the staff a level of comfort, I think, that they have

16   sufficient data to give -- to do it right.  And so that would

17   be my suggestion.  An alternative would be to remain -- keep

18   the interim rates in effect and, and deal with it in 2007, and

19   I think that's a satisfactory compromise.  Thank you.

20             CHAIRMAN EDGAR:  Mr. Reilly.

21             MR. REILLY:  Yes.  The Office of Public Counsel

22   supports 100 percent everything that staff has done in this

23   recommendation.  In response to some of the comments made by

24   the utility, it was suggested that the blame be pointed to the

25   old owners.  But you must remember that Utilities, Inc., has

FLORIDA PUBLIC SERVICE COMMISSION

9

1   owned this utility since 2002, so there's been many, many years

2   where this problem could have been addressed.

3             I don't believe we can really -- with this -- they

4   also suggested that they're underearning.  I think staff has

5   made a very articulate argument that there's really -- with the

6   data we have, you can't really know for sure whether they're

7   overearning, underearning or anything, nor can we even

8   establish their right to the interim, which is why I think that

9   the alternative suggestion made by the utility should also be

10   rejected.

11             He made reference to Ms. Merchant's attempt at

12   alternative recommendations.  I hope that the utility receives

13   the same result that we did on our alternative recommendation.

14             I would like to point out that the customer response

15   to this rate increase has been like no other I've ever seen in

16   my 20 years of being with the Office of Public Counsel.  They

17   absolutely packed that room.  It was not just the numbers but

18   the fervor, the outrage expressed is nothing like I've ever

19   seen.  And I think it has to do -- I'm going to set aside the

20   legal arguments -- but the practical arguments, they just

21   underwent, in fact it just came into effect in '05, this, you

22   know, $101,000 and 183 percent increase in water and $195,000

23   and 151 percent increase in wastewater.  They got hit with this

24   tremendous increase.  And from their perspective the quality of

25   service has actually gone down instead of improved.  Not so

FLORIDA PUBLIC SERVICE COMMISSION

10

1   much -- and it really had a lot to do with the wastewater

2   plant.  And for reasons that we haven't fully explored, the

3   odor problem has become worse and, of course, the flow problems

4   and the meter reading problems just continued unabated.

5             I think it's important to know that inaccurate meter

6   readings and consumption levels were such a concern in the last

7   case, that's why the Commission ordered them to do all this

8   meter replacement.

9             Despite this large increase, the meter reading

10   problem, the problem with inaccurate levels of consumption

11   which is seriously flawed data for both water and wastewater

12   continued unabated all through, through 2005 and 2006.  As late

13   as May 2006 the RV park meter was replaced because it was

14   defective.  As late as October 30, '06, the utility still could

15   not explain the, quote, unquote, erratic and high unaccounted

16   for water.  And as late as November 7 the utility still did not

17   know the level of meter readings.  So this totally flawed,

18   hopelessly flawed data went all the way on through 2006, and I

19   think it left staff with no choice.  There was no way they

20   could come to you with a recommendation concerning this rate

21   increase given this flawed data.  And it is not something

22   that's, that the company has not been aware of, you know, since

23   it owned the utility way back in 2002.

24             So we, we would argue that, that legally speaking the

25   staff is completely on point.  It is, in fact, not the staff's

FLORIDA PUBLIC SERVICE COMMISSION

11

1   burden.  It is the company's burden to prove its entitlement,

2   that that burden has, in no way can be, can be satisfied

3   because of this flawed data.  Setting rates on flawed data

4   would be neither fair nor reasonable for the customers or the

5   utility really as articulated by the staff, and, therefore, the

6   staff's recommendation to deny this final revenue increase is

7   absolutely proper under these circumstances and we support them

8   100 percent.  Thank you.

9             CHAIRMAN EDGAR:  Thank you, Mr. Reilly.

10             Staff.

11             MS. LINGO:  Thank you, Madam Chairman.  Good morning,

12   Commissioners.  I'm Jennie Lingo with staff.

13             Backing up for a moment, Mr. Williams and

14   Mr. Friedman have both suggested that we just make adjustments

15   to the billing data and move forward because the utility is

16   losing money and the audit was evidence that, that the utility

17   was losing money.

18             The audit, the audit is a limited scope audit.  It's

19   an internal document that's really to be used only by staff and

20   it's really for no other purpose than that.  In order for the

21   audit to rise to a level that meets generally accepted

22   accounting standards there would be much more work needed to be

23   done.  So an audit just sort of helps staff get an idea of

24   what's going on, but it in no way is a determining factor as to

25   whether or not a utility is or is not losing money.

FLORIDA PUBLIC SERVICE COMMISSION

12

1             With regard to adjusting the billing data,

2   Commissioners, the ratemaking process is really two major

3   components.  One component is a calculation of the revenue

4   requirement phase.  And then the other component is once you've

5   calculated the revenue requirement based on billing data, you

6   then design rates and, you then design and calculate the rates.

7             But the bad billing data, we would like to point out,

8   affects not just the rate design and rates portion, it also

9   tremendously affects the revenue requirement portion; and that

10   staff, because of the bad billing data, is unable to calculate

11   the appropriate used and useful percentage, the appropriate

12   unaccounted for water or the excessive infiltration and inflow.

13   And any questions in that regard I would like to ask you to

14   direct to Mr. Williams -- to Mr. Edwards.

15             And then, Commissioners, in the rate design and rates

16   phase, certainly the, the bad billing data renders us

17   completely unable to determine how many gallons were sold

18   during the test year, so we are unable to calculate with any

19   measure of comfort what the appropriate rate should be.

20             In order to adjust, in order to adjust the data,

21   Commissioners, it really needs to be something that we know is

22   a problem and that we can measure.  And if we can measure it,

23   we can make the adjustment.  Knowing that there's a problem is

24   the easy part in this case.  We know there's a problem.

25             In the 2007 test year, the utility replaced

FLORIDA PUBLIC SERVICE COMMISSION

13

1   approximately 16 percent of its meters.  In addition, the meter

2   at the RV park, which is a six-inch meter which represents

3   approximately 8 percent of its total flow, it was replaced and,

4   it was replaced in mid-2006.  So one could certainly assume

5   that it was defective all during the, all during the test year.

6             With, with all of that said, there's no way for us to

7   know how long the meter, how long each of the meters that were

8   defective were in fact defective and the magnitude of the

9   errors of each of those meters.  So adjusting the data is just

10   impossible.

11             Getting back to whether or not -- backing up a

12   moment, Commissioners, and I apologize -- whether or not the

13   utility is losing money or not.  Because the test year billing

14   determinant data especially with regards to test year gallons

15   sold is so problematic, we're unable to determine whether the

16   current rates are, in fact, compensatory or not or

17   noncompensatory.  And if they're noncompensatory, by what

18   magnitude they are.  And, again, getting back to determining

19   the appropriate number of test year gallons with all of the

20   meters that were defective during the test year, there's no way

21   for us to know and look into our crystal ball and figure out

22   how to make any sort of adjustment.  That's why we're

23   recommending that 2005 data is really irreparably flawed and

24   should not be used.

25             In 2006 the utility has also made reference to the

FLORIDA PUBLIC SERVICE COMMISSION

14

1   fact that we recommended the 2006 data also not be used.  As I

2   mentioned earlier, the utility replaced a large six-inch meter

3   in mid-2006.  Again, Commissioners, this represents

4   approximately 8 percent of the total flows for the -- total

5   gallons sold for the utility, in addition to the other meters

6   that were replaced during 2006 and was defective, we, we

7   believe that all of this is indicative of, of the continuing

8   problem in 2006.

9             In addition, in November of 2006 the utility

10   submitted to staff a comparison of data of gallons sold between

11   2005 and 2006.  And it summarized its comparison by saying

12   because 2006 data in terms of gallons sold is within 1 percent

13   of 2005, it, it should be an indication to you that really 2005

14   data is okay and let's just go ahead and move forward; that

15   making us refile, for example, using 2006 data would serve no

16   useful purpose.

17             Commissioners, we very strongly believe, we've laid

18   out very strong arguments in our recommendation as to why 2005

19   data is flawed.  If 2006 data is within 1 percent of 2005 data,

20   it doesn't prove up the voracity of the 2005 data.  Instead, it

21   just proves that the 2006 data is equally as flawed as the

22   2005.  That's, that's our recommendation, Commissioners, that

23   the 2005 and 2006 data are both irreparably flawed and can't be

24   used for ratemaking.

25             MR. FRIEDMAN:  May I make one comment in response?

FLORIDA PUBLIC SERVICE COMMISSION

15

1             CHAIRMAN EDGAR:  Yes, you may.

2             MR. FRIEDMAN:  And I will make it brief.

3             Two -- the first thing is Mr. Reilly mentioned that

4   gigantic percentage that the rates went up in the last case,

5   and I think to put that in perspective you need to understand

6   the starting point.  The starting point in that last case was

7   $4.50 for water service, period.  All the water they wanted,

8   $4.50.  $10.50 for sewer, period, flat rate.  So when you look

9   at percentages, it distorts what the actual increase really

10   was.  I mean, the increase in dollars was not significant.  It

11   was getting them to a point where they should have been.  They

12   just got used to paying almost nothing for water and sewer for

13   a long time, and I think that sometimes when that happens that

14   customers think they have some entitlement to continuing to get

15   low rates.  And what we're trying to do in these proceedings is

16   to get them to a point where they're charged compensatory

17   rates.  And I disagree with, except for maybe the limited

18   process of used and useful which Mr. Seidman is going to

19   address, I disagree that the inaccurate meter readings, even if

20   they are inaccurate, has any impact on being able to determine

21   a revenue requirement.  We think that there's sufficient

22   information to determine a revenue requirement, that, in fact,

23   the company is losing money.  And I'm going to ask Mr. Seidman

24   to address the comments that staff made regarding used and

25   useful.  Thank you.

FLORIDA PUBLIC SERVICE COMMISSION

16

1             MR. SEIDMAN:  Well, that's sort of an indication of

2   what I'm going to talk about.

3             The first thing I want to talk about is that was a

4   really strong indictment of your auditing department.  If I

5   were to take Ms. Lingo's suggestions and representations at

6   hand, I'd say close it down, you're wasting our money.  If all

7   you're getting out of your audit department is some idea of

8   what the accounting situation is in a utility, it's not worth

9   it.  But if you've been through an audit by this Commission,

10   you know that the audit is very, very, very strong and complete

11   and it goes into -- especially with regard to water and sewer

12   companies.  It goes into every invoice, every expense, every

13   capital expenditure, all of the capital components, cost of

14   capital components.  It's very, very complete.

15             I suggest to you that the Commission has sufficient

16   information to determine whether or not this utility is

17   entitled to a rate increase.  The alleged flaws that are

18   discussed all have to do with the side of the issue with regard

19   to determining how to collect the revenue requirement that the

20   utility is entitled to, how to distribute those revenue

21   requirements over the customers.  If we had no information on

22   flows at all, which was the case for years in the utility, we

23   could still make a flat rate determination because we know how

24   many customers there are.  But we do have some information on

25   the flows and we know there are flaws in them.  I mean, there's

FLORIDA PUBLIC SERVICE COMMISSION

17

1   no denying that.  But this is a result of the fact that this is

2   an ongoing thing to take a utility from a point where it had no

3   metering done for purposes of billing, meters sitting in the

4   ground for years unattended, replacing them, testing them,

5   whatever has to be done, doing it over a long period of time,

6   longer than the Commission staff wanted, but over a long period

7   of time because we have a customer base here that is not there

8   all year-round and there's no sense going ahead and replacing

9   and testing meters at locations when the customers are not

10   there because you have no flows with which to test.

11             So we know that those problems exist.  But yet even

12   with those problems there the staff was able to come up with a

13   rate in the last rate case with much less information than it

14   has now.  And I still contend that a design could be done, and

15   I don't agree with the fact that 2006, the fact that 2006 is

16   within 1 percent of 2005 is an indictment of 2006, that that's

17   just a conclusion.  I think there's enough information there to

18   go ahead and to produce a rate.  There certainly is enough

19   information to determine whether or not we're entitled to a

20   rate increase.  There's enough information, I believe, to

21   produce a rate.  And you have the ability and you have the

22   responsibility to monitor the income that comes in under those

23   rates and determine whether or not they're effective.  And in

24   the meantime after that, you know, if you want regular

25   reporting, that's fine.  We can see how those flow values,

FLORIDA PUBLIC SERVICE COMMISSION

18

1   meter readings true-up over the year.  But in the meantime, if

2   you do nothing, as Mr. Friedman has indicated, you've left the,

3   you've left the utility with, with lost income that could not

4   possibly be made up.  If you, if you do it the way we're

5   suggesting it, you protect both sides in this case.  Thank you.

6             CHAIRMAN EDGAR:  Thank you, Mr. Seidman.  And I will

7   say that I have a high degree of confidence in both the

8   thoroughness and the detail of the audits that are done by our

9   staff.

10             Ms. Lingo, would you like to, to make comment?

11             MS. LINGO:  Yes, ma'am.  Perhaps I didn't phrase

12   correctly wording that was in a brief from this Commission in

13   the Southern States rate case, a case that when it was appealed

14   to the 1st DCA using this brief was affirmed per curiam.  The

15   audit itself disclaims such use in that it represents an

16   internal accounting report prepared after performing a limited

17   scope audit, and I'm going to go on and paraphrase.  Additional

18   work would have to be performed to satisfy generally accepted

19   accounting standards.  The audit merely indicates staff's

20   belief, subject to stated exceptions based on sampling, that

21   the utility's books and records were maintained in compliance

22   with Commission directives.  By its terms the audit does not

23   attempt to justify the rate increase.

24             So, again, getting back to the audit justifying the

25   rate increase, that's not necessarily true.  And certainly in

FLORIDA PUBLIC SERVICE COMMISSION

19

1   this case we would believe it doesn't because of the poor

2   billing data.

3             CHAIRMAN EDGAR:  Commissioners?  Commissioner Tew.

4             COMMISSIONER TEW:  I have a few questions and some

5   comments, if that's okay, Chairman.  Thank you.

6             This is for the utility.  I have several questions

7   about the meter testing and I'll just shoot them all out and

8   then I'll let you respond.

9             The first one is, you know, isn't it prudent utility

10   practice to test even new meters to make sure they work

11   properly?  And I guess a subpart of that is didn't the order

12   require testing of all meters, whether they were new -- and I

13   don't think it addressed age, but you can speak to that.

14             Secondly, if the meters on the vacant lots didn't

15   really mean anything, why did you ever test them?  And then,

16   third, I've been curious as I read through this, and I've been

17   following this case a while, as to why your company didn't seek

18   some sort of relief of the testing requirements.  I noted that

19   there was at least one letter mentioned in the staff

20   recommendation, but I'm curious as to why, if, as you suggest,

21   you met the intent of the PSC's requirement, why didn't you

22   file something and, and state such and ask for some kind of

23   relief from that order requirement?  And then I have some

24   comments after that.

25             MR. FRIEDMAN:  I hope I got all these down.  If I

FLORIDA PUBLIC SERVICE COMMISSION

20

1   don't, I'm sure you'll let me know.

2             I don't think it's routine practice for utilities to

3   test new, out-of-the-box meters.  I don't -- unless somebody

4   can tell me otherwise, none of -- I don't know that any of our

5   clients, and we represent a lot of water and sewer utilities,

6   test out-of-the-box meters.  I think that testing is done at

7   the factory and I think the utilities have found that testing

8   has been reliable.

9              The replacing the meters on the lots, why did we do

10   that if it didn't make any difference?  We did them last

11   because eventually somebody is going to move into that house

12   and those meters do need to be reliable.  So -- and the order

13   did require us to do that.  My point is, was, was that we were

14   late on replacing those meters, and it has nothing to do with

15   the problem of the, of the billing determinant issue.

16             As far as the extension of time, I was not personally

17   involved in that.  The company directly dealt with staff.  My

18   understanding is there was an informal -- I don't think they

19   filed a motion with the Commission to amend the order to do

20   that.  I do believe that the staff and the company agreed

21   informally that they would extend that time, and I think that

22   part of the reason for that was the fact that this is a very

23   seasonal customer base and, as a result, a lot of customers

24   aren't there.  And to test the meter you need to have a water

25   source on the other side of the meter, and so I think that was

FLORIDA PUBLIC SERVICE COMMISSION

21

1   probably the reason why it needed to go into the winter season

2   to do that.

3             What did I miss?

4             COMMISSIONER TEW:  I think that was it.  Now that he

5   has responded, I'd like to ask staff especially with regard to,

6   you know, informal discussions.  Was that your understanding,

7   that, that you had an agreement that the utility would be

8   filing information later than what was required in the order?

9             MR. EDWARDS:  Commissioner, Gerald Edwards, staff.

10   It was my understanding that they would have approximately 150

11   customers that were going to be unavailable at the time for

12   testing the meters, so they were going to have to test them at

13   a later date.  So, yes, I believe it was an informal decision

14   between staff and the utility.

15             MR. JAEGER:  Commissioner, to add to that, I think it

16   was on June 15th was the letter, and the expiration -- you

17   know, they were supposed to have everything tested by June 30th

18   of 2005.  And in that letter they did indicate, I think, what

19   we euphemistically call snowbirds had turned off and gone north

20   and so they were going to have to go until November.  And so we

21   understood that in November they would get it done, and I don't

22   think -- I wasn't a part of the case, I wasn't there and I

23   didn't have the discussions, but it was the understanding in

24   the letter that November was when they were going to get it

25   done.

FLORIDA PUBLIC SERVICE COMMISSION

22

1             Then next June, a year later from the first letter,

2   we get something saying we did it as of May 2006, which was

3   11 months past the due date.  And so that's where we said,

4   well, a five- or six-month extension we probably, you know, we

5   weren't going to be too concerned, but without anything further

6   they just all the sudden said we completed it in May of 2006,

7   11 months later, without getting any extension or without any

8   motion or any request for a variance or difference.  And I'm

9   not really sure about the spirit of the deal, whether they've

10   tested all the meters and these 100 meters that were, I think

11   there was like, there were some meters that are on vacant lots

12   and all that.  And mainly what we're going on, they just -- it

13   wasn't until a year after the due date that they said they had

14   accomplished everything.

15             MR. EDWARDS:  Commissioner Tew, to further discuss

16   the meter testing, we received a meter report June 23rd, 2006,

17   it was dated June 23rd, 2006.  And in that report it was

18   supposed to have the information regarding the number of meters

19   which were tested, the degree of error and if they replaced

20   them.  And basically the report stated that they had 19 meters

21   reading slow, 126 meters reading fast, and they tested a total

22   of 800 meters.  The test dates ranged from 2000 to 2002, which

23   this meant that they tested the meters well before they were

24   even actually required to by the PSC.  So, therefore, staff

25   questioned the report itself.  It had to be an error also.

FLORIDA PUBLIC SERVICE COMMISSION

23

1             So I received a second report, and in that report the

2   data stated that the meter, that they had 16 meters reading

3   slow, 93 meters reading fast, 515 meters total tested, tested

4   totally, and the dates on that was 2004 to 2005.

5             Okay.  I contacted them, staff contacted them about

6   that error.  I received a third report.  And that one, it has

7   the same numbers as the first report, but the difference was

8   the test dates.  The test dates tested from 2004 to 2006.

9             Now regarding the six-inch meter that they put in for

10   the park, just looking at the data in that, in those, all three

11   reports, it states that the six-inch meter that Ms. Lingo

12   referred to was replaced, the first report stated it was

13   replaced 5/9/2002.  The second report says, meter not tested

14   and not replaced.  The third report says that the meter was

15   replaced 5/10/2006.  So as you can see -- and they have

16   admitted there are a lot of errors in this data, and the data

17   flows are very important.  They're important to the utility

18   because it's revenues, it's reported to our sister utilities --

19   sister agencies simply because those data flows reflect whether

20   or not, for example, water, whether or not they're going to

21   allow you and the percentage of water that they're going to

22   allow you to take out of our aquifer.  And for us these numbers

23   are very important to determine to set rates.

24             COMMISSIONER TEW:  One comment.  I think the

25   attorneys sitting by Mr. Edwards are starting to rub off on

FLORIDA PUBLIC SERVICE COMMISSION

24

1   him.  But anyway, thank you for that.

2             I would concede that there are some mitigating

3   factors with regard to the meters, but I also know that in

4   Issue 4 on the show cause issue that it's $500 that's

5   associated with the meter testing concerns that staff has.  And

6   it sounds like there are definitely some issues there that we

7   hope the utility is going to address and we won't see this in

8   the future.  So that resolves my, that resolves my concerns

9   there.

10             But I did want to address one other thing that

11   Mr. Williams had, had touched on for the company.  And I'll

12   just say that John and I in his prior role have had several

13   discussions about the benefits of economies of scale and scope

14   of larger, more established utilities acquiring smaller private

15   utilities.  And I generally accept that as true still, but I

16   have to tell you I don't think that staff's rec runs counter to

17   that philosophy, and I think that the rec that they've provided

18   to us today were a product of the utility's actions.  And,

19   frankly, I suggest that your company start addressing the many

20   concerns of the customers.  I have to echo some of the things

21   Mr. Reilly said.  I, of course, wasn't in attendance, as you

22   all know, at the customer meeting.  But I've heard from

23   several, several customers of this utility, and I have to say

24   that they are very articulate concerns, varied concerns, and

25   they certainly got my attention.  So I'm hoping that you will

FLORIDA PUBLIC SERVICE COMMISSION

25

1   all work on that.  And, John, I think that you can help with

2   that and hope that you will.  And I think that you also need to

3   do a better job of addressing the concerns of the Commission,

4   and I think that that is the basis for having the show cause

5   issue here, I think that having repeated problems getting the

6   information we need to deal with these cases.  So that's all,

7   Commissioners, but I am in support of the staff rec.

8             CHAIRMAN EDGAR:  I was going to say it almost sounded

9   like there was a motion in there, but -- Commissioner Carter.

10             COMMISSIONER CARTER:  I move staff's recommendations

11   in this item.

12             COMMISSIONER TEW:  Second.

13             CHAIRMAN EDGAR:  All in favor of the motion, say aye.

14             (Unanimous affirmative vote.)

15             Opposed?  Show it adopted.

16             (Agenda Item 9 concluded.)

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

26

1   STATE OF FLORIDA    )

:         CERTIFICATE OF REPORTER

2   COUNTY OF LEON      )

3

4             I, LINDA BOLES, CRR, RPR, Official Commission

Reporter, do hereby certify that the foregoing proceeding was

5   heard at the time and place herein stated.

6             IT IS FURTHER CERTIFIED that I stenographically

reported the said proceedings; that the same has been

7   transcribed under my direct supervision; and that this

transcript constitutes a true transcription of my notes of said

8   proceedings.

9             I FURTHER CERTIFY that I am not a relative, employee,

attorney or counsel of any of the parties, nor am I a relative

10   or employee of any of the parties' attorneys or counsel

connected with the action, nor am I financially interested in

11   the action.

12              DATED THIS _______ day of January, 2007.

13

14                  ________________________________

LINDA BOLES, RPR, CRR

15                  FPSC Official Commission Reporter

(850) 413-6734

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION