## JP-1
Tampa Electric Company
Planned Outage Summary
Budgeted Outage Weeks
Outage Data | Actual* |  |  |  |  | Budget* | Projected**
| 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009
Total Planned Outages (Weeks) | 5.5 | 11.9 | 20.57 | 18.25 | 21.55 | 22.5 | 32
* - Source: TECO Reply to FIPUG 1st Set of Interrogatories, No. 1
** - Source: TECO Reply to FIPUG 1st Set of Interrogatories, No. 2

## JP-1
|  | Actual* |  |  |  |  | Budgeted* | Projected**
|  | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009
Total Planned Outages (Weeks) |  | 30.9 | 28.9 | 46.39 | 38.91 | 34.54 | 42.5 | 54
* - Source: TECO Reply to FIPUG 1st Set of Interrogatories, No. 1
** - Source: TECO Reply to FIPUG 1st Set of Interrogatories, No. 2

## JP-3
|  | Actual* |  |  |  |  | Budgeted* | Projected**
|  | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009
Actual/Budgeted Non-CSA Costs ($000's) |  | 8405.78 | 5104.71 | 11619.564 | 14855.371 | 11401.366 | 13705 | 20204
Average Non-CSA Costs-2003-2009 ($000's) |  | 12185.113 | 12185.113 | 12185.113 | 12185.113 | 12185.113 | 12185.113 | 12185.113
* - Source: TECO Reply to FIPUG 1st Set of Interrogatories, No. 1
** - Source: TECO Reply to FIPUG 1st Set of Interrogatories, No. 2

## Summary FIPUG ROG 1
TAMPA ELECTRIC COMPANY
Planned Plant Outages
|  | Actual* | [11 empty] | Budget* |  | Projected**
|  | 2003 |  | 2004 |  | 2005 |  | 2006 |  | 2007 |  | 2008 | Actual YTD | 2008 |  | 2009
Line | Plant | Weeks | Cost | Weeks | Cost | Weeks | Cost | Weeks | Cost | Weeks | Cost | Weeks | Cost | Weeks | Cost | Weeks | Cost
|  | -1 | -2 | -3 | -4 | -5 | -6 | -7 | -8 | -9 | -10 | -11 | -12 | -13 | -14 | -13 | -14
1 | Bayside 1 | 1 | 3272 | 3.1 | 448981 | 1.84 | 427682 | 1.5 | 537842 | 3.84 | 2045565 | 1.09 | 236000 | 2 | 360000 | 2 | 500000
2 | Bayside 2 | 0 | 0 | 1.1 | 223862 | 1.43 | 208578 | 0 | 0 | 0 | 0 | 6.99 | 3951000 | 8 | 3460000 | 2 | 500000
3 | Bayside ST 2 | 0 | 0 | 0 | 0 | 0 | 0 | 5.09 | 1355994 | 0.98 | 239174 | 0 | 0
4 | Big Bend 1 | 0 | 0 | 3.9 | 881993 | 4.49 | 1520388 | 9.65 | 4016826 | 0 | 0 | 0 | 0 |  |  | 5 | 1258000
5 | Big Bend 2 | 0 | 0 | 3.9 | 1053242 | 8.33 | 3407331 | 0 | 0 | 1.3 | 219594 | 0 | 0 |  |  | 17 | 7100000
6 | Big Bend 3 | 0 | 0 | 4.1 | 1091632 | 3.68 | 1014921 | 4.14 | 1775289 | 6.15 | 979543 | 0 | 0 | 13.9 | 6050000
7 | Big Bend 4 | 5.5 | 2945746 | 0 | 0 | 4.07 | 1206664 | 4.46 | 2323420 | 12.79 | 6187490 | 0 | 0 |  |  | 8 | 6100000
8 | Gannon 3 | 3.8 | 577356 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | Gannon 4 | 4.1 | 583406 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | Phillips 1 & 2 | 3.6 | 246000 | 2.9 | 279000 | 5.2 | 197000 | 1.9 | 289000 | 0.35 | 40000 | 0.6 | 90 | 2 | 361000 | 5 | 225000
11 | Polk 1 | 6 | 4050000 | 1.9 | 1126000 | 15.43 | 3637000 | 6.66 | 4557000 | 2.13 | 1690000 | 1.59 | 3411 | 4 | 3474000 | 5 | 4521000
| Total | 24 | 8405780 | 20.9 | 5104710 | 44.47 | 11619564 | 33.4 | 14855371 | 27.54 | 11401366 | 10.27 | 4190501 | 29.9 | 13705000 | 44 | 20204000
| Cost / Week Outage | -2: 350240.8333; -4: 244244.4976; -6: 261289.9483; -8: 444771.5868; -10: 413992.9557; -12: 408033.2035; -14: 458361.204; -14: 459181.8182
Data does not include CSA outages with no additional costs.
* - Source: TECO Reply to FIPUG 1st Set of Interrogatories, No. 1
** - Source: TECO Reply to FIPUG 1st Set of Interrogatories, No. 2

## Planned Outages FIPUG Rog 1
Planned Plant Outages | [13 empty] | Planned Plant Outages
Source: | TAMPA ELECTRIC COMPANY DOCKET NO. 080317-EI | [12 empty] | Source: | TAMPA ELECTRIC COMPANY DOCKET NO. 080317-EI
| TECO Response to FIPUG'S FIRST SET OF INTERROGATORIES INTERROGATORY NO.1 | [13 empty] | TECO Response to FIPUG'S FIRST SET OF INTERROGATORIES INTERROGATORY NO.1
|  | Budget | [5 empty] | Actual
|  | Start | End | Number |  |  | Purpose | Start | End | Number | Actual | Actual | Scope
Unit | Year | BDate | BDate | Weeks | Est Cost | Est Notes | Of Outage | Date | Date | Of Weeks | Cost | Cost Notes | Change
Big Bend 4 | 2007 | 2007-02-01 | 2007-04-28 | 12.4 | 5263000 |  | SCR - Finishing Superheater Replacement, Front Reheat Replacement, Furnace Floor Replacement, SCR Installation, Boiler Controls Replacement. Precipator Duct Work Inspection and Maintenance, Steam Turbine Valves Inspection and Maintenance | 2007-01-31 | 2007-05-01 | 12.79 | 6187490 |  | Additional preclp, turbine and boller repairs | Costs Actual
Polk 1 | 2006 | 2006-04-16 | 2006-05-13 | 4 | 3200000 |  | CT CDC RpJ; CT CI; Gasification Process | 2006-04-13 | 2006-05-26 | 6.16 | 4368000 | CSA | Increased Scope | Sum of Cost | Column Labels | [6 empty] | 2008 Budget
Polk 1 | 2003 | 2003-03-08 | 2003-04-18 | 6 | 4338000 |  | Gasifier Process; CT Major Insp | 2003-03-08 | 2003-04-19 | 6 | 4050000 |  |  | Row Labels | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | Grand Total | Weeks Outage | Cost
Big Bend 1 | 2006 | 2006-09-16 | 2006-11-10 | 8 | 2750000 |  | Major Inspection Outage | 2006-10-07 | 2006-12-13 | 9.65 | 4016826 |  | boiler bumer replacement & tube repairs, turbine generator exciter repairs | Bayside 1 | 3272 | 448981 | 427682 | 537842 | 2045565 | 236000 | 3699342 | 2 | 360000
Bayside 2 | 2008 | 2008-03-15 | 2008-05-02 | 7 | 3280000 |  | CT HPG | 2008-02-12 | 2008-03-31 | 6.99 | 3951000 |  | Did more valve and pump maintenance than planned due to length of outgage. | Bayside 2 | Column Labels 2004: 223862; Column Labels 2005: 208578; Column Labels 2008: 3951000 | 4383440 | 8 | 3460000
Big Bend 2 | 2005 | 2005-10-15 | 10/2812005 | 2 | 387000 |  | Major Outage | 2005-09-30 | 2005-11-28 | 8.33 | 3407331 |  | Reclassified as major and included Low Pressure Turbine inspection and repairs to generator rotor | Bayside ST 2 | Column Labels 2006: 1355994; Column Labels 2007: 239174 | 1595168
Big Bend 4 | 2003 | 2003-10-18 | 2003-11-21 | 5 |  | NA | Major Insp; Overtired Air | 2003-11-01 | 2003-12-09 | 5.5 | 2945746 |  | Additional repairs from inspections; Fly Ash silo, boiler tubing and duct repairs | Big Bend 1 | Column Labels 2004: 881993; Column Labels 2005: 1520388; Column Labels 2006: 4016826 | 6419207
Big Bend 4 | 2006 | 2006-03-20 | 2006-04-09 | 3 | 750000 |  | Fuel System Outage | 2006-02-11 | 2006-03-14 | 4.46 | 2323420 |  | Additional boiler and Air pre-heater repairs | Big Bend 2 | Column Labels 2004: 1053242; Column Labels 2005: 3407331; Column Labels 2007: 219594 | 4680167
Polk 1 | 2005 | [9 empty] | 2154000 |  | CT Compressor Failure | Big Bend 3 |  | 1091632 | 1014921 | 1775289 | 979543 |  | 4861385 | 13.9 | 6050000
Big Bend 3 | 2006 | 2006-02-11 | 2006-03-17 | 5 | 750000 |  | Major Inspection Outage | 2006-04-01 | 2006-04-30 | 4.14 | 1775289 |  | Coal nazzel and boiler wind box repairs | Big Bend 4 | 2945746 |  | 1206664 | 2323420 | 6187490 |  | 12663320
Bayside 1 | 2007 | 2007-10-13 | 2007-11-09 | 4 | 762000 |  | Continuous Cleaning Condenser Equipment Installation, Steam Turbine Valve Inspection and Maintenance, CT Hot Gas Path Insp (HGP) HRSG Inspection and Maintenance | 2007-10-12 | 2007-11-03 | 3.04 | 1724106 | CSA |  | Gannon 3 | Column Labels 2003: 577356 | 577356
Polk 1 | 2007 | 2007-04-01 | 2007-04-14 | 2 | 1619000 |  | CT CI; Gasification Plant Inspection | 2007-04-07 | 2007-04-19 | 1.75 | 1532000 | CSA |  | Gannon 4 | Column Labels 2003: 583406 | 583406
Big Bend 1 | 2005 | 2005-10-01 | 2005-11-25 | 8 | $2.800,000 |  | Fuel System Outage | 2005-11-23 | 2005-12-24 | 4.49 | 1520388 |  | Reduced piping inspections and duct repairs | Phillips 1 | 246000 | 279000 | 197000 | 289000 |  | 90 | 1011090 | 2 | 361000
Big Bend 4 | 2005 | 2005-02-27 | 2005-03-12 | 2 | 386000 |  | Fuel System Outage | 2005-02-11 | 3/1212005 | 4.07 | 1206664 |  | Additional repairs from inspection to boiler and precipitators | Phillips 2 | Column Labels 2007: 40000 | 40000
Polk 1 | 2004 | 2004-04-01 | 2004-04-10 | 1.4 | 1203000 |  | CT cf; Gasification Plant Insp | 2004-02-21 | 2004-03-05 | 1.9 | 1126000 |  |  | Polk 1 | 4050000 | 1126000 | 3637000 | 4557000 | 1690000 | 3411 | 15063411 | 4 | 3474000
Big Bend 3 | 2004 | 2004-03-13 | 2004-04-02 | 3 | 600970 |  | Fuel System Outage | 2004-11-12 | 2004-12-11 | 4.1 | 1091632 |  | Additional repairs to precipitator and boiler including hopper cleaning | Grand Total | 8405780 | 5104710 | 11619564 | 14855371 | 11401366 | 4190501 | 55577292
Big Bend 2 | 2004 | 2004-02-14 | 2004-03-05 | 3 | 595906 |  | Fuel System Outage | 2004-10-06 | 2004-11-02 | 3.9 | 1053242 |  | Additional repairs to precipitator and boiler including hopper cleaning
Bayside ST 2 | 2006 | 2006-03-11 | 2006-03-31 | 3 | 845000 |  | CT Insp; HRSG Insp | 2006-03-10 | 2006-04-01 | 3.07 | 1020519 | CSA
Big Bend 3 | 2005 | 2005-11-05 | 2005-11-18 | 2 | 387000 |  | Fuel System Outage | 2005-04-01 | 2005-04-26 | 3.68 | 1014921 |  | Additional repairs from inspection to boiler and precipitators
Polk 1 | 2005 | 2005-04-09 | 2005-04-16 | 1.4 | 885000 |  | CT HGP; Gasification Plant Ins | 2005-01-18 | 2005-04-29 | 14.35 | 1000000 |  | Plant Maint Outage Related; Budget
Big Bend 3 | 2007 | 2007-12-01 | 2007-12-30 | 4.3 | 0 |  | SCR. Precipatator Ductwork Inspection and Maintenance, Windbox Replacement Fumace Sidewll Replacement, Furnace Nose Arch Replacement Economizer Replacement, Stean Turbine Control Valve Inspection and Maintenance, HP Turbine Inspection and Restoration: SCR Install | 2007-11-18 | 2007-12-31 | 6.15 | 979543 |  |  | Outages-Actual Weeks
Big Bend 1 | 2004 | 2004-11-13 | 1213/2004 | 3 | 1063338 |  | Fuel System Outage | 2004-02-01 | 2004-02-28 | 3.9 | 881993
Gannon 4 | 2003 | 2003-03-29 | 2003-04-25 | 4 | 500000 |  | Fuel System Outage | 2003-02-08 | 2003-03-08 | 4.1 | 583406 |  |  | Sum of Of Weeks | Column Labels 2003: Column Labels
Gannon 3 | 2003 | 2003-04-26 | 2003-05-23 | 4 | 500000 |  | Fuel System Outage | 2003-04-11 | 2003-05-08 | 3.8 | 577356 |  |  | Row Labels | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | Grand Total
Polk 1 | 2005 | 2005-10-24 | 2005-11-20 | 4 | 2898000 |  | Gasification Plant Insp | 2005-12-11 | 12119/2005 | 1.08 | 483000 |  | Performed during Spring Outage | Bayside 1 | 1 | 3.1 | 1.84 | 1.5 | 3.84 | 1.09 | 12.37
Bayside ST 2 | 2006 | 2006-11-27 | 2006-12-03 | 1 | 140000 |  | CT Insp; HRSG Insp; ST Valve Overhaul | 2006-12-03 | 2006-12-18 | 2.02 | 335475 | CSA |  | Bayside 2 | Column Labels 2004: 1.1; Column Labels 2005: 1.43; Column Labels 2008: 6.99 | 9.52
Bayside 1 | 2007 | 2007-03-17 | 2007-03-23 | 1 | 155000 |  | Fuel System Clean-up | 2007-03-05 | 2007-03-11 | 0.8 | 321459 | CSA | Spent more on the steam turbine than planned. | Bayside ST 2 | Column Labels 2006: 5.09; Column Labels 2007: 0.98 | 6.07
Bayside 1 | 2004 | 2004-02-07 | 2/13/2004. | 1 | 0 |  | CT Insp; HRSG lnsp | 2004-04-11 | 2004-04-29 | 2.5 | 319553 | CSA |  | Big Bend 1 | Column Labels 2004: 3.9; Column Labels 2005: 4.49; Column Labels 2006: 9.65 | 18.04
Phillips 1 | 2006 | 2006-02-25 | 2006-03-10 | 2 | 308000 |  | Fuel System Outage | 2006-02-28 | 2006-03-13 | 1.9 | 289000 |  |  | Big Bend 2 | Column Labels 2004: 3.9; Column Labels 2005: 8.33; Column Labels 2007: 1.3 | 13.53
Phillips 1 | 2004 | 2004-03-27 | 2004-04-09 | 2 | 184000 |  | Fuel System Outage | 2004-03-27 | 2004-04-16 | 2.9 | 279000 |  |  | Big Bend 3 |  | 4.1 | 3.68 | 4.14 | 6.15 |  | 18.07
Bayside 1 | 2006 | 2006-02-25 | 2006-03-03 | 1 | 140000 |  | CT Insp; HRSG Insp | 2006-03-01 | 2006-03-07 | 0.87 | 275256 | CSA |  | Big Bend 4 | 5.5 |  | 4.07 | 4.46 | 12.79 |  | 26.82
Bayside 1 | 2006 | 2006-11-13 | 2006-11-19 | 1 | 140000 |  | CT Insp; HRSG Insp | 2006-09-25 | 2006-09-30 | 0.63 | 262586 | CSA |  | Gannon 3 | Column Labels 2003: 3.8 | 3.8
Phillips 1 | 2003 | 2003-04-19 | 2003-05-23 | 5 | 180000 |  | Engine Overhaul | 2003-04-14 | 2003-05-09 | 3.6 | 246000 |  |  | Gannon 4 | Column Labels 2003: 4.1 | 4.1
Bayside ST 2 | 2007 | 2007-11-24 | 2007-11-30 | 1 | 155000 |  | Fuel System Clean-up | 2007-11-09 | 2007-11-16 | 0.98 | 239174 | CSA |  | Phillips 1 | 3.6 | 2.9 | 5.2 | 1.9 |  | 0.6 | 14.2
Bayside 1 | 2005 | 2005-04-11 | 2005-04-17 | 1 | 101500 |  | CT Insp; HRSG Insp | 4/22/2005 . | 2005-05-01 | 1.27 | 237931 | CSA |  | Phillips 2 | Column Labels 2007: 0.35 | 0.35
Bayside 1 | 2008 | 2008-03-03 | 2008-03-09 | 1 | 180000 |  | CT Insp; HRSG insp | 2008-04-17 | 2008-04-25 | 1.09 | 236000 |  |  | Polk 1 | 6 | 1.9 | 15.43 | 6.66 | 2.13 | 1.59 | 33.71
Bayside 2 | 2004 | 2004-12-11 | 2004-12-17 | 1 | 0 |  | CT Insp; HRSG Insp | 2004-12-10 | 2004-12-18 | 1.1 | 223862 | CSA |  | Grand Total | 24 | 20.9 | 44.47 | 33.4 | 27.54 | 10.27 | 160.58
Big Bend 2 | 2007 | 2007-05-12 | 2007-06-01 | 3 | 0 |  | Fuel System Outage | 2007-05-11 | 2007-05-20 | 1.3 | 219594
Bayside 2 | 2005 | 2005-03-19 | 2005-03-29 | 1.6 | 72500 |  | CT Insp; HRSG Insp | 2005-03-16 | 312612005 | 1.43 | 208578 | CSA
Phillips 1 | 2005 | 2005-02-19 | 2005-03-25 | 5 | 245000 |  | Engine Overhaul | 1900-11-02 | 2005-04-12 | 5.2 | 197000 |  |  | Actual-Outages
Bayside 1 | 2005 | 2005-12-03 | 2005-12-19 | 1 | 72500 |  | CT Insp; HRSG Insp | 2005-09-08 | 911212005 | 0.57 | 189751 | CSA
Polk 1 | 2006 | 2006-10-29 | 2006-11-10 | 3.4 | 1271000 |  | Gasification Plant Insp | 12/1712006 | 2006-12-20 | 0.5 | 189000 |  | Major work done in spring | Count of Of Weeks | Column Labels 2003: Column Labels
Polk 1 | 2007 | 2007-10-20 | 2007-10-24 | 0.7 | 400000 |  |  | 2007-10-29 | 2007-10-31 | 0.38 | 158000 |  |  | Row Labels | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | Grand Total
Bayside 1 | 2004 | 2004-12-04 | 2004-12-10 | 1 | 0 |  | CT Insp; HRSG Insp | 2004-11-05 | 2004-11-11 | 0.6 | 129428 | CSA |  | Bayside 1 | 1 | 2 | 2 | 2 | 2 | 1 | 10
Phillips 2 | 2007 | 2007-03-18 | 2007-03-31 | 2 |  |  | System Clean-up | 2007-03-27 | 2007-03-29 | 0.35 | 40000 |  |  | Bayside 2 | Column Labels 2004: 2; Column Labels 2005: 1; Column Labels 2008: 1 | 4
Polk 1 | 2008 | 2008-02-11 | 2008-03-09 | 4 | 3474000 |  | Air Separation Inspection, HRSG Inspection, Steam Turbine Restoration, Gasifier Brick Replacement, Fuel System Inspection, Auxiliary System CT CI, ST Major Overall | 2008-04-13 | 2008-04-24 | 1.59 | 3411 |  |  | Bayside ST 2 | Column Labels 2006: 2; Column Labels 2007: 1 | 3
Bayside 1 | 2003 | [6 empty] | 2003-12-14 | 2003-12-22 | 1 | 3272 |  |  | Big Bend 1 | [6 empty] | 3 | bar: Column Labels 2004 to Column Labels 2006
Phillips 1 | 2008 | 2008-04-07 | 2008-04-20 | 2 | 361000 |  | Fuel System Outage | 2008-02-18 | 2008-02-22 | 0.6 | 90 |  |  | Big Bend 2 | [6 empty] | 3 | bar: Column Labels 2004 to Column Labels 2005; Column Labels 2007
Bayside 2 | 2003 | [12 empty] | Big Bend 3 | [6 empty] | 5 | bar: Column Labels 2004 to Column Labels 2008
Big Bend 1 | 2003 | 2003-02-15 | 2003-03-07 | 3 |  | NA | Fuel System Outage | [6 empty] | Big Bend 4 | 1 |  | 1 | 1 | 2 |  | 5
Big Bend 2 | 2003 | 2003-11-29 | 12/1212003 | 2 |  | NA | Fuel System Outage | [6 empty] | Big Bend CT 1
Big Bend 3 | 2003 | 2003-03-15 | 2003-03-28 | 2 |  | NA | Fuel System Outage | [6 empty] | Big Bend CT 2
Big Bend CT 1 | 2003 | 2003-05-10 | 2003-05-16 | 1 | [9 empty] | Big Bend CT 3
Big Bend CT 2 | 2003 | 2003-03-29 | 2003-04-04 | 1 | [9 empty] | City of Tampa 1
Big Bend CT 3 | 2003 | 2003-03-15 | 2003-03-21 | 1 | [9 empty] | City Of Tampa 2
City of Tampa 1 | 2003 | 2003-02-15 | 2003-02-21 | 1 | [9 empty] | Gannon 1
City Of Tampa 2 | 2003 | 11115/2003 | 2003-11-21 | 1 | [9 empty] | Gannon 2
Gannon 1 | 2003 | 2003-03-04 | 2003-03-31 | 4 | 0 |  | Fuel System Outage | [6 empty] | Gannon 3 | [6 empty] | 1 | bar: Column Labels 2003
Gannon 2 | 2003 | 211/2003 | 2003-02-28 | 4 | 0 |  | Fuel System Outage | [6 empty] | Gannon 4 | [6 empty] | 1 | bar: Column Labels 2003
Gannon 5 | 2003 | [12 empty] | Gannon 5
Gannon 6 | 2003 | [12 empty] | Gannon 6
Phillips 2 | 2003 | 2003-04-05 | 2003-04-18 | 2 |  |  | Fuel System Outage | 4/112003 | 2003-05-01 | 4.3 |  |  |  | Phillips 1 | [6 empty] | 6 | bar: Column Labels 2003 to Column Labels 2008
Polk 2 | 2003 | 2003-04-19 | 2003-05-02 | 2 |  | CSA | CT·HGP | 2003-02-21 | 2003-03-11 | 2.6 |  | CSA |  | Phillips 2 | 1 | 1 | 1 | 1 | 2 |  | 6
Polk 3 | 2003 | [12 empty] | Polk 1 | 1 | 1 | 2 | 2 | 2 | 1 | 9
Polk 4 | 2003 | [12 empty] | Polk 2 | [6 empty] | 3 | bar: Column Labels 2003; Column Labels 2006 to Column Labels 2007
Polk 5 | 2003 | [12 empty] | Polk 3 | [6 empty] | 2 | bar: Column Labels 2004; Column Labels 2007
Bayside 2 | 2004 | 2004-03-06 | 3/1212004 | 1 | 0 |  | CT Insp; HRSG Insp | 2004-03-06 | 2004-03-13 | 1 |  | CSA |  | Polk 4 | [6 empty] | 1 | bar: Column Labels 2007
Big Bend 4 | 2004 | 2004-10-02 | 2004-10-22 | 3 | 253176 |  | Fuel System Outage | [6 empty] | Polk 5 | [6 empty] | 1 | bar: Column Labels 2007
Big Bend CT 1 | 2004 | 2004-10-09 | 2004-10-22 | 2 | [9 empty] | Grand Total | 8 | 11 | 11 | 12 | 16 | 5 | 63
Big Bend CT 2 | 2004
Big Bend CT 3 | 2004 | 2004-02-14 | 2004-02-27 | 2
City of Tampa 1 | 2004 | [12 empty] | Budgeted Outages
City Of Tampa 2 | 2004
Phillips 2 | 2004 | 2004-04-10 | 2004-05-14 | 5 |  |  | Engine Overhaul | 2004-04-12 | 2004-05-21 | 5.6 |  |  |  | Count of Weeks | Column Labels 2003: Column Labels
Polk 4 | 2004 | [12 empty] | Row Labels | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | Grand Total
Polk 1 | 2004 | 2004-10-04 | 2004-10-11 | 1.1 | 570000 |  | Gasification Plant Insp | [5 empty] | Deferred Clean~up | Bayside 1 |  | 2 | 2 | 2 | 2 | 2 | 10
Polk 2 | 2004 | [12 empty] | Bayside 2 | Column Labels 2004: 2; Column Labels 2005: 2; Column Labels 2008: 2 | 6
Polk 3 | 2004 | 2004-04-11 | 2004-04-18 | 1.1 |  | CSA | CTCI | 2004-02-08 | 2004-02-18 | 1.4 |  | CSA |  | Bayside ST 2 | Column Labels 2006: 2; Column Labels 2007: 2 | 4
Polk 5 | 2004 | [12 empty] | Big Bend 1 | [6 empty] | 6 | bar: Column Labels 2003 to Column Labels 2008
Bayside 2 | 2005 | 2005-12-17 | 2005-12-23 | 1 | 72500 |  | CT Insp; HRSG Insp | [6 empty] | Big Bend 2 | [6 empty] | 6 | bar: Column Labels 2003 to Column Labels 2008
Big Bend CT 1 | 2005 | 2005-10-22 | 2005-10-28 | 1 | [9 empty] | Big Bend 3 | [6 empty] | 6 | bar: Column Labels 2003 to Column Labels 2008
Big Bend CT 2 | 2005 | [12 empty] | Big Bend 4 | [6 empty] | 6 | bar: Column Labels 2003 to Column Labels 2008
Big Bend CT 3 | 2005 | [12 empty] | Big Bend CT 1 | [6 empty] | 5 | bar: Column Labels 2003 to Column Labels 2005; Column Labels 2007 to Column Labels 2008
City of Tampa 1 | 2005 | [12 empty] | Big Bend CT 2 | [6 empty] | 4 | bar: Column Labels 2003; Column Labels 2006 to Column Labels 2008
City Of Tampa 2 | 2005 | [12 empty] | Big Bend CT 3 | [6 empty] | 4 | bar: Column Labels 2003 to Column Labels 2004; Column Labels 2006 to Column Labels 2007
Phillips 2 | 2005 | 2005-03-26 | 2005-04-08 | 2 |  |  | Fuel System Outage | 2005-02-19 | 2005-03-04 | 1.92 |  |  |  | City of Tampa 1 | [6 empty] | 1 | bar: Column Labels 2003
Polk 2 | 2005 | [12 empty] | City Of Tampa 2 | [6 empty] | 1 | bar: Column Labels 2003
Polk 3 | 2005 | [12 empty] | Gannon 1 | [6 empty] | 1 | bar: Column Labels 2003
Polk 4 | 2005 | [12 empty] | Gannon 2 | [6 empty] | 1 | bar: Column Labels 2003
Polk 5 | 2005 | [12 empty] | Gannon 3 | [6 empty] | 1 | bar: Column Labels 2003
Big Bend 2 | 2006 | 2006-12-04 | 2006-12-17 | 2 | 750000 | [8 empty] | Gannon 4 | [6 empty] | 1 | bar: Column Labels 2003
Big Bend CT 1 | 2006 | [12 empty] | Gannon 5
Big Bend CT 2 | 2006 | 2006-10-21 | 2006-10-27 | 1 | [9 empty] | Gannon 6
Big Bend CT 3 | 2006 | 2006-10-14 | 2006-10-20 | 1 | [9 empty] | Phillips 1 | [6 empty] | 6 | bar: Column Labels 2003 to Column Labels 2008
City of Tampa 1 | 2006 | [12 empty] | Phillips 2 | [6 empty] | 5 | bar: Column Labels 2003 to Column Labels 2007
City Of Tampa 2 | 2006 | [12 empty] | Polk 1 | 1 | 2 | 2 | 2 | 2 | 1 | 10
Phillips 2 | 2006 | 2006-03-13 | 2006-04-16 | 5 |  |  | Engine Overhaul | 2006-03-09 | 2006-04-12 | 4.88 |  |  |  | Polk 2 | [6 empty] | 3 | bar: Column Labels 2003; Column Labels 2006; Column Labels 2008
Polk 2 | 2006 | 2006-09-09 | 2006-09-15 | 1 |  | CSA | CTCI | 2006-06-05 | 2006-06-09 | 0.63 |  | CSA |  | Polk 3 | [6 empty] | 2 | bar: Column Labels 2004; Column Labels 2008
Polk 3 | 2006 | [12 empty] | Polk 4
Polk 4 | 2006 | [12 empty] | Polk 5
Polk 5 | 2006 | [12 empty] | Grand Total | 17 | 15 | 13 | 15 | 15 | 14 | 89
Bayside ST 2 | 2007 | 3/312007 | 3/912007 | 1 | 155000 |  | Fuel System Clean-up
Big Bend 1 | 2007 | 2007-11-03 | 2007-11-16 | 2 | 0 | [7 empty] | Turblne Inspection In 2007 not budgeted
Big Bend 4 | 2007 | [6 empty] | 2007-12-01 | 2007-12-10 | 1.31
Big Bend CT 1 | 2007 | 1016/2007 | 2007-10-12 | 1 |  |  | System Clean-up
Big Bend CT 2 | 2007 | 2007-10-13 | 2007-10-19 | 1 |  |  | System Clean-up
Big Bend CT 3 | 2007 | 2007-10-20 | 2007-10-26 | 1 |  |  | System Clean-up
City of Tampa 1 | 2007
Phillips 1 | 2007 | 4/112007 | 2007-05-05 | 5 | 338000 |  | Engine overhaul | 2007-03-19 | 2007-04-05 | 2.48
Phillips 2 | 2007 | [6 empty] | 2007-04-09 | 2007-04-20 | 1.63
Polk 2 | 2007 | [6 empty] | 2007-10-09 | 2007-10-12 | 0.5 |  | CSA
Polk 3 | 2007 | [6 empty] | 2007-10-07 | 2007-10-10 | 0.5 |  | CSA
Polk 4 | 2007 | [6 empty] | 2007-10-12 | 2007-10-12 | 0.1 |  | CSA
Polk 5 | 2007 | [6 empty] | 2007-10-03 | 2007-10-06 | 0.48 |  | CSA
Bayside 1 | 2008 | 2008-11-24 | 2008-11-30 | 1 | 180000 |  | CT Insp; HRSG insp
Bayside 2 | 2008 | 2008-12-08 | 2008-12-14 | 1 | 180000
Big Bend 1 | 2008 | 2008-09-20 | 2008-10-03 | 2 | 0 |  | Fuel System Outage
Big Bend 2 | 2008 | 2008-11-29 | 2008-12-30 | 4.6 | 0 |  | SCR PA Housing Replacement 2nd Rad SH Replacement, Control Room Relocation and System Upgrade, SCR Installation, HP Steam Path Restoration, #4 Feed Water Heater Replacement, APH Seal Replacement
Big Bend 3 | 2008 | 2008-01-01 | 2008-04-06 | 13.9 | 6050000 |  | SCR - Boiler Side Wall Repl, Boiler Furnace Floor Repl Boiler Burner Front Repl, SCR Installation and air/gas flow work, Condenser Tube Bundle Repl HP Turbine Steam Path Restoration, Boiler Rear Wall and Nose Arch Repl, Turbine R7 Blade Replacement | 2008-01-01 | 2008-04-28 | 16.94
Big Bend 4 | 2008 | 2008-11-01 | 2008-11-14 | 2 | 0
Big Bend CT 1 | 2008 | 2008-10-11 | 2008-10-17 | 1 |  |  | System Clean-up
Big Bend CT 2 | 2008 | 2008-10-18 | 2008-10-24 | 1 |  |  | System Clean-up
Big Bend CT 3 | 2008
City of Tampa 1 | 2008
Phillips 2 | 2008 | [5 empty] | Engine Overhaul | 2008-02-11 | 2008-03-07
Polk 2 | 2008 | 2008-11-17 | 2008-11-23 | 1 |  | CSA | CT ESI
Polk 3 | 2008 | 2008-11-07 | 2008-11-13 | 1 |  | CSA | CT HPG
Polk 4 | 2008 | [5 empty] | CT ESI
Polk 5 | 2008 | [5 empty] | CT ESI

## Piv Tab-Total Outage Weeks
Tampa Electric Company
Planned Outage Summary
Actual Outage Weeks
Sum of Of Weeks | Column Labels
Row Labels | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | Grand Total
Bayside 1 | 1 | 3.1 | 1.84 | 1.5 | 3.84 | 1.09 | 12.37
Bayside 2 |  | 2.1 | 1.43 |  |  | 6.99 | 10.52
Bayside ST 2 |  |  |  | 5.09 | 0.98 |  | 6.07
Big Bend 1 |  | 3.9 | 4.49 | 9.65 |  |  | 18.04
Big Bend 2 |  | 3.9 | 8.33 |  | 1.3 |  | 13.53
Big Bend 3 |  | 4.1 | 3.68 | 4.14 | 6.15 | 16.94 | 35.01
Big Bend 4 | 5.5 |  | 4.07 | 4.46 | 14.1 |  | 28.13
Big Bend CT 1
Big Bend CT 2
Big Bend CT 3
City of Tampa 1
City Of Tampa 2
Gannon 1
Gannon 2
Gannon 3 | 3.8 | [5 empty] | 3.8
Gannon 4 | 4.1 | [5 empty] | 4.1
Gannon 5
Gannon 6
Phillips 1 | 3.6 | 2.9 | 5.2 | 1.9 | 2.48 | 0.6 | 16.68
Phillips 2 | 4.3 | 5.6 | 1.92 | 4.88 | 1.98 |  | 18.68
Polk 1 | 6 | 1.9 | 15.43 | 6.66 | 2.13 | 1.59 | 33.71
Polk 2 | 2.6 |  |  | 0.63 | 0.5 |  | 3.73
Polk 3 |  | 1.4 |  |  | 0.5 |  | 1.9
Polk 4 |  |  |  |  | 0.1 |  | 0.1
Polk 5 |  |  |  |  | 0.48 |  | 0.48
Grand Total | 30.9 | 28.9 | 46.39 | 38.91 | 34.54 | 27.21 | 206.85
Total Big Bend | 5.5 | 11.9 | 20.57 | 18.25 | 21.55
Budgeted Outage Weeks
Sum of Weeks | Column Labels
Row Labels | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | Grand Total
Bayside 1 |  | 2 | 2 | 2 | 5 | 2 | 13
Bayside 2 |  | 2 | 2.6 |  |  | 8 | 12.6
Bayside ST 2 |  |  |  | 4 | 2 |  | 6
Big Bend 1 | 3 | 3 | 8 | 8 | 2 | 2 | 26
Big Bend 2 | 2 | 3 | 2 | 2 | 3 | 4.6 | 16.6
Big Bend 3 | 2 | 3 | 2 | 5 | 4.3 | 13.9 | 30.2
Big Bend 4 | 5 | 3 | 2 | 3 | 12.4 | 2 | 27.4
Big Bend CT 1 | 1 | 2 | 1 |  | 1 | 1 | 6
Big Bend CT 2 | 1 |  |  | 1 | 1 | 1 | 4
Big Bend CT 3 | 1 | 2 |  | 1 | 1 |  | 5
City of Tampa 1 | 1 | [5 empty] | 1
City Of Tampa 2 | 1 | [5 empty] | 1
Gannon 1 | 4 | [5 empty] | 4
Gannon 2 | 4 | [5 empty] | 4
Gannon 3 | 4 | [5 empty] | 4
Gannon 4 | 4 | [5 empty] | 4
Gannon 5
Gannon 6
Phillips 1 | 5 | 2 | 5 | 2 | 5 | 2 | 21
Phillips 2 | 2 | 5 | 2 | 5 | 2 |  | 16
Polk 1 | 6 | 2.5 | 5.4 | 7.4 | 2.7 | 4 | 28
Polk 2 | 2 |  |  | 1 |  | 1 | 4
Polk 3 |  | 1.1 |  |  |  | 1 | 2.1
Polk 4
Polk 5
Grand Total | 48 | 30.6 | 32 | 41.4 | 41.4 | 42.5 | 235.9
Big Bend Total | [5 empty] | 22.5
Source: TECO Reply to FIPUG 1st Set of Interrogatories, No. 1

## Projected Planned FIPUG Rog 2
TECO 2009 Planned Outages
TECO Response to FIPUG 1st Set of Interrogatories No. 2
Name | Unit | Start Date | End Date | Outage Weeks | Cost | Purpose of Outage | # Outages / Unit
Bayside | 1 | 2009-03-21 | 3.27/2009 | 1 | 250000 | Steam turbine cleanup outage for winter summer operations. | 2
Bayside | 1 | 2009-10-17 | 2009-10-23 | 1 | 250000 | Steam turbine cleanup outage for winter operations and combustion turbine inspections.
Bayside | 2 | 2009-03-08 | 2009-03-14 | 1 | 250000 | Steam turbine cleanup outage for winter summer operations. | 2
Bayside | 2 | 2009-10-31 | 2009-11-06 | 1 | 250000 | Steam turbine cleanup outage for winter operations and combustion turbine inspections.
Big Bend | 1 | 2009-11-28 | 2009-12-31 | 5 | 1258000 | Major unit outage with maintenance overhaul of most operating equipment, boiler, SCR installation, Unit conversion to balance draft, and new controls in new control room. | 1
Big Bend | 2 | 2009-01-01 | 2009-04-08 | 14 | 7100000 | Major unit outage with maintenance overhaul of most operating equipment, boiler, SCR installation, Unit conversion to balance draft, and new controls in new control room. | 2
Big Bend | 2 | 2009-11-30 | 2009-12-20 | 3 | 0 | Cleanup outage and completion of combined unit 1 arid 2 scrubber modification with new SCR installation.
Big Bend | 3 | 2009-10-03 | 2009-10-16 | 2 | 0 | Fuel system cleanup outage for winter operations. | 1
Big Bend | 4 | 2009-04-04 | 2009-05-29 | 8 | 6100000 | Major unit outage with maintenance overhaul of most operating equipment and boiler. | 1
Phillips | 1 | 2009-02-01 | 2009-03-07 | 5 | 225000 | Engine overhaul outage | 1
Phillips | 2 | 2009-11-13 | 2009-11-15 | 1 | NA | Fuel system cleanup outage for winter operations. | 1
Polk | 1 | 2009-02-01 | 2009-03-07 | 5 | 4521000 | Gasifier liner replacement and CT/ST major inspection | 2
Polk | 1 | 2009-11-08 | 2009-11-12 | 1 | NA | Fuel system cleanup outage for winter operations.
Polk | 2 | 2009-11-13 | 2009-11-15 | 1 | $0 - CSA | CTEBI | 1
Polk | 3 | 2009-11-15 | 2009-11-17 | 1 | $0 - CSA | CTEBI | 1
Polk | 4 | 2009-03-21 | 2009-03-27 | 1 | $0 - CSA | CT - Combustion Path Inspection; Magic Inspection on Generators | 2
Polk | 4 | 2009-11-17 | 2009-11-19 | 1 | $0 - CSA | CTEBI
Polk | 5 | 2009-03-28 | 2009-04-03 | 1 | $0 - CSA | CT - Combustion Path Inspection; Magic Inspection on Generators | 2
Polk | 5 | 2009-11-19 | 2009-11-21 | 1 | $0 - CSA | CTEBI
|  |  | Total | 54 | 20204000