## Capacities
Note: 2003-04 Ten-Year Site Plan n/a, so used 2005 TYSP numbers for 2003-04 capacities. | [12 empty] | Tampa Electric Company |  |  | Source: Annual FERC-714 Reports
Available Capacity 10-Year Site Plan
Net Capability at the Time of the Monthly Peak Demand, Based on Balancing Authority Area Area Net Energy For Load (NEL)
TECO-Owned Capacity |  |  | * Schedule F-8 | [9 empty] | NOTE: THIS DATA NOT USED
| Summer | Winter | May-09 Add | Oct-09 Add | [8 empty] | Year |  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
2003 | 4090 | 4426 | [10 empty] | 2003 | Available Capacity | 3791 | 2952 | 3185 | 4095 | 3430 | 3532 | 3327 | 3598 | 3516 | 3046 | 2877 | 2877
2004 | 4090 | 4426 | [10 empty] | 2003 | Total Capacity | 4102 | 4102 | 4102 | 4804 | 4959 | 4804 | 4804 | 4804 | 4804 | 4804 | 4804 | 4804
2005 | 4074 | 4426 | [10 empty] | 2003 | Planned Outages | 80 | 80 | 340 | 340 | 80 | 80 | 80 | 80 | 80 | 800 | 540 | 540
2006 | 4012 | 4386
2007 | 4202 | 4326 | [10 empty] | 2004 | Available Capacity | 4898 | 5089 | 4668 | 4058 | 4284 | 4628 | 5099 | 4996 | 4874 | 4763 | 4813 | 4326
2008 | 4202 | 4604 | [10 empty] | 2004 | Total Capacity | 5592 | 5600 | 5600 | 5293 | 5293 | 5293 | 5293 | 5293 | 5293 | 5293 | 5293 | 5600
2009* | 4202 | 4611 | 16 | 187 | [8 empty] | 2004 | Planned Outages | 80 | 508 | 80 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 1040
4795
[13 empty] | 2005 | Available Capacity | 5207 | 5215 | 4239 | 4482 | 4338 | 4544 | 4563 | 4218 | 4637 | 4422 | 4446 | 5245
Other Unit Generation (from 10-Year Site Plan text) | [12 empty] | 2005 | Total Capacity | 5676 | 5676 | 5676 | 5258 | 5258 | 5258 | 5258 | 5258 | 5258 | 5258 | 5258 | 5676
SUMMER | Hardee | Hardee Non-Share | Calpine | New Hope | Reliant | PEF | Cargill | Pasco | TOTAL |  |  | CoGen Firm | 2005 | Planned Outages | 0 | 0 | 478 | 440 | 0 | 95 | 0 | 0 | 0 | 396 | 396 | 428
2003 | 287 | 69 | 170 | [5 empty] | 526
2004 | 287 | 69 | 170 | [5 empty] | 526 |  |  | 63 | 2006 | Available Capacity | 5555 | 5115 | 4172 | 4089 | 4594 | 5119 | 5084 | 4728 | 4646 | 4416 | 4124 | 5125
2005 | 287 | 69 | 170 | 50 |  |  |  |  | 526 | 576 | Jun-Aug | 62 | 2006 | Total Capacity | 5770 | 5770 | 5770 | 5374 | 5374 | 5374 | 5374 | 5374 | 5374 | 5374 | 5374 | 5770
2006 | 287 | 69 | 170 |  |  | 50 |  |  | 576 |  |  | 65 | 2006 | Planned Outages | 0 | 485 | 1443 | 750 | 0 | 0 | 0 | 0 | 0 | 430 | 430 | 0
2007 | 287 | 69 | 170 |  |  | 75 |  |  | 601 |  |  | 64
2008 | 287 | 69 | 170 |  | 158 |  |  |  | 684 |  |  | 64 | 2007 | Available Capacity | 5439 | 5163 | 5799 | 5241 | 5079 | 5531 | 5493 | 5339 | 5426 | 5562 | 4236 | 6011
2009* | 287 | 69 | 170 |  | 158 |  |  | 121 | 805 |  |  | 64 | 2007 | Total Capacity | 5491 | 5711 | 5886 | 5445 | 5567 | 5611 | 5567 | 5613 | 5612 | 5612 | 5613 | 6061
[12 empty] | 64 | 2007 | Planned Outages | 50 | 0 | 68 | 0 | 437 | 80 | 50 | 124 | 124 | 50 | 821 | 50
WINTER | Hardee | Hardee Non-Share | Calpine |  | Reliant | PEF |  | Pasco | TOTAL
2003 | 353 | 88 | 170 | [5 empty] | 611 |  |  |  | 2008 | Available Capacity | 5439 | 5163 | 5799 | 5241 | 5079 | 5531 | 5493 | 5339 | 5426 | 5562 | 4236 | 6011
2004 | 353 | 88 | 170 | [5 empty] | 611 |  |  |  | 2008 | Total Capacity | 5491 | 5711 | 5886 | 5445 | 5567 | 5611 | 5567 | 5613 | 5612 | 5612 | 5613 | 6061
2005 | 353 | 88 | 170 | [5 empty] | 611 |  |  |  | 2008 | Planned Outages | 50 | 0 | 68 | 0 | 437 | 80 | 50 | 124 | 124 | 50 | 821 | 50
2006 | 353 | 88 | 170 |  |  | 50 |  |  | 661
2007 | 353 | 88 | 170 | 40 |  | 100 | 50 |  | 701 | 801 | Jan-Mar |  | 2009 | Available Capacity | 5439 | 5163 | 5799 | 5241 | 5095 | 5547 | 5509 | 5355 | 5442 | 5749 | 4423 | 6198
2008 | 353 | 88 | 170 |  | 158 |  |  |  | 769 |  |  |  | 2009 | Total Capacity | 5491 | 5711 | 5886 | 5445 | 5583 | 5627 | 5583 | 5629 | 5628 | 5799 | 5800 | 6248
2009* | 353 | 88 | 170 |  | 158 |  |  | 121 | 890 |  |  |  | 2009 | Planned Outages | 50 | 0 | 68 | 0 | 437 | 80 | 50 | 124 | 124 | 50 | 821 | 50
* Does not include 136 MW of unspecified new purchased capacity starting in Jan 2009 | [14 empty] | Jan: Using 2007 Capacities; May: Add 114 MW new CTs less 98 MW retired; Oct: Add 171 MW new CTs
Output of Gen Plants (MW) |  | From FERC-714
2003 | 3388 | 2269 | 2473 | 3005 | 3085 | 3156 | 3117 | 2939 | 2960 | 2769 | 2656 | 2450
2004 | 2940 | 2922 | 2537 | 2826 | 2776 | 3856 | 3945 | 4017 | 3740 | 3586 | 3460 | 3248
2005 | 3977 | 3131 | 2690 | 3458 | 3200 | 3726 | 4236 | 3878 | 3789 | 3082 | 3322 | 2566
2006 | 3458 | 3787 | 2749 | 3546 | 3945 | 4184 | 4217 | 4084 | 3527 | 3388 | 2919 | 2863
2007 | 3555 | 3491 | 3451 | 3656 | 3878 | 3919 | 4211 | 4216 | 4241 | 3333 | 3565 | 3264
Firm Purchases (MW)
2003 | 259 | 206 | 78 | 209 | 131 | 67 | 65 | 60 | 32 | 310 | 225 | 218
2004 | 237 | 190 | 182 | 233 | 229 | 406 | 385 | 383 | 393 | 358 | 357 | 382
2005 | 367 | 287 | 477 | 374 | 327 | 229 | 231 | 210 | 396 | 391 | 370 | 365
2006 | 266 | 278 | 228 | 272 | 169 | 287 | 272 | 292 | 279 | 149 | 137 | 278
2007 | 284 | 275 | 205 | 294 | 302 | 484 | 301 | 302 | 288 | 291 | 311 | 308
Firm Sales (MW) | From FERC-714
2003 | -131 | -117 | -456 | -122 | -126 | -124 | -124 | -124 | -415 | -139 | -122 | -126
2004 | -143 | -140 | -177 | -135 | -141 | -143 | -141 | -108 | -138 | -139 | -135 | -141
2005 | -226 | -295 | -141 | -140 | -142 | -151 | -147 | -153 | -146 | -149 | -150 | -73
2006 | -183 | -198 | -180 | -176 | -145 | -150 | -149 | -150 | -147 | -145 | -166 | -134
2007 | -172 | -175 | -161 | -166 | -171 | -172 | -186 | -185 | -173 | -168 | -160 | -165
Net Non-Firm & Inadvertent | From FERC-714
2003 | 365 | 287 | 911 | 2 | 386 | 374 | 565 | 605 | 852 | 354 | 348 | 571
2004 | 310 | 81 | 19 | 244 | 640 | -382 | -572 | -624 | -442 | -415 | -638 | -202
2005 | -432 | -307 | -71 | -750 | 100 | -48 | -390 | 33 | -348 | 158 | -700 | 170
2006 | -501 | -132 | -9 | -209 | -341 | -498 | -421 | -216 | 55 | 148 | 88 | -327
2007 | -404 | -193 | -520 | -535 | -523 | -424 | -341 | -231 | -516 | 317 | -759 | -536
2008
2003 | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
GenPlants | 3388 | 2269 | 2473 | 3005 | 3085 | 3156 | 3117 | 2939 | 2960 | 2769 | 2656 | 2450
Firm Purchases | 259 | 206 | 78 | 209 | 131 | 67 | 65 | 60 | 32 | 310 | 225 | 218
Firm Sales | -131 | -117 | -456 | -122 | -126 | -124 | -124 | -124 | -415 | -139 | -122 | -126
Net Non-Firm | 365 | 287 | 911 | 2 | 386 | 374 | 565 | 605 | 852 | 354 | 348 | 571
Month Peak | 3881 | 2645 | 3006 | 3094 | 3476 | 3472 | 3623 | 3479 | 3429 | 3294 | 3109 | 3113
14.55%
2004
GenPlants | 2940 | 2922 | 2537 | 2826 | 2776 | 3856 | 3945 | 4017 | 3740 | 3586 | 3460 | 3248
Firm Purchases | 237 | 190 | 182 | 233 | 229 | 406 | 385 | 383 | 393 | 358 | 357 | 582
Firm Sales | -143 | -140 | -177 | -135 | -141 | -143 | -141 | -108 | -138 | -139 | -135 | -141
Net Non-Firm | 310 | 81 | 19 | 244 | 640 | -382 | -572 | -624 | -442 | -415 | -638 | -202
Month Peak | 3462 | 3169 | 2670 | 3282 | 3621 | 3855 | 3733 | 3774 | 3667 | 3505 | 3158 | 3403
17.76%
2005
GenPlants | 3977 | 3131 | 2690 | 3458 | 3200 | 3726 | 4236 | 3878 | 3789 | 3082 | 3322 | 2566
Firm Purchases | 367 | 287 | 477 | 374 | 327 | 229 | 231 | 210 | 396 | 391 | 370 | 365
Firm Sales | -226 | -295 | -141 | -140 | -142 | -151 | -147 | -153 | -146 | -149 | -150 | -73
Net Non-Firm | -432 | -307 | -71 | -750 | 100 | -48 | -390 | 33 | -348 | 158 | -700 | 170
Month Peak | 3812 | 2936 | 3074 | 3061 | 3605 | 3881 | 4053 | 4094 | 3813 | 3608 | 2973 | 3081
-4.149%
2006
GenPlants | 3458 | 3787 | 2749 | 3546 | 3945 | 4184 | 4217 | 4084 | 3527 | 3388 | 2919 | 2863
Firm Purchases | 266 | 278 | 228 | 272 | 169 | 287 | 272 | 292 | 279 | 149 | 137 | 278
Firm Sales | -183 | -198 | -180 | -176 | -145 | -150 | -149 | -150 | -147 | -145 | -166 | -134
Net Non-Firm | -501 | -132 | -9 | -209 | -341 | -498 | -421 | -216 | 55 | 148 | 88 | -327
Month Peak | 3200 | 3903 | 2948 | 3584 | 3749 | 3947 | 4043 | 4134 | 3836 | 3661 | 3124 | 2796
-7.461%
2007
GenPlants | 3555 | 3491 | 3451 | 3656 | 3878 | 3919 | 4211 | 4216 | 4241 | 3333 | 3565 | 3264
Firm Purchases | 284 | 275 | 205 | 294 | 302 | 484 | 301 | 302 | 288 | 291 | 311 | 308
Firm Sales | -172 | -175 | -161 | -166 | -171 | -172 | -186 | -185 | -173 | -168 | -160 | -165
Net Non-Firm | -404 | -193 | -520 | -535 | -523 | -424 | -341 | -231 | -516 | 317 | -759 | -536
Month Peak | 3409 | 3546 | 3117 | 3393 | 3632 | 3954 | 4144 | 4281 | 3987 | 3922 | 3097 | 3014
-4.107%
Purchased Capacity from Schedule 7.1
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
2008 | 709 | 709 | 709 | 709 | 709 | 709 | 709 | 709 | 709 | 709 | 709 | 709
2009 | 805 | 805 | 805 | 805 | 805 | 805 | 805 | 805 | 805 | 805 | 805 | 805
2010 | 805 | 805 | 805 | 805 | 805 | 805 | 805 | 805 | 805 | 805 | 805 | 805
2011 | 805 | 805 | 805 | 805 | 635 | 635 | 635 | 635 | 635 | 635 | 635 | 635
2012 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121
2013 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121
2014 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121
2015 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121
2016 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121
2017 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121
Residential and C&I Load Management (MW)
From 10-Year Site Plan 2008
Note: Interr/LM summer season is Apr thru Oct
Apr thru Oct | Feb: Residential; Mar: C&I
SUMMER | Jan: Interruptible; Feb: Load Mgmt; Mar: Load Mgmt; Apr: Total LM
2003 | Jan: 188; Feb: 63; Mar: 21; Apr: 84
2004 | Jan: 177; Feb: 95; Mar: 20; Apr: 115
2005 | Jan: 144; Feb: 79; Mar: 19; Apr: 98
2006 | Jan: 146; Feb: 77; Mar: 18; Apr: 95
2007 | Jan: 159; Feb: 69; Mar: 18; Apr: 87
2008 | Jan: 159; Feb: 63; Mar: 23; Apr: 86
2009 | Jan: 160; Feb: 65; Mar: 27; Apr: 92
Nov thru Mar | Feb: Residential; Mar: C&I
WINTER | Jan: Interruptible; Feb: Load Mgmt; Mar: Load Mgmt; Apr: Total LM
2002/03 | Jan: 195; Feb: 210; Mar: 21; Apr: 231
2003/04 | Jan: 254; Feb: 136; Mar: 18; Apr: 154
2004/05 | Jan: 194; Feb: 189; Mar: 16; Apr: 205
2005/06 | Jan: 51; Feb: 144; Mar: 18; Apr: 162
2006/07 | Jan: 157; Feb: 96; Mar: 18; Apr: 114
2007/08 | Jan: 172; Feb: 135; Mar: 20; Apr: 155
2008/09 | Jan: 172; Feb: 136; Mar: 24; Apr: 160
2009/10 | Jan: 172; Feb: 138; Mar: 27; Apr: 165
Compare Form 1 Peak Demands vs E-18 (RFI Response)
Form 1 |  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
2003 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2004 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2005 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2006 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2007 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
E-18
2003
2004 |  | 3344 | 3053 | 2561 | 3168 | 3504 | 3737 | 3617 | 3668 | 3553 | 3390 | 3044 | 3287
2005 |  | 3686 | 2816 | 2955 | 2942 | 3485 | 3756 | 3930 | 3968 | 3691.4444 | 3482 | 2842 | 3027
2006 |  | 3041 | 3736 | 2787 | 3432.806 | 3628 | 3824 | 3919 | 4010 | 3714 | 3540 | 2978 | 2679
2007 |  | 3263 | 3398 | 2975 | 3249 | 3486 | 3808 | 3985 | 4123 | 3839 | 3773 | 2956.1576 | 2870.9401
2004 |  | -3344 | -3053 | -2561 | -3168 | -3504 | -3737 | -3617 | -3668 | -3553 | -3390 | -3044 | -3287 |  | -14575 | -13106 | -12245
2005 |  | -3686 | -2816 | -2955 | -2942 | -3485 | -3756 | -3930 | -3968 | -3691.4444 | -3482 | -2842 | -3027 |  | -15345.4444 | -12751 | -12484
2006 |  | -3041 | -3736 | -2787 | -3432.806 | -3628 | -3824 | -3919 | -4010 | -3714 | -3540 | -2978 | -2679 |  | -15467 | -13578.806 | -12243
2007 |  | -3263 | -3398 | -2975 | -3249 | -3486 | -3808 | -3985 | -4123 | -3839 | -3773 | -2956.1576 | -2870.9401 |  | -15755 | -13464.1576 | -12506.9401
Note on A112: djh: Excludes 136 MWs of needed capacity
Note on A114: djh: Calpine 170 MWs expires Apr-2011…excludes replacement capacity

## JP-8
TAMPA ELECTRIC COMPANY
Analysis of Monthly Peak Demands
As a Percentage of the Annual System Peak
for the Years 2003-2007
| 2003 | 2004 | 2005
| 2006 | 2007
|  | Annual System Peak | Peak Months

## JP-8
TAMPA ELECTRIC COMPANY
Analysis of TECO's System Load Characteristics
2003-2007 (Actual)
|  |  |  | Average | Average | Winter
| Peak | Minimum | Average | Summer | Non-Summer | Peak
Year | Demand | Demand | Demand | Demand | Demand | Demand
| -1 | -2 | -3 | -4 | -5 | -6
Firm Demand (MW)
2003 | 3455 | 2219 | 2968.5833 | 3228.75 | 2838.5 | 3455
2004 | 3563 | 2262 | 3102.75 | 3465.25 | 2921.5 | 3054
2005 | 3852 | 2537 | 3222.8333 | 3718.25 | 2975.125 | 3413
2006 | 3893 | 2525 | 3338.0833 | 3749 | 3132.625 | 3690
2007 | 4035 | 2687 | 3358.9167 | 3845.5 | 3115.625 | 3275
Ratio Analysis
| Minimum to Annual Peak | Average to Annual Peak | Avg Summer % More Than Avg Non-Sum | Avg Summer Peak to Peak Demand | Avg Non-Sum Peak to Peak Demand | Annual Load Factor
2003 | 64.23% | 85.92% | 13.75% | 93.45% | 82.16% | 60.4%
2004 | 63.49% | 87.08% | 18.61% | 97.26% | 82% | 65.6%
2005 | 65.86% | 83.67% | 24.98% | 96.53% | 77.24% | 57.3%
2006 | 64.86% | 85.75% | 19.68% | 96.3% | 80.47% | 57.2%
2007 | 66.59% | 83.24% | 23.43% | 95.3% | 77.21% | 56.6%

## JP-9
TAMPA ELECTRIC COMPANY
Reserve Margins as
a Percent of Firm Peak Demand
|  |  | Average | Average | Ratio of Summer to
|  |  | Summer | Non-Summer | Non-Summer
Line | Year | Data | Months | Months | Margins
|  |  | -1 | -2 | -3
1 | 2003 | Actual | 40.37% | 61.76% | 65.37%
2 | 2004 | Actual | 33.43% | 61.42% | 54.43%
3 | 2005 | Actual | 24.36% | 55.75% | 43.7%
4 | 2006 | Actual | 22.46% | 44.12% | 50.9%
5 | 2007 | Actual | 23.41% | 58.18% | 40.23%

## WP JP-5 2003
TAMPA ELECTRIC COMPANY
2003 Monthly Reserve Margins
Line | Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
|  | -1 | -2 | -3 | -4 | -5 | -6 | -7 | -8 | -9 | -10 | -11 | -12
1 | Peak Day | 24 | 3 | 20 | 7 | 9 | 11 | 8 | 12 | 24 | 13 | 5 | 21
2 | Peak Hour | 800 | 800 | 1600 | 1800 | 1700 | 1600 | 1700 | 1800 | 1800 | 1700 | 1500 | 900
3 | Gross Monthly Peak Demand (MW) | 3881 | 2645 | 3006 | 3094 | 3476 | 3472 | 3623 | 3479 | 3429 | 3294 | 3109 | 3113
4 | Load Management Programs (MW) | 231 | 231 | 231 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 154 | 154
5 | Interruptible Load (MW) | 195 | 195 | 195 | 188 | 188 | 188 | 188 | 188 | 188 | 188 | 254 | 254
6 | Net Monthly Peak Demand (MW) | 3455 | 2219 | 2580 | 2822 | 3204 | 3200 | 3351 | 3207 | 3157 | 3022 | 2701 | 2705
7 | TECO-Owned Unit Generation (MW) | 4426 | 4426 | 4426 | 4090 | 4090 | 4090 | 4090 | 4090 | 4090 | 4090 | 4090 | 4426
8 | TECO-Owned Planned Maint (MW) | 80 | 80 | 340 | 340 | 80 | 80 | 80 | 80 | 80 | 800 | 540 | 540
9 | Other Unit Generation (MW) * | 611 | 611 | 611 | 457 | 457 | 457 | 457 | 457 | 457 | 457 | 457 | 611
10 | Other-Owned Planned Maint (MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | TECO Owned Net Capacity (MW) | 4957 | 4957 | 4697 | 4207 | 4467 | 4467 | 4467 | 4467 | 4467 | 3747 | 4007 | 4497
12 | Firm Cogeneration (MW) | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63
13 | Total Available Resources (MW) | 5020 | 5020 | 4760 | 4270 | 4530 | 4530 | 4530 | 4530 | 4530 | 3810 | 4070 | 4560
14 | Available Reserves (MW) | 1565 | 2801 | 2180 | 1448 | 1326 | 1330 | 1179 | 1323 | 1373 | 788 | 1369 | 1855
15 | Reserve Margin | 45.3% | 126.2% | 84.5% | 51.31% | 41.39% | 41.56% | 35.18% | 41.25% | 43.49% | 26.08% | 50.68% | 68.58%
Source: TECO Reply to FIPUG 1st Set of POD, Item 8 and MFR E-18
* Other Unit Generation includes all Hardee units, Calpine, and Osprey.

## WP JP-5 2004
TAMPA ELECTRIC COMPANY
2004 Monthly Reserve Margins
Line | Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
|  | -1 | -2 | -3 | -4 | -5 | -6 | -7 | -8 | -9 | -10 | -11 | -12
1 | Peak Day | 29 | 19 | 5 | 30 | 26 | 23 | 9 | 31 | 1 | 4 | 3 | 15
2 | Peak Hour | 800 | 800 | 1700 | 1700 | 1700 | 1700 | 1700 | 1600 | 1600 | 1700 | 1600 | 800
3 | Gross Monthly Peak Demand (MW) | 3462 | 3169 | 2670 | 3282 | 3621 | 3855 | 3733 | 3774 | 3667 | 3505 | 3158 | 3403
4 | Load Management Programs (MW) | 154 | 154 | 154 | 115 | 115 | 115 | 115 | 115 | 115 | 115 | 205 | 205
5 | Interruptible Load (MW) | 254 | 254 | 254 | 177 | 177 | 177 | 177 | 177 | 177 | 177 | 194 | 194
6 | Net Monthly Peak Demand (MW) | 3054 | 2761 | 2262 | 2990 | 3329 | 3563 | 3441 | 3482 | 3375 | 3213 | 2759 | 3004
7 | TECO-Owned Unit Generation (MW) | 4426 | 4426 | 4426 | 4090 | 4090 | 4090 | 4090 | 4090 | 4090 | 4090 | 4090 | 4426
8 | TECO-Owned Planned Maint (MW) | 80 | 508 | 80 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 1040
9 | Other Unit Generation (MW) * | 611 | 611 | 611 | 526 | 526 | 576 | 576 | 576 | 526 | 526 | 526 | 611
10 | Other-Owned Planned Maint (MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | TECO Owned Net Capacity (MW) | 4957 | 4529 | 4957 | 4550 | 4550 | 4600 | 4600 | 4600 | 4550 | 4550 | 4550 | 3997
12 | Firm Cogeneration (MW) | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63
13 | Total Available Resources (MW) | 5020 | 4592 | 5020 | 4613 | 4613 | 4663 | 4663 | 4663 | 4613 | 4613 | 4613 | 4060
14 | Available Reserves (MW) | 1966 | 1831 | 2758 | 1623 | 1284 | 1100 | 1222 | 1181 | 1238 | 1400 | 1854 | 1056
15 | Reserve Margin | 64.37% | 66.32% | 121.9% | 54.28% | 38.57% | 30.87% | 35.51% | 33.92% | 36.68% | 43.57% | 67.2% | 35.15%
Source: TECO Reply to FIPUG 1st Set of POD, Item 8 and MFR E-18
* Includes all Hardee units, Calpine, and Osprey.

## WP JP-5 2005
TAMPA ELECTRIC COMPANY
2005 Monthly Reserve Margins
Line | Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
|  | -1 | -2 | -3 | -4 | -5 | -6 | -7 | -8 | -9 | -10 | -11 | -12
1 | Peak Day | 24 | 11 | 3 | 1 | 30 | 15 | 20 | 19 | 19 | 3 | 8 | 22
2 | Peak Hour | 800 | 800 | 2000 | 1600 | 1800 | 1700 | 1700 | 1600 | 1800 | 1700 | 1900 | 800
3 | Gross Monthly Peak Demand (MW) | 3812 | 2936 | 3074 | 3061 | 3605 | 3881 | 4053 | 4094 | 3813 | 3608 | 2973 | 3081
4 | Load Management Programs (MW) | 205 | 205 | 205 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 162 | 162
5 | Interruptible Load (MW) | 194 | 194 | 194 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 51 | 51
6 | Net Monthly Peak Demand (MW) | 3413 | 2537 | 2675 | 2819 | 3363 | 3639 | 3811 | 3852 | 3571 | 3366 | 2760 | 2868
7 | TECO-Owned Unit Generation (MW) | 4426 | 4426 | 4426 | 4074 | 4074 | 4074 | 4074 | 4074 | 4074 | 4074 | 4074 | 4074
8 | TECO-Owned Planned Maint (MW) | 0 | 0 | 478 | 440 | 0 | 95 | 0 | 0 | 0 | 396 | 396 | 428
9 | Other Unit Generation (MW) * | 611 | 611 | 611 | 526 | 526 | 576 | 576 | 576 | 526 | 526 | 526 | 661
10 | Other-Owned Planned Maint (MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | TECO Owned Net Capacity (MW) | 5037 | 5037 | 4559 | 4160 | 4600 | 4555 | 4650 | 4650 | 4600 | 4204 | 4204 | 4307
12 | Firm Cogeneration (MW) | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65
13 | Total Available Resources (MW) | 5102 | 5102 | 4624 | 4225 | 4665 | 4620 | 4715 | 4715 | 4665 | 4269 | 4269 | 4372
14 | Available Reserves (MW) | 1689 | 2565 | 1949 | 1406 | 1302 | 981 | 904 | 863 | 1094 | 903 | 1509 | 1504
15 | Reserve Margin | 49.49% | 101.1% | 72.86% | 49.88% | 38.72% | 26.96% | 23.72% | 22.4% | 30.64% | 26.83% | 54.67% | 52.44%
Source: TECO Reply to FIPUG 1st Set of POD, Item 8 and MFR E-18
* Includes all Hardee units, Calpine, and Osprey.

## WP JP-5 2006
TAMPA ELECTRIC COMPANY
2006 Monthly Reserve Margins
Line | Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
|  | -1 | -2 | -3 | -4 | -5 | -6 | -7 | -8 | -9 | -10 | -11 | -12
1 | Peak Day | 19 | 14 | 13 | 20 | 31 | 21 | 26 | 2 | 18 | 19 | 1 | 18
2 | Peak Hour | 800 | 800 | 1700 | 1700 | 1800 | 1800 | 1700 | 1700 | 1700 | 1600 | 1700 | 1900
3 | Gross Monthly Peak Demand (MW) | 3200 | 3903 | 2948 | 3584 | 3749 | 3947 | 4043 | 4134 | 3836 | 3661 | 3124 | 2796
4 | Load Management Programs (MW) | 162 | 162 | 162 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 114 | 114
5 | Interruptible Load (MW) | 51 | 51 | 51 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 157 | 157
6 | Net Monthly Peak Demand (MW) | 2987 | 3690 | 2735 | 3343 | 3508 | 3706 | 3802 | 3893 | 3595 | 3420 | 2853 | 2525
7 | TECO-Owned Unit Generation (MW) | 4386 | 4386 | 4386 | 4012 | 4012 | 4012 | 4012 | 4012 | 4012 | 4012 | 4012 | 4326
8 | TECO-Owned Planned Maint (MW) | 0 | 485 | 1443 | 750 | 0 | 0 | 0 | 0 | 0 | 430 | 430 | 0
9 | Other Unit Generation (MW) * | 661 | 661 | 661 | 576 | 576 | 576 | 576 | 576 | 576 | 576 | 576 | 701
10 | Other-Owned Planned Maint (MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | TECO Owned Net Capacity (MW) | 5047 | 4562 | 3604 | 3838 | 4588 | 4588 | 4588 | 4588 | 4588 | 4158 | 4158 | 5027
12 | Firm Cogeneration (MW) | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64
13 | Total Available Resources (MW) | 5111 | 4626 | 3668 | 3902 | 4652 | 4652 | 4652 | 4652 | 4652 | 4222 | 4222 | 5091
14 | Available Reserves (MW) | 2124 | 936 | 933 | 559 | 1144 | 946 | 850 | 759 | 1057 | 802 | 1369 | 2566
15 | Reserve Margin | 71.11% | 25.37% | 34.11% | 16.72% | 32.61% | 25.53% | 22.36% | 19.5% | 29.4% | 23.45% | 47.98% | 101.6%
Source: TECO Reply to FIPUG 1st Set of POD, Item 8 and MFR E-18
* Includes all Hardee units, Calpine, and Osprey.

## WP JP-5 2007
TAMPA ELECTRIC COMPANY
2007 Monthly Reserve Margins
Line | Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
|  | -1 | -2 | -3 | -4 | -5 | -6 | -7 | -8 | -9 | -10 | -11 | -12
1 | Peak Day | 30 | 19 | 28 | 26 | 4 | 26 | 11 | 20 | 13 | 4 | 1 | 17
2 | Peak Hour | 800 | 800 | 1800 | 1800 | 1700 | 1700 | 1700 | 1800 | 1700 | 1700 | 1700 | 2100
3 | Gross Monthly Peak Demand (MW) | 3409 | 3546 | 3117 | 3393 | 3632 | 3954 | 4144 | 4281 | 3987 | 3922 | 3097 | 3014
4 | Load Management Programs (MW) | 114 | 114 | 114 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 155 | 155
5 | Interruptible Load (MW) | 157 | 157 | 157 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 172 | 172
6 | Net Monthly Peak Demand (MW) | 3138 | 3275 | 2846 | 3147 | 3386 | 3708 | 3898 | 4035 | 3741 | 3676 | 2770 | 2687
7 | TECO-Owned Unit Generation (MW) | 4326 | 4326 | 4326 | 4202 | 4202 | 4202 | 4202 | 4202 | 4202 | 4202 | 4202 | 4604
8 | TECO-Owned Planned Maint (MW) | 50 | 0 | 68 | 0 | 437 | 80 | 50 | 124 | 124 | 50 | 821 | 50
9 | Other Unit Generation (MW) * | 801 | 801 | 801 | 601 | 601 | 601 | 601 | 601 | 601 | 601 | 601 | 769
10 | Other-Owned Planned Maint (MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | TECO Owned Net Capacity (MW) | 5077 | 5127 | 5059 | 4803 | 4366 | 4723 | 4753 | 4679 | 4679 | 4753 | 3982 | 5323
12 | Firm Cogeneration (MW) | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64
13 | Total Available Resources (MW) | 5141 | 5191 | 5123 | 4867 | 4430 | 4787 | 4817 | 4743 | 4743 | 4817 | 4046 | 5387
14 | Available Reserves (MW) | 2003 | 1916 | 2277 | 1720 | 1044 | 1079 | 919 | 708 | 1002 | 1141 | 1276 | 2700
15 | Reserve Margin | 63.83% | 58.5% | 80.01% | 54.66% | 30.83% | 29.1% | 23.58% | 17.55% | 26.78% | 31.04% | 46.06% | 100.5%
Source: TECO Reply to FIPUG 1st Set of POD, Item 8 and MFR E-18
* Includes all Hardee units, Calpine, PEF, and New Hope

## 2008 Not Used
TAMPA ELECTRIC COMPANY
2008 Forecast Monthly Reserve Margins
NOT USED…PEAK DEMANDS N/A FROM SAME SOURCE
Line | Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
|  | -1 | -2 | -3 | -4 | -5 | -6 | -7 | -8 | -9 | -10 | -11 | -12
1 | Peak Day
2 | Peak Hour
3 | Gross Monthly Peak Demand (MW) | 4607 | 3889 | 3540 | 3612 | 4016 | 4250 | 4389 | 4346 | 4151 | 3857 | 3464 | 3693
4 | Load Management Programs (MW) | 160 | 160 | 160 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 160 | 160
5 | Interruptible Load (MW) | 172 | 172 | 172 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 172 | 172
6 | Net Monthly Peak Demand (MW) ** | 4275 | 3557 | 3208 | 3367 | 3771 | 4005 | 4144 | 4101 | 3906 | 3612 | 3132 | 3361
7 | TECO-Owned Unit Generation (MW) | 4604 | 4604 | 4604 | 4202 | 4218 | 4218 | 4218 | 4218 | 4218 | 4405 | 4405 | 4405
8 | TECO-Owned Planned Maint (MW) | 397 | 415 | 397 | 387 | 0 | 0 | 0 | 0 | 0 | 59 | 612 | 0
9 | Other Unit Generation (MW) * | 769 | 769 | 769 | 684 | 684 | 684 | 684 | 684 | 684 | 684 | 684 | 890
10 | Other-Owned Planned Maint (MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | TECO Owned Net Capacity (MW) | 4976 | 4958 | 4976 | 4499 | 4902 | 4902 | 4902 | 4902 | 4902 | 5030 | 4477 | 5295
12 | Firm Cogeneration (MW) | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64
13 | Total Available Resources (MW) | 5040 | 5022 | 5040 | 4563 | 4966 | 4966 | 4966 | 4966 | 4966 | 5094 | 4541 | 5359
14 | Available Reserves (MW) | 765 | 1465 | 1832 | 1196 | 1195 | 961 | 822 | 865 | 1060 | 1482 | 1409 | 1998
15 | Reserve Margin | 17.89% | 41.19% | 57.11% | 35.52% | 31.69% | 24% | 19.84% | 21.09% | 27.14% | 41.03% | 44.99% | 59.45%
Source: TECO Reply to FIPUG 1st Set of POD, Item 8 and MFR E-18
* Includes all Hardee units, Calpine, Reliant, and PEF
** Source for Net Monthly Peak Demand is Exhibit E-18

## 2009 Not Used
TAMPA ELECTRIC COMPANY
2009 Monthly Reserve Margins
NOT USED…PEAK DEMANDS N/A FROM SAME SOURCE
Line | Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
|  | -1 | -2 | -3 | -4 | -5 | -6 | -7 | -8 | -9 | -10 | -11 | -12
1 | Peak Day
2 | Peak Hour
3 | Gross Monthly Peak Demand (MW) | 4677 | 3950 | 3600 | 3678 | 4079 | 4313 | 4458 | 4431 | 4245 | 3964 | 3571 | 3797
4 | Load Management Programs (MW) | 160 | 160 | 160 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 165 | 165
5 | Interruptible Load (MW) | 172 | 172 | 172 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 172 | 172
6 | Net Monthly Peak Demand (MW) ** | 4345 | 3618 | 3268 | 3426 | 3827 | 4061 | 4206 | 4179 | 3993 | 3712 | 3234 | 3460
7 | TECO-Owned Unit Generation (MW) | 4611 | 4611 | 4611 | 4202 | 4202 | 4202 | 4202 | 4202 | 4202 | 4202 | 4202 | 4795
8 | TECO-Owned Planned Maint (MW) | 395 | 668 | 1497 | 567 | 418 | 0 | 0 | 0 | 0 | 1087 | 1256 | 780
9 | Other Unit Generation (MW) * | 890 | 890 | 890 | 805 | 805 | 805 | 805 | 805 | 805 | 805 | 805 | 890
10 | Other-Owned Planned Maint (MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | TECO Owned Net Capacity (MW) | 5106 | 4833 | 4004 | 4440 | 4589 | 5007 | 5007 | 5007 | 5007 | 3920 | 3751 | 4905
12 | Firm Cogeneration (MW) | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64
13 | Total Available Resources (MW) | 5170 | 4897 | 4068 | 4504 | 4653 | 5071 | 5071 | 5071 | 5071 | 3984 | 3815 | 4969
14 | Available Reserves (MW) | 825 | 1279 | 800 | 1078 | 826 | 1010 | 865 | 892 | 1078 | 272 | 581 | 1509
15 | Reserve Margin | 18.99% | 35.35% | 24.48% | 31.47% | 21.58% | 24.87% | 20.57% | 21.34% | 27% | 7.328% | 17.97% | 43.61%
Source: TECO Reply to FIPUG 1st Set of POD, Item 8 and MFR E-18
* Includes all Hardee units, Calpine, Reliant, PEF, and Pasco.
** Source for Net Monthly Peak Demand is Exhibit E-18
Note: Other Unit Generation does not include 132 MWs of needed capacity.

## Worksheet 1
[16 empty] | Summer | Non-Sum | Winter
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Peak | Minimum | Average | Avg | Avg | Peak
Net Peak Load (MW)
2003 | 3455 | 2219 | 2580 | 2822 | 3204 | 3200 | 3351 | 3207 | 3157 | 3022 | 2701 | 2705 | 3455 | 2219 | 2968.5833 | 3228.75 | 2838.5 | 3455
2004 | 3054 | 2761 | 2262 | 2990 | 3329 | 3563 | 3441 | 3482 | 3375 | 3213 | 2759 | 3004 | 3563 | 2262 | 3102.75 | 3465.25 | 2921.5 | 3054
2005 | 3413 | 2537 | 2675 | 2819 | 3363 | 3639 | 3811 | 3852 | 3571 | 3366 | 2760 | 2868 | 3852 | 2537 | 3222.8333 | 3718.25 | 2975.125 | 3413
2006 | 2987 | 3690 | 2735 | 3343 | 3508 | 3706 | 3802 | 3893 | 3595 | 3420 | 2853 | 2525 | 3893 | 2525 | 3338.0833 | 3749 | 3132.625 | 3690
2007 | 3138 | 3275 | 2846 | 3147 | 3386 | 3708 | 3898 | 4035 | 3741 | 3676 | 2770 | 2687 | 4035 | 2687 | 3358.9167 | 3845.5 | 3115.625 | 3275
2008 | 4275 | 3557 | 3208 | 3367 | 3771 | 4005 | 4144 | 4101 | 3906 | 3612 | 3132 | 3361 | 4275 | 3132 | 3703.25 | 4039 | 3535.375 | 4275
2009 | 4345 | 3618 | 3268 | 3426 | 3827 | 4061 | 4206 | 4179 | 3993 | 3712 | 3234 | 3460 | 4345 | 3234 | 3777.4167 | 4109.75 | 3611.25 | 4345
Percent of Annual Peak | [12 empty] | Min to Max | Avg to Max | Summer to Non-Sum | Summer Avg to Peak | Non-Sum Avg to Peak | Difference
2003 | 100% | 64.23% | 74.67% | 81.68% | 92.74% | 92.62% | 96.99% | 92.82% | 91.37% | 87.47% | 78.18% | 78.29% | 64.23% | 85.92% | 13.75% | 93.45% | 82.16% | 11.3%
2004 | 85.71% | 77.49% | 63.49% | 83.92% | 93.43% | 100% | 96.58% | 97.73% | 94.72% | 90.18% | 77.43% | 84.31% | 63.49% | 87.08% | 18.61% | 97.26% | 82% | 15.26%
2005 | 88.6% | 65.86% | 69.44% | 73.18% | 87.31% | 94.47% | 98.94% | 100% | 92.71% | 87.38% | 71.65% | 74.45% | 65.86% | 83.67% | 24.98% | 96.53% | 77.24% | 19.29%
2006 | 76.73% | 94.79% | 70.25% | 85.87% | 90.11% | 95.2% | 97.66% | 100% | 92.35% | 87.85% | 73.29% | 64.86% | 64.86% | 85.75% | 19.68% | 96.3% | 80.47% | 15.83%
2007 | 77.77% | 81.16% | 70.53% | 77.99% | 83.92% | 91.9% | 96.6% | 100% | 92.71% | 91.1% | 68.65% | 66.59% | 66.59% | 83.24% | 23.43% | 95.3% | 77.21% | 18.09%
2008 | 100% | 83.2% | 75.04% | 78.76% | 88.21% | 93.68% | 96.94% | 95.93% | 91.37% | 84.49% | 73.26% | 78.62% | 73.26% | 86.63% | 14.25% | 94.48% | 82.7% | 11.78%
2009 | 100% | 83.27% | 75.21% | 78.85% | 88.08% | 93.46% | 96.8% | 96.18% | 91.9% | 85.43% | 74.43% | 79.63% | 74.43% | 86.94% | 13.8% | 94.59% | 83.11% | 11.47%
Net Reserves as a % of Net Peak Load | [12 empty] | Summer Avg | Non-Sum Avg | Summer to Non-Sum
2003 | 45.3% | 126.2% | 84.5% | 51.31% | 41.39% | 41.56% | 35.18% | 41.25% | 43.49% | 26.08% | 50.68% | 68.58% | 40.37% | 61.76% | 65.37%
2004 | 64.37% | 66.32% | 121.9% | 54.28% | 38.57% | 30.87% | 35.51% | 33.92% | 36.68% | 43.57% | 67.2% | 35.15% | 33.43% | 61.42% | 54.43%
2005 | 49.49% | 101.1% | 72.86% | 49.88% | 38.72% | 26.96% | 23.72% | 22.4% | 30.64% | 26.83% | 54.67% | 52.44% | 24.36% | 55.75% | 43.7%
2006 | 71.11% | 25.37% | 34.11% | 16.72% | 32.61% | 25.53% | 22.36% | 19.5% | 29.4% | 23.45% | 47.98% | 101.6% | 22.46% | 44.12% | 50.9%
2007 | 63.83% | 58.5% | 80.01% | 54.66% | 30.83% | 29.1% | 23.58% | 17.55% | 26.78% | 31.04% | 46.06% | 100.5% | 23.41% | 58.18% | 40.23%
2008 | 17.89% | 41.19% | 57.11% | 35.52% | 31.69% | 24% | 19.84% | 21.09% | 27.14% | 41.03% | 44.99% | 59.45% | 21.64% | 41.11% | 52.64%
2009 | 18.99% | 35.35% | 24.48% | 31.47% | 21.58% | 24.87% | 20.57% | 21.34% | 27% | 7.328% | 17.97% | 43.61% | 22.26% | 25.1% | 88.7%
EIA-411 Submission |  |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Forecast Summer Peak
Forecast Winter Peak
Summer/Winter Differential
Year |  | Avg MW | 2006: Peak MW; 2007: Annual LF
2003 |  | 2080.5936 | 2006: 3455; 2007: 60.22%
2004 |  | 2104.6804 | 2006: 3563; 2007: 59.07%
2005 |  | 2158.79 | 2006: 3852; 2007: 56.04%
2006 |  | 2171.8037 | 2006: 3893; 2007: 55.79%
2007 |  | 2229.7945 | 2006: 4035; 2007: 55.26%
2008 |  | 2323.0594 | 2006: 4275; 2007: 54.34%
2009 |  | 2386.758 | 2006: 4345; 2007: 54.93%

## Graph data
GRAPH DATA - MONTHLY PEAKS
Blue & Red = Monthly Peaks
Blue = Monthly Peak Demand up to 0.9000
Red = Amount over 0.9000
Year | Description | J | F | M | A | M | J | J | A | S | O | N | D
|  | (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12)
2003 | Blue & Red | 100% | 64.23% | 74.67% | 81.68% | 92.74% | 92.62% | 96.99% | 92.82% | 91.37% | 87.47% | 78.18% | 78.29%
| Blue | 90% | 64.23% | 74.67% | 81.68% | 90% | 90% | 90% | 90% | 90% | 87.47% | 78.18% | 78.29%
| Red | 10% | 0% | 0% | 0% | 2.735% | 2.619% | 6.99% | 2.822% | 1.375% | 0% | 0% | 0%
| Color Codes (Blue) | 2 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
2004 | Blue & Red | 85.71% | 77.49% | 63.49% | 83.92% | 93.43% | 100% | 96.58% | 97.73% | 94.72% | 90.18% | 77.43% | 84.31%
| Blue | 85.71% | 77.49% | 63.49% | 83.92% | 90% | 90% | 90% | 90% | 90% | 90% | 77.43% | 84.31%
| Red | 0% | 0% | 0% | 0% | 3.433% | 10% | 6.576% | 7.727% | 4.724% | 0.1768% | 0% | 0%
| Color Codes (Blue) | 4 | 4 | 4 | 4 | 4 | 2 | 4 | 4 | 4 | 4 | 4 | 4
2005 | Blue & Red | 88.6% | 65.86% | 69.44% | 73.18% | 87.31% | 94.47% | 98.94% | 100% | 92.71% | 87.38% | 71.65% | 74.45%
| Blue | 88.6% | 65.86% | 69.44% | 73.18% | 87.31% | 90% | 90% | 90% | 90% | 87.38% | 71.65% | 74.45%
| Red | 0% | 0% | 0% | 0% | 0% | 4.47% | 8.936% | 10% | 2.705% | 0% | 0% | 0%
| Color Codes (Blue) | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 2 | 4 | 4 | 4 | 4
2006 | Blue & Red | 76.73% | 94.79% | 70.25% | 85.87% | 90.11% | 95.2% | 97.66% | 100% | 92.35% | 87.85% | 73.29% | 64.86%
| Blue | 76.73% | 90% | 70.25% | 85.87% | 90% | 90% | 90% | 90% | 90% | 87.85% | 73.29% | 64.86%
| Red | 0% | 4.786% | 0% | 0% | 0.1105% | 5.197% | 7.662% | 10% | 2.345% | 0% | 0% | 0%
| Color Codes (Blue) | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 2 | 4 | 4 | 4 | 4
2007 | Blue & Red | 77.77% | 81.16% | 70.53% | 77.99% | 83.92% | 91.9% | 96.6% | 100% | 92.71% | 91.1% | 68.65% | 66.59%
| Blue | 77.77% | 81.16% | 70.53% | 77.99% | 83.92% | 90% | 90% | 90% | 90% | 90% | 68.65% | 66.59%
| Red | 0% | 0% | 0% | 0% | 0% | 1.896% | 6.605% | 10% | 2.714% | 1.103% | 0% | 0%
| Color Codes (Blue) | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 2 | 4 | 4 | 4 | 4
Forecast 2008 | Blue & Red | 100% | 83.2% | 75.04% | 78.76% | 88.21% | 93.68% | 96.94% | 95.93% | 91.37% | 84.49% | 73.26% | 78.62%
| Blue | 90% | 83.2% | 75.04% | 78.76% | 88.21% | 90% | 90% | 90% | 90% | 84.49% | 73.26% | 78.62%
| Red | 10% | 0% | 0% | 0% | 0% | 3.684% | 6.936% | 5.93% | 1.368% | 0% | 0% | 0%
| Color Codes (Blue) | 2 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
Forecast 2009 | Blue & Red | 100% | 83.27% | 75.21% | 78.85% | 88.08% | 93.46% | 96.8% | 96.18% | 91.9% | 85.43% | 74.43% | 79.63%
| Blue | 90% | 83.27% | 75.21% | 78.85% | 88.08% | 90% | 90% | 90% | 90% | 85.43% | 74.43% | 79.63%
| Red | 10% | 0% | 0% | 0% | 0% | 3.464% | 6.801% | 6.18% | 1.899% | 0% | 0% | 0%
| Color Codes (Blue) | 2 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
2009 | Blue & Red | bar: J (1) to D (12)
Blue | bar: J (1) to D (12)
Red | bar: J (1) to D (12)
| Color Codes (Blue) | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
Years in | Utility | J | F | M | A | M | J | J | A | S | O | N | D
Analysis | Company
2003 | TAMPA ELECTRIC COMPANY
2004
2005 | Percent Threshold = | F: 90%
2006
2007
Forecast 2008
Forecast 2009
for the Years 2003-2007

## E-18
SCHEDULE E-18 | [9 empty] | Page 1 of 2
FLORIDA PUBLIC SERVICE COMMISSION |  | EXPLANATION: | Provide monthly peaks for the test year and the five previous years. |  |  |  | Type of data shown:
[7 empty] | XX | Projected Test Year Ended 12/31/2009
COMPANY: TAMPA ELECTRIC COMPANY | [6 empty] | XX | Projected Prior Year Ended 12/31/2008
[7 empty] | XX | Historical Prior Year Ended 12/31/2007
DOCKET No. 080317-EI | [7 empty] | Witness: L.L. Cifuentes
Total
Line |  | Retail |  |  |  | Actual (A) or
No. | Month & Year | Peak (MW) | Day of Week | Day of Month | Hour | Estimated (E)
[8 empty] | RFI Response | Testimony | 10-Year Plan
1 | [7 empty] | Retail Peaks | Firm Peaks | Total - Interr
2 | 2004-01-02 | 3344 | Thursday | 29 | 800 | (A) | 2003 |  | 3686 | 3686 |  | Total | Interruptible | Load Mgmt | Firm |  | 2007 Peaks
3 | 2004-02-02 | 3053 | Thursday | 19 | 800 | (A) | 2004 | 3737 | 4160 | 3560 | 2003 | 3881 | 195 | 231.0891 | 3454.9109 |  | (d)
4 | 2004-03-02 | 2561 | Friday | 5 | 1700 | (A) | 2005 | 3968 | 4210 | 3824 | 2004 | 3344 | 254 | 154.6593 | 2935.3407 |  | 3409 | 157 | 3252
5 | 2004-04-02 | 3168 | Friday | 30 | 1700 | (A) | 2006 | 4010 | 4251 | 3864 | 2005 | 3686 | 194 | 227.952 | 3264.048 |  | 3546 | 157 | 3389
6 | 2004-05-02 | 3504 | Wednesday | 26 | 1700 | (A) | 2007 | 4123 | 4348 | 3964 | 2006 | 3736 | 51 | 162 | 3523 |  | 3117 | 157 | 2960
7 | 2004-06-02 | 3737 | Wednesday | 23 | 1700 | (A) | 2008 | 4275 | 4103 | 3975 | 2007 | 3398 | 157 | 114 | 3127 |  | 3393 | 159 | 3234
8 | 2004-07-02 | 3617 | Friday | 9 | 1700 | (A) | 2009 | 4345 | 4173 | 4172 | 2008 | 3709 | 120 | 147 | 3442 |  | 3632 | 159 | 3473
9 | 2004-08-02 | 3668 | Thursday | 19 | 1700 | (A) |  |  |  |  | 2009 | 4345 | 173 | 151.7515 | 4020.2485 |  | 3954 | 159 | 3795
10 | 2004-09-02 | 3553 | Wednesday | 1 | 1600 | (A) |  |  |  |  | 2010 | 4419 | 173 | 157.6614 | 4088.3386 |  | 4144 | 159 | 3985
11 | 2004-10-02 | 3390 | Monday | 4 | 1700 | (A) | [10 empty] | 4281 | 159 | 4122
12 | 2004-11-02 | 3044 | Wednesday | 3 | 1600 | (A) | [5 empty] | Total - Interr |  |  |  |  | 3987 | 159 | 3828
13 | 2004-12-02 | 3287 | Wednesday | 15 | 800 | (A) |  |  |  |  | 2003 | 3686 |  |  |  |  | 3922 | 159 | 3763
14 | 2005-01-02 | 3686 | Monday | 24 | 800 | (A) |  |  |  |  | 2004 | 3090 |  |  |  |  | 3097 | 159 | 2938
15 | 2005-02-02 | 2816 | Friday | 11 | 800 | (A) |  |  |  |  | 2005 | 3492 |  |  |  |  | 3014 | 172 | 2842
16 | 2005-03-02 | 2955 | Thursday | 3 | 2000 | (A) |  |  |  |  | 2006 | 3685
17 | 2005-04-02 | 2942 | Friday | 1 | 1600 | (A) |  |  |  |  | 2007 | 3241
18 | 2005-05-02 | 3485 | Monday | 30 | 1800 | (A) |  |  |  |  | 2008 | 3589
19 | 2005-06-02 | 3756 | Wednesday | 15 | 1700 | (A) |  |  |  |  | 2009 | 4172
20 | 2005-07-02 | 3930 | Wednesday | 20 | 1700 | (A) |  |  |  |  | 2010 | 4246
21 | 2005-08-02 | 3968 | Friday | 19 | 1600 | (A)
22 | 2005-09-02 | 3691.4444 | Monday | 19 | 1800 | (A) |  |  |  |  | 2003 | 3623 | 188 | 84.088 | 3350.912
23 | 2005-10-02 | 3482 | Monday | 3 | 1700 | (A) |  |  |  |  | 2004 | 3737 | 177 | 115.2154 | 3444.7846
24 | 2005-11-02 | 2842 | Tuesday | 8 | 1900 | (A) |  |  |  |  | 2005 | 3968 | 144 | 98 | 3726
25 | 2005-12-02 | 3027 | Thursday | 22 | 800 | (A) |  |  |  |  | 2006 | 4010 | 146 | 95 | 3769
26 | 2006-01-02 | 3041 | Thursday | 19 | 800 | (A) |  |  |  |  | 2007 | 4123 | 159 | 87 | 3877
27 | 2006-02-02 | 3736 | Tuesday | 14 | 800 | (A) |  |  |  |  | 2008 | 4149 | 174 | 81.3833 | 3893.6167
28 | 2006-03-02 | 2787 | Monday | 13 | 1700 | (A) |  |  |  |  | 2009 | 4206 | 176 | 87.0185 | 3942.9815
29 | 2006-04-02 | 3432.806 | Thursday | 20 | 1700 | (A) |  |  |  |  | 2010 | 4290 | 176 | 94.1523 | 4019.8477
30 | 2006-05-02 | 3628 | Wednesday | 31 | 1800 | (A)
31 | 2006-06-02 | 3824 | Wednesday | 21 | 1800 | (A) |  |  |  |  | 2003 | 3435
32 | 2006-07-02 | 3919 | Wednesday | 26 | 1700 | (A) |  |  |  |  | 2004 | 3560
33 | 2006-08-02 | 4010 | Wednesday | 2 | 1700 | (A) |  |  |  |  | 2005 | 3824
34 | 2006-09-02 | 3714 | Monday | 18 | 1700 | (A) |  |  |  |  | 2006 | 3864
35 | 2006-10-02 | 3540 | Thursday | 19 | 1600 | (A) |  |  |  |  | 2007 | 3964
36 | 2006-11-02 | 2978 | Wednesday | 1 | 1700 | (A) |  |  |  |  | 2008 | 3975
37 | 2006-12-02 | 2679 | Monday | 18 | 1900 | (A) |  |  |  |  | 2009 | 4030
38 | [10 empty] | 2010 | 4114
39
Supporting Schedules: | [7 empty] | Recap Schedules:
SCHEDULE E-18 | [9 empty] | Page 2 of 2
FLORIDA PUBLIC SERVICE COMMISSION |  | EXPLANATION: | Provide monthly peaks for the test year and the five previous years. |  |  |  | Type of data shown:
[7 empty] | XX | Projected Test Year Ended 12/31/2009
COMPANY: TAMPA ELECTRIC COMPANY | [6 empty] | XX | Projected Prior Year Ended 12/31/2008
[7 empty] | XX | Historical Prior Year Ended 12/31/2007
DOCKET No. 080317-EI | [7 empty] | Witness: L.L. Cifuentes
Total
Line |  | Retail |  |  |  | Actual (A) or
No. | Month & Year | Peak (MW) | Day of Week | Day of Month | Hour | Estimated (E)
1
2 | 2007-01-02 | 3263 | Tuesday | 30 | 800 | (A)
3 | 2007-02-02 | 3398 | Monday | 19 | 800 | (A)
4 | 2007-03-02 | 2975 | Wednesday | 28 | 1800 | (A)
5 | 2007-04-02 | 3249 | Thursday | 26 | 1800 | (A)
6 | 2007-05-02 | 3486 | Friday | 4 | 1700 | (A)
7 | 2007-06-02 | 3808 | Tuesday | 26 | 1700 | (A)
8 | 2007-07-02 | 3985 | Wednesday | 11 | 1700 | (A)
9 | 2007-08-02 | 4123 | Monday | 20 | 1800 | (A)
10 | 2007-09-02 | 3839 | Thursday | 13 | 1700 | (A)
11 | 2007-10-02 | 3773 | Thursday | 4 | 1700 | (A)
12 | 2007-11-02 | 2956.1576 | Thursday | 1 | 1700 | (A)
13 | 2007-12-02 | 2870.9401 | Monday | 17 | 2100 | (A)
14 | 2008-01-01 | 4275 | NA | NA | NA | (E)
15 | 2008-02-08 | 3557 | NA | NA | NA | (E)
16 | 2008-03-08 | 3208 | NA | NA | NA | (E)
17 | 2008-04-08 | 3367 | NA | NA | NA | (E)
18 | 2008-05-08 | 3771 | NA | NA | NA | (E)
19 | 2008-06-08 | 4005 | NA | NA | NA | (E)
20 | 2008-07-08 | 4144 | NA | NA | NA | (E)
21 | 2008-08-08 | 4101 | NA | NA | NA | (E)
22 | 2008-09-08 | 3906 | NA | NA | NA | (E)
23 | 2008-10-08 | 3612 | NA | NA | NA | (E)
24 | 2008-11-08 | 3132 | NA | NA | NA | (E)
25 | 2008-12-08 | 3361 | NA | NA | NA | (E)
26 | 2009-01-01 | 4345 | NA | NA | NA | (E)
27 | 2009-02-08 | 3618 | NA | NA | NA | (E)
28 | 2009-03-08 | 3268 | NA | NA | NA | (E)
29 | 2009-04-08 | 3426 | NA | NA | NA | (E)
30 | 2009-05-08 | 3827 | NA | NA | NA | (E)
31 | 2009-06-08 | 4061 | NA | NA | NA | (E)
32 | 2009-07-08 | 4206 | NA | NA | NA | (E)
33 | 2009-08-08 | 4179 | NA | NA | NA | (E)
34 | 2009-09-08 | 3993 | NA | NA | NA | (E)
35 | 2009-10-08 | 3712 | NA | NA | NA | (E)
36 | 2009-11-08 | 3234 | NA | NA | NA | (E)
37 | 2009-12-08 | 3460 | NA | NA | NA | (E)
38
39
Supporting Schedules: | [7 empty] | Recap Schedules:
| 2004-01-02 | 2004-03-02 | 2004-05-02 | 2004-07-02 | 2004-10-02 | 2005-01-02 | 2005-02-02 | 2005-03-02 | 2005-04-02 | 2005-05-02 | 2005-06-02 | 2005-07-02 | 2005-08-02 | 2005-09-02 | 2005-10-02 | 2005-11-02 | 2005-12-02 | 2006-01-02 | 2006-02-02 | 2006-03-02 | 2006-04-02 | 2006-05-02 | 2006-06-02 | 2006-07-02 | 2006-08-02 | 2006-09-02 | 2006-10-02 | 2006-11-02 | 2006-12-02
| 3344 | 2561 | 3504 | 3617 | 3390 | 3686 | 2816 | 2955 | 2942 | 3485 | 3756 | 3930 | 3968 | 3691.4444 | 3482 | 2842 | 3027 | 3041 | 3736 | 2787 | 3432.806 | 3628 | 3824 | 3919 | 4010 | 3714 | 3540 | 2978 | 2679
| 2007-01-02 | 2007-03-02 | 2007-05-02 | 2007-07-02 | 2007-10-02 | 2008-01-01 | 2008-02-08 | 2008-03-08 | 2008-04-08 | 2008-05-08 | 2008-06-08 | 2008-07-08 | 2008-08-08 | 2008-09-08 | 2008-10-08 | 2008-11-08 | 2008-12-08 | 2009-01-01 | 2009-02-08 | 2009-03-08 | 2009-04-08 | 2009-05-08 | 2009-06-08 | 2009-07-08 | 2009-08-08 | 2009-09-08 | 2009-10-08 | 2009-11-08 | 2009-12-08
| 3263 | 2975 | 3486 | 3985 | 3773 | 4275 | 3557 | 3208 | 3367 | 3771 | 4005 | 4144 | 4101 | 3906 | 3612 | 3132 | 3361 | 4345 | 3618 | 3268 | 3426 | 3827 | 4061 | 4206 | 4179 | 3993 | 3712 | 3234 | 3460

## 10-Year Site Plan Data
Retiring Plants 2009
New Plant Additions 2009
CoGen Firm MWs
941
| -136 | not specified
805

## Load Factor
Source: TECO 10-Year Site Plan 2008 |  |  |  | Schedule 3.3
History and Forecast of Annual Net Energy for Load .. GWh
Base Case
1998 | 16400 | 297 | 76 | 16028 | 431 | 783 | 17242 | 69.7
1999 | 16212 | 315 | 92 | 15805 | 533 | 900 | 17238 | 55.1
2000 | 17083 | 333 | 112 | 16638 | 763 | 972 | 18373 | 60.1
2001 | 17444 | 346 | 122 | 16976 | 684 | 794 | 18454 | 53.3
2002 | 18423 | 361 | 137 | 17925 | 502 | 935 | 19362 | 58.9
2003 | 18756 | 378 | 152 | 18226 | 587 | 985 | 19799 | 60.4
2004 | 18999 | 394 | 168 | 18437 | 589 | 945 | 19971 | 65.6
2005 | 19491 | 404 | 176 | 18911 | 712 | 952 | 20575 | 57.3
2006 | 19625 | 412 | 188 | 19025 | 700 | 1000 | 20725 | 57.2
2007 | 20153 | 421 | 200 | 19533 | 829 | 916 | 21278 | 56.6
2008 | 20976 | 427 | 199 | 20350 | 652 | 1046 | 22048 | 54
2009 | 21546 | 434 | 204 | 20908 | 603 | 1075 | 22586 | 54.2
2010 | 22047 | 441 | 210 | 21396 | 602 | 1100 | 23099 | 54
2011 | 22572 | 448 | 215 | 21909 | 277 | 1126 | 23312 | 53.1
2012 | 23175 | 454 | 221 | 22500 | 217 | 1156 | 23873 | 53.6
2013 | 23764 | 460 | 227 | 23077 | 143 | 1186 | 24405 | 53.6
2014 | 24390 | 467 | 231 | 23692 | 87 | 1218 | 24996 | 53.6
2015 | 24972 | 473 | 235 | 24264 | 87 | 1247 | 25598 | 53.4
2016 | 25582 | 479 | 239 | 24863 | 87 | 1277 | 26228 | 53.1
2017 | 26184 | 485 | 243 | 25456 | 87 | 1308 | 26851 | 53.1
December 31, 2007 Status
Includes sales to Progress Energy Florida, Wauchula, Ft. Meade, St. Cloud and Reedy Creek.
Load Factor is the ratio of total system average load to peak demand.

## Form 1 Pg 401b
2007 | Name of Respondent |  |  |  | This Report is: | Date of Report | Year/Period of Report
Page 401b |  |  |  |  | (1) An original | (Mo, Da, Yr)
| Tampa Electric Company |  |  |  |  | 2008-04-18 | End of | 2007/Q4
(1) Report the monthly peak load and energy output. If the respondent has two or more power which are not physically integrated, furnish the required
information for each non- integrated system.
(2) Report on line 2 by month the system's output in Megawatt hours for each month.
(3) Report on line 3 by month the non-requirements sales for resale. Include in the monthly amounts any energy losses associated with the sales.
(4) Report on line 4 by month the system's monthly maximum megawatt load (60 minute integration) associated with the system.
(5) Report on lines 5 and 6 the specified information for each monthly peak load reported on line 4.
| NAME OF SYSTEM: |  | Tampa Electric Co.
| Line |  |  |  | Monthly Non-Requirements | MONTHLY PEAK |  |  | Reformat Data:
[5 empty] | Sales for Resale & | Megawatts
| No. | Month | Total Monthly Energy |  | Associated Losses | (See Instr. 4) | Day of Month | Hour
|  | (a) |  | (b) | (c) | (d) | (e) | (f) | 2007 | January | February | March | April | May | June | July | August | September | October | November | December
| 29 | January |  | 1564258 | 27133 | 3409 | 30 | 800
| 30 | February |  | 1469978 | 14815 | 3546 | 19 | 800 | Total Monthly Energy | 1564258 | 1469978 | 1565949 | 1597994 | 1844652 | 1965580 | 2117562 | 2260614 | 2002270 | 1936118 | 1510592 | 1559740
| 31 | March |  | 1565949 | 15986 | 3117 | 28 | 1800 | Monthly Non-Requirements Sales | 27133 | 14815 | 15986 | 17010 | 10520 | 9299 | 10427 | 9312 | 9603 | 12863 | 34473 | 13254
| 32 | April |  | 1597994 | 17010 | 3393 | 26 | 1800
| 33 | May |  | 1844652 | 10520 | 3632 | 4 | 1700 | Monthly Peak
| 34 | June |  | 1965580 | 9299 | 3954 | 26 | 1700 | Megawatts | 3409 | 3546 | 3117 | 3393 | 3632 | 3954 | 4144 | 4281 | 3987 | 3922 | 3097 | 3014
| 35 | July |  | 2117562 | 10427 | 4144 | 11 | 1700 | Day of Month | 30 | 19 | 28 | 26 | 4 | 26 | 11 | 20 | 13 | 4 | 1 | 17
| 36 | August |  | 2260614 | 9312 | 4281 | 20 | 1800 | Hour | 800 | 800 | 1800 | 1800 | 1700 | 1700 | 1700 | 1800 | 1700 | 1700 | 1700 | 2100
| 37 | September |  | 2002270 | 9603 | 3987 | 13 | 1700
| 38 | October |  | 1936118 | 12863 | 3922 | 4 | 1700
| 39 | November |  | 1510592 | 34473 | 3097 | 1 | 1700
| 40 | December |  | 1559740 | 13254 | 3014 | 17 | 2100
| 41 | TOTAL |  | 21395307 | 184695
2006 | Name of Respondent |  |  |  | This Report is: | Date of Report | Year/Period of Report
Page 401b |  |  |  |  | (1) An original | (Mo, Da, Yr)
| Tampa Electric Company |  |  |  |  | 2007-04-30 |  | 2006/Q4
(1) Report the monthly peak load and energy output. If the respondent has two or more power which are not physically integrated, furnish the required
information for each non- integrated system.
(2) Report on line 2 by month the system's output in Megawatt hours for each month.
(3) Report on line 3 by month the non-requirements sales for resale. Include in the monthly amounts any energy losses associated with the sales.
(4) Report on line 4 by month the system's monthly maximum megawatt load (60 minute integration) associated with the system.
(5) Report on lines 5 and 6 the specified information for each monthly peak load reported on line 4.
| NAME OF SYSTEM: |  | Tampa Electric Co.
| Line |  |  |  | Monthly Non-Requirements | MONTHLY PEAK
[5 empty] | Sales for Resale & | Megawatts
| No. | Month | Total Monthly Energy |  | Associated Losses | (See Instr. 4) | Day of Month | Hour
|  | (a) |  | (b) | (c) | (d) | (e) | (f) | 2006 | January | February | March | April | May | June | July | August | September | October | November | December
| 29 | January |  | 1567085 | 21852 | 3200 | 19 | 800
| 30 | February |  | 1424083 | 13152 | 3903 | 14 | 800 | Total Monthly Energy | 1567085 | 1424083 | 1541581 | 1662872 | 1850399 | 1989446 | 2053974 | 2149979 | 1928749 | 1745530 | 1509345 | 1538522
| 31 | March |  | 1541581 | 21410 | 2948 | 13 | 1700 | Monthly Non-Requirements Sales | 21852 | 13152 | 21410 | 20048 | 14578 | 18127 | 9491 | 10248 | 9398 | 10736 | 18776 | 12363
| 32 | April |  | 1662872 | 20048 | 3584 | 20 | 1700
| 33 | May |  | 1850399 | 14578 | 3749 | 31 | 1800 | Monthly Peak
| 34 | June |  | 1989446 | 18127 | 3947 | 21 | 1800 | Megawatts | 3200 | 3903 | 2948 | 3584 | 3749 | 3947 | 4043 | 4134 | 3836 | 3661 | 3124 | 2796
| 35 | July |  | 2053974 | 9491 | 4043 | 26 | 1700 | Day of Month | 19 | 14 | 13 | 20 | 31 | 21 | 26 | 2 | 18 | 19 | 1 | 18
| 36 | August |  | 2149979 | 10248 | 4134 | 2 | 1700 | Hour | 800 | 800 | 1700 | 1700 | 1800 | 1800 | 1700 | 1700 | 1700 | 1600 | 1700 | 1900
| 37 | September |  | 1928749 | 9398 | 3836 | 18 | 1700
| 38 | October |  | 1745530 | 10736 | 3661 | 19 | 1600
| 39 | November |  | 1509345 | 18776 | 3124 | 1 | 1700
| 40 | December |  | 1538522 | 12363 | 2796 | 18 | 1900
| 41 | TOTAL |  | 20961565 | 180179
2005 | Name of Respondent |  |  |  | This Report is: | Date of Report | Year/Period of Report
Page 401b |  |  |  |  | (1) An original | (Mo, Da, Yr)
| Tampa Electric Company |  |  |  |  | 2006-04-14 |  | 2005/Q4
(1) Report the monthly peak load and energy output. If the respondent has two or more power which are not physically integrated, furnish the required
information for each non- integrated system.
(2) Report on line 2 by month the system's output in Megawatt hours for each month.
(3) Report on line 3 by month the non-requirements sales for resale. Include in the monthly amounts any energy losses associated with the sales.
(4) Report on line 4 by month the system's monthly maximum megawatt load (60 minute integration) associated with the system.
(5) Report on lines 5 and 6 the specified information for each monthly peak load reported on line 4.
| NAME OF SYSTEM: |  | Tampa Electric Co.
| Line |  |  |  | Monthly Non-Requirements | MONTHLY PEAK
[5 empty] | Sales for Resale & | Megawatts
| No. | Month | Total Monthly Energy |  | Associated Losses | (See Instr. 4) | Day of Month | Hour
|  | (a) |  | (b) | (c) | (d) | (e) | (f) | 2005 | January | February | March | April | May | June | July | August | September | October | November | December
| 29 | January |  | 1550186 | 9649 | 3812 | 24 | 800
| 30 | February |  | 1346308 | 3540 | 2936 | 11 | 800 | Total Monthly Energy | 1550186 | 1346308 | 1530675 | 1478202 | 1801959 | 1904188 | 2140164 | 2197145 | 1967419 | 1799848 | 1457672 | 1510934
| 31 | March |  | 1530675 | 6948 | 3074 | 3 | 2000 | Monthly Non-Requirements Sales | 9649 | 3540 | 6948 | 2364 | 18910 | 13872 | 4197 | 3214 | 4487 | 1902 | 8115 | 2593
| 32 | April |  | 1478202 | 2364 | 3061 | 1 | 1600
| 33 | May |  | 1801959 | 18910 | 3605 | 30 | 1800 | Monthly Peak
| 34 | June |  | 1904188 | 13872 | 3881 | 15 | 1700 | Megawatts | 3812 | 2936 | 3074 | 3061 | 3605 | 3881 | 4053 | 4094 | 3813 | 3608 | 2973 | 3081
| 35 | July |  | 2140164 | 4197 | 4053 | 20 | 1700 | Day of Month | 24 | 11 | 3 | 1 | 30 | 15 | 20 | 19 | 19 | 3 | 8 | 22
| 36 | August |  | 2197145 | 3214 | 4094 | 19 | 1600 | Hour | 800 | 800 | 2000 | 1600 | 1800 | 1700 | 1700 | 1600 | 1800 | 1700 | 1900 | 800
| 37 | September |  | 1967419 | 4487 | 3813 | 19 | 1800
| 38 | October |  | 1799848 | 1902 | 3608 | 3 | 1700
| 39 | November |  | 1457672 | 8115 | 2973 | 8 | 1900
| 40 | December |  | 1510934 | 2593 | 3081 | 22 | 800
| 41 | TOTAL |  | 20684700 | 79791
2004 | Name of Respondent |  |  |  | This Report is: | Date of Report | Year/Period of Report
Page 401b |  |  |  |  | (1) An original | (Mo, Da, Yr)
| Tampa Electric Company |  |  |  |  | 2005-04-22 |  | 2004/Q4
(1) Report the monthly peak load and energy output. If the respondent has two or more power which are not physically integrated, furnish the required
information for each non- integrated system.
(2) Report on line 2 by month the system's output in Megawatt hours for each month.
(3) Report on line 3 by month the non-requirements sales for resale. Include in the monthly amounts any energy losses associated with the sales.
(4) Report on line 4 by month the system's monthly maximum megawatt load (60 minute integration) associated with the system.
(5) Report on lines 5 and 6 the specified information for each monthly peak load reported on line 4.
| NAME OF SYSTEM: |  | Tampa Electric Co.
| Line |  |  |  | Monthly Non-Requirements | MONTHLY PEAK
[5 empty] | Sales for Resale & | Megawatts
| No. | Month | Total Monthly Energy |  | Associated Losses | (See Instr. 4) | Day of Month | Hour
|  | (a) |  | (b) | (c) | (d) | (e) | (f) | 2004 | January | February | March | April | May | June | July | August | September | October | November | December
| 29 | January |  | 1542997 | 2525 | 3462 | 29 | 8:00
| 30 | February |  | 1360548 | 3883 | 3169 | 19 | 8:00 | Total Monthly Energy | 1542997 | 1360548 | 1488230 | 1454785 | 1803339 | 1943632 | 1958461 | 1959493 | 1792399 | 1760643 | 1458289 | 1571329
| 31 | March |  | 1488230 | 42426 | 2670 | 5 | 17:00 | Monthly Non-Requirements Sales | 2525 | 3883 | 42426 | 2572 | 606 | 2727 | 7409 | 7812 | 3760 | 6371 | 7674 | 3277
| 32 | April |  | 1454785 | 2572 | 3282 | 30 | 17:00
| 33 | May |  | 1803339 | 606 | 3621 | 26 | 17:00 | Monthly Peak
| 34 | June |  | 1943632 | 2727 | 3855 | 23 | 17:00 | Megawatts | 3462 | 3169 | 2670 | 3282 | 3621 | 3855 | 3733 | 3774 | 3667 | 3505 | 3158 | 3403
| 35 | July |  | 1958461 | 7409 | 3733 | 9 | 17:00 | Day of Month | 29 | 19 | 5 | 30 | 26 | 23 | 9 | 31 | 1 | 4 | 3 | 15
| 36 | August |  | 1959493 | 7812 | 3774 | 31 | 16:00 | Hour | 800 | 800 | 1700 | 1700 | 1700 | 1700 | 1700 | 1600 | 1600 | 1700 | 1600 | 800
| 37 | September |  | 1792399 | 3760 | 3667 | 1 | 16:00
| 38 | October |  | 1760643 | 6371 | 3505 | 4 | 17:00
| 39 | November |  | 1458289 | 7674 | 3158 | 3 | 16:00
| 40 | December |  | 1571329 | 3277 | 3403 | 15 | 8:00
| 41 | TOTAL |  | 20094145 | 91042
2003 | Name of Respondent |  |  |  | This Report is: | Date of Report | Year/Period of Report
Page 401b | [5 empty] | (Mo, Da, Yr)
| Tampa Electric Company |  |  |  |  | 2005-04-22 |  | Dec. 31, 2003
(1) Report the monthly peak load and energy output. If the respondent has two or more power which are not physically integrated, furnish the required
information for each non- integrated system.
(2) Report on line 2 by month the system's output in Megawatt hours for each month.
(3) Report on line 3 by month the non-requirements sales for resale. Include in the monthly amounts any energy losses associated with the sales.
(4) Report on line 4 by month the system's monthly maximum megawatt load (60 minute integration) associated with the system.
(5) Report on lines 5 and 6 the specified information for each monthly peak load reported on line 4.
| NAME OF SYSTEM: |  | Tampa Electric Co.
| Line |  |  |  | Monthly Non-Requirements | MONTHLY PEAK
[5 empty] | Sales for Resale & | Megawatts
| No. | Month | Total Monthly Energy |  | Associated Losses | (See Instr. 4) | Day of Month | Hour
|  | (a) |  | (b) | (c) | (d) | (e) | (f) | 2003 | January | February | March | April | May | June | July | August | September | October | November | December
| 29 | January |  | 1660337 | 8631 | 3881 | 24 | 8:00
| 30 | February |  | 1289175 | 11103 | 2645 | 3 | 8:00 | Total Monthly Energy | 1660337 | 1289175 | 1541098 | 1511300 | 1887061 | 1796643 | 1931013 | 1867097 | 1795787 | 1653497 | 1469757 | 1514401
| 31 | March |  | 1541098 | 44532 | 3006 | 20 | 16:00 | Monthly Non-Requirements Sales | 8631 | 11103 | 44532 | 16184 | 14651 | 3964 | 4875 | 3982 | 2643 | 2595 | 2162 | 3691
| 32 | April |  | 1511300 | 16184 | 3094 | 7 | 18:00
| 33 | May |  | 1887061 | 14651 | 3476 | 9 | 17:00 | Monthly Peak
| 34 | June |  | 1796643 | 3964 | 3472 | 11 | 16:00 | Megawatts | 3881 | 2645 | 3006 | 3094 | 3476 | 3472 | 3623 | 3479 | 3429 | 3294 | 3109 | 3113
| 35 | July |  | 1931013 | 4875 | 3623 | 8 | 17:00 | Day of Month | 24 | 3 | 20 | 7 | 9 | 11 | 8 | 12 | 24 | 13 | 5 | 21
| 36 | August |  | 1867097 | 3982 | 3479 | 12 | 18:00 | Hour | 800 | 800 | 1600 | 1800 | 1700 | 1600 | 1700 | 1800 | 1800 | 1700 | 1500 | 900
| 37 | September |  | 1795787 | 2643 | 3429 | 24 | 18:00
| 38 | October |  | 1653497 | 2595 | 3294 | 13 | 17:00
| 39 | November |  | 1469757 | 2162 | 3109 | 5 | 15:00
| 40 | December |  | 1514401 | 3691 | 3113 | 21 | 9:00
| 41 | TOTAL |  | 19917166 | 119013

## PM 2008-09
TECO Plant Outages 2008-09
﻿Plant Unit | Unit | ﻿Summer | Winter | 2 0 0 8 | [11 empty] | 2 0 0 9
|  | MW | MW | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Big Bend |  | 1663 | 1734
| 1 | 375 | 385 | [23 empty] | 385
| 2 | 385 | 395 | [12 empty] | 395 | 395 | 395 | [8 empty] | 395
| 3 | 387 | 397 | 2 0 0 8 Jan: 397; 2 0 0 8 Feb: 397; 2 0 0 8 Mar: 397; 2 0 0 8 Apr: 387 | [9 empty] | 387
| 4 | 418 | 428 | 2 0 0 8 Nov: 428 |  |  |  | 418 | 418
| CT1 | 10 | 11 | 2 0 0 8 Oct: 10
| CT2 | 49 | 79 | 2 0 0 8 Oct: 49
| CT3 | 39 | 39
Bayside |  | 1628 | 1837
| 1 | 700 | 791 | [14 empty] | 791 | [6 empty] | 700
| 2 | 928 | 1046 | [14 empty] | 1046 | [7 empty] | 1046
Phillips |  | 34 | 36
| 1 | 17 | 18 | [13 empty] | 18
| 2 | 17 | 18 | 2 0 0 8 Feb: 18 | [10 empty] | 18
Polk |  | 871 | 991
| 1 | 250 | 255 | [13 empty] | 255 | [8 empty] | 255
| 2 | 159 | 184 | 2 0 0 8 Nov: 184 | [10 empty] | 184
| 3 | 164 | 184 | 2 0 0 8 Nov: 184 | [10 empty] | 184
| 4 | 149 | 184 | [14 empty] | 184 | [7 empty] | 184
| 5 | 149 | 184 | [15 empty] | 149 | [6 empty] | 184
Partnership |  | 6 | 6
| 1 | 3 | 3
| 2 | 3 | 3
|  | 4202 | 4604 | 397 | 415 | 397 | 387 | 0 | 0 | 0 | 0 | 0 | 59 | 612 | 0 | 395 | 668 | 1497 | 567 | 418 | 0 | 0 | 0 | 0 | 1087 | 1256 | 780
[18 empty] | 918 | Different Weeks…take average of two units
184
[18 empty] | 192 | Different Weeks…take average of five units