## Inputs
Program Demand Savings and Line Losses
1 | Customer KW reduction at the meter | 3071 | KW/Cust |  |  |  | J | 3071
2 | Generator KW reduction per customer | 3161.214 | KW Gen/Cust |  |  |  | F | 3071
3 | KW Line Loss Percentage | 6.5% |  |  |  |  | M | 3071
4 | Generation KWH Reduction per customer | 745512 | KWH/Cust/Yr |  |  |  | A | 2839
5 | KWH line loss percentage | 5.8% |  |  |  |  | M | 2839
6 | Group Line Loss Multiplier | 1 |  |  |  |  | J | 2839
7 | Customer KWH Program Increase at Meter | 0 | KWH/Cust/Yr |  |  |  | J | 2839
8 | Customer KWH Reduction at Meter | 704643 | KWH/Cust/Yr |  |  |  | A | 2839
[7 empty] | S | 2839
| Economic Life and K Factors | [5 empty] | O | 2839
[7 empty] | N | 3071
1 | Study Period for Conservation Program | 25 |  |  |  |  | D | 3071
2 | Generator Economic Life | 25
3 | T & D Economic Life | 25 | [5 empty] | 2935.6667
4 | K Factor for Generation | 1.612
5 | K Factor for T & D | 1.612 | [5 empty] | 13.6992
6 | Switch Rev Req or Val of Def | 1
Utility & Customer Costs
1 | Utility Non-recurring cost per customer | 106743 | $ per cust
2 | Utility Recurring cost per customer | 1396.16 | $ per cust / yr
3 | Utility Cost Escalation Rate | 2.3%
4 | Customer Equipment Cost | 0 | $ per cust
5 | Customer Equipment Escalation Rate | 2.5%
6 | Customer O & M Cost | 0 | $ per cust / yr
7 | Customer O & M Escalation Rate | 2.5%
8 | Customer Tax Credit per Installation | 0 | $ per cust
9 | Customer Tax Credit Escalation Rate | 0%
10 | Increased Supply Costs | 0 | $ per cust / yr
11 | Supply Costs Escalation Rate | 0%
12 | Utility Discount Rate | 0.0789
13 | Utility AFUDC Rate | 0.0779
14 | Utility Non-recurring rebate / incentive | 0 | $ per cust
15 | Utility Recurring rebate / incentive | 482596 | $ per cust / yr | TECO Input | 384225 | $ per cust / yr
16 | Utility rebate / incentive ESCAL Rate | 0%
Avoided Generator, Trans, & Dist Costs
1 | Base Year | 2009
2 | In-service Year for Avoided Generating Unit | 2009
3 | In-service Year for Avoided T & D | 2012
4 | Base Year Avoided Generating Unit Cost | 870.34 | $/KW
5 | Base Year Avoided Transmission Unit Cost | 0 | $/KW
6 | Base Year Avoided Distribution Unit Cost | 0 | $/KW
7 | Gen, Tran, Dist Cost Escalation Rate | 2.3%
8 | Generator Fixed O&M Cost | 21.45 | $/KW/Yr
9 | Generator Fixed O&M Escalation Rate | 2.3%
10 | Transmission Fixed O&M Cost | 0 | $/KW/Yr
11 | Distribution Fixed O&M Cost | 0 | $/KW/Yr
12 | Trans & Dist Fixed O&M Escalation Rate | 2.3%
13 | Avoided Gen Unit Variable O&M cost | 0.00364 | $/KWH
14 | Generator Variable O&M Cost Escalation Rate | 2.3%
15 | Generator Capacity Factor | 2.2%
16 | Avoided Generating Unit Fuel Cost | 0.0749 | $/KWH
17 | Avoided Gen Unit Fuel Escalation Rate | 3.66%
18 | Avoided Purchase Capacity Cost /KW | 0 | $/KW/Yr
19 | Capacity Cost Escalation Rate | 0%
Non-Fuel, Energy and Demand Charges
| Non-Fuel Cost in Customer Bill | 0.0137 | $/KWH | 9.6536
| Non-Fuel Escalation Rate | 1%
| Customer Demand Charge per KW | 7.25 | $/KW/Mo | 26.5082
| Demand Charge Escalation Rate | 1%
| Diversity and Annual Demand Adjustment Factor for Customer Bill | 0
36.1618

## Gen & T-D Unit Benefits
Inputs
Customer KW reduction at the meter | 3071 | KW/Cust
Generator KW reduction per customer | 3161.214 | KW Gen/Cust
KW Line Loss Percentage | 0.065
Generation KWH Reduction per customer | 745512 | KWH/Cust/Yr
KWH line loss percentage | 0.058
Group Line Loss Multiplier | 1
Customer KWH Program Increase at Meter | 0 | KWH/Cust/Yr
Customer KWH Reduction at Meter | 704643 | KWH/Cust/Yr
Economic Life and K Factors |  |  |  |  | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033
Study Period for Conservation Program | 25 |  | ACt |  |  | 285.5163 | 292.0832 | 298.8011 | 418.7059 | 428.3361 | 438.1878 | 448.2662 | 458.5763 | 469.1235 | 479.9134 | 490.9514 | 502.2433 | 513.7949 | 525.6121 | 537.7012 | 550.0684 | 562.7199 | 575.6625 | 588.9027 | 602.4475 | 616.3038 | 630.4788 | 644.9798 | 659.8143 | 674.99
Generator Economic Life | 25 |  | AOt | Fixed | 67.808 | 69.3676 | 70.9631 | 72.5952 | 74.2649 | 75.973 | 77.7204 | 79.508 | 81.3366 | 83.2074 | 85.1212 | 87.0789 | 89.0818 | 91.1306 | 93.2266 | 95.3709 | 97.5644 | 99.8084 | 102.104 | 104.4524 | 106.8548 | 109.3124 | 111.8266 | 114.3986 | 117.0298 | 119.7215
K Factor for Generation | 1.612 |  | AOt | Variable | 2.2176 | 2.2686 | 2.3208 | 2.3742 | 2.4288 | 2.4846 | 2.5418 | 2.6002 | 2.66 | 2.7212 | 2.7838 | 2.8478 | 2.9133 | 2.9803 | 3.0489 | 3.119 | 3.1907 | 3.2641 | 3.3392 | 3.416 | 3.4946 | 3.575 | 3.6572 | 3.7413 | 3.8273 | 3.9154
Switch Rev Req or Val of Def | 1
[6 empty] | 357.1525 | 365.367 | 373.7705 | 495.3996 | 506.7937 | 518.45 | 530.3744 | 542.573 | 555.0521 | 567.8183 | 580.8782 | 594.2384 | 607.9058 | 621.8877 | 636.1911 | 650.8235 | 665.7924 | 681.1057 | 696.7711 | 712.7968 | 729.1911 | 745.9625 | 763.1197 | 780.6714 | 798.6269
Avoided Generator, Trans, & Dist Costs | [6 empty] | Filed amount |  | 493 | 505 | 517 | 530 | 543 | 556 | 570 | 584 | 598 | 613 | 628 | 644 | 660 | 676 | 692 | 710 | 727 | 745 | 764 | 783 | 802
Base Year | 2009
In-service Year for Avoided Generating Unit | 2009 |  |  |  | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033
Base Year Avoided Generating Unit Cost (2009-2011) | 650 | $/KW | Fuel - Aft |  | 45.6313 | 47.3014 | 49.0326 | 50.8272 | 52.6875 | 54.6158 | 56.6148 | 58.6869 | 60.8348 | 63.0614 | 65.3694 | 67.7619 | 70.242 | 72.8129 | 75.4778 | 78.2403 | 81.1039 | 84.0723 | 87.1494 | 90.339 | 93.6454 | 97.0729 | 100.6257 | 104.3086 | 108.1263 | 112.0837
Base Year Avoided Generating Unit Cost(2012 and after) | 870.34 | $/KW |  | Filed amount | 30 | 46 | 45 | 46 | 44 | 43 | 48 | 48 | 54 | 54 | 57 | 58 | 63 | 60 | 64 | 74 | 73 | 70 | 78 | 84 | 86 | 88 | 91 | 95 | 100
Gen, Tran, Dist Cost Escalation Rate | 0.023 |  |  | Filed amount Rate Impact | 30 | 46 | 45 | 46 | 537 | 548 | 565 | 578 | 597 | 610 | 627 | 642 | 661 | 673 | 692 | 718 | 733 | 746 | 770 | 794 | 814 | 833 | 855 | 877 | 902
Generator Fixed O&M Cost | 21.45 | $/KW/Yr | Total Fuel & Gen |  | 45.6313 | 404.4539 | 414.3996 | 424.5977 | 548.087 | 561.4096 | 575.0648 | 589.0612 | 603.4078 | 618.1135 | 633.1877 | 648.6401 | 664.4804 | 680.7187 | 697.3655 | 714.4314 | 731.9274 | 749.8647 | 768.255 | 787.1101 | 806.4422 | 826.264 | 846.5883 | 867.4283 | 888.7977 | 910.7106
Generator Fixed O&M Escalation Rate | 0.023
Avoided Gen Unit Variable O&M cost | 0.00364 | $/KWH
Generator Variable O&M Cost Escalation Rate | 0.023
Generator Capacity Factor | 0.022 |  |  | Value of Deferral Methodology - 2009-2011
Avoided Generating Unit Fuel Cost | 0.0749 | $/KWH
Avoided Gen Unit Fuel Escalation Rate | 0.0366 |  |  | CC | 2008: 0.65; 2009: avoided inservice year capacity costs including AFUDC
Avoided Purchase Capacity Cost /KW | 0 | $/KW/Yr |  | K | 2008: 1.612; 2009: present value of carrying charges/investment over N years (k factor)
Capacity Cost Escalation Rate | 0 |  |  | Ep | 2008: 0.023; 2009: plant cost escalation rate
|  |  |  | N | 2008: 25; 2009: economic life
|  |  |  | D | 2008: 1.0789; 2009: 1 plus the discount rate
Non-Fuel, Energy and Demand Charges
|  |  |  | R | 2008: 0.94819; 2009: ratio of (1 + escalation factor) to (1 + discount rate)
Non-Fuel Cost in Customer Bill | 0.0137 | $/KWH
Non-Fuel Escalation Rate | 0.01 |  |  |  | 2008: 0.073808; 2009: avoided unit capacity costs
Customer Demand Charge per KW | 7.25 | $/KW/Mo |  | ACt | 2008: 285.5163
Demand Charge Escalation Rate | 0.01
Diversity and Annual Demand Adjustment Factor for Customer Bill | 0
Value of Deferral Methodology - 2012 and after
Utility AFUDC Rate | 0.0779
|  |  |  | CC | 2008: 0.95322; 2009: avoided inservice year capacity costs including AFUDC
|  |  |  | K | 2008: 1.612; 2009: present value of carrying charges/investment over N years (k factor)
|  |  |  | Ep | 2008: 0.023; 2009: plant cost escalation rate
T&D Benefits |  |  |  | N | 2008: 25; 2009: economic life
|  |  |  | D | 2008: 1.0789; 2009: 1 plus the discount rate
Base Year | 2009
In-service Year for Avoided T & D | 2012 |  |  | R | 2008: 0.94819; 2009: ratio of (1 + escalation factor) to (1 + discount rate)
Base Year Avoided Transmission Unit Cost | 0 | $/KW
Base Year Avoided Distribution Unit Cost | 0 | $/KW |  |  | 2008: 0.10824; 2009: avoided unit capacity costs
Gen, Tran, Dist Cost Escalation Rate | 0.023 |  |  | ACt | 2008: 418.7059
Transmission Fixed O&M Cost | 0 | $/KW/Yr
Distribution Fixed O&M Cost | 0 | $/KW/Yr
Trans & Dist Fixed O&M Escalation Rate | 0.023

## Rate Impact Test
Rate Impact Test
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13) | (14)
$ in 000's
[7 empty] | Avoided |  |  |  |  | Net | Cumulative
| Increased | Utility |  |  |  |  | Gen Unit | Avoided |  |  |  | Benefits | Discounted
| Supply | Program |  | Revenue | Other | Total | & Fuel | T&D | Revenue | Other | Total | To All | Net
Year | Costs | Costs | Incentives | Losses | Costs | Costs | Benefits | Benefits | Gains | Benefits | Benefits | Customers | Benefits
2009 | 0 | 106.743 | 482.596 | 9.7501 | 0 | 599.0891 | 404.4539 | 0 | 0 | 0 | 404.4539 | -194.6352 | -194.6352
2010 | 0 | 1.4283 | 482.596 | 9.8476 | 0 | 493.8719 | 414.3996 | 0 | 0 | 0 | 414.3996 | -79.4723 | -274.1075
2011 | 0 | 1.4611 | 482.596 | 9.9461 | 0 | 494.0032 | 424.5977 | 0 | 0 | 0 | 424.5977 | -69.4056 | -343.5131
2012 | 0 | 1.4947 | 482.596 | 10.0456 | 0 | 494.1363 | 548.087 | 0 | 0 | 0 | 548.087 | 53.9507 | -289.5624
2013 | 0 | 1.5291 | 482.596 | 10.146 | 0 | 494.2711 | 561.4096 | 0 | 0 | 0 | 561.4096 | 67.1384 | -222.4239
2014 | 0 | 1.5643 | 482.596 | 10.2475 | 0 | 494.4078 | 575.0648 | 0 | 0 | 0 | 575.0648 | 80.657 | -141.7669
2015 | 0 | 1.6003 | 482.596 | 10.35 | 0 | 494.5462 | 589.0612 | 0 | 0 | 0 | 589.0612 | 94.515 | -47.2519
2016 | 0 | 1.6371 | 482.596 | 10.4535 | 0 | 494.6865 | 603.4078 | 0 | 0 | 0 | 603.4078 | 108.7212 | 61.4693
2017 | 0 | 1.6747 | 482.596 | 10.558 | 0 | 494.8287 | 618.1135 | 0 | 0 | 0 | 618.1135 | 123.2848 | 184.7541
2018 | 0 | 1.7132 | 482.596 | 10.6636 | 0 | 494.9728 | 633.1877 | 0 | 0 | 0 | 633.1877 | 138.2149 | 322.969
2019 | 0 | 1.7526 | 482.596 | 10.7702 | 0 | 495.1189 | 648.6401 | 0 | 0 | 0 | 648.6401 | 153.5212 | 476.4902
2020 | 0 | 1.7929 | 482.596 | 10.8779 | 0 | 495.2669 | 664.4804 | 0 | 0 | 0 | 664.4804 | 169.2135 | 645.7037
2021 | 0 | 1.8342 | 482.596 | 10.9867 | 0 | 495.4169 | 680.7187 | 0 | 0 | 0 | 680.7187 | 185.3018 | 831.0055
2022 | 0 | 1.8764 | 482.596 | 11.0966 | 0 | 495.5689 | 697.3655 | 0 | 0 | 0 | 697.3655 | 201.7966 | 1032.8021
2023 | 0 | 1.9195 | 482.596 | 11.2075 | 0 | 495.7231 | 714.4314 | 0 | 0 | 0 | 714.4314 | 218.7083 | 1251.5104
2024 | 0 | 1.9637 | 482.596 | 11.3196 | 0 | 495.8793 | 731.9274 | 0 | 0 | 0 | 731.9274 | 236.0481 | 1487.5585
2025 | 0 | 2.0088 | 482.596 | 11.4328 | 0 | 496.0377 | 749.8647 | 0 | 0 | 0 | 749.8647 | 253.8271 | 1741.3856
2026 | 0 | 2.055 | 482.596 | 11.5471 | 0 | 496.1982 | 768.255 | 0 | 0 | 0 | 768.255 | 272.0568 | 2013.4424
2027 | 0 | 2.1023 | 482.596 | 11.6626 | 0 | 496.3609 | 787.1101 | 0 | 0 | 0 | 787.1101 | 290.7492 | 2304.1916
2028 | 0 | 2.1507 | 482.596 | 11.7792 | 0 | 496.5259 | 806.4422 | 0 | 0 | 0 | 806.4422 | 309.9163 | 2614.108
2029 | 0 | 2.2001 | 482.596 | 11.897 | 0 | 496.6932 | 826.264 | 0 | 0 | 0 | 826.264 | 329.5708 | 2943.6788
2030 | 0 | 2.2507 | 482.596 | 12.016 | 0 | 496.8627 | 846.5883 | 0 | 0 | 0 | 846.5883 | 349.7255 | 3293.4044
2031 | 0 | 2.3025 | 482.596 | 12.1362 | 0 | 497.0347 | 867.4283 | 0 | 0 | 0 | 867.4283 | 370.3936 | 3663.798
2032 | 0 | 2.3555 | 482.596 | 12.2575 | 0 | 497.209 | 888.7977 | 0 | 0 | 0 | 888.7977 | 391.5888 | 4055.3868
2033 | 0 | 2.4096 | 482.596 | 12.3801 | 0 | 497.3857 | 910.7106 | 0 | 0 | 0 | 910.7106 | 413.3249 | 4468.7117
Nominal | 0 | 151.8204 | 12064.9 | 275.3753 | 0 | 12492.0957 | 16960.8073 | 0 | 0 | 0 | 16960.8073 | 4468.7117
NPV |  | 125.1672 | 5610.6909 | 123.3491 | 0 | 5859.2072 | 7031.0488 | 0 | 0 | 0 | 7031.0488 | 1171.8416
Discount Rate |  | 7.89%
Benefit/Cost Ratio |  | 1.2

## Total Resource Cost Test
Total Resource Cost Test
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13)
$ in 000's
Cumulative
| Increased | Utility | Participant |  |  | Avoided | Avoided | Program |  |  |  | Discounted
| Supply | Program | Program | Other | Total | Gen Unit | T&D | Fuel | Other | Total | Net | Net
Year | Costs | Costs | Costs | Costs | Costs | Benefits | Benefits | Savings | Benefits | Benefits | Benefits | Benefits
2009 | 0 | 106.743 |  |  | 106.743 | 357.1525 | 0 | 47.3014 |  | 404.4539 | 297.7109 | 297.7109
2010 | 0 | 109.1981 |  |  | 109.1981 | 365.367 | 0 | 49.0326 |  | 414.3996 | 305.2016 | 602.9125
2011 | 0 | 111.7096 |  |  | 111.7096 | 373.7705 | 0 | 50.8272 |  | 424.5977 | 312.888 | 915.8005
2012 | 0 | 114.279 |  |  | 114.279 | 495.3996 | 0 | 52.6875 |  | 548.087 | 433.8081 | 1349.6086
2013 | 0 | 116.9074 |  |  | 116.9074 | 506.7937 | 0 | 54.6158 |  | 561.4096 | 444.5022 | 1794.1108
2014 | 0 | 119.5963 |  |  | 119.5963 | 518.45 | 0 | 56.6148 |  | 575.0648 | 455.4685 | 2249.5793
2015 | 0 | 122.347 |  |  | 122.347 | 530.3744 | 0 | 58.6869 |  | 589.0612 | 466.7143 | 2716.2935
2016 | 0 | 125.1609 |  |  | 125.1609 | 542.573 | 0 | 60.8348 |  | 603.4078 | 478.2468 | 3194.5403
2017 | 0 | 128.0396 |  |  | 128.0396 | 555.0521 | 0 | 63.0614 |  | 618.1135 | 490.0739 | 3684.6142
2018 | 0 | 130.9846 |  |  | 130.9846 | 567.8183 | 0 | 65.3694 |  | 633.1877 | 502.2032 | 4186.8174
2019 | 0 | 133.9972 |  |  | 133.9972 | 580.8782 | 0 | 67.7619 |  | 648.6401 | 514.6429 | 4701.4603
2020 | 0 | 137.0791 |  |  | 137.0791 | 594.2384 | 0 | 70.242 |  | 664.4804 | 527.4012 | 5228.8615
2021 | 0 | 140.232 |  |  | 140.232 | 607.9058 | 0 | 72.8129 |  | 680.7187 | 540.4868 | 5769.3483
2022 | 0 | 143.4573 |  |  | 143.4573 | 621.8877 | 0 | 75.4778 |  | 697.3655 | 553.9082 | 6323.2565
2023 | 0 | 146.7568 |  |  | 146.7568 | 636.1911 | 0 | 78.2403 |  | 714.4314 | 567.6746 | 6890.931
2024 | 0 | 150.1322 |  |  | 150.1322 | 650.8235 | 0 | 81.1039 |  | 731.9274 | 581.7952 | 7472.7262
2025 | 0 | 153.5853 |  |  | 153.5853 | 665.7924 | 0 | 84.0723 |  | 749.8647 | 596.2795 | 8069.0057
2026 | 0 | 157.1177 |  |  | 157.1177 | 681.1057 | 0 | 87.1494 |  | 768.255 | 611.1373 | 8680.143
2027 | 0 | 160.7314 |  |  | 160.7314 | 696.7711 | 0 | 90.339 |  | 787.1101 | 626.3787 | 9306.5217
2028 | 0 | 164.4283 |  |  | 164.4283 | 712.7968 | 0 | 93.6454 |  | 806.4422 | 642.014 | 9948.5356
2029 | 0 | 168.2101 |  |  | 168.2101 | 729.1911 | 0 | 97.0729 |  | 826.264 | 658.0539 | 10606.5895
2030 | 0 | 172.0789 |  |  | 172.0789 | 745.9625 | 0 | 100.6257 |  | 846.5883 | 674.5093 | 11281.0989
2031 | 0 | 176.0368 |  |  | 176.0368 | 763.1197 | 0 | 104.3086 |  | 867.4283 | 691.3915 | 11972.4904
2032 | 0 | 180.0856 |  |  | 180.0856 | 780.6714 | 0 | 108.1263 |  | 888.7977 | 708.7122 | 12681.2026
2033 | 0 | 184.2276 |  |  | 184.2276 | 798.6269 | 0 | 112.0837 |  | 910.7106 | 726.4831 | 13407.6856
Nominal | 0 | 3553.1217 | 0 | 0 | 3553.1217 | 15078.7135 | 0 | 1882.0939 | 0 | 16960.8073 | 13407.6856
NPV |  | 1511.2811 | 0 | 0 | 1511.2811 | 6167.2031 | 0 | 754.1187 | 0 | 6921.3219 | 5410.0408
Discount Rate |  | 7.89%
Benefit/Cost Ratio |  | 4.5798

## Participant Costs & Benefits
Participant Costs and Benefits
(1) | (2) |  | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (13)
$ in 000's
Cumulative
| Savings in |  | (7): Customer; (8): Customer | Discounted
| Participants |  | Tax | Utility | Other | Total | Equipment | O&M | Other | Total | Net | Net
Year | Bill |  | Credits | Rebates | Benefits | Benefits | Costs | Costs | Costs | Costs | Benefits | Benefits
2009 | 36.1618 | 47 | 0 | 482.596 | 0 | 565.7578 | 0 | 0 | 0 | 0 | 565.7578 | 565.7578
2010 | 36.5234 | 44 | 0 | 482.596 | 0 | 563.1194 | 0 | 0 | 0 | 0 | 563.1194 | 1128.8773
2011 | 36.8887 | 45 | 0 | 482.596 | 0 | 564.4847 | 0 | 0 | 0 | 0 | 564.4847 | 1693.3619
2012 | 37.2576 | 47 | 0 | 482.596 | 0 | 566.8536 | 0 | 0 | 0 | 0 | 566.8536 | 2260.2155
2013 | 37.6301 | 49 | 0 | 482.596 | 0 | 569.2261 | 0 | 0 | 0 | 0 | 569.2261 | 2829.4416
2014 | 38.0064 | 48 | 0 | 482.596 | 0 | 568.6024 | 0 | 0 | 0 | 0 | 568.6024 | 3398.044
2015 | 38.3865 | 49 | 0 | 482.596 | 0 | 569.9825 | 0 | 0 | 0 | 0 | 569.9825 | 3968.0265
2016 | 38.7704 | 51 | 0 | 482.596 | 0 | 572.3664 | 0 | 0 | 0 | 0 | 572.3664 | 4540.3929
2017 | 39.1581 | 53 | 0 | 482.596 | 0 | 574.7541 | 0 | 0 | 0 | 0 | 574.7541 | 5115.147
2018 | 39.5496 | 55 | 0 | 482.596 | 0 | 577.1456 | 0 | 0 | 0 | 0 | 577.1456 | 5692.2926
2019 | 39.9451 | 57 | 0 | 482.596 | 0 | 579.5411 | 0 | 0 | 0 | 0 | 579.5411 | 6271.8338
2020 | 40.3446 | 58 | 0 | 482.596 | 0 | 580.9406 | 0 | 0 | 0 | 0 | 580.9406 | 6852.7743
2021 | 40.748 | 61 | 0 | 482.596 | 0 | 584.344 | 0 | 0 | 0 | 0 | 584.344 | 7437.1184
2022 | 41.1555 | 63 | 0 | 482.596 | 0 | 586.7515 | 0 | 0 | 0 | 0 | 586.7515 | 8023.8699
2023 | 41.5671 | 65 | 0 | 482.596 | 0 | 589.1631 | 0 | 0 | 0 | 0 | 589.1631 | 8613.033
2024 | 41.9827 | 68 | 0 | 482.596 | 0 | 592.5787 | 0 | 0 | 0 | 0 | 592.5787 | 9205.6117
2025 | 42.4026 | 70 | 0 | 482.596 | 0 | 594.9986 | 0 | 0 | 0 | 0 | 594.9986 | 9800.6103
2026 | 42.8266 | 72 | 0 | 482.596 | 0 | 597.4226 | 0 | 0 | 0 | 0 | 597.4226 | 10398.0329
2027 | 43.2549 | 75 | 0 | 482.596 | 0 | 600.8509 | 0 | 0 | 0 | 0 | 600.8509 | 10998.8838
2028 | 43.6874 | 77 | 0 | 482.596 | 0 | 603.2834 | 0 | 0 | 0 | 0 | 603.2834 | 11602.1672
2029 | 44.1243 | 79 | 0 | 482.596 | 0 | 605.7203 | 0 | 0 | 0 | 0 | 605.7203 | 12207.8875
2030 | 44.5655 | 82 | 0 | 482.596 | 0 | 609.1615 | 0 | 0 | 0 | 0 | 609.1615 | 12817.049
2031 | 45.0112 | 84 | 0 | 482.596 | 0 | 611.6072 | 0 | 0 | 0 | 0 | 611.6072 | 13428.6562
2032 | 45.4613 | 87 | 0 | 482.596 | 0 | 615.0573 | 0 | 0 | 0 | 0 | 615.0573 | 14043.7135
2033 | 45.9159 | 87 | 0 | 482.596 | 1 | 616.5119 | 0 | 0 | 0 | 0 | 616.5119 | 14660.2254
Nominal | 975.4095 |  | 0 | 11582.304 | 0 | 14043.7135 | 0 | 0 | 0 | 0 | 14043.7135
NPV | 457.4833 |  | 0 | 5610.6909 | 0.1616 | 6719.7574 | 0 | 0 | 0 | 0 | 6719.7574
Discount Rate |  |  | (3): 7.89%
Benefit/Cost Ratio