## 2013
Unit | Activity | Description of Project/Job | Budget Dollars | % Contract Labor | % Material | % Expenses (Other) | % Rental | Months to Spread
|  | Total "A" System Baseline | 1006500
Unit 1 | FAC | Cold Fly Ash Valves - Segregating Valves | 20000 |  | 100% |  |  | Evenly
Unit 1 | FAF | Cold Precip Contol Cards/Fan Belts | 3500 |  | 100% |  |  | Evenly
Unit 1 | FAF | Hot Precip Control Cards/Fan Belts | 5000 |  | 100% |  |  | Evenly
Unit 2 | FAB | Clinker Grinder Rebuild | 15500 |  | 100% |  |  | Evenly
Unit 2 | FAC | Cold Fly Ash Valves - Segregating Valves | 10000 |  | 100% |  |  | Evenly
Unit 2 | FAC | Economizer Hopper Ash Valves | 10000 |  | 100% |  |  | Evenly
Unit 2 | FAC | Fly Ash Pump B | 34000 | 50% | 50% |  |  | Evenly
Unit 2 | FAF | Cold Precip Contol Cards/Fan Belts | 3500 |  | 100% |  |  | Evenly
Unit 2 | FAF | Hot Precip Control Cards/Fan Belts | 5000 |  | 100% |  |  | Evenly
Common | FAD | Ash Pond Maintenance | 50000 | 100% |  |  |  | June
Common | FAD | Ash Removal from Ash Pond | 850000 | 100% |  |  |  | January - June
|  | Total "B" System Baseline | 132000
Common | FBH | CEMS Maintenance Contract | 66000 | 100% |  |  |  | Evenly
Unit 1 | FBB | ID Damper Maintenance, Send out Beck Drives | 15000 | 50% | 50% |  |  | Evenly
Unit 2 | FBB | ID Damper Maintenance, Send out Beck Drives | 15000 | 50% | 50% |  |  | Evenly
Unit 2 | FBA | Sofo Cofa Damper Repairs , Send out Beck Drives | 2000 | 50% | 50% |  |  | Evenly
Unit 1 | FBC | Annual Air Heater Instrumentation (Thermocouples, Sensing Lines, Sootblower Limits) | 2000 | 80% | 20% |  |  | April - May
Unit 2 | FBC | Annual Air Heater Instrumentation (Thermocouples, Sensing Lines, Sootblower Limits) | 2000 | 80% | 20% |  |  | April - May
Common | FBB | Wind Storm Lagging Repairs | 20000 | 80% | 20% |  |  | July - November
Common | FBY | Documentum Migration | 10000 |  |  | 100% |  | Evenly
|  | Total "C" System Baseline | 247000
Common | FCA | Ignitor Oil Pumps and Piping | 12000 |  | 100% |  |  | Evenly
Common | FCA | Ignitor Oil Gun Parts | 6000 |  | 100% |  |  | Evenly
Common | FCB | Coal Piping Elbows, Wear Plates, Norbac Repair Kits | 45000 |  | 100% |  |  | Evenly
Common | FCE | Feeder Parts, Belts, Weight Rolls, Cleanout Chains, Bearing and Motors | 38000 |  | 100% |  |  | Evenly
Common | FCD | Alstom Fees for Shared Inventory with Plant Kraft and Mitchell | 6000 | 100% |  |  |  | Evenly
Common | FCD | Mill Parts, Roll Rebuild, Weld Overlay, Exhausters, Windbox and Classifier Blades | 140000 | 20% | 80% |  |  | April - May
|  | Total "D" System Baseline | 417500
Unit 3 | FDD | Natural Gas Solutions Maintenance Contract | 110000 | 100% |  |  |  | Evenly
Unit 3 | FDD | Natural Gas Suplly Valves, Controls, Filters | 8000 |  | 100% |  |  | Evenly
Common | FDL | Thompson TM&R Agreement | 35000 | 100% |  |  |  | Evenly
Common | FDL | Parts for D10, 844 Dosiers and Extended Boom Tractor | 7000 |  | 100% |  |  | Evenly
Common | FDB | C.T. Fuel Oil Supply Piping, Fuel Forwarding Pumps, Valves | 3500 |  | 100% |  |  | Evenly
Common | FDC | E-Crane, Motors, Hoses, Cylinders, Oil, Oil Coolers, Filters, Breakers | 200000 |  | 100% |  |  | Evenly
Common | FDF | Conveyor Belts, Motors, Gear Boxes, Chutes, Belt Magnets, Breakers | 11000 |  | 100% |  |  | Evenly
Common | FDH | Coal Belt Scales, Motors, Coal Samplers, Breakers | 5000 |  | 100% |  |  | Evenly
Common | FDJ | Barge Equipment | 8000 |  | 100% |  |  | Evenly
Unit 3 | FDY | Corrosion Protection | 30000
|  | Total "E" System Baseline | 114000
Unit 3 | FEF | Bulk Hydrogen | 80000 |  | 100% |  |  | Evenly
Unit 3 | FEF | Hydrogen Tank Rentals | 24000 |  |  |  | 100% | Evenly
Unit 3 | FEA | Generator Brushes | 5000 |  | 100% |  |  | Evenly
Common | FEA | Generator Brushes | 5000 |  | 100% |  |  | Evenly
|  | Total "F" System Baseline | 463000
Unit 3 | FFB | Transmitters and Pressure Switches | 10000 |  | 100% |  |  | Evenly
Unit 3 | FFY | Miscellaneous Painting (Corrosion Protection) | 50000 | 50% | 50% |  |  | Evenly
Common | FFB | Transmitters and Pressure Switches | 10000 |  | 100% |  |  | Evenly
Unit 3 | FFF | Filter Change Outs | 12000 |  | 100% |  |  | Evenly
Unit 3 | FFA | Regional System Owner Charges | 15000 | 100% |  |  |  | Evenly
Common | FFF | Turbine Oil | 30000 |  | 100% |  |  | Evenly
Unit 3 | FFA | Unplanned GE Work | 30000 | 50% | 50% |  |  | Evenly
Unit 3 | FFB | Thermo Couples | 6000 |  | 100% |  |  | Evenly
Unit 3 | FFY | Paint ST Area Structure Beams (Corrosion Protection) | 300000
|  | Total "G" System Baseline | 5000
Common | FGE | Oil Analysis on Transformers | 2000 | 50% | 50% |  |  | June,July
Unit 3 | FGA | Station Service Tranformer Cabinet Repairs | 3000 | 50% | 50% |  |  | June,July
|  | Total "H" System Baseline | 605500
Common | FHC | Chlorine | 200000 |  | 100% |  |  | Evenly
Unit 3 | FHC | Sodium Hypochlorite | 60000 |  | 100% |  |  | Evenly
Common | FHB | Discharge Canal Seawall Repairs | 60000 | 50% | 50% |  |  | Evenly
Unit 3 | FHE | CLCW Piping Cleaning/Painting | 100000 | 70% | 30% |  |  | Evenly
Common | FHG | Soft Starts and Grounding Repairs | 27000 | 40% | 60% |  |  | Evenly
Unit 3 | FHK | Cooling Tower Fan Inspections and Shaft/Hub Repairs | 118500 | 50% | 50% |  |  | Evenly
Unit 3 | FHK | Cooling Tower Lagging and Unistrut Replacement | 40000 | 50% | 50% |  |  | Evenly
|  | Total "J" System Baseline | 253700
Common | FJH | Instruments and Controls (Bearings, Control Cards, etc.) | 25550 |  | 100% |  |  | Evenly
Unit 2 | FJC | Valve Maintenance ( Safety Valves) | 16000 | 40% | 60% |  |  | Evenly
Unit 2 | FJA | Parts for PMs on Soot blower and Piping | 52000 |  | 100% |  |  | Evenly
Unit 1 | FJA | Parts for PMs on Soot blower and Piping | 18500 |  | 100% |  |  | Evenly
Unit 1 | FJC | Parts for PMs on Boiler Waterwall Valves & Drains | 30000 |  | 100% |  |  | Evenly
Unit 1 | FJA | Parts for PMs on Wall Blowers (lances, bearings, and packing.) | 35000 |  | 100% |  |  | Evenly
Unit 2 | FJA | Parts for PMs on Wall Blowers (lances, bearings, and packing.) | 26100 |  | 100% |  |  | Evenly
Unit 2 | FJA | Valve and Piping Replacement on Wall Blowers | 25000 |  | 100% |  |  | Evenly
Unit 1 | FJA | Valve and Piping Replacement on Wall Blowers | 25550 |  | 100% |  |  | Evenly
|  | Total "K" System Baseline | 24000
Common | FKF | Kossen Emergency Generator Service Call | 3000 | 100% |  |  |  | April
Unit 3 | FKF | Fuel for Emergency Generator | 6000 |  | 100% |  |  | July
Unit 3 | FKD | Limit Amps (GE Service) | 5000 |  | 100% |  |  | March and August
Common | FKE | Battery and Battery Charger Maintenance | 10000 | 100% |  |  |  | Evenly
|  | Total "L" System Baseline | 141500
Unit 3 | FLA | Helium Gas | 6000 |  | 100% |  |  | Evenly
Unit 3 | FLY | Painting (Corrosion Protection) | 80000 | 50% | 50% |  |  | Evenly
Common | FLA | Condenser Misc Expenses (PMs, Leak Detection) | 37500 | 30% | 70% |  |  | Evenly
Common | FLC | LP Heater Expenses | 10000 |  | 100% |  |  | Evenly
Common | FLF | Deaerator Expenses | 2000 |  | 100% |  |  | Evenly
Unit 3 | FLJ | Valves / Actuator Replacement External Piping | 6000 | 40% | 60% |  |  | Evenly
|  | Total "M" System Baseline | 100000
Unit 1 | FMA | Spraywater Actuator Repairs, Oil Clean-Up on Motors, and Hydraulic Couplings | 25000 | 30% | 70% |  |  | Evenly
Unit 2 | FMA | Spraywater Actuator Repairs, Oil Clean-Up on Motors, and Hydraulic Couplings | 25000 | 30% | 70% |  |  | Evenly
Unit 3 | FMA | Small Bore Piping Repairs (Corrosion Protection) | 10000 | 75% | 25% |  |  | Evenly
Common | FMA | PAG Requirements (Scaffolding and Insulation) | 40000 |  | 100% |  |  | Evenly
|  | Total "N" System Baseline | 200000
Common | FNC | Monthly Potable Water Sampling | 2000 |  | 100% |  |  | Evenly
Unit 3 | FND | Mixed Bed Rentals | 70000 |  |  |  | 100% | Evenly
Unit 3 | FND | Mixed Bed Purchases | 28000 |  | 100% |  |  | Evenly
Common | FNA | Maintenance of Water Treatment Pretreatment Subsystem | 12000 |  | 100% |  |  | Evenly
Common | FNB | Inspect Monscour Filters | 4000 |  | 100% |  |  | Evenly
Common | FNB | Maintenance of Water Filter Plant | 21000 |  | 100% |  |  | Evenly
Common | FNC | Maintenance of Potable Water Filter Plant | 12000 |  | 100% |  |  | Evenly
Common | FND | Purchase and Install Prefilters and Polymer for RO Systems | 9000 |  | 100% |  |  | Evenly
Common | FND | Water Treatment Equipment | 15000 |  | 100% |  |  | Evenly
Common | FNE | Maintenance of Demineralizer | 15000 |  | 100% |  |  | Evenly
Common | FNF | Maintenance of WasteWater Treatment System | 12000 |  | 100% |  |  | Evenly
|  | Total "P" System Baseline | 1015000
Common | FPF | Consumables | 300000 |  | 100% |  |  | Evenly
Unit 3 | FPF | Consumables | 15000 |  | 100% |  |  | Evenly
Common | FPE | Tools | 55000 | 10% | 90% |  |  | Evenly
Unit 3 | FPE | Tools | 25000 |  | 100% |  |  | Evenly
Common | FPD | Fleet Services Charges | 100000 |  |  | 100% |  | Evenly
Common | FPC | Rolling Stock Maintenance | 70000 | 50% | 50% |  |  | Evenly
Common | FPC | Waste Management Fee | 60000 | 100% |  |  |  | Evenly
Common | FPA | Air Conditioner Service Calls | 80000 | 50% | 50% |  |  | Evenly
Common | FPB | Stotler Lawn Care Maintenance | 60000 | 100% |  |  |  | May - August
Common | FPA | Building and Structure Repairs | 150000 | 50% | 50% |  |  | Evenly
Common | FPB | Roads and Grounds Maintenance | 100000 | 50% | 50% |  |  | Evenly
|  | Total "R" System Baseline | 227000
Common | FRA | Annual International Fire Inspections Cost (Sprinklers, Extinguisher, Alarms) | 120000 | 80% | 20% |  |  | Evenly
Common | FRC | Annual Total Safety Inspections Cost (SCBA, Air Tanks) | 9000 | 100% |  |  |  | Evenly
Unit 3 | FRC | Double Block and Bleed Valve to DCS | 40000 | 75% | 25% |  |  | April
Common | FRA | Diesel Fire Control Panels | 18000 |  | 100% |  |  | March
Common | FRA | Upgrade Admin. Fire Alarm System | 15000 | 80% | 20% |  |  | May
Common | FRA | Repair Diesel Fire Pumps | 15000 | 50% | 50% |  |  | Feb
Unit 3 | FRA | Corrosion Protection | 10000 | 80% | 20% |  |  | Evenly
|  | Total "S" System Baseline | 110000
Common | FSA | Compressor Annual Maintenance Service Charge | 54000 | 85% | 15% |  |  | Quarterly
Unit 3 | FSA | Dessicant Changeout | 6000 | 30% | 70% |  |  | April
Unit 3 | FSY | Air Line Repairs and Painting (Corrosion Protection) | 50000 | 50% | 50% |  |  | Evenly
|  | Total "V" System Baseline | 552000
Unit 3 | FVY | LTSA Agreement - KLS | 342000 | 100% |  |  |  | Evenly
Unit 3 | FVK | Transmitters and Pressure Switches | 30000 | 25% | 75% |  |  | Evenly
Unit 3 | FVY | Structural Painting (Corrosion Protection) | 110000 | 50% | 50% |  |  | Evenly
Unit 3 | FVY | Valve Repairs and Replacements (Corrosion Protection) | 30000 | 25% | 75% |  |  | Evenly
CT | FVA | Gas Filters | 4000 |  | 100% |  |  | Evenly
CT | FVG | CT Maintenance | 15000 | 50% | 50% |  |  | Evenly
Unit 3 | FVK | Control Cards | 5000 |  | 100% |  |  | Evenly
Unit 3 | FVK | Blade Health Monitoring Maintenance | 16000 | 100% |  |  |  | Evenly
|  | Total "W" System Baseline | 1790000
Unit 3 | FWB | Boiler Valves & Piping - Valves,Transmitters,Insulation | 380000 | 35% | 65% |  |  | Evenly
Unit 3 | FWB | Heat Trace Maintenance | 10000 |  | 100% |  |  | Evenly
Unit 3 | FWB | Fluor and Sunbelt Admin | 250000 | 100% |  |  |  | Evenly
Unit 3 | FWC | Chemicals - Lab Materials | 60000 |  | 100% |  |  | Evenly
Unit 3 | FWY | Uni Strut and Misc Instrument and Electrical Cabinet Replacements* | 100000 | 60% | 40% |  |  | Evenly
Unit 3 | FWY | Re Skin LCI, A & B PEECC | 150000 | 60% | 40% |  |  | Evenly
Unit 3 | FWY | Paint HRSG A | 600000 | 90% | 10% |  |  | Evenly
Unit 3 | FWY | Paint BOP General Structure*** | 200000 | 90% | 10% |  |  | Evenly
Unit 3 | FWE | Boiler Water Circulation Pump - Economizer Pumps, Motors & Valves | 20000 | 90% | 10% |  |  | Evenly
Unit 3 | FWG | Headers/Links/Drums/Vessels | 5000 |  | 100% |  |  | Evenly
Unit 3 | FWH | Duct Burner | 15000 |  | 100% |  |  | Evenly
|  | Total "Y" System Baseline | 0
|  | Total "Z" System Baseline | 74562
Unit 1 | FZB | Emerson Sure Service Agreement | 29562 | 100% |  |  |  | February
Unit 3 | FZB | Computer System Upgrades | 15000 |  | 100% |  |  | Evenly
Common | FZY | NERC CIP | 30000 | 50% | 50% |  |  | Evenly

## 2014
Unit | Activity | Description of Project/Job | Budget Dollars | % Contract Labor | % Material | % Expenses (Other) | % Rental | Months to Spread
|  | Total "A" System Baseline | 800000
Unit 1 | FAF | Cold Precip Contol Cards/Fan Belts | 5000 |  | 100% |  |  | Evenly
Unit 1 | FAF | Hot Precip Control Cards/Fan Belts | 5000 |  | 100% |  |  | Evenly
Unit 1 | FAC | Hot and Cold Fly Ash System pipe and fittings. | 15000 |  | 100% |  |  | Evenly
Unit 2 | FAF | Cold Precip Contol Cards/Fan Belts | 5000 |  | 100% |  |  | Evenly
Unit 2 | FAF | Hot Precip Control Cards/Fan Belts | 5000 |  | 100% |  |  | Evenly
Unit 2 | FAC | Hot and Cold Fly Ash System pipe and fittings. | 15000 |  | 100% |  |  | Evenly
Common | FAD | Ash Pond Maintenance | 50000 | 100% |  |  |  | June
Common | FAD | Ash Removal from Ash Pond | 700000 | 100% |  |  |  | January - June
|  | Total "B" System Baseline | 135000
Common | FBH | CEMS Maintenance Contract | 66000 | 100% |  |  |  | Evenly
Unit 1 | FBB | ID Damper Maintenance, Send out Beck Drives | 15000 | 50% | 50% |  |  | Evenly
Unit 2 | FBB | ID Damper Maintenance, Send out Beck Drives | 15000 | 50% | 50% |  |  | Evenly
Unit 2 | FBA | Sofo Cofa Damper Repairs , Send out Beck Drives | 5000 | 50% | 50% |  |  | Evenly
Unit 1 | FBC | Annual Air Heater Instrumentation (Thermocouples, Sensing Lines, Sootblower Limits) | 2000 | 80% | 20% |  |  | April - May
Unit 2 | FBC | Annual Air Heater Instrumentation (Thermocouples, Sensing Lines, Sootblower Limits) | 2000 | 80% | 20% |  |  | April - May
Common | FBB | Wind Storm Lagging Repairs | 20000 | 80% | 20% |  |  | July - November
Common | FBY | Documentum Migration | 10000 |  |  | 100% |  | Evenly
|  | Total "C" System Baseline | 249100
Common | FCA | Ignitor Oil Pumps and Piping | 12000 |  | 100% |  |  | Evenly
Common | FCA | Ignitor Oil Gun Parts | 6000 |  | 100% |  |  | Evenly
Common | FCB | Coal Piping Elbows, Wear Plates, Norbac Repair Kits | 45500 |  | 100% |  |  | Evenly
Common | FCE | Feeder Parts, Belts, Weight Rolls, Cleanout Chains, Bearing and Motors | 39500 |  | 100% |  |  | Evenly
Common | FCD | Alstom Fees for Shared Inventory with Plant Kraft and Mitchell | 6100 | 100% |  |  |  | Evenly
Common | FCD | Mill Parts, Roll Rebuild, Weld Overlay, Exhausters, Windbox and Classifier Blades | 140000 | 20% | 80% |  |  | April - May
|  | Total "D" System Baseline | 420500
Unit 3 | FDD | Natural Gas Solutions Maintenance Contract | 110000 | 100% |  |  |  | Evenly
Unit 3 | FDD | Natural Gas Suplly Valves, Controls, Filters | 8500 |  | 100% |  |  | Evenly
Common | FDL | Thompson TM&R Agreement | 35000 | 100% |  |  |  | Evenly
Common | FDL | Parts for D10, 844 Dosiers and Extended Boom Tractor | 7800 |  | 100% |  |  | Evenly
Common | FDB | C.T. Fuel Oil Supply Piping, Fuel Forwarding Pumps, Valves | 3500 |  | 100% |  |  | Evenly
Common | FDC | E-Crane, Motors, Hoses, Cylinders, Oil, Oil Coolers, Filters, Breakers | 200000 |  | 100% |  |  | Evenly
Common | FDF | Conveyor Belts, Motors, Gear Boxes, Chutes, Belt Magnets, Breakers | 12000 |  | 100% |  |  | Evenly
Common | FDH | Coal Belt Scales, Motors, Coal Samplers, Breakers | 5000 |  | 100% |  |  | Evenly
Unit 3 | FDY | Corrosion Protection | 30000 | 50% | 50% |  |  | Evenly
Common | FDJ | Barge Equipment | 8700 |  | 100% |  |  | Evenly
|  | Total "E" System Baseline | 114000
Unit 3 | FEF | Bulk Hydrogen | 80000 |  | 100% |  |  | Evenly
Unit 3 | FEF | Hydrogen Tank Rentals | 24000 |  |  |  | 100% | Evenly
Unit 3 | FEA | Generator Brushes | 5000 |  | 100% |  |  | Evenly
Common | FEA | Generator Brushes | 5000 |  | 100% |  |  | Evenly
|  | Total "F" System Baseline | 313000
Unit 3 | FFB | Transmitters and Pressure Switches | 10000 |  | 100% |  |  | Evenly
Unit 3 | FFY | Structural Painting (Corrosion Protection) | 50000 | 50% | 50% |  |  | Evenly
Unit 3 | FFY | Paint ST Area Structure - Beams (Corrosion Protection | 150000 | 50% | 50% |  |  | Evenly
Common | FFB | Transmitters and Pressure Switches | 10000 |  | 100% |  |  | Evenly
Unit 3 | FFF | Filter Change Outs | 12000 |  | 100% |  |  | Evenly
Unit 3 | FFA | Regional System Owner Charges | 15000 | 100% |  |  |  | Evenly
Common | FFF | Turbine Oil | 30000 |  | 100% |  |  | Evenly
Unit 3 | FFY | Unplanned GE Work | 30000 | 50% | 50% |  |  | Evenly
Unit 3 | FFB | Thermo Couples | 6000 |  | 100% |  |  | Evenly
|  | Total "G" System Baseline | 2000
Common | FGE | Oil Analysis on Transformers | 2000 | 50% | 50% |  |  | June,July
|  | Total "H" System Baseline | 627500
Common | FHC | Chlorine | 225000 |  | 100% |  |  | Evenly
Unit 3 | FHC | Sodium Hypochlorite | 60000 |  | 100% |  |  | Evenly
Common | FHB | Wash Screen Repairs | 60000 | 50% | 50% |  |  | Evenly
Unit 2 | FHD | Circulator Pump Refurbishment | 42500 | 50% | 50% |  |  | Evenly
Unit 3 | FHE | CLCW Piping Inspections | 25000 | 70% | 30% |  |  | Evenly
Common | FHG | Well Flow Meter Replacements | 15000 | 40% | 60% |  |  | Evenly
Unit 3 | FHK | Cooling Tower Parts and Repairs | 50000 | 50% | 50% |  |  | Evenly
Unit 3 | FHY | CLCW Piping Repairs (Corrosion Protection) | 100000 | 50% | 50% |  |  | Evenly
Unit 3 | FHK | Makeup Pump Mechanical Seals | 50000 |  |  |  |  | Evenly
|  | Total "J" System Baseline | 206700
Common | FJH | Instruments and Controls (Bearings, Control Cards, etc.) | 25550 |  | 100% |  |  | Evenly
Unit 2 | FJC | Valve Maintenance ( Safety Valves) | 16000 | 40% | 60% |  |  | Evenly
Unit 2 | FJA | Parts for PMs on Soot blower and Piping | 40000 |  | 100% |  |  | Evenly
Unit 1 | FJA | Parts for PMs on Soot blower and Piping | 18500 |  | 100% |  |  | Evenly
Unit 1 | FJC | Parts for PMs on Boiler Waterwall Valves & Drains | 20000 |  | 100% |  |  | Evenly
Unit 1 | FJA | Parts for PMs on Wall Blowers (lances, bearings, and packing.) | 20000 |  | 100% |  |  | Evenly
Unit 2 | FJA | Parts for PMs on Wall Blowers (lances, bearings, and packing.) | 26100 |  | 100% |  |  | Evenly
Unit 2 | FJA | Valve and Piping Replacement on Wall Blowers | 20000 |  | 100% |  |  | Evenly
Unit 1 | FJA | Valve and Piping Replacement on Wall Blowers | 20550 |  | 100% |  |  | Evenly
|  | Total "K" System Baseline | 24000
Common | FKF | Kossen Emergency Generator Service Call | 3000 | 100% |  |  |  | April
Unit 3 | FKF | Fuel for Emergency Generator | 6000 |  | 100% |  |  | July
Unit 3 | FKD | Limit Amps (GE Service) | 5000 |  | 100% |  |  | March and August
Common | FKE | Battery and Battery Charger Maintenance | 10000 | 100% |  |  |  | Evenly
|  | Total "L" System Baseline | 219000
Unit 3 | FLA | Helium Gas | 6000 |  | 100% |  |  | Evenly
Unit 3 | FLA | PAG Deaerator expesnse | 15000 | 50% | 50% |  |  | Evenly
Unit 1 | FLA | Condenser Inlet/Outlet Valve Repairs | 50000 | 50% | 50% |  |  | Evenly
Common | FLA | Condenser Cleaning (Plugs) | 30000 |  | 100% |  |  | Evenly
Common | FLA | Condenser Misc expenses (PMs, Leak Detection) | 20000 | 30% | 70% |  |  | Evenly
Common | FLC | LP Heater Expenses | 10000 |  | 100% |  |  | Evenly
Common | FLF | Deaerator Expenses | 2000 |  | 100% |  |  | Evenly
Unit 3 | FLY | Corrosion Protections Repairs and Painting | 80000 | 50% | 50% |  |  | Evenly
Unit 3 | FLJ | Valves / Actuator Replacement External Piping | 6000 | 40% | 60% |  |  | Evenly
|  | Total "M" System Baseline | 142000
Unit 1 | FMA | Spraywater Actuator Repairs, Oil Clean-Up on Motors, and Hydraulic Couplings | 26000 | 30% | 70% |  |  | Evenly
Unit 2 | FMA | Spraywater Actuator Repairs, Oil Clean-Up on Motors, and Hydraulic Couplings | 26000 | 30% | 70% |  |  | Evenly
Unit 3 | FMA | Small Bore Piping Repairs (Corrosion Repairs) | 50000 | 75% | 25% |  |  | Evenly
Common | FMA | PAG Requirements (Scaffolding and Insulation) | 40000 |  | 100% |  |  | Evenly
|  | Total "N" System Baseline | 200000
Common | FNC | Monthly Potable Water Sampling | 2000 |  | 100% |  |  | Evenly
Unit 3 | FND | Mixed Bed Rentals | 70000 |  |  |  | 100% | Evenly
Unit 3 | FND | Mixed Bed Purchases | 28000 |  | 100% |  |  | Evenly
Common | FNA | Maintenance of Water Treatment Pretreatment Subsystem | 12000 |  | 100% |  |  | Evenly
Common | FNB | Inspect Monscour Filters | 4000 |  | 100% |  |  | Evenly
Common | FNB | Maintenance of Water Filter Plant | 21000 |  | 100% |  |  | Evenly
Common | FNC | Maintenance of Potable Water Filter Plant | 12000 |  | 100% |  |  | Evenly
Common | FND | Purchase and Install Prefilters and Polymer for RO Systems | 9000 |  | 100% |  |  | Evenly
Common | FND | Water Treatment Equipment | 15000 |  | 100% |  |  | Evenly
Common | FNE | Maintenance of Demineralizer | 15000 |  | 100% |  |  | Evenly
Common | FNF | Maintenance of WasteWater Treatment System | 12000 |  | 100% |  |  | Evenly
|  | Total "P" System Baseline | 1055000
Common | FPF | Consumables | 300000 |  | 100% |  |  | Evenly
Unit 3 | FPF | Consumables | 35000 |  | 100% |  |  | Evenly
Common | FPE | Tools | 55000 | 10% | 90% |  |  | Evenly
Unit 3 | FPE | Tools | 25000 |  | 100% |  |  | Evenly
Common | FPD | Fleet Services Charges | 100000 |  |  | 100% |  | Evenly
Common | FPC | Rolling Stock Maintenance | 90000 | 50% | 50% |  |  | Evenly
Common | FPC | Waste Management Fee | 60000 | 100% |  |  |  | Evenly
Common | FPA | Air Conditioner Service Calls | 80000 | 50% | 50% |  |  | Evenly
Common | FPB | Stotler Lawn Care Maintenance | 60000 | 100% |  |  |  | May - August
Common | FPA | Building and Structure Repairs | 150000 | 50% | 50% |  |  | Evenly
Common | FPB | Roads and Grounds Maintenance | 100000 | 50% | 50% |  |  | Evenly
|  | Total "R" System Baseline | 225000
Common | FRA | Annual International Fire Inspections Cost (Sprinklers, Extinguisher, Alarms) | 130000 | 80% | 20% |  |  | Evenly
Common | FRC | Annual Total Safety Inspections Cost (SCBA, Air Tanks) | 10000 | 100% |  |  |  | Evenly
Common | FRA | Blast and Paint Fire Hydrants | 20000 | 75% | 15% |  | 10% | May - August
Unit 3 | FRA | Paint and/or Replace Unit 3 Fire Piping Under Steamer | 40000 | 80% | 20% |  |  | May - August
Unit 3 | FRC | Repair Piping on CO2 Tanks | 10000 | 75% | 25% |  |  | March - April
Common | FRA | Rebuild Jockey Pump | 5000 |  | 100% |  |  | June
Unit 3 | FRY | Corrosion Protection | 10000 | 80% | 20% |  |  | Evenly
|  | Total "S" System Baseline | 110000
Common | FSA | Compressor Annual Maintenance Service Charge | 54000 | 85% | 15% |  |  | Quarterly
Unit 3 | FSA | Dessicant Changeout | 6000 | 30% | 70% |  |  | April
Unit 3 | FSY | Air Line Repairs and Painting (Corrosion Protection) | 50000
|  | Total "V" System Baseline | 492000
Unit 3 | FVY | LTSA Agreement - KLS | 342000 | 100% |  |  |  | Evenly
Unit 3 | FVK | Transmitters and Pressure switches | 30000 | 25% | 75% |  |  | Evenly
Unit 3 | FVY | Structural Painting (Corrosion Protection) | 50000 | 50% | 50% |  |  | Evenly
Unit 3 | FVY | Valve Repairs and Replacements (Corrosion Protection) | 30000 | 25% | 75% |  |  | Evenly
Unit 3 | FVA | Gas Filters | 4000 |  | 100% |  |  | Evenly
CT | FVG | CT Maintenance | 15000 | 50% | 50% |  |  | Evenly
Unit 3 | FVK | Control Cards | 5000 |  | 100% |  |  | Evenly
Unit 3 | FVK | Blade Health Monitoring Maintenance | 16000 | 100% |  |  |  | Evenly
|  | Total "W" System Baseline | 1824000
Unit 3 | FWB | Boiler Valves & Piping - Valves,Transmitters,Insulation | 605000 | 35% | 65% |  |  | Evenly
Unit 3 | FWB | Heat Trace Maintenance | 50000 |  | 100% |  |  | Evenly
Unit 3 | FWB | Fluor and Sunbelt Admin | 250000 | 100% |  |  |  | Evenly
Unit 3 | FWC | Chemicals - Lab Materials | 62000 |  | 100% |  |  | Evenly
Unit 3 | FWY | Uni Strut and Misc Instrument and Electrical Cabinet Replacements** | 100000 | 60% | 40% |  |  | Evenly
Unit 3 | FWY | Paint HRSG A*** | 200000 | 90% | 10% |  |  | Evenly
Unit 3 | FWY | Paint HRSG B** | 200000 | 90% | 10% |  |  | Evenly
Unit 3 | FWY | Paint BOP General Structure | 165000 | 90% | 10% |  |  | Evenly
Unit 3 | FWY | Paint Raw, Filter, and Condensate Tanks*** | 150000 | 90% | 10% |  |  | Evenly
Unit 3 | FWE | Boiler Water Circulation Pump - Economizer Pumps, Motors & Valves | 21000 | 90% | 10% |  |  | Evenly
Unit 3 | FWG | Headers/Links/Drums/Vessels | 5500 |  | 100% |  |  | Evenly
Unit 3 | FWH | Duct Burner | 15500 |  | 100% |  |  | Evenly
|  | Total "Y" System Baseline | 0
|  | Total "Z" System Baseline | 74562
Unit 1 | FZB | Emerson Sure Service Agreement | 29562 | 100% |  |  |  | February
Unit 3 | FZB | Computer System Upgrades | 15000 |  | 100% |  |  | Evenly
Common | FZY | NERC CIP | 30000 | 50% | 50% |  |  | Evenly