## 2013
Scholz 2013 Baseline Budget
Unit | Description of Project/Job | Budget Dollars | Tier 1 - High | Tier 1 - Medium | Tier 1 - Low | Tier 2 - High | Tier 2 - Medium | Tier 2 - Low | Tier 3 - High | Tier 3 - Medium | Tier 3 - Low
ARO | Asbestos Removal | 20000 | 0 | 10000 | 10000 | 0 | 0 | 0 | 0 | 0 | 0
| Removal of Asbestos | 20000 |  | 10000 | 10000
F1M | MANAGEMENT-OVERSEE PERSONNEL&TASKS | 5000 | 500 | 0 | 3500 | 0 | 0 | 1000 | 0 | 0 | 0
| Office Supplies - EEX | 500 |  |  | 500
| Hotel Travel Costs - EHT | 1000 |  |  | 1000
| Meal Travel Costs - EMN | 1000 |  |  | 1000
| Catered Meals - EMW | 1000 | [5 empty] | 1000
| Rental Car Costs - ERV | 1000 |  |  | 1000
| Utility Costs - EUT | 500 | 500
F21 | Accounting and Budgeting | 100 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 0
| Accounting Costs | 100 |  |  | 100
F23 | GENERAL-DEVELOP NEW COMPUTER | 100 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 0
| Computer Service Call Outs - EEX | 100 |  |  | 100
F34 | COMPLIANCE-ENVIRONMENTAL | 16000 | 16000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NPDES Sampling - KCS | 3000 | 3000
| NPDES Sampling - KLN | 3000 | 3000
| Stormwater Maintenance - KLO | 1000 | 1000
| Emission Monitoring | 7000 | 7000
| General Water Quality | 2000 | 2000
F35 | COMPLIANCE-OTHER | 8000 | 2000 | 4000 | 2000 | 0 | 0 | 0 | 0 | 0 | 0
| Wellness Expenses - EAL | 1000 | 1000
| Safety Expenses - EEX | 1000 | 1000
| Hotel Travel Costs - EHT | 1000 |  |  | 1000
| Meal Travel Costs - EMN | 500 |  |  | 500
| Rental Car Costs - ERV | 500 |  |  | 500
| Rescue Training - KCS | 2000 |  | 2000
| Safety Equipment - MDP | 2000 |  | 2000
F3R | Regional Planning Charges | 36823 | 36823 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Regional Support - SAP | 36823 | 36823
F41 | PURCHASING | 100 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Postage and Mailing Fees - EPS | 100 | 100
F43 | MATERIALS HANDLING | 400 | 0 | 0 | 400 | 0 | 0 | 0 | 0 | 0 | 0
| Inventory Adjustments - MMN | 400 |  |  | 400
F5X | FUEL MANAGEMENT | 31000 | 20000 | 0 | 0 | 0 | 11000 | 0 | 0 | 0 | 0
| Coal Analysis - KCS | 20000 | 20000
| Fuel Supply Security Costs | 11000 |  |  |  |  | 11000
F6XX | Training Budget | 29700 | 0 | 29700 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Hotel Travel Costs - EHT | 10000 |  | 10000
| Meal Travel Costs - EMN | 6000 |  | 6000
| Rental Car Costs - ERV | 6000 |  | 6000
| Training Fees - ETC | 7700 |  | 7700
F8 or F7 | PLANT CONTROL ROOM; Other | 2000 | 0 | 0 | 2000 | 0 | 0 | 0 | 0 | 0 | 0
| Control Room Equipment | 2000 |  |  | 2000
| Total "A" System Baseline | 157500 | 100000 | 7500 | 0 | 0 | 30000 | 20000 | 0 | 0 | 0
| NPDES Sampling | 15000 | 15000
| Ash Pond Maintenance | 40000 | 30000 |  |  |  | 10000
| Ash Removal | 55000 | 55000
| Precipitator Maintenance | 40000 |  |  |  |  | 20000 | 20000
| Fly Ash and Segregating Valves | 7500
7500
| Total "B" System Baseline | 50000 | 45000 | 0 | 0 | 5000 | 0 | 0 | 0 | 0 | 0
| CEMS Monitoring | 45000 | 45000
| ID and FD Fan Maintenance | 5000 |  |  |  | 5000
| Total "C" System Baseline | 25000 | 0 | 15000 | 0 | 10000 | 0 | 0 | 0 | 0 | 0
| Pulverizer, Feeder, Scale Maintenance | 25000 |  | 15000 |  | 10000
| Total "D" System Baseline | 52000 | 5000 | 35000 | 12000 | 0 | 0 | 0 | 0 | 0 | 0
| Railroad Maintenance | 23000 |  | 23000
| Rolling Stock | 12000 |  | 12000
| Coal Sampling | 5000 | 5000
| Conveyor Maintenance | 12000 |  |  | 12000
| Total "E" System Baseline | 1500 | 1500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Hydrogen | 1500 | 1500
| Total "F" System Baseline | 75000 | 0 | 15000 | 0 | 20000 | 0 | 0 | 40000 | 0 | 0
| Turbine Extractions | 75000 |  | 15000 |  | 20000 |  |  | 40000
| Total "H" System Baseline | 30000 | 0 | 15000 | 0 | 15000 | 0 | 0 | 0 | 0 | 0
| Circulating Water Pump Maintenance | 30000 |  | 15000 |  | 15000
| Total "J" System Baseline | 58906 | 10000 | 16302 | 16302 | 16302 | 0 | 0 | 0 | 0 | 0
| Nitrogen | 10000 | 10000
| Boiler Structure Lagging | 24453 |  | 8151 | 8151 | 8151
| Sootblower Maintenance | 24453 |  | 8151 | 8151 | 8151
| Total "K" System Baseline | 2000 | 2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Battery Charger Maintenanc | 2000 | 2000
| Total "L" System Baseline | 174400 | 10000 | 0 | 109400 | 5000 | 5000 | 5000 | 40000 | 0 | 0
| Condensate Storage Tank Rentals | 64400 |  |  | 64400
| PAG Requirements | 10000 | 10000
| LP Heater Maintenance | 40000 |  |  | 20000 |  |  |  | 20000
| Condenser Maintenance | 45000 |  |  | 25000 |  |  |  | 20000
| Dearator Maintenance | 15000 |  |  |  | 5000 | 5000 | 5000
| Total "M" System Baseline | 9000 | 0 | 9000 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Boiler Feed Pump Maintenance | 9000 |  | 9000
| Total "N" System Baseline | 9000 | 9000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Demin Trailer | 9000 | 9000
| Total "P" System Baseline | 656276 | 117000 | 31720 | 82000 | 40000 | 12000 | 5000 | 368556 | 0 | 0
| Consumables | 95720 | 32000 | 31720 | 32000
| Tools | 20000 | 20000
| Fleet Services Charges | 15000 | 15000
| Rolling Stock Maintenance | 50000 | 40000 |  | 10000
| Waste Management Fee | 10000 | 10000
| Air Conditioner Service Calls | 12000 |  |  |  |  | 12000
| Stotler Lawn Care Maintenance | 5000 | [5 empty] | 5000
| Building and Structure Repairs | 40000 |  |  | 20000 | 20000
| Roads and Grounds Maintenance | 40000 |  |  | 20000 | 20000
| Plant Labor moved to Contract Labor | 368556 | [6 empty] | 368556
| Total "R" System Baseline | 30000 | 30000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| International Fire Inspections | 25000 | 25000
| AAA-Sprinkler Inspections | 5000 | 5000
| Total "S" System Baseline | 4500 | 2250 | 0 | 0 | 2250 | 0 | 0 | 0 | 0 | 0
| Control Air Maintenance | 4500 | 2250 |  |  | 2250
| Total "Z" System Baseline | 3000 | 0 | 0 | 3000 | 0 | 0 | 0 | 0 | 0 | 0
| Computer Service Calls | 3000 |  |  | 3000
| Totals | 1487305 | 407173 | 188222 | 240802 | 113552 | 58000 | 31000 | 448556 | 0 | 0
|  |  | Tier 1 | 836197 |  | Tier 2 | 202552 |  | Tier 3 | 448556
|  |  |  | 56.22% |  |  | 13.62% |  |  | 30.16%

## 2014
Scholz 2014 Baseline Budget
Unit | Description of Project/Job | Budget Dollars | Tier 1 - High | Tier 1 - Medium | Tier 1 - Low | Tier 2 - High | Tier 2 - Medium | Tier 2 - Low | Tier 3 - High | Tier 3 - Medium | Tier 3 - Low
ARO | Asbestos Removal | 20000 | 0 | 10000 | 10000 | 0 | 0 | 0 | 0 | 0 | 0
| Removal of Asbestos | 20000 |  | 10000 | 10000
F1M | MANAGEMENT-OVERSEE PERSONNEL&TASKS | 5000 | 500 | 0 | 3500 | 0 | 0 | 1000 | 0 | 0 | 0
| Office Supplies - EEX | 500 |  |  | 500
| Hotel Travel Costs - EHT | 1000 |  |  | 1000
| Meal Travel Costs - EMN | 1000 |  |  | 1000
| Catered Meals - EMW | 1000 | [5 empty] | 1000
| Rental Car Costs - ERV | 1000 |  |  | 1000
| Utility Costs - EUT | 500 | 500
F21 | Accounting and Budgeting | 100 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 0
| Accounting Costs | 100 |  |  | 100
F23 | GENERAL-DEVELOP NEW COMPUTER | 100 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 0
| Computer Service Call Outs - EEX | 100 |  |  | 100
F34 | COMPLIANCE-ENVIRONMENTAL | 20000 | 20000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NPDES Sampling - KCS | 3000 | 3000
| NPDES Sampling - KLN | 3000 | 3000
| Stormwater Maintenance - KLO | 1000 | 1000
| Emission Monitoring | 11000 | 11000
| General Water Quality | 2000 | 2000
F35 | COMPLIANCE-OTHER | 8000 | 2000 | 4000 | 2000 | 0 | 0 | 0 | 0 | 0 | 0
| Wellness Expenses - EAL | 1000 | 1000
| Safety Expenses - EEX | 1000 | 1000
| Hotel Travel Costs - EHT | 1000 |  |  | 1000
| Meal Travel Costs - EMN | 500 |  |  | 500
| Rental Car Costs - ERV | 500 |  |  | 500
| Rescue Training - KCS | 2000 |  | 2000
| Safety Equipment - MDP | 2000 |  | 2000
F3R | Regional Planning Charges | 37823 | 37823 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Regional Support - SAP | 37823 | 37823
F41 | PURCHASING | 100 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Postage and Mailing Fees - EPS | 100 | 100
F43 | MATERIALS HANDLING | 400 | 0 | 0 | 0 | 0 | 400 | 0 | 0 | 0 | 0
| Inventory Adjustments - MMN | 400 |  |  |  |  | 400
F5X | FUEL MANAGEMENT | 36000 | 25000 | 0 | 0 | 0 | 11000 | 0 | 0 | 0 | 0
| Coal Analysis - KCS | 25000 | 25000
| Fuel Supply Security Costs | 11000 |  |  |  |  | 11000
F6XX | Training Budget | 29700 | 0 | 29700 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Hotel Travel Costs - EHT | 10000 |  | 10000
| Meal Travel Costs - EMN | 6000 |  | 6000
| Rental Car Costs - ERV | 6000 |  | 6000
| Training Fees - ETC | 7700 |  | 7700
F8 or F7 | PLANT CONTROL ROOM; Other | 2000 | 0 | 0 | 2000 | 0 | 0 | 0 | 0 | 0 | 0
| Control Room Equipment | 2000 |  |  | 2000
| Total "A" System Baseline | 127500 | 60000 | 17500 | 30000 | 20000 | 0 | 0 | 0 | 0 | 0
| NPDES Sampling | 15000 | 15000
| Ash Pond Maintenance | 20000 |  | 10000 | 10000
| Ash Removal | 45000 | 45000
| Precipitator Maintenance | 40000 |  |  | 20000 | 20000
| Fly Ash and Segregating Valves | 7500 |  | 7500
| Total "B" System Baseline | 78288 | 50000 | 10000 | 5000 | 13288 | 0 | 0 | 0 | 0 | 0
| CEMS Monitoring | 55000 | 45000 |  |  | 10000
| ID and FD Fan Maintenance | 23288 | 5000 | 10000 | 5000 | 3288
| Total "C" System Baseline | 25000 | 0 | 0 | 15000 | 0 | 0 | 0 | 10000 | 0 | 0
| Pulverizer, Feeder, Scale Maintenance | 25000 |  |  | 15000 |  |  |  | 10000
| Total "D" System Baseline | 77000 | 5000 | 35000 | 12000 | 0 | 0 | 0 | 25000 | 0 | 0
| Railroad Maintenance | 35000 |  | 23000 |  |  |  |  | 12000
| Rolling Stock | 12000 |  | 12000
| Coal Sampling | 5000 | 5000
| Conveyor Maintenance | 25000 | [6 empty] | 13000
12000
| Total "E" System Baseline | 1500 | 1500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Hydrogen | 1500 | 1500
| Total "F" System Baseline | 45000 | 0 | 20000 | 0 | 15000 | 0 | 0 | 10000 | 0 | 0
| Turbine Extractions | 45000 |  | 20000 |  | 15000 |  |  | 10000
| Total "H" System Baseline | 30000 | 0 | 15000 | 0 | 15000 | 0 | 0 | 0 | 0 | 0
| Circulating Water Pump Maintenance | 30000 |  | 15000 |  | 15000
| Total "J" System Baseline | 53000 | 10000 | 14000 | 15000 | 14000 | 0 | 0 | 0 | 0 | 0
| Nitrogen | 10000 | 10000
| Boiler Structure Lagging | 21500 |  | 7000 | 7500 | 7000
| Sootblower Maintenance | 21500 |  | 7000 | 7500 | 7000
| Total "K" System Baseline | 5000 | 5000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Battery Charger Maintenanc | 5000 | 5000
| Total "L" System Baseline | 177400 | 15000 | 0 | 117400 | 5000 | 0 | 0 | 40000 | 0 | 0
| Condensate Storage Tank Rentals | 67400 |  |  | 67400
| PAG Requirements | 10000 | 10000
| LP Heater Maintenance | 40000 |  |  | 20000 |  |  |  | 20000
| Condenser Maintenance | 45000 |  |  | 25000 |  |  |  | 20000
| Dearator Maintenance | 15000 | 5000 |  | 5000 | 5000
| Total "M" System Baseline | 9000 | 0 | 9000 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Boiler Feed Pump Maintenance | 9000 |  | 9000
| Total "N" System Baseline | 9000 | 9000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Demin Trailer | 9000 | 9000
| Total "P" System Baseline | 688770 | 10000 | 159000 | 72000 | 65000 | 0 | 5000 | 377770 | 0 | 0
| Consumables | 96000 |  | 32000 | 32000 | 32000
| Tools | 20000 |  | 20000
| Fleet Services Charges | 15000 |  | 15000
| Rolling Stock Maintenance | 50000 |  | 40000 |  | 10000
| Waste Management Fee | 10000 | 10000
| Air Conditioner Service Calls | 12000 |  | 12000
| Stotler Lawn Care Maintenance | 5000 | [5 empty] | 5000
| Building and Structure Repairs | 55000 |  | 20000 | 20000 | 15000
| Roads and Grounds Maintenance | 48000 |  | 20000 | 20000 | 8000
| Plant Labor moved to Contract Labor | 377770 | [6 empty] | 377770
| Total "R" System Baseline | 30000 | 30000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| International Fire Inspections | 25000 | 25000
| AAA-Sprinkler Inspections | 5000 | 5000
| Total "S" System Baseline | 4500 | 2250 | 0 | 0 | 2250 | 0 | 0 | 0 | 0 | 0
| Control Air Maintenance | 4500 | 2250 |  |  | 2250
| Total "Z" System Baseline | 3000 | 0 | 0 | 3000 | 0 | 0 | 0 | 0 | 0 | 0
| Computer Service Calls | 3000 |  |  | 3000
| Totals | 1523181 | 283173 | 323200 | 287100 | 149538 | 11400 | 6000 | 462770 | 0 | 0
|  |  | Tier 1 | 893473 |  | Tier 2 | 166938 |  | Tier 3 | 462770
|  |  |  | 58.66% |  |  | 10.96% |  |  | 30.38%

## Historicals
System | 2013 Budget Request | 2014 Budget Request
Management Activities | 119523 | 129523
Training Activities | 29700 | 29700
A System | 157500 | 127500
B System | 50000 | 78288
C System | 25000 | 25000
D System | 52000 | 77000
E System | 1500 | 1500
F System | 75000 | 45000
G System | 0 | 0
H System | 30000 | 30000
J System | 58906 | 53000
K System | 2000 | 5000
L System | 174400 | 177400
M System | 9000 | 9000
N System | 9000 | 9000
P System | 656276 | 688770
R System | 30000 | 30000
S System | 4500 | 4500
Z System | 3000 | 3000
Outage (Includes FUM,FUF) | 300000 | 400000
| 1787305 | 1923181 | Total Request This Year
| 1487305 | 1523181 | Baseline
| 300000 | 400000 | Outage
| 1894211 | 2556192 | Total Request Last Year
| 1294211 | 1156192 | Baseline
| 600000 | 1400000 | Outage
| -106906 | -633011 | Total Difference
| 193094 | 366989 | Baseline Difference
| -300000 | -1000000 | Outage Difference