## 2013 - 2017
2013 - 2017 Plant Smith Baseline (No Labor)
|  |  | 2013 | 2014
Unit | Activity | Description of Project/Job | Budget Dollars | Budget Dollars
| F1M | MANAGEMENT-OVERSEE PERSONNEL&TASKS | 118500 | 118500
Common | F1M | Miscellaneous Expenses - EAL | 25000 | 25000
Common | F1M | Office Supplies - EEX | 8000 | 8000
Common | F1M | Hotel Travel Costs - EHT | 15000 | 15000
Common | F1M | Meal Travel Costs - EMN | 9000 | 9000
Common | F1M | Catered Meals - EMW | 35000 | 35000
Common | F1M | Rental Car Costs - ERV | 18000 | 18000
Common | F1M | Allowed Covered Mileage - ETA | 2000 | 2000
Common | F1M | Non-Covered Mileage Reimbursement - ETV | 5000 | 5000
Common | F1M | Utility Costs - EUT | 1500 | 1500
| F22 | HUMAN RESOURCES | 3000 | 3000
Common | F22 | Hotel Travel Costs - EHT | 1000 | 1000
Common | F22 | Rental Car Costs - ERV | 1000 | 1000
Common | F22 | Non-Covered Mileage Reimbursement - ETV | 1000 | 1000
| F23 | GENERAL-DEVELOP NEW COMPUTER | 45000 | 45000
Common | F23 | Southern Linc Expenses - EAL | 2000 | 2000
Common | F23 | Computer Service Call Outs - EEX | 40000 | 40000
Common | F23 | Plant Computer Equipment - MDP | 3000 | 3000
| F24 | SECURITY | 160000 | 160000
Common | F24 | Security Vehicle Costs | 5000 | 5000
Common | F24 | Securitas Security Costs | 155000 | 155000
| F34 | COMPLIANCE-ENVIRONMENTAL | 75000 | 75000
Common | F34 | NPDES Sampling - KCS | 7000 | 7000
Common | F34 | NPDES Sampling - KLN | 2000 | 2000
Common | F34 | Stormwater Maintenance - KLO | 45000 | 45000
Common | F34 | Compliance Testing - KLS | 1000 | 1000
Common | F34 | Fuel Flow Meter Calibrations - MCM | 10000 | 10000
Common | F34 | Well Flow Meter Calibrations - MDP | 10000 | 10000
| F35 | COMPLIANCE-OTHER | 102000 | 102000
Common | F35 | Wellness Expenses - EAL | 15000 | 15000
Common | F35 | Safety Expenses - EEX | 3000 | 3000
Common | F35 | Hotel Travel Costs - EHT | 3000 | 3000
Common | F35 | Meal Travel Costs - EMN | 2000 | 2000
Common | F35 | Rental Car Costs - ERV | 3000 | 3000
Common | F35 | Rescue Training - KCS | 6000 | 6000
Common | F35 | Safety Equipment - MDP | 70000 | 70000
| F3R | Regional Planning Charges | 370416 | 375416
Common | F3R | Regional Support - SAP | 370416 | 375416
| F38 | CONDITION BASED MAINTENANCE | 15000 | 15000
Unit 1 | F38 | Insight Services CBM (Oil, Calibration, Etc.) - KCS | 4500 | 4500
Unit 2 | F38 | Insight Services CBM (Oil, Calibration, Etc.) - KCS | 4500 | 4500
CT | F38 | Insight Services CBM (Oil, Calibration, Etc.) - KCS | 500 | 500
Unit 3 | F38 | Insight Services CBM (Oil, Calibration, Etc.) - KCS | 3000 | 3000
Common | F38 | Insight Services CBM (Oil, Calibration, Etc.) - KCS | 2500 | 2500
| F41 | PURCHASING | 20000 | 20000
Common | F41 | Postage and Mailing Fees - EPS | 20000 | 20000
| F43 | MATERIALS HANDLING | 35000 | 35000
Common | F43 | Inventory Adjustments - MMN | 35000 | 35000
| F52 | FUEL MANAGEMENT | 20000 | 20000
Common | F52 | Coal Analysis - KCS | 20000 | 20000
| F61E | ATTENDEE-COMPLIANCE-EXTERNAL | 2000 | 2000
Common | F61E | Hotel Travel Costs - EHT | 1000 | 1000
Common | F61E | Meal Travel Costs - EMN | 500 | 500
Common | F61E | Rental Car Costs - ERV | 500 | 500
| F61I | ATTENDEE-COMPLIANCE-EXTERNAL | 1500 | 1500
Common | F61I | Hotel Travel Costs - EHT | 500 | 500
Common | F61I | Meal Travel Costs - EMN | 500 | 500
Common | F61I | Rental Car Costs - ERV | 500 | 500
| F62E | ATTENDEE NONTECHNICAL-EXTERNAL | 36500 | 36500
Common | F62E | Hotel Travel Costs - EHT | 10000 | 10000
Common | F62E | Meal Travel Costs - EMN | 1500 | 1500
Common | F62E | Rental Car Costs - ERV | 5000 | 5000
Common | F62E | Training Fees - ETC | 20000 | 20000
| F62I | ATTENDEE NONTECHNICAL-INTERNAL | 31500 | 31500
Common | F62I | Hotel Travel Costs - EHT | 10000 | 10000
Common | F62I | Meal Travel Costs - EMN | 500 | 500
Common | F62I | Rental Car Costs - ERV | 1000 | 1000
Common | F62I | Training Fees - ETC | 20000 | 20000
| F63E | ATTENDEE-TECHNICAL-EXTERNAL | 43500 | 43500
Common | F63E | Hotel Travel Costs - EHT | 15500 | 15500
Common | F63E | Meal Travel Costs - EMN | 10000 | 10000
Common | F63E | Rental Car Costs - ERV | 10000 | 10000
Common | F63E | Training Fees - ETC | 8000 | 8000
| F63I | ATTENDEE-TECHNICAL-EXTERNAL | 30000 | 30000
Common | F63I | Hotel Travel Costs - EHT | 12000 | 12000
Common | F63I | Meal Travel Costs - EMN | 3000 | 3000
Common | F63I | Rental Car Costs - ERV | 5000 | 5000
Common | F63I | Training Fees - ETC | 10000 | 10000
| F67 | ADMIN/SUPPORT (EDC) (TRAINING) | 12000 | 12000
Unit 3 | F67 | Training Fees - ETC | 12000 | 12000
| F81 | PLANT CONTROL ROOM | 2000 | 2000
Common | F81 | Control Room Equipment | 2000 | 2000
| F83 | FUEL HANDLING | 32000 | 32000
Common | F83 | Taxes and Fees - EFT | 2000 | 2000
Common | F83 | Non Generational Fuel Oil Consumption - MMN | 30000 | 30000
| F84 | OTHER-OPERATIONS | 20000 | 20000
Unit 3 | F84 | Non Generational Fuel Oil Consumption - MMN | 20000 | 20000
|  | Total "A" System Baseline | 1106500 | 900000
Unit 1 | FAC | Cold Fly Ash Valves - Segregating Valves | 20000 | 15000
Unit 1 | FAF | Cold Precip Contol Cards/Fan Belts | 3500 | 5000
Unit 1 | FAF | Hot Precip Control Cards/Fan Belts | 5000 | 5000
Unit 2 | FAB | Clinker Grinder Rebuild | 15500 | 0
Unit 2 | FAC | Cold Fly Ash Valves - Segregating Valves | 10000 | 15000
Unit 2 | FAC | Economizer Hopper Ash Valves | 10000 | 0
Unit 2 | FAC | Fly Ash Pump B | 34000 | 0
Unit 2 | FAF | Cold Precip Contol Cards/Fan Belts | 3500 | 5000
Unit 2 | FAF | Hot Precip Control Cards/Fan Belts | 5000 | 5000
Common | FAD | Ash Pond Maintenance | 50000 | 50000
|  | FUM Money | 100000 | 100000
Common | FAD | Ash Removal from Ash Pond | 850000 | 700000
Common | FAC | Ash Line Replacement Sectional | 0 | 0
|  | Total "B" System Baseline | 282000 | 285000
Common | FBH | CEMS Maintenance Contract | 66000 | 66000
Unit 1 | FBB | ID Damper Maintenance, Send out Beck Drives | 15000 | 15000
Unit 2 | FBB | ID Damper Maintenance, Send out Beck Drives | 15000 | 15000
Unit 2 | FBA | Sofo Cofa Damper Repairs , Send out Beck Drives | 2000 | 5000
Unit 1 | FBC | Annual Air Heater Instrumentation (Thermocouples, Sensing Lines, Sootblower Limits) | 2000 | 2000
Unit 2 | FBC | Annual Air Heater Instrumentation (Thermocouples, Sensing Lines, Sootblower Limits) | 2000 | 2000
Common | FBB | Wind Storm Lagging Repairs | 20000 | 20000
|  | FUM Money | 150000 | 150000
Common | FBY | Documentum Migration | 10000 | 10000
|  | Total "C" System Baseline | 247000 | 249100
Common | FCA | Ignitor Oil Pumps and Piping | 12000 | 12000
Common | FCA | Ignitor Oil Gun Parts | 6000 | 6000
Common | FCB | Coal Piping Elbows, Wear Plates, Norbac Repair Kits | 45000 | 45500
Common | FCE | Feeder Parts, Belts, Weight Rolls, Cleanout Chains, Bearing and Motors | 38000 | 39500
Common | FCD | Alstom Fees for Shared Inventory with Plant Kraft and Mitchell | 6000 | 6100
Common | FCD | Mill Parts, Roll Rebuild, Weld Overlay, Exhausters, Windbox and Classifier Blades | 140000 | 140000
|  | Total "D" System Baseline | 417500 | 420500
Unit 3 | FDD | Natural Gas Solutions Maintenance Contract | 110000 | 110000
Unit 3 | FDD | Natural Gas Suplly Valves, Controls, Filters | 8000 | 8500
Common | FDL | Thompson TM&R Agreement | 35000 | 35000
Common | FDL | Parts for D10, 844 Dosiers and Extended Boom Tractor | 7000 | 7800
Common | FDB | C.T. Fuel Oil Supply Piping, Fuel Forwarding Pumps, Valves | 3500 | 3500
Common | FDC | E-Crane, Motors, Hoses, Cylinders, Oil, Oil Coolers, Filters, Breakers | 200000 | 200000
Common | FDF | Conveyor Belts, Motors, Gear Boxes, Chutes, Belt Magnets, Breakers | 11000 | 12000
Common | FDH | Coal Belt Scales, Motors, Coal Samplers, Breakers | 5000 | 5000
Common | FDJ | Barge Equipment | 8000 | 30000
Unit 3 | FDY | Corrosion Protection | 30000 | 8700
|  | Total "E" System Baseline | 114000 | 114000
Unit 3 | FEF | Bulk Hydrogen | 80000 | 80000
Unit 3 | FEF | Hydrogen Tank Rentals | 24000 | 24000
Unit 3 | FEA | Generator Brushes | 5000 | 5000
Common | FEA | Generator Brushes | 5000 | 5000
|  | Total "F" System Baseline | 463000 | 313000
Unit 3 | FFB | Transmitters and Pressure Switches | 10000 | 10000
Unit 3 | FFY | Miscellaneous Painting (Corrosion Protection) | 50000 | 50000
Common | FFB | Transmitters and Pressure Switches | 10000 | 10000
Unit 3 | FFF | Filter Change Outs | 12000 | 12000
Unit 3 | FFA | Regional System Owner Charges | 15000 | 15000
Common | FFF | Turbine Oil | 30000 | 30000
Unit 3 | FFA | GE Work outside of LTSA | 30000 | 30000
Unit 3 | FFB | Thermo Couples | 6000 | 6000
Unit 3 | FFY | Paint ST Area Structure Beams (Corrosion Protection) | 300000 | 150000
|  | Total "G" System Baseline | 5000 | 2000
Common | FGE | Oil Analysis on Transformers | 2000 | 2000
Unit 3 | FGA | Station Service Tranformer Cabinet Repairs | 3000
|  | Total "H" System Baseline | 605500 | 627500
Common | FHC | Chlorine | 200000 | 225000
Unit 3 | FHC | Sodium Hypochlorite | 60000 | 60000
Common | FHB | Wash Screen Repairs | 60000 | 60000
Common | FHB | Intake Structure Repairs | 0 | 0
Common | FHD | Circulator Pump Refurbishment | 0 | 42500
Common | FHD | Trash Rack Repairs | 0 | 0
Unit 1 | FHD | Misc Pump Parts | 0 | 0
Unit 3 | FHE | CLCW Piping Inspections | 0 | 25000
Common | FHG | Flow Meter Replacements | 0 | 15000
Unit 3 | FHK | Cooling Tower Parts and Repairs | 0 | 50000
Common | FHG | Soft Starts and Grounding Repairs | 27000 | 0
Unit 3 | FHK | Cooling Tower Fan Inspections and Shaft/Hub Repairs | 118500 | 0
Unit 3 | FHK | Cooling Tower Lagging and Unistrut Replacement | 40000 | 0
Unit 3 | FHK | Cooling Tower Fan Motor Inspections and Rebuilds | 0 | 0
Unit 3 | FHY | CLCW Piping Repairs and Painting (Corrosion Repairs) | 100000 | 100000
Unit 3 | FHK | Grating in Cooling Tower (around Gear Boxes) | 0 | 0
Unit 3 | FHK | Makeup Pump Mechanical Seals | 0 | 50000
|  | Total "J" System Baseline | 403700 | 356700
Common | FJH | Instruments and Controls (Bearings, Control Cards, etc.) | 25550 | 25550
Unit 2 | FJC | Valve Maintenance ( Safety Valves) | 16000 | 16000
Unit 2 | FJA | Parts for PMs on Soot blower and Piping | 52000 | 40000
Unit 1 | FJA | Parts for PMs on Soot blower and Piping | 18500 | 18500
Unit 1 | FJC | Parts for PMs on Boiler Waterwall Valves & Drains | 30000 | 20000
Unit 1 | FJA | Parts for PMs on Wall Blowers (lances, bearings, and packing.) | 35000 | 20000
Unit 2 | FJA | Parts for PMs on Wall Blowers (lances, bearings, and packing.) | 26100 | 26100
Unit 2 | FJA | Valve and Piping Replacement on Wall Blowers | 25000 | 20000
|  | FUM Money | 150000 | 150000
Unit 1 | FJA | Valve and Piping Replacement on Wall Blowers | 25550 | 20550
|  | Total "K" System Baseline | 24000 | 24000
Common | FKF | Kossen Emergency Generator Service Call | 3000 | 3000
Unit 3 | FKF | Fuel for Emergency Generator | 6000 | 6000
Unit 3 | FKD | Limit Amps (GE Service) | 5000 | 5000
Common | FKE | Battery and Battery Charger Maintenance | 10000 | 10000
|  | Total "L" System Baseline | 141500 | 219000
Unit 3 | FLA | Helium Gas | 6000 | 6000
Unit 3 | FLY | Painting (Corrosion Protection) | 80000 | 80000
Unit 3 | FLA | PAG Deaerator Expenses | 0 | 15000
Unit 3 | FLA | Condenser Inlet/Outlet Valve Repairs | 0 | 50000
Common | FLA | Conderser Cleaning (Plugs) | 0 | 30000
Common | FLA | Condenser Misc Expenses (PMs, Leak Detection) | 37500 | 20000
Common | FLC | LP Heater Expenses | 10000 | 10000
Common | FLF | Deaerator Expenses | 2000 | 2000
Unit 3 | FLJ | Valves / Actuator Replacement External Piping | 6000 | 6000
Unit 3 | FLA | Condenser Coating | 0 | 0
Common | FLB | 1A Condensate Pump Motor Rebuild | 0 | 0
Common | FLA | Vacuum System Parts | 0 | 0
Common | FLB | Condensate Piping Inspections | 0 | 0
|  | Total "M" System Baseline | 100000 | 142000
Unit 1 | FMA | Spraywater Actuator Repairs, Oil Clean-Up on Motors, and Hydraulic Couplings | 25000 | 26000
Unit 2 | FMA | Spraywater Actuator Repairs, Oil Clean-Up on Motors, and Hydraulic Couplings | 25000 | 26000
Unit 3 | FMA | Small Bore Piping Repairs (Corrosion Protection) | 10000 | 50000
Common | FMA | PAG Requirements (Scaffolding and Insulation) | 40000 | 40000
|  | Total "N" System Baseline | 200000 | 200000
Common | FNC | Monthly Potable Water Sampling | 2000 | 2000
Unit 3 | FND | Mixed Bed Rentals | 70000 | 70000
Unit 3 | FND | Mixed Bed Purchases | 28000 | 28000
Common | FNA | Maintenance of Water Treatment Pretreatment Subsystem | 12000 | 12000
Common | FNB | Inspect Monscour Filters | 4000 | 4000
Common | FNB | Maintenance of Water Filter Plant | 21000 | 21000
Common | FNC | Maintenance of Potable Water Filter Plant | 12000 | 12000
Common | FND | Purchase and Install Prefilters and Polymer for RO Systems | 9000 | 9000
Common | FND | Water Treatment Equipment | 15000 | 15000
Common | FNE | Maintenance of Demineralizer | 15000 | 15000
Common | FNF | Maintenance of WasteWater Treatment System | 12000 | 12000
|  | Total "P" System Baseline | 1015000 | 1055000
Common | FPF | Consumables | 300000 | 300000
Unit 3 | FPF | Consumables | 15000 | 35000
Common | FPE | Tools | 55000 | 55000
Unit 3 | FPE | Tools | 25000 | 25000
Common | FPD | Fleet Services Charges | 100000 | 100000
Common | FPC | Rolling Stock Maintenance | 70000 | 90000
Common | FPC | Waste Management Fee | 60000 | 60000
Common | FPA | Air Conditioner Service Calls | 80000 | 80000
Common | FPB | Stotler Lawn Care Maintenance | 60000 | 60000
Common | FPA | Building and Structure Repairs | 150000 | 150000
Common | FPB | Roads and Grounds Maintenance | 100000 | 100000
|  | Total "R" System Baseline | 227000 | 225000
Common | FRA | Annual International Fire Inspections Cost (Sprinklers, Extinguisher, Alarms) | 120000 | 130000
Common | FRC | Annual Total Safety Inspections Cost (SCBA, Air Tanks) | 9000 | 10000
Unit 3 | FRC | Double Block and Bleed Valve to DCS | 40000 | 0
Common | FRA | Diesel Fire Control Panels | 18000 | 0
Common | FRA | Upgrade Admin. Fire Alarm System | 15000 | 0
Common | FRA | Repair Diesel Fire Pumps | 15000 | 0
Unit 3 | FRA | Corrosion Protection | 10000 | 10000
Common | FRA | Blast and Paint Fire Hydrants(2014) Fire House (2016) Fire Post Valves (2017) | 0 | 20000
Unit 3 | FRA | Replace Fire Piping Under Steamer | 0 | 40000
Unit 3 | FRC | Repair Piping on CO2 Tanks | 0 | 10000
Common | FRA | Rebuild Jockey Pump | 0 | 5000
Common | FRA | Replace Fire Piping Around Boiler | 0 | 0
Common | FRA | Inspect Rebuild Electric Fire Pump | 0 | 0
|  | Total "S" System Baseline | 110000 | 110000
Common | FSA | Compressor Annual Maintenance Service Charge | 54000 | 54000
Unit 3 | FSA | Dessicant Changeout | 6000 | 6000
Unit 3 | FSY | Air Line Repairs and Painting (Corrosion Protection) | 50000 | 50000
|  | Total "V" System Baseline | 552000 | 492000
Unit 3 | FVY | LTSA Agreement - KLS | 342000 | 342000
Unit 3 | FVK | Transmitters and Pressure Switches | 30000 | 30000
Unit 3 | FVY | Structural Painting (Corrosion Protection) | 110000 | 50000
Unit 3 | FVY | Valve Repairs and Replacements (Corrosion Protection) | 30000 | 30000
CT | FVA | Gas Filters | 4000 | 4000
CT | FVG | CT Maintenance | 15000 | 15000
Unit 3 | FVK | Control Cards | 5000 | 5000
Unit 3 | FVK | Blade Health Monitoring Maintenance | 16000 | 16000
|  | Total "W" System Baseline | 1790000 | 1824000
Unit 3 | FWB | Boiler Valves & Piping - Valves,Transmitters,Insulation | 380000 | 605000
Unit 3 | FWB | Heat Trace Maintenance | 10000 | 50000
Unit 3 | FWB | Fluor and Sunbelt Admin | 250000 | 250000
Unit 3 | FWC | Chemicals - Lab Materials | 60000 | 62000
Unit 3 | FWY | Uni Strut and Misc Instrument and Electrical Cabinet Replacements | 100000 | 100000
Unit 3 | FWY | Re Skin LCI, A & B PEECC | 150000 | 0
Unit 3 | FWY | Paint HRSG A | 600000 | 200000
Unit 3 | FWY | Paint BOP General Structure | 200000 | 165000
Unit 3 | FWE | Boiler Water Circulation Pump - Economizer Pumps, Motors & Valves | 20000 | 21000
Unit 3 | FWG | Headers/Links/Drums/Vessels | 5000 | 5500
Unit 3 | FWH | Duct Burner | 15000 | 15500
Unit 3 | FWY | Paint HRSG B | 0 | 200000
Unit 3 | FWY | Paint Raw, Filter, and Condensate Tanks | 0 | 150000
Unit 3 | FWY | Re Skin Admin Building | 0 | 0
Unit 3 | FWY | Re Skin Electrical Building | 0 | 0
|  | Total "Y" System Baseline | 0 | 0
|  | Total "Z" System Baseline | 74562 | 74562
Unit 1 | FZB | Emerson Sure Service Agreement | 29562 | 29562
Unit 3 | FZB | Computer System Upgrades | 15000 | 15000
Common | FZY | NERC CIP | 30000 | 30000
|  |  | Budget Dollars | Budget Dollars
|  | Totals | 9053178 | 8813278

## 2013
2013 Plant Smith Baseline (No Labor)
Unit | Activity | Description of Project/Job | Budget Dollars | Tier 1 | Tier 2 | Tier 3
| F1M | MANAGEMENT-OVERSEE PERSONNEL&TASKS | 118500 | 108500 | 10000 | 0
Common | F1M | Miscellaneous Expenses - EAL | 25000 | 20000 | 5000 | 0
Common | F1M | Office Supplies - EEX | 8000 | 8000 | 0 | 0
Common | F1M | Hotel Travel Costs - EHT | 15000 | 15000 | 0 | 0
Common | F1M | Meal Travel Costs - EMN | 9000 | 9000 | 0 | 0
Common | F1M | Catered Meals - EMW | 35000 | 30000 | 5000 | 0
Common | F1M | Rental Car Costs - ERV | 18000 | 18000 | 0 | 0
Common | F1M | Allowed Covered Mileage - ETA | 2000 | 2000 | 0 | 0
Common | F1M | Non-Covered Mileage Reimbursement - ETV | 5000 | 5000 | 0 | 0
Common | F1M | Utility Costs - EUT | 1500 | 1500 | 0 | 0
| F22 | HUMAN RESOURCES | 3000 | 3000 | 0 | 0
Common | F22 | Hotel Travel Costs - EHT | 1000 | 1000 | 0 | 0
Common | F22 | Rental Car Costs - ERV | 1000 | 1000 | 0 | 0
Common | F22 | Non-Covered Mileage Reimbursement - ETV | 1000 | 1000 | 0 | 0
| F23 | GENERAL-DEVELOP NEW COMPUTER | 45000 | 40000 | 5000 | 0
Common | F23 | Southern Linc Expenses - EAL | 2000 | 2000 | 0 | 0
Common | F23 | Computer Service Call Outs - EEX | 40000 | 35000 | 5000 | 0
Common | F23 | Plant Computer Equipment - MDP | 3000 | 3000 | 0 | 0
| F24 | SECURITY | 160000 | 160000 | 0 | 0
Common | F24 | Security Vehicle Costs | 5000 | 5000 | 0 | 0
Common | F24 | Securitas Security Costs | 155000 | 155000 | 0 | 0
| F34 | COMPLIANCE-ENVIRONMENTAL | 75000 | 75000 | 0 | 0
Common | F34 | NPDES Sampling - KCS | 7000 | 7000 | 0 | 0
Common | F34 | NPDES Sampling - KLN | 2000 | 2000 | 0 | 0
Common | F34 | Stormwater Maintenance - KLO | 45000 | 45000 | 0 | 0
Common | F34 | Compliance Testing - KLS | 1000 | 1000 | 0 | 0
Common | F34 | Fuel Flow Meter Calibrations - MCM | 10000 | 10000 | 0 | 0
Common | F34 | Well Flow Meter Calibrations - MDP | 10000 | 10000 | 0 | 0
| F35 | COMPLIANCE-OTHER | 102000 | 102000 | 0 | 0
Common | F35 | Wellness Expenses - EAL | 15000 | 15000 | 0 | 0
Common | F35 | Safety Expenses - EEX | 3000 | 3000 | 0 | 0
Common | F35 | Hotel Travel Costs - EHT | 3000 | 3000 | 0 | 0
Common | F35 | Meal Travel Costs - EMN | 2000 | 2000 | 0 | 0
Common | F35 | Rental Car Costs - ERV | 3000 | 3000 | 0 | 0
Common | F35 | Rescue Training - KCS | 6000 | 6000 | 0 | 0
Common | F35 | Safety Equipment - MDP | 70000 | 70000 | 0 | 0
| F3R | Regional Planning Charges | 370416 | 370416 | 0 | 0
Common | F3R | Regional Support - SAP | 370416 | 370416 | 0 | 0
| F38 | CONDITION BASED MAINTENANCE | 15000 | 15000 | 0 | 0
Unit 1 | F38 | Insight Services CBM (Oil, Calibration, Etc.) - KCS | 4500 | 4500 | 0 | 0
Unit 2 | F38 | Insight Services CBM (Oil, Calibration, Etc.) - KCS | 4500 | 4500 | 0 | 0
CT | F38 | Insight Services CBM (Oil, Calibration, Etc.) - KCS | 500 | 500 | 0 | 0
Unit 3 | F38 | Insight Services CBM (Oil, Calibration, Etc.) - KCS | 3000 | 3000 | 0 | 0
Common | F38 | Insight Services CBM (Oil, Calibration, Etc.) - KCS | 2500 | 2500 | 0 | 0
| F41 | PURCHASING | 20000 | 20000 | 0 | 0
Common | F41 | Postage and Mailing Fees - EPS | 20000 | 20000 | 0 | 0
| F43 | MATERIALS HANDLING | 35000 | 25000 | 10000 | 0
Common | F43 | Inventory Adjustments - MMN | 35000 | 25000 | 10000 | 0
| F52 | FUEL MANAGEMENT | 20000 | 20000 | 0 | 0
Common | F52 | Coal Analysis - KCS | 20000 | 20000 | 0 | 0
| F61E | ATTENDEE-COMPLIANCE-EXTERNAL | 2000 | 2000 | 0 | 0
Common | F61E | Hotel Travel Costs - EHT | 1000 | 1000 | 0 | 0
Common | F61E | Meal Travel Costs - EMN | 500 | 500 | 0 | 0
Common | F61E | Rental Car Costs - ERV | 500 | 500 | 0 | 0
| F61I | ATTENDEE-COMPLIANCE-EXTERNAL | 1500 | 1500 | 0 | 0
Common | F61I | Hotel Travel Costs - EHT | 500 | 500 | 0 | 0
Common | F61I | Meal Travel Costs - EMN | 500 | 500 | 0 | 0
Common | F61I | Rental Car Costs - ERV | 500 | 500 | 0 | 0
| F62E | ATTENDEE NONTECHNICAL-EXTERNAL | 36500 | 28500 | 8000 | 0
Common | F62E | Hotel Travel Costs - EHT | 10000 | 8000 | 2000 | 0
Common | F62E | Meal Travel Costs - EMN | 1500 | 1500 | 0 | 0
Common | F62E | Rental Car Costs - ERV | 5000 | 4000 | 1000 | 0
Common | F62E | Training Fees - ETC | 20000 | 15000 | 5000 | 0
| F62I | ATTENDEE NONTECHNICAL-INTERNAL | 31500 | 24500 | 7000 | 0
Common | F62I | Hotel Travel Costs - EHT | 10000 | 8000 | 2000 | 0
Common | F62I | Meal Travel Costs - EMN | 500 | 500 | 0 | 0
Common | F62I | Rental Car Costs - ERV | 1000 | 1000 | 0 | 0
Common | F62I | Training Fees - ETC | 20000 | 15000 | 5000 | 0
| F63E | ATTENDEE-TECHNICAL-EXTERNAL | 43500 | 36000 | 7500 | 0
Common | F63E | Hotel Travel Costs - EHT | 15500 | 13000 | 2500 | 0
Common | F63E | Meal Travel Costs - EMN | 10000 | 8000 | 2000 | 0
Common | F63E | Rental Car Costs - ERV | 10000 | 8000 | 2000 | 0
Common | F63E | Training Fees - ETC | 8000 | 7000 | 1000 | 0
| F63I | ATTENDEE-TECHNICAL-EXTERNAL | 30000 | 26000 | 4000 | 0
Common | F63I | Hotel Travel Costs - EHT | 12000 | 10000 | 2000 | 0
Common | F63I | Meal Travel Costs - EMN | 3000 | 3000 | 0 | 0
Common | F63I | Rental Car Costs - ERV | 5000 | 4000 | 1000 | 0
Common | F63I | Training Fees - ETC | 10000 | 9000 | 1000 | 0
| F67 | ADMIN/SUPPORT (EDC) (TRAINING) | 12000 | 10000 | 2000 | 0
Unit 3 | F67 | Training Fees - ETC | 12000 | 10000 | 2000 | 0
| F81 | PLANT CONTROL ROOM | 2000 | 2000 | 0 | 0
Common | F81 | Control Room Equipment | 2000 | 2000 | 0 | 0
| F83 | FUEL HANDLING | 32000 | 32000 | 0 | 0
Common | F83 | Taxes and Fees - EFT | 2000 | 2000 | 0 | 0
Common | F83 | Non Generational Fuel Oil Consumption - MMN | 30000 | 30000 | 0 | 0
| F84 | OTHER-OPERATIONS | 20000 | 20000 | 0 | 0
Unit 3 | F84 | Non Generational Fuel Oil Consumption - MMN | 20000 | 20000 | 0 | 0
|  | Total "A" System Baseline | 1106500 | 649000 | 107500 | 350000
Unit 1 | FAC | Cold Fly Ash Valves - Segregating Valves | 20000 | 10000 | 10000 | 0
Unit 1 | FAF | Cold Precip Contol Cards/Fan Belts | 3500 | 2000 | 1500 | 0
Unit 1 | FAF | Hot Precip Control Cards/Fan Belts | 5000 | 3000 | 2000 | 0
Unit 2 | FAB | Clinker Grinder Rebuild | 15500 | 15500 | 0 | 0
Unit 2 | FAC | Cold Fly Ash Valves - Segregating Valves | 10000 | 6000 | 4000 | 0
Unit 2 | FAC | Economizer Hopper Ash Valves | 10000 | 4000 | 6000 | 0
Unit 2 | FAC | Fly Ash Pump B | 34000 | 0 | 34000 | 0
Unit 2 | FAF | Cold Precip Contol Cards/Fan Belts | 3500 | 3500 | 0 | 0
Unit 2 | FAF | Hot Precip Control Cards/Fan Belts | 5000 | 5000 | 0 | 0
Common | FAD | Ash Pond Maintenance | 50000 | 0 | 50000 | 0
|  | FUM Money | 100000 | 100000 | 0 | 0
Common | FAD | Ash Removal from Ash Pond | 850000 | 500000 | 0 | 350000
|  | Total "B" System Baseline | 282000 | 222000 | 50000 | 10000
Common | FBH | CEMS Maintenance Contract | 66000 | 66000 | 0 | 0
Unit 1 | FBB | ID Damper Maintenance, Send out Beck Drives | 15000 | 15000 | 0 | 0
Unit 2 | FBB | ID Damper Maintenance, Send out Beck Drives | 15000 | 15000 | 0 | 0
Unit 2 | FBA | Sofo Cofa Damper Repairs , Send out Beck Drives | 2000 | 2000 | 0 | 0
Unit 1 | FBC | Annual Air Heater Instrumentation (Thermocouples, Sensing Lines, Sootblower Limits) | 2000 | 2000 | 0 | 0
Unit 2 | FBC | Annual Air Heater Instrumentation (Thermocouples, Sensing Lines, Sootblower Limits) | 2000 | 2000 | 0 | 0
Common | FBB | Wind Storm Lagging Repairs | 20000 | 20000 | 0 | 0
|  | FUM Money | 150000 | 100000 | 50000 | 0
Common | FBY | Documentum Migration | 10000 | 0 | 0 | 10000
|  | Total "C" System Baseline | 247000 | 219000 | 10000 | 18000
Common | FCA | Ignitor Oil Pumps and Piping | 12000 | 7000 | 5000 | 0
Common | FCA | Ignitor Oil Gun Parts | 6000 | 6000 | 0 | 0
Common | FCB | Coal Piping Elbows, Wear Plates, Norbac Repair Kits | 45000 | 40000 | 5000 | 0
Common | FCE | Feeder Parts, Belts, Weight Rolls, Cleanout Chains, Bearing and Motors | 38000 | 20000 | 0 | 18000
Common | FCD | Alstom Fees for Shared Inventory with Plant Kraft and Mitchell | 6000 | 6000 | 0 | 0
Common | FCD | Mill Parts, Roll Rebuild, Weld Overlay, Exhausters, Windbox and Classifier Blades | 140000 | 140000 | 0 | 0
|  | Total "D" System Baseline | 417500 | 417500 | 0 | 0
Unit 3 | FDD | Natural Gas Solutions Maintenance Contract | 110000 | 110000 | 0 | 0
Unit 3 | FDD | Natural Gas Suplly Valves, Controls, Filters | 8000 | 8000 | 0 | 0
Common | FDL | Thompson TM&R Agreement | 35000 | 35000 | 0 | 0
Common | FDL | Parts for D10, 844 Dosiers and Extended Boom Tractor | 7000 | 7000 | 0 | 0
Common | FDB | C.T. Fuel Oil Supply Piping, Fuel Forwarding Pumps, Valves | 3500 | 3500 | 0 | 0
Common | FDC | E-Crane, Motors, Hoses, Cylinders, Oil, Oil Coolers, Filters, Breakers | 200000 | 200000 | 0 | 0
Common | FDF | Conveyor Belts, Motors, Gear Boxes, Chutes, Belt Magnets, Breakers | 11000 | 11000 | 0 | 0
Common | FDH | Coal Belt Scales, Motors, Coal Samplers, Breakers | 5000 | 5000 | 0 | 0
Common | FDJ | Barge Equipment | 8000 | 8000 | 0 | 0
Unit 3 | FDY | Corrosion Protection | 30000 | 30000 | 0 | 0
|  | Total "E" System Baseline | 114000 | 114000 | 0 | 0
Unit 3 | FEF | Bulk Hydrogen | 80000 | 80000 | 0 | 0
Unit 3 | FEF | Hydrogen Tank Rentals | 24000 | 24000 | 0 | 0
Unit 3 | FEA | Generator Brushes | 5000 | 5000 | 0 | 0
Common | FEA | Generator Brushes | 5000 | 5000 | 0 | 0
|  | Total "F" System Baseline | 463000 | 348000 | 115000 | 0
Unit 3 | FFB | Transmitters and Pressure Switches | 10000 | 4000 | 6000 | 0
Unit 3 | FFY | Miscellaneous Painting (Corrosion Protection) | 50000 | 50000 | 0 | 0
Common | FFB | Transmitters and Pressure Switches | 10000 | 4000 | 6000 | 0
Unit 3 | FFF | Filter Change Outs | 12000 | 12000 | 0 | 0
Unit 3 | FFA | Regional System Owner Charges | 15000 | 15000 | 0 | 0
Common | FFF | Turbine Oil | 30000 | 30000 | 0 | 0
Unit 3 | FFA | GE Work outside of LTSA | 30000 | 30000 | 0 | 0
Unit 3 | FFB | Thermo Couples | 6000 | 3000 | 3000 | 0
Unit 3 | FFY | Paint ST Area Structure Beams (Corrosion Protection) | 300000 | 200000 | 100000 | 0
|  | Total "G" System Baseline | 5000 | 5000 | 0 | 0
Common | FGE | Oil Analysis on Transformers | 2000 | 2000 | 0 | 0
Unit 3 | FGA | Station Service Tranformer Cabinet Repairs | 3000 | 3000 | 0 | 0
|  | Total "H" System Baseline | 605500 | 498500 | 82000 | 25000
Common | FHC | Chlorine | 200000 | 200000 | 0 | 0
Unit 3 | FHC | Sodium Hypochlorite | 60000 | 60000 | 0 | 0
Common | FHB | Discharge Canal Seawall Repairs | 60000 | 30000 | 30000 | 0
Unit 3 | FHE | CLCW Piping Cleaning/Painting | 100000 | 50000 | 25000 | 25000
Common | FHG | Soft Starts and Grounding Repairs | 27000 | 0 | 27000 | 0
Unit 3 | FHK | Cooling Tower Fan Inspections and Shaft/Hub Repairs | 118500 | 118500 | 0 | 0
Unit 3 | FHK | Cooling Tower Lagging and Unistrut Replacement | 40000 | 40000 | 0 | 0
|  | Total "J" System Baseline | 403700 | 308550 | 95150 | 0
Common | FJH | Instruments and Controls (Bearings, Control Cards, etc.) | 25550 | 20550 | 5000 | 0
Unit 2 | FJC | Valve Maintenance ( Safety Valves) | 16000 | 16000 | 0 | 0
Unit 2 | FJA | Parts for PMs on Soot blower and Piping | 52000 | 40000 | 12000 | 0
Unit 1 | FJA | Parts for PMs on Soot blower and Piping | 18500 | 15000 | 3500 | 0
Unit 1 | FJC | Parts for PMs on Boiler Waterwall Valves & Drains | 30000 | 22000 | 8000 | 0
Unit 1 | FJA | Parts for PMs on Wall Blowers (lances, bearings, and packing.) | 35000 | 28000 | 7000 | 0
Unit 2 | FJA | Parts for PMs on Wall Blowers (lances, bearings, and packing.) | 26100 | 23000 | 3100 | 0
Unit 2 | FJA | Valve and Piping Replacement on Wall Blowers | 25000 | 22000 | 3000 | 0
|  | FUM Money | 150000 | 100000 | 50000 | 0
Unit 1 | FJA | Valve and Piping Replacement on Wall Blowers | 25550 | 22000 | 3550 | 0
|  | Total "K" System Baseline | 24000 | 24000 | 0 | 0
Common | FKF | Kossen Emergency Generator Service Call | 3000 | 3000 | 0 | 0
Unit 3 | FKF | Fuel for Emergency Generator | 6000 | 6000 | 0 | 0
Unit 3 | FKD | Limit Amps (GE Service) | 5000 | 5000 | 0 | 0
Common | FKE | Battery and Battery Charger Maintenance | 10000 | 10000 | 0 | 0
|  | Total "L" System Baseline | 141500 | 114000 | 27500 | 0
Unit 3 | FLA | Helium Gas | 6000 | 6000 | 0 | 0
Unit 3 | FLY | Painting (Corrosion Protection) | 80000 | 70000 | 10000 | 0
Common | FLA | Condenser Misc Expenses (PMs, Leak Detection) | 37500 | 20000 | 17500 | 0
Common | FLC | LP Heater Expenses | 10000 | 10000 | 0 | 0
Common | FLF | Deaerator Expenses | 2000 | 2000 | 0 | 0
Unit 3 | FLJ | Valves / Actuator Replacement External Piping | 6000 | 6000 | 0 | 0
|  | Total "M" System Baseline | 100000 | 88000 | 12000 | 0
Unit 1 | FMA | Spraywater Actuator Repairs, Oil Clean-Up on Motors, and Hydraulic Couplings | 25000 | 20000 | 5000 | 0
Unit 2 | FMA | Spraywater Actuator Repairs, Oil Clean-Up on Motors, and Hydraulic Couplings | 25000 | 20000 | 5000 | 0
Unit 3 | FMA | Small Bore Piping Repairs (Corrosion Protection) | 10000 | 8000 | 2000 | 0
Common | FMA | PAG Requirements (Scaffolding and Insulation) | 40000 | 40000 | 0 | 0
|  | Total "N" System Baseline | 200000 | 200000 | 0 | 0
Common | FNC | Monthly Potable Water Sampling | 2000 | 2000 | 0 | 0
Unit 3 | FND | Mixed Bed Rentals | 70000 | 70000 | 0 | 0
Unit 3 | FND | Mixed Bed Purchases | 28000 | 28000 | 0 | 0
Common | FNA | Maintenance of Water Treatment Pretreatment Subsystem | 12000 | 12000 | 0 | 0
Common | FNB | Inspect Monscour Filters | 4000 | 4000 | 0 | 0
Common | FNB | Maintenance of Water Filter Plant | 21000 | 21000 | 0 | 0
Common | FNC | Maintenance of Potable Water Filter Plant | 12000 | 12000 | 0 | 0
Common | FND | Purchase and Install Prefilters and Polymer for RO Systems | 9000 | 9000 | 0 | 0
Common | FND | Water Treatment Equipment | 15000 | 15000 | 0 | 0
Common | FNE | Maintenance of Demineralizer | 15000 | 15000 | 0 | 0
Common | FNF | Maintenance of WasteWater Treatment System | 12000 | 12000 | 0 | 0
|  | Total "P" System Baseline | 1270264 | 945000 | 45000 | 280264
Common | FPF | Consumables | 300000 | 300000 | 0 | 0
Unit 3 | FPF | Consumables | 15000 | 15000 | 0 | 0
Common | FPE | Tools | 55000 | 30000 | 25000 | 0
Unit 3 | FPE | Tools | 25000 | 20000 | 5000 | 0
Common | FPD | Fleet Services Charges | 100000 | 100000 | 0 | 0
Common | FPC | Rolling Stock Maintenance | 70000 | 55000 | 15000 | 0
Common | FPC | Waste Management Fee | 60000 | 60000 | 0 | 0
Common | FPA | Air Conditioner Service Calls | 80000 | 80000 | 0 | 0
Common | FPB | Stotler Lawn Care Maintenance | 60000 | 60000 | 0 | 0
Common | FPA | Building and Structure Repairs | 150000 | 125000 | 0 | 25000
Common | FPB | Roads and Grounds Maintenance | 100000 | 100000 | 0 | 0
Common | FPY | Plant Labor Moved to Contract Labor | 255264 | 0 | 0 | 255264
|  | Total "R" System Baseline | 227000 | 193000 | 24000 | 10000
Common | FRA | Annual International Fire Inspections Cost (Sprinklers, Extinguisher, Alarms) | 120000 | 120000 | 0 | 0
Common | FRC | Annual Total Safety Inspections Cost (SCBA, Air Tanks) | 9000 | 9000 | 0 | 0
Unit 3 | FRC | Double Block and Bleed Valve to DCS | 40000 | 40000 | 0 | 0
Common | FRA | Diesel Fire Control Panels | 18000 | 9000 | 9000 | 0
Common | FRA | Upgrade Admin. Fire Alarm System | 15000 | 0 | 15000 | 0
Common | FRA | Repair Diesel Fire Pumps | 15000 | 15000 | 0 | 0
Unit 3 | FRA | Corrosion Protection | 10000 | 0 | 0 | 10000
|  | Total "S" System Baseline | 110000 | 90000 | 10000 | 10000
Common | FSA | Compressor Annual Maintenance Service Charge | 54000 | 54000 | 0 | 0
Unit 3 | FSA | Dessicant Changeout | 6000 | 6000 | 0 | 0
Unit 3 | FSY | Air Line Repairs and Painting (Corrosion Protection) | 50000 | 30000 | 10000 | 10000
|  | Total "V" System Baseline | 552000 | 487000 | 65000 | 0
Unit 3 | FVY | LTSA Agreement - KLS | 342000 | 342000 | 0 | 0
Unit 3 | FVK | Transmitters and Pressure Switches | 30000 | 10000 | 20000 | 0
Unit 3 | FVY | Structural Painting (Corrosion Protection) | 110000 | 80000 | 30000 | 0
Unit 3 | FVY | Valve Repairs and Replacements (Corrosion Protection) | 30000 | 15000 | 15000 | 0
CT | FVA | Gas Filters | 4000 | 4000 | 0 | 0
CT | FVG | CT Maintenance | 15000 | 15000 | 0 | 0
Unit 3 | FVK | Control Cards | 5000 | 5000 | 0 | 0
Unit 3 | FVK | Blade Health Monitoring Maintenance | 16000 | 16000 | 0 | 0
|  | Total "W" System Baseline | 1790000 | 1207500 | 557500 | 25000
Unit 3 | FWB | Boiler Valves & Piping - Valves,Transmitters,Insulation | 380000 | 190000 | 190000 | 0
Unit 3 | FWB | Heat Trace Maintenance | 10000 | 10000 | 0 | 0
Unit 3 | FWB | Fluor and Sunbelt Admin | 250000 | 250000 | 0 | 0
Unit 3 | FWC | Chemicals - Lab Materials | 60000 | 60000 | 0 | 0
Unit 3 | FWY | Uni Strut and Misc Instrument and Electrical Cabinet Replacements* | 100000 | 50000 | 50000 | 0
Unit 3 | FWY | Re Skin LCI, A & B PEECC | 150000 | 75000 | 75000 | 0
Unit 3 | FWY | Paint HRSG A | 600000 | 450000 | 150000 | 0
Unit 3 | FWY | Paint BOP General Structure*** | 200000 | 100000 | 75000 | 25000
Unit 3 | FWE | Boiler Water Circulation Pump - Economizer Pumps, Motors & Valves | 20000 | 10000 | 10000 | 0
Unit 3 | FWG | Headers/Links/Drums/Vessels | 5000 | 5000 | 0 | 0
Unit 3 | FWH | Duct Burner | 15000 | 7500 | 7500 | 0
|  | Total "Y" System Baseline | 0 | 0 | 0 | 0
|  | Total "Z" System Baseline | 74562 | 39562 | 20000 | 15000
Unit 1 | FZB | Emerson Sure Service Agreement | 29562 | 29562 | 0 | 0
Unit 3 | FZB | Computer System Upgrades | 15000 | 10000 | 5000 | 0
Common | FZY | NERC CIP | 30000 | 0 | 15000 | 15000
|  |  | Budget Dollars | Tier 1 | Tier 2 | Tier 3
|  | 2013 Totals | 9308442 | 7291028 | 1274150 | 743264
|  |  |  | 78.33% | 13.69% | 7.985%
|  | 2014 Totals | 8813278 | 6834628 | 1163150 | 815500
|  |  |  | 77.55% | 13.2% | 9.253%
|  | 2015 Totals | 9007078 | 7156428 | 1078650 | 772000
|  |  |  | 79.44% | 11.99% | 8.571%
|  | 2016 Totals | 9198478 | 7567078 | 1426400 | 205000
|  |  |  | 82.26% | 15.51% | 2.229%
|  | 2017 Totals | 9085128 | 6803478 | 1423650 | 858000
|  |  |  | 74.89% | 23.38% | 1.739%
Note on E180: mgstrick: painting nat gas lines
Note on E192: mgstrick: painting around lube oil skid, oil piping, ST enclosures
Note on E199: mgstrick: structural beams around ST area, they will need replacement it not painted soon
Note on F199: mgstrick: structural beams around ST area, they will need replacement it not painted soon
Note on F301: mgstrick: painting beams, oil piping, top of acc modules, turb compt
Note on F302: mgstrick: Dome cover and misc valve replacements to SS
Note on F314: mgstrick: replace cable tray unistruut and hangers to SS, cable tray covers, cover cabinets
Note on F315: mgstrick: water intrusion major concern for these enlclosures
Note on F316: mgstrick: needed to completely finish painting of HRSG from top down, HRSG A still has original paint
Note on F317: mgstrick: continued BOP painting to prevent additional beam replacement
Note on G317: mgstrick: continued BOP painting to prevent additional beam replacement

## 2014
2014 Plant Smith Baseline (No Labor)
Unit | Activity | Description of Project/Job | Budget Dollars | Tier 1 | Tier 2 | Tier 3
| F1M | MANAGEMENT-OVERSEE PERSONNEL&TASKS | 118500 | 108500 | 10000 | 0
Common | F1M | Miscellaneous Expenses - EAL | 25000 | 20000 | 5000 | 0
Common | F1M | Office Supplies - EEX | 8000 | 8000 | 0 | 0
Common | F1M | Hotel Travel Costs - EHT | 15000 | 15000 | 0 | 0
Common | F1M | Meal Travel Costs - EMN | 9000 | 9000 | 0 | 0
Common | F1M | Catered Meals - EMW | 35000 | 30000 | 5000 | 0
Common | F1M | Rental Car Costs - ERV | 18000 | 18000 | 0 | 0
Common | F1M | Allowed Covered Mileage - ETA | 2000 | 2000 | 0 | 0
Common | F1M | Non-Covered Mileage Reimbursement - ETV | 5000 | 5000 | 0 | 0
Common | F1M | Utility Costs - EUT | 1500 | 1500 | 0 | 0
| F22 | HUMAN RESOURCES | 3000 | 3000 | 0 | 0
Common | F22 | Hotel Travel Costs - EHT | 1000 | 1000 | 0 | 0
Common | F22 | Rental Car Costs - ERV | 1000 | 1000 | 0 | 0
Common | F22 | Non-Covered Mileage Reimbursement - ETV | 1000 | 1000 | 0 | 0
| F23 | GENERAL-DEVELOP NEW COMPUTER | 45000 | 40000 | 5000 | 0
Common | F23 | Southern Linc Expenses - EAL | 2000 | 2000 | 0 | 0
Common | F23 | Computer Service Call Outs - EEX | 40000 | 35000 | 5000 | 0
Common | F23 | Plant Computer Equipment - MDP | 3000 | 3000 | 0 | 0
| F24 | SECURITY | 160000 | 160000 | 0 | 0
Common | F24 | Security Vehicle Costs | 5000 | 5000 | 0 | 0
Common | F24 | Securitas Security Costs | 155000 | 155000 | 0 | 0
| F34 | COMPLIANCE-ENVIRONMENTAL | 75000 | 75000 | 0 | 0
Common | F34 | NPDES Sampling - KCS | 7000 | 7000 | 0 | 0
Common | F34 | NPDES Sampling - KLN | 2000 | 2000 | 0 | 0
Common | F34 | Stormwater Maintenance - KLO | 45000 | 45000 | 0 | 0
Common | F34 | Compliance Testing - KLS | 1000 | 1000 | 0 | 0
Common | F34 | Fuel Flow Meter Calibrations - MCM | 10000 | 10000 | 0 | 0
Common | F34 | Well Flow Meter Calibrations - MDP | 10000 | 10000 | 0 | 0
| F35 | COMPLIANCE-OTHER | 102000 | 102000 | 0 | 0
Common | F35 | Wellness Expenses - EAL | 15000 | 15000 | 0 | 0
Common | F35 | Safety Expenses - EEX | 3000 | 3000 | 0 | 0
Common | F35 | Hotel Travel Costs - EHT | 3000 | 3000 | 0 | 0
Common | F35 | Meal Travel Costs - EMN | 2000 | 2000 | 0 | 0
Common | F35 | Rental Car Costs - ERV | 3000 | 3000 | 0 | 0
Common | F35 | Rescue Training - KCS | 6000 | 6000 | 0 | 0
Common | F35 | Safety Equipment - MDP | 70000 | 70000 | 0 | 0
| F3R | Regional Planning Charges | 375416 | 375416 | 0 | 0
Common | F3R | Regional Support - SAP | 375416 | 375416 | 0 | 0
| F38 | CONDITION BASED MAINTENANCE | 15000 | 15000 | 0 | 0
Unit 1 | F38 | Insight Services CBM (Oil, Calibration, Etc.) - KCS | 4500 | 4500 | 0 | 0
Unit 2 | F38 | Insight Services CBM (Oil, Calibration, Etc.) - KCS | 4500 | 4500 | 0 | 0
CT | F38 | Insight Services CBM (Oil, Calibration, Etc.) - KCS | 500 | 500 | 0 | 0
Unit 3 | F38 | Insight Services CBM (Oil, Calibration, Etc.) - KCS | 3000 | 3000 | 0 | 0
Common | F38 | Insight Services CBM (Oil, Calibration, Etc.) - KCS | 2500 | 2500 | 0 | 0
| F41 | PURCHASING | 20000 | 20000 | 0 | 0
Common | F41 | Postage and Mailing Fees - EPS | 20000 | 20000 | 0 | 0
| F43 | MATERIALS HANDLING | 35000 | 25000 | 10000 | 0
Common | F43 | inventory Adjustments - MMN | 35000 | 25000 | 10000 | 0
| F52 | FUEL MANAGEMENT | 20000 | 20000 | 0 | 0
Common | F52 | Coal Analysis - KCS | 20000 | 20000 | 0 | 0
| F61E | ATTENDEE-COMPLIANCE-EXTERNAL | 2000 | 2000 | 0 | 0
Common | F61E | Hotel Travel Costs - EHT | 1000 | 1000 | 0 | 0
Common | F61E | Meal Travel Costs - EMN | 500 | 500 | 0 | 0
Common | F61E | Rental Car Costs - ERV | 500 | 500 | 0 | 0
| F61I | ATTENDEE-COMPLIANCE-EXTERNAL | 1500 | 1500 | 0 | 0
Common | F61I | Hotel Travel Costs - EHT | 500 | 500 | 0 | 0
Common | F61I | Meal Travel Costs - EMN | 500 | 500 | 0 | 0
Common | F61I | Rental Car Costs - ERV | 500 | 500 | 0 | 0
| F62E | ATTENDEE NONTECHNICAL-EXTERNAL | 36500 | 28500 | 8000 | 0
Common | F62E | Hotel Travel Costs - EHT | 10000 | 8000 | 2000 | 0
Common | F62E | Meal Travel Costs - EMN | 1500 | 1500 | 0 | 0
Common | F62E | Rental Car Costs - ERV | 5000 | 4000 | 1000 | 0
Common | F62E | Training Fees - ETC | 20000 | 15000 | 5000 | 0
| F62I | ATTENDEE NONTECHNICAL-INTERNAL | 31500 | 24500 | 7000 | 0
Common | F62I | Hotel Travel Costs - EHT | 10000 | 8000 | 2000 | 0
Common | F62I | Meal Travel Costs - EMN | 500 | 500 | 0 | 0
Common | F62I | Rental Car Costs - ERV | 1000 | 1000 | 0 | 0
Common | F62I | Training Fees - ETC | 20000 | 15000 | 5000 | 0
| F63E | ATTENDEE-TECHNICAL-EXTERNAL | 43500 | 36000 | 7500 | 0
Common | F63E | Hotel Travel Costs - EHT | 15500 | 13000 | 2500 | 0
Common | F63E | Meal Travel Costs - EMN | 10000 | 8000 | 2000 | 0
Common | F63E | Rental Car Costs - ERV | 10000 | 8000 | 2000 | 0
Common | F63E | Training Fees - ETC | 8000 | 7000 | 1000 | 0
| F63I | ATTENDEE-TECHNICAL-EXTERNAL | 30000 | 26000 | 4000 | 0
Common | F63I | Hotel Travel Costs - EHT | 12000 | 10000 | 2000 | 0
Common | F63I | Meal Travel Costs - EMN | 3000 | 3000 | 0 | 0
Common | F63I | Rental Car Costs - ERV | 5000 | 4000 | 1000 | 0
Common | F63I | Training Fees - ETC | 10000 | 9000 | 1000 | 0
| F67 | ADMIN/SUPPORT (EDC) (TRAINING) | 12000 | 10000 | 2000 | 0
Unit 3 | F67 | Training Fees - ETC | 12000 | 10000 | 2000 | 0
| F81 | PLANT CONTROL ROOM | 2000 | 2000 | 0 | 0
Common | F81 | Control Room Equipment | 2000 | 2000 | 0 | 0
| F83 | FUEL HANDLING | 32000 | 32000 | 0 | 0
Common | F83 | Taxes and Fees - EFT | 2000 | 2000 | 0 | 0
Common | F83 | Non Generational Fuel Oil Consumption - MMN | 30000 | 30000 | 0 | 0
| F84 | OTHER-OPERATIONS | 20000 | 20000 | 0 | 0
Unit 3 | F84 | Non Generational Fuel Oil Consumption - MMN | 20000 | 20000 | 0 | 0
|  | Total "A" System Baseline | 900000 | 140000 | 60000 | 700000
Unit 1 | FAF | Cold Precip Contol Cards/Fan Belts | 5000 | 5000 | 0 | 0
Unit 1 | FAF | Hot Precip Control Cards/Fan Belts | 5000 | 5000 | 0 | 0
Unit 1 | FAC | Hot and Cold Fly Ash System pipe and fittings. | 15000 | 10000 | 5000 | 0
Unit 2 | FAF | Cold Precip Contol Cards/Fan Belts | 5000 | 5000 | 0 | 0
Unit 2 | FAF | Hot Precip Control Cards/Fan Belts | 5000 | 5000 | 0 | 0
Unit 2 | FAC | Hot and Cold Fly Ash System pipe and fittings. | 15000 | 10000 | 5000 | 0
Common | FAD | Ash Pond Maintenance | 50000 | 50000 | 0 | 0
|  | FUM money | 100000 | 50000 | 50000 | 0
Common | FAD | Ash Removal from Ash Pond | 700000 | 0 | 0 | 700000
|  | Total "B" System Baseline | 285000 | 225000 | 50000 | 10000
Common | FBH | CEMS Maintenance Contract | 66000 | 66000 | 0 | 0
Unit 1 | FBB | ID Damper Maintenance, Send out Beck Drives | 15000 | 15000 | 0 | 0
Unit 2 | FBB | ID Damper Maintenance, Send out Beck Drives | 15000 | 15000 | 0 | 0
Unit 2 | FBA | Sofo Cofa Damper Repairs , Send out Beck Drives | 5000 | 5000 | 0 | 0
Unit 1 | FBC | Annual Air Heater Instrumentation (Thermocouples, Sensing Lines, Sootblower Limits) | 2000 | 2000 | 0 | 0
Unit 2 | FBC | Annual Air Heater Instrumentation (Thermocouples, Sensing Lines, Sootblower Limits) | 2000 | 2000 | 0 | 0
Common | FBB | Wind Storm Lagging Repairs | 20000 | 20000 | 0 | 0
|  | FUM Money | 150000 | 100000 | 50000 | 0
Common | FBY | Documentum Migration | 10000 | 0 | 0 | 10000
|  | Total "C" System Baseline | 249100 | 198100 | 33000 | 18000
Common | FCA | Ignitor Oil Pumps and Piping | 12000 | 5000 | 7000 | 0
Common | FCA | Ignitor Oil Gun Parts | 6000 | 6000 | 0 | 0
Common | FCB | Coal Piping Elbows, Wear Plates, Norbac Repair Kits | 45500 | 30000 | 15500 | 0
Common | FCE | Feeder Parts, Belts, Weight Rolls, Cleanout Chains, Bearing and Motors | 39500 | 11000 | 10500 | 18000
Common | FCD | Alstom Fees for Shared Inventory with Plant Kraft and Mitchell | 6100 | 6100 | 0 | 0
Common | FCD | Mill Parts, Roll Rebuild, Weld Overlay, Exhausters, Windbox and Classifier Blades | 140000 | 140000 | 0 | 0
|  | Total "D" System Baseline | 420500 | 420500 | 0 | 0
Unit 3 | FDD | Natural Gas Solutions Maintenance Contract | 110000 | 110000 | 0 | 0
Unit 3 | FDD | Natural Gas Suplly Valves, Controls, Filters | 8500 | 8500 | 0 | 0
Common | FDL | Thompson TM&R Agreement | 35000 | 35000 | 0 | 0
Common | FDL | Parts for D10, 844 Dosiers and Extended Boom Tractor | 7800 | 7800 | 0 | 0
Common | FDB | C.T. Fuel Oil Supply Piping, Fuel Forwarding Pumps, Valves | 3500 | 3500 | 0 | 0
Common | FDC | E-Crane, Motors, Hoses, Cylinders, Oil, Oil Coolers, Filters, Breakers | 200000 | 200000 | 0 | 0
Common | FDF | Conveyor Belts, Motors, Gear Boxes, Chutes, Belt Magnets, Breakers | 12000 | 12000 | 0 | 0
Common | FDH | Coal Belt Scales, Motors, Coal Samplers, Breakers | 5000 | 5000 | 0 | 0
Unit 3 | FDY | Corrosion Protection | 30000 | 30000 | 0 | 0
Common | FDJ | Barge Equipment | 8700 | 8700 | 0 | 0
|  | Total "E" System Baseline | 114000 | 114000 | 0 | 0
Unit 3 | FEF | Bulk Hydrogen | 80000 | 80000 | 0 | 0
Unit 3 | FEF | Hydrogen Tank Rentals | 24000 | 24000 | 0 | 0
Unit 3 | FEA | Generator Brushes | 5000 | 5000 | 0 | 0
Common | FEA | Generator Brushes | 5000 | 5000 | 0 | 0
|  | Total "F" System Baseline | 313000 | 264000 | 49000 | 0
Unit 3 | FFB | Transmitters and Pressure Switches | 10000 | 4000 | 6000 | 0
Unit 3 | FFY | Structural Painting (Corrosion Protection) | 50000 | 40000 | 10000 | 0
Unit 3 | FFY | Paint ST Area Structure - Beams (Corrosion Protection | 150000 | 125000 | 25000 | 0
Common | FFB | Transmitters and Pressure Switches | 10000 | 5000 | 5000 | 0
Unit 3 | FFF | Filter Change Outs | 12000 | 12000 | 0 | 0
Unit 3 | FFA | Regional System Owner Charges | 15000 | 15000 | 0 | 0
Common | FFF | Turbine Oil | 30000 | 30000 | 0 | 0
Unit 3 | FFY | GE Work outside of LTSA | 30000 | 30000 | 0 | 0
Unit 3 | FFB | Thermo Couples | 6000 | 3000 | 3000 | 0
|  | Total "G" System Baseline | 2000 | 2000 | 0 | 0
Common | FGE | Oil Analysis on Transformers | 2000 | 2000 | 0 | 0
|  | Total "H" System Baseline | 627500 | 465000 | 120000 | 42500
Common | FHC | Chlorine | 225000 | 225000 | 0 | 0
Unit 3 | FHC | Sodium Hypochlorite | 60000 | 60000 | 0 | 0
Common | FHB | Wash Screen Repairs | 60000 | 45000 | 15000 | 0
Unit 2 | FHD | Circulator Pump Refurbishment | 42500 | 0 | 0 | 42500
Unit 3 | FHE | CLCW Piping Inspections | 25000 | 25000 | 0 | 0
Common | FHG | Well Flow Meter Replacements | 15000 | 15000 | 0 | 0
Unit 3 | FHK | Cooling Tower Parts and Repairs | 50000 | 25000 | 25000 | 0
Unit 3 | FHY | CLCW Piping Repairs (Corrosion Protection) | 100000 | 30000 | 70000 | 0
Unit 3 | FHK | Makeup Pump Mechanical Seals | 50000 | 40000 | 10000 | 0
|  | Total "J" System Baseline | 356700 | 267550 | 89150 | 0
Common | FJH | Instruments and Controls (Bearings, Control Cards, etc.) | 25550 | 20550 | 5000 | 0
Unit 2 | FJC | Valve Maintenance ( Safety Valves) | 16000 | 16000 | 0 | 0
Unit 2 | FJA | Parts for PMs on Soot blower and Piping | 40000 | 30000 | 10000 | 0
Unit 1 | FJA | Parts for PMs on Soot blower and Piping | 18500 | 15000 | 3500 | 0
Unit 1 | FJC | Parts for PMs on Boiler Waterwall Valves & Drains | 20000 | 15000 | 5000 | 0
Unit 1 | FJA | Parts for PMs on Wall Blowers (lances, bearings, and packing.) | 20000 | 15000 | 5000 | 0
Unit 2 | FJA | Parts for PMs on Wall Blowers (lances, bearings, and packing.) | 26100 | 23000 | 3100 | 0
Unit 2 | FJA | Valve and Piping Replacement on Wall Blowers | 20000 | 15000 | 5000 | 0
|  | FUM Money | 150000 | 100000 | 50000 | 0
Unit 1 | FJA | Valve and Piping Replacement on Wall Blowers | 20550 | 18000 | 2550 | 0
|  | Total "K" System Baseline | 24000 | 24000 | 0 | 0
Common | FKF | Kossen Emergency Generator Service Call | 3000 | 3000 | 0 | 0
Unit 3 | FKF | Fuel for Emergency Generator | 6000 | 6000 | 0 | 0
Unit 3 | FKD | Limit Amps (GE Service) | 5000 | 5000 | 0 | 0
Common | FKE | Battery and Battery Charger Maintenance | 10000 | 10000 | 0 | 0
|  | Total "L" System Baseline | 219000 | 184000 | 35000 | 0
Unit 3 | FLA | Helium Gas | 6000 | 6000 | 0 | 0
Unit 3 | FLA | PAG Deaerator expesnse | 15000 | 15000 | 0 | 0
Unit 1 | FLA | Condenser Inlet/Outlet Valve Repairs | 50000 | 50000 | 0 | 0
Common | FLA | Condenser Cleaning (Plugs) | 30000 | 15000 | 15000 | 0
Common | FLA | Condenser Misc expenses (PMs, Leak Detection) | 20000 | 20000 | 0 | 0
Common | FLC | LP Heater Expenses | 10000 | 10000 | 0 | 0
Common | FLF | Deaerator Expenses | 2000 | 2000 | 0 | 0
Unit 3 | FLY | Corrosion Protections Repairs and Painting | 80000 | 60000 | 20000 | 0
Unit 3 | FLJ | Valves / Actuator Replacement External Piping | 6000 | 6000 | 0 | 0
|  | Total "M" System Baseline | 142000 | 115000 | 27000 | 0
Unit 1 | FMA | Spraywater Actuator Repairs, Oil Clean-Up on Motors, and Hydraulic Couplings | 26000 | 20000 | 6000 | 0
Unit 2 | FMA | Spraywater Actuator Repairs, Oil Clean-Up on Motors, and Hydraulic Couplings | 26000 | 20000 | 6000 | 0
Unit 3 | FMA | Small Bore Piping Repairs (Corrosion Repairs) | 50000 | 35000 | 15000 | 0
Common | FMA | PAG Requirements (Scaffolding and Insulation) | 40000 | 40000 | 0 | 0
|  | Total "N" System Baseline | 200000 | 200000 | 0 | 0
Common | FNC | Monthly Potable Water Sampling | 2000 | 2000 | 0 | 0
Unit 3 | FND | Mixed Bed Rentals | 70000 | 70000 | 0 | 0
Unit 3 | FND | Mixed Bed Purchases | 28000 | 28000 | 0 | 0
Common | FNA | Maintenance of Water Treatment Pretreatment Subsystem | 12000 | 12000 | 0 | 0
Common | FNB | Inspect Monscour Filters | 4000 | 4000 | 0 | 0
Common | FNB | Maintenance of Water Filter Plant | 21000 | 21000 | 0 | 0
Common | FNC | Maintenance of Potable Water Filter Plant | 12000 | 12000 | 0 | 0
Common | FND | Purchase and Install Prefilters and Polymer for RO Systems | 9000 | 9000 | 0 | 0
Common | FND | Water Treatment Equipment | 15000 | 15000 | 0 | 0
Common | FNE | Maintenance of Demineralizer | 15000 | 15000 | 0 | 0
Common | FNF | Maintenance of WasteWater Treatment System | 12000 | 12000 | 0 | 0
|  | Total "P" System Baseline | 1055000 | 985000 | 70000 | 0
Common | FPF | Consumables | 300000 | 300000 | 0 | 0
Unit 3 | FPF | Consumables | 35000 | 35000 | 0 | 0
Common | FPE | Tools | 55000 | 30000 | 25000 | 0
Unit 3 | FPE | Tools | 25000 | 20000 | 5000 | 0
Common | FPD | Fleet Services Charges | 100000 | 100000 | 0 | 0
Common | FPC | Rolling Stock Maintenance | 90000 | 50000 | 40000 | 0
Common | FPC | Waste Management Fee | 60000 | 60000 | 0 | 0
Common | FPA | Air Conditioner Service Calls | 80000 | 80000 | 0 | 0
Common | FPB | Stotler Lawn Care Maintenance | 60000 | 60000 | 0 | 0
Common | FPA | Building and Structure Repairs | 150000 | 150000 | 0 | 0
Common | FPB | Roads and Grounds Maintenance | 100000 | 100000 | 0 | 0
|  | Total "R" System Baseline | 225000 | 155000 | 60000 | 10000
Common | FRA | Annual International Fire Inspections Cost (Sprinklers, Extinguisher, Alarms) | 130000 | 130000 | 0 | 0
Common | FRC | Annual Total Safety Inspections Cost (SCBA, Air Tanks) | 10000 | 10000 | 0 | 0
Common | FRA | Blast and Paint Fire Hydrants | 20000 | 0 | 20000 | 0
Unit 3 | FRA | Paint and/or Replace Unit 3 Fire Piping Under Steamer | 40000 | 0 | 40000 | 0
Unit 3 | FRC | Repair Piping on CO2 Tanks | 10000 | 10000 | 0 | 0
Common | FRA | Rebuild Jockey Pump | 5000 | 5000 | 0 | 0
Unit 3 | FRY | Corrosion Protection | 10000 | 0 | 0 | 10000
|  | Total "S" System Baseline | 110000 | 90000 | 10000 | 10000
Common | FSA | Compressor Annual Maintenance Service Charge | 54000 | 54000 | 0 | 0
Unit 3 | FSA | Dessicant Changeout | 6000 | 6000 | 0 | 0
Unit 3 | FSY | Air Line Repairs and Painting (Corrosion Protection) | 50000 | 30000 | 10000 | 10000
|  | Total "V" System Baseline | 492000 | 437000 | 55000 | 0
Unit 3 | FVY | LTSA Agreement - KLS | 342000 | 342000 | 0 | 0
Unit 3 | FVK | Transmitters and Pressure switches | 30000 | 15000 | 15000 | 0
Unit 3 | FVY | Structural Painting (Corrosion Protection) | 50000 | 30000 | 20000 | 0
Unit 3 | FVY | Valve Repairs and Replacements (Corrosion Protection) | 30000 | 10000 | 20000 | 0
Unit 3 | FVA | Gas Filters | 4000 | 4000 | 0 | 0
CT | FVG | CT Maintenance | 15000 | 15000 | 0 | 0
Unit 3 | FVK | Control Cards | 5000 | 5000 | 0 | 0
Unit 3 | FVK | Blade Health Monitoring Maintenance | 16000 | 16000 | 0 | 0
|  | Total "W" System Baseline | 1824000 | 1382500 | 431500 | 10000
Unit 3 | FWB | Boiler Valves & Piping - Valves,Transmitters,Insulation | 605000 | 450000 | 155000 | 0
Unit 3 | FWB | Heat Trace Maintenance | 50000 | 10000 | 40000 | 0
Unit 3 | FWB | Fluor and Sunbelt Admin | 250000 | 250000 | 0 | 0
Unit 3 | FWC | Chemicals - Lab Materials | 62000 | 60000 | 2000 | 0
Unit 3 | FWY | Uni Strut and Misc Instrument and Electrical Cabinet Replacements** | 100000 | 50000 | 50000 | 0
Unit 3 | FWY | Paint HRSG A*** | 200000 | 150000 | 50000 | 0
Unit 3 | FWY | Paint HRSG B** | 200000 | 150000 | 50000 | 0
Unit 3 | FWY | Paint BOP General Structure | 165000 | 115000 | 40000 | 10000
Unit 3 | FWY | Paint Raw, Filter, and Condensate Tanks*** | 150000 | 125000 | 25000 | 0
Unit 3 | FWE | Boiler Water Circulation Pump - Economizer Pumps, Motors & Valves | 21000 | 7000 | 14000 | 0
Unit 3 | FWG | Headers/Links/Drums/Vessels | 5500 | 5500 | 0 | 0
Unit 3 | FWH | Duct Burner | 15500 | 10000 | 5500 | 0
|  | Total "Y" System Baseline | 0 | 0 | 0 | 0
|  | Total "Z" System Baseline | 74562 | 39562 | 20000 | 15000
Unit 1 | FZB | Emerson Sure Service Agreement | 29562 | 29562 | 0 | 0
Unit 3 | FZB | Computer System Upgrades | 15000 | 10000 | 5000 | 0
Common | FZY | NERC CIP | 30000 | 0 | 15000 | 15000
|  |  | Budget Dollars | Tier 1 | Tier 2 | Tier 3
|  | Totals | 8813278 | 6834628 | 1163150 | 815500
|  |  |  | 77.55% | 13.2% | 9.253%
Note on G143: nmplombo: Needed if we don't dig in 2013
Note on E189: mgstrick: paint ST area structures (covers, piping, etc) to prevent more costly replacements
Note on F189: mgstrick: paint ST area structures (covers, piping, etc) to prevent more costly replacements
Note on F190: mgstrick: continue to paint structural beams to prevent replacement
Note on F211: mgstrick: replace pump check valves and disch valves due to excessive corrosion, repaint structural beams and piping to prevent replacement
Note on F243: mgstrick: remove insulation, repair piping due to corrossion, reinsulate (condensate system, spraywater) repaint and reinsulate
Note on F250: mgstrick: remove insulation, repair piping due to corrossion, reinsulate (condensate system, spraywater) repaint and reinsulate
Note on G289: mgstrick: repaint fire system components to prevent more costly replacement (CO2 system, hydrants post valves, etc)
Note on F301: mgstrick: paint GT inlets and support structure to reduce leakage to duct work, and prevent more costly structural repairs
Note on F302: mgstrick: DVC replacements to SS, painting, build protective covers for valves
Note on F314: mgstrick: replace cable tray unistruut and hangers to SS, cable tray covers, cover cabinets
Note on F315: mgstrick: continued effort to touch up HSRG A to prevent completely repainting structure
Note on F316: mgstrick: continued effort to touch up HSRG A to prevent completely repainting structure
Note on F317: mgstrick: paint general pipe bridge strucure to reduce future replacement costs

## FUM or FUF (hidden)
Unit | Activity | Description of Project/Job | Budget Dollars | % Contract Labor | % Material | % Expenses (Other) | % Rental | Months to Spread | Year
Unit 1 | FBB | ID fan speed changer | 10000 | 50% | 50% |  |  | April - May (FUM) | 2013
Unit 1 | FBA | Replace FD fan inlet vane parts | 69000 | 80% | 20% |  |  | April - May (FUM) | 2013
Unit 1 | FBB | ID fan Inlet and outlet damper bearings | 10000 | 100% |  |  |  | April - May (FUM) | 2013
Unit 2 | FBB | Install shaft seals on 2A & 2B ID fan | 8000 | 80% | 20% |  |  | April - May (FUM) | 2013
Unit 1 | FBB | Install shaft seals on 1B ID fan | 2000 | 80% | 20% |  |  | April - May (FUM) | 2013
Unit 1 | FBB | Vacuuming Ductwork | 30000 | 100% |  |  |  | April - May (FUM) | 2013
Unit 1 | FBB | Ductwork Repairs | 12000 | 80% | 20% |  |  | April - May (FUM) | 2013
Unit 1 | FAB | Bottom ash pit refractory FUM | 150000 | 50% | 50% |  |  | April - May (FUM) | 2013
Unit 1 | FAB | Bottom ash pit floor FUM | 50000 |  |  |  |  | April - May (FUM) | 2013
Unit 1 | FAB | Clinker grinder repair | 16000 |  | 100% |  |  | April - May (FUM) | 2013
Unit 1 | FAF | Hot and cold precipitator repairs FUM | 50000 |  | 100% |  |  | April - May (FUM) | 2013
Unit 1 | FJA | Soot Blowing Piping | 10000 | 50% | 50% |  |  | April - May (FUM) | 2013
Unit 1 | FJC | Piping/Waterwall Valves/Safety Valves (inspect safety valves) | 45000 | 50% | 50% |  |  | April - May (FUM) | 2013
Unit 1 | FJD | Boiler Tubing/Superheat Tubes/Reheat Tubes | 15000 | 50% | 50% |  |  | April - May (FUM) | 2013
Unit 1 | FJE | Structure/Insulation/Furnace Supports | 10000 | 50% | 50% |  |  | April - May (FUM) | 2013
Unit 1 | FJH | Headers/Drum | 75000 | 50% | 50% |  |  | April - May (FUM) | 2013
Unit 2 | FBB | ID fan speed changer | 10000 |  |  | 100% |  | April - May (FUM) | 2014
Common | FBB | Stack Clean out (Requires Common Outage) | 52000 | 100% |  |  |  | April - May (FUM) | 2014
Unit 1 | FBB | Vacuuming Ductwork | 40000 | 100% |  |  |  | April - May (FUM) | 2014
Unit 1 | FBB | Ductwork Repairs | 50000 | 80% | 20% |  |  | April - May (FUM) | 2014
Unit 1 | FBA | ID Fan Inspection (NDE) | 6000 |  |  | 100% |  | April - May (FUM) | 2014
Unit 2 | FAB | Bottom ash pit refractory FUM | 150000 | 50% | 50% |  |  | April - May (FUM) | 2014
Unit 2 | FAB | Bottom ash pit floor FUM | 50000 |  |  |  |  | April - May (FUM) | 2014
Unit 2 | FAB | Clinker grinder repair | 16000 |  | 100% |  |  | April - May (FUM) | 2014
Unit 2 | FAF | Hot and cold precipitator repairs FUM | 50000 |  |  |  |  | April - May (FUM) | 2014
Unit 2 | FJA | Soot Blowing Piping | 15000 | 50% | 50% |  |  | April - May (FUM) | 2014
Unit 2 | FJC | Piping/Waterwall Valves (Inspect safety valves) | 56000 | 50% | 50% |  |  | April - May (FUM) | 2014
Unit 2 | FJD | Boiler Tubing/Superheat Tubes/Reheat Tubes | 15000 | 50% | 50% |  |  | April - May (FUM) | 2014
Unit 2 | FJE | Structure/Insulation/Furnace Supports | 10000 | 50% | 50% |  |  | April - May (FUM) | 2014
Unit 2 | FJH | Headers/Drum | 85000 | 50% | 50% |  |  | April - May (FUM) | 2014
Unit 2 | FBB | Vacuuming Ductwork | 20000 | 100% |  |  |  | April - May (FUM) | 2015
Unit 2 | FBB | Ductwork Repairs | 20000 | 80% | 20% |  |  | April - May (FUM) | 2015
Unit 1 | FBA | ID Fan Inspection (NDE) | 6000 |  |  | 100% |  | April - May (FUM) | 2015
Unit 1 | FAB | Bottom ash pit refractory FUM | 150000 | 50% | 50% |  |  | April - May (FUM) | 2015
Unit 1 | FAB | Clinker grinder repair | 16000 |  | 100% |  |  | April - May (FUM) | 2015
Unit 1 | FAF | Hot and cold precipitator repairs FUM | 50000 |  |  |  |  | April - May (FUM) | 2015
Unit 1 | FJA | Soot Blowing Piping | 10000 | 50% | 50% |  |  | April - May (FUM) | 2015
Unit 1 | FJC | Piping/Waterwall Valves/ Safety Valves | 25000 | 50% | 50% |  |  | April - May (FUM) | 2015
Unit 1 | FJD | Boiler Tubing/Superheat Tubes/Reheat Tubes | 20000 | 50% | 50% |  |  | April - May (FUM) | 2015
Unit 1 | FJE | Structure/Insulation/Furnace Supports | 15000 | 50% | 50% |  |  | April - May (FUM) | 2015
Unit 1 | FJH | Headers/Drum | 5000 | 50% | 50% |  |  | April - May (FUM) | 2015
Unit 1 | FBB | Vacuuming Ductwork | 40000 | 100% |  |  |  | April - May (FUM) | 2016
Unit 1 | FBB | Ductwork Repairs | 20000 | 80% | 20% |  |  | April - May (FUM) | 2016
Unit 1 | FBA | ID Fan Inspection (NDE) | 6000 |  |  | 100% |  | April - May (FUM) | 2016
Unit 2 | FAB | Bottom ash pit refractory FUM | 150000 | 50% | 50% |  |  | April - May (FUM) | 2016
Unit 2 | FAB | Clinker grinder repair | 16000 |  | 100% |  |  | April - May (FUM) | 2016
Unit 2 | FAF | Hot and cold precipitator repairs FUM | 50000 |  |  |  |  | April - May (FUM) | 2016
Unit 2 | FJA | Soot Blowing Piping | 15000 | 50% | 50% |  |  | April - May (FUM) | 2016
Unit 2 | FJC | Piping/Waterwall Valves/Safety Valves | 20000 | 50% | 50% |  |  | April - May (FUM) | 2016
Unit 2 | FJD | Boiler Tubing/Superheat Tubes/Reheat Tubes | 15000 | 50% | 50% |  |  | April - May (FUM) | 2016
Unit 2 | FJE | Structure/Insulation/Furnace Supports | 10000 | 50% | 50% |  |  | April - May (FUM) | 2016
Unit 2 | FJH | Headers/Drum | 3500 | 50% | 50% |  |  | April - May (FUM) | 2016
Unit 2 | FBB | Vacuuming Ductwork | 40000 | 100% |  |  |  | April - May (FUM) | 2017
Unit 1 | FBB | Ductwork Repairs | 10000 | 80% | 20% |  |  | April - May (FUM) | 2017
Unit 1 | FBA | ID Fan Inspection (NDE) | 6000 |  |  | 100% |  | April - May (FUM) | 2017
Unit 1 | FAB | Bottom ash pit refractory FUM | 150000 | 50% | 50% |  |  | April - May (FUM) | 2017
Unit 1 | FAB | Clinker grinder repair | 16000 |  | 100% |  |  | April - May (FUM) | 2017
Unit 1 | FAF | Hot and cold precipitator repairs FUM | 50000 | 50% | 50% |  |  | April - May (FUM) | 2017
Unit 1 | FJA | Soot Blowing Piping | 15000 | 50% | 50% |  |  | April - May (FUM) | 2017
Unit 1 | FJC | Piping/Waterwall Valves/Safety Valves | 20000 | 50% | 50% |  |  | April - May (FUM) | 2017
Unit 1 | FJD | Boiler Tubing/Superheat Tubes/Reheat Tubes | 15000 | 50% | 50% |  |  | April - May (FUM) | 2017
Unit 1 | FJE | Structure/Insulation/Furnace Supports | 20000 | 50% | 50% |  |  | April - May (FUM) | 2017
Unit 1 | FJH | Headers/Drum | 3500 | 50% | 50% |  |  | April - May (FUM) | 2017
Note on C9: nmplombo: Need at least 14 day outage for this type of repair. Spot repairs can be made in shorter time frame.
Note on C10: nmplombo: In House Repair
Note on C12: nmplombo: Spread depends on if the shop does the work or contractor. In house could save up to 50%
Note on C23: nmplombo: Need at least 14 day outage for this type of repair. Spot repairs can be made in shorter time frame.
Note on C24: nmplombo: In House Repair
Note on C26: nmplombo: Spread depends on if the shop does the work or contractor. In house could save up to 50%
Note on C35: nmplombo: Need at least 14 day outage for this type of repair. Spot repairs can be made in shorter time frame.
Note on C37: nmplombo: Spread depends on if the shop does the work or contractor. In house could save up to 50%
Note on C46: nmplombo: Need at least 14 day outage for this type of repair. Spot repairs can be made in shorter time frame.
Note on C48: nmplombo: Spread depends on if the shop does the work or contractor. In house could save up to 50%
Note on C57: nmplombo: Need at least 14 day outage for this type of repair. Spot repairs can be made in shorter time frame.
Note on C59: nmplombo: Spread depends on if the shop does the work or contractor. In house could save up to 50%

## Baseline Historicals
System (Baseline ONLY) | 2013 Budget Request | 2014 Budget Request
Management Activities | 1017916 | 1022916
Training Activities | 157000 | 157000
A System | 1106500 | 900000 | FUM Money in A (100K); B (150K); J (150K)
B System | 282000 | 285000
C System | 247000 | 249100
D System | 417500 | 420500
E System | 114000 | 114000
F System | 463000 | 313000
G System | 5000 | 2000
H System | 605500 | 627500
J System | 403700 | 356700
K System | 24000 | 24000
L System | 141500 | 219000
M System | 100000 | 142000
N System | 200000 | 200000
P System | 1015000 | 1055000
R System | 227000 | 225000
S System | 110000 | 110000
V System | 552000 | 492000
W System | 1790000 | 1824000
Y System | 0 | 0
Z System | 74562 | 74562
| 9053178 | 8813278
| 10011058 | 9446539
| -957880 | -633261
Note on B4: nmplombo: Plan is to haul in 13' and 16'. Based on run-time and ash content.