## Ricky Request2
Utility Account | Retirement Unit Long Description
360 - Land | 36010210001 Bulkhead-Not associated with a building or structure
360 - Land | 36010210003 Tract of Land (Acres)
360.1 - Land Rights | 36010220503ROW Easement or Right
361 - Structures and Improvements | 36190200001 DEMOLITION, INITIAL SITE PREPARATION
361 - Structures and Improvements | 36190220001 Initial Site Preparation, All
361 - Structures and Improvements | 36190230001 Initial Site Preparation, All
361 - Structures and Improvements | 36190410011 Landscaping, All
361 - Structures and Improvements | 36190410013 Surfacing (stone), All
361 - Structures and Improvements | 36190410014 Paving, All
361 - Structures and Improvements | 36190420021 Drainage System, complete
361 - Structures and Improvements | 36190440041 Yard Sanitary Water System, complete (within sub. fence & to property line)
361 - Structures and Improvements | 36190440046 Water Supply Line (outside of substation property)
361 - Structures and Improvements | 36190450050 Retaining Wall, complete (when identified with a building or structure)
361 - Structures and Improvements | 36190460061 Roadway with curbs and gutters, All
361 - Structures and Improvements | 36190460062 Driveways, All
361 - Structures and Improvements | 36190490091 Fence, property line, All
361 - Structures and Improvements | 36190490092 Substation Area Enclosure
361 - Structures and Improvements | 36190490093 Special Alarm System
361 - Structures and Improvements | 36190490094 Visual Screen, Fence
361 - Structures and Improvements | 36190510110 Yard Lighting System, Complete
361 - Structures and Improvements | 36191831101 Substructure, complete
361 - Structures and Improvements | 36191841102 Superstructure (Excluding Building Appurtenances)
361 - Structures and Improvements | 36191861140 Lighting System, complete
361 - Structures and Improvements | 36191861152 Air Conditioner
361 - Structures and Improvements | 36191861154 Heat Pump
361 - Structures and Improvements | 36192030401 Substructure, complete
361 - Structures and Improvements | 36192040402 Superstructure (Excluding Building Appurtenances)
361 - Structures and Improvements | 36192050402 Superstructure (Excluding Building Appurtenances)
361 - Structures and Improvements | 36192050405 Roof (Concrete Building)
361 - Structures and Improvements | 36192050406 Shingle Roof
361 - Structures and Improvements | 36192060440 Lighting System, complete
361 - Structures and Improvements | 36192060451 Heater
361 - Structures and Improvements | 36192060452 Air Conditioner
361 - Structures and Improvements | 36192060453 Fan, ventilating
361 - Structures and Improvements | 36192060454 Heat Pump
361 - Structures and Improvements | 36192060455 Heating, Air Conditioning and Ventilating Ductwork
361 - Structures and Improvements | 36192801000 CIAC - ITS Faclities
362 - Station Equipment | 36293200001 Fiber Duct, all, continuous run, bank or section measured in feet
362 - Station Equipment | 36293200002 Plastic Duct, all, continuous run, bank or section measured in feet
362 - Station Equipment | 36293200003 Steel Conduit, all, continuous run, bank or section measured in feet
362 - Station Equipment | 36293200005 Concrete Trough, all, continuous run, bank or section measured in feet
362 - Station Equipment | 36293200006 Concrete Pull Box, all sizes
362 - Station Equipment | 36293200007 Aluminum Conduit, continuous run, bank or section measured in feet
362 - Station Equipment | 36293200011 Control Cable, all sizes, continuous circuit run measured in feet
362 - Station Equipment | 36293200012 Power Cable, all sizes, continuous circuit run measured in feet
362 - Station Equipment | 36293200013 Cabletrays, each continuous run
362 - Station Equipment | 36293410020 Site Ground, complete
362 - Station Equipment | 36293420030 Overhead Ground, complete
362 - Station Equipment | 36293420031 Lightning Mast
362 - Station Equipment | 36293610033 FDN-HIGH VOLT (69KV & ABOVE)
362 - Station Equipment | 36293610035 FDN-LOW VOLT (BELOW 69KV)
362 - Station Equipment | 36293610041 Foundation - High Voltage
362 - Station Equipment | 36293610045 Foundation - Low Voltage
362 - Station Equipment | 36293810041 DE BAY STR LAT STL (69KV & ABOVE)
362 - Station Equipment | 36293810046 SW STR WF STL (69KV & ABOVE)
362 - Station Equipment | 36293810061 Steel, cmplte section or bay, or a support for one or more units of equipment
362 - Station Equipment | 36293810062 Aluminum, cmplte section or bay, or a support for one or more units of equip.
362 - Station Equipment | 36293810063 Wood, complte section or bay, or a support for one or more units of equipment
362 - Station Equipment | 36293810065 BUS SUP STR LAT ALUM (69KV & ABOVE)
362 - Station Equipment | 36293810071 MISC SUP STR ALUM (69KV & ABOVE)
362 - Station Equipment | 36293817001 Concrete Structure
362 - Station Equipment | 36293820071 Steel, cmplte section or bay, or a support for one or more units of equipment
362 - Station Equipment | 36293820072 Aluminum, cmplte section or bay, or a support for one or more units of equip.
362 - Station Equipment | 36293820073 Wood, complete section or bay, or a support for one or more units of equipment
362 - Station Equipment | 36293820075 BANK/FDR STR LAT STL (BELOW 69KV)
362 - Station Equipment | 36293827011 Concrete Structure
362 - Station Equipment | 36294010101 1m - 12 KV
362 - Station Equipment | 36294010104 1m - 25 KV
362 - Station Equipment | 36294010106 1m - 46 KV
362 - Station Equipment | 36294010108 1m - 115 KV
362 - Station Equipment | 36294010155 3m - 38 KV & Below
362 - Station Equipment | 36294010158 3m - 115 KV
362 - Station Equipment | 36294010160 3m - 230 KV
362 - Station Equipment | 36294010201 Cooling Equipment (not installed with transformer)
362 - Station Equipment | 36294020301 1m - Below 25 KVA
362 - Station Equipment | 36294020302 1m - 25 - 37.4 KVA
362 - Station Equipment | 36294020351 3m - Below 25 KVA
362 - Station Equipment | 36294020352 3m - 25 - 37.4 KVA
362 - Station Equipment | 36294200401 1m - 1,000 KVA and below
362 - Station Equipment | 36294200402 1m - 1,001 - 5,000 KVA
362 - Station Equipment | 36294200451 3m - 3,330 KVA & below
362 - Station Equipment | 36294400502 3m - 15 KV
362 - Station Equipment | 36294400503 3m - 23 KV
362 - Station Equipment | 36294400505 3m - 46 KV
362 - Station Equipment | 36294400507 3m -115 KV
362 - Station Equipment | 36294400509 3m -230 KV
362 - Station Equipment | 36294400551 Potential Device
362 - Station Equipment | 36294400552 Breaker Enclosure, concrete, concrete block, brick, etc.
362 - Station Equipment | 36294600601 Metal Clad Switchgear, complete
362 - Station Equipment | 36294800657 115 KV
362 - Station Equipment | 36294800659 230 KV
362 - Station Equipment | 36295010701 7.5 KV and below
362 - Station Equipment | 36295010702 15 KV
362 - Station Equipment | 36295010703 23 KV
362 - Station Equipment | 36295010704 34.5 KV
362 - Station Equipment | 36295010706 69 KV
362 - Station Equipment | 36295010707 115 KV
362 - Station Equipment | 36295010709 230 KV
362 - Station Equipment | 36295020751 7.5 KV and below
362 - Station Equipment | 36295020752 15 KV
362 - Station Equipment | 36295020753 23 KV
362 - Station Equipment | 36295020755 46 KV
362 - Station Equipment | 36295020757 115 KV
362 - Station Equipment | 36295020759 230 KV
362 - Station Equipment | 36295030802 15 KV
362 - Station Equipment | 36295030803 23 KV
362 - Station Equipment | 36295040851 7.5 KV and below
362 - Station Equipment | 36295040852 15 KV
362 - Station Equipment | 36295040853 23 KV
362 - Station Equipment | 36295040855 46 KV
362 - Station Equipment | 36295040857 115 KV
362 - Station Equipment | 36295050876 Motor Mechanism (when purchased separately)
362 - Station Equipment | 36295050877 By-pass Blades (when purchased separately)
362 - Station Equipment | 36295050878 Ground Switch (when purchased separately)
362 - Station Equipment | 36295200901 11 KV and below - Station Type
362 - Station Equipment | 36295200902 12 KV - 21 KV - Station Type
362 - Station Equipment | 36295200903 21.1 KV - 48 KV - Station Type
362 - Station Equipment | 36295200904 48.1 KV - 95 KV - Station Type
362 - Station Equipment | 36295200905 95.1 KV - 144 KV - Station Type
362 - Station Equipment | 36295200906 144.1 KV - 200 KV - Station Type
362 - Station Equipment | 36295200951 12 KV and below - Distribution Type
362 - Station Equipment | 36295411001 7.5 KV and below CT
362 - Station Equipment | 36295411002 15 KV Current Transformer
362 - Station Equipment | 36295411003 23 KV Current Transf
362 - Station Equipment | 36295411005 46 KV Current Transf
362 - Station Equipment | 36295411007 115 KV Current Transf
362 - Station Equipment | 36295421051 7.5 KV and below
362 - Station Equipment | 36295421052 15 KV
362 - Station Equipment | 36295421053 23 KV
362 - Station Equipment | 36295421055 46 KV
362 - Station Equipment | 36295421056 69 KV
362 - Station Equipment | 36295421057 115 KV
362 - Station Equipment | 36295431081 Coupling Capacitor
362 - Station Equipment | 36295601101 7.5 KV and below (complete unit)
362 - Station Equipment | 36295601102 15 KV
362 - Station Equipment | 36295601103 23 KV
362 - Station Equipment | 36295601105 46 KV
362 - Station Equipment | 36295601107 115 KV
362 - Station Equipment | 36295811151 Cable Conductor, copper, measured in feet
362 - Station Equipment | 36295811152 Cable Conductor, aluminum, measured in feet
362 - Station Equipment | 36295811153 Bus Bar and Angle, copper, measured in feet
362 - Station Equipment | 36295811154 Bus Bar and Angle, aluminum, measured in feet
362 - Station Equipment | 36295811155 Tube Conductor, copper, measured in feet
362 - Station Equipment | 36295811156 Tube Conductor, aluminum, measured in feet
362 - Station Equipment | 36295811157 Post Insulator 23 KV and below
362 - Station Equipment | 36295811158 Post Insulator 46 KV
362 - Station Equipment | 36295811159 Post Insulator 69, 115 KV and 161 KV
362 - Station Equipment | 36295811160 Post Insulator 230 KV
362 - Station Equipment | 36295811164 Strain Insulator 10 Disc"
362 - Station Equipment | 36295821201 Duct, u.g. bus enclosure, continuous run
362 - Station Equipment | 36295821202 Duct (Oilostatic cable), u.g. bus enclosure, continuous circuit
362 - Station Equipment | 36295821204 Solid Dielectric Power Cable, continuous circuit
362 - Station Equipment | 36295821205 Oilostatic Pothead
362 - Station Equipment | 36295821206 Solid Dielectric Pothead
362 - Station Equipment | 36296011275 Panel, complete
362 - Station Equipment | 36296011276 Instrument, recording (relatively costly)
362 - Station Equipment | 36296011277 Instrument, indicating (relatively costly)
362 - Station Equipment | 36296011278 Instrument, controlling (relatively costly)
362 - Station Equipment | 36296011279 Carrier Transmitter
362 - Station Equipment | 36296011280 Carrier Receiver
362 - Station Equipment | 36296011281 Instrument, carrier
362 - Station Equipment | 36296011282 Telemetering Equipment, All (separately installed)
362 - Station Equipment | 36296011283 Carrier Transceiver
362 - Station Equipment | 36296011284 Panel, auxiliary relay
362 - Station Equipment | 36296011285 Sequence of Events Recorder
362 - Station Equipment | 36296011286 Protective Relaying Transciever
362 - Station Equipment | 36296011289 Time Code Generator
362 - Station Equipment | 36296011290 Remote Communication Interface
362 - Station Equipment | 36296021311 Supervisory Control (Master System Complete)
362 - Station Equipment | 36296021312 Remote Unit
362 - Station Equipment | 36296021313 Control Cable, continuous cable by feet
362 - Station Equipment | 36296021315 Power Supply
362 - Station Equipment | 36296021316 Video Hard Copy Unit, complete
362 - Station Equipment | 36296021321 Data Transceiver
362 - Station Equipment | 36296021323 CRT Terminal
362 - Station Equipment | 36296021324 MULTIPLEXER MODEM, SUPR CONT SYS
362 - Station Equipment | 36296021325 Data Acquisition Modem
362 - Station Equipment | 36296021327 POLE CREO 60 FT
362 - Station Equipment | 36296021330 Personal Computer with accessories
362 - Station Equipment | 36296021331 Printer, personal computer
362 - Station Equipment | 36296031291 Cabinet with panel
362 - Station Equipment | 36296031293 Instrument, indicating (relatively costly)
362 - Station Equipment | 36296031298 Pole, Antenna Support
362 - Station Equipment | 36296041101 Fiber Optic Transceiver
362 - Station Equipment | 36296041102 FOT Expansion Unit
362 - Station Equipment | 36296041103 Common Equip.(Incl.F.O.Term.Panel,Racks,F.O.PatchCords,&PhoneSignalEquip.)
362 - Station Equipment | 36296041105 Supervisory Control Radio
362 - Station Equipment | 36296041106 Antenna
362 - Station Equipment | 36296041107 Coaxial Cable
362 - Station Equipment | 36296041111 Concrete Pole for Antenna, incl. attach.
362 - Station Equipment | 36296041112 Wood Pole for Antenna, incl. attachments
362 - Station Equipment | 36296041113 Mast for Antenna, including attachments
362 - Station Equipment | 36296041115 Transceiver
362 - Station Equipment | 36296041118 LAN Concentrator/Regenerator
362 - Station Equipment | 36296041120 Fiber Optic Cable, continous run
362 - Station Equipment | 36296041301 FIB OPT TRANSCEIVER, FIB OPT EQ, SUB CONT SYS
362 - Station Equipment | 36296041308 MULTIPLEXER MODEM, FIB OPT EQ, SUB CONT SYS
362 - Station Equipment | 36296041369 FIBER OPTIC CABLE CONTINUOUS RUN, FIB OPT EQ, SUB CONT SYS
362 - Station Equipment | 36296061170 Data Acquisition Node-LDN/SDN
362 - Station Equipment | 36296061171 Remote Communication Concentrator-LDN/SDN
362 - Station Equipment | 36296061172 Time Code Generator
362 - Station Equipment | 36296061173 External (Detached) Disc/Tape/Optical Drive-LDN/SDN/Console
362 - Station Equipment | 36296061176 Color Graphics Printer
362 - Station Equipment | 36296061178 Remote Control Server/EMS Hot
362 - Station Equipment | 36296061179 Operator Console with Monitor (DELETED for RUCs 1180 & 1181)
362 - Station Equipment | 36296061180 OPERATOR WORKSTATION
362 - Station Equipment | 36296061181 Monitor - Workstation
362 - Station Equipment | 36296061182 Mapboard Control Computer
362 - Station Equipment | 36296061184 Large Screen Video Display - Projector
362 - Station Equipment | 36296071200 Substation Security Monitoring System
362 - Station Equipment | 36296211350 Cabinet
362 - Station Equipment | 36296211352 Main Line Knife Switch
362 - Station Equipment | 36296211353 Circuit Breaker
362 - Station Equipment | 36296211354 Transfer Switch
362 - Station Equipment | 36296211355 Bus, complete
362 - Station Equipment | 36296211357 P.E. Control
362 - Station Equipment | 36296211358 Watthour Meter and Socket
362 - Station Equipment | 36296211359 Cabinet, complete with pre-installed internals
362 - Station Equipment | 36296411401 Batteries, set of
362 - Station Equipment | 36296411402 Rack
362 - Station Equipment | 36296411403 Charger, battery
362 - Station Equipment | 36296411404 Battery Cabinet, outdoor
362 - Station Equipment | 36296411405 Stripheater, battery cabinet
362 - Station Equipment | 36296421421 Cabinet
362 - Station Equipment | 36296421423 Circuit Breaker
362 - Station Equipment | 36296421424 Transfer Switch
362 - Station Equipment | 36296421426 Converter or Inverter
362 - Station Equipment | 36296421427 Panel, complete
362 - Station Equipment | 36296801451 Generator
362 - Station Equipment | 36297001475 Cabinet
362 - Station Equipment | 36297001476 Meter, recording
362 - Station Equipment | 36297001477 Meter, indicating
362 - Station Equipment | 36297201501 Line Tuner
362 - Station Equipment | 36297201502 Line Trap
362 - Station Equipment | 36297401525 Capacitor
362 - Station Equipment | 36297401526 Capacitor Rack
362 - Station Equipment | 36297401540 Fence, complete
362 - Station Equipment | 36297401554 Capacitor Unit, Metal Clad, complete
362 - Station Equipment | 36297401555 Current Limiting Fuse
362 - Station Equipment | 36297601601 7.5 KV and below
362 - Station Equipment | 36297601602 15 KV
362 - Station Equipment | 36297601607 115 KV
362 - Station Equipment | 36298601901 Enclosure
362 - Station Equipment | 36299002101 Desk
362 - Station Equipment | 36299002102 Chair
362 - Station Equipment | 36299002104 Transportation Cart
362 - Station Equipment | 36299002108 Cabinet, storage
362 - Station Equipment | 36299002110 Hot Stick, station type
362 - Station Equipment | 36299002111 Fire Extinguisher, portable
362 - Station Equipment | 36299002114 Fuse Storage Box
362 - Station Equipment | 36299002119 Video Camera
362 - Station Equipment | 36299625101 Mobile Substation, compl (Use normal ret. units for replacement of components)
362 - Station Equipment | 36299625102 Mobile Switchgear, Trailer Mounted (Follow normal RUCs for repl. of components)
362 - Station Equipment | 36299625103 MOBILE GRNDWTR TREATMENT SYS.
362 - Station Equipment | 36299806000 CIAC - ITS Facilities
361 - Structures and Improvements | Non-unitized