## 364-373 RUC and Descriptions
Utility Account | Retirement Unit Long Description
364 - Poles, Towers and Fixtures | 36400001005 30 Ft. (wood)
364 - Poles, Towers and Fixtures | 36400001006 35 Ft. (wood)
364 - Poles, Towers and Fixtures | 36400001007 40 Ft. (wood)
364 - Poles, Towers and Fixtures | 36400001008 45 Ft. (wood)
364 - Poles, Towers and Fixtures | 36400001009 50 Ft. (wood)
364 - Poles, Towers and Fixtures | 36400001010 55 Ft. (wood)
364 - Poles, Towers and Fixtures | 36400001011 60 Ft. (wood)
364 - Poles, Towers and Fixtures | 36400001012 65 Ft. (wood)
364 - Poles, Towers and Fixtures | 36400001013 70 Ft. (wood)
364 - Poles, Towers and Fixtures | 36400001014 75 Ft. (wood)
364 - Poles, Towers and Fixtures | 36400001015 80 Ft. (wood)
364 - Poles, Towers and Fixtures | 36400001016 85 Ft. (wood)
364 - Poles, Towers and Fixtures | 36400001019 100 Ft. (wood)
364 - Poles, Towers and Fixtures | 36400001306 35 Ft. (concrete)
364 - Poles, Towers and Fixtures | 36400001307 40 Ft. (concrete)
364 - Poles, Towers and Fixtures | 36400001308 45 Ft. (concrete)
364 - Poles, Towers and Fixtures | 36400001309 50 Ft. (concrete)
364 - Poles, Towers and Fixtures | 36400001310 55 Ft. (concrete)
364 - Poles, Towers and Fixtures | 36400001311 60 Ft. (concrete)
364 - Poles, Towers and Fixtures | 36400001312 65 Ft. (concrete)
364 - Poles, Towers and Fixtures | 36400001313 70 Ft. (concrete)
364 - Poles, Towers and Fixtures | 36400001314 75 Ft. (concrete)
364 - Poles, Towers and Fixtures | 36400001324 CONCRETE POLE, 125 FT.
364 - Poles, Towers and Fixtures | 36400001500 Steel Reinforced
364 - Poles, Towers and Fixtures | 36400002300 All (set of pole fixtures)
364 - Poles, Towers and Fixtures | 36400009999 To be Adjusted
365 - Overhead Conductors, Devices | 36500001000 All Sizes, continous single conductor measured in lbs. of line wire
365 - Overhead Conductors, Devices | 36500001100 All Sizes, continous single conductor measured in lbs. of line wire
365 - Overhead Conductors, Devices | 36500001200 All Sizes, continous single conductor measured in lbs. of line wire
365 - Overhead Conductors, Devices | 36500001300 All Sizes, continous single conductor measured in feet of line wire
365 - Overhead Conductors, Devices | 36500002100 All Sizes, continous duplex conductor measured in feet of cable
365 - Overhead Conductors, Devices | 36500002200 All Sizes, continous triplex conductor measured in feet of cable
365 - Overhead Conductors, Devices | 36500002300 All Sizes, continous quadruplex conductor measured in feet of cable
365 - Overhead Conductors, Devices | 36500002403 3 Conductor, continous aerial cable measured in circuit feet of cable
365 - Overhead Conductors, Devices | 36500004999 INTERIM RETIREMENT UNIT CODE
365 - Overhead Conductors, Devices | 36500005001 0 - 5 KV (SPST Switch)
365 - Overhead Conductors, Devices | 36500005002 5.1 - 15 KV (SPST Switch)
365 - Overhead Conductors, Devices | 36500005003 15.1 - 25 KV (SPST Switch)
365 - Overhead Conductors, Devices | 36500005005 Over 35 KV (SPST Switch)
365 - Overhead Conductors, Devices | 36500005101 0 - 5 KV (Gang Operated Switch)
365 - Overhead Conductors, Devices | 36500005102 5.1 - 15 KV (Gang Operated Switch)
365 - Overhead Conductors, Devices | 36500005103 15.1 - 25 KV (Gang Operated Switch)
365 - Overhead Conductors, Devices | 36500005105 Over 35 KV (Gang Operated Switch)
365 - Overhead Conductors, Devices | 36500005200 All Sizes (Repeater Fuse)
365 - Overhead Conductors, Devices | 36500005311 1m 0 - 15 KV (Oil Circuit Recloser)
365 - Overhead Conductors, Devices | 36500005312 1m 15.1 - 25 KV (Oil Circuit Recloser)
365 - Overhead Conductors, Devices | 36500005331 3m 0 - 15 KV (Oil Circuit Recloser)
365 - Overhead Conductors, Devices | 36500005335 3m Electronic (Oil Circuit Recloser)
365 - Overhead Conductors, Devices | 36500005410 1m (Sectionalizer)
365 - Overhead Conductors, Devices | 36500005430 3m (Sectionalizer)
365 - Overhead Conductors, Devices | 36500005510 1m (Vacuum Recloser)
365 - Overhead Conductors, Devices | 36500005530 3m (Vacuum Recloser)
365 - Overhead Conductors, Devices | 36500005535 3m Electronic (Vacuum Recloser)
365 - Overhead Conductors, Devices | 36500005710 1m (Automatic Transfer Switch)
365 - Overhead Conductors, Devices | 36500005730 3m (Automatic Transfer Switch)
365 - Overhead Conductors, Devices | 36500005800 All Sizes (Recloser By-Pass Switch)
365 - Overhead Conductors, Devices | 36500006101 Open Conductor Detector Device
365 - Overhead Conductors, Devices | 36500006200 Control Box, including wiring
365 - Overhead Conductors, Devices | 36500006300 Remote Terminal Unit
365 - Overhead Conductors, Devices | 36500006400 Radio
366 - Underground Conduit | 36600001000 All Sizes of duct line measured in feet between two termini
366 - Underground Conduit | 36600001701 For 1 Transformer
366 - Underground Conduit | 36600001702 For 2 Transformers
366 - Underground Conduit | 36600001800 All Sizes (Manhole)
366 - Underground Conduit | 36600001900 All Sizes (Service Hole/Splicing Chamber)
366 - Underground Conduit | 36600002300 Sump Pump, complete sump pump installation at one location
367 - Undergrnd conductors,devices | 36700001001 # 1/0 and below (0-4.9 KV Cable, Lead Covered, 1 Cond.)
367 - Undergrnd conductors,devices | 36700001201 # 1/0 and below (5-15 KV Cable, Lead Covered, 1 Cond.)
367 - Undergrnd conductors,devices | 36700001302 # 2/0 - 4/0 (5-15 KV Cable, Lead Covered, 3 Cond.)
367 - Undergrnd conductors,devices | 36700001551 # 1/0 and below (0-4.9 KV Cable, Non- Lead Covered, 1 Cond.)
367 - Undergrnd conductors,devices | 36700001552 # 2/0 - 4/0 (0-4.9 KV Cable, Non- Lead Covered, 1 Cond.)
367 - Undergrnd conductors,devices | 36700001555 300 MCM (0-4.9 KV Cable, Non- Lead Covered, 1 Cond.)
367 - Undergrnd conductors,devices | 36700001556 350 MCM (0-4.9 KV Cable, Non- Lead Covered, 1 Cond.)
367 - Undergrnd conductors,devices | 36700001558 500 MCM (0-4.9 KV Cable, Non- Lead Covered, 1 Cond.)
367 - Undergrnd conductors,devices | 36700001601 # 1/0 and below (0-4.9 KV Cable, Non- Lead Covered, 2 Cond.)
367 - Undergrnd conductors,devices | 36700001602 # 2/0-4/0 (0-4.9 KV Cable, Non- Lead Covered, 2 Cond.)
367 - Undergrnd conductors,devices | 36700001651 # 1/0 and below (0-4.9 KV Cable, Non- Lead Covered, 3 Cond.)
367 - Undergrnd conductors,devices | 36700001652 # 2/0 - 4/0 (0-4.9 KV Cable, Non- Lead Covered, 3 Cond.)
367 - Undergrnd conductors,devices | 36700001658 0-4.9KV CBL-NL-3/C-500 MCM (0-4.9 KV Cable, Non- Lead Covered, 3 Cond.)
367 - Undergrnd conductors,devices | 36700001671 # 1/0 and below (0-4.9 KV Cable, Non- Lead Covered, 4 Cond.)
367 - Undergrnd conductors,devices | 36700001672 # 2/0 - 4/0 (0-4.9 KV Cable, Non- Lead Covered, 4 Cond.)
367 - Undergrnd conductors,devices | 36700001675 0-4.9KV CBL-NL-4/C-500 MCM (0-4.9 KV Cable, Non- Lead Covered, 4 Cond.)
367 - Undergrnd conductors,devices | 36700001751 # 1/0 and below (5-15 KV Cable, Non- Lead Covered, 1 Cond.)
367 - Undergrnd conductors,devices | 36700001752 # 2/0 - 4/0 (5-15 KV Cable, Non- Lead Covered, 1 Cond.)
367 - Undergrnd conductors,devices | 36700001758 500 MCM (5-15 KV Cable, Non- Lead Covered, 1 Cond.)
367 - Undergrnd conductors,devices | 36700001764 1000 MCM (5-15 KV Cable, Non- Lead Covered, 1 Cond.)
367 - Undergrnd conductors,devices | 36700001801 # 1/0 and below (5-15 KV Cable, Non- Lead Covered, 2 Cond.)
367 - Undergrnd conductors,devices | 36700001851 # 1/0 and below (5-15 KV Cable, Non- Lead Covered, 3 Cond.)
367 - Undergrnd conductors,devices | 36700001858 500 MCM (5-15 KV Cable, Non- Lead Covered, 3 Cond.)
367 - Undergrnd conductors,devices | 36700002901 # 1/0 and below (0-4.9 KV Cable, 2 Cond. With Concentric Neutral)
367 - Undergrnd conductors,devices | 36700002902 # 2/0 - 4/0 (0-4.9 KV Cable, 2 Cond. With Concentric Neutral)
367 - Undergrnd conductors,devices | 36700003001 # 1/0 and below (0-4.9 KV Cable, 3 Cond. With Concentric Neutral)
367 - Undergrnd conductors,devices | 36700003002 # 2/0 - 4/0 (0-4.9 KV Cable, 3 Cond. With Concentric Neutral)
367 - Undergrnd conductors,devices | 36700003101 # 1/0 and below (5-15KV Cable, 1 Cond. w/CN or Type LC Shield)
367 - Undergrnd conductors,devices | 36700003106 350 MCM (5-15KV Cable, 1 Cond. w/CN or Type LC Shield)
367 - Undergrnd conductors,devices | 36700003108 500 MCM (5-15KV Cable, 1 Cond. w/CN or Type LC Shield)
367 - Undergrnd conductors,devices | 36700003301 # 1/0 and below (5-15KV Cable, 3 Cond. w/CN or Type LC Shield)
367 - Undergrnd conductors,devices | 36700003302 # 2/0 - 4/0 (5-15KV Cable, 3 Cond. w/CN or Type LC Shield)
367 - Undergrnd conductors,devices | 36700003306 350 MCM (5-15KV Cable, 3 Cond. w/CN or Type LC Shield)
367 - Undergrnd conductors,devices | 36700003401 # 1/0 and below (15.1-25KV Cable, 1 Cond. w/CN or Type LC Shield)
367 - Undergrnd conductors,devices | 36700003411 750 MCM (15.1-25KV Cable, 1 Cond. w/CN or Type LC Shield)
367 - Undergrnd conductors,devices | 36700003414 1000 MCM (15.1-25KV Cable, 1 Cond. w/CN or Type LC Shield)
367 - Undergrnd conductors,devices | 36700004001 # 1/0 and below (Neutral Conductor, Bare of Weatherproof)
367 - Undergrnd conductors,devices | 36700004002 # 2/0 - 4/0 (Neutral Conductor, Bare of Weatherproof)
367 - Undergrnd conductors,devices | 36700004004 250 MCM (Neutral Conductor, Bare of Weatherproof)
367 - Undergrnd conductors,devices | 36700004006 350 MCM (Neutral Conductor, Bare of Weatherproof)
367 - Undergrnd conductors,devices | 36700004008 500 MCM (Neutral Conductor, Bare of Weatherproof)
367 - Undergrnd conductors,devices | 36700004404 250 MCM (5-15 KV Submarine Cable, 1 Cond.)
367 - Undergrnd conductors,devices | 36700004408 500 MCM (5-15 KV Submarine Cable, 1 Cond.)
367 - Undergrnd conductors,devices | 36700004608 500 MCM (5-15 KV Submarine Cable, 3 Cond.)
367 - Undergrnd conductors,devices | 36700004702 # 2/0 - 4/0 (15.1-25 KV Submarine Cable, 1 Cond.)
367 - Undergrnd conductors,devices | 36700004709 750 MCM (15.1-25 KV Submarine Cable, 1 Cond.)
367 - Undergrnd conductors,devices | 36700005000 SILICONE CABLE TREATMENT- GULF ONLY
367 - Undergrnd conductors,devices | 36700006100 Conductor Sensor (Insulator)
367 - Undergrnd conductors,devices | 36700006200 Control Box, including wiring
367 - Undergrnd conductors,devices | 36700006300 Remote Terminal Unit
367 - Undergrnd conductors,devices | 36700006400 Radio
367 - Undergrnd conductors,devices | 36700007032 5.1 - 15 KV (3 Phase Oil Switch)
367 - Undergrnd conductors,devices | 36700007033 15.1 - 25 KV (3 Phase Oil Switch)
367 - Undergrnd conductors,devices | 36700007052 5.1 - 15 KV (Fused Switch)
367 - Undergrnd conductors,devices | 36700007100 All
367 - Undergrnd conductors,devices | 36700007111 0 - 5 KV (Switchgear Assembly, Enclosed)
367 - Undergrnd conductors,devices | 36700007112 5.1 - 15 KV (Switchgear Assembly, Enclosed)
367 - Undergrnd conductors,devices | 36700007113 15.1 - 25 KV (Switchgear Assembly, Enclosed)
367 - Undergrnd conductors,devices | 36700007271 0 - 15 KV (Automatic Transfer Switch - Vacuum, 3 Phase)
367 - Undergrnd conductors,devices | 36700007301 Dry (Junction Box)
367 - Undergrnd conductors,devices | 36700007450 All (Demand Meter Assembly)
367 - Undergrnd conductors,devices | 36700007540 All (Switch Pad)
367 - Undergrnd conductors,devices | 36700007571 1 Phase (Terminating Cabinet)
367 - Undergrnd conductors,devices | 36700007573 3 Phase (Terminating Cabinet)
367 - Undergrnd conductors,devices | 36700007625 All
367 - Undergrnd conductors,devices | 36706999 INTERIM RETIREMENT UNIT CODE
368 - Line Transformers | 36800001001 5 KVA & below (Overhead Transformer - 1 Phase)
368 - Line Transformers | 36800001002 7.5 KVA (Overhead Transformer - 1 Phase)
368 - Line Transformers | 36800001003 10 KVA (Overhead Transformer - 1 Phase)
368 - Line Transformers | 36800001004 15 KVA (Overhead Transformer - 1 Phase)
368 - Line Transformers | 36800001006 25 KVA (Overhead Transformer - 1 Phase)
368 - Line Transformers | 36800001008 37.5 KVA (Overhead Transformer - 1 Phase)
368 - Line Transformers | 36800001010 50 KVA (Overhead Transformer - 1 Phase)
368 - Line Transformers | 36800001013 75 KVA (Overhead Transformer - 1 Phase)
368 - Line Transformers | 36800001016 100 KVA (Overhead Transformer - 1 Phase)
368 - Line Transformers | 36800001020 150 KVA (Overhead Transformer - 1 Phase)
368 - Line Transformers | 36800001021 167 KVA (Overhead Transformer - 1 Phase)
368 - Line Transformers | 36800001023 200 KVA (Overhead Transformer - 1 Phase)
368 - Line Transformers | 36800001026 250 KVA (Overhead Transformer - 1 Phase)
368 - Line Transformers | 36800001029 333 KVA (Overhead Transformer - 1 Phase)
368 - Line Transformers | 36800001035 500 KVA (Overhead Transformer - 1 Phase)
368 - Line Transformers | 36800001039 833 KVA (Overhead Transformer - 1 Phase)
368 - Line Transformers | 36800001110 50 KVA (Overhead Transformer - 3 Phase)
368 - Line Transformers | 36800001113 75 KVA (Overhead Transformer - 3 Phase)
368 - Line Transformers | 36800001116 100 KVA (Overhead Transformer - 3 Phase)
368 - Line Transformers | 36800001120 150 KVA (Overhead Transformer - 3 Phase)
368 - Line Transformers | 36800001128 300 KVA (Overhead Transformer - 3 Phase)
368 - Line Transformers | 36800001143 2500 KVA (Overhead Transformer - 3 Phase)
368 - Line Transformers | 36800001208 37.5 KVA (Transformer - Vault Type - 1 Phase)
368 - Line Transformers | 36800001210 50 KVA (Transformer - Vault Type - 1 Phase)
368 - Line Transformers | 36800001213 75 KVA (Transformer - Vault Type - 1 Phase)
368 - Line Transformers | 36800001216 100 KVA (Transformer - Vault Type - 1 Phase)
368 - Line Transformers | 36800001335 500 KVA (Transformer - Vault Type - 3 Phase)
368 - Line Transformers | 36800001406 25 KVA (Transformer - Pad Mount - 1 Phase)
368 - Line Transformers | 36800001408 Transformer - Pad Mount - 1m: (Transformer - Pad Mount - 1 Phase)
368 - Line Transformers | 36800001410 50 KVA (Transformer - Pad Mount - 1 Phase)
368 - Line Transformers | 36800001413 75 KVA (Transformer - Pad Mount - 1 Phase)
368 - Line Transformers | 36800001416 100 KVA (Transformer - Pad Mount - 1 Phase)
368 - Line Transformers | 36800001421 167 KVA (Transformer - Pad Mount - 1 Phase)
368 - Line Transformers | 36800001430 333 KVA (Transformer - Pad Mount - 1 Phase)
368 - Line Transformers | 36800001510 50 KVA (Transformer - Pad Mount - 3 Phase)
368 - Line Transformers | 36800001513 75 KVA (Transformer - Pad Mount - 3 Phase)
368 - Line Transformers | 36800001518 112.5 KVA (Transformer - Pad Mount - 3 Phase)
368 - Line Transformers | 36800001520 150 KVA (Transformer - Pad Mount - 3 Phase)
368 - Line Transformers | 36800001524 225 KVA (Transformer - Pad Mount - 3 Phase)
368 - Line Transformers | 36800001528 300 KVA (Transformer - Pad Mount - 3 Phase)
368 - Line Transformers | 36800001535 500 KVA (Transformer - Pad Mount - 3 Phase)
368 - Line Transformers | 36800001538 750 KVA (Transformer - Pad Mount - 3 Phase)
368 - Line Transformers | 36800001540 1000 KVA (Transformer - Pad Mount - 3 Phase)
368 - Line Transformers | 36800001541 1500 KVA (Transformer - Pad Mount - 3 Phase)
368 - Line Transformers | 36800001542 2000 KVA (Transformer - Pad Mount - 3 Phase)
368 - Line Transformers | 36800001543 2500 KVA (Transformer - Pad Mount - 3 Phase)
368 - Line Transformers | 36800001544 3000 KVA (Transformer - Pad Mount - 3 Phase)
368 - Line Transformers | 36800001621 167 KVA (Transformer - UG Dry Type - 1 Phase)
368 - Line Transformers | 36800001626 250 KVA (Transformer - UG Dry Type - 1 Phase)
368 - Line Transformers | 36800001629 333 KVA (Transformer - UG Dry Type - 1 Phase)
368 - Line Transformers | 36800001735 500 KVA (Transformer - UG Dry Type - 3 Phase)
368 - Line Transformers | 36800001808 37.5/10 KVA (Transformer - Duplex Pad Mount - 3 Phase)
368 - Line Transformers | 36800001821 167 /37.5 KVA (Transformer - Duplex Pad Mount - 3 Phase)
368 - Line Transformers | 36800001826 250 /37.5 KVA (Transformer - Duplex Pad Mount - 3 Phase)
368 - Line Transformers | 36800001901 Network Protector Relay (Network Protector Equipment)
368 - Line Transformers | 36800001905 216 V - 1600 A (Network Protector Equipment)
368 - Line Transformers | 36800004015 38.1 KVA (Regulator - 1 Phase)
368 - Line Transformers | 36800004023 76.2 KVA (Regulator - 1 Phase)
368 - Line Transformers | 36800004025 100 KVA (Regulator - 1 Phase)
368 - Line Transformers | 36800004027 114.3 KVA (Regulator - 1 Phase)
368 - Line Transformers | 36800004028 167 KVA (Regulator - 1 Phase)
368 - Line Transformers | 36800004030 250 to 300 KVA (Regulator - 1 Phase)
368 - Line Transformers | 36800004032 301 to 333 KVA (Regulator - 1 Phase)
368 - Line Transformers | 36800004045 Conventional Regulator Controls (Regulator - 1 Phase)
368 - Line Transformers | 36800004202 50 AMP (Auto Booster - 1 Phase)
368 - Line Transformers | 36800004503 200 - 300 KVAR (Capacitor - 1 Phase and 3 Phase)
368 - Line Transformers | 36800004504 400 KVAR (Capacitor - 1 Phase and 3 Phase)
368 - Line Transformers | 36800004600 All
368 - Line Transformers | 36800004700 All (Capacitor Control Unit)
368 - Line Transformers | 36800005002 5.1 - 27 KV (Cutout)
368 - Line Transformers | 36800005021 0 - 5 KV (Arrester)
368 - Line Transformers | 36800005022 5.1 - 15 KV (Arrester)
368 - Line Transformers | 36800005023 15.1 - 25 KV (Arrester)
368 - Line Transformers | 36800005024 Over 25 KV (Arrester)
368 - Line Transformers | 36800005029 Special (Arrester)
368 - Line Transformers | 36800005060 All (Oil Switch)
368 - Line Transformers | 36800005141 1m (Transformer Pad)
368 - Line Transformers | 36800005143 3m (Transformer Pad)
368 - Line Transformers | 36800005161 Type 1 - 2 Compartment
368 - Line Transformers | 36800005180 All (Regulator By-Pass Switch)
369 - Services | 36900001002 2 - Wire (Service - Overhead)
369 - Services | 36900001003 3 - Wire (Service - Overhead)
369 - Services | 36900001004 4 - Wire (Service - Overhead)
369 - Services | 36900003002 2-Wire (Service - Direct Burial)
369 - Services | 36900003003 3-Wire (Service - Direct Burial)
369 - Services | 36900003004 4-Wire (Service - Direct Burial)
369 - Services | 36900006359 750 MCM (5-15 KV, Non-Lead Covered Cable)
369 - Services | 36900008999 INTERIM RETIREMENT UNIT CODE
370 - Meters | 37000001001 Residential Meter, Self-Contained (Excl instr trnfr, demand,time-of-use & RUG)
370 - Meters | 37000001002 Other Meters (All 1 Phase not included in 1001)
370 - Meters | 37000003001 Meter (Excludes Demand, Time-of-Use & Underglass Recorders (RUG))
370 - Meters | 37000003002 Other Meters (Demand, Time-of-Use, RUG)
370 - Meters | 37000004001 All
370 - Meters | 37000004200 All
370 - Meters | 37000005001 All (Stand-Alone Billing Data Recorders, Totalizers & Similar Equip.)
370 - Meters | 37000005200 All
370 - Meters | 37000006001 All (Cabinets, Sockets, Test Switches, Relays, Reader/Programmers, etc.)
370 - Meters | 37000006200 SET OF AEM METER ACCESSORIES
370 - Meters | 37000006501 Single Phase AMI
370 - Meters | 37000006503 Three Phase AMI
370 - Meters | 37000006507 Tower Gateway Base Station
370 - Meters | 37000006508 Pole Mounted Gateway
370 - Meters | 37000007200 ADVANCED ENERGY MANAGEMENT MTR
370 - Meters | 37000008200 AEM HOST SYSTEM
373 - Street Lighting & Signal Sys | 37300001001 1 Cond. - 600 V
373 - Street Lighting & Signal Sys | 37300001201 1 Cond. - 600 V
373 - Street Lighting & Signal Sys | 37300001202 2 Cond. - 600 V
373 - Street Lighting & Signal Sys | 37300002000 All (Relay - Series or Multiple)
373 - Street Lighting & Signal Sys | 37300002100 All (Time Switch)
373 - Street Lighting & Signal Sys | 37300002300 All Sizes
373 - Street Lighting & Signal Sys | 37300002600 All Sizes
373 - Street Lighting & Signal Sys | 37300002800 All Sizes
373 - Street Lighting & Signal Sys | 37300004001 30'
373 - Street Lighting & Signal Sys | 37300004002 35'
373 - Street Lighting & Signal Sys | 37300004003 40'
373 - Street Lighting & Signal Sys | 37300004100 All
373 - Street Lighting & Signal Sys | 37300004201 Bare
373 - Street Lighting & Signal Sys | 37300004202 Duplex
373 - Street Lighting & Signal Sys | 37300004203 Triplex
373 - Street Lighting & Signal Sys | 37300005101 0' 0 - 14' 11"" (Pole - Concrete)
373 - Street Lighting & Signal Sys | 37300005102 15' 0 - 19' 11"" (Pole - Concrete)
373 - Street Lighting & Signal Sys | 37300005105 30' 0 - 34' 11"" (Pole - Concrete)
373 - Street Lighting & Signal Sys | 37300005106 35' 0 - 39' 11"" (Pole - Concrete)
373 - Street Lighting & Signal Sys | 37300005107 40' 0 - 44' 11"" (Pole - Concrete)
373 - Street Lighting & Signal Sys | 37300005108 45'0 - 49'11"" (Pole - Concrete)
373 - Street Lighting & Signal Sys | 37300005302 15' 0 - 19' 11"" (Pole - Aluminum)
373 - Street Lighting & Signal Sys | 37300005303 20' 0 - 24' 11"" (Pole - Aluminum)
373 - Street Lighting & Signal Sys | 37300005306 35' 0 - 39' 11"" (Pole - Aluminum)
373 - Street Lighting & Signal Sys | 37300005702 15' 0 - 19' 11"" (Pole - Fiberglass)
373 - Street Lighting & Signal Sys | 37300005705 30' 0 - 34' 11"" (Pole - Fiberglass)
373 - Street Lighting & Signal Sys | 37300005706 35' 0 - 39' 11"" (Pole - Fiberglass)
373 - Street Lighting & Signal Sys | 37300006000 INTERIM RETIREMENT UNIT CODE
373 - Street Lighting & Signal Sys | 37300006201 0 - 9,000 Lumen (Vapor Light)
373 - Street Lighting & Signal Sys | 37300006202 9,001 - 19,000 Lumen (Vapor Light)
373 - Street Lighting & Signal Sys | 37300006203 19,001 - 39,000 Lumen (Vapor Light)
373 - Street Lighting & Signal Sys | 37300006204 39,001 - 100,000 Lumen (Vapor Light)
373 - Street Lighting & Signal Sys | 37300006236 29,00l - 39,000 (Metal Halide Light, Closed)
373 - Street Lighting & Signal Sys | 37300006238 70,00l - 100,000 (Metal Halide Light, Closed)
373 - Street Lighting & Signal Sys | 37300006253 19,001 - 39,000 Lumen (Vapor Floodlight, Pole Mounted)
373 - Street Lighting & Signal Sys | 37300006255 100,001 and above Lumen (Vapor Floodlight, Pole Mounted)
373 - Street Lighting & Signal Sys | 37300006274 High Pressure Sodium Floodlight, Pole Mtd. - Ea. 15000 L. 28-22690
373 - Street Lighting & Signal Sys | 37300006283 9,001 - 14,000 (Metal Halide Floodlight, Closed)
373 - Street Lighting & Signal Sys | 37300006286 29,001 - 39,000 (Metal Halide Floodlight, Closed)
373 - Street Lighting & Signal Sys | 37300006288 70,001 - 100,000 (Metal Halide Floodlight, Closed)
373 - Street Lighting & Signal Sys | 37300009003 5,400 Lumen, 70 Watt (High Pressure Sodium Light)
373 - Street Lighting & Signal Sys | 37300009004 8800LU 100W HPS OL (High Pressure Sodium Light)
373 - Street Lighting & Signal Sys | 37300009053 5,400 Lumen, 70 Watt (High Pressure Sodium Light)
373 - Street Lighting & Signal Sys | 37300009054 8,800 Lumen, 100 Watt (High Pressure Sodium Light)
373 - Street Lighting & Signal Sys | 37300009056 20,000 Lumen, 200 Watt (High Pressure Sodium Light)
373 - Street Lighting & Signal Sys | 37300009059 46,000 Lumen, 400 Watt (High Pressure Sodium Light)
373 - Street Lighting & Signal Sys | 37333008001 0-4,500 Lumen (Light Emitting Diode (LED) Light)
373 - Street Lighting & Signal Sys | 37333008002 4,501 - 9,000 Lumen (Light Emitting Diode (LED) Light)
373 - Street Lighting & Signal Sys | 37333008003 9,001 - 14,000 Lumen (Light Emitting Diode (LED) Light)
367 - Undergrnd conductors,devices | Non-unitized