## Q35
Measure # | Measure Name | Customer Class | Summer (MW) | Winter (MW) | Annual Energy (GWh)
Energy Efficiency Measures
100 | Base 13 SEER Split-System Air Conditioner & Strip Heater | Residential | 0 | 0 | 0
101 | Base 14 SEER Split-System Air Conditioner | Residential | 0 | 0 | 0
102 | 15 SEER Split-System Air Conditioner | Residential | 8.2752 | 0 | 16.2361
103 | 17 SEER Split-System Air Conditioner | Residential | 17.8172 | 0 | 32.6356
104 | 19 SEER Split-System Air Conditioner | Residential | 14.8746 | 0 | 27.2592
105 | 14 SEER Split-System Heat Pump | Residential | 16.9712 | 73.1758 | 114.8992
106 | 15 SEER Split-System Heat Pump | Residential | 10.4284 | 24.9383 | 46.3019
107 | 17 SEER Split-System Heat Pump | Residential | 19.4471 | 30.1229 | 65.4292
108 | 13 EER Geothermal Heat Pump | Residential | 0 | 0 | 0
109 | HVAC Proper Sizing | Residential | 0 | 0 | 0
110 | Attic Venting | Residential | 0 | 0 | 0
111 | Sealed Attic w/Sprayed Foam Insulated Roof Deck | Residential | 50.7503 | 116.7667 | 144.4045
112 | AC Maintenance (Outdoor Coil Cleaning) | Residential | 63.7661 | 0 | 165.5837
113 | AC Maintenance (Indoor Coil Cleaning) | Residential | 59.7233 | 0 | 154.9868
114 | Proper Refrigerant Charging and Air Flow | Residential | 64.9922 | 0 | 170.727
115 | Electronically Commutated Motors (ECM) on an Air Handler Unit | Residential | 34.1015 | 0 | 104.1109
116 | Duct Repair | Residential | 89.8137 | 100.0678 | 202.2191
117 | Reflective Roof | Residential | 81.2958 | 0 | 207.3846
118 | Radient Barrier | Residential | 81.7136 | 35.529 | 149.0955
119 | Window Film | Residential | 16.8865 | -5.5067 | 51.1204
120 | Window Tinting | Residential | 7.1655 | 0 | 15.9906
121 | Default Window With Sunscreen | Residential | 107.3959 | -13.6195 | 148.3546
122 | Single Pane Clear Windows to Double Pane Low-E Windows | Residential | 38.3957 | 19.129 | 96.5971
124 | Ceiling R-0 to R-19 Insulation | Residential | 7.4722 | 17.1921 | 20.5722
125 | Ceiling R-19 to R-38 Insulation | Residential | 1.7469 | 0 | 5.0081
126 | Wall 2x4 R-0 to Blow-In R-13 Insulation | Residential | 3.5145 | 7.8506 | 10.143
127 | Weather Strip/Caulk w/Blower Door | Residential | 0.6128 | 1.0093 | 20.237
130 | Base 13 SEER Split-System Heat Pump | Residential | 0 | 0 | 0
131 | Base 14 SEER Split-System Heat Pump | Residential | 0 | 0 | 0
132 | 15 SEER Split-System Heat Pump | Residential | 23.9027 | 11.0424 | 59.9191
133 | 17 SEER Split-System Heat Pump | Residential | 48.1567 | 23.1195 | 113.4677
134 | 13 EER Geothermal Heat Pump | Residential | 0 | 0 | 0
135 | HVAC Proper Sizing | Residential | 0 | 0 | 0
136 | Attic Venting | Residential | 0 | 0 | 0
137 | Sealed Attics | Residential | 20.0988 | 78.6503 | 59.8045
138 | AC Maintenance (Outdoor Coil Cleaning) | Residential | 32.0679 | 0 | 84.607
139 | AC Maintenance (Indoor Coil Cleaning) | Residential | 30.037 | 0 | 79.2116
140 | Proper Refrigerant Charging and Air Flow | Residential | 32.0243 | 0 | 85.5499
141 | Electronically Commutated Motors (ECM) on an Air Handler Unit | Residential | 34.0494 | 55.8258 | 109.5636
142 | Duct Repair | Residential | 52.0328 | 59.8588 | 98.5679
143 | Reflective Roof | Residential | 37.8599 | 0 | 101.8168
144 | Radient Barrier | Residential | 40.3286 | 17.5348 | 74.7583
145 | Window Film | Residential | 7.0598 | -2.1743 | 26.1073
146 | Window Tinting | Residential | 3.1485 | 0 | 7.1551
147 | Default Window With Sunscreen | Residential | 48.1453 | -6.1056 | 67.6844
148 | Single Pane Clear Windows to Double Pane Low-E Windows | Residential | 18.6957 | 9.3143 | 47.9346
150 | Ceiling R-0 to R-19 Insulation | Residential | 3.1302 | 12.249 | 9.1493
151 | Ceiling R-19 to R-38 Insulation | Residential | 0.6619 | 0 | 1.9954
152 | Wall 2x4 R-0 to Blow-In R-13 Insulation | Residential | 1.3 | 0 | 3.9379
153 | Weather Strip/Caulk w/Blower Door | Residential | 0.29252 | 0.14574 | 9.8192
160 | Base 13 SEER Split-System Air Conditioner & Gas Heat | Residential | 0 | 0 | 0
161 | Base 14 SEER Split-System Air Conditioner | Residential | 0 | 0 | 0
162 | 15 SEER Split-System Air Conditioner | Residential | 0 | 0 | 0
163 | 17 SEER Split-System Air Conditioner | Residential | 0 | 0 | 0
164 | 19 SEER Split-System Air Conditioner | Residential | 0 | 0 | 0
165 | HVAC Proper Sizing | Residential | 0 | 0 | 0
166 | Attic Venting | Residential | 0 | 0 | 0
167 | Sealed Attic w/Sprayed Foam Insulated Roof Deck | Residential | 0 | 0 | 0
168 | AC Maintenance (Outdoor Coil Cleaning) | Residential | 0 | 0 | 0
169 | AC Maintenance (Indoor Coil Cleaning) | Residential | 0 | 0 | 0
170 | Proper Refrigerant Charging and Air Flow | Residential | 0 | 0 | 0
171 | Electronically Commutated Motors (ECM) on an Air Handler Unit | Residential | 0 | 0 | 0
172 | Duct Repair | Residential | 0 | 0 | 0
173 | Reflective Roof | Residential | 0 | 0 | 0
174 | Radient Barrier | Residential | 0 | 0 | 0
175 | Window Film | Residential | 0 | 0 | 0
176 | Window Tinting | Residential | 0 | 0 | 0
177 | Default Window With Sunscreen | Residential | 0 | 0 | 0
178 | Single Pane Clear Windows to Double Pane Low-E Windows | Residential | 0 | 0 | 0
180 | Ceiling R-0 to R-19 Insulation | Residential | 0 | 0 | 0
181 | Ceiling R-19 to R-38 Insulation | Residential | 0 | 0 | 0
182 | Wall 2x4 R-0 to Blow-In R-13 Insulation | Residential | 0 | 0 | 0
183 | Weather Strip/Caulk w/Blower Door | Residential | 0 | 0 | 0
190 | Base 9 EER Room Air Conditioner & Strip Heater | Residential | 0 | 0 | 0
190A | Base 10 EER Room Air Conditioner & Strip Heater | Residential | 0 | 0 | 0
191 | HE Room Air Conditioner - EER 11 | Residential | 4.762 | 0 | 9.5228
192 | HE Room Air Conditioner - EER 12 | Residential | 2.1504 | 0 | 4.2966
196 | Reflective Roof | Residential | 3.1447 | 0 | 8.207
197 | Window Film | Residential | 0.6944 | -0.1887 | 2.4963
198 | Window Tinting | Residential | 0.31432 | 0 | 0.69448
199 | Default Window With Sunscreen | Residential | 4.383 | -0.51614 | 5.987
200 | Single Pane Clear Windows to Double Pane Low-E Windows | Residential | 1.5284 | 0.76147 | 3.8199
202 | Ceiling R-0 to R-19 Insulation | Residential | 0.62954 | 0.59307 | 1.9154
203 | Ceiling R-19 to R-38 Insulation | Residential | 0.17094 | 0 | 0.53842
204 | Wall 2x4 R-0 to Blow-In R-13 Insulation | Residential | 0.18586 | 0 | 0.58615
205 | Weather Strip/Caulk w/Blower Door | Residential | 0.022109 | 0.011015 | 0.72378
220 | Base Lighting (60-Watt incandescent), 0.5 hr/hday | Residential | 0 | 0 | 0
220 | Base Lighting (43-Watt incandescent), 0.5 hr/hday | Residential | 0 | 0 | 0
221 | CFL (18-Watt integral ballast), 0.5 hr/day | Residential | 2.0681 | 2.6789 | 40.9196
230 | Base Lighting (60-Watt incandescent), 2.5 hr/hday | Residential | 0 | 0 | 0
230 | Base Lighting (43-Watt incandescent), 2.5 hr/hday | Residential | 0 | 0 | 0
231 | CFL (18-Watt integral ballast), 2.5 hr/day | Residential | 18.096 | 23.6043 | 358.0466
240 | Base Lighting (60-Watt incandescent), 6.0 hr/hday | Residential | 0 | 0 | 0
240 | Base Lighting (43-Watt incandescent), 6.0 hr/hday | Residential | 0 | 0 | 0
241 | CFL (18-Watt integral ballast), 6.0 hr/day | Residential | 9.3065 | 12.0551 | 184.1383
250 | Base Fluorescent Fixture, 2L4'T12, 40W, 1EEMAG | Residential | 0 | 0 | 0
250 | Base Fluorescent Fixture, 2L4'T12, 34W, 1EE | Residential | 0 | 0 | 0
251 | ROB 2L4'T8, 1EB | Residential | 0.54468 | 0.70554 | 10.777
252 | RET 2L4'T8, 1EB | Residential | 1.907 | 2.4701 | 37.7309
260 | Base Outdoor Lighting | Residential | 0 | 0 | 0
261 | CFL - medium screw based <30 Watts | Residential | 0 | 0 | 0
262 | Photocell/timeclock | Residential | 0 | 0 | 0
300 | Base Refrigerator (18 cf w/top-mount freezer, no through-door ice) | Residential | 0 | 0 | 0
300 | Base Refrigerator (18 cf w/top-mount freezer, no through-door ice) -10% | Residential | 0 | 0 | 0
301 | HE Refrigerator - Energy Star version of above | Residential | 26.2239 | 22.0916 | 204.231
350 | Base Freezer | Residential | 0 | 0 | 0
350 | Base Freezer -25% | Residential | 0 | 0 | 0
351 | HE Freezer | Residential | 1.9396 | 1.6339 | 15.1053
400 | Base 40 gal. Water Heating (EF=0.92) | Residential | 0 | 0 | 0
400 | Base 40 gal. Water Heating (EF=0.948) | Residential | 0 | 0 | 0
401 | Heat Pump Water Heater (EF=2.9) | Residential | 57.5401 | 140.7281 | 752.0971
402 | HE Water Heater (EF=0.93) | Residential | 0 | 0 | 0
403 | Solar Water Heat | Residential | 4.36 | 0 | 39.8635
404 | AC Heat Recovery Units | Residential | 68.4226 | 0 | 202.3685
405 | Low Flow Showerhead | Residential | 7.6865 | 18.7993 | 99.5516
406 | Pipe Wrap | Residential | 2.2863 | 5.5918 | 29.8221
407 | Faucet Aerators | Residential | 4.0375 | 9.8747 | 52.5055
408 | Water Heater Blanket | Residential | 9.6953 | 23.7122 | 126.6661
409 | Water Heater Temperature Check and Adjustment | Residential | 0.57886 | 1.4158 | 7.5661
410 | Water Heater Timeclock | Residential | 5.1941 | 12.7034 | 67.8891
411 | Heat Trap | Residential | 10.5056 | 25.694 | 137.2529
500 | Base Clotheswasher (MEF=1.6) | Residential | 0 | 0 | 0
501 | Energy Star CW CEE Tier 1 (MEF=1.8) | Residential | 0 | 0 | 0
502 | Energy Star CW CEE Tier 2 (MEF=2.0) | Residential | 27.9464 | 25.3147 | 205.9078
503 | Energy Star CW CEE Tier 3 (MEF=2.2) | Residential | 10.5999 | 9.6017 | 78.0992
600 | Base Clothes Dryer (EF=3.01) | Residential | 0 | 0 | 0
600 | Base Clothes Dryer (EF=3.73) | Residential | 0 | 0 | 0
610 | High Efficiency CD (EF=3.01 w/moisture sensor) | Residential | 0 | 0 | 0
700 | Base Dishwasher (EF=0.46) | Residential | 0 | 0 | 0
701 | Energy Star DW (EF=0.68) | Residential | 14.2317 | 9.2819 | 150.2346
800 | Base Pool Pump and Motor (1.5 hp) | Residential | 0 | 0 | 0
801 | Two Speed Pool Pump (1.5 hp) | Residential | 42.6648 | 7.3429 | 206.8701
802 | High Efficiency One Speed Pool Pump (1.5 hp) | Residential | 43.7314 | 7.5265 | 212.0418
803 | Variable-Speed Pool Pump (<1 hp) | Residential | 48.4131 | 8.3323 | 234.7421
804 | PV-Powered Pool Pumps | Residential | 31.0341 | 5.3412 | 150.4757
900 | Base CRT TV | Residential | 0 | 0 | 0
901 | Energy Star TV | Residential | 0.76329 | 0.60152 | 6.2808
910 | Base Large-screen TV | Residential | 0 | 0 | 0
911 | Energy Star TV | Residential | 2.0929 | 1.6493 | 17.2626
920 | Base Set-Top Box | Residential | 0 | 0 | 0
921 | Energy Star Set-Top Box | Residential | 7.0178 | 5.5305 | 57.8327
930 | Base DVD Player | Residential | 0 | 0 | 0
931 | Energy Star DVD Player | Residential | 1.9144 | 1.5087 | 15.7684
940 | Base VCR | Residential | 0 | 0 | 0
941 | Energy Star VCR | Residential | 0.79715 | 0.62821 | 6.5656
950 | Base Desktop PC | Residential | 0 | 0 | 0
951 | Energy Star Desktop PC | Residential | 3.0721 | 2.4211 | 25.3124
960 | Base Laptop PC | Residential | 0 | 0 | 0
961 | Energy Star Laptop PC | Residential | 0.35004 | 0.27586 | 2.8841
352 | Freezer recycling | Residential | 1.4964 | 0.94765 | 11.7529
302 | Refrigerator recycling | Residential | 51.205 | 32.4272 | 399.2675
962 | Smart Plug | Residential | 23.7539 | 21.517 | 189.8372
222 | LED (12-Watt integral ballast), 0.5 hr/day | Residential | 0.65333 | 0 | 27.9213
232 | LED (12-Watt integral ballast), 2.5 hr/day | Residential | 15.1151 | 0 | 244.1701
242 | LED (12-Watt integral ballast), 6.0 hr/day | Residential | 8.2709 | 0 | 125.6378
261 | LED 13W Outdoor | Residential | 0 | 0 | 188.5418
111 | Premium T8, Elecctronic Ballast | Commercial | 28.2269 | 15.1096 | 152.8806
112 | Premium T8, EB, Reflector | Commercial | 11.3547 | 6.078 | 61.1228
113 | Occupancy Sensor | Commercial | 9.0997 | 4.9579 | 49.3013
114 | Continuous Dimming | Commercial | 15.7319 | 8.4813 | 85.6136
115 | Lighing Control Tuneup | Commercial | 0.83004 | 0.44748 | 4.4049
121 | ROB Premium T8, 1EB | Commercial | 6.5422 | 3.527 | 34.2506
122 | ROB Premium T8, EB, Reflector | Commercial | 5.0911 | 2.7447 | 26.6765
123 | Occupancy Sensor | Commercial | 4.5564 | 2.4695 | 24.0381
124 | Lighing Control Tuneup | Commercial | 0.38854 | 0.20984 | 2.0086
131 | CFL Screw-in 18W | Commercial | 43.1516 | 23.2636 | 232.7036
141 | CFL Hardwired, Modular 18W | Commercial | 14.3839 | 7.7545 | 77.5679
151 | PSMH, magnetic ballast | Commercial | 10.49 | 5.6854 | 54.8741
153 | High Bay T5 | Commercial | 4.7064 | 0 | 47.1034
161 | LED Exit Sign | Commercial | 0.50802 | 0.39331 | 2.9877
201 | High Pressure Sodium 250W Lamp | Commercial | 0.47662 | 3.0593 | 80.0758
202 | Outdoor Lighting Controls (Photocell/Timeclock) | Commercial | 0.68154 | 0.24602 | 6.5945
211 | Outdoor Lighting Controls (Photocell/Timeclock) | Commercial | 8.6672 | 0 | 9.505
301 | Centrifugal Chiller, 0.51 kW/ton, 500 tons | Commercial | 2.9283 | 0.041424 | 30.5388
302 | High Efficiency Chiller Motors | Commercial | 0.77965 | 0 | 14.6924
304 | EMS - Chiller | Commercial | 4.5875 | 0.096882 | 4.1122
305 | Chiller Tune Up/Diagnostics | Commercial | 5.6163 | 0.13155 | 16.4392
306 | VSD for Chiller Pumps and Towers | Commercial | 0.49414 | 0.16105 | 29.5784
307 | EMS Optimization | Commercial | 6.2614 | 0.047234 | 10.4617
308 | Aerosole Duct Sealing | Commercial | 0.70367 | 0.17955 | 33.0164
309 | Duct/Pipe Insulation | Commercial | 2.0249 | 0.020179 | 3.7016
311 | Window Film (Standard) | Commercial | 10.7816 | -0.27098 | 10.1943
313 | Ceiling Insulation | Commercial | 3.1605 | 1.2367 | 18.4074
314 | Roof Insulation | Commercial | 16.7242 | 0.12084 | 6.3861
315 | Cool Roof - Chiller | Commercial | 17.6412 | 0 | 41.196
317 | Thermal Energy Storage (TES) | Commercial | 3.9035 | 0.067451 | -5.2727
321 | DX Packaged System, EER=10.9, 10 tons | Commercial | 0 | 0 | 0
321A | DX Packaged System, EER=11.9, 10 tons | Commercial | 11.8051 | 0 | 27.3361
322 | Hybrid Dessicant-DX System (Trane CDQ) | Commercial | 10.8606 | 0 | 159.1024
323 | Geothermal Heat Pump, EER=13, 10 tons | Commercial | 6.1694 | 0.62288 | 75.8917
326 | DX Tune Up/ Advanced Diagnostics | Commercial | 9.6458 | 0 | 21.312
327 | DX Coil Cleaning | Commercial | 1.0998 | 0 | 33.3217
328 | Optimize Controls - DX | Commercial | 18.65 | 0.10513 | 22.4615
329 | Aerosole Duct Sealing | Commercial | 1.8999 | 0 | 95.2407
330 | Duct/Pipe Insulation | Commercial | 7.4687 | 0 | 9.6824
332 | Window Film (Standard) | Commercial | 37.619 | -4.3549 | 37.6372
334 | Ceiling Insulation | Commercial | 12.1082 | 17.2603 | 66.0707
335 | Roof Insulation | Commercial | 44.3116 | 6.0184 | 23.0363
336 | Cool Roof - DX | Commercial | 1.5367 | 0 | 128.7817
341 | Packaged HP System, EER=10.9, 10 tons | Commercial | 0 | 0 | 0
341A | Packaged HP System, EER=11.7, 10 tons | Commercial | 1.8491 | 0 | 5.6922
342 | Geothermal Heat Pump, EER=13, 10 tons | Commercial | 1.7382 | 0 | 5.4493
344 | Aerosole Duct Sealing | Commercial | 0.21855 | 0.054829 | 8.435
345 | Duct/Pipe Insulation | Commercial | 0.50851 | 0.0052226 | 1.0592
347 | Window Film (Standard) | Commercial | 3.5077 | -0.019929 | 2.4743
349 | Ceiling Insulation | Commercial | 1.1384 | 0.10729 | 5.842
350 | Roof Insulation | Commercial | 3.8635 | 0.039174 | 2.0537
351 | Cool Roof - DX | Commercial | 5.1055 | 0 | 10.5437
361 | HE PTAC, EER=9.6, 1 ton | Commercial | 2.4439 | 0 | 37.1877
362 | Occupancy Sensor (hotels) | Commercial | 0.91617 | 0.30369 | 48.8072
401 | High Efficiency Fan Motor, 15hp, 1800rpm, 92.4% | Commercial | 2.5302 | 1.3399 | 7.1777
402 | Variable Speed Drive Control | Commercial | 1.6944 | 3.681 | 71.7883
403 | Air Handler Optimization | Commercial | 11.1372 | 1.7978 | 52.0372
404 | Electronically Commutated Motors (ECM) on an Air Handler Unit | Commercial | 29.5838 | 0 | 89.1237
405 | Demand Control Ventilation (DCV) | Commercial | 19.1718 | 74.0894 | 58.2549
406 | Energy Recovery Ventilation (ERV) | Commercial | 4.3699 | 34.4525 | 27.7391
407 | Separate Makeup Air / Exhaust Hoods AC | Commercial | 5.0253 | 1.5873 | 34.7656
501 | High-efficiency fan motors | Commercial | 1.4743 | 3.9389 | 42.3284
502 | Strip curtains for walk-ins | Commercial | 0 | 1.1556 | 12.4186
503 | Night covers for display cases | Commercial | 0.16442 | 12.4183 | 11.2452
504 | Evaporator fan controller for MT walk-ins | Commercial | 2.7228 | 0.12888 | 1.385
505 | Efficient compressor motor retrofit | Commercial | 0.5655 | 2.1341 | 22.9341
506 | Compressor VSD retrofit | Commercial | 0.94761 | 0.44325 | 9.5255
507 | Floating head pressure controls | Commercial | 0.99668 | 0.74275 | 7.9818
508 | Refrigeration Commissioning | Commercial | 0.40619 | 0.78122 | 8.3952
509 | Demand Hot Gas Defrost | Commercial | 4.6187 | 0.31837 | 3.4214
510 | Demand Defrost Electric | Commercial | 0.95258 | 3.6202 | 38.9041
511 | Anti-sweat (humidistat) controls | Commercial | 0.58706 | 1.4933 | 16.0464
513 | High R-Value Glass Doors | Commercial | 2.8502 | 0.46015 | 4.9449
514 | Multiplex Compressor System | Commercial | 1.9802 | 2.234 | 24.0074
515 | Oversized Air Cooled Condenser | Commercial | 1.9723 | 1.5521 | 16.6793
516 | Freezer-Cooler Replacement Gaskets | Commercial | 0.27094 | 1.5459 | 16.6128
517 | LED Display Lighting | Commercial | 0.17511 | 0.21236 | 2.2821
601 | High Efficiency Water Heater (electric) | Commercial | 0 | 0 | 0
603 | Heat Pump Water Heater (air source) | Commercial | 0.055111 | 4.358 | 46.8284
604 | Solar Water Heater | Commercial | 0.20127 | 0.040563 | 0.86373
606 | Demand controlled circulating systems | Commercial | 8.5002 | 0.16469 | 1.7164
608 | Heat Recovery Unit | Commercial | 1.1989 | 5.4502 | 68.4601
609 | Heat Trap | Commercial | 0.046097 | 0.86864 | 9.352
610 | Hot Water Pipe Insulation | Commercial | 3.2674 | 0.033929 | 0.36211
701 | PC Manual Power Management Enabling | Commercial | 6.2444 | 7.8527 | 41.1985
702 | PC Network Power Management Enabling | Commercial | 1.212 | 14.5641 | 76.4093
711 | Energy Star or Better Monitor | Commercial | 2.9371 | 1.8536 | 9.7635
712 | Monitor Power Management Enabling | Commercial | 9.2377e-05 | 6.8502 | 35.9393
721 | Energy Star or Better Monitor | Commercial | 0.0051691 | 0.00014128 | 0.00074418
722 | Monitor Power Management Enabling | Commercial | 0.2316 | 0.012056 | 0.063252
731 | Energy Star or Better Copier | Commercial | 0.60796 | 0.35421 | 1.8271
732 | Copier Power Management Enabling | Commercial | 3.0631 | 1.418 | 7.285
741 | Printer Power Management Enabling | Commercial | 1.874 | 7.1441 | 36.8673
801 | Convection Oven | Commercial | 1.5337 | 0.34495 | 14.0933
811 | Efficient Fryer | Commercial | 1.6239 | 0.34495 | 15.5818
901 | Vending Misers | Commercial | 0 | 3.5526 | 34.41
611 | 0.5 Faucet Aerator (DI) - Commercial | Commercial | 4.8791 | 11.6953 | 13.3288
612 | 1.0 gpm Faucet Aerator (DI) -Commercial | Commercial | 1.1629 | 2.7876 | 16.6177
613 | 1.5 gpm Showerhead (DI) - Commercial | Commercial | 0.36121 | 0.86584 | 12.5352
910 | Server Virtualization | Commercial | 2.5858 | 4.798 | 32.3616
203 | Outdoor LED 104W | Commercial | 0 | 0 | 60.515
132 | Flood LED 14W | Commercial | 1.9993 | 2.6354 | 24.9298
154 | LED High Bay 83W (400W equivalent) | Commercial | 1.9148 | 3.8864 | 15.3571
146 | LED (12-Watt) | Commercial | 4.1801 | 3.7082 | 36.4769
125 | LED Linear Tube 22W | Commercial | 1.7762 | 2.094 | 35.3797
337 | Run Time Optimizer | Commercial | 67.2085 | 0 | 100.6272
338 | dehumidification hybrid desiccant heat pump | Commercial | 127.6712 | 9.9226 | 236.9035
812 | Griddle | Commercial | 1.6239 | 0.34495 | 15.5818
813 | Steamer | Commercial | 1.5337 | 0.34495 | 14.0933
814 | Holding Cabinet | Commercial | 1.5337 | 0.34495 | 14.0933
518 | Ice Machine | Commercial | 0.40619 | 0.78122 | 8.3952
100 | New Base Compressed Air | Industrial | 0 | 0 | 0
101 | Compressed Air-O&M | Industrial | 3.4963 | 2.971 | 24.9631
102 | Compressed Air - Controls | Industrial | 0.65252 | 0.55449 | 4.659
103 | Compressed Air - System Optimization | Industrial | 2.5652 | 2.1798 | 18.3151
104 | Compressed Air- Sizing | Industrial | 1.0516 | 0.89364 | 7.5085
105 | Comp Air - Replace 1-5 HP motor | Industrial | 0.02343 | 0.019933 | 0.16728
106 | Comp Air - ASD (1-5 hp) | Industrial | 0.0042244 | 0.0033677 | 0.33348
107 | Comp Air - Motor practices-1 (1-5 HP) | Industrial | 0.043329 | 0.03682 | 0.30935
108 | Comp Air - Replace 6-100 HP motor | Industrial | 0.14608 | 0.12413 | 1.0429
109 | Comp Air - ASD (6-100 hp) | Industrial | 0.054208 | 0.50987 | 4.2796
110 | Comp Air - Motor practices-1 (6-100 HP) | Industrial | 0.16253 | 0.13811 | 1.1604
111 | Comp Air - Replace 100+ HP motor | Industrial | 0.13364 | 0.11356 | 0.9541
112 | Comp Air - ASD (100+ hp) | Industrial | 0.06585 | 0.61937 | 5.1986
113 | Comp Air - Motor practices-1 (100+ HP) | Industrial | 0.17024 | 0.14483 | 1.2155
114 | Power recovery | Industrial | 0.00028159 | 0.00024952 | 0.0033027
115 | Refinery Controls | Industrial | 0.0014586 | 0 | 0.017107
200 | New Base Fans | Industrial | 0 | 0 | 0
201 | Fans - O&M | Industrial | 0.26557 | 1.9649 | 2.0699
202 | Fans - Controls | Industrial | 2.2565 | 0.74053 | 17.6136
203 | Fans - System Optimization | Industrial | 0.44371 | 0.241 | 7.3338
204 | Fans- Improve components | Industrial | 0.2711 | 0.022372 | 2.113
205 | Fans - Replace 1-5 HP motor | Industrial | 0.026238 | 0.025347 | 0.20481
206 | Fans - ASD (1-5 hp) | Industrial | 0.0045098 | 0.042068 | 0.38924
207 | Fans - Motor practices-1 (1-5 HP) | Industrial | 0.048523 | 0.13897 | 0.37876
208 | Fans - Replace 6-100 HP motor | Industrial | 0.16359 | 0.46754 | 1.2769
209 | Fans - ASD (6-100 hp) | Industrial | 0.049707 | 0.19729 | 4.2838
210 | Fans - Motor practices-1 (6-100 HP) | Industrial | 0.21104 | 0.14806 | 1.6448
211 | Fans - Replace 100+ HP motor | Industrial | 0.14966 | 0.068184 | 1.1682
212 | Fans - ASD (100+ hp) | Industrial | 0.081485 | 0.18806 | 7.0225
213 | Fans - Motor practices-1 (100+ HP) | Industrial | 0.22106 | 0.18936 | 1.7229
214 | Optimize drying process | Industrial | 0.16358 | 0 | 0.98726
215 | Power recovery | Industrial | 0.00020036 | 0 | 0.00235
216 | Refinery Controls | Industrial | 0.0011953 | 1.5486 | 0.01402
300 | New Base Pumps | Industrial | 0 | 0 | 0
301 | Pumps - O&M | Industrial | 1.7439 | 3.4543 | 14.1939
302 | Pumps - Controls | Industrial | 5.1179 | 1.3868 | 41.656
303 | Pumps - System Optimization | Industrial | 4.0332 | 0.028522 | 32.8249
304 | Pumps - Sizing | Industrial | 1.6247 | 0.034762 | 13.2241
305 | Pumps - Replace 1-5 HP motor | Industrial | 0.033414 | 0.055582 | 0.27194
306 | Pumps - ASD (1-5 hp) | Industrial | 0.0058421 | 0.17703 | 0.52572
307 | Pumps - Motor practices-1 (1-5 HP) | Industrial | 0.061793 | 0.63933 | 0.5029
308 | Pumps - Replace 6-100 HP motor | Industrial | 0.20833 | 0.19719 | 1.6955
309 | Pumps - ASD (6-100 hp) | Industrial | 0.078596 | 0.16213 | 7.0735
310 | Pumps - Motor practices-1 (6-100 HP) | Industrial | 0.23179 | 0.29857 | 1.8864
311 | Pumps - Replace 100+ HP motor | Industrial | 0.19058 | 0.21351 | 1.5511
312 | Pumps - ASD (100+ hp) | Industrial | 0.10482 | 0 | 9.4335
313 | Pumps - Motor practices-1 (100+ HP) | Industrial | 0.24279 | 0.0073299 | 1.976
314 | Power recovery | Industrial | 0.0010839 | 0.52526 | 0.012713
315 | Refinery Controls | Industrial | 0.0064439 | 0.13644 | 0.075578
400 | Base Drives | Industrial | 0 | 0 | 0
401 | Bakery - Process (Mixing) - O&M | Industrial | 0.61056 | 0.15086 | 4.683
402 | O&M/drives spinning machines | Industrial | 0.082035 | 0.2693 | 0.33579
403 | Air conveying systems | Industrial | 0.082922 | 0.039927 | 2.0662
404 | Replace V-Belts | Industrial | 0.15783 | 0.038166 | 0.95253
405 | Drives - EE motor | Industrial | 0.28174 | 0.12615 | 2.2379
406 | Gap Forming papermachine | Industrial | 0.04857 | 0.20277 | 0.43657
407 | High Consistency forming | Industrial | 0.046973 | 0.18764 | 0.42222
408 | Optimization control PM | Industrial | 0.14268 | 0.084429 | 1.2825
409 | Efficient practices printing press | Industrial | 0.2692 | 0.049107 | 2.0677
410 | Efficient Printing press (fewer cylinders) | Industrial | 0.22826 | 0.15489 | 1.7533
411 | Light cylinders | Industrial | 0.099243 | 0 | 0.76229
412 | Efficient drives | Industrial | 0.052157 | 0 | 0.40061
413 | Clean Room - Controls | Industrial | 0.17613 | 0 | 1.5826
414 | Clean Room - New Designs | Industrial | 0.083431 | 0.46461 | 0.96131
415 | Drives - Process Controls (batch + site) | Industrial | 0.21317 | 0.75334 | 2.2246
416 | Process Drives - ASD | Industrial | 0.018767 | 0.38705 | 0.19843
417 | O&M - Extruders/Injection Moulding | Industrial | 0.62315 | 0.27384 | 4.6638
418 | Extruders/injection Moulding-multipump | Industrial | 0.88552 | 0.23906 | 6.6275
419 | Direct drive Extruders | Industrial | 0.45496 | 0.35324 | 3.4051
420 | Injection Moulding - Impulse Cooling | Industrial | 0.32189 | 0.07267 | 2.4091
421 | Injection Moulding - Direct drive | Industrial | 0.28101 | 0.047602 | 2.1031
422 | Efficient grinding | Industrial | 0.37708 | 0.0093615 | 3.4207
423 | Process control | Industrial | 0.077576 | 0.01124 | 0.70373
424 | Process optimization | Industrial | 0.050815 | 0.29009 | 0.46097
425 | Drives - Process Control | Industrial | 0.010386 | 0.12857 | 0.062219
426 | Efficient drives - rolling | Industrial | 0.012469 | 0.14455 | 0.074703
427 | Drives - Optimization process (M&T) | Industrial | 0.32182 | 0.0099301 | 1.9245
428 | Drives - Scheduling | Industrial | 0.026066 | 0.20532 | 0.93277
429 | Machinery | Industrial | 0.16036 | 0.036899 | 0.98971
430 | Efficient Machinery | Industrial | 0.012038 | 0.044344 | 0.10062
500 | Base Heating | Industrial | 0 | 0 | 0
501 | Bakery - Process | Industrial | 0.24135 | 0.022819 | 1.8511
502 | Drying (UV/IR) | Industrial | 0.019301 | 0.00045271 | 0.13786
503 | Heat Pumps - Drying | Industrial | 0.049352 | 0.0062266 | 0.29785
504 | Top-heating (glass) | Industrial | 0.038319 | 0.02347 | 0.34761
505 | Efficient electric melting | Industrial | 0.025316 | 0.52709 | 0.15167
506 | Intelligent extruder (DOE) | Industrial | 0.00050224 | 0.15613 | 0.0030089
507 | Near Net Shape Casting | Industrial | 0.0069077 | 0.045462 | 0.041384
508 | Heating - Process Control | Industrial | 0.026037 | 0.25661 | 0.15599
509 | Efficient Curing ovens | Industrial | 0.58475 | 0.4437 | 4.0797
510 | Heating - Optimization process (M&T) | Industrial | 0.17321 | 0.089628 | 1.0396
511 | Heating - Scheduling | Industrial | 0.0092171 | 0.00022763 | 0.30137
550 | Base Refrigeration | Industrial | 0 | 0 | 0
551 | Efficient Refrigeration - Operations | Industrial | 0.49714 | 0.19679 | 3.0505
552 | Optimization Refrigeration | Industrial | 0.85959 | 0 | 5.2744
600 | Base Other Process | Industrial | 0 | 0 | 0
601 | Other Process Controls (batch + site) | Industrial | 0.10903 | 0 | 1.2563
602 | Efficient desalter | Industrial | 0.0002646 | 0.058458 | 0.0031034
603 | New transformers welding | Industrial | 0.13114 | 0.011559 | 0.83961
604 | Efficient processes (welding, etc.) | Industrial | 0.24107 | 0.0024298 | 1.8593
605 | Process control | Industrial | 0.00087606 | 0.010906 | 0.0073226
606 | Power recovery | Industrial | 5.332e-06 | 0.020877 | 6.2537e-05
607 | Refinery Controls | Industrial | 3.0531e-05 | 0.0076431 | 0.00035808
700 | Base Centrifugal Chiller, 0.58 kW/ton, 500 tons | Industrial | 0 | 0 | 0
701 | Centrifugal Chiller, 0.51 kW/ton, 500 tons | Industrial | 0.27798 | 0.015304 | 7.9714
702 | High Efficiency Chiller Motors | Industrial | 0.27483 | 0.0086192 | 1.5764
703 | EMS - Chiller | Industrial | 0.01145 | 0.0051395 | 0.32834
704 | Chiller Tune Up/Diagnostics | Industrial | 0.28523 | 0.032008 | 1.6361
705 | VSD for Chiller Pumps and Towers | Industrial | 0.097501 | 0 | 2.7959
706 | EMS Optimization - Chiller | Industrial | 0.18009 | 0 | 1.033
707 | Aerosole Duct Sealing - Chiller | Industrial | 0.61274 | 0 | 3.5147
708 | Duct/Pipe Insulation - Chiller | Industrial | 0.36387 | 0 | 2.0872
709 | Window Film (Standard) - Chiller | Industrial | 0.20309 | 0 | 1.1649
710 | Roof Insulation - Chiller | Industrial | 0.1222 | 0 | 0.70093
711 | Cool Roof - Chiller | Industrial | 0.75417 | 0 | 4.3259
721 | Base DX Packaged System, EER=11.2, 10 tons | Industrial | 0 | 0 | 0
721A | Base DX Packaged System, EER=11.9, 10 tons | Industrial | 0 | 0.37082 | 9.4207
722 | Hybrid Dessicant-DX System (Trane CDQ) | Industrial | 3.647 | 0 | 21.1436
723 | Geothermal Heat Pump, EER=13, 10 tons | Industrial | 0.42146 | 0 | 2.4459
724 | DX Tune Up/ Advanced Diagnostics | Industrial | 0.20497 | 0 | 1.1886
725 | DX Coil Cleaning | Industrial | 0.4013 | 4.6289 | 2.3266
726 | Optimize Controls | Industrial | 0.15545 | 0.64154 | 0.89296
727 | Aerosole Duct Sealing | Industrial | 0.84203 | 0.82574 | 4.836
728 | Duct/Pipe Insulation | Industrial | 0.48358 | 0.43711 | 2.7794
729 | Window Film (Standard) | Industrial | 0.25806 | 0.75255 | 1.4826
730 | Roof Insulation | Industrial | 0.17003 | 0.0039205 | 0.97676
731 | Cool Roof - DX | Industrial | 1.0216 | 0 | 5.8696
800 | Base T8 | Industrial | 0 | 0 | 0
801 | Premium T8, Elecctronic Ballast | Industrial | 3.9626 | 0 | 28.5464
802 | CFL Hardwired, Modular 18W | Industrial | 0.5 | 0 | 1.9653
803 | CFL Screw-in 18W | Industrial | 0.64357 | 0 | 2.5343
804 | High Bay T5 | Industrial | 0.55849 | 0 | 4.2197
805 | Occupancy Sensor | Industrial | 0.18117 | 0 | 6.5496
900 | Base Other | Industrial | 0 | 0 | 0
901 | Replace V-belts | Industrial | 0.0050091 | 0 | 0.035967
902 | Membranes for wastewater | Industrial | 0.0026168 | 0 | 0.010711
806 | LED Linear Tube 22W | Industrial | 7.4048 | 6.7932 | 20.0681
807 | Flood LED 14W | Industrial | 0.82309 | 0.76672 | 1.1091
808 | LED High Bay 83W | Industrial | 0.88373 | 0.88527 | 1.3058
732 | Run Time Optimizer | Industrial | 1.8094 | 0 | 7.803
733 | Dehumidification Hybrid Desiccant Heat Pump PER 5 TON | Industrial | 3.4372 | 0 | 18.3704
Demand Response
1 | A/C Cycling Switch w/ flat rate | Residential | 98.973 | 105.2459 | 0
2 | A/C Shedding Switch w/ flat rate | Residential | 155.529 | 171.6 | 0
3 | Smart Thermostats for A/C w/ CPP | Residential | 282.7799 | 309.6 | 0
4 | On-Off Switching via low-power wireless networks for water heating w/ CPP | Residential | 65.982 | 183 | 0
5 | On-Off Switching via low-power wireless networks for pool systems w/ CPP | Residential | 51.843 | 10 | 0
6 | In-home displays and pre-set control strategies w/ CPP | Residential | 80.121 | 89 | 0
7 | Automated control strategies w/ CPP | Commercial | 107.5053 | 52.8865 | 0
8 | Direct load control system | Commercial | 142.1845 | 30.3816 | 0
9 | Automated control Strategies w/ CPP | Industrial | 8.6846 | 4.2097 | 0
10 | Direct load control system | Industrial | 10.8557 | 1.6839 | 0
Renewable Energy
1 | Solar PV - Single-family | Residential | 2593.7944 | 472.137 | 7146.5289
2 | Solar PV - Multi-family | Residential | 514.4478 | 93.9954 | 1417.0054
3 | Solar PV - Mobile Homes | Residential | 271.8791 | 49.5244 | 749.9415
4 | Solar PV - College | Commercial | 169.789 | 21.2248 | 447.5657
5 | Solar PV - School | Commercial | 118.2459 | 15.1605 | 313.1949
6 | Solar PV - Hospital | Commercial | 26.2769 | 3.0321 | 67.6905
7 | Solar PV - Other Health | Commercial | 39.4153 | 5.0535 | 104.0615
8 | Solar PV - Lodging | Commercial | 201.1191 | 25.2676 | 532.4314
9 | Solar PV - Restaurant | Commercial | 121.2778 | 15.1605 | 321.2774
10 | Solar PV - Grocery | Commercial | 46.4898 | 6.0642 | 124.2677
11 | Solar PV - Retail | Commercial | 193.0339 | 24.2569 | 509.1943
12 | Solar PV - Warehouse | Commercial | 286.0135 | 36.3853 | 756.7194
13 | Solar PV - Office | Commercial | 445.696 | 56.5994 | 1178.0171
14 | Solar PV - Other | Commercial | 26.2769 | 3.0321 | 68.7008
Note: Measure list includes baseline measures from the Technical Potential refresh study with zero impacts.