## Q54
Measures Added With One Year Payback
Residential Measures
# | Measure Name | Participant Payback Period
1 | 100 102 15 SEER Split-System Air Conditioner / Single Detached | 1.6537
2 | 100 112 AC Maintenance (Outdoor Coil Cleaning) / Multi Attached | 1.8447
4 | 100 112 AC Maintenance (Outdoor Coil Cleaning) / Single Detached | 1.3845
5 | 100 113 AC Maintenance (Indoor Coil Cleaning) / Multi Attached | 1.8447
6 | 100 113 AC Maintenance (Indoor Coil Cleaning) / Single Detached | 1.3845
7 | 100 114 Proper Refrigerant Charging and Air Flow / Multi Attached | 1.9303
8 | 100 114 Proper Refrigerant Charging and Air Flow / Single Detached | 1.1616
9 | 100 114 Proper Refrigerant Charging and Air Flow / Single Detached - Manufactured | 1.6671
10 | 100 121 Default Window With Sunscreen / Multi Attached | 1.8381
11 | 100 121 Default Window With Sunscreen / Single Detached - Manufactured | 1.1564
12 | 130 138 AC Maintenance (Outdoor Coil Cleaning) / Multi Attached | 1.8447
13 | 130 139 AC Maintenance (Indoor Coil Cleaning) / Multi Attached | 1.8447
14 | 130 139 AC Maintenance (Indoor Coil Cleaning) / Single Detached | 1.8338
15 | 130 140 Proper Refrigerant Charging and Air Flow / Single Detached | 1.2639
16 | 130 140 Proper Refrigerant Charging and Air Flow / Single Detached - Manufactured | 1.8152
17 | 130 141 Electronically Commutated Motors (ECM) on an Air Handler Unit / Multi Attached | 1.8077
18 | 130 141 Electronically Commutated Motors (ECM) on an Air Handler Unit / Single Detached - Manufactured | 1.5453
19 | 130 147 Default Window With Sunscreen / Single Detached - Manufactured | 1.1564
20 | 190 197 Window Film / Multi Attached | 1.0826
21 | 400 406 Pipe Wrap / Single Detached | 1.6382
22 | 400 408 Water Heater Blanket / Multi Attached | 1.0266
23 | 400 409 Water Heater Temperature Check and Adjustment / Single Detached | 1.6366
24 | 800 801 Two Speed Pool Pump (1.5 hp) / Multi Attached | 1.3064
25 | 800 801 Two Speed Pool Pump (1.5 hp) / Single Detached | 1.3064
26 | 800 801 Two Speed Pool Pump (1.5 hp) / Single Detached - Manufactured | 1.3064
27 | 999 962 Smart Plug / All | 1.3375
Measures Added With One Year Payback
Commercial Measures
# | Measure Name | Participant Payback Period
1 | 110 115 Lighting Control Tuneup / Hotel or Motel | 1.7086
2 | 120 121 ROB Premium T8, 1EB / Food Store | 1.0172
3 | 120 121 ROB Premium T8, 1EB / Hospital | 1.2535
4 | 120 121 ROB Premium T8, 1EB / Hotel or Motel | 1.9479
5 | 120 121 ROB Premium T8, 1EB / Office | 1.9952
6 | 120 121 ROB Premium T8, 1EB / Other | 1.9476
7 | 120 121 ROB Premium T8, 1EB / Other Healthcare | 1.8892
8 | 120 121 ROB Premium T8, 1EB / Restaurant or Services | 1.6294
9 | 120 121 ROB Premium T8, 1EB / Retail | 1.8405
10 | 120 122 ROB Premium T8, EB, Reflector / Hospital | 1.0641
11 | 120 122 ROB Premium T8, EB, Reflector / Hotel or Motel | 1.6537
12 | 120 122 ROB Premium T8, EB, Reflector / Office | 1.6938
13 | 120 122 ROB Premium T8, EB, Reflector / Other | 1.6534
14 | 120 122 ROB Premium T8, EB, Reflector / Other Healthcare | 1.6038
15 | 120 122 ROB Premium T8, EB, Reflector / Restaurant or Services | 1.3832
16 | 120 122 ROB Premium T8, EB, Reflector / Retail | 1.5624
17 | 120 122 ROB Premium T8, EB, Reflector / Warehouse | 1.7365
18 | 120 124 Lighting Control Tuneup / College | 1.365
19 | 120 124 Lighting Control Tuneup / Office | 1.0564
20 | 120 124 Lighting Control Tuneup / Other | 1.6207
21 | 120 124 Lighting Control Tuneup / School | 1.3828
22 | 130 131 CFL Screw-in 18W / College | 1.1665
23 | 150 152 PSMH, 250 W, electronic ballast / Hospital | 1.0475
24 | 150 152 PSMH, 250 W, electronic ballast / Hotel or Motel | 1.6278
25 | 150 152 PSMH, 250 W, electronic ballast / Other | 1.6275
26 | 150 152 PSMH, 250 W, electronic ballast / Other Healthcare | 1.0459
27 | 150 152 PSMH, 250 W, electronic ballast / Restaurant or Services | 1.3616
28 | 150 152 PSMH, 250 W, electronic ballast / Retail | 1.538
29 | 150 153 High Bay T5 / College | 1.0135
30 | 200 202 Outdoor Lighting Controls (Photocell/Timeclock) / Food Store | 1.1219
31 | 200 202 Outdoor Lighting Controls (Photocell/Timeclock) / Hospital | 1.0356
32 | 200 202 Outdoor Lighting Controls (Photocell/Timeclock) / Other Healthcare | 1.5213
33 | 200 202 Outdoor Lighting Controls (Photocell/Timeclock) / Retail | 1.4843
34 | 200 202 Outdoor Lighting Controls (Photocell/Timeclock) / School | 1.4997
35 | 200 202 Outdoor Lighting Controls (Photocell/Timeclock) / Warehouse | 1.2063
36 | 210 211 Outdoor Lighting Controls (Photocell/Timeclock) / College | 1.6141
37 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Food Store | 1.6623
38 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Hospital | 1.2453
39 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Hotel or Motel | 1.2453
40 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Restaurant or Services | 1.4779
41 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Retail | 1.6622
42 | 300 302 High Efficiency Chiller Motors / Hospital | 1.7124
43 | 300 302 High Efficiency Chiller Motors / Hotel or Motel | 1.7124
44 | 300 304 EMS - Chiller / Hospital | 1.5155
45 | 300 304 EMS - Chiller / Hotel or Motel | 1.5155
46 | 300 304 EMS - Chiller / Restaurant or Services | 1.7987
47 | 300 305 Chiller Tune Up/Diagnostics / Food Store | 1.2717
48 | 300 305 Chiller Tune Up/Diagnostics / Hotel or Motel | 1.95
49 | 300 305 Chiller Tune Up/Diagnostics / Other Healthcare | 1.8365
50 | 300 305 Chiller Tune Up/Diagnostics / Restaurant or Services | 1.0703
51 | 300 306 VSD for Chiller Pumps and Towers / Food Store | 1.5007
52 | 300 306 VSD for Chiller Pumps and Towers / Hospital | 1.1242
53 | 300 306 VSD for Chiller Pumps and Towers / Hotel or Motel | 1.1242
54 | 300 306 VSD for Chiller Pumps and Towers / Restaurant or Services | 1.3342
55 | 300 306 VSD for Chiller Pumps and Towers / Retail | 1.5007
56 | 300 307 EMS Optimization / College | 1.7579
57 | 300 307 EMS Optimization / Retail | 1.3788
58 | 300 307 EMS Optimization / School | 1.2835
59 | 300 308 Aerosol Duct Sealing / College | 1.1135
60 | 300 308 Aerosol Duct Sealing / Office | 1.1034
61 | 300 308 Aerosol Duct Sealing / Other | 1.0391
62 | 300 308 Aerosol Duct Sealing / Other Healthcare | 1.1311
63 | 300 308 Aerosol Duct Sealing / School | 1.0918
64 | 300 308 Aerosol Duct Sealing / Warehouse | 1.0819
65 | 300 311 Window Film (Standard) / Hospital | 1.5518
66 | 320 326 DX Tune Up/ Advanced Diagnostics / Food Store | 1.6101
67 | 320 326 DX Tune Up/ Advanced Diagnostics / Hospital | 1.018
68 | 320 326 DX Tune Up/ Advanced Diagnostics / Restaurant or Services | 1.3552
69 | 320 328 Optimize Controls / Office | 1.1796
70 | 320 332 Window Film (Standard) / Restaurant or Services | 1.4693
71 | 320 334 Ceiling Insulation / Hospital | 1.2739
72 | 320 334 Ceiling Insulation / Restaurant or Services | 1.6961
73 | 320 335 Roof Insulation / Hospital | 1.3555
74 | 320 335 Roof Insulation / Restaurant or Services | 1.8048
75 | 340 347 Window Film (Standard) / Restaurant or Services | 1.3696
76 | 340 349 Ceiling Insulation / Food Store | 1.9705
77 | 340 349 Ceiling Insulation / Hospital | 1.2458
78 | 340 349 Ceiling Insulation / Restaurant or Services | 1.6585
79 | 360 361 HE PTAC, EER=9.6, 1 ton / Hospital | 1.5629
80 | 360 361 HE PTAC, EER=9.6, 1 ton / Hotel or Motel | 1.5629
81 | 360 361 HE PTAC, EER=9.6, 1 ton / Restaurant or Services | 1.8549
82 | 400 402 Variable Speed Drive Control / Food Store | 1.9897
83 | 400 402 Variable Speed Drive Control / Hospital | 1.1786
84 | 400 403 Air Handler Optimization / College | 1.5578
85 | 400 403 Air Handler Optimization / Office | 1.7493
86 | 400 403 Air Handler Optimization / Other Healthcare | 1.3912
87 | 400 403 Air Handler Optimization / School | 1.7567
88 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Hospital | 1.0091
89 | 600 603 Heat Pump Water Heater (air source) / College | 1.4875
90 | 600 603 Heat Pump Water Heater (air source) / Hotel or Motel | 1.7523
91 | 600 603 Heat Pump Water Heater (air source) / Other Healthcare | 1.5402
92 | 600 603 Heat Pump Water Heater (air source) / Restaurant or Services | 1.9646
93 | 600 603 Heat Pump Water Heater (air source) / School | 1.1748
94 | 600 606 Demand controlled circulating systems / College | 1.2257
95 | 600 606 Demand controlled circulating systems / Other Healthcare | 1.218
96 | 600 608 Heat Recovery Unit / School | 1.2227
97 | 730 732 Copier Power Management Enabling / College | 1.9904
98 | 730 732 Copier Power Management Enabling / Food Store | 1.9909
99 | 730 732 Copier Power Management Enabling / Hospital | 1.9904
100 | 730 732 Copier Power Management Enabling / Hotel or Motel | 1.9903
101 | 730 732 Copier Power Management Enabling / Office | 1.9906
102 | 730 732 Copier Power Management Enabling / Other | 1.9905
103 | 730 732 Copier Power Management Enabling / Other Healthcare | 1.9904
104 | 730 732 Copier Power Management Enabling / Restaurant or Services | 1.9906
105 | 730 732 Copier Power Management Enabling / Retail | 1.9905
106 | 730 732 Copier Power Management Enabling / School | 1.9908
107 | 730 732 Copier Power Management Enabling / Warehouse | 1.9905
108 | 900 901 Vending Misers (cooled machines only) / College | 1.1598
109 | 900 901 Vending Misers (cooled machines only) / Food Store | 1.2887
110 | 900 901 Vending Misers (cooled machines only) / Hospital | 1.2887
111 | 900 901 Vending Misers (cooled machines only) / Hotel or Motel | 1.0389
112 | 900 901 Vending Misers (cooled machines only) / Office | 1.2628
113 | 900 901 Vending Misers (cooled machines only) / Other | 1.2886
114 | 900 901 Vending Misers (cooled machines only) / Other Healthcare | 1.2887
115 | 900 901 Vending Misers (cooled machines only) / Restaurant or Services | 1.2886
116 | 900 901 Vending Misers (cooled machines only) / Retail | 1.2227
117 | 900 901 Vending Misers (cooled machines only) / School | 1.1598
118 | 900 901 Vending Misers (cooled machines only) / Warehouse | 1.2975
Measures Added With One Year Payback
Industrial Measures
# | Measure Name | Participant Payback Period
1 | 102 Compressed Air - Controls / Food | 1.5318
2 | 112 Comp Air - ASD (100+ hp) / Food | 1.0451
3 | 113 Comp Air - Motor practices-1 (100+ HP) / Food | 1.6652
4 | 204 Fans- Improve components / Food | 1.126
5 | 212 Fans - ASD (100+ hp) / Food | 1.0442
6 | 213 Fans - Motor practices-1 (100+ HP) / Food | 1.6652
7 | 303 Pumps - System Optimization / Food | 1.8095
8 | 312 Pumps - ASD (100+ hp) / Food | 1.0455
9 | 313 Pumps - Motor practices-1 (100+ HP) / Food | 1.6652
10 | 501 Bakery - Process / Food | 1.1767
11 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Food | 1.4317
12 | 705 VSD for Chiller Pumps and Towers / Food | 1.9942
13 | 706 EMS Optimization - Chiller / Food | 1.5354
14 | 726 Optimize Controls / Food | 1.2761
15 | 801 Premium T8, Electronic Ballast / Food | 1.2924
16 | 901 Replace V-belts / Food | 1.8095
17 | 102 Compressed Air - Controls / Textiles | 1.5318
18 | 112 Comp Air - ASD (100+ hp) / Textiles | 1.0452
19 | 113 Comp Air - Motor practices-1 (100+ HP) / Textiles | 1.6652
20 | 204 Fans- Improve components / Textiles | 1.126
21 | 212 Fans - ASD (100+ hp) / Textiles | 1.0443
22 | 213 Fans - Motor practices-1 (100+ HP) / Textiles | 1.6652
23 | 303 Pumps - System Optimization / Textiles | 1.8095
24 | 312 Pumps - ASD (100+ hp) / Textiles | 1.0456
25 | 313 Pumps - Motor practices-1 (100+ HP) / Textiles | 1.6652
26 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Textiles | 1.4319
27 | 705 VSD for Chiller Pumps and Towers / Textiles | 1.9945
28 | 706 EMS Optimization - Chiller / Textiles | 1.5355
29 | 726 Optimize Controls / Textiles | 1.2762
30 | 801 Premium T8, Electronic Ballast / Textiles | 1.2924
31 | 901 Replace V-belts / Textiles | 1.8095
32 | 102 Compressed Air - Controls / Lumber | 1.5318
33 | 112 Comp Air - ASD (100+ hp) / Lumber | 1.0452
34 | 113 Comp Air - Motor practices-1 (100+ HP) / Lumber | 1.6652
35 | 204 Fans- Improve components / Lumber | 1.126
36 | 212 Fans - ASD (100+ hp) / Lumber | 1.0442
37 | 213 Fans - Motor practices-1 (100+ HP) / Lumber | 1.6652
38 | 303 Pumps - System Optimization / Lumber | 1.8095
39 | 312 Pumps - ASD (100+ hp) / Lumber | 1.0455
40 | 313 Pumps - Motor practices-1 (100+ HP) / Lumber | 1.6652
41 | 404 Replace V-Belts / Lumber | 1.1412
42 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Lumber | 1.4318
43 | 705 VSD for Chiller Pumps and Towers / Lumber | 1.9943
44 | 706 EMS Optimization - Chiller / Lumber | 1.5354
45 | 726 Optimize Controls / Lumber | 1.2762
46 | 801 Premium T8, Electronic Ballast / Lumber | 1.2924
47 | 901 Replace V-belts / Lumber | 1.8095
48 | 102 Compressed Air - Controls / Paper | 1.5318
49 | 112 Comp Air - ASD (100+ hp) / Paper | 1.0451
50 | 113 Comp Air - Motor practices-1 (100+ HP) / Paper | 1.6652
51 | 204 Fans- Improve components / Paper | 1.126
52 | 212 Fans - ASD (100+ hp) / Paper | 1.0442
53 | 213 Fans - Motor practices-1 (100+ HP) / Paper | 1.6652
54 | 303 Pumps - System Optimization / Paper | 1.8095
55 | 312 Pumps - ASD (100+ hp) / Paper | 1.0455
56 | 313 Pumps - Motor practices-1 (100+ HP) / Paper | 1.6652
57 | 406 Gap Forming papermachine / Paper | 1.0982
58 | 407 High Consistency forming / Paper | 1.0916
59 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Paper | 1.4317
60 | 705 VSD for Chiller Pumps and Towers / Paper | 1.9942
61 | 706 EMS Optimization - Chiller / Paper | 1.5354
62 | 726 Optimize Controls / Paper | 1.2761
63 | 801 Premium T8, Electronic Ballast / Paper | 1.2924
64 | 901 Replace V-belts / Paper | 1.8095
65 | 102 Compressed Air - Controls / Printing | 1.5318
66 | 112 Comp Air - ASD (100+ hp) / Printing | 1.0451
67 | 113 Comp Air - Motor practices-1 (100+ HP) / Printing | 1.6652
68 | 204 Fans- Improve components / Printing | 1.126
69 | 212 Fans - ASD (100+ hp) / Printing | 1.0442
70 | 213 Fans - Motor practices-1 (100+ HP) / Printing | 1.6652
71 | 303 Pumps - System Optimization / Printing | 1.8095
72 | 312 Pumps - ASD (100+ hp) / Printing | 1.0455
73 | 313 Pumps - Motor practices-1 (100+ HP) / Printing | 1.6652
74 | 409 Efficient practices printing press / Printing | 1.1143
75 | 412 Efficient drives / Printing | 1.8464
76 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Printing | 1.4317
77 | 705 VSD for Chiller Pumps and Towers / Printing | 1.9942
78 | 706 EMS Optimization - Chiller / Printing | 1.5354
79 | 726 Optimize Controls / Printing | 1.2761
80 | 801 Premium T8, Electronic Ballast / Printing | 1.2924
81 | 901 Replace V-belts / Printing | 1.8095
82 | 102 Compressed Air - Controls / Chemicals | 1.5318
83 | 112 Comp Air - ASD (100+ hp) / Chemicals | 1.0451
84 | 113 Comp Air - Motor practices-1 (100+ HP) / Chemicals | 1.6652
85 | 204 Fans- Improve components / Chemicals | 1.126
86 | 212 Fans - ASD (100+ hp) / Chemicals | 1.0441
87 | 213 Fans - Motor practices-1 (100+ HP) / Chemicals | 1.6652
88 | 303 Pumps - System Optimization / Chemicals | 1.8095
89 | 312 Pumps - ASD (100+ hp) / Chemicals | 1.0454
90 | 313 Pumps - Motor practices-1 (100+ HP) / Chemicals | 1.6652
91 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Chemicals | 1.4316
92 | 705 VSD for Chiller Pumps and Towers / Chemicals | 1.9941
93 | 706 EMS Optimization - Chiller / Chemicals | 1.5354
94 | 726 Optimize Controls / Chemicals | 1.2761
95 | 801 Premium T8, Electronic Ballast / Chemicals | 1.2924
96 | 102 Compressed Air - Controls / Petroleum | 1.5318
97 | 112 Comp Air - ASD (100+ hp) / Petroleum | 1.0451
98 | 113 Comp Air - Motor practices-1 (100+ HP) / Petroleum | 1.6652
99 | 115 Refinery Controls / Petroleum | 1.7588
100 | 204 Fans- Improve components / Petroleum | 1.126
101 | 212 Fans - ASD (100+ hp) / Petroleum | 1.0441
102 | 213 Fans - Motor practices-1 (100+ HP) / Petroleum | 1.6652
103 | 216 Refinery Controls / Petroleum | 1.7588
104 | 303 Pumps - System Optimization / Petroleum | 1.8095
105 | 312 Pumps - ASD (100+ hp) / Petroleum | 1.0454
106 | 313 Pumps - Motor practices-1 (100+ HP) / Petroleum | 1.6652
107 | 315 Refinery Controls / Petroleum | 1.7588
108 | 607 Refinery Controls / Petroleum | 1.7588
109 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Petroleum | 1.4316
110 | 705 VSD for Chiller Pumps and Towers / Petroleum | 1.9941
111 | 706 EMS Optimization - Chiller / Petroleum | 1.5354
112 | 726 Optimize Controls / Petroleum | 1.2761
113 | 801 Premium T8, Electronic Ballast / Petroleum | 1.2924
114 | 901 Replace V-belts / Petroleum | 1.8095
115 | 102 Compressed Air - Controls / Rubber-Plastics | 1.5318
116 | 112 Comp Air - ASD (100+ hp) / Rubber-Plastics | 1.0451
117 | 113 Comp Air - Motor practices-1 (100+ HP) / Rubber-Plastics | 1.6652
118 | 204 Fans- Improve components / Rubber-Plastics | 1.126
119 | 212 Fans - ASD (100+ hp) / Rubber-Plastics | 1.0442
120 | 213 Fans - Motor practices-1 (100+ HP) / Rubber-Plastics | 1.6652
121 | 303 Pumps - System Optimization / Rubber-Plastics | 1.8095
122 | 312 Pumps - ASD (100+ hp) / Rubber-Plastics | 1.0455
123 | 313 Pumps - Motor practices-1 (100+ HP) / Rubber-Plastics | 1.6652
124 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Rubber-Plastics | 1.4317
125 | 705 VSD for Chiller Pumps and Towers / Rubber-Plastics | 1.9942
126 | 706 EMS Optimization - Chiller / Rubber-Plastics | 1.5354
127 | 726 Optimize Controls / Rubber-Plastics | 1.2761
128 | 801 Premium T8, Electronic Ballast / Rubber-Plastics | 1.2924
129 | 901 Replace V-belts / Rubber-Plastics | 1.8095
130 | 102 Compressed Air - Controls / Stone-Clay-Glass | 1.5318
131 | 112 Comp Air - ASD (100+ hp) / Stone-Clay-Glass | 1.0451
132 | 113 Comp Air - Motor practices-1 (100+ HP) / Stone-Clay-Glass | 1.6652
133 | 204 Fans- Improve components / Stone-Clay-Glass | 1.126
134 | 212 Fans - ASD (100+ hp) / Stone-Clay-Glass | 1.0442
135 | 213 Fans - Motor practices-1 (100+ HP) / Stone-Clay-Glass | 1.6652
136 | 303 Pumps - System Optimization / Stone-Clay-Glass | 1.8095
137 | 312 Pumps - ASD (100+ hp) / Stone-Clay-Glass | 1.0455
138 | 313 Pumps - Motor practices-1 (100+ HP) / Stone-Clay-Glass | 1.6652
139 | 405 Drives - EE motor / Stone-Clay-Glass | 1.7144
140 | 423 Process control / Stone-Clay-Glass | 1.1827
141 | 504 Top-heating (glass) / Stone-Clay-Glass | 1.1441
142 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Stone-Clay-Glass | 1.4317
143 | 705 VSD for Chiller Pumps and Towers / Stone-Clay-Glass | 1.9942
144 | 706 EMS Optimization - Chiller / Stone-Clay-Glass | 1.5354
145 | 726 Optimize Controls / Stone-Clay-Glass | 1.2761
146 | 801 Premium T8, Electronic Ballast / Stone-Clay-Glass | 1.2924
147 | 901 Replace V-belts / Stone-Clay-Glass | 1.8095
148 | 102 Compressed Air - Controls / Primary Metals | 1.5318
149 | 112 Comp Air - ASD (100+ hp) / Primary Metals | 1.0452
150 | 113 Comp Air - Motor practices-1 (100+ HP) / Primary Metals | 1.6652
151 | 204 Fans- Improve components / Primary Metals | 1.126
152 | 212 Fans - ASD (100+ hp) / Primary Metals | 1.0442
153 | 213 Fans - Motor practices-1 (100+ HP) / Primary Metals | 1.6652
154 | 303 Pumps - System Optimization / Primary Metals | 1.8095
155 | 312 Pumps - ASD (100+ hp) / Primary Metals | 1.0455
156 | 313 Pumps - Motor practices-1 (100+ HP) / Primary Metals | 1.6652
157 | 426 Efficient drives - rolling / Primary Metals | 1.8182
158 | 507 Near Net Shape Casting / Primary Metals | 1.0706
159 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Primary Metals | 1.4318
160 | 705 VSD for Chiller Pumps and Towers / Primary Metals | 1.9943
161 | 706 EMS Optimization - Chiller / Primary Metals | 1.5354
162 | 726 Optimize Controls / Primary Metals | 1.2762
163 | 801 Premium T8, Electronic Ballast / Primary Metals | 1.2924
164 | 901 Replace V-belts / Primary Metals | 1.8095
165 | 102 Compressed Air - Controls / Fab Metals | 1.5318
166 | 112 Comp Air - ASD (100+ hp) / Fab Metals | 1.0451
167 | 113 Comp Air - Motor practices-1 (100+ HP) / Fab Metals | 1.6652
168 | 204 Fans- Improve components / Fab Metals | 1.126
169 | 212 Fans - ASD (100+ hp) / Fab Metals | 1.0442
170 | 213 Fans - Motor practices-1 (100+ HP) / Fab Metals | 1.6652
171 | 303 Pumps - System Optimization / Fab Metals | 1.8095
172 | 312 Pumps - ASD (100+ hp) / Fab Metals | 1.0455
173 | 313 Pumps - Motor practices-1 (100+ HP) / Fab Metals | 1.6652
174 | 429 Machinery / Fab Metals | 1.9992
175 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Fab Metals | 1.4317
176 | 705 VSD for Chiller Pumps and Towers / Fab Metals | 1.9943
177 | 706 EMS Optimization - Chiller / Fab Metals | 1.5354
178 | 726 Optimize Controls / Fab Metals | 1.2762
179 | 801 Premium T8, Electronic Ballast / Fab Metals | 1.2924
180 | 901 Replace V-belts / Fab Metals | 1.8095
181 | 102 Compressed Air - Controls / Ind Machinery | 1.5318
182 | 112 Comp Air - ASD (100+ hp) / Ind Machinery | 1.0452
183 | 113 Comp Air - Motor practices-1 (100+ HP) / Ind Machinery | 1.6652
184 | 204 Fans- Improve components / Ind Machinery | 1.126
185 | 212 Fans - ASD (100+ hp) / Ind Machinery | 1.0443
186 | 213 Fans - Motor practices-1 (100+ HP) / Ind Machinery | 1.6652
187 | 303 Pumps - System Optimization / Ind Machinery | 1.8095
188 | 312 Pumps - ASD (100+ hp) / Ind Machinery | 1.0456
189 | 313 Pumps - Motor practices-1 (100+ HP) / Ind Machinery | 1.6652
190 | 429 Machinery / Ind Machinery | 1.9992
191 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Ind Machinery | 1.4318
192 | 705 VSD for Chiller Pumps and Towers / Ind Machinery | 1.9944
193 | 706 EMS Optimization - Chiller / Ind Machinery | 1.5354
194 | 726 Optimize Controls / Ind Machinery | 1.2761
195 | 801 Premium T8, Electronic Ballast / Ind Machinery | 1.2924
196 | 901 Replace V-belts / Ind Machinery | 1.8095
197 | 102 Compressed Air - Controls / Electronics | 1.5318
198 | 112 Comp Air - ASD (100+ hp) / Electronics | 1.0451
199 | 113 Comp Air - Motor practices-1 (100+ HP) / Electronics | 1.6652
200 | 204 Fans- Improve components / Electronics | 1.126
201 | 212 Fans - ASD (100+ hp) / Electronics | 1.0442
202 | 213 Fans - Motor practices-1 (100+ HP) / Electronics | 1.6652
203 | 303 Pumps - System Optimization / Electronics | 1.8095
204 | 312 Pumps - ASD (100+ hp) / Electronics | 1.0455
205 | 313 Pumps - Motor practices-1 (100+ HP) / Electronics | 1.6652
206 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Electronics | 1.4317
207 | 705 VSD for Chiller Pumps and Towers / Electronics | 1.9942
208 | 706 EMS Optimization - Chiller / Electronics | 1.5354
209 | 726 Optimize Controls / Electronics | 1.2761
210 | 801 Premium T8, Electronic Ballast / Electronics | 1.2924
211 | 901 Replace V-belts / Electronics | 1.8095
212 | 102 Compressed Air - Controls / Transp Eqp | 1.5318
213 | 112 Comp Air - ASD (100+ hp) / Transp Eqp | 1.0452
214 | 113 Comp Air - Motor practices-1 (100+ HP) / Transp Eqp | 1.6652
215 | 204 Fans- Improve components / Transp Eqp | 1.126
216 | 212 Fans - ASD (100+ hp) / Transp Eqp | 1.0442
217 | 213 Fans - Motor practices-1 (100+ HP) / Transp Eqp | 1.6652
218 | 303 Pumps - System Optimization / Transp Eqp | 1.8095
219 | 312 Pumps - ASD (100+ hp) / Transp Eqp | 1.0455
220 | 313 Pumps - Motor practices-1 (100+ HP) / Transp Eqp | 1.6652
221 | 429 Machinery / Transp Eqp | 1.9279
222 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Transp Eqp | 1.4318
223 | 705 VSD for Chiller Pumps and Towers / Transp Eqp | 1.9943
224 | 706 EMS Optimization - Chiller / Transp Eqp | 1.5354
225 | 726 Optimize Controls / Transp Eqp | 1.2762
226 | 801 Premium T8, Electronic Ballast / Transp Eqp | 1.2924
227 | 901 Replace V-belts / Transp Eqp | 1.8095
228 | 102 Compressed Air - Controls / Instruments | 1.5318
229 | 112 Comp Air - ASD (100+ hp) / Instruments | 1.0451
230 | 113 Comp Air - Motor practices-1 (100+ HP) / Instruments | 1.6652
231 | 204 Fans- Improve components / Instruments | 1.126
232 | 212 Fans - ASD (100+ hp) / Instruments | 1.0442
233 | 213 Fans - Motor practices-1 (100+ HP) / Instruments | 1.6652
234 | 303 Pumps - System Optimization / Instruments | 1.8095
235 | 312 Pumps - ASD (100+ hp) / Instruments | 1.0455
236 | 313 Pumps - Motor practices-1 (100+ HP) / Instruments | 1.6652
237 | 429 Machinery / Instruments | 1.9992
238 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Instruments | 1.4317
239 | 705 VSD for Chiller Pumps and Towers / Instruments | 1.9942
240 | 706 EMS Optimization - Chiller / Instruments | 1.5354
241 | 726 Optimize Controls / Instruments | 1.2761
242 | 801 Premium T8, Electronic Ballast / Instruments | 1.2924
243 | 901 Replace V-belts / Instruments | 1.8095
244 | 102 Compressed Air - Controls / Misc | 1.5318
245 | 112 Comp Air - ASD (100+ hp) / Misc | 1.0451
246 | 113 Comp Air - Motor practices-1 (100+ HP) / Misc | 1.6652
247 | 204 Fans- Improve components / Misc | 1.126
248 | 212 Fans - ASD (100+ hp) / Misc | 1.0442
249 | 213 Fans - Motor practices-1 (100+ HP) / Misc | 1.6652
250 | 303 Pumps - System Optimization / Misc | 1.8095
251 | 312 Pumps - ASD (100+ hp) / Misc | 1.0455
252 | 313 Pumps - Motor practices-1 (100+ HP) / Misc | 1.6652
253 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Misc | 1.4317
254 | 705 VSD for Chiller Pumps and Towers / Misc | 1.9942
255 | 706 EMS Optimization - Chiller / Misc | 1.5354
256 | 726 Optimize Controls / Misc | 1.2761
257 | 801 Premium T8, Electronic Ballast / Misc | 1.2924
258 | 901 Replace V-belts / Misc | 1.8095