## Q55
Measures Removed With Three Year Payback
Residential Measures
# | Measure Name | Participant Payback Period
1 | 100 112 AC Maintenance (Outdoor Coil Cleaning) / Single Detached - Manufactured | 2.388
2 | 100 115 Electronically Commutated Motors (ECM) on an Air Handler Unit / Single Detached | 2.9354
3 | 100 115 Electronically Commutated Motors (ECM) on an Air Handler Unit / Single Detached - Manufactured | 2.8474
4 | 100 116 Duct Repair / Single Detached | 2.6943
5 | 100 119 Window Film / Multi Attached | 2.5812
6 | 100 121 Default Window With Sunscreen / Single Detached | 2.17
7 | 130 138 AC Maintenance (Outdoor Coil Cleaning) / Single Detached | 2.0179
8 | 130 140 Proper Refrigerant Charging and Air Flow / Multi Attached | 2.1233
9 | 130 142 Duct Repair / Single Detached | 2.6943
10 | 130 145 Window Film / Multi Attached | 2.5812
11 | 130 147 Default Window With Sunscreen / Multi Attached | 2.0967
12 | 130 147 Default Window With Sunscreen / Single Detached | 2.3857
13 | 190 197 Window Film / Single Detached - Manufactured | 2.3119
14 | 190 200 Single Pane Clear Windows to Double Pane Low-E Windows / Multi Attached | 2.9704
15 | 200 242 LED 12W, 6.0hr/hday / All | 2.3014
16 | 260 263 LED Directional 13W (Flood, Outdoor) / All | 2.5641
Measures Removed With Three Year Payback
Commercial Measures
# | Measure Name | Participant Payback Period
1 | 100 132 Flood LED 14W / All | 2.5253
2 | 100 154 LED High Bay 83W (400W equivalent) / All | 2.9978
3 | 110 115 Lighting Control Tuneup / Warehouse | 2.2361
4 | 120 121 ROB Premium T8, 1EB / School | 2.5812
5 | 120 121 ROB Premium T8, 1EB / Warehouse | 2.0455
6 | 120 122 ROB Premium T8, EB, Reflector / College | 2.6685
7 | 120 122 ROB Premium T8, EB, Reflector / School | 2.1913
8 | 120 124 Lighting Control Tuneup / Hotel or Motel | 2.7903
9 | 140 141 CFL Hardwired, Modular 18W / Restaurant or Services | 2.7432
10 | 150 152 PSMH, 250 W, electronic ballast / College | 2.6267
11 | 150 152 PSMH, 250 W, electronic ballast / School | 2.157
12 | 150 152 PSMH, 250 W, electronic ballast / Warehouse | 2.3531
13 | 200 202 Outdoor Lighting Controls (Photocell/Timeclock) / Office | 2.1265
14 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / College | 2.6313
15 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Office | 2.6074
16 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Other | 2.4556
17 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Other Healthcare | 2.6728
18 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / School | 2.58
19 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Warehouse | 2.5565
20 | 300 302 High Efficiency Chiller Motors / Food Store | 2.2859
21 | 300 302 High Efficiency Chiller Motors / Restaurant or Services | 2.0324
22 | 300 302 High Efficiency Chiller Motors / Retail | 2.2859
23 | 300 304 EMS - Chiller / Food Store | 2.023
24 | 300 304 EMS - Chiller / Other | 2.9883
25 | 300 304 EMS - Chiller / Retail | 2.023
26 | 300 305 Chiller Tune Up/Diagnostics / Office | 2.9105
27 | 300 305 Chiller Tune Up/Diagnostics / Retail | 2.8274
28 | 300 305 Chiller Tune Up/Diagnostics / School | 2.6322
29 | 300 306 VSD for Chiller Pumps and Towers / College | 2.3755
30 | 300 306 VSD for Chiller Pumps and Towers / Office | 2.354
31 | 300 306 VSD for Chiller Pumps and Towers / Other | 2.2169
32 | 300 306 VSD for Chiller Pumps and Towers / Other Healthcare | 2.413
33 | 300 306 VSD for Chiller Pumps and Towers / School | 2.3292
34 | 300 306 VSD for Chiller Pumps and Towers / Warehouse | 2.308
35 | 300 307 EMS Optimization / Other | 2.3019
36 | 300 311 Window Film (Standard) / Food Store | 2.4772
37 | 300 311 Window Film (Standard) / Restaurant or Services | 2.1382
38 | 300 313 Ceiling Insulation / Hospital | 2.0235
39 | 300 313 Ceiling Insulation / Restaurant or Services | 2.6938
40 | 300 314 Roof Insulation / Hospital | 2.159
41 | 300 314 Roof Insulation / Restaurant or Services | 2.8742
42 | 300 337 Run Time Optimizer / All | 2.7569
43 | 320 322 Hybrid Dessicant-DX System (Trane CDQ) / Food Store | 2.8732
44 | 320 322 Hybrid Dessicant-DX System (Trane CDQ) / Hospital | 2.1523
45 | 320 322 Hybrid Dessicant-DX System (Trane CDQ) / Hotel or Motel | 2.1523
46 | 320 322 Hybrid Dessicant-DX System (Trane CDQ) / Retail | 2.8732
47 | 320 326 DX Tune Up/ Advanced Diagnostics / Hotel or Motel | 2.4691
48 | 320 326 DX Tune Up/ Advanced Diagnostics / Other Healthcare | 2.3254
49 | 320 334 Ceiling Insulation / Food Store | 2.015
50 | 320 334 Ceiling Insulation / Other Healthcare | 2.9093
51 | 320 335 Roof Insulation / Food Store | 2.1442
52 | 320 336 Cool Roof - DX / Restaurant or Services | 2.8108
53 | 340 349 Ceiling Insulation / Other Healthcare | 2.8455
54 | 340 351 Cool Roof - DX / Hospital | 2.1334
55 | 340 351 Cool Roof - DX / Restaurant or Services | 2.7436
56 | 360 361 HE PTAC, EER=9.6, 1 ton / Food Store | 2.0863
57 | 360 361 HE PTAC, EER=9.6, 1 ton / Retail | 2.0863
58 | 400 402 Variable Speed Drive Control / Office | 2.9139
59 | 400 403 Air Handler Optimization / Hotel or Motel | 2.0896
60 | 400 403 Air Handler Optimization / Other | 2.5618
61 | 400 403 Air Handler Optimization / Retail | 2.0094
62 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / College | 2.0735
63 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Food Store | 2.1558
64 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Hotel or Motel | 2.4334
65 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Office | 2.8578
66 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Other | 2.4304
67 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Restaurant or Services | 2.435
68 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Retail | 2.1542
69 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Warehouse | 2.9484
70 | 500 513 High R-Value Glass Doors / Food Store | 2.5848
71 | 500 515 Oversized Air Cooled Condenser / Food Store | 2.0878
72 | 600 603 Heat Pump Water Heater (air source) / Other | 2.3895
73 | 600 606 Demand controlled circulating systems / Hotel or Motel | 2.4252
74 | 600 606 Demand controlled circulating systems / School | 2.4198
75 | 600 608 Heat Recovery Unit / College | 2.4213
76 | 600 608 Heat Recovery Unit / Food Store | 2.1435
77 | 600 608 Heat Recovery Unit / Other | 2.8446
78 | 800 812 Griddle / All | 2.692
79 | 800 813 Steamer / All | 2.692
80 | 800 814 Holding Cabinet / All | 2.692
Measures Removed With Three Year Payback
Industrial Measures
# | Measure Name | Participant Payback Period
1 | 110 Comp Air - Motor practices-1 (6-100 HP) / Food | 2.5793
2 | 202 Fans - Controls / Food | 2.8056
3 | 203 Fans - System Optimization / Food | 2.7337
4 | 210 Fans - Motor practices-1 (6-100 HP) / Food | 2.5793
5 | 310 Pumps - Motor practices-1 (6-100 HP) / Food | 2.5793
6 | 703 EMS - Chiller / Food | 2.6883
7 | 802 CFL Hardwired, Modular 18W / Food | 2.7449
8 | 805 Occupancy Sensor / Food | 2.1999
9 | 110 Comp Air - Motor practices-1 (6-100 HP) / Textiles | 2.5793
10 | 202 Fans - Controls / Textiles | 2.8056
11 | 203 Fans - System Optimization / Textiles | 2.734
12 | 210 Fans - Motor practices-1 (6-100 HP) / Textiles | 2.5793
13 | 310 Pumps - Motor practices-1 (6-100 HP) / Textiles | 2.5793
14 | 402 O&M/drives spinning machines / Textiles | 2.1292
15 | 502 Drying (UV/IR) / Textiles | 2.6638
16 | 703 EMS - Chiller / Textiles | 2.6888
17 | 802 CFL Hardwired, Modular 18W / Textiles | 2.7449
18 | 805 Occupancy Sensor / Textiles | 2.3402
19 | 110 Comp Air - Motor practices-1 (6-100 HP) / Lumber | 2.5793
20 | 202 Fans - Controls / Lumber | 2.8056
21 | 203 Fans - System Optimization / Lumber | 2.7338
22 | 210 Fans - Motor practices-1 (6-100 HP) / Lumber | 2.5793
23 | 214 Optimize drying process / Lumber | 2.6439
24 | 310 Pumps - Motor practices-1 (6-100 HP) / Lumber | 2.5793
25 | 405 Drives - EE motor / Lumber | 2.0657
26 | 703 EMS - Chiller / Lumber | 2.6885
27 | 802 CFL Hardwired, Modular 18W / Lumber | 2.7449
28 | 805 Occupancy Sensor / Lumber | 2.34
29 | 110 Comp Air - Motor practices-1 (6-100 HP) / Paper | 2.5793
30 | 202 Fans - Controls / Paper | 2.8056
31 | 203 Fans - System Optimization / Paper | 2.7337
32 | 210 Fans - Motor practices-1 (6-100 HP) / Paper | 2.5793
33 | 310 Pumps - Motor practices-1 (6-100 HP) / Paper | 2.5793
34 | 405 Drives - EE motor / Paper | 2.0813
35 | 408 Optimization control PM / Paper | 2.859
36 | 703 EMS - Chiller / Paper | 2.6883
37 | 802 CFL Hardwired, Modular 18W / Paper | 2.7449
38 | 805 Occupancy Sensor / Paper | 2.3399
39 | 110 Comp Air - Motor practices-1 (6-100 HP) / Printing | 2.5793
40 | 202 Fans - Controls / Printing | 2.8056
41 | 203 Fans - System Optimization / Printing | 2.7337
42 | 210 Fans - Motor practices-1 (6-100 HP) / Printing | 2.5793
43 | 310 Pumps - Motor practices-1 (6-100 HP) / Printing | 2.5793
44 | 410 Efficient Printing press (fewer cylinders) / Printing | 2.9648
45 | 703 EMS - Chiller / Printing | 2.6883
46 | 802 CFL Hardwired, Modular 18W / Printing | 2.7449
47 | 805 Occupancy Sensor / Printing | 2.34
48 | 110 Comp Air - Motor practices-1 (6-100 HP) / Chemicals | 2.5793
49 | 202 Fans - Controls / Chemicals | 2.8056
50 | 203 Fans - System Optimization / Chemicals | 2.7337
51 | 210 Fans - Motor practices-1 (6-100 HP) / Chemicals | 2.5793
52 | 310 Pumps - Motor practices-1 (6-100 HP) / Chemicals | 2.5793
53 | 413 Clean Room - Controls / Chemicals | 2.4555
54 | 703 EMS - Chiller / Chemicals | 2.6882
55 | 802 CFL Hardwired, Modular 18W / Chemicals | 2.7449
56 | 805 Occupancy Sensor / Chemicals | 2.3399
57 | 110 Comp Air - Motor practices-1 (6-100 HP) / Petroleum | 2.5793
58 | 202 Fans - Controls / Petroleum | 2.8056
59 | 203 Fans - System Optimization / Petroleum | 2.7337
60 | 210 Fans - Motor practices-1 (6-100 HP) / Petroleum | 2.5793
61 | 310 Pumps - Motor practices-1 (6-100 HP) / Petroleum | 2.5793
62 | 602 Efficient desalter / Petroleum | 2.1161
63 | 703 EMS - Chiller / Petroleum | 2.6882
64 | 802 CFL Hardwired, Modular 18W / Petroleum | 2.7449
65 | 805 Occupancy Sensor / Petroleum | 2.3399
66 | 110 Comp Air - Motor practices-1 (6-100 HP) / Rubber-Plastics | 2.5793
67 | 202 Fans - Controls / Rubber-Plastics | 2.8056
68 | 203 Fans - System Optimization / Rubber-Plastics | 2.7338
69 | 210 Fans - Motor practices-1 (6-100 HP) / Rubber-Plastics | 2.5793
70 | 310 Pumps - Motor practices-1 (6-100 HP) / Rubber-Plastics | 2.5793
71 | 418 Extruders/injection Moulding-multipump / Rubber-Plastics | 2.9466
72 | 703 EMS - Chiller / Rubber-Plastics | 2.6883
73 | 802 CFL Hardwired, Modular 18W / Rubber-Plastics | 2.7449
74 | 805 Occupancy Sensor / Rubber-Plastics | 2.34
75 | 110 Comp Air - Motor practices-1 (6-100 HP) / Stone-Clay-Glass | 2.5793
76 | 202 Fans - Controls / Stone-Clay-Glass | 2.8056
77 | 203 Fans - System Optimization / Stone-Clay-Glass | 2.7337
78 | 210 Fans - Motor practices-1 (6-100 HP) / Stone-Clay-Glass | 2.5793
79 | 310 Pumps - Motor practices-1 (6-100 HP) / Stone-Clay-Glass | 2.5793
80 | 703 EMS - Chiller / Stone-Clay-Glass | 2.6883
81 | 802 CFL Hardwired, Modular 18W / Stone-Clay-Glass | 2.7449
82 | 805 Occupancy Sensor / Stone-Clay-Glass | 2.3399
83 | 110 Comp Air - Motor practices-1 (6-100 HP) / Primary Metals | 2.5793
84 | 202 Fans - Controls / Primary Metals | 2.8056
85 | 203 Fans - System Optimization / Primary Metals | 2.7338
86 | 210 Fans - Motor practices-1 (6-100 HP) / Primary Metals | 2.5793
87 | 310 Pumps - Motor practices-1 (6-100 HP) / Primary Metals | 2.5793
88 | 703 EMS - Chiller / Primary Metals | 2.6885
89 | 802 CFL Hardwired, Modular 18W / Primary Metals | 2.7449
90 | 805 Occupancy Sensor / Primary Metals | 2.34
91 | 110 Comp Air - Motor practices-1 (6-100 HP) / Fab Metals | 2.5793
92 | 202 Fans - Controls / Fab Metals | 2.8056
93 | 203 Fans - System Optimization / Fab Metals | 2.7338
94 | 210 Fans - Motor practices-1 (6-100 HP) / Fab Metals | 2.5793
95 | 310 Pumps - Motor practices-1 (6-100 HP) / Fab Metals | 2.5793
96 | 428 Drives - Scheduling / Fab Metals | 2.0622
97 | 511 Heating - Scheduling / Fab Metals | 2.0622
98 | 603 New transformers welding / Fab Metals | 2.0564
99 | 703 EMS - Chiller / Fab Metals | 2.6884
100 | 802 CFL Hardwired, Modular 18W / Fab Metals | 2.7449
101 | 805 Occupancy Sensor / Fab Metals | 2.34
102 | 110 Comp Air - Motor practices-1 (6-100 HP) / Ind Machinery | 2.5793
103 | 202 Fans - Controls / Ind Machinery | 2.8056
104 | 203 Fans - System Optimization / Ind Machinery | 2.7339
105 | 210 Fans - Motor practices-1 (6-100 HP) / Ind Machinery | 2.5793
106 | 310 Pumps - Motor practices-1 (6-100 HP) / Ind Machinery | 2.5793
107 | 428 Drives - Scheduling / Ind Machinery | 2.0624
108 | 511 Heating - Scheduling / Ind Machinery | 2.0624
109 | 603 New transformers welding / Ind Machinery | 2.0564
110 | 703 EMS - Chiller / Ind Machinery | 2.6886
111 | 802 CFL Hardwired, Modular 18W / Ind Machinery | 2.7449
112 | 805 Occupancy Sensor / Ind Machinery | 2.3401
113 | 110 Comp Air - Motor practices-1 (6-100 HP) / Electronics | 2.5793
114 | 202 Fans - Controls / Electronics | 2.8056
115 | 203 Fans - System Optimization / Electronics | 2.7337
116 | 210 Fans - Motor practices-1 (6-100 HP) / Electronics | 2.5793
117 | 310 Pumps - Motor practices-1 (6-100 HP) / Electronics | 2.5793
118 | 428 Drives - Scheduling / Electronics | 2.264
119 | 429 Machinery / Electronics | 2.0546
120 | 604 Efficient processes (welding, etc.) / Electronics | 2.0564
121 | 703 EMS - Chiller / Electronics | 2.6883
122 | 802 CFL Hardwired, Modular 18W / Electronics | 2.7449
123 | 805 Occupancy Sensor / Electronics | 2.34
124 | 110 Comp Air - Motor practices-1 (6-100 HP) / Transp Eqp | 2.5793
125 | 202 Fans - Controls / Transp Eqp | 2.8056
126 | 203 Fans - System Optimization / Transp Eqp | 2.7338
127 | 210 Fans - Motor practices-1 (6-100 HP) / Transp Eqp | 2.5793
128 | 310 Pumps - Motor practices-1 (6-100 HP) / Transp Eqp | 2.5793
129 | 428 Drives - Scheduling / Transp Eqp | 2.0623
130 | 603 New transformers welding / Transp Eqp | 2.0564
131 | 703 EMS - Chiller / Transp Eqp | 2.6884
132 | 802 CFL Hardwired, Modular 18W / Transp Eqp | 2.7449
133 | 805 Occupancy Sensor / Transp Eqp | 2.34
134 | 110 Comp Air - Motor practices-1 (6-100 HP) / Instruments | 2.5793
135 | 202 Fans - Controls / Instruments | 2.8056
136 | 203 Fans - System Optimization / Instruments | 2.7337
137 | 210 Fans - Motor practices-1 (6-100 HP) / Instruments | 2.5793
138 | 310 Pumps - Motor practices-1 (6-100 HP) / Instruments | 2.5793
139 | 428 Drives - Scheduling / Instruments | 2.0622
140 | 603 New transformers welding / Instruments | 2.0564
141 | 703 EMS - Chiller / Instruments | 2.6883
142 | 802 CFL Hardwired, Modular 18W / Instruments | 2.7449
143 | 805 Occupancy Sensor / Instruments | 2.3399
144 | 110 Comp Air - Motor practices-1 (6-100 HP) / Misc | 2.5793
145 | 202 Fans - Controls / Misc | 2.8056
146 | 203 Fans - System Optimization / Misc | 2.7337
147 | 210 Fans - Motor practices-1 (6-100 HP) / Misc | 2.5793
148 | 310 Pumps - Motor practices-1 (6-100 HP) / Misc | 2.5793
149 | 428 Drives - Scheduling / Misc | 2.2639
150 | 430 Efficient Machinery / Misc | 2.0546
151 | 703 EMS - Chiller / Misc | 2.6883
152 | 802 CFL Hardwired, Modular 18W / Misc | 2.7449
153 | 805 Occupancy Sensor / Misc | 2.3399
154 | 807 Flood LED 14W (per unit) / All | 2.9199