## Interrog 2
Residential
Energy Efficiency Measures
# | Measure Name
1 | 14 SEER Split-System Heat Pump
2 | 15 SEER Split-System Air Conditioner
3 | 15 SEER Split-System Heat Pump
4 | 17 SEER Split-System Air Conditioner
5 | 17 SEER Split-System Heat Pump
6 | 19 SEER Split-System Air Conditioner
7 | AC Heat Recovery Units
8 | AC Maintenance (Indoor Coil Cleaning)
9 | AC Maintenance (Outdoor Coil Cleaning)
10 | Ceiling R-0 to R-19 Insulation
11 | Ceiling R-19 to R-38 Insulation
12 | CFL (18-Watt integral ballast), 0.5 hr/day
13 | CFL (18-Watt integral ballast), 2.5 hr/day
14 | CFL (18-Watt integral ballast), 6.0 hr/day
15 | Default Window With Sunscreen
16 | Duct Repair
17 | Electronically Commutated Motors (ECM) on an Air Handler Unit
18 | Energy Star CW CEE Tier 2 (MEF=2.0)
19 | Energy Star CW CEE Tier 3 (MEF=2.2)
20 | Energy Star Desktop PC
21 | Energy Star DVD Player
22 | Energy Star DW (EF=0.68)
23 | Energy Star Laptop PC
24 | Energy Star Set-Top Box
25 | Energy Star TV
26 | Energy Star VCR
27 | Faucet Aerators
28 | HE Freezer
29 | HE Refrigerator - Energy Star version of above
30 | HE Room Air Conditioner - EER 11
31 | HE Room Air Conditioner - EER 12
32 | Heat Pump Water Heater (EF=2.9)
33 | Heat Trap
34 | High Efficiency One Speed Pool Pump (1.5 hp)
35 | Low Flow Showerhead
36 | Pipe Wrap
37 | Proper Refrigerant Charging and Air Flow
38 | PV-Powered Pool Pumps
39 | Radient Barrier
40 | Reflective Roof
41 | RET 2L4'T8, 1EB
42 | ROB 2L4'T8, 1EB
43 | Sealed Attic w/Sprayed Foam Insulated Roof Deck
44 | Sealed Attics
45 | Single Pane Clear Windows to Double Pane Low-E Windows
46 | Two Speed Pool Pump (1.5 hp)
47 | Variable-Speed Pool Pump (<1 hp)
48 | Wall 2x4 R-0 to Blow-In R-13 Insulation
49 | Water Heater Blanket
50 | Water Heater Temperature Check and Adjustment
51 | Water Heater Timeclock
52 | Weather Strip/Caulk w/Blower Door
53 | Window Film
54 | Window Tinting
55 | LED (12-Watt integral ballast), 0.5 hr/day
56 | LED (12-Watt integral ballast), 2.5 hr/day
57 | LED (12-Watt integral ballast), 6.0 hr/day
58 | LED 13W Flood Outdoor
59 | Refrigerator recycling
60 | Freezer recycling
61 | Smart Plug
Demand Response
# | Measure Name
62 | In home display with peak threshold warning system and pre set
control strategies
63 | On-off switching via low-power wireless communication technology
64 | Smart thrermostats
65 | Switch - cycling program
66 | Switch - shedding program
Renewable Energy Measures
# | Measure Name
67 | Solar Water Heating
68 | Photovoltaic System
Commercial
Energy Efficiency Measures
# | Measure Name
1 | Aerosole Duct Sealing
2 | Air Handler Optimization
3 | Anti-sweat (humidistat) controls
4 | Ceiling Insulation
5 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
6 | CFL Hardwired, Modular 18W
7 | CFL Screw-in 18W
8 | Chiller Tune Up/Diagnostics
9 | Compressor VSD retrofit
10 | Continuous Dimming
11 | Convection Oven
12 | Cool Roof
13 | Copier Power Management Enabling
14 | Demand Control Ventilation (DCV)
15 | Demand controlled circulating systems
16 | Demand Defrost Electric
17 | Demand Hot Gas Defrost
18 | Duct/Pipe Insulation
19 | DX Coil Cleaning
20 | DX Packaged System, EER=11.9, 10 tons
21 | DX Tune Up/ Advanced Diagnostics
22 | Efficient compressor motor
23 | Efficient Fryer
24 | Electronically Commutated Motors (ECM) on an Air Handler Unit
25 | EMS - Chiller
26 | EMS Optimization
27 | Energy Recovery Ventilation (ERV)
28 | Energy Star or Better Copier
29 | Energy Star or Better Monitor
30 | Evaporator fan controller for MT walk-ins
31 | Floating head pressure controls
32 | Freezer-Cooler Replacement Gaskets
33 | Geothermal Heat Pump, EER=13, 10 tons
34 | HE PTAC, EER=9.6, 1 ton
35 | Heat Pump Water Heater (air source)
36 | Heat Recovery Unit
37 | Heat Trap
38 | High Bay T5
39 | High Efficiency Chiller Motors
40 | High Efficiency Fan Motor, 15hp, 1800rpm, 92.4%
41 | High Pressure Sodium 250W Lamp
42 | High R-Value Glass Doors
43 | High-efficiency fan motors
44 | Hot Water Pipe Insulation
45 | Hybrid Dessicant-DX System (Trane CDQ)
46 | LED Display Lighting
47 | LED Exit Sign
48 | Lighting Control Tuneup
49 | Monitor Power Management Enabling
50 | Multiplex Compressor System
51 | Night covers for display cases
52 | Occupancy Sensor
53 | Occupancy Sensor (hotels)
54 | Optimize Controls
55 | Outdoor Lighting Controls (Photocell/Timeclock)
56 | Oversized Air Cooled Condenser
57 | Packaged HP System, EER=11.7, 10 tons
58 | PC Manual Power Management Enabling
59 | PC Network Power Management Enabling
60 | Premium T8, EB, Reflector
61 | Premium T8, Electronic Ballast
62 | Printer Power Management Enabling
63 | PSMH, 250W, magnetic ballast
64 | Refrigeration Commissioning
65 | ROB Premium T8, 1EB
66 | ROB Premium T8, EB, Reflector
67 | Roof Insulation
68 | Separate Makeup Air / Exhaust Hoods AC
69 | Strip curtains for walk-ins
70 | Thermal Energy Storage (TES)
71 | Variable Speed Drive Control
72 | Vending Misers (cooled machines only)
73 | VSD for Chiller Pumps and Towers
74 | Window Film (Standard)
75 | LED Linear Tube 22W
76 | Flood LED 14W
77 | LED (12-Watt)
78 | Outdoor LED 104W
79 | LED High Bay 83W (400W equivalent)
80 | Run Time Optimizer
81 | dehumidification hybrid desiccant heat pump
82 | Ice Machine
83 | 0.5 Faucet Aerator (DI) - Commercial
84 | 1.0 gpm Faucet Aerator (DI) -Commercial
85 | 1.5 gpm Showerhead (DI) - Commercial
86 | Server Virtualization
87 | Griddle
88 | Steamer
89 | Holding Cabinet
Demand Response
# | Measure Name
90 | Automated control strategies
91 | Direct load control
Renewable Energy Measures
# | Measure Name
92 | Solar Water Heater
93 | Photovoltaic System
Industrial
Energy Efficiency Measures
# | Measure Name
1 | Aerosole Duct Sealing
2 | Air conveying systems
3 | Bakery - Process
4 | Bakery - Process (Mixing) - O&M
5 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
6 | CFL Hardwired, Modular 18W
7 | CFL Screw-in 18W
8 | Chiller Tune Up/Diagnostics
9 | Clean Room - Controls
10 | Clean Room - New Designs
11 | Comp Air - ASD (100+ hp)
12 | Comp Air - ASD (1-5 hp)
13 | Comp Air - ASD (6-100 hp)
14 | Comp Air - Motor practices-1 (100+ HP)
15 | Comp Air - Motor practices-1 (1-5 HP)
16 | Comp Air - Motor practices-1 (6-100 HP)
17 | Comp Air - Replace 100+ HP motor
18 | Comp Air - Replace 1-5 HP motor
19 | Comp Air - Replace 6-100 HP motor
20 | Compressed Air - Controls
21 | Compressed Air - System Optimization
22 | Compressed Air- Sizing
23 | Compressed Air-O&M
24 | Cool Roof
25 | Direct drive Extruders
26 | Drives - EE motor
27 | Drives - Optimization process (M&T)
28 | Drives - Process Control
29 | Drives - Process Controls (batch + site)
30 | Drives - Scheduling
31 | Drying (UV/IR)
32 | Duct/Pipe Insulation
33 | DX Coil Cleaning
34 | DX Packaged System, EER=11.9, 10 tons
35 | DX Tune Up/ Advanced Diagnostics
36 | Efficient Curing ovens
37 | Efficient desalter
38 | Efficient drives
39 | Efficient drives - rolling
40 | Efficient electric melting
41 | Efficient grinding
42 | Efficient Machinery
43 | Efficient practices printing press
44 | Efficient Printing press (fewer cylinders)
45 | Efficient processes (welding, etc.)
46 | Efficient Refrigeration - Operations
47 | EMS - Chiller
48 | EMS Optimization - Chiller
49 | Extruders/injection Moulding-multipump
50 | Fans - ASD (100+ hp)
51 | Fans - ASD (1-5 hp)
52 | Fans - ASD (6-100 hp)
53 | Fans - Controls
54 | Fans - Motor practices-1 (100+ HP)
55 | Fans - Motor practices-1 (1-5 HP)
56 | Fans - Motor practices-1 (6-100 HP)
57 | Fans - O&M
58 | Fans - Replace 100+ HP motor
59 | Fans - Replace 1-5 HP motor
60 | Fans - Replace 6-100 HP motor
61 | Fans - System Optimization
62 | Fans- Improve components
63 | Gap Forming papermachine
64 | Geothermal Heat Pump, EER=13, 10 tons
65 | Heat Pumps - Drying
66 | Heating - Optimization process (M&T)
67 | Heating - Process Control
68 | Heating - Scheduling
69 | High Bay T5
70 | High Consistency forming
71 | High Efficiency Chiller Motors
72 | Hybrid Dessicant-DX System (Trane CDQ)
73 | Injection Moulding - Direct drive
74 | Injection Moulding - Impulse Cooling
75 | Intelligent extruder (DOE)
76 | Light cylinders
77 | Machinery
78 | Membranes for wastewater
79 | Near Net Shape Casting
80 | New transformers welding
81 | O&M - Extruders/Injection Moulding
82 | O&M/drives spinning machines
83 | Occupancy Sensor
84 | Optimization control PM
85 | Optimization Refrigeration
86 | Optimize Controls
87 | Optimize drying process
88 | Other Process Controls (batch + site)
89 | Power recovery
90 | Premium T8, Electronic Ballast
91 | Process control
92 | Process Drives - ASD
93 | Process optimization
94 | Pumps - ASD (100+ hp)
95 | Pumps - ASD (1-5 hp)
96 | Pumps - ASD (6-100 hp)
97 | Pumps - Controls
98 | Pumps - Motor practices-1 (100+ HP)
99 | Pumps - Motor practices-1 (1-5 HP)
100 | Pumps - Motor practices-1 (6-100 HP)
101 | Pumps - O&M
102 | Pumps - Replace 100+ HP motor
103 | Pumps - Replace 1-5 HP motor
104 | Pumps - Replace 6-100 HP motor
105 | Pumps - Sizing
106 | Pumps - System Optimization
107 | Refinery Controls
108 | Replace V-Belts
109 | Roof Insulation
110 | Top-heating (glass)
111 | VSD for Chiller Pumps and Towers
112 | Window Film (Standard) - Chiller
113 | Run Time Optimizer
114 | Dehumidification Hybrid Desiccant Heat Pump (5 TON)
115 | LED Linear Tube 22W
116 | Flood LED 14W
117 | LED High Bay 83W
Demand Response
# | Measure Name
118 | Automated control strategies
119 | Direct load control
Renewable Energy Measures
# | Measure Name
N/A