## Sheet1
Building Segment Legends
Common Achievalble Potential Measures |  |  | Residential |  | Commercial |  | Industrial
Residential Measures |  |  | 1 | Single Family | 1 | Office | 1 | Food
# | Building Segment | Measure Name | 2 | Multi-family | 2 | Restaurant | 2 | Textiles
1 | 1 | 14 SEER Split-System Heat Pump | 3 | Manufactured Home | 3 | Retail | 3 | Lumber
2 | 3 | 14 SEER Split-System Heat Pump |  |  | 4 | FoodStore | 4 | Paper
3 | 1 | 15 SEER Split-System Heat Pump |  |  | 5 | School | 5 | Printing
4 | 2 | 15 SEER Split-System Heat Pump |  |  | 6 | College | 6 | Chemicals
5 | 3 | 15 SEER Split-System Heat Pump |  |  | 7 | Hospital | 7 | Petroleum
6 | 1 | 17 SEER Split-System Heat Pump |  |  | 8 | Other Health Care | 8 | Rubber-Plastics
7 | 3 | 17 SEER Split-System Heat Pump |  |  | 9 | Warehouse | 9 | Stone-Clay-Glass
8 | 1 | Ceiling R-0 to R-19 Insulation |  |  | 10 | Hotel/Motel | 10 | Primary Metals
9 | 1 | Ceiling R-0 to R-19 Insulation |  |  | 11 | Other | 11 | Fab Metals
10 | 3 | Ceiling R-0 to R-19 Insulation |  |  |  |  | 12 | Ind Machinery
11 | 1 | Electronically Commutated Motors (ECM) on an Air Handler Unit |  |  |  |  | 13 | Electronics
12 | 1 | Sealed Attics |  |  |  |  | 14 | Transp Eqp
13 | 3 | Sealed Attics |  |  |  |  | 15 | Instruments
Commercial | [6 empty] | 16 | Misc
# | Building Segment | Measure Name
1 | 1 | Ceiling Insulation
2 | 1 | Ceiling Insulation
3 | 1 | Ceiling Insulation
4 | 3 | Ceiling Insulation
5 | 3 | Ceiling Insulation
6 | 3 | Ceiling Insulation
7 | 5 | Ceiling Insulation
8 | 5 | Ceiling Insulation
9 | 5 | Ceiling Insulation
10 | 6 | Ceiling Insulation
11 | 6 | Ceiling Insulation
12 | 6 | Ceiling Insulation
13 | 8 | Ceiling Insulation
14 | 9 | Ceiling Insulation
15 | 9 | Ceiling Insulation
16 | 10 | Ceiling Insulation
17 | 11 | Ceiling Insulation
18 | 11 | Ceiling Insulation
19 | 11 | Ceiling Insulation
20 | 1 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
21 | 2 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
22 | 3 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
23 | 4 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
24 | 5 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
25 | 6 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
26 | 7 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
27 | 8 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
28 | 10 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
29 | 11 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
30 | 1 | CFL Hardwired, Modular 18W
31 | 2 | CFL Hardwired, Modular 18W
32 | 3 | CFL Hardwired, Modular 18W
33 | 5 | CFL Hardwired, Modular 18W
34 | 6 | CFL Hardwired, Modular 18W
35 | 8 | CFL Hardwired, Modular 18W
36 | 9 | CFL Hardwired, Modular 18W
37 | 10 | CFL Hardwired, Modular 18W
38 | 11 | CFL Hardwired, Modular 18W
39 | 6 | Chiller Tune Up/Diagnostics
40 | 4 | Compressor VSD retrofit
41 | 1 | Continuous Dimming
42 | 2 | Continuous Dimming
43 | 3 | Continuous Dimming
44 | 4 | Continuous Dimming
45 | 7 | Continuous Dimming
46 | 8 | Continuous Dimming
47 | 11 | Continuous Dimming
48 | 1 | Cool Roof - Chiller
49 | 2 | Cool Roof - Chiller
50 | 3 | Cool Roof - Chiller
51 | 4 | Cool Roof - Chiller
52 | 5 | Cool Roof - Chiller
53 | 6 | Cool Roof - Chiller
54 | 7 | Cool Roof - Chiller
55 | 8 | Cool Roof - Chiller
56 | 10 | Cool Roof - Chiller
57 | 11 | Cool Roof - Chiller
58 | 1 | Cool Roof - DX
59 | 1 | Cool Roof - DX
60 | 2 | Cool Roof - DX
61 | 2 | Cool Roof - DX
62 | 3 | Cool Roof - DX
63 | 3 | Cool Roof - DX
64 | 4 | Cool Roof - DX
65 | 4 | Cool Roof - DX
66 | 5 | Cool Roof - DX
67 | 5 | Cool Roof - DX
68 | 6 | Cool Roof - DX
69 | 6 | Cool Roof - DX
70 | 7 | Cool Roof - DX
71 | 7 | Cool Roof - DX
72 | 8 | Cool Roof - DX
73 | 8 | Cool Roof - DX
74 | 10 | Cool Roof - DX
75 | 10 | Cool Roof - DX
76 | 11 | Cool Roof - DX
77 | 11 | Cool Roof - DX
78 | 1 | Dehumidification hybrid desiccant heat pump
79 | 3 | Dehumidification hybrid desiccant heat pump
80 | 5 | Dehumidification hybrid desiccant heat pump
81 | 6 | Dehumidification hybrid desiccant heat pump
82 | 7 | Dehumidification hybrid desiccant heat pump
83 | 8 | Dehumidification hybrid desiccant heat pump
84 | 10 | Dehumidification hybrid desiccant heat pump
85 | 11 | Dehumidification hybrid desiccant heat pump
86 | 1 | Demand Control Ventilation (DCV)
87 | 2 | Demand Control Ventilation (DCV)
88 | 4 | Demand Control Ventilation (DCV)
89 | 5 | Demand Control Ventilation (DCV)
90 | 7 | Demand Control Ventilation (DCV)
91 | 8 | Demand Control Ventilation (DCV)
92 | 11 | Demand Control Ventilation (DCV)
93 | 1 | DX Coil Cleaning
94 | 5 | DX Coil Cleaning
95 | 6 | DX Coil Cleaning
96 | 8 | DX Coil Cleaning
97 | 2 | DX Packaged System, EER=10.9, 10 tons
98 | 4 | DX Packaged System, EER=10.9, 10 tons
99 | 7 | DX Packaged System, EER=10.9, 10 tons
100 | 8 | DX Packaged System, EER=10.9, 10 tons
101 | 1 | DX Tune Up/ Advanced Diagnostics
102 | 3 | DX Tune Up/ Advanced Diagnostics
103 | 5 | DX Tune Up/ Advanced Diagnostics
104 | 6 | DX Tune Up/ Advanced Diagnostics
105 | 8 | DX Tune Up/ Advanced Diagnostics
106 | 10 | DX Tune Up/ Advanced Diagnostics
107 | 1 | EMS - Chiller
108 | 2 | EMS - Chiller
109 | 3 | EMS - Chiller
110 | 4 | EMS - Chiller
111 | 5 | EMS - Chiller
112 | 6 | EMS - Chiller
113 | 7 | EMS - Chiller
114 | 8 | EMS - Chiller
115 | 10 | EMS - Chiller
116 | 1 | Energy Recovery Ventilation (ERV)
117 | 2 | Energy Recovery Ventilation (ERV)
118 | 3 | Energy Recovery Ventilation (ERV)
119 | 4 | Energy Recovery Ventilation (ERV)
120 | 5 | Energy Recovery Ventilation (ERV)
121 | 6 | Energy Recovery Ventilation (ERV)
122 | 7 | Energy Recovery Ventilation (ERV)
123 | 8 | Energy Recovery Ventilation (ERV)
124 | 9 | Energy Recovery Ventilation (ERV)
125 | 10 | Energy Recovery Ventilation (ERV)
126 | 11 | Energy Recovery Ventilation (ERV)
127 | 1 | Geothermal Heat Pump, EER=13, 10 tons
128 | 2 | Geothermal Heat Pump, EER=13, 10 tons
129 | 2 | Geothermal Heat Pump, EER=13, 10 tons
130 | 3 | Geothermal Heat Pump, EER=13, 10 tons
131 | 4 | Geothermal Heat Pump, EER=13, 10 tons
132 | 5 | Geothermal Heat Pump, EER=13, 10 tons
133 | 6 | Geothermal Heat Pump, EER=13, 10 tons
134 | 7 | Geothermal Heat Pump, EER=13, 10 tons
135 | 7 | Geothermal Heat Pump, EER=13, 10 tons
136 | 8 | Geothermal Heat Pump, EER=13, 10 tons
137 | 10 | Geothermal Heat Pump, EER=13, 10 tons
138 | 11 | Geothermal Heat Pump, EER=13, 10 tons
139 | 4 | Griddle
140 | 5 | Griddle
141 | 6 | Griddle
142 | 7 | Griddle
143 | 10 | Griddle
144 | 1 | HE PTAC, EER=9.6, 1 ton
145 | 2 | HE PTAC, EER=9.6, 1 ton
146 | 3 | HE PTAC, EER=9.6, 1 ton
147 | 4 | HE PTAC, EER=9.6, 1 ton
148 | 5 | HE PTAC, EER=9.6, 1 ton
149 | 6 | HE PTAC, EER=9.6, 1 ton
150 | 7 | HE PTAC, EER=9.6, 1 ton
151 | 8 | HE PTAC, EER=9.6, 1 ton
152 | 10 | HE PTAC, EER=9.6, 1 ton
153 | 11 | HE PTAC, EER=9.6, 1 ton
154 | 2 | Heat Pump Water Heater (air source)
155 | 10 | Heat Pump Water Heater (air source)
156 | 1 | High Bay T5
157 | 5 | High Bay T5
158 | 6 | High Bay T5
159 | 9 | High Bay T5
160 | 10 | High Bay T5
161 | 11 | High Bay T5
162 | 2 | High Efficiency Chiller Motors
163 | 7 | High Efficiency Chiller Motors
164 | 4 | High R-Value Glass Doors
165 | 4 | High-efficiency fan motors
166 | 4 | Holding Cabinet
167 | 5 | Holding Cabinet
168 | 6 | Holding Cabinet
169 | 7 | Holding Cabinet
170 | 10 | Holding Cabinet
171 | 1 | Hybrid Dessicant-DX System (Trane CDQ)
172 | 2 | Hybrid Dessicant-DX System (Trane CDQ)
173 | 3 | Hybrid Dessicant-DX System (Trane CDQ)
174 | 4 | Hybrid Dessicant-DX System (Trane CDQ)
175 | 5 | Hybrid Dessicant-DX System (Trane CDQ)
176 | 6 | Hybrid Dessicant-DX System (Trane CDQ)
177 | 7 | Hybrid Dessicant-DX System (Trane CDQ)
178 | 8 | Hybrid Dessicant-DX System (Trane CDQ)
179 | 10 | Hybrid Dessicant-DX System (Trane CDQ)
180 | 11 | Hybrid Dessicant-DX System (Trane CDQ)
181 | 4 | Multiplex Compressor System
182 | 1 | Occupancy Sensor
183 | 1 | Occupancy Sensor
184 | 2 | Occupancy Sensor
185 | 2 | Occupancy Sensor
186 | 3 | Occupancy Sensor
187 | 3 | Occupancy Sensor
188 | 4 | Occupancy Sensor
189 | 4 | Occupancy Sensor
190 | 7 | Occupancy Sensor
191 | 7 | Occupancy Sensor
192 | 8 | Occupancy Sensor
193 | 8 | Occupancy Sensor
194 | 4 | Oversized Air Cooled Condenser
195 | 1 | Packaged HP System, EER=10.9, 10 tons
196 | 2 | Packaged HP System, EER=10.9, 10 tons
197 | 3 | Packaged HP System, EER=10.9, 10 tons
198 | 4 | Packaged HP System, EER=10.9, 10 tons
199 | 5 | Packaged HP System, EER=10.9, 10 tons
200 | 6 | Packaged HP System, EER=10.9, 10 tons
201 | 7 | Packaged HP System, EER=10.9, 10 tons
202 | 8 | Packaged HP System, EER=10.9, 10 tons
203 | 10 | Packaged HP System, EER=10.9, 10 tons
204 | 1 | Premium T8, EB, Reflector
205 | 2 | Premium T8, EB, Reflector
206 | 3 | Premium T8, EB, Reflector
207 | 4 | Premium T8, EB, Reflector
208 | 5 | Premium T8, EB, Reflector
209 | 6 | Premium T8, EB, Reflector
210 | 7 | Premium T8, EB, Reflector
211 | 8 | Premium T8, EB, Reflector
212 | 9 | Premium T8, EB, Reflector
213 | 10 | Premium T8, EB, Reflector
214 | 11 | Premium T8, EB, Reflector
215 | 1 | Premium T8, Elecctronic Ballast
216 | 2 | Premium T8, Elecctronic Ballast
217 | 3 | Premium T8, Elecctronic Ballast
218 | 4 | Premium T8, Elecctronic Ballast
219 | 7 | Premium T8, Elecctronic Ballast
220 | 8 | Premium T8, Elecctronic Ballast
221 | 1 | ROB Premium T8, 1EB
222 | 2 | ROB Premium T8, 1EB
223 | 3 | ROB Premium T8, 1EB
224 | 4 | ROB Premium T8, 1EB
225 | 5 | ROB Premium T8, 1EB
226 | 6 | ROB Premium T8, 1EB
227 | 7 | ROB Premium T8, 1EB
228 | 8 | ROB Premium T8, 1EB
229 | 5 | ROB Premium T8, EB, Reflector
230 | 6 | ROB Premium T8, EB, Reflector
231 | 1 | Roof Insulation
232 | 1 | Roof Insulation
233 | 1 | Roof Insulation
234 | 2 | Roof Insulation
235 | 2 | Roof Insulation
236 | 2 | Roof Insulation
237 | 3 | Roof Insulation
238 | 3 | Roof Insulation
239 | 3 | Roof Insulation
240 | 4 | Roof Insulation
241 | 4 | Roof Insulation
242 | 4 | Roof Insulation
243 | 5 | Roof Insulation
244 | 5 | Roof Insulation
245 | 5 | Roof Insulation
246 | 6 | Roof Insulation
247 | 6 | Roof Insulation
248 | 7 | Roof Insulation
249 | 7 | Roof Insulation
250 | 7 | Roof Insulation
251 | 8 | Roof Insulation
252 | 8 | Roof Insulation
253 | 8 | Roof Insulation
254 | 10 | Roof Insulation
255 | 10 | Roof Insulation
256 | 10 | Roof Insulation
257 | 11 | Roof Insulation
258 | 1 | Run Time Optimizer
259 | 2 | Run Time Optimizer
260 | 3 | Run Time Optimizer
261 | 4 | Run Time Optimizer
262 | 5 | Run Time Optimizer
263 | 6 | Run Time Optimizer
264 | 7 | Run Time Optimizer
265 | 8 | Run Time Optimizer
266 | 9 | Run Time Optimizer
267 | 10 | Run Time Optimizer
268 | 11 | Run Time Optimizer
269 | 2 | Server Virtualization
270 | 6 | Server Virtualization
271 | 11 | Server Virtualization
272 | 1 | Thermal Energy Storage (TES)
273 | 2 | Thermal Energy Storage (TES)
274 | 3 | Thermal Energy Storage (TES)
275 | 4 | Thermal Energy Storage (TES)
276 | 5 | Thermal Energy Storage (TES)
277 | 6 | Thermal Energy Storage (TES)
278 | 7 | Thermal Energy Storage (TES)
279 | 8 | Thermal Energy Storage (TES)
280 | 9 | Thermal Energy Storage (TES)
281 | 10 | Thermal Energy Storage (TES)
282 | 11 | Thermal Energy Storage (TES)
283 | 8 | Variable Speed Drive Control
284 | 1 | VSD for Chiller Pumps and Towers
285 | 2 | VSD for Chiller Pumps and Towers
286 | 3 | VSD for Chiller Pumps and Towers
287 | 4 | VSD for Chiller Pumps and Towers
288 | 5 | VSD for Chiller Pumps and Towers
289 | 7 | VSD for Chiller Pumps and Towers
290 | 8 | VSD for Chiller Pumps and Towers
291 | 10 | VSD for Chiller Pumps and Towers
292 | 1 | Window Film (Standard)
293 | 2 | Window Film (Standard)
294 | 2 | Window Film (Standard)
295 | 2 | Window Film (Standard)
296 | 3 | Window Film (Standard)
297 | 3 | Window Film (Standard)
298 | 4 | Window Film (Standard)
299 | 4 | Window Film (Standard)
300 | 4 | Window Film (Standard)
301 | 5 | Window Film (Standard)
302 | 7 | Window Film (Standard)
303 | 7 | Window Film (Standard)
304 | 7 | Window Film (Standard)
305 | 8 | Window Film (Standard)
306 | 8 | Window Film (Standard)
307 | 8 | Window Film (Standard)
308 | 10 | Window Film (Standard)
Industrial
# | Building Segment | Measure Name
1 | 5 | CFL Hardwired, Modular 18W
2 | 1 | CFL Screw-in 18W
3 | 3 | CFL Screw-in 18W
4 | 4 | CFL Screw-in 18W
5 | 6 | CFL Screw-in 18W
6 | 7 | CFL Screw-in 18W
7 | 8 | CFL Screw-in 18W
8 | 9 | CFL Screw-in 18W
9 | 10 | CFL Screw-in 18W
10 | 11 | CFL Screw-in 18W
11 | 12 | CFL Screw-in 18W
12 | 13 | CFL Screw-in 18W
13 | 14 | CFL Screw-in 18W
14 | 15 | CFL Screw-in 18W
15 | 16 | CFL Screw-in 18W
16 | 1 | Dehumidification Hybrid Desiccant Heat Pump
17 | 2 | Dehumidification Hybrid Desiccant Heat Pump
18 | 3 | Dehumidification Hybrid Desiccant Heat Pump
19 | 4 | Dehumidification Hybrid Desiccant Heat Pump
20 | 5 | Dehumidification Hybrid Desiccant Heat Pump
21 | 6 | Dehumidification Hybrid Desiccant Heat Pump
22 | 7 | Dehumidification Hybrid Desiccant Heat Pump
23 | 8 | Dehumidification Hybrid Desiccant Heat Pump
24 | 9 | Dehumidification Hybrid Desiccant Heat Pump
25 | 10 | Dehumidification Hybrid Desiccant Heat Pump
26 | 11 | Dehumidification Hybrid Desiccant Heat Pump
27 | 12 | Dehumidification Hybrid Desiccant Heat Pump
28 | 13 | Dehumidification Hybrid Desiccant Heat Pump
29 | 14 | Dehumidification Hybrid Desiccant Heat Pump
30 | 15 | Dehumidification Hybrid Desiccant Heat Pump
31 | 16 | Dehumidification Hybrid Desiccant Heat Pump
32 | 8 | Direct drive Extruders
33 | 2 | Drying (UV/IR)
34 | 12 | Efficient Curing ovens
35 | 8 | Extruders/injection Moulding-multipump
36 | 2 | Fans - Controls
37 | 3 | Fans - Controls
38 | 8 | Fans - Controls
39 | 10 | Fans - Controls
40 | 11 | Fans - Controls
41 | 12 | Fans - Controls
42 | 14 | Fans - Controls
43 | 2 | Fans - System Optimization
44 | 3 | Heat Pumps - Drying
45 | 1 | High Bay T5
46 | 2 | High Bay T5
47 | 3 | High Bay T5
48 | 8 | High Bay T5
49 | 10 | High Bay T5
50 | 11 | High Bay T5
51 | 12 | High Bay T5
52 | 13 | High Bay T5
53 | 14 | High Bay T5
54 | 15 | High Bay T5
55 | 12 | New transformers welding
56 | 14 | New transformers welding
57 | 2 | O&M/drives spinning machines
58 | 1 | Optimization Refrigeration
59 | 2 | Pumps - System Optimization
60 | 3 | Pumps - System Optimization
61 | 10 | Pumps - System Optimization
62 | 11 | Pumps - System Optimization
63 | 12 | Pumps - System Optimization
64 | 14 | Pumps - System Optimization
65 | 1 | Run Time Optimizer
66 | 2 | Run Time Optimizer
67 | 3 | Run Time Optimizer
68 | 4 | Run Time Optimizer
69 | 5 | Run Time Optimizer
70 | 6 | Run Time Optimizer
71 | 7 | Run Time Optimizer
72 | 8 | Run Time Optimizer
73 | 9 | Run Time Optimizer
74 | 10 | Run Time Optimizer
75 | 11 | Run Time Optimizer
76 | 12 | Run Time Optimizer
77 | 13 | Run Time Optimizer
78 | 14 | Run Time Optimizer
79 | 15 | Run Time Optimizer
80 | 16 | Run Time Optimizer
81 | 1 | CFL Screw-in 18W
82 | 3 | CFL Screw-in 18W
83 | 4 | CFL Screw-in 18W
84 | 6 | CFL Screw-in 18W
85 | 7 | CFL Screw-in 18W
86 | 8 | CFL Screw-in 18W
87 | 9 | CFL Screw-in 18W
88 | 10 | CFL Screw-in 18W
89 | 11 | CFL Screw-in 18W
90 | 12 | CFL Screw-in 18W
91 | 13 | CFL Screw-in 18W
92 | 14 | CFL Screw-in 18W
93 | 15 | CFL Screw-in 18W
94 | 16 | CFL Screw-in 18W
95 | 1 | Dehumidification Hybrid Desiccant Heat Pump
96 | 2 | Dehumidification Hybrid Desiccant Heat Pump
97 | 3 | Dehumidification Hybrid Desiccant Heat Pump
98 | 4 | Dehumidification Hybrid Desiccant Heat Pump
99 | 5 | Dehumidification Hybrid Desiccant Heat Pump
100 | 6 | Dehumidification Hybrid Desiccant Heat Pump
101 | 7 | Dehumidification Hybrid Desiccant Heat Pump
102 | 8 | Dehumidification Hybrid Desiccant Heat Pump
103 | 9 | Dehumidification Hybrid Desiccant Heat Pump
104 | 10 | Dehumidification Hybrid Desiccant Heat Pump
105 | 11 | Dehumidification Hybrid Desiccant Heat Pump
106 | 12 | Dehumidification Hybrid Desiccant Heat Pump
107 | 13 | Dehumidification Hybrid Desiccant Heat Pump
108 | 14 | Dehumidification Hybrid Desiccant Heat Pump
109 | 15 | Dehumidification Hybrid Desiccant Heat Pump
110 | 16 | Dehumidification Hybrid Desiccant Heat Pump
111 | 8 | Direct drive Extruders
112 | 2 | Drying (UV/IR)
113 | 12 | Efficient Curing ovens
114 | 8 | Extruders/injection Moulding-multipump
115 | 2 | Fans - Controls
116 | 3 | Fans - Controls
117 | 8 | Fans - Controls
118 | 10 | Fans - Controls
119 | 11 | Fans - Controls
120 | 12 | Fans - Controls
121 | 14 | Fans - Controls
122 | 2 | Fans - System Optimization
123 | 3 | Heat Pumps - Drying
124 | 1 | High Bay T5
125 | 2 | High Bay T5
126 | 3 | High Bay T5
127 | 8 | High Bay T5
128 | 10 | High Bay T5
129 | 11 | High Bay T5
130 | 12 | High Bay T5
131 | 13 | High Bay T5
132 | 14 | High Bay T5
133 | 15 | High Bay T5
134 | 12 | New transformers welding
135 | 14 | New transformers welding
136 | 2 | O&M/drives spinning machines
137 | 1 | Optimization Refrigeration
138 | 2 | Pumps - System Optimization
139 | 3 | Pumps - System Optimization
140 | 10 | Pumps - System Optimization
141 | 11 | Pumps - System Optimization
142 | 12 | Pumps - System Optimization
143 | 14 | Pumps - System Optimization
144 | 1 | Run Time Optimizer
145 | 2 | Run Time Optimizer
146 | 3 | Run Time Optimizer
147 | 4 | Run Time Optimizer
148 | 5 | Run Time Optimizer
149 | 6 | Run Time Optimizer
150 | 7 | Run Time Optimizer
151 | 8 | Run Time Optimizer
152 | 9 | Run Time Optimizer
153 | 10 | Run Time Optimizer
154 | 11 | Run Time Optimizer
155 | 12 | Run Time Optimizer
156 | 13 | Run Time Optimizer
157 | 14 | Run Time Optimizer
158 | 15 | Run Time Optimizer
159 | 16 | Run Time Optimizer