## Interog 42
RIM
Measures Removed With Three Year Payback
Residential Measures
# | Building Segment | Measure Name | Participant Payback Period
No Measures Removed
Commercial Measures
# | Building Segment | Measure Name | Participant Payback Period
1 | 1 | Ceiling Insulation | 2.3693
2 | 1 | Ceiling Insulation | 2.3192
3 | 3 | Ceiling Insulation | 2.2243
4 | 3 | Ceiling Insulation | 2.1771
5 | 5 | Ceiling Insulation | 2.2687
6 | 5 | Ceiling Insulation | 2.2206
7 | 8 | Ceiling Insulation | 2.2357
8 | 10 | Ceiling Insulation | 2.9022
9 | 11 | Ceiling Insulation | 2.7248
10 | 2 | Centrifugal Chiller, 0.51 kW/ton, 500 tons | 2.7999
11 | 3 | Centrifugal Chiller, 0.51 kW/ton, 500 tons | 2.9335
12 | 7 | Centrifugal Chiller, 0.51 kW/ton, 500 tons | 2.5054
13 | 10 | Centrifugal Chiller, 0.51 kW/ton, 500 tons | 2.5188
14 | 2 | CFL Hardwired, Modular 18W | 2.4866
15 | 3 | CFL Hardwired, Modular 18W | 2.7164
16 | 7 | CFL Hardwired, Modular 18W | 1.9915
17 | 8 | CFL Hardwired, Modular 18W | 2.8129
18 | 11 | CFL Hardwired, Modular 18W | 3.0429
19 | 6 | Chiller Tune Up/Diagnostics | 2.3617
20 | 7 | Cool Roof - DX | 2.8409
21 | 7 | Cool Roof - DX | 2.7805
22 | 1 | DX Coil Cleaning | 2.2954
23 | 5 | DX Coil Cleaning | 2.3623
24 | 6 | DX Coil Cleaning | 2.432
25 | 8 | DX Coil Cleaning | 2.3038
26 | 8 | DX Tune Up/ Advanced Diagnostics | 2.4935
27 | 7 | Electronically Commutated Motors (ECM) on an Air Handler Unit | 2.513
28 | 2 | EMS - Chiller | 2.651
29 | 3 | EMS - Chiller | 2.8246
30 | 7 | EMS - Chiller | 2.3369
31 | 10 | EMS - Chiller | 2.3462
32 | 2 | Heat Pump Water Heater (air source) | 2.9017
33 | 10 | Heat Pump Water Heater (air source) | 2.6703
34 | 1 | High Bay T5 | 2.1137
35 | 5 | High Bay T5 | 2.7391
36 | 10 | High Bay T5 | 2.1744
37 | 11 | High Bay T5 | 2.1104
38 | 7 | High Efficiency Chiller Motors | 2.812
39 | 5 | ROB Premium T8, EB, Reflector | 2.4059
40 | 6 | ROB Premium T8, EB, Reflector | 2.833
41 | 5 | Solar Water Heater | 2.5178
42 | 2 | VSD for Chiller Pumps and Towers | 2.3411
43 | 3 | VSD for Chiller Pumps and Towers | 2.4944
44 | 4 | VSD for Chiller Pumps and Towers | 2.7121
45 | 7 | VSD for Chiller Pumps and Towers | 2.0637
46 | 10 | VSD for Chiller Pumps and Towers | 2.072
47 | 7 | Window Film (Standard) | 2.53
48 | 7 | Window Film (Standard) | 2.4759
Industrial Measures
# | Building Segment | Measure Name | Participant Payback Period
49 | 2 | Drying (UV/IR) | 2.9121
50 | 12 | New transformers welding | 2.5148
51 | 14 | New transformers welding | 2.8041
52 | 2 | O&M/drives spinning machines | 2.3277
53 | 2 | Pumps - System Optimization | 2.642
54 | 12 | Pumps - System Optimization | 2.9554
TRC
Measures Added With One Year Payback
Residential Measures
# | Building Segment | Measure Name | Participant Payback Period
No Measures Removed
Commercial Measures
# | Building Segment | Measure Name | Participant Payback Period
1 | 6 | Air Handler Optimization | 2.9685
2 | 8 | Air Handler Optimization | 2.3159
3 | 1 | Ceiling Insulation | 2.3693
4 | 1 | Ceiling Insulation | 2.3192
5 | 3 | Ceiling Insulation | 2.2243
6 | 3 | Ceiling Insulation | 2.1771
7 | 5 | Ceiling Insulation | 2.2687
8 | 5 | Ceiling Insulation | 2.2206
9 | 8 | Ceiling Insulation | 2.2357
10 | 10 | Ceiling Insulation | 2.9022
11 | 11 | Ceiling Insulation | 2.7248
12 | 2 | Centrifugal Chiller, 0.51 kW/ton, 500 tons | 2.7999
13 | 3 | Centrifugal Chiller, 0.51 kW/ton, 500 tons | 2.9335
14 | 7 | Centrifugal Chiller, 0.51 kW/ton, 500 tons | 2.5054
15 | 10 | Centrifugal Chiller, 0.51 kW/ton, 500 tons | 2.5188
16 | 2 | CFL Hardwired, Modular 18W | 2.4866
17 | 3 | CFL Hardwired, Modular 18W | 2.7164
18 | 8 | CFL Hardwired, Modular 18W | 2.8129
19 | 6 | Chiller Tune Up/Diagnostics | 2.3617
20 | 7 | Cool Roof - DX | 2.8409
21 | 7 | Cool Roof - DX | 2.7805
22 | 8 | Demand controlled circulating systems | 2.3606
23 | 1 | DX Coil Cleaning | 2.2954
24 | 5 | DX Coil Cleaning | 2.3623
25 | 6 | DX Coil Cleaning | 2.432
26 | 8 | DX Coil Cleaning | 2.3038
27 | 11 | DX Coil Cleaning | 2.3166
28 | 8 | DX Tune Up/ Advanced Diagnostics | 2.4935
29 | 7 | Electronically Commutated Motors (ECM) on an Air Handler Unit | 2.513
30 | 2 | EMS - Chiller | 2.651
31 | 3 | EMS - Chiller | 2.8246
32 | 7 | EMS - Chiller | 2.3369
33 | 10 | EMS - Chiller | 2.3462
34 | 1 | EMS Optimization | 2.584
35 | 3 | EMS Optimization | 2.4954
36 | 5 | EMS Optimization | 2.3593
37 | 2 | Heat Pump Water Heater (air source) | 2.9017
38 | 6 | Heat Pump Water Heater (air source) | 2.285
39 | 8 | Heat Pump Water Heater (air source) | 2.8439
40 | 10 | Heat Pump Water Heater (air source) | 2.6703
41 | 1 | High Bay T5 | 2.1137
42 | 5 | High Bay T5 | 2.7391
43 | 10 | High Bay T5 | 2.1744
44 | 11 | High Bay T5 | 2.1104
45 | 7 | High Efficiency Chiller Motors | 2.812
46 | 10 | High Efficiency Chiller Motors | 2.8236
47 | 2 | Occupancy Sensor (hotels) | 2.7962
48 | 7 | Occupancy Sensor (hotels) | 2.3889
49 | 10 | Occupancy Sensor (hotels) | 2.3918
50 | 1 | Optimize Controls | 2.1417
51 | 3 | Optimize Controls | 2.0683
52 | 6 | Optimize Controls | 2.6841
53 | 4 | Outdoor Lighting Controls (Photocell/Timeclock) | 2.2669
54 | 6 | Outdoor Lighting Controls (Photocell/Timeclock) | 2.0608
55 | 5 | ROB Premium T8, EB, Reflector | 2.4059
56 | 6 | ROB Premium T8, EB, Reflector | 2.833
57 | 5 | Solar Water Heater | 2.5178
58 | 2 | VSD for Chiller Pumps and Towers | 2.3411
59 | 3 | VSD for Chiller Pumps and Towers | 2.4944
60 | 4 | VSD for Chiller Pumps and Towers | 2.7121
61 | 7 | VSD for Chiller Pumps and Towers | 2.0637
62 | 10 | VSD for Chiller Pumps and Towers | 2.072
63 | 7 | Window Film (Standard) | 2.53
64 | 7 | Window Film (Standard) | 2.4759
Industrial Measures
# | Building Segment | Measure Name | Participant Payback Period
65 | 2 | Compressed Air - Controls | 2.3888
66 | 3 | Compressed Air - Controls | 2.911
67 | 10 | Compressed Air - Controls | 2.7496
68 | 11 | Compressed Air - Controls | 2.8939
69 | 12 | Compressed Air - Controls | 2.6722
70 | 14 | Compressed Air - Controls | 2.9795
71 | 2 | Drying (UV/IR) | 2.9121
72 | 13 | Efficient processes (welding, etc.) | 2.9403
73 | 11 | Machinery | 2.7047
74 | 12 | Machinery | 2.4975
75 | 14 | Machinery | 2.6743
76 | 11 | New transformers welding | 2.7235
77 | 12 | New transformers welding | 2.5148
78 | 14 | New transformers welding | 2.8041
79 | 15 | New transformers welding | 2.9457
80 | 2 | O&M/drives spinning machines | 2.3277
81 | 2 | Pumps - System Optimization | 2.642
82 | 12 | Pumps - System Optimization | 2.9554