## Pass UCT Fail RIM Economic
Measures Passing UCT but Failing RIM
Economic Potential
Residential Measures
# | Building Segment | Measure Name
1 | 2 | 14 SEER Split-System Heat Pump
2 | 2 | 17 SEER Split-System Air Conditioner
3 | 3 | 17 SEER Split-System Air Conditioner
4 | 2 | 17 SEER Split-System Heat Pump
5 | 3 | 17 SEER Split-System Heat Pump
6 | 2 | 19 SEER Split-System Air Conditioner
7 | 1 | Ceiling R-0 to R-19 Insulation
8 | 2 | Ceiling R-0 to R-19 Insulation
9 | 2 | Ceiling R-0 to R-19 Insulation
10 | 3 | Ceiling R-0 to R-19 Insulation
11 | 1 | Duct Repair
12 | 1 | Duct Repair
13 | 2 | Electronically Commutated Motors (ECM) on an Air Handler Unit
14 | 3 | Electronically Commutated Motors (ECM) on an Air Handler Unit
15 |  | Freezer recycling
16 | 1 | HE Room Air Conditioner - EER 12
17 | 1 | Heat Pump Water Heater (EF=2.9)
18 | 2 | Heat Pump Water Heater (EF=2.9)
19 | 3 | Heat Pump Water Heater (EF=2.9)
20 | 1 | High Efficiency One Speed Pool Pump (1.5 hp)
21 | 2 | High Efficiency One Speed Pool Pump (1.5 hp)
22 | 3 | High Efficiency One Speed Pool Pump (1.5 hp)
23 | 1 | Proper Refrigerant Charging and Air Flow
24 | 1 | Proper Refrigerant Charging and Air Flow
25 | 1 | PV-Powered Pool Pumps
26 | 2 | PV-Powered Pool Pumps
27 | 3 | PV-Powered Pool Pumps
28 | 3 | Radient Barrier
29 | 3 | Radient Barrier
30 | 1 | Reflective Roof
31 | 1 | Reflective Roof
32 | 2 | Reflective Roof
33 | 3 | Reflective Roof
34 | 3 | Reflective Roof
35 |  | Refrigerator recycling
36 | 2 | Sealed Attic w/Sprayed Foam Insulated Roof Deck
37 | 1 | Single Pane Clear Windows to Double Pane Low-E Windows
38 | 1 | Single Pane Clear Windows to Double Pane Low-E Windows
39 | 2 | Single Pane Clear Windows to Double Pane Low-E Windows
40 | 3 | Single Pane Clear Windows to Double Pane Low-E Windows
41 | 3 | Single Pane Clear Windows to Double Pane Low-E Windows
42 | 1 | Solar Water Heat
43 | 2 | Solar Water Heat
44 | 3 | Solar Water Heat
45 | 1 | Two Speed Pool Pump (1.5 hp)
46 | 2 | Two Speed Pool Pump (1.5 hp)
47 | 3 | Two Speed Pool Pump (1.5 hp)
48 | 1 | Variable-Speed Pool Pump (<1 hp)
49 | 2 | Variable-Speed Pool Pump (<1 hp)
50 | 3 | Variable-Speed Pool Pump (<1 hp)
51 |  | Residential PV
Measures Passing UCT but Failing RIM
Economic Potential
Commercial Measures
# | Building Segment | Measure Name
1 |  | 0.5 Faucet Aerator (DI) - Commercial Public Use
2 |  | 0.5 Faucet Aerator (DI) - Commercial School Use
3 | 6 | Aerosole Duct Sealing
4 | 9 | Aerosole Duct Sealing
5 | 11 | Aerosole Duct Sealing
6 | 9 | Aerosole Duct Sealing
7 | 9 | Aerosole Duct Sealing
8 | 1 | Air Handler Optimization
9 | 2 | Air Handler Optimization
10 | 3 | Air Handler Optimization
11 | 4 | Air Handler Optimization
12 | 5 | Air Handler Optimization
13 | 6 | Air Handler Optimization
14 | 7 | Air Handler Optimization
15 | 8 | Air Handler Optimization
16 | 10 | Air Handler Optimization
17 | 11 | Air Handler Optimization
18 | 9 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
19 | 9 | Chiller Tune Up/Diagnostics
20 | 11 | Chiller Tune Up/Diagnostics
21 | 2 | Convection Oven
22 | 4 | Convection Oven
23 | 2 | Demand controlled circulating systems
24 | 7 | Demand controlled circulating systems
25 | 8 | Demand controlled circulating systems
26 | 10 | Demand controlled circulating systems
27 | 1 | Duct/Pipe Insulation
28 | 2 | Duct/Pipe Insulation
29 | 3 | Duct/Pipe Insulation
30 | 4 | Duct/Pipe Insulation
31 | 5 | Duct/Pipe Insulation
32 | 6 | Duct/Pipe Insulation
33 | 7 | Duct/Pipe Insulation
34 | 8 | Duct/Pipe Insulation
35 | 10 | Duct/Pipe Insulation
36 | 1 | Duct/Pipe Insulation
37 | 2 | Duct/Pipe Insulation
38 | 3 | Duct/Pipe Insulation
39 | 4 | Duct/Pipe Insulation
40 | 5 | Duct/Pipe Insulation
41 | 6 | Duct/Pipe Insulation
42 | 8 | Duct/Pipe Insulation
43 | 10 | Duct/Pipe Insulation
44 | 11 | Duct/Pipe Insulation
45 | 1 | Duct/Pipe Insulation
46 | 3 | Duct/Pipe Insulation
47 | 4 | Duct/Pipe Insulation
48 | 5 | Duct/Pipe Insulation
49 | 6 | Duct/Pipe Insulation
50 | 8 | Duct/Pipe Insulation
51 | 10 | Duct/Pipe Insulation
52 | 11 | Duct/Pipe Insulation
53 | 11 | DX Coil Cleaning
54 | 1 | DX Packaged System, EER=10.9, 10 tons
55 | 3 | DX Packaged System, EER=10.9, 10 tons
56 | 5 | DX Packaged System, EER=10.9, 10 tons
57 | 6 | DX Packaged System, EER=10.9, 10 tons
58 | 10 | DX Packaged System, EER=10.9, 10 tons
59 | 11 | DX Packaged System, EER=10.9, 10 tons
60 | 9 | DX Tune Up/ Advanced Diagnostics
61 | 11 | DX Tune Up/ Advanced Diagnostics
62 | 4 | Efficient Fryer
63 | 1 | Electronically Commutated Motors (ECM) on an Air Handler Unit
64 | 2 | Electronically Commutated Motors (ECM) on an Air Handler Unit
65 | 3 | Electronically Commutated Motors (ECM) on an Air Handler Unit
66 | 4 | Electronically Commutated Motors (ECM) on an Air Handler Unit
67 | 5 | Electronically Commutated Motors (ECM) on an Air Handler Unit
68 | 6 | Electronically Commutated Motors (ECM) on an Air Handler Unit
69 | 10 | Electronically Commutated Motors (ECM) on an Air Handler Unit
70 | 11 | Electronically Commutated Motors (ECM) on an Air Handler Unit
71 | 9 | EMS - Chiller
72 | 11 | EMS - Chiller
73 | 1 | EMS Optimization
74 | 2 | EMS Optimization
75 | 3 | EMS Optimization
76 | 4 | EMS Optimization
77 | 5 | EMS Optimization
78 | 6 | EMS Optimization
79 | 7 | EMS Optimization
80 | 8 | EMS Optimization
81 | 10 | EMS Optimization
82 | 11 | EMS Optimization
83 | 1 | Energy Star or Better Copier
84 | 2 | Energy Star or Better Monitor
85 | 3 | Energy Star or Better Monitor
86 | 5 | Energy Star or Better Monitor
87 | 7 | Energy Star or Better Monitor
88 | 9 | Energy Star or Better Monitor
89 | 4 | Evaporator fan controller for MT walk-ins
90 | 9 | Geothermal Heat Pump, EER=13, 10 tons
91 | 11 | Geothermal Heat Pump, EER=13, 10 tons
92 | 9 | HE PTAC, EER=9.6, 1 ton
93 | 1 | Heat Pump Water Heater (air source)
94 | 3 | Heat Pump Water Heater (air source)
95 | 4 | Heat Pump Water Heater (air source)
96 | 6 | Heat Pump Water Heater (air source)
97 | 8 | Heat Pump Water Heater (air source)
98 | 11 | Heat Pump Water Heater (air source)
99 | 1 | Heat Recovery Unit
100 | 3 | Heat Recovery Unit
101 | 4 | Heat Recovery Unit
102 | 6 | Heat Recovery Unit
103 | 8 | Heat Recovery Unit
104 | 11 | Heat Recovery Unit
105 | 2 | Heat Trap
106 | 5 | Heat Trap
107 | 7 | Heat Trap
108 | 8 | Heat Trap
109 | 10 | Heat Trap
110 | 1 | High Efficiency Chiller Motors
111 | 3 | High Efficiency Chiller Motors
112 | 4 | High Efficiency Chiller Motors
113 | 5 | High Efficiency Chiller Motors
114 | 6 | High Efficiency Chiller Motors
115 | 8 | High Efficiency Chiller Motors
116 | 10 | High Efficiency Chiller Motors
117 | 11 | High Efficiency Chiller Motors
118 | 7 | High Efficiency Fan Motor, 15hp, 1800rpm, 92.4%
119 | 1 | High Pressure Sodium 250W Lamp
120 | 2 | High Pressure Sodium 250W Lamp
121 | 3 | High Pressure Sodium 250W Lamp
122 | 4 | High Pressure Sodium 250W Lamp
123 | 6 | High Pressure Sodium 250W Lamp
124 | 10 | High Pressure Sodium 250W Lamp
125 | 11 | High Pressure Sodium 250W Lamp
126 | 9 | Hybrid Dessicant-DX System (Trane CDQ)
127 |  | Ice Machine
128 | 4 | LED Display Lighting
129 |  | LED High Bay 83W (400W equivalent)
130 | 1 | Lighting Control Tuneup
131 | 2 | Lighting Control Tuneup
132 | 5 | Lighting Control Tuneup
133 | 6 | Lighting Control Tuneup
134 | 7 | Lighting Control Tuneup
135 | 9 | Lighting Control Tuneup
136 | 10 | Lighting Control Tuneup
137 | 11 | Lighting Control Tuneup
138 | 1 | Lighting Control Tuneup
139 | 2 | Lighting Control Tuneup
140 | 3 | Lighting Control Tuneup
141 | 5 | Lighting Control Tuneup
142 | 6 | Lighting Control Tuneup
143 | 7 | Lighting Control Tuneup
144 | 11 | Lighting Control Tuneup
145 | 1 | Monitor Power Management Enabling
146 | 5 | Monitor Power Management Enabling
147 | 6 | Monitor Power Management Enabling
148 | 7 | Monitor Power Management Enabling
149 | 8 | Monitor Power Management Enabling
150 | 11 | Monitor Power Management Enabling
151 | 4 | Night covers for display cases
152 | 9 | Occupancy Sensor
153 | 10 | Occupancy Sensor
154 | 9 | Occupancy Sensor
155 | 10 | Occupancy Sensor
156 | 1 | Occupancy Sensor (hotels)
157 | 2 | Occupancy Sensor (hotels)
158 | 3 | Occupancy Sensor (hotels)
159 | 4 | Occupancy Sensor (hotels)
160 | 5 | Occupancy Sensor (hotels)
161 | 6 | Occupancy Sensor (hotels)
162 | 7 | Occupancy Sensor (hotels)
163 | 8 | Occupancy Sensor (hotels)
164 | 9 | Occupancy Sensor (hotels)
165 | 10 | Occupancy Sensor (hotels)
166 | 11 | Occupancy Sensor (hotels)
167 | 1 | Optimize Controls
168 | 2 | Optimize Controls
169 | 3 | Optimize Controls
170 | 4 | Optimize Controls
171 | 5 | Optimize Controls
172 | 6 | Optimize Controls
173 | 7 | Optimize Controls
174 | 8 | Optimize Controls
175 | 10 | Optimize Controls
176 | 11 | Optimize Controls
177 |  | Outdoor LED 104W
178 | 1 | Outdoor Lighting Controls (Photocell/Timeclock)
179 | 2 | Outdoor Lighting Controls (Photocell/Timeclock)
180 | 3 | Outdoor Lighting Controls (Photocell/Timeclock)
181 | 4 | Outdoor Lighting Controls (Photocell/Timeclock)
182 | 6 | Outdoor Lighting Controls (Photocell/Timeclock)
183 | 10 | Outdoor Lighting Controls (Photocell/Timeclock)
184 | 11 | Outdoor Lighting Controls (Photocell/Timeclock)
185 | 1 | Outdoor Lighting Controls (Photocell/Timeclock)
186 | 2 | Outdoor Lighting Controls (Photocell/Timeclock)
187 | 3 | Outdoor Lighting Controls (Photocell/Timeclock)
188 | 4 | Outdoor Lighting Controls (Photocell/Timeclock)
189 | 5 | Outdoor Lighting Controls (Photocell/Timeclock)
190 | 6 | Outdoor Lighting Controls (Photocell/Timeclock)
191 | 7 | Outdoor Lighting Controls (Photocell/Timeclock)
192 | 11 | Outdoor Lighting Controls (Photocell/Timeclock)
193 | 9 | Packaged HP System, EER=10.9, 10 tons
194 | 11 | Packaged HP System, EER=10.9, 10 tons
195 | 1 | PC Manual Power Management Enabling
196 | 5 | PC Manual Power Management Enabling
197 | 7 | PC Manual Power Management Enabling
198 | 8 | PC Manual Power Management Enabling
199 | 11 | PC Manual Power Management Enabling
200 | 1 | PC Network Power Management Enabling
201 | 5 | PC Network Power Management Enabling
202 | 7 | PC Network Power Management Enabling
203 | 8 | PC Network Power Management Enabling
204 | 11 | PC Network Power Management Enabling
205 | 9 | Premium T8, Elecctronic Ballast
206 | 1 | Printer Power Management Enabling
207 | 3 | Printer Power Management Enabling
208 | 5 | Printer Power Management Enabling
209 | 6 | Printer Power Management Enabling
210 | 7 | Printer Power Management Enabling
211 | 8 | Printer Power Management Enabling
212 | 11 | Printer Power Management Enabling
213 | 9 | ROB Premium T8, 1EB
214 | 10 | ROB Premium T8, 1EB
215 | 11 | ROB Premium T8, 1EB
216 | 9 | Roof Insulation
217 | 4 | Separate Makeup Air / Exhaust Hoods AC
218 | 1 | Variable Speed Drive Control
219 | 2 | Variable Speed Drive Control
220 | 3 | Variable Speed Drive Control
221 | 4 | Variable Speed Drive Control
222 | 5 | Variable Speed Drive Control
223 | 6 | Variable Speed Drive Control
224 | 7 | Variable Speed Drive Control
225 | 9 | Variable Speed Drive Control
226 | 10 | Variable Speed Drive Control
227 | 11 | Variable Speed Drive Control
228 | 1 | Vending Misers (cooled machines only)
229 | 2 | Vending Misers (cooled machines only)
230 | 5 | Vending Misers (cooled machines only)
231 | 10 | Vending Misers (cooled machines only)
232 | 6 | VSD for Chiller Pumps and Towers
233 | 9 | VSD for Chiller Pumps and Towers
234 | 11 | VSD for Chiller Pumps and Towers
235 | 1 | Window Film (Standard)
236 | 3 | Window Film (Standard)
237 | 5 | Window Film (Standard)
238 | 6 | Window Film (Standard)
239 | 10 | Window Film (Standard)
240 | 11 | Window Film (Standard)
241 | 1 | Window Film (Standard)
242 | 5 | Window Film (Standard)
243 | 6 | Window Film (Standard)
244 | 10 | Window Film (Standard)
245 | 11 | Window Film (Standard)
246 | 6 | Window Film (Standard)
247 | 11 | Window Film (Standard)
248 |  | Commercial PV
Measures Passing UCT but Failing RIM
Economic Potential
Industrial Measures
# | Building Segment | Measure Name
1 | 1 | Aerosole Duct Sealing
2 | 2 | Aerosole Duct Sealing
3 | 3 | Aerosole Duct Sealing
4 | 4 | Aerosole Duct Sealing
5 | 5 | Aerosole Duct Sealing
6 | 6 | Aerosole Duct Sealing
7 | 7 | Aerosole Duct Sealing
8 | 8 | Aerosole Duct Sealing
9 | 9 | Aerosole Duct Sealing
10 | 10 | Aerosole Duct Sealing
11 | 11 | Aerosole Duct Sealing
12 | 12 | Aerosole Duct Sealing
13 | 13 | Aerosole Duct Sealing
14 | 14 | Aerosole Duct Sealing
15 | 15 | Aerosole Duct Sealing
16 | 16 | Aerosole Duct Sealing
17 | 1 | Aerosole Duct Sealing - Chiller
18 | 2 | Aerosole Duct Sealing - Chiller
19 | 3 | Aerosole Duct Sealing - Chiller
20 | 4 | Aerosole Duct Sealing - Chiller
21 | 5 | Aerosole Duct Sealing - Chiller
22 | 6 | Aerosole Duct Sealing - Chiller
23 | 7 | Aerosole Duct Sealing - Chiller
24 | 8 | Aerosole Duct Sealing - Chiller
25 | 9 | Aerosole Duct Sealing - Chiller
26 | 10 | Aerosole Duct Sealing - Chiller
27 | 11 | Aerosole Duct Sealing - Chiller
28 | 12 | Aerosole Duct Sealing - Chiller
29 | 13 | Aerosole Duct Sealing - Chiller
30 | 14 | Aerosole Duct Sealing - Chiller
31 | 15 | Aerosole Duct Sealing - Chiller
32 | 16 | Aerosole Duct Sealing - Chiller
33 | 1 | Bakery - Process (Mixing) - O&M
34 | 1 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
35 | 2 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
36 | 3 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
37 | 4 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
38 | 5 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
39 | 6 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
40 | 7 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
41 | 8 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
42 | 9 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
43 | 10 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
44 | 11 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
45 | 12 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
46 | 13 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
47 | 14 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
48 | 15 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
49 | 16 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
50 | 6 | CFL Hardwired, Modular 18W
51 | 7 | CFL Hardwired, Modular 18W
52 | 1 | Chiller Tune Up/Diagnostics
53 | 2 | Chiller Tune Up/Diagnostics
54 | 3 | Chiller Tune Up/Diagnostics
55 | 8 | Chiller Tune Up/Diagnostics
56 | 12 | Chiller Tune Up/Diagnostics
57 | 14 | Chiller Tune Up/Diagnostics
58 | 6 | Clean Room - Controls
59 | 13 | Clean Room - Controls
60 | 6 | Clean Room - New Designs
61 | 2 | Comp Air - ASD (6-100 hp)
62 | 1 | Compressed Air - Controls
63 | 2 | Compressed Air - Controls
64 | 3 | Compressed Air - Controls
65 | 4 | Compressed Air - Controls
66 | 5 | Compressed Air - Controls
67 | 6 | Compressed Air - Controls
68 | 7 | Compressed Air - Controls
69 | 8 | Compressed Air - Controls
70 | 9 | Compressed Air - Controls
71 | 10 | Compressed Air - Controls
72 | 11 | Compressed Air - Controls
73 | 12 | Compressed Air - Controls
74 | 13 | Compressed Air - Controls
75 | 14 | Compressed Air - Controls
76 | 15 | Compressed Air - Controls
77 | 16 | Compressed Air - Controls
78 | 1 | Compressed Air - System Optimization
79 | 3 | Compressed Air - System Optimization
80 | 4 | Compressed Air - System Optimization
81 | 5 | Compressed Air - System Optimization
82 | 6 | Compressed Air - System Optimization
83 | 7 | Compressed Air - System Optimization
84 | 8 | Compressed Air - System Optimization
85 | 9 | Compressed Air - System Optimization
86 | 10 | Compressed Air - System Optimization
87 | 11 | Compressed Air - System Optimization
88 | 12 | Compressed Air - System Optimization
89 | 13 | Compressed Air - System Optimization
90 | 14 | Compressed Air - System Optimization
91 | 15 | Compressed Air - System Optimization
92 | 16 | Compressed Air - System Optimization
93 | 1 | Compressed Air- Sizing
94 | 2 | Compressed Air- Sizing
95 | 3 | Compressed Air- Sizing
96 | 4 | Compressed Air- Sizing
97 | 5 | Compressed Air- Sizing
98 | 6 | Compressed Air- Sizing
99 | 7 | Compressed Air- Sizing
100 | 8 | Compressed Air- Sizing
101 | 9 | Compressed Air- Sizing
102 | 10 | Compressed Air- Sizing
103 | 11 | Compressed Air- Sizing
104 | 12 | Compressed Air- Sizing
105 | 13 | Compressed Air- Sizing
106 | 14 | Compressed Air- Sizing
107 | 15 | Compressed Air- Sizing
108 | 16 | Compressed Air- Sizing
109 | 1 | Compressed Air-O&M
110 | 3 | Compressed Air-O&M
111 | 4 | Compressed Air-O&M
112 | 5 | Compressed Air-O&M
113 | 6 | Compressed Air-O&M
114 | 7 | Compressed Air-O&M
115 | 8 | Compressed Air-O&M
116 | 9 | Compressed Air-O&M
117 | 10 | Compressed Air-O&M
118 | 11 | Compressed Air-O&M
119 | 12 | Compressed Air-O&M
120 | 13 | Compressed Air-O&M
121 | 14 | Compressed Air-O&M
122 | 15 | Compressed Air-O&M
123 | 16 | Compressed Air-O&M
124 | 1 | Cool Roof - Chiller
125 | 3 | Cool Roof - Chiller
126 | 4 | Cool Roof - Chiller
127 | 5 | Cool Roof - Chiller
128 | 6 | Cool Roof - Chiller
129 | 7 | Cool Roof - Chiller
130 | 8 | Cool Roof - Chiller
131 | 9 | Cool Roof - Chiller
132 | 10 | Cool Roof - Chiller
133 | 11 | Cool Roof - Chiller
134 | 12 | Cool Roof - Chiller
135 | 13 | Cool Roof - Chiller
136 | 14 | Cool Roof - Chiller
137 | 15 | Cool Roof - Chiller
138 | 16 | Cool Roof - Chiller
139 | 1 | Cool Roof - DX
140 | 2 | Cool Roof - DX
141 | 3 | Cool Roof - DX
142 | 4 | Cool Roof - DX
143 | 5 | Cool Roof - DX
144 | 6 | Cool Roof - DX
145 | 7 | Cool Roof - DX
146 | 8 | Cool Roof - DX
147 | 9 | Cool Roof - DX
148 | 10 | Cool Roof - DX
149 | 11 | Cool Roof - DX
150 | 12 | Cool Roof - DX
151 | 13 | Cool Roof - DX
152 | 14 | Cool Roof - DX
153 | 15 | Cool Roof - DX
154 | 16 | Cool Roof - DX
155 | 11 | Drives - Optimization process (M&T)
156 | 12 | Drives - Optimization process (M&T)
157 | 14 | Drives - Optimization process (M&T)
158 | 15 | Drives - Optimization process (M&T)
159 | 6 | Drives - Process Controls (batch + site)
160 | 2 | Duct/Pipe Insulation
161 | 12 | Duct/Pipe Insulation
162 | 14 | Duct/Pipe Insulation
163 | 1 | Duct/Pipe Insulation - Chiller
164 | 2 | Duct/Pipe Insulation - Chiller
165 | 3 | Duct/Pipe Insulation - Chiller
166 | 5 | Duct/Pipe Insulation - Chiller
167 | 8 | Duct/Pipe Insulation - Chiller
168 | 9 | Duct/Pipe Insulation - Chiller
169 | 10 | Duct/Pipe Insulation - Chiller
170 | 11 | Duct/Pipe Insulation - Chiller
171 | 12 | Duct/Pipe Insulation - Chiller
172 | 13 | Duct/Pipe Insulation - Chiller
173 | 14 | Duct/Pipe Insulation - Chiller
174 | 15 | Duct/Pipe Insulation - Chiller
175 | 16 | Duct/Pipe Insulation - Chiller
176 | 11 | Efficient Curing ovens
177 | 13 | Efficient Curing ovens
178 | 14 | Efficient Curing ovens
179 | 15 | Efficient Curing ovens
180 | 16 | Efficient Curing ovens
181 | 7 | Efficient desalter
182 | 10 | Efficient drives - rolling
183 | 10 | Efficient electric melting
184 | 9 | Efficient grinding
185 | 5 | Efficient practices printing press
186 | 5 | Efficient Printing press (fewer cylinders)
187 | 13 | Efficient processes (welding, etc.)
188 | 1 | Efficient Refrigeration - Operations
189 | 2 | EMS - Chiller
190 | 12 | EMS - Chiller
191 | 2 | Fans - ASD (100+ hp)
192 | 2 | Fans - ASD (6-100 hp)
193 | 1 | Fans - Controls
194 | 4 | Fans - Controls
195 | 5 | Fans - Controls
196 | 6 | Fans - Controls
197 | 7 | Fans - Controls
198 | 9 | Fans - Controls
199 | 13 | Fans - Controls
200 | 15 | Fans - Controls
201 | 16 | Fans - Controls
202 | 1 | Fans - System Optimization
203 | 3 | Fans - System Optimization
204 | 4 | Fans - System Optimization
205 | 5 | Fans - System Optimization
206 | 6 | Fans - System Optimization
207 | 7 | Fans - System Optimization
208 | 8 | Fans - System Optimization
209 | 9 | Fans - System Optimization
210 | 10 | Fans - System Optimization
211 | 11 | Fans - System Optimization
212 | 12 | Fans - System Optimization
213 | 13 | Fans - System Optimization
214 | 14 | Fans - System Optimization
215 | 15 | Fans - System Optimization
216 | 16 | Fans - System Optimization
217 | 2 | Fans- Improve components
218 | 4 | Gap Forming papermachine
219 | 1 | Geothermal Heat Pump, EER=13, 10 tons
220 | 2 | Geothermal Heat Pump, EER=13, 10 tons
221 | 3 | Geothermal Heat Pump, EER=13, 10 tons
222 | 5 | Geothermal Heat Pump, EER=13, 10 tons
223 | 6 | Geothermal Heat Pump, EER=13, 10 tons
224 | 7 | Geothermal Heat Pump, EER=13, 10 tons
225 | 8 | Geothermal Heat Pump, EER=13, 10 tons
226 | 9 | Geothermal Heat Pump, EER=13, 10 tons
227 | 10 | Geothermal Heat Pump, EER=13, 10 tons
228 | 11 | Geothermal Heat Pump, EER=13, 10 tons
229 | 12 | Geothermal Heat Pump, EER=13, 10 tons
230 | 13 | Geothermal Heat Pump, EER=13, 10 tons
231 | 14 | Geothermal Heat Pump, EER=13, 10 tons
232 | 15 | Geothermal Heat Pump, EER=13, 10 tons
233 | 16 | Geothermal Heat Pump, EER=13, 10 tons
234 | 11 | Heating - Optimization process (M&T)
235 | 12 | Heating - Optimization process (M&T)
236 | 14 | Heating - Optimization process (M&T)
237 | 4 | High Bay T5
238 | 6 | High Bay T5
239 | 7 | High Bay T5
240 | 9 | High Bay T5
241 | 16 | High Bay T5
242 | 4 | High Consistency forming
243 | 1 | Hybrid Dessicant-DX System (Trane CDQ)
244 | 3 | Hybrid Dessicant-DX System (Trane CDQ)
245 | 4 | Hybrid Dessicant-DX System (Trane CDQ)
246 | 5 | Hybrid Dessicant-DX System (Trane CDQ)
247 | 6 | Hybrid Dessicant-DX System (Trane CDQ)
248 | 7 | Hybrid Dessicant-DX System (Trane CDQ)
249 | 8 | Hybrid Dessicant-DX System (Trane CDQ)
250 | 9 | Hybrid Dessicant-DX System (Trane CDQ)
251 | 10 | Hybrid Dessicant-DX System (Trane CDQ)
252 | 11 | Hybrid Dessicant-DX System (Trane CDQ)
253 | 13 | Hybrid Dessicant-DX System (Trane CDQ)
254 | 14 | Hybrid Dessicant-DX System (Trane CDQ)
255 | 15 | Hybrid Dessicant-DX System (Trane CDQ)
256 | 16 | Hybrid Dessicant-DX System (Trane CDQ)
257 | 8 | Injection Moulding - Direct drive
258 | 8 | Injection Moulding - Impulse Cooling
259 |  | LED High Bay 83 W
260 | 5 | Light cylinders
261 | 11 | Machinery
262 | 12 | Machinery
263 | 14 | Machinery
264 | 15 | Machinery
265 | 2 | Membranes for wastewater
266 | 10 | Near Net Shape Casting
267 | 11 | New transformers welding
268 | 15 | New transformers welding
269 | 8 | O&M - Extruders/Injection Moulding
270 | 1 | Occupancy Sensor
271 | 2 | Occupancy Sensor
272 | 3 | Occupancy Sensor
273 | 4 | Occupancy Sensor
274 | 5 | Occupancy Sensor
275 | 6 | Occupancy Sensor
276 | 7 | Occupancy Sensor
277 | 8 | Occupancy Sensor
278 | 9 | Occupancy Sensor
279 | 10 | Occupancy Sensor
280 | 11 | Occupancy Sensor
281 | 12 | Occupancy Sensor
282 | 13 | Occupancy Sensor
283 | 14 | Occupancy Sensor
284 | 15 | Occupancy Sensor
285 | 16 | Occupancy Sensor
286 | 3 | Optimize drying process
287 | 6 | Other Process Controls (batch + site)
288 | 1 | Premium T8, Elecctronic Ballast
289 | 3 | Premium T8, Elecctronic Ballast
290 | 4 | Premium T8, Elecctronic Ballast
291 | 5 | Premium T8, Elecctronic Ballast
292 | 6 | Premium T8, Elecctronic Ballast
293 | 7 | Premium T8, Elecctronic Ballast
294 | 8 | Premium T8, Elecctronic Ballast
295 | 9 | Premium T8, Elecctronic Ballast
296 | 10 | Premium T8, Elecctronic Ballast
297 | 11 | Premium T8, Elecctronic Ballast
298 | 13 | Premium T8, Elecctronic Ballast
299 | 14 | Premium T8, Elecctronic Ballast
300 | 15 | Premium T8, Elecctronic Ballast
301 | 16 | Premium T8, Elecctronic Ballast
302 | 9 | Process optimization
303 | 2 | Pumps - ASD (6-100 hp)
304 | 4 | Pumps - Controls
305 | 5 | Pumps - Controls
306 | 6 | Pumps - Controls
307 | 7 | Pumps - Controls
308 | 9 | Pumps - Controls
309 | 13 | Pumps - Controls
310 | 15 | Pumps - Controls
311 | 16 | Pumps - Controls
312 | 1 | Pumps - O&M
313 | 2 | Pumps - O&M
314 | 3 | Pumps - O&M
315 | 4 | Pumps - O&M
316 | 5 | Pumps - O&M
317 | 6 | Pumps - O&M
318 | 7 | Pumps - O&M
319 | 8 | Pumps - O&M
320 | 9 | Pumps - O&M
321 | 10 | Pumps - O&M
322 | 11 | Pumps - O&M
323 | 12 | Pumps - O&M
324 | 13 | Pumps - O&M
325 | 14 | Pumps - O&M
326 | 15 | Pumps - O&M
327 | 16 | Pumps - O&M
328 | 1 | Pumps - Sizing
329 | 3 | Pumps - Sizing
330 | 4 | Pumps - Sizing
331 | 5 | Pumps - Sizing
332 | 6 | Pumps - Sizing
333 | 7 | Pumps - Sizing
334 | 8 | Pumps - Sizing
335 | 9 | Pumps - Sizing
336 | 10 | Pumps - Sizing
337 | 11 | Pumps - Sizing
338 | 12 | Pumps - Sizing
339 | 13 | Pumps - Sizing
340 | 14 | Pumps - Sizing
341 | 15 | Pumps - Sizing
342 | 16 | Pumps - Sizing
343 | 1 | Pumps - System Optimization
344 | 4 | Pumps - System Optimization
345 | 5 | Pumps - System Optimization
346 | 6 | Pumps - System Optimization
347 | 7 | Pumps - System Optimization
348 | 8 | Pumps - System Optimization
349 | 9 | Pumps - System Optimization
350 | 13 | Pumps - System Optimization
351 | 15 | Pumps - System Optimization
352 | 16 | Pumps - System Optimization
353 | 3 | Replace V-Belts
354 | 1 | VSD for Chiller Pumps and Towers
355 | 2 | VSD for Chiller Pumps and Towers
356 | 3 | VSD for Chiller Pumps and Towers
357 | 5 | VSD for Chiller Pumps and Towers
358 | 8 | VSD for Chiller Pumps and Towers
359 | 10 | VSD for Chiller Pumps and Towers
360 | 11 | VSD for Chiller Pumps and Towers
361 | 12 | VSD for Chiller Pumps and Towers
362 | 13 | VSD for Chiller Pumps and Towers
363 | 14 | VSD for Chiller Pumps and Towers
364 | 15 | VSD for Chiller Pumps and Towers

## Pass UCT Fail RIM Achievable
Measures Passing UCT but Failing RIM
Achievable Potential
Residential Measures
# | Building Segment | Measure Name
1 | 2 | 14 SEER Split-System Heat Pump
2 | 1 | 17 SEER Split-System Air Conditioner
3 | 2 | 17 SEER Split-System Heat Pump
4 | 2 | Ceiling R-0 to R-19 Insulation
5 | 3 | Ceiling R-0 to R-19 Insulation
6 | 2 | Ceiling R-0 to R-19 Insulation
7 | 1 | Ceiling R-0 to R-19 Insulation
8 | 1 | Duct Repair
9 | 1 | Duct Repair
10 | 2 | Electronically Commutated Motors (ECM) on an Air Handler Unit
11 | 3 | Electronically Commutated Motors (ECM) on an Air Handler Unit
12 | 1 | Heat Pump Water Heater (EF=2.9)
13 | 2 | Heat Pump Water Heater (EF=2.9)
14 | 3 | Heat Pump Water Heater (EF=2.9)
15 | 1 | Proper Refrigerant Charging and Air Flow
16 | 1 | Proper Refrigerant Charging and Air Flow
17 | 1 | PV-Powered Pool Pumps
18 | 2 | PV-Powered Pool Pumps
19 | 3 | PV-Powered Pool Pumps
20 | 1 | Reflective Roof
21 | 2 | Reflective Roof
22 | 3 | Reflective Roof
23 | 1 | Reflective Roof
24 | 3 | Reflective Roof
25 | 1 | Sealed Attic w/Sprayed Foam Insulated Roof Deck
26 | 3 | Sealed Attic w/Sprayed Foam Insulated Roof Deck
27 | 1 | Single Pane Clear Windows to Double Pane Low-E Windows
28 | 2 | Single Pane Clear Windows to Double Pane Low-E Windows
29 | 3 | Single Pane Clear Windows to Double Pane Low-E Windows
30 | 1 | Single Pane Clear Windows to Double Pane Low-E Windows
31 | 2 | Single Pane Clear Windows to Double Pane Low-E Windows
32 | 3 | Single Pane Clear Windows to Double Pane Low-E Windows
33 | 1 | Variable-Speed Pool Pump (<1 hp)
34 | 2 | Variable-Speed Pool Pump (<1 hp)
35 | 3 | Variable-Speed Pool Pump (<1 hp)
36 |  | Residential PV
Measures Passing UCT but Failing RIM
Achievable Potential
Commercial Measures
# | Building Segment | Measure Name
1 | 1 | Air Handler Optimization
2 | 3 | Air Handler Optimization
3 | 5 | Air Handler Optimization
4 | 6 | Air Handler Optimization
5 | 8 | Air Handler Optimization
6 | 10 | Air Handler Optimization
7 | 11 | Air Handler Optimization
8 | 9 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
9 | 9 | Chiller Tune Up/Diagnostics
10 | 11 | Chiller Tune Up/Diagnostics
11 | 5 | Continuous Dimming
12 | 6 | Continuous Dimming
13 | 9 | Continuous Dimming
14 | 10 | Continuous Dimming
15 | 2 | Convection Oven
16 | 4 | Convection Oven
17 | 6 | Demand Control Ventilation (DCV)
18 | 10 | Demand Control Ventilation (DCV)
19 | 2 | Demand controlled circulating systems
20 | 8 | Demand controlled circulating systems
21 | 10 | Demand controlled circulating systems
22 | 11 | DX Coil Cleaning
23 | 1 | DX Packaged System, EER=10.9, 10 tons
24 | 3 | DX Packaged System, EER=10.9, 10 tons
25 | 5 | DX Packaged System, EER=10.9, 10 tons
26 | 6 | DX Packaged System, EER=10.9, 10 tons
27 | 10 | DX Packaged System, EER=10.9, 10 tons
28 | 11 | DX Packaged System, EER=10.9, 10 tons
29 | 11 | DX Tune Up/ Advanced Diagnostics
30 | 2 | Efficient Fryer
31 | 1 | Electronically Commutated Motors (ECM) on an Air Handler Unit
32 | 2 | Electronically Commutated Motors (ECM) on an Air Handler Unit
33 | 3 | Electronically Commutated Motors (ECM) on an Air Handler Unit
34 | 4 | Electronically Commutated Motors (ECM) on an Air Handler Unit
35 | 5 | Electronically Commutated Motors (ECM) on an Air Handler Unit
36 | 6 | Electronically Commutated Motors (ECM) on an Air Handler Unit
37 | 10 | Electronically Commutated Motors (ECM) on an Air Handler Unit
38 | 11 | Electronically Commutated Motors (ECM) on an Air Handler Unit
39 | 9 | EMS - Chiller
40 | 11 | EMS - Chiller
41 | 1 | EMS Optimization
42 | 3 | EMS Optimization
43 | 5 | EMS Optimization
44 | 6 | EMS Optimization
45 | 11 | EMS Optimization
46 | 4 | Evaporator fan controller for MT walk-ins
47 | 3 | Geothermal Heat Pump, EER=13, 10 tons
48 | 4 | Geothermal Heat Pump, EER=13, 10 tons
49 | 8 | Geothermal Heat Pump, EER=13, 10 tons
50 | 9 | HE PTAC, EER=9.6, 1 ton
51 | 1 | Heat Pump Water Heater (air source)
52 | 3 | Heat Pump Water Heater (air source)
53 | 4 | Heat Pump Water Heater (air source)
54 | 6 | Heat Pump Water Heater (air source)
55 | 8 | Heat Pump Water Heater (air source)
56 | 11 | Heat Pump Water Heater (air source)
57 | 1 | Heat Recovery Unit
58 | 3 | Heat Recovery Unit
59 | 4 | Heat Recovery Unit
60 | 6 | Heat Recovery Unit
61 | 11 | Heat Recovery Unit
62 | 1 | High Efficiency Chiller Motors
63 | 3 | High Efficiency Chiller Motors
64 | 4 | High Efficiency Chiller Motors
65 | 5 | High Efficiency Chiller Motors
66 | 6 | High Efficiency Chiller Motors
67 | 8 | High Efficiency Chiller Motors
68 | 10 | High Efficiency Chiller Motors
69 | 11 | High Efficiency Chiller Motors
70 | 7 | High Efficiency Fan Motor, 15hp, 1800rpm, 92.4%
71 | 1 | High Pressure Sodium 250W Lamp
72 | 2 | High Pressure Sodium 250W Lamp
73 | 3 | High Pressure Sodium 250W Lamp
74 | 4 | High Pressure Sodium 250W Lamp
75 | 6 | High Pressure Sodium 250W Lamp
76 | 10 | High Pressure Sodium 250W Lamp
77 | 11 | High Pressure Sodium 250W Lamp
78 | 9 | Hybrid Dessicant-DX System (Trane CDQ)
79 |  | Ice Machine
80 | 4 | LED Display Lighting
81 |  | LED High Bay 83W (400W equivalent)
82 | 9 | Lighting Control Tuneup
83 | 5 | Occupancy Sensor
84 | 6 | Occupancy Sensor
85 | 9 | Occupancy Sensor
86 | 10 | Occupancy Sensor
87 | 11 | Occupancy Sensor
88 | 5 | Occupancy Sensor
89 | 6 | Occupancy Sensor
90 | 9 | Occupancy Sensor
91 | 10 | Occupancy Sensor
92 | 11 | Occupancy Sensor
93 | 1 | Occupancy Sensor (hotels)
94 | 2 | Occupancy Sensor (hotels)
95 | 3 | Occupancy Sensor (hotels)
96 | 4 | Occupancy Sensor (hotels)
97 | 5 | Occupancy Sensor (hotels)
98 | 6 | Occupancy Sensor (hotels)
99 | 7 | Occupancy Sensor (hotels)
100 | 8 | Occupancy Sensor (hotels)
101 | 9 | Occupancy Sensor (hotels)
102 | 10 | Occupancy Sensor (hotels)
103 | 11 | Occupancy Sensor (hotels)
104 | 1 | Optimize Controls
105 | 3 | Optimize Controls
106 | 6 | Optimize Controls
107 | 11 | Optimize Controls
108 |  | Outdoor LED 104W
109 | 1 | Outdoor Lighting Controls (Photocell/Timeclock)
110 | 2 | Outdoor Lighting Controls (Photocell/Timeclock)
111 | 3 | Outdoor Lighting Controls (Photocell/Timeclock)
112 | 4 | Outdoor Lighting Controls (Photocell/Timeclock)
113 | 10 | Outdoor Lighting Controls (Photocell/Timeclock)
114 | 11 | Outdoor Lighting Controls (Photocell/Timeclock)
115 | 1 | Outdoor Lighting Controls (Photocell/Timeclock)
116 | 2 | Outdoor Lighting Controls (Photocell/Timeclock)
117 | 3 | Outdoor Lighting Controls (Photocell/Timeclock)
118 | 4 | Outdoor Lighting Controls (Photocell/Timeclock)
119 | 5 | Outdoor Lighting Controls (Photocell/Timeclock)
120 | 6 | Outdoor Lighting Controls (Photocell/Timeclock)
121 | 7 | Outdoor Lighting Controls (Photocell/Timeclock)
122 | 11 | Outdoor Lighting Controls (Photocell/Timeclock)
123 | 9 | Packaged HP System, EER=10.9, 10 tons
124 | 11 | Packaged HP System, EER=10.9, 10 tons
125 | 5 | Premium T8, Elecctronic Ballast
126 | 6 | Premium T8, Elecctronic Ballast
127 | 9 | Premium T8, Elecctronic Ballast
128 | 11 | Premium T8, Elecctronic Ballast
129 | 5 | ROB Premium T8, 1EB
130 | 6 | ROB Premium T8, 1EB
131 | 9 | ROB Premium T8, 1EB
132 | 10 | ROB Premium T8, 1EB
133 | 11 | ROB Premium T8, 1EB
134 | 6 | Roof Insulation
135 | 11 | Roof Insulation
136 | 1 | Variable Speed Drive Control
137 | 2 | Variable Speed Drive Control
138 | 3 | Variable Speed Drive Control
139 | 4 | Variable Speed Drive Control
140 | 5 | Variable Speed Drive Control
141 | 6 | Variable Speed Drive Control
142 | 9 | Variable Speed Drive Control
143 | 10 | Variable Speed Drive Control
144 | 11 | Variable Speed Drive Control
145 | 6 | VSD for Chiller Pumps and Towers
146 | 9 | VSD for Chiller Pumps and Towers
147 | 11 | VSD for Chiller Pumps and Towers
148 | 1 | Window Film (Standard)
149 | 3 | Window Film (Standard)
150 | 5 | Window Film (Standard)
151 | 6 | Window Film (Standard)
152 | 10 | Window Film (Standard)
153 | 11 | Window Film (Standard)
154 | 1 | Window Film (Standard)
155 | 5 | Window Film (Standard)
156 | 6 | Window Film (Standard)
157 | 10 | Window Film (Standard)
158 | 11 | Window Film (Standard)
159 | 6 | Window Film (Standard)
160 | 11 | Window Film (Standard)
161 |  | Commercial PV
Measures Passing UCT but Failing RIM
Achievable Potential
Industrial Measures
# | Building Segment | Measure Name
1 | 2 | Aerosole Duct Sealing
2 | 12 | Aerosole Duct Sealing
3 | 2 | Aerosole Duct Sealing - Chiller
4 | 3 | Aerosole Duct Sealing - Chiller
5 | 12 | Aerosole Duct Sealing - Chiller
6 | 6 | Clean Room - Controls
7 | 13 | Clean Room - Controls
8 | 6 | Clean Room - New Designs
9 | 1 | Compressed Air - Controls
10 | 2 | Compressed Air - Controls
11 | 3 | Compressed Air - Controls
12 | 4 | Compressed Air - Controls
13 | 5 | Compressed Air - Controls
14 | 6 | Compressed Air - Controls
15 | 7 | Compressed Air - Controls
16 | 8 | Compressed Air - Controls
17 | 9 | Compressed Air - Controls
18 | 10 | Compressed Air - Controls
19 | 11 | Compressed Air - Controls
20 | 12 | Compressed Air - Controls
21 | 13 | Compressed Air - Controls
22 | 14 | Compressed Air - Controls
23 | 15 | Compressed Air - Controls
24 | 16 | Compressed Air - Controls
25 |  | Dehumidification Hybrid Desiccant Heat Pump
26 | 11 | Efficient Curing ovens
27 | 13 | Efficient Curing ovens
28 | 14 | Efficient Curing ovens
29 | 15 | Efficient Curing ovens
30 | 16 | Efficient Curing ovens
31 | 7 | Efficient desalter
32 | 10 | Efficient drives - rolling
33 | 10 | Efficient electric melting
34 | 9 | Efficient grinding
35 | 5 | Efficient Printing press (fewer cylinders)
36 | 13 | Efficient processes (welding, etc.)
37 | 1 | Fans - Controls
38 | 4 | Fans - Controls
39 | 5 | Fans - Controls
40 | 6 | Fans - Controls
41 | 7 | Fans - Controls
42 | 9 | Fans - Controls
43 | 13 | Fans - Controls
44 | 15 | Fans - Controls
45 | 16 | Fans - Controls
46 | 1 | Fans - System Optimization
47 | 3 | Fans - System Optimization
48 | 4 | Fans - System Optimization
49 | 5 | Fans - System Optimization
50 | 6 | Fans - System Optimization
51 | 7 | Fans - System Optimization
52 | 8 | Fans - System Optimization
53 | 9 | Fans - System Optimization
54 | 10 | Fans - System Optimization
55 | 11 | Fans - System Optimization
56 | 12 | Fans - System Optimization
57 | 13 | Fans - System Optimization
58 | 14 | Fans - System Optimization
59 | 15 | Fans - System Optimization
60 | 16 | Fans - System Optimization
61 | 4 | High Bay T5
62 | 6 | High Bay T5
63 | 7 | High Bay T5
64 | 9 | High Bay T5
65 | 16 | High Bay T5
66 | 8 | Injection Moulding - Direct drive
67 | 8 | Injection Moulding - Impulse Cooling
68 |  | LED High Bay 83 W
69 | 11 | Machinery
70 | 12 | Machinery
71 | 14 | Machinery
72 | 15 | Machinery
73 | 2 | Membranes for wastewater
74 | 11 | New transformers welding
75 | 15 | New transformers welding
76 | 5 | Occupancy Sensor
77 | 3 | Optimize drying process
78 | 9 | Process optimization
79 | 1 | Pumps - System Optimization
80 | 4 | Pumps - System Optimization
81 | 5 | Pumps - System Optimization
82 | 6 | Pumps - System Optimization
83 | 7 | Pumps - System Optimization
84 | 8 | Pumps - System Optimization
85 | 9 | Pumps - System Optimization
86 | 13 | Pumps - System Optimization
87 | 15 | Pumps - System Optimization
88 | 16 | Pumps - System Optimization
89 |  | Run Time Optimizer