## RIM
Sim Late Filed Deposition Exhibit "E" Part (a)
List of Measures Added with One Year Payback
RIM Preliminary Cost-Effectiveness Screening
Measures Added With One Year Payback
Residential Measures
| # | Measure Code | Measure Name
| 1 | RSF114 | Proper Refrigerant Charging and Air Flow - SS AC
| 2 | RSF140 | Proper Refrigerant Charging and Air Flow
Commercial Measures
| # |  | Measure Name
| 1 | CD124 | Lighting Control Tuneup
| 2 | CD132 | Flood LED 14W
| 3 | CD308 | Chiller - Aerosole Duct Sealing
| 4 | CD361 | HE PTAC, EER=9.6, 1 ton
| 5 | CD813 | Steamer
| 6 | CL124 | Lighting Control Tuneup
| 7 | CL132 | Flood LED 14W
| 8 | CL153 | High Bay T5
| 9 | CL308 | Chiller - Aerosole Duct Sealing
| 10 | CL361 | HE PTAC, EER=9.6, 1 ton
| 11 | CL813 | Steamer
| 12 | CS124 | Lighting Control Tuneup
Industrial Measures
| # |  | Measure Name
| 1 | IND807 | Flood LED 14W
| 2 | INL404 | Replace V-Belts
| 3 | INL507 | Near Net Shape Casting
| 4 | INL510 | Heating - Optimization process (M&T)
| 5 | INL804 | High Bay T5
| 6 | INL807 | Flood LED 14W

## TRC
Sim Late Filed Deposition Exhibit "E" Part (a)
List of Measures Added with One Year Payback
TRC Preliminary Cost-Effectiveness Screening
Measures Added With One Year Payback
Residential Measures
| # | Measure Code | Measure Name
| 85 | RMF302 | Fridge Appliance Recycling
| 86 | RMF352 | Freeze Appliance Recycling
| 87 | RMO302 | Fridge Appliance Recycling
| 88 | RMO352 | Freeze Appliance Recycling
| 89 | RSF114 | Proper Refrigerant Charging and Air Flow - SS AC
| 90 | RSF140 | Proper Refrigerant Charging and Air Flow
| 91 | RSF302 | Fridge Appliance Recycling
| 92 | RSF352 | Freeze Appliance Recycling
| 93 | RSF802 | High Efficiency One Speed Pool Pump (1.5 hp)
Commercial Measures
| # |  | Measure Name
| 1 | CD124 | Lighting Control Tuneup
| 2 | CD132 | Flood LED 14W
| 3 | CD161 | LED Exit Sign
| 4 | CD307 | Chiller - EMS Optimization
| 5 | CD308 | Chiller - Aerosole Duct Sealing
| 6 | CD328 | DX - Optimize Controls
| 7 | CD361 | HE PTAC, EER=9.6, 1 ton
| 8 | CD403 | Air Handler Optimization
| 9 | CD503 | Night covers for display cases
| 10 | CD508 | Refrigeration Commissioning
| 11 | CD603 | Heat Pump Water Heater (air source)
| 12 | CD741 | Printer Power Management Enabling
| 13 | CD813 | Steamer
| 14 | CD901 | Vending Misers (cooled machines only)
| 15 | CL124 | Lighting Control Tuneup
| 16 | CL132 | Flood LED 14W
| 17 | CL153 | High Bay T5
| 18 | CL307 | Chiller - EMS Optimization
| 19 | CL308 | Chiller - Aerosole Duct Sealing
| 20 | CL328 | DX - Optimize Controls
| 21 | CL361 | HE PTAC, EER=9.6, 1 ton
| 22 | CL503 | Night covers for display cases
| 23 | CL603 | Heat Pump Water Heater (air source)
| 24 | CL741 | Printer Power Management Enabling
| 25 | CL813 | Steamer
| 26 | CL901 | Vending Misers (cooled machines only)
| 27 | CS124 | Lighting Control Tuneup
| 28 | CS161 | LED Exit Sign
| 29 | CS307 | Chiller - EMS Optimization
| 30 | CS361 | HE PTAC, EER=9.6, 1 ton
| 31 | CS403 | Air Handler Optimization
| 32 | CS508 | Refrigeration Commissioning
| 33 | CS603 | Heat Pump Water Heater (air source)
| 34 | CS609 | Heat Trap
| 35 | CS741 | Printer Power Management Enabling
| 36 | CS813 | Steamer
| 37 | CS901 | Vending Misers (cooled machines only)
Industrial Measures
| # |  | Measure Name
| 38 | IND102 | Compressed Air - Controls
| 39 | IND103 | Compressed Air - System Optimization
| 40 | IND112 | Comp Air - ASD (100+ hp)
| 41 | IND204 | Fans- Improve components
| 42 | IND212 | Fans - ASD (100+ hp)
| 43 | IND302 | Pumps - Controls
| 44 | IND304 | Pumps - Sizing
| 45 | IND312 | Pumps - ASD (100+ hp)
| 46 | IND403 | Air conveying systems
| 47 | IND404 | Replace V-Belts
| 48 | IND406 | Gap Forming papermachine
| 49 | IND407 | High Consistency forming
| 50 | IND409 | Efficient practices printing press
| 51 | IND423 | Process control
| 52 | IND427 | Drives - Optimization process (M&T)
| 53 | IND501 | Bakery - Process
| 54 | IND504 | Top-heating (glass)
| 55 | IND507 | Near Net Shape Casting
| 56 | IND510 | Heating - Optimization process (M&T)
| 57 | IND702 | High Efficiency Chiller Motors
| 58 | IND704 | Chiller- Tune Up/Diagnostics
| 59 | IND726 | DX -Optimize Controls
| 60 | IND807 | Flood LED 14W
| 61 | INL102 | Compressed Air - Controls
| 62 | INL103 | Compressed Air - System Optimization
| 63 | INL112 | Comp Air - ASD (100+ hp)
| 64 | INL204 | Fans- Improve components
| 65 | INL212 | Fans - ASD (100+ hp)
| 66 | INL302 | Pumps - Controls
| 67 | INL304 | Pumps - Sizing
| 68 | INL312 | Pumps - ASD (100+ hp)
| 69 | INL403 | Air conveying systems
| 70 | INL404 | Replace V-Belts
| 71 | INL406 | Gap Forming papermachine
| 72 | INL407 | High Consistency forming
| 73 | INL409 | Efficient practices printing press
| 74 | INL423 | Process control
| 75 | INL427 | Drives - Optimization process (M&T)
| 76 | INL501 | Bakery - Process
| 77 | INL504 | Top-heating (glass)
| 78 | INL507 | Near Net Shape Casting
| 79 | INL510 | Heating - Optimization process (M&T)
| 80 | INL702 | High Efficiency Chiller Motors
| 81 | INL704 | Chiller- Tune Up/Diagnostics
| 82 | INL726 | DX -Optimize Controls
| 83 | INL804 | High Bay T5
| 84 | INL807 | Flood LED 14W