## No. 2
Florida Power & Light Company
Docket No. 130199-EI
Staff's First Set of Interrogatories
Interrogatory No. 2
Attachment No. 1
Tab 1 of 1
Residential |  | Commercial |  | Industrial
Energy Efficiency Measures |  | Energy Efficiency Measures |  | Energy Efficiency Measures
# | Measure Name | # | Measure Name | # | Measure Name
1 | 15 SEER Split-System Air Conditioner | 1 | Premium T8, Electronic Ballast | 1 | Compressed Air-O&M
2 | 17 SEER Split-System Air Conditioner | 2 | Premium T8, EB, Reflector | 2 | Compressed Air - Controls
3 | 19 SEER Split-System Air Conditioner | 3 | Occupancy Sensor | 3 | Compressed Air - System Optimization
4 | 14 SEER Split-System Heat Pump | 4 | Continuous Dimming | 4 | Compressed Air- Sizing
5 | 15 SEER Split-System Heat Pump | 5 | Lighting Control Tune-up | 5 | Comp Air - Replace 1-5 HP motor
6 | 17 SEER Split-System Heat Pump | 6 | CFL Screw-in 18W | 6 | Comp Air - ASD (1-5 hp)
7 | Sealed Attic w/Sprayed Foam Insulated Roof Deck | 7 | CFL Hardwired, Modular 18W | 7 | Comp Air - Motor practices (1-5 HP)
8 | AC Maintenance (Outdoor Coil Cleaning) | 8 | PSMH, 250W, magnetic ballast | 8 | Comp Air - Replace 6-100 HP motor
9 | AC Maintenance (Indoor Coil Cleaning) | 9 | High Bay T5 | 9 | Comp Air - ASD (6-100 hp)
10 | Proper Refrigerant Charging and Air Flow | 10 | LED Exit Sign | 10 | Comp Air - Motor practices (6-100 HP)
11 | Electronically Commutated Motors (ECM) on an Air Handler Unit | 11 | High Pressure Sodium 250W Lamp | 11 | Comp Air - Replace 100+ HP motor
12 | Duct Repair | 12 | Outdoor Lighting Controls (Photocell/Timeclock) | 12 | Comp Air - ASD (100+ hp)
13 | Reflective Roof | 13 | Centrifugal Chiller, 0.51 kW/ton, 500 tons | 13 | Comp Air - Motor practices (100+ HP)
14 | Radiant Barrier | 14 | High Efficiency Chiller Motors | 14 | Power recovery
15 | Window Film | 15 | EMS - Chiller | 15 | Refinery Controls
16 | Window Tinting | 16 | Chiller Tune Up/Diagnostics | 16 | Fans - O&M
17 | Default Window With Sunscreen | 17 | VSD for Chiller Pumps and Towers | 17 | Fans - Controls
18 | Single Pane Clear Windows to Double Pane Low-E Windows | 18 | EMS Optimization | 18 | Fans - System Optimization
19 | Ceiling R-0 to R-19 Insulation | 19 | Aerosol Duct Sealing | 19 | Fans- Improve components
20 | Ceiling R-19 to R-38 Insulation | 20 | Duct/Pipe Insulation | 20 | Fans - Replace 1-5 HP motor
21 | Wall 2x4 R-0 to Blow-In R-13 Insulation | 21 | Window Film (Standard) | 21 | Fans - ASD (1-5 hp)
22 | Weather Strip/Caulk w/Blower Door | 22 | Ceiling Insulation | 22 | Fans - Motor practices (1-5 HP)
23 | HE Room Air Conditioner - EER 11 | 23 | Roof Insulation | 23 | Fans - Replace 6-100 HP motor
24 | HE Room Air Conditioner - EER 12 | 24 | Cool Roof | 24 | Fans - ASD (6-100 hp)
25 | CFL (18-Watt integral ballast) | 25 | Thermal Energy Storage (TES) | 25 | Fans - Motor practices (6-100 HP)
26 | 2L4'T8, 1EB | 26 | DX Packaged System, EER=11.9, 10 tons | 26 | Fans - Replace 100+ HP motor
27 | HE Refrigerator - Energy Star version of above | 27 | Hybrid Desiccant-DX System (Trane CDQ) | 27 | Fans - ASD (100+ hp)
28 | HE Freezer | 28 | Geothermal Heat Pump, EER=13, 10 tons | 28 | Fans - Motor practices (100+ HP)
29 | Heat Pump Water Heater (EF=2.9) | 29 | DX Tune Up/ Advanced Diagnostics | 29 | Optimize drying process
30 | Solar Water Heater | 30 | DX Coil Cleaning | 30 | Pumps - O&M
31 | AC Heat Recovery Units | 31 | Optimize Controls | 31 | Pumps - Controls
32 | Low Flow Showerhead | 32 | Packaged HP System, EER=11.7, 10 tons | 32 | Pumps - System Optimization
33 | Pipe Wrap | 33 | HE PTAC, EER=9.6, 1 ton | 33 | Pumps - Sizing
34 | Faucet Aerators | 34 | Occupancy Sensor (hotels) | 34 | Pumps - Replace 1-5 HP motor
35 | Water Heater Blanket | 35 | High Efficiency Fan Motor, 15hp, 1800rpm, 92.4% | 35 | Pumps - ASD (1-5 hp)
36 | Water Heater Temperature Check and Adjustment | 36 | Variable Speed Drive Control | 36 | Pumps - Motor practices (1-5 HP)
37 | Water Heater Timeclock | 37 | Air Handler Optimization | 37 | Pumps - Replace 6-100 HP motor
38 | Heat Trap | 38 | Electronically Commutated Motors (ECM) on an Air Handler Unit | 38 | Pumps - ASD (6-100 hp)
39 | Energy Star CW CEE Tier 2 (MEF=2.0) | 39 | Demand Control Ventilation (DCV) | 39 | Pumps - Motor practices (6-100 HP)
40 | Energy Star CW CEE Tier 3 (MEF=2.2) | 40 | Energy Recovery Ventilation (ERV) | 40 | Pumps - Replace 100+ HP motor
41 | Energy Star DW (EF=0.68) | 41 | Separate Makeup Air / Exhaust Hoods AC | 41 | Pumps - ASD (100+ hp)
42 | Two Speed Pool Pump (1.5 hp) | 42 | High-efficiency fan motors | 42 | Pumps - Motor practices (100+ HP)
43 | High Efficiency One Speed Pool Pump (1.5 hp) | 43 | Strip curtains for walk-ins | 43 | Bakery - Process (Mixing) - O&M
44 | Variable-Speed Pool Pump (<1 hp) | 44 | Night covers for display cases | 44 | O&M/drives spinning machines
45 | PV-Powered Pool Pumps | 45 | Evaporator fan controller for MT walk-ins | 45 | Air conveying systems
46 | Energy Star TV | 46 | Efficient compressor motor | 46 | Replace V-Belts
47 | Energy Star Set-Top Box | 47 | Compressor VSD retrofit | 47 | Drives - EE motor
48 | Energy Star DVD Player | 48 | Floating head pressure controls | 48 | Gap Forming paper machine
49 | Energy Star VCR | 49 | Refrigeration Commissioning | 49 | High Consistency forming
50 | Energy Star Desktop PC | 50 | Demand Hot Gas Defrost | 50 | Optimization control PM
51 | Energy Star Laptop PC | 51 | Demand Defrost Electric | 51 | Efficient practices printing press
52 | LED (12-Watt) | 52 | Anti-sweat (humidistat) controls | 52 | Efficient Printing press (fewer cylinders)
53 | LED Directional 13W (Flood, Outdoor) | 53 | High R-Value Glass Doors | 53 | Light cylinders
54 | Refrigerator recycling | 54 | Multiplex Compressor System | 54 | Efficient drives
55 | Freezer recycling | 55 | Oversized Air Cooled Condenser | 55 | Clean Room - Controls
56 | Smart Plug | 56 | Freezer-Cooler Replacement Gaskets | 56 | Clean Room - New Designs
Demand Response Measures |  | 57 | LED Display Lighting | 57 | Drives - Process Controls (batch + site)
# | Measure Name | 58 | Heat Pump Water Heater (air source) | 58 | Process Drives - ASD
1 | A/C Cycling Switch w/ flat rate | 59 | Solar Water Heater | 59 | O&M - Extruders/Injection Molding
2 | A/C Shedding Switch w/flat rate | 60 | Demand controlled circulating systems | 60 | Extruders/Injection Moulding - multipump
3 | Smart Thermostats for A/C w/ CPP | 61 | Heat Recovery Unit | 61 | Direct drive Extruders
4 | On-Off Switching via low-power wireless networks for water heating | 62 | Heat Trap | 62 | Injection Molding - Impulse Cooling
5 | On-Off Switching via low-power wireless networks for pool systems | 63 | Hot Water Pipe Insulation | 63 | Injection Molding - Direct drive
6 | In-home displays and pre-set control strategies w/CPP | 64 | PC Manual Power Management Enabling | 64 | Efficient grinding
Renewable Energy Measures |  | 65 | PC Network Power Management Enabling | 65 | Process control
# | Measure Name | 66 | Energy Star or Better Monitor | 66 | Process optimization
1 | Photovoltaic | 67 | Monitor Power Management Enabling | 67 | Drives - Process Control
|  | 68 | Energy Star or Better Copier | 68 | Efficient drives - rolling
|  | 69 | Copier Power Management Enabling | 69 | Drives - Optimization process (M&T)
|  | 70 | Printer Power Management Enabling | 70 | Drives - Scheduling
|  | 71 | Convection Oven | 71 | Machinery
|  | 72 | Efficient Fryer | 72 | Efficient Machinery
|  | 73 | Vending Misers (cooled machines only) | 73 | Bakery - Process
|  | 74 | LED Linear Tube 22W | 74 | Drying (UV/IR)
|  | 75 | Flood LED 14W | 75 | Heat Pumps - Drying
|  | 76 | LED (12-Watt) | 76 | Top-heating (glass)
|  | 77 | Outdoor LED 104W | 77 | Efficient electric melting
|  | 78 | LED High Bay 83W (400W equivalent) | 78 | Intelligent extruder (DOE)
|  | 79 | Run Time Optimizer | 79 | Near Net Shape Casting
|  | 80 | Dehumidification hybrid desiccant heat pump | 80 | Heating - Process Control
|  | 81 | Ice Machine | 81 | Efficient Curing ovens
|  | 82 | 0.5 Faucet Aerator (DI) - Commercial | 82 | Heating - Optimization process (M&T)
|  | 83 | 1.0 gpm Faucet Aerator (DI) -Commercial | 83 | Heating - Scheduling
|  | 84 | 1.5 gpm Low Flow Showerhead (DI) - Commercial | 84 | Efficient Refrigeration - Operations
|  | 85 | Server Virtualization | 85 | Optimization Refrigeration
|  | 86 | Griddle | 86 | Other Process Controls (batch + site)
|  | 87 | Steamer | 87 | Efficient desalter
|  | 88 | Holding Cabinet | 88 | New transformers welding
|  | Demand Response Measures |  | 89 | Efficient processes (welding, etc.)
|  | # | Measure Name | 90 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
|  | 1 | Direct load Commercial control system | 91 | High Efficiency Chiller Motors
|  | 2 | Automated control strategies w/CPP | 92 | EMS - Chiller
|  | Renewable Energy Measures |  | 93 | Chiller Tune Up/Diagnostics
|  | # | Measure Name | 94 | VSD for Chiller Pumps and Towers
|  | 1 | Photovoltaic | 95 | EMS Optimization - Chiller
|  |  |  | 96 | Aerosol Duct Sealing
|  |  |  | 97 | Duct/Pipe Insulation
|  |  |  | 98 | Window Film
|  |  |  | 99 | Roof Insulation
|  |  |  | 100 | Cool Roof
|  |  |  | 101 | DX Packaged System, EER=11.9, 10 tons
|  |  |  | 102 | Hybrid Desiccant-DX System (Trane CDQ)
|  |  |  | 103 | Geothermal Heat Pump, EER=13, 10 tons
|  |  |  | 104 | DX Tune Up/ Advanced Diagnostics
|  |  |  | 105 | DX Coil Cleaning
|  |  |  | 106 | Optimize Controls
|  |  |  | 107 | Premium T8, Electronic Ballast
|  |  |  | 108 | CFL Hardwired, Modular 18W
|  |  |  | 109 | CFL Screw-in 18W
|  |  |  | 110 | High Bay T5
|  |  |  | 111 | Occupancy Sensor
|  |  |  | 112 | Membranes for wastewater
|  |  |  | 113 | Run Time Optimizer
|  |  |  | 114 | Dehumidification Hybrid Desiccant Heat Pump (5 Ton)
|  |  |  | 115 | LED Linear Tube 22W
|  |  |  | 116 | Flood LED 14W
|  |  |  | 117 | LED High Bay 83W
Demand Response Measures
|  |  |  | # | Measure Name
|  |  |  | 1 | Direct load Commercial control system
|  |  |  | 2 | Automated control strategies w/CPP
Renewable Energy Measures
|  |  |  | # | Measure Name
None