## Sheet1
Florida Power & Light Company
Docket No. 130199-EI
Staff's First Set of Interrogatories
Interrogatory No. 5
Attachment No. 1
Tab 1 of 1
Common Achievable Potential Measures to Both RIM and TRC Paths
Residential Measures
# | Measure Code | Measure Name
1 | RMF114 | Proper Refrigerant Charging and Air Flow - SS AC
2 | RMF115 | Electronically Commutated Motors (ECM) on an Air Handler Unit
3 | RMF116 | Duct Repair - SS AC
4 | RMF122 | Single Pane Clear Windows to Dbl Pane Low-E Windows - SS AC
5 | RMF124 | Ceiling R-0 to R-19 Insulation - SS AC
6 | RMF140 | Proper Refrigerant Charging and Air Flow
7 | RMF141 | Electronically Commutated Motors (ECM) on an Air Handler Unit
8 | RMF142 | Duct Repair - SS HP
9 | RMF148 | Single Pane Clear Windows to Dbl Pane Low-E Windows - SS HP
10 | RMF150 | Ceiling R-0 to R-19 Insulation - SS HP
11 | RMF202 | Ceiling R-0 to R-19 Insulation- Room AC
12 | RMO114 | Proper Refrigerant Charging and Air Flow - SS AC
13 | RMO115 | Electronically Commutated Motors (ECM) on an Air Handler Unit
14 | RMO124 | Ceiling R-0 to R-19 Insulation - SS AC
15 | RMO140 | Proper Refrigerant Charging and Air Flow
16 | RMO141 | Electronically Commutated Motors (ECM) on an Air Handler Unit
17 | RMO150 | Ceiling R-0 to R-19 Insulation - SS HP
18 | RMO202 | Ceiling R-0 to R-19 Insulation- Room AC
19 | RSF115 | Electronically Commutated Motors (ECM) on an Air Handler Unit
20 | RSF116 | Duct Repair - SS AC
21 | RSF124 | Ceiling R-0 to R-19 Insulation - SS AC
22 | RSF141 | Electronically Commutated Motors (ECM) on an Air Handler Unit
23 | RSF142 | Duct Repair - SS HP
24 | RSF150 | Ceiling R-0 to R-19 Insulation - SS HP
25 | RSF202 | Ceiling R-0 to R-19 Insulation- Room AC
26 | RSF950 | Residential Load Control
Commercial Measures
# | Measure Code | Measure Name
1 | CD111 | Premium T8, Electronic Ballast
2 | CD112 | Premium T8, EB, Reflector
3 | CD121 | ROB Premium T8, 1EB
4 | CD122 | ROB Premium T8, EB, Reflector
5 | CD141 | CFL Hardwired, Modular 18W
6 | CD151 | PSMH, 250W, magnetic ballast
7 | CD153 | High Bay T5
8 | CD154 | LED High Bay 83W
9 | CD301 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
10 | CD302 | High Efficiency Chiller Motors
11 | CD305 | Chiller - Tune Up/Diagnostics
12 | CD313 | Chiller - Ceiling Insulation
13 | CD321 | DX Packaged System, EER=10.9, 10 tons
14 | CD326 | DX Tune Up/ Advanced Diagnostics
15 | CD334 | DX -Ceiling Insulation
16 | CD338 | Dehumidification Hybrid Desiccant Heat Pump PER 5 TON
17 | CD341 | Packaged HP System, EER=10.9, 10 tons
18 | CD349 | HP-Ceiling Insulation
19 | CD362 | Occupancy Sensor (hotels)
20 | CD405 | Demand Control Ventilation (DCV)
21 | CD406 | Energy Recovery Ventilation (ERV)
22 | CL111 | Premium T8, Elecctronic Ballast
23 | CL112 | Premium T8, EB, Reflector
24 | CL121 | ROB Premium T8, 1EB
25 | CL122 | ROB Premium T8, EB, Reflector
26 | CL141 | CFL Hardwired, Modular 18W
27 | CL151 | PSMH, 250W, magnetic ballast
28 | CL154 | LED High Bay 83W
29 | CL301 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
30 | CL302 | High Efficiency Chiller Motors
31 | CL304 | Chiller - EMS
32 | CL305 | Chiller - Tune Up/Diagnostics
33 | CL313 | Chiller - Ceiling Insulation
34 | CL321 | DX Packaged System, EER=10.9, 10 tons
35 | CL326 | DX Tune Up/ Advanced Diagnostics
36 | CL334 | DX -Ceiling Insulation
37 | CL338 | Dehumidification Hybrid Desiccant Heat Pump PER 5 TON
38 | CL341 | Packaged HP System, EER=10.9, 10 tons
39 | CL349 | HP-Ceiling Insulation
40 | CL362 | Occupancy Sensor (hotels)
41 | CL405 | Demand Control Ventilation (DCV)
42 | CL406 | Energy Recovery Ventilation (ERV)
43 | CS111 | Premium T8, Elecctronic Ballast
44 | CS112 | Premium T8, EB, Reflector
45 | CS121 | ROB Premium T8, 1EB
46 | CS122 | ROB Premium T8, EB, Reflector
47 | CS132 | Flood LED 14W
48 | CS141 | CFL Hardwired, Modular 18W
49 | CS151 | PSMH, 250W, magnetic ballast
50 | CS153 | High Bay T5
51 | CS154 | LED High Bay 83W
52 | CS313 | Chiller - Ceiling Insulation
53 | CS326 | DX Tune Up/ Advanced Diagnostics
54 | CS334 | DX -Ceiling Insulation
55 | CS338 | Dehumidification Hybrid Desiccant Heat Pump PER 5 TON
56 | CS349 | HP-Ceiling Insulation
57 | CS405 | Demand Control Ventilation (DCV)
58 | CS406 | Energy Recovery Ventilation (ERV)
59 | BOCGS | Business On-Call - GS
60 | BOCGSD | Business On-Call - GS
61 | CDRGSD | Commercial Demand Response
62 | CDRGSLD | Commercial Demand Response
63 | CS317 | Thermal Energy Storage - GS
64 | CD317 | Thermal Energy Storage - GSD
65 | CL317 | Thermal Energy Storage - GSLD
Industrial Measures
# | Measure Code | Measure Name
1 | IND402 | O&M/drives spinning machines
2 | IND701 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
3 | IND721 | DX Packaged System, EER=10.9, 10 tons
4 | IND724 | DX Tune Up/ Advanced Diagnostics
5 | IND733 | Dehumidification Hybrid Desiccant Heat Pump PER 5 TON
6 | IND801 | Premium T8, Elecctronic Ballast
7 | IND802 | CFL Hardwired, Modular 18W
8 | IND804 | High Bay T5
9 | IND808 | LED High Bay 83W
10 | IND902 | Membranes for wastewater
11 | INL214 | Optimize drying process
12 | INL402 | O&M/drives spinning machines
13 | INL425 | Drives - Process Control
14 | INL426 | Efficient drives - rolling
15 | INL502 | Drying (UV/IR)
16 | INL503 | Heat Pumps - Drying
17 | INL505 | Efficient electric melting
18 | INL508 | Heating - Process Control
19 | INL603 | New transformers welding
20 | INL701 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
21 | INL721 | DX Packaged System, EER=10.9, 10 tons
22 | INL724 | DX Tune Up/ Advanced Diagnostics
23 | INL733 | Dehumidification Hybrid Desiccant Heat Pump PER 5 TON
24 | INL801 | Premium T8, Elecctronic Ballast
25 | INL802 | CFL Hardwired, Modular 18W
26 | INL808 | LED High Bay 83W
27 | INL902 | Membranes for wastewater