## Sheet1
Florida Power & Light Company
Docket No. 130199-EI
Staff's First Set of Interrogatories
Interrogatory No. 7
Attachment No. 1
Tab 1 of 1
List of Unique Measures Impacted by Sensitivity
Base Case w/CO2
RIM | [5 empty] | TRC
Now Passing |  |  | Now Failing |  |  | Now Passing |  |  | Now Failing
# | Measure Code | Measure Name | # | Measure Code | Measure Name | # | Measure Code | Measure Name | # | Measure Code | Measure Name
1 | CL161 | LED Exit Sign | 1 | CL111 | Premium T8, Electronic Ballast | 1 | CD610 | Hot Water Pipe Insulation | 1 | RMF121 | Default Window With Sunscreen - SS AC
2 | CL732 | Copier Power Management Enabling | 2 | CL112 | Premium T8, EB, Reflector | 2 | CL606 | Demand controlled circulating systems | 2 | RMF147 | Default Window With Sunscreen - SS HP
3 | IND425 | Drives - Process Control | 3 | CL121 | ROB Premium T8, 1EB | 3 | CS606 | Demand controlled circulating systems
4 | IND502 | Drying (UV/IR) | 4 | CL122 | ROB Premium T8, EB, Reflector
5 | IND503 | Heat Pumps - Drying | 5 | CL141 | CFL Hardwired, Modular 18W
6 | IND505 | Efficient electric melting | 6 | CL154 | LED High Bay 83W
7 | IND508 | Heating - Process Control | 7 | INL801 | Premium T8, Electronic Ballast
8 | INL428 | Drives - Scheduling | 8 | INL802 | CFL Hardwired, Modular 18W
9 | INL429 | Machinery | 9 | INL808 | LED High Bay 83W
10 | INL509 | Efficient Curing ovens | 10 | RMO121 | Default Window With Sunscreen - SS AC
11 | INL511 | Heating - Scheduling
12 | RSF127 | Weather Strip/Caulk w/Blower Door - SS AC
13 | RSF153 | Weather Strip/Caulk w/Blower Door - SS HP
14 | RSF205 | Weather Strip/Caulk w/Blower Door - Room AC
Sensitivity Case 1 : High Fuel Cost
RIM | [5 empty] | TRC
Now Passing |  |  | Now Failing |  |  | Now Passing |  |  | Now Failing
# | Measure Code | Measure Name | # | Measure Code | Measure Name | # | Measure Code | Measure Name | # | Measure Code | Measure Name
1 | CD304 | Chiller - EMS | 1 | CD153 | High Bay T5 | 1 | CD610 | Hot Water Pipe Insulation | 1 | CD153 | High Bay T5
2 | CD306 | Chiller - VSD for Pumps and Towers | 2 | CS132 | Flood LED 14W | 2 | CL517 | LED Display Lighting | 2 | CL161 | LED Exit Sign
3 | CD311 | Chiller - Window Film (Standard) | 3 | IND804 | High Bay T5 | 3 | CL606 | Demand controlled circulating systems | 3 | CL403 | Air Handler Optimization
4 | CD332 | DX -Window Film (Standard) | 4 | INL426 | Efficient drives - rolling | 4 | CS517 | LED Display Lighting | 4 | CL508 | Refrigeration Commissioning
5 | CD337 | Run Time Optimizer |  |  |  | 5 | CS606 | Demand controlled circulating systems | 5 | CS132 | Flood LED 14W
6 | CD347 | HP-Window Film (Standard) | [6 empty] | 6 | CS306 | Chiller - VSD for Pumps and Towers
7 | CD513 | High R-Value Glass Doors | [6 empty] | 7 | IND113 | Comp Air - Motor practices-1 (100+ HP)
8 | CD732 | Copier Power Management Enabling | [6 empty] | 8 | IND213 | Fans - Motor practices-1 (100+ HP)
9 | CL202 | Outdoor Lighting Controls Merc Vpr(Photocell/Timeclock) | [6 empty] | 9 | IND313 | Pumps - Motor practices-1 (100+ HP)
10 | CL306 | Chiller - VSD for Pumps and Towers | [6 empty] | 10 | IND426 | Efficient drives - rolling
11 | CL311 | Chiller - Window Film (Standard) | [6 empty] | 11 | IND804 | High Bay T5
12 | CL332 | DX -Window Film (Standard) | [6 empty] | 12 | INL113 | Comp Air - Motor practices-1 (100+ HP)
13 | CL337 | Run Time Optimizer | [6 empty] | 13 | INL213 | Fans - Motor practices-1 (100+ HP)
14 | CL347 | HP-Window Film (Standard) | [6 empty] | 14 | INL313 | Pumps - Motor practices-1 (100+ HP)
15 | CL402 | Variable Speed Drive Control | [6 empty] | 15 | INL426 | Efficient drives - rolling
16 | CL501 | High-efficiency fan motors
17 | CL504 | Evaporator fan controller for MT walk-ins
18 | CL506 | Compressor VSD retrofit
19 | CL509 | Demand Hot Gas Defrost
20 | CL513 | High R-Value Glass Doors
21 | CL514 | Multiplex Compressor System
22 | CL515 | Oversized Air Cooled Condenser
23 | CL517 | LED Display Lighting
24 | CL606 | Demand controlled circulating systems
25 | CL609 | Heat Trap
26 | CL610 | Hot Water Pipe Insulation
27 | CL732 | Copier Power Management Enabling
28 | CS305 | Chiller - Tune Up/Diagnostics
29 | CS321 | DX Packaged System, EER=10.9, 10 tons
30 | CS341 | Packaged HP System, EER=10.9, 10 tons
31 | CS362 | Occupancy Sensor (hotels)
32 | IND107 | Comp Air - Motor practices-1 (1-5 HP)
33 | IND110 | Comp Air - Motor practices-1 (6-100 HP)
34 | IND202 | Fans - Controls
35 | IND207 | Fans - Motor practices-1 (1-5 HP)
36 | IND210 | Fans - Motor practices-1 (6-100 HP)
37 | IND214 | Optimize drying process
38 | IND303 | Pumps - System Optimization
39 | IND307 | Pumps - Motor practices-1 (1-5 HP)
40 | IND310 | Pumps - Motor practices-1 (6-100 HP)
41 | IND410 | Efficient Printing press (fewer cylinders)
42 | IND412 | Efficient drives
43 | IND418 | Extruders/injection Moulding-multipump
44 | IND419 | Direct drive Extruders
45 | IND420 | Injection Moulding - Impulse Cooling
46 | IND421 | Injection Moulding - Direct drive
47 | IND425 | Drives - Process Control
48 | IND429 | Machinery
49 | IND502 | Drying (UV/IR)
50 | IND503 | Heat Pumps - Drying
51 | IND505 | Efficient electric melting
52 | IND508 | Heating - Process Control
53 | IND509 | Efficient Curing ovens
54 | IND552 | Optimization Refrigeration
55 | IND603 | New transformers welding
56 | IND604 | Efficient processes (welding, etc.)
57 | IND709 | Chiller -Window Film (Standard)
58 | IND729 | DX -Window Film (Standard)
59 | IND732 | Run Time Optimizer
60 | INL107 | Comp Air - Motor practices-1 (1-5 HP)
61 | INL110 | Comp Air - Motor practices-1 (6-100 HP)
62 | INL111 | Comp Air - Replace 100+ HP motor
63 | INL114 | Power recovery
64 | INL115 | Refinery Controls
65 | INL202 | Fans - Controls
66 | INL203 | Fans - System Optimization
67 | INL207 | Fans - Motor practices-1 (1-5 HP)
68 | INL210 | Fans - Motor practices-1 (6-100 HP)
69 | INL211 | Fans - Replace 100+ HP motor
70 | INL215 | Power recovery
71 | INL216 | Refinery Controls
72 | INL303 | Pumps - System Optimization
73 | INL307 | Pumps - Motor practices-1 (1-5 HP)
74 | INL310 | Pumps - Motor practices-1 (6-100 HP)
75 | INL311 | Pumps - Replace 100+ HP motor
76 | INL314 | Power recovery
77 | INL315 | Refinery Controls
78 | INL405 | Drives - EE motor
79 | INL408 | Optimization control PM
80 | INL410 | Efficient Printing press (fewer cylinders)
81 | INL412 | Efficient drives
82 | INL413 | Clean Room - Controls
83 | INL414 | Clean Room - New Designs
84 | INL416 | Process Drives - ASD
85 | INL418 | Extruders/injection Moulding-multipump
86 | INL419 | Direct drive Extruders
87 | INL420 | Injection Moulding - Impulse Cooling
88 | INL421 | Injection Moulding - Direct drive
89 | INL424 | Process optimization
90 | INL428 | Drives - Scheduling
91 | INL429 | Machinery
92 | INL430 | Efficient Machinery
93 | INL509 | Efficient Curing ovens
94 | INL511 | Heating - Scheduling
95 | INL552 | Optimization Refrigeration
96 | INL601 | Other Process Controls (batch + site)
97 | INL602 | Efficient desalter
98 | INL604 | Efficient processes (welding, etc.)
99 | INL605 | Process control
100 | INL606 | Power recovery
101 | INL607 | Refinery Controls
102 | INL703 | Chiller - EMS
103 | INL705 | Chiller VSD - for Pumps and Towers
104 | INL709 | Chiller -Window Film (Standard)
105 | INL729 | DX -Window Film (Standard)
106 | INL732 | Run Time Optimizer
107 | INL901 | Replace V-belts
108 | RMF200 | Single Pane Clear Windows to Dbl Pane Low-E Windows - Room AC
109 | RMO116 | Duct Repair - SS AC
110 | RMO120 | Window Tinting - SS AC
111 | RMO142 | Duct Repair - SS HP
112 | RMO146 | Window Tinting - SS HP
113 | RSF127 | Weather Strip/Caulk w/Blower Door - SS AC
114 | RSF153 | Weather Strip/Caulk w/Blower Door - SS HP
115 | RSF205 | Weather Strip/Caulk w/Blower Door - Room AC
Sensitivity Case 2 : Low Fuel Cost
RIM | [5 empty] | TRC
Now Passing |  |  | Now Failing |  |  | Now Passing |  |  | Now Failing
# | Measure Code | Measure Name | # | Measure Code | Measure Name | # | Measure Code | Measure Name | # | Measure Code | Measure Name
1 | RSF114 | Proper Refrigerant Charging and Air Flow - SS AC | 1 | CD111 | Premium T8, Electronic Ballast | 1 | RSF114 | Proper Refrigerant Charging and Air Flow - SS AC | 1 | CD153 | High Bay T5
2 | RSF140 | Proper Refrigerant Charging and Air Flow | 2 | CD112 | Premium T8, EB, Reflector | 2 | RSF140 | Proper Refrigerant Charging and Air Flow | 2 | CD202 | Outdoor Lighting Controls Merc Vpr(Photocell/Timeclock)
|  |  | 3 | CD121 | ROB Premium T8, 1EB |  |  |  | 3 | CD362 | Occupancy Sensor (hotels)
|  |  | 4 | CD122 | ROB Premium T8, EB, Reflector |  |  |  | 4 | CD515 | Oversized Air Cooled Condenser
|  |  | 5 | CD141 | CFL Hardwired, Modular 18W |  |  |  | 5 | CL161 | LED Exit Sign
|  |  | 6 | CD151 | PSMH, 250W, magnetic ballast |  |  |  | 6 | CL202 | Outdoor Lighting Controls Merc Vpr(Photocell/Timeclock)
|  |  | 7 | CD153 | High Bay T5 |  |  |  | 7 | CL362 | Occupancy Sensor (hotels)
|  |  | 8 | CD154 | LED High Bay 83W |  |  |  | 8 | CL403 | Air Handler Optimization
|  |  | 9 | CD301 | Centrifugal Chiller, 0.51 kW/ton, 500 tons |  |  |  | 9 | CL508 | Refrigeration Commissioning
|  |  | 10 | CD302 | High Efficiency Chiller Motors |  |  |  | 10 | CS132 | Flood LED 14W
|  |  | 11 | CD305 | Chiller - Tune Up/Diagnostics |  |  |  | 11 | CS202 | Outdoor Lighting Controls Merc Vpr(Photocell/Timeclock)
|  |  | 12 | CD321 | DX Packaged System, EER=10.9, 10 tons |  |  |  | 12 | CS306 | Chiller - VSD for Pumps and Towers
|  |  | 13 | CD326 | DX Tune Up/ Advanced Diagnostics |  |  |  | 13 | CS362 | Occupancy Sensor (hotels)
|  |  | 14 | CD341 | Packaged HP System, EER=10.9, 10 tons |  |  |  | 14 | IND113 | Comp Air - Motor practices-1 (100+ HP)
|  |  | 15 | CD362 | Occupancy Sensor (hotels) |  |  |  | 15 | IND213 | Fans - Motor practices-1 (100+ HP)
|  |  | 16 | CL111 | Premium T8, Electronic Ballast |  |  |  | 16 | IND307 | Pumps - Motor practices-1 (1-5 HP)
|  |  | 17 | CL112 | Premium T8, EB, Reflector |  |  |  | 17 | IND313 | Pumps - Motor practices-1 (100+ HP)
|  |  | 18 | CL121 | ROB Premium T8, 1EB |  |  |  | 18 | IND426 | Efficient drives - rolling
|  |  | 19 | CL122 | ROB Premium T8, EB, Reflector |  |  |  | 19 | IND503 | Heat Pumps - Drying
|  |  | 20 | CL141 | CFL Hardwired, Modular 18W |  |  |  | 20 | IND804 | High Bay T5
|  |  | 21 | CL151 | PSMH, 250W, magnetic ballast |  |  |  | 21 | INL113 | Comp Air - Motor practices-1 (100+ HP)
|  |  | 22 | CL154 | LED High Bay 83W |  |  |  | 22 | INL213 | Fans - Motor practices-1 (100+ HP)
|  |  | 23 | CL301 | Centrifugal Chiller, 0.51 kW/ton, 500 tons |  |  |  | 23 | INL307 | Pumps - Motor practices-1 (1-5 HP)
|  |  | 24 | CL302 | High Efficiency Chiller Motors |  |  |  | 24 | INL313 | Pumps - Motor practices-1 (100+ HP)
|  |  | 25 | CL304 | Chiller - EMS |  |  |  | 25 | INL503 | Heat Pumps - Drying
|  |  | 26 | CL305 | Chiller - Tune Up/Diagnostics |  |  |  | 26 | RMF120 | Window Tinting - SS AC
|  |  | 27 | CL321 | DX Packaged System, EER=10.9, 10 tons |  |  |  | 27 | RMF146 | Window Tinting - SS HP
|  |  | 28 | CL326 | DX Tune Up/ Advanced Diagnostics |  |  |  | 28 | RMF147 | Default Window With Sunscreen - SS HP
|  |  | 29 | CL341 | Packaged HP System, EER=10.9, 10 tons
|  |  | 30 | CL362 | Occupancy Sensor (hotels)
|  |  | 31 | CS132 | Flood LED 14W
|  |  | 32 | CS151 | PSMH, 250W, magnetic ballast
|  |  | 33 | CS326 | DX Tune Up/ Advanced Diagnostics
|  |  | 34 | CS338 | Dehumidification Hybrid Desiccant Heat Pump PER 5 TON
|  |  | 35 | IND402 | O&M/drives spinning machines
|  |  | 36 | IND701 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
|  |  | 37 | IND721 | DX Packaged System, EER=10.9, 10 tons
|  |  | 38 | IND724 | DX Tune Up/ Advanced Diagnostics
|  |  | 39 | IND801 | Premium T8, Electronic Ballast
|  |  | 40 | IND802 | CFL Hardwired, Modular 18W
|  |  | 41 | IND804 | High Bay T5
|  |  | 42 | IND808 | LED High Bay 83W
|  |  | 43 | IND902 | Membranes for wastewater
|  |  | 44 | INL214 | Optimize drying process
|  |  | 45 | INL402 | O&M/drives spinning machines
|  |  | 46 | INL425 | Drives - Process Control
|  |  | 47 | INL426 | Efficient drives - rolling
|  |  | 48 | INL502 | Drying (UV/IR)
|  |  | 49 | INL503 | Heat Pumps - Drying
|  |  | 50 | INL505 | Efficient electric melting
|  |  | 51 | INL508 | Heating - Process Control
|  |  | 52 | INL603 | New transformers welding
|  |  | 53 | INL701 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
|  |  | 54 | INL721 | DX Packaged System, EER=10.9, 10 tons
|  |  | 55 | INL724 | DX Tune Up/ Advanced Diagnostics
|  |  | 56 | INL801 | Premium T8, Electronic Ballast
|  |  | 57 | INL802 | CFL Hardwired, Modular 18W
|  |  | 58 | INL808 | LED High Bay 83W
|  |  | 59 | INL902 | Membranes for wastewater
|  |  | 60 | RSF103 | 17 SEER Split-System Air Conditioner
Sensitivity Case 3 : 1 Year Payback Period
RIM | [5 empty] | TRC
Now Passing |  |  | Now Failing |  |  | Now Passing |  |  | Now Failing
# | Measure Code | Measure Name | # | Measure Code | Measure Name | # | Measure Code | Measure Name | # | Measure Code | Measure Name
1 | CD124 | Lighting Control Tuneup |  |  |  | 1 | CD124 | Lighting Control Tuneup
2 | CD132 | Flood LED 14W |  |  |  | 2 | CD132 | Flood LED 14W
3 | CD308 | Chiller - Aerosole Duct Sealing |  |  |  | 3 | CD161 | LED Exit Sign
4 | CD361 | HE PTAC, EER=9.6, 1 ton |  |  |  | 4 | CD307 | Chiller - EMS Optimization
5 | CD813 | Steamer |  |  |  | 5 | CD308 | Chiller - Aerosole Duct Sealing
6 | CL124 | Lighting Control Tuneup |  |  |  | 6 | CD328 | DX - Optimize Controls
7 | CL132 | Flood LED 14W |  |  |  | 7 | CD361 | HE PTAC, EER=9.6, 1 ton
8 | CL153 | High Bay T5 |  |  |  | 8 | CD403 | Air Handler Optimization
9 | CL308 | Chiller - Aerosole Duct Sealing |  |  |  | 9 | CD503 | Night covers for display cases
10 | CL361 | HE PTAC, EER=9.6, 1 ton |  |  |  | 10 | CD508 | Refrigeration Commissioning
11 | CL813 | Steamer |  |  |  | 11 | CD603 | Heat Pump Water Heater (air source)
12 | CS124 | Lighting Control Tuneup |  |  |  | 12 | CD741 | Printer Power Management Enabling
13 | IND807 | Flood LED 14W |  |  |  | 13 | CD813 | Steamer
14 | INL404 | Replace V-Belts |  |  |  | 14 | CD901 | Vending Misers (cooled machines only)
15 | INL507 | Near Net Shape Casting |  |  |  | 15 | CL124 | Lighting Control Tuneup
16 | INL510 | Heating - Optimization process (M&T) |  |  |  | 16 | CL132 | Flood LED 14W
17 | INL804 | High Bay T5 |  |  |  | 17 | CL153 | High Bay T5
18 | INL807 | Flood LED 14W |  |  |  | 18 | CL307 | Chiller - EMS Optimization
19 | RSF114 | Proper Refrigerant Charging and Air Flow - SS AC |  |  |  | 19 | CL308 | Chiller - Aerosole Duct Sealing
20 | RSF140 | Proper Refrigerant Charging and Air Flow |  |  |  | 20 | CL328 | DX - Optimize Controls
[6 empty] | 21 | CL361 | HE PTAC, EER=9.6, 1 ton
[6 empty] | 22 | CL503 | Night covers for display cases
[6 empty] | 23 | CL603 | Heat Pump Water Heater (air source)
[6 empty] | 24 | CL741 | Printer Power Management Enabling
[6 empty] | 25 | CL813 | Steamer
[6 empty] | 26 | CL901 | Vending Misers (cooled machines only)
[6 empty] | 27 | CS124 | Lighting Control Tuneup
[6 empty] | 28 | CS161 | LED Exit Sign
[6 empty] | 29 | CS307 | Chiller - EMS Optimization
[6 empty] | 30 | CS361 | HE PTAC, EER=9.6, 1 ton
[6 empty] | 31 | CS403 | Air Handler Optimization
[6 empty] | 32 | CS508 | Refrigeration Commissioning
[6 empty] | 33 | CS603 | Heat Pump Water Heater (air source)
[6 empty] | 34 | CS609 | Heat Trap
[6 empty] | 35 | CS741 | Printer Power Management Enabling
[6 empty] | 36 | CS813 | Steamer
[6 empty] | 37 | CS901 | Vending Misers (cooled machines only)
[6 empty] | 38 | IND102 | Compressed Air - Controls
[6 empty] | 39 | IND103 | Compressed Air - System Optimization
[6 empty] | 40 | IND112 | Comp Air - ASD (100+ hp)
[6 empty] | 41 | IND204 | Fans- Improve components
[6 empty] | 42 | IND212 | Fans - ASD (100+ hp)
[6 empty] | 43 | IND302 | Pumps - Controls
[6 empty] | 44 | IND304 | Pumps - Sizing
[6 empty] | 45 | IND312 | Pumps - ASD (100+ hp)
[6 empty] | 46 | IND403 | Air conveying systems
[6 empty] | 47 | IND404 | Replace V-Belts
[6 empty] | 48 | IND406 | Gap Forming papermachine
[6 empty] | 49 | IND407 | High Consistency forming
[6 empty] | 50 | IND409 | Efficient practices printing press
[6 empty] | 51 | IND423 | Process control
[6 empty] | 52 | IND427 | Drives - Optimization process (M&T)
[6 empty] | 53 | IND501 | Bakery - Process
[6 empty] | 54 | IND504 | Top-heating (glass)
[6 empty] | 55 | IND507 | Near Net Shape Casting
[6 empty] | 56 | IND510 | Heating - Optimization process (M&T)
[6 empty] | 57 | IND702 | High Efficiency Chiller Motors
[6 empty] | 58 | IND704 | Chiller- Tune Up/Diagnostics
[6 empty] | 59 | IND726 | DX -Optimize Controls
[6 empty] | 60 | IND807 | Flood LED 14W
[6 empty] | 61 | INL102 | Compressed Air - Controls
[6 empty] | 62 | INL103 | Compressed Air - System Optimization
[6 empty] | 63 | INL112 | Comp Air - ASD (100+ hp)
[6 empty] | 64 | INL204 | Fans- Improve components
[6 empty] | 65 | INL212 | Fans - ASD (100+ hp)
[6 empty] | 66 | INL302 | Pumps - Controls
[6 empty] | 67 | INL304 | Pumps - Sizing
[6 empty] | 68 | INL312 | Pumps - ASD (100+ hp)
[6 empty] | 69 | INL403 | Air conveying systems
[6 empty] | 70 | INL404 | Replace V-Belts
[6 empty] | 71 | INL406 | Gap Forming papermachine
[6 empty] | 72 | INL407 | High Consistency forming
[6 empty] | 73 | INL409 | Efficient practices printing press
[6 empty] | 74 | INL423 | Process control
[6 empty] | 75 | INL427 | Drives - Optimization process (M&T)
[6 empty] | 76 | INL501 | Bakery - Process
[6 empty] | 77 | INL504 | Top-heating (glass)
[6 empty] | 78 | INL507 | Near Net Shape Casting
[6 empty] | 79 | INL510 | Heating - Optimization process (M&T)
[6 empty] | 80 | INL702 | High Efficiency Chiller Motors
[6 empty] | 81 | INL704 | Chiller- Tune Up/Diagnostics
[6 empty] | 82 | INL726 | DX -Optimize Controls
[6 empty] | 83 | INL804 | High Bay T5
[6 empty] | 84 | INL807 | Flood LED 14W
[6 empty] | 85 | RMF302 | Fridge Appliance Recycling
[6 empty] | 86 | RMF352 | Freeze Appliance Recycling
[6 empty] | 87 | RMO302 | Fridge Appliance Recycling
[6 empty] | 88 | RMO352 | Freeze Appliance Recycling
[6 empty] | 89 | RSF114 | Proper Refrigerant Charging and Air Flow - SS AC
[6 empty] | 90 | RSF140 | Proper Refrigerant Charging and Air Flow
[6 empty] | 91 | RSF302 | Fridge Appliance Recycling
[6 empty] | 92 | RSF352 | Freeze Appliance Recycling
[6 empty] | 93 | RSF802 | High Efficiency One Speed Pool Pump (1.5 hp)
Sensitivity Case 4 : 3 Year Payback Period
RIM | [5 empty] | TRC
Now Passing |  |  | Now Failing |  |  | Now Passing |  |  | Now Failing
# | Measure Code | Measure Name | # | Measure Code | Measure Name | # | Measure Code | Measure Name | # | Measure Code | Measure Name
|  |  | 1 | CD111 | Premium T8, Electronic Ballast |  |  |  | 1 | CD111 | Premium T8, Electronic Ballast
|  |  | 2 | CD112 | Premium T8, EB, Reflector |  |  |  | 2 | CD112 | Premium T8, EB, Reflector
|  |  | 3 | CD121 | ROB Premium T8, 1EB |  |  |  | 3 | CD121 | ROB Premium T8, 1EB
|  |  | 4 | CD122 | ROB Premium T8, EB, Reflector |  |  |  | 4 | CD122 | ROB Premium T8, EB, Reflector
|  |  | 5 | CD141 | CFL Hardwired, Modular 18W |  |  |  | 5 | CD141 | CFL Hardwired, Modular 18W
|  |  | 6 | CD153 | High Bay T5 |  |  |  | 6 | CD153 | High Bay T5
|  |  | 7 | CD154 | LED High Bay 83W |  |  |  | 7 | CD154 | LED High Bay 83W
|  |  | 8 | CD301 | Centrifugal Chiller, 0.51 kW/ton, 500 tons |  |  |  | 8 | CD301 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
|  |  | 9 | CD305 | Chiller - Tune Up/Diagnostics |  |  |  | 9 | CD304 | Chiller - EMS
|  |  | 10 | CD313 | Chiller - Ceiling Insulation |  |  |  | 10 | CD305 | Chiller - Tune Up/Diagnostics
|  |  | 11 | CD326 | DX Tune Up/ Advanced Diagnostics |  |  |  | 11 | CD306 | Chiller - VSD for Pumps and Towers
|  |  | 12 | CD334 | DX -Ceiling Insulation |  |  |  | 12 | CD313 | Chiller - Ceiling Insulation
|  |  | 13 | CD349 | HP-Ceiling Insulation |  |  |  | 13 | CD326 | DX Tune Up/ Advanced Diagnostics
|  |  | 14 | CL111 | Premium T8, Electronic Ballast |  |  |  | 14 | CD334 | DX -Ceiling Insulation
|  |  | 15 | CL112 | Premium T8, EB, Reflector |  |  |  | 15 | CD349 | HP-Ceiling Insulation
|  |  | 16 | CL121 | ROB Premium T8, 1EB |  |  |  | 16 | CD608 | Heat Recovery Unit
|  |  | 17 | CL122 | ROB Premium T8, EB, Reflector |  |  |  | 17 | CD609 | Heat Trap
|  |  | 18 | CL141 | CFL Hardwired, Modular 18W |  |  |  | 18 | CL111 | Premium T8, Electronic Ballast
|  |  | 19 | CL154 | LED High Bay 83W |  |  |  | 19 | CL112 | Premium T8, EB, Reflector
|  |  | 20 | CL301 | Centrifugal Chiller, 0.51 kW/ton, 500 tons |  |  |  | 20 | CL121 | ROB Premium T8, 1EB
|  |  | 21 | CL304 | Chiller - EMS |  |  |  | 21 | CL122 | ROB Premium T8, EB, Reflector
|  |  | 22 | CL305 | Chiller - Tune Up/Diagnostics |  |  |  | 22 | CL141 | CFL Hardwired, Modular 18W
|  |  | 23 | CL313 | Chiller - Ceiling Insulation |  |  |  | 23 | CL154 | LED High Bay 83W
|  |  | 24 | CL326 | DX Tune Up/ Advanced Diagnostics |  |  |  | 24 | CL161 | LED Exit Sign
|  |  | 25 | CL334 | DX -Ceiling Insulation |  |  |  | 25 | CL301 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
|  |  | 26 | CL349 | HP-Ceiling Insulation |  |  |  | 26 | CL304 | Chiller - EMS
|  |  | 27 | CS111 | Premium T8, Electronic Ballast |  |  |  | 27 | CL305 | Chiller - Tune Up/Diagnostics
|  |  | 28 | CS112 | Premium T8, EB, Reflector |  |  |  | 28 | CL306 | Chiller - VSD for Pumps and Towers
|  |  | 29 | CS121 | ROB Premium T8, 1EB |  |  |  | 29 | CL313 | Chiller - Ceiling Insulation
|  |  | 30 | CS122 | ROB Premium T8, EB, Reflector |  |  |  | 30 | CL326 | DX Tune Up/ Advanced Diagnostics
|  |  | 31 | CS132 | Flood LED 14W |  |  |  | 31 | CL334 | DX -Ceiling Insulation
|  |  | 32 | CS141 | CFL Hardwired, Modular 18W |  |  |  | 32 | CL349 | HP-Ceiling Insulation
|  |  | 33 | CS153 | High Bay T5 |  |  |  | 33 | CL403 | Air Handler Optimization
|  |  | 34 | CS326 | DX Tune Up/ Advanced Diagnostics |  |  |  | 34 | CL508 | Refrigeration Commissioning
|  |  | 35 | IND402 | O&M/drives spinning machines |  |  |  | 35 | CL608 | Heat Recovery Unit
|  |  | 36 | IND701 | Centrifugal Chiller, 0.51 kW/ton, 500 tons |  |  |  | 36 | CL609 | Heat Trap
|  |  | 37 | IND724 | DX Tune Up/ Advanced Diagnostics |  |  |  | 37 | CS111 | Premium T8, Electronic Ballast
|  |  | 38 | IND801 | Premium T8, Electronic Ballast |  |  |  | 38 | CS112 | Premium T8, EB, Reflector
|  |  | 39 | IND802 | CFL Hardwired, Modular 18W |  |  |  | 39 | CS121 | ROB Premium T8, 1EB
|  |  | 40 | IND804 | High Bay T5 |  |  |  | 40 | CS122 | ROB Premium T8, EB, Reflector
|  |  | 41 | IND808 | LED High Bay 83W |  |  |  | 41 | CS132 | Flood LED 14W
|  |  | 42 | INL402 | O&M/drives spinning machines |  |  |  | 42 | CS141 | CFL Hardwired, Modular 18W
|  |  | 43 | INL426 | Efficient drives - rolling |  |  |  | 43 | CS153 | High Bay T5
|  |  | 44 | INL603 | New transformers welding |  |  |  | 44 | CS202 | Outdoor Lighting Controls Merc Vpr(Photocell/Timeclock)
|  |  | 45 | INL701 | Centrifugal Chiller, 0.51 kW/ton, 500 tons |  |  |  | 45 | CS304 | Chiller - EMS
|  |  | 46 | INL724 | DX Tune Up/ Advanced Diagnostics |  |  |  | 46 | CS305 | Chiller - Tune Up/Diagnostics
|  |  | 47 | INL801 | Premium T8, Electronic Ballast |  |  |  | 47 | CS306 | Chiller - VSD for Pumps and Towers
|  |  | 48 | INL802 | CFL Hardwired, Modular 18W |  |  |  | 48 | CS326 | DX Tune Up/ Advanced Diagnostics
|  |  | 49 | INL808 | LED High Bay 83W |  |  |  | 49 | CS402 | Variable Speed Drive Control
|  |  | 50 | RMF114 | Proper Refrigerant Charging and Air Flow - SS AC |  |  |  | 50 | CS504 | Evaporator fan controller for MT walk-ins
|  |  | 51 | RMF140 | Proper Refrigerant Charging and Air Flow |  |  |  | 51 | CS506 | Compressor VSD retrofit
|  |  | 52 | RMO114 | Proper Refrigerant Charging and Air Flow - SS AC |  |  |  | 52 | CS608 | Heat Recovery Unit
|  |  | 53 | RMO140 | Proper Refrigerant Charging and Air Flow |  |  |  | 53 | CS732 | Copier Power Management Enabling
[9 empty] | 54 | IND113 | Comp Air - Motor practices-1 (100+ HP)
[9 empty] | 55 | IND115 | Refinery Controls
[9 empty] | 56 | IND213 | Fans - Motor practices-1 (100+ HP)
[9 empty] | 57 | IND214 | Optimize drying process
[9 empty] | 58 | IND216 | Refinery Controls
[9 empty] | 59 | IND303 | Pumps - System Optimization
[9 empty] | 60 | IND313 | Pumps - Motor practices-1 (100+ HP)
[9 empty] | 61 | IND315 | Refinery Controls
[9 empty] | 62 | IND402 | O&M/drives spinning machines
[9 empty] | 63 | IND405 | Drives - EE motor
[9 empty] | 64 | IND412 | Efficient drives
[9 empty] | 65 | IND426 | Efficient drives - rolling
[9 empty] | 66 | IND429 | Machinery
[9 empty] | 67 | IND430 | Efficient Machinery
[9 empty] | 68 | IND602 | Efficient desalter
[9 empty] | 69 | IND603 | New transformers welding
[9 empty] | 70 | IND604 | Efficient processes (welding, etc.)
[9 empty] | 71 | IND607 | Refinery Controls
[9 empty] | 72 | IND701 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
[9 empty] | 73 | IND724 | DX Tune Up/ Advanced Diagnostics
[9 empty] | 74 | IND801 | Premium T8, Electronic Ballast
[9 empty] | 75 | IND802 | CFL Hardwired, Modular 18W
[9 empty] | 76 | IND804 | High Bay T5
[9 empty] | 77 | IND808 | LED High Bay 83W
[9 empty] | 78 | IND901 | Replace V-belts
[9 empty] | 79 | INL113 | Comp Air - Motor practices-1 (100+ HP)
[9 empty] | 80 | INL115 | Refinery Controls
[9 empty] | 81 | INL213 | Fans - Motor practices-1 (100+ HP)
[9 empty] | 82 | INL216 | Refinery Controls
[9 empty] | 83 | INL303 | Pumps - System Optimization
[9 empty] | 84 | INL313 | Pumps - Motor practices-1 (100+ HP)
[9 empty] | 85 | INL315 | Refinery Controls
[9 empty] | 86 | INL402 | O&M/drives spinning machines
[9 empty] | 87 | INL405 | Drives - EE motor
[9 empty] | 88 | INL412 | Efficient drives
[9 empty] | 89 | INL426 | Efficient drives - rolling
[9 empty] | 90 | INL429 | Machinery
[9 empty] | 91 | INL430 | Efficient Machinery
[9 empty] | 92 | INL602 | Efficient desalter
[9 empty] | 93 | INL603 | New transformers welding
[9 empty] | 94 | INL604 | Efficient processes (welding, etc.)
[9 empty] | 95 | INL607 | Refinery Controls
[9 empty] | 96 | INL701 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
[9 empty] | 97 | INL724 | DX Tune Up/ Advanced Diagnostics
[9 empty] | 98 | INL801 | Premium T8, Electronic Ballast
[9 empty] | 99 | INL802 | CFL Hardwired, Modular 18W
[9 empty] | 100 | INL808 | LED High Bay 83W
[9 empty] | 101 | INL901 | Replace V-belts
[9 empty] | 102 | RMF114 | Proper Refrigerant Charging and Air Flow - SS AC
[9 empty] | 103 | RMF140 | Proper Refrigerant Charging and Air Flow
[9 empty] | 104 | RMO114 | Proper Refrigerant Charging and Air Flow - SS AC
[9 empty] | 105 | RMO140 | Proper Refrigerant Charging and Air Flow
[9 empty] | 106 | RSF801 | Two Speed Pool Pump (1.5 hp)
[9 empty] | 107 | RSF803 | Variable-Speed Pool Pump (<1 hp)