## RIM
Florida Power & Light Company
Docket No. 130199-EI
Staff's Second Set of Interrogatories
Interrogatory No. 41
Attachment No. 1
Tab 1 of 2
RIM Preliminary Cost-Effectiveness Screening
Measures Removed With Three Year Payback
Residential Measures
# | Measure Code | Measure Name | Participant Payback Period
1 | RMF114 | Proper Refrigerant Charging and Air Flow - SS AC | 2.4967
2 | RMF140 | Proper Refrigerant Charging and Air Flow | 2.4967
3 | RMO114 | Proper Refrigerant Charging and Air Flow - SS AC | 2.6179
4 | RMO140 | Proper Refrigerant Charging and Air Flow | 2.6179
Commercial Measures
# | Measure Code | Measure Name | Participant Payback Period
1 | CD111 | Premium T8, Electronic Ballast | 2.2975
2 | CD112 | Premium T8, EB, Reflector | 2.4027
3 | CD121 | ROB Premium T8, 1EB | 2.2975
4 | CD122 | ROB Premium T8, EB, Reflector | 2.4027
5 | CD141 | CFL Hardwired, Modular 18W | 2.3999
6 | CD153 | High Bay T5 | 2.0075
7 | CD154 | LED High Bay 83W | 2.7155
8 | CD301 | Centrifugal Chiller, 0.51 kW/ton, 500 tons | 2.8886
9 | CD305 | Chiller - Tune Up/Diagnostics | 2.3326
10 | CD313 | Chiller - Ceiling Insulation | 2.6502
11 | CD326 | DX Tune Up/ Advanced Diagnostics | 2.7206
12 | CD334 | DX -Ceiling Insulation | 2.6502
13 | CD349 | HP-Ceiling Insulation | 2.6502
14 | CL111 | Premium T8, Electronic Ballast | 2.2496
15 | CL112 | Premium T8, EB, Reflector | 2.3527
16 | CL121 | ROB Premium T8, 1EB | 2.2496
17 | CL122 | ROB Premium T8, EB, Reflector | 2.3527
18 | CL141 | CFL Hardwired, Modular 18W | 2.3499
19 | CL154 | LED High Bay 83W | 2.6589
20 | CL301 | Centrifugal Chiller, 0.51 kW/ton, 500 tons | 2.9632
21 | CL304 | Chiller - EMS | 2.8054
22 | CL305 | Chiller - Tune Up/Diagnostics | 2.3383
23 | CL313 | Chiller - Ceiling Insulation | 2.5618
24 | CL326 | DX Tune Up/ Advanced Diagnostics | 2.7141
25 | CL334 | DX -Ceiling Insulation | 2.5618
26 | CL349 | HP-Ceiling Insulation | 2.5618
27 | CS111 | Premium T8, Electronic Ballast | 2.5699
28 | CS112 | Premium T8, EB, Reflector | 2.6876
29 | CS121 | ROB Premium T8, 1EB | 2.5699
30 | CS122 | ROB Premium T8, EB, Reflector | 2.6876
31 | CS132 | Flood LED 14W | 2.0419
32 | CS141 | CFL Hardwired, Modular 18W | 2.6844
33 | CS153 | High Bay T5 | 2.2296
34 | CS326 | DX Tune Up/ Advanced Diagnostics | 2.6135
Industrial Measures
# | Measure Code | Measure Name | Participant Payback Period
1 | IND402 | O&M/drives spinning machines | 2.1423
2 | IND701 | Centrifugal Chiller, 0.51 kW/ton, 500 tons | 2.8886
3 | IND724 | DX Tune Up/ Advanced Diagnostics | 2.7206
4 | IND801 | Premium T8, Electronic Ballast | 2.2975
5 | IND802 | CFL Hardwired, Modular 18W | 2.3999
6 | IND804 | High Bay T5 | 2.0078
7 | IND808 | LED High Bay 83W | 2.6927
8 | INL402 | O&M/drives spinning machines | 2.1573
9 | INL426 | Efficient drives - rolling | 2.1094
10 | INL603 | New transformers welding | 2.4403
11 | INL701 | Centrifugal Chiller, 0.51 kW/ton, 500 tons | 2.9632
12 | INL724 | DX Tune Up/ Advanced Diagnostics | 2.7141
13 | INL801 | Premium T8, Electronic Ballast | 2.2496
14 | INL802 | CFL Hardwired, Modular 18W | 2.3499
15 | INL808 | LED High Bay 83W | 2.6366

## TRC
Florida Power & Light Company
Docket No. 130199-EI
Staff's Second Set of Interrogatories
Interrogatory No. 41
Attachment No. 1
Tab 2 of 2
TRC Preliminary Cost-Effectiveness Screening
Measures Removed With Three Year Payback
Residential Measures
# | Measure Code | Measure Name | Participant Payback Period
102 | RMF114 | Proper Refrigerant Charging and Air Flow - SS AC | 2.4967
103 | RMF140 | Proper Refrigerant Charging and Air Flow | 2.4967
104 | RMO114 | Proper Refrigerant Charging and Air Flow - SS AC | 2.6179
105 | RMO140 | Proper Refrigerant Charging and Air Flow | 2.6179
106 | RSF801 | Two Speed Pool Pump (1.5 hp) | 2.6771
107 | RSF803 | Variable-Speed Pool Pump (<1 hp) | 2.7617
Commercial Measures
# | Measure Code | Measure Name | Participant Payback Period
1 | CD111 | Premium T8, Electronic Ballast | 2.2975
2 | CD112 | Premium T8, EB, Reflector | 2.4027
3 | CD121 | ROB Premium T8, 1EB | 2.2975
4 | CD122 | ROB Premium T8, EB, Reflector | 2.4027
5 | CD141 | CFL Hardwired, Modular 18W | 2.3999
6 | CD153 | High Bay T5 | 2.0075
7 | CD154 | LED High Bay 83W | 2.7155
8 | CD301 | Centrifugal Chiller, 0.51 kW/ton, 500 tons | 2.8886
9 | CD304 | Chiller - EMS | 2.7394
10 | CD305 | Chiller - Tune Up/Diagnostics | 2.3326
11 | CD306 | Chiller - VSD for Pumps and Towers | 2.4028
12 | CD313 | Chiller - Ceiling Insulation | 2.6502
13 | CD326 | DX Tune Up/ Advanced Diagnostics | 2.7206
14 | CD334 | DX -Ceiling Insulation | 2.6502
15 | CD349 | HP-Ceiling Insulation | 2.6502
16 | CD608 | Heat Recovery Unit | 2.7618
17 | CD609 | Heat Trap | 2.5635
18 | CL111 | Premium T8, Electronic Ballast | 2.2496
19 | CL112 | Premium T8, EB, Reflector | 2.3527
20 | CL121 | ROB Premium T8, 1EB | 2.2496
21 | CL122 | ROB Premium T8, EB, Reflector | 2.3527
22 | CL141 | CFL Hardwired, Modular 18W | 2.3499
23 | CL154 | LED High Bay 83W | 2.6589
24 | CL161 | LED Exit Sign | 2.0147
25 | CL301 | Centrifugal Chiller, 0.51 kW/ton, 500 tons | 2.9632
26 | CL304 | Chiller - EMS | 2.8054
27 | CL305 | Chiller - Tune Up/Diagnostics | 2.3383
28 | CL306 | Chiller - VSD for Pumps and Towers | 2.4496
29 | CL313 | Chiller - Ceiling Insulation | 2.5618
30 | CL326 | DX Tune Up/ Advanced Diagnostics | 2.7141
31 | CL334 | DX -Ceiling Insulation | 2.5618
32 | CL349 | HP-Ceiling Insulation | 2.5618
33 | CL403 | Air Handler Optimization | 2.1348
34 | CL508 | Refrigeration Commissioning | 2.0464
35 | CL608 | Heat Recovery Unit | 2.7364
36 | CL609 | Heat Trap | 2.7089
37 | CS111 | Premium T8, Electronic Ballast | 2.5699
38 | CS112 | Premium T8, EB, Reflector | 2.6876
39 | CS121 | ROB Premium T8, 1EB | 2.5699
40 | CS122 | ROB Premium T8, EB, Reflector | 2.6876
41 | CS132 | Flood LED 14W | 2.0419
42 | CS141 | CFL Hardwired, Modular 18W | 2.6844
43 | CS153 | High Bay T5 | 2.2296
44 | CS202 | Outdoor Lighting Controls Merc Vpr(Photocell/Timeclock) | 2.2102
45 | CS304 | Chiller - EMS | 2.2042
46 | CS305 | Chiller - Tune Up/Diagnostics | 2.162
47 | CS306 | Chiller - VSD for Pumps and Towers | 1.9881
48 | CS326 | DX Tune Up/ Advanced Diagnostics | 2.6135
49 | CS402 | Variable Speed Drive Control | 2.2766
50 | CS504 | Evaporator fan controller for MT walk-ins | 2.2375
51 | CS506 | Compressor VSD retrofit | 2.2725
52 | CS608 | Heat Recovery Unit | 2.7966
53 | CS732 | Copier Power Management Enabling | 2.1631
Industrial Measures
# | Measure Code | Measure Name | Participant Payback Period
54 | IND113 | Comp Air - Motor practices-1 (100+ HP) | 2.0287
55 | IND115 | Refinery Controls | 2.3634
56 | IND213 | Fans - Motor practices-1 (100+ HP) | 2.0287
57 | IND214 | Optimize drying process | 2.9093
58 | IND216 | Refinery Controls | 2.3634
59 | IND303 | Pumps - System Optimization | 2.2046
60 | IND313 | Pumps - Motor practices-1 (100+ HP) | 2.0287
61 | IND315 | Refinery Controls | 2.3634
62 | IND402 | O&M/drives spinning machines | 2.1423
63 | IND405 | Drives - EE motor | 2.3934
64 | IND412 | Efficient drives | 2.2604
65 | IND426 | Efficient drives - rolling | 2.0569
66 | IND429 | Machinery | 2.3379
67 | IND430 | Efficient Machinery | 2.5907
68 | IND602 | Efficient desalter | 2.8437
69 | IND603 | New transformers welding | 2.3721
70 | IND604 | Efficient processes (welding, etc.) | 2.518
71 | IND607 | Refinery Controls | 2.3634
72 | IND701 | Centrifugal Chiller, 0.51 kW/ton, 500 tons | 2.8886
73 | IND724 | DX Tune Up/ Advanced Diagnostics | 2.7206
74 | IND801 | Premium T8, Electronic Ballast | 2.2975
75 | IND802 | CFL Hardwired, Modular 18W | 2.3999
76 | IND804 | High Bay T5 | 2.0078
77 | IND808 | LED High Bay 83W | 2.6927
78 | IND901 | Replace V-belts | 2.1836
79 | INL113 | Comp Air - Motor practices-1 (100+ HP) | 2.107
80 | INL115 | Refinery Controls | 2.501
81 | INL213 | Fans - Motor practices-1 (100+ HP) | 2.107
82 | INL216 | Refinery Controls | 2.501
83 | INL303 | Pumps - System Optimization | 2.2898
84 | INL313 | Pumps - Motor practices-1 (100+ HP) | 2.107
85 | INL315 | Refinery Controls | 2.501
86 | INL402 | O&M/drives spinning machines | 2.1573
87 | INL405 | Drives - EE motor | 2.4914
88 | INL412 | Efficient drives | 2.3498
89 | INL426 | Efficient drives - rolling | 2.1094
90 | INL429 | Machinery | 2.4108
91 | INL430 | Efficient Machinery | 2.7079
92 | INL602 | Efficient desalter | 2.9161
93 | INL603 | New transformers welding | 2.4403
94 | INL604 | Efficient processes (welding, etc.) | 2.6175
95 | INL607 | Refinery Controls | 2.501
96 | INL701 | Centrifugal Chiller, 0.51 kW/ton, 500 tons | 2.9632
97 | INL724 | DX Tune Up/ Advanced Diagnostics | 2.7141
98 | INL801 | Premium T8, Electronic Ballast | 2.2496
99 | INL802 | CFL Hardwired, Modular 18W | 2.3499
100 | INL808 | LED High Bay 83W | 2.6366
101 | INL901 | Replace V-belts | 2.2643