## RIM
Florida Power & Light Company
Docket No. 130199-EI
Staff's Second Set of Interrogatories
Interrogatory No. 70
Attachment No. 1
Tab 1 of 1
RIM Preliminary Cost-Effectiveness Screening
Measures Removed With Three Year Payback
Residential Measures
| # | Measure Code | Measure Name
1 | 1 | RMF114 | Proper Refrigerant Charging and Air Flow - SS AC
2 | 2 | RMF140 | Proper Refrigerant Charging and Air Flow
3 | 3 | RMO114 | Proper Refrigerant Charging and Air Flow - SS AC
4 | 4 | RMO140 | Proper Refrigerant Charging and Air Flow
Commercial Measures
| # | Measure Code | Measure Name
5 | 1 | CD111 | Premium T8, Electronic Ballast
6 | 2 | CD112 | Premium T8, EB, Reflector
7 | 3 | CD121 | ROB Premium T8, 1EB
8 | 4 | CD122 | ROB Premium T8, EB, Reflector
9 | 5 | CD141 | CFL Hardwired, Modular 18W
10 | 6 | CD153 | High Bay T5
11 | 7 | CD154 | LED High Bay 83W
12 | 8 | CD301 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
13 | 9 | CD305 | Chiller - Tune Up/Diagnostics
14 | 10 | CD313 | Chiller - Ceiling Insulation
15 | 11 | CD326 | DX Tune Up/ Advanced Diagnostics
16 | 12 | CD334 | DX -Ceiling Insulation
17 | 13 | CD349 | HP-Ceiling Insulation
18 | 14 | CL111 | Premium T8, Electronic Ballast
19 | 15 | CL112 | Premium T8, EB, Reflector
20 | 16 | CL121 | ROB Premium T8, 1EB
21 | 17 | CL122 | ROB Premium T8, EB, Reflector
22 | 18 | CL141 | CFL Hardwired, Modular 18W
23 | 19 | CL154 | LED High Bay 83W
24 | 20 | CL301 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
25 | 21 | CL304 | Chiller - EMS
26 | 22 | CL305 | Chiller - Tune Up/Diagnostics
27 | 23 | CL313 | Chiller - Ceiling Insulation
28 | 24 | CL326 | DX Tune Up/ Advanced Diagnostics
29 | 25 | CL334 | DX -Ceiling Insulation
30 | 26 | CL349 | HP-Ceiling Insulation
31 | 27 | CS111 | Premium T8, Electronic Ballast
32 | 28 | CS112 | Premium T8, EB, Reflector
33 | 29 | CS121 | ROB Premium T8, 1EB
34 | 30 | CS122 | ROB Premium T8, EB, Reflector
35 | 31 | CS132 | Flood LED 14W
36 | 32 | CS141 | CFL Hardwired, Modular 18W
37 | 33 | CS153 | High Bay T5
38 | 34 | CS326 | DX Tune Up/ Advanced Diagnostics
Industrial Measures
| # | Measure Code | Measure Name
39 | 1 | IND402 | O&M/drives spinning machines
40 | 2 | IND701 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
41 | 3 | IND724 | DX Tune Up/ Advanced Diagnostics
42 | 4 | IND801 | Premium T8, Electronic Ballast
43 | 5 | IND802 | CFL Hardwired, Modular 18W
44 | 6 | IND804 | High Bay T5
45 | 7 | IND808 | LED High Bay 83W
46 | 8 | INL402 | O&M/drives spinning machines
47 | 9 | INL426 | Efficient drives - rolling
48 | 10 | INL603 | New transformers welding
49 | 11 | INL701 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
50 | 12 | INL724 | DX Tune Up/ Advanced Diagnostics
51 | 13 | INL801 | Premium T8, Electronic Ballast
52 | 14 | INL802 | CFL Hardwired, Modular 18W
53 | 15 | INL808 | LED High Bay 83W