## RIM
Florida Power & Light Company
Docket No. 130199-EI
Staff's Second Set of Interrogatories
Interrogatory No. 40
Attachment No. 1
Tab 1 of 2
RIM Preliminary Cost-Effectiveness Screening
Measures Added With One Year Payback
Residential Measures
# | Measure Code | Measure Name | Participant Payback Period
1 | RSF114 | Proper Refrigerant Charging and Air Flow - SS AC | 1.9493
2 | RSF140 | Proper Refrigerant Charging and Air Flow | 1.9493
Commercial Measures
# |  | Measure Name | Participant Payback Period
1 | CD124 | Lighting Control Tuneup | 1.5068
2 | CD132 | Flood LED 14W | 1.8255
3 | CD308 | Chiller - Aerosole Duct Sealing | 1.0162
4 | CD361 | HE PTAC, EER=9.6, 1 ton | 1.4687
5 | CD813 | Steamer | 1.5256
6 | CL124 | Lighting Control Tuneup | 1.4913
7 | CL132 | Flood LED 14W | 1.7875
8 | CL153 | High Bay T5 | 1.9517
9 | CL308 | Chiller - Aerosole Duct Sealing | 1.0206
10 | CL361 | HE PTAC, EER=9.6, 1 ton | 1.5064
11 | CL813 | Steamer | 1.5426
12 | CS124 | Lighting Control Tuneup | 1.5394
Industrial Measures
# |  | Measure Name | Participant Payback Period
1 | IND807 | Flood LED 14W | 1.8255
2 | INL404 | Replace V-Belts | 1.3306
3 | INL507 | Near Net Shape Casting | 1.2432
4 | INL510 | Heating - Optimization process (M&T) | 1.0299
5 | INL804 | High Bay T5 | 1.9517
6 | INL807 | Flood LED 14W | 1.7875

## TRC
Florida Power & Light Company
Docket No. 130199-EI
Staff's Second Set of Interrogatories
Interrogatory No. 40
Attachment No. 1
Tab 2 of 2
TRC Preliminary Cost-Effectiveness Screening
Measures Added With One Year Payback
Residential Measures
# | Measure Code | Measure Name | Participant Payback Period
85 | RMF302 | Fridge Appliance Recycling | 1.4269
86 | RMF352 | Freeze Appliance Recycling | 1.7691
87 | RMO302 | Fridge Appliance Recycling | 1.4269
88 | RMO352 | Freeze Appliance Recycling | 1.7691
89 | RSF114 | Proper Refrigerant Charging and Air Flow - SS AC | 1.9493
90 | RSF140 | Proper Refrigerant Charging and Air Flow | 1.9493
91 | RSF302 | Fridge Appliance Recycling | 1.4269
92 | RSF352 | Freeze Appliance Recycling | 1.7691
93 | RSF802 | High Efficiency One Speed Pool Pump (1.5 hp) | 1.9023
Commercial Measures
# |  | Measure Name | Participant Payback Period
1 | CD124 | Lighting Control Tuneup | 1.5068
2 | CD132 | Flood LED 14W | 1.8255
3 | CD161 | LED Exit Sign | 1.9484
4 | CD307 | Chiller - EMS Optimization | 1.7214
5 | CD308 | Chiller - Aerosole Duct Sealing | 1.0162
6 | CD328 | DX - Optimize Controls | 1.3193
7 | CD361 | HE PTAC, EER=9.6, 1 ton | 1.4687
8 | CD403 | Air Handler Optimization | 1.9635
9 | CD503 | Night covers for display cases | 1.0943
10 | CD508 | Refrigeration Commissioning | 1.9619
11 | CD603 | Heat Pump Water Heater (air source) | 1.9547
12 | CD741 | Printer Power Management Enabling | 1.5663
13 | CD813 | Steamer | 1.5256
14 | CD901 | Vending Misers (cooled machines only) | 1.7997
15 | CL124 | Lighting Control Tuneup | 1.4913
16 | CL132 | Flood LED 14W | 1.7875
17 | CL153 | High Bay T5 | 1.9517
18 | CL307 | Chiller - EMS Optimization | 1.8579
19 | CL308 | Chiller - Aerosole Duct Sealing | 1.0206
20 | CL328 | DX - Optimize Controls | 1.4254
21 | CL361 | HE PTAC, EER=9.6, 1 ton | 1.5064
22 | CL503 | Night covers for display cases | 1.1737
23 | CL603 | Heat Pump Water Heater (air source) | 1.9368
24 | CL741 | Printer Power Management Enabling | 1.6582
25 | CL813 | Steamer | 1.5426
26 | CL901 | Vending Misers (cooled machines only) | 1.915
27 | CS124 | Lighting Control Tuneup | 1.5394
28 | CS161 | LED Exit Sign | 1.4807
29 | CS307 | Chiller - EMS Optimization | 1.055
30 | CS361 | HE PTAC, EER=9.6, 1 ton | 1.419
31 | CS403 | Air Handler Optimization | 1.1656
32 | CS508 | Refrigeration Commissioning | 1.4203
33 | CS603 | Heat Pump Water Heater (air source) | 1.9794
34 | CS609 | Heat Trap | 1.7348
35 | CS741 | Printer Power Management Enabling | 1.0503
36 | CS813 | Steamer | 1.3318
37 | CS901 | Vending Misers (cooled machines only) | 1.1771
Industrial Measures
# |  | Measure Name | Participant Payback Period
38 | IND102 | Compressed Air - Controls | 1.8662
39 | IND103 | Compressed Air - System Optimization | 1.0308
40 | IND112 | Comp Air - ASD (100+ hp) | 1.6657
41 | IND204 | Fans- Improve components | 1.3711
42 | IND212 | Fans - ASD (100+ hp) | 1.6643
43 | IND302 | Pumps - Controls | 1.0366
44 | IND304 | Pumps - Sizing | 1.2048
45 | IND312 | Pumps - ASD (100+ hp) | 1.6664
46 | IND403 | Air conveying systems | 1.1101
47 | IND404 | Replace V-Belts | 1.2965
48 | IND406 | Gap Forming papermachine | 1.3967
49 | IND407 | High Consistency forming | 1.3883
50 | IND409 | Efficient practices printing press | 1.3639
51 | IND423 | Process control | 1.4971
52 | IND427 | Drives - Optimization process (M&T) | 1.0322
53 | IND501 | Bakery - Process | 1.437
54 | IND504 | Top-heating (glass) | 1.449
55 | IND507 | Near Net Shape Casting | 1.2123
56 | IND510 | Heating - Optimization process (M&T) | 1.0054
57 | IND702 | High Efficiency Chiller Motors | 1.114
58 | IND704 | Chiller- Tune Up/Diagnostics | 1.0703
59 | IND726 | DX -Optimize Controls | 1.3193
60 | IND807 | Flood LED 14W | 1.8255
61 | INL102 | Compressed Air - Controls | 1.9383
62 | INL103 | Compressed Air - System Optimization | 1.0706
63 | INL112 | Comp Air - ASD (100+ hp) | 1.8317
64 | INL204 | Fans- Improve components | 1.4241
65 | INL212 | Fans - ASD (100+ hp) | 1.8302
66 | INL302 | Pumps - Controls | 1.0766
67 | INL304 | Pumps - Sizing | 1.2514
68 | INL312 | Pumps - ASD (100+ hp) | 1.8325
69 | INL403 | Air conveying systems | 1.2001
70 | INL404 | Replace V-Belts | 1.3306
71 | INL406 | Gap Forming papermachine | 1.4623
72 | INL407 | High Consistency forming | 1.4534
73 | INL409 | Efficient practices printing press | 1.4178
74 | INL423 | Process control | 1.566
75 | INL427 | Drives - Optimization process (M&T) | 1.0619
76 | INL501 | Bakery - Process | 1.4933
77 | INL504 | Top-heating (glass) | 1.5157
78 | INL507 | Near Net Shape Casting | 1.2432
79 | INL510 | Heating - Optimization process (M&T) | 1.0299
80 | INL702 | High Efficiency Chiller Motors | 1.2013
81 | INL704 | Chiller- Tune Up/Diagnostics | 1.1542
82 | INL726 | DX -Optimize Controls | 1.4254
83 | INL804 | High Bay T5 | 1.9517
84 | INL807 | Flood LED 14W | 1.7875