## Residential
Florida Power & Light Company
Docket No. 130199-EI
Staff's Second Set of Interrogatories
Interrogatory No. 25
Attachment No. 1
Tab 1 of 3
|  | Customer Class | 2014 Technical Potential
No. | Measure Name |  | Summer MW | Winter MW | Annual GWh
Energy Efficiency Measures
1 | 15 SEER Split-System Air Conditioner | Residential | 30.0075 | 0 | 53.7053
2 | 17 SEER Split-System Air Conditioner | Residential | 64.6828 | 0 | 107.3703
3 | 19 SEER Split-System Air Conditioner | Residential | 54.133 | 0 | 89.7681
4 | 14 SEER Split-System Heat Pump | Residential | 61.6724 | 243.8993 | 378.3898
5 | 15 SEER Split-System Heat Pump | Residential | 76.6132 | 100.7677 | 240.3943
6 | 17 SEER Split-System Heat Pump | Residential | 147.773 | 136.5803 | 378.4752
7 | Sealed Attic w/Sprayed Foam Insulated Roof Deck | Residential | 213.7937 | 505.5797 | 553.6862
8 | AC Maintenance (Outdoor Coil Cleaning) | Residential | 276.0856 | 0 | 648.5317
9 | AC Maintenance (Indoor Coil Cleaning) | Residential | 262.6476 | 0 | 616.8572
10 | Proper Refrigerant Charging and Air Flow | Residential | 276.924 | 0 | 658.9339
11 | Electronically Commutated Motors (ECM) on an Air Handler Unit | Residential | 172.3833 | 83.7522 | 482.8545
12 | Duct Repair | Residential | 404.5053 | 428.3685 | 793.3878
13 | Reflective Roof | Residential | 219.0072 | 0 | 509.84
14 | Radient Barrier | Residential | 409.5956 | 168.1208 | 679.0828
15 | Window Film | Residential | 73.6531 | -21.1813 | 211.2721
16 | Window Tinting | Residential | 31.6583 | 0 | 64.3508
17 | Default Window With Sunscreen | Residential | 481.4027 | -58.1516 | 602.9447
18 | Single Pane Clear Windows to Double Pane Low-E Windows | Residential | 175.2826 | 83.6324 | 399.7777
19 | Ceiling R-0 to R-19 Insulation | Residential | 31.9479 | 71.6993 | 81.3824
20 | Ceiling R-19 to R-38 Insulation | Residential | 8.1546 | 18.106 | 21.4041
21 | Wall 2x4 R-0 to Blow-In R-13 Insulation | Residential | 16.1819 | 36.364 | 42.5312
22 | Weather Strip/Caulk w/Blower Door | Residential | 2.7695 | 1.2882 | 82.7826
23 | HE Room Air Conditioner - EER 11 | Residential | 18.129 | 0 | 33.1322
24 | HE Room Air Conditioner - EER 12 | Residential | 8.2248 | 0 | 14.9693
25 | CFL (18-Watt integral ballast) | Residential | 67.8739 | 97.1606 | 1314.1414
26 | LED (12-Watt) Indoor | Residential | 21.2819 | 30.3345 | 406.76
27 | 2L4'T8, 1EB | Residential | 5.8857 | 8.4316 | 114.2339
28 | LED Directional 13W (Flood, Outdoor) | Residential | 0 | 0 | 192.2264
29 | HE Refrigerator - Energy Star version of above | Residential | 76.6628 | 71.3998 | 581.704
30 | Refrigerator recycling | Residential | 125.824 | 116.8704 | 946.5913
31 | HE Freezer | Residential | 4.2325 | 3.944 | 32.17
32 | Freezer recycling | Residential | 3.2504 | 3.0215 | 24.4577
33 | Heat Pump Water Heater (EF=2.9) | Residential | 166.5854 | 462.1426 | 1758.513
34 | Solar Water Heat | Residential | 12.8144 | 0 | 94.5931
35 | AC Heat Recovery Units | Residential | 198.0919 | 0 | 473.1732
36 | Low Flow Showerhead | Residential | 22.8964 | 63.0628 | 239.0677
37 | Pipe Wrap | Residential | 6.6628 | 18.4537 | 70.163
38 | Faucet Aerators | Residential | 11.8771 | 32.8167 | 124.615
39 | Water Heater Blanket | Residential | 28.1114 | 77.9602 | 296.6149
40 | Water Heater Temperature Check and Adjustment | Residential | 1.6761 | 4.6498 | 17.6945
41 | Water Heater Timeclock | Residential | 15.0391 | 41.7223 | 158.7707
42 | Heat Trap | Residential | 30.461 | 84.4762 | 321.4062
43 | Energy Star CW CEE Tier 2 (MEF=2.0) | Residential | 76.3488 | 76.3525 | 547.6117
44 | Energy Star CW CEE Tier 3 (MEF=2.2) | Residential | 28.9585 | 28.9599 | 207.7048
45 | Energy Star DW (EF=0.68) | Residential | 41.8105 | 30.3465 | 429.6558
46 | Two Speed Pool Pump (1.5 hp) | Residential | 135.0241 | 26.3166 | 637.3271
47 | High Efficiency One Speed Pool Pump (1.5 hp) | Residential | 138.3997 | 26.9745 | 653.2603
48 | Variable-Speed Pool Pump (<1 hp) | Residential | 153.2162 | 29.8622 | 723.1956
49 | PV-Powered Pool Pumps | Residential | 98.2155 | 19.1425 | 463.5869
50 | Energy Star TV | Residential | 7.9929 | 6.9903 | 64.0779
51 | Energy Star Set-Top Box | Residential | 19.9095 | 17.4035 | 159.5572
52 | Energy Star DVD Player | Residential | 5.5276 | 4.8275 | 44.2714
53 | Energy Star VCR | Residential | 2.1723 | 1.8969 | 17.3968
54 | Energy Star Desktop PC | Residential | 8.5928 | 7.5078 | 68.8421
55 | Energy Star Laptop PC | Residential | 0.97907 | 0.85545 | 7.8439
56 | Smart Plug | Residential | 32.0976 | 27.9578 | 255.0698
Demand Response
| Load Managemnt | Residential | 1367 | 2153 | 0
Renewable Energy
| Photovoltaics | Residential | 8703 | 1585 | 23982

## Commercial
Florida Power & Light Company
Docket No. 130199-EI
Staff's Second Set of Interrogatories
Interrogatory No. 25
Attachment No. 1
Tab 2 of 3
|  | Customer Class | 2014 Technical Potential
No. | Measure Name |  | Summer MW | Winter MW | Annual GWh
Energy Efficiency Measures
1 | Dehumidification hybrid desiccant heat pump | Commercial | 141.5126 | 11.506 | 830.057
2 | CFL Screw-in 18W | Commercial | 143.5083 | 79.471 | 747.679
3 | Premium T8, Electronic Ballast | Commercial | 111.6572 | 68.1243 | 591.1967
4 | Cool Roof | Commercial | 210.7329 | 0 | 561.7663
5 | Hybrid Dessicant-DX System (Trane CDQ) | Commercial | 71.1771 | 0 | 475.857
6 | Aerosole Duct Sealing | Commercial | 85.8773 | 0.62211 | 424.1143
7 | Run Time Optimizer | Commercial | 74.4948 | 0 | 352.5752
8 | High Pressure Sodium 250W Lamp | Commercial | 26.4878 | 11.1053 | 327.2738
9 | Electronically Commutated Motors (ECM) on an Air Handler Unit | Commercial | 38.1149 | 0 | 296.5704
10 | Ceiling Insulation | Commercial | 166.6854 | 50.331 | 278.658
11 | Premium T8, EB, Reflector | Commercial | 52.6546 | 31.7525 | 274.6959
12 | Continuous Dimming | Commercial | 47.9529 | 30.7558 | 257.0361
13 | PSMH, 250W, magnetic ballast | Commercial | 48.8442 | 23.4333 | 256.4812
14 | CFL Hardwired, Modular 18W | Commercial | 47.8361 | 26.4903 | 249.2263
15 | Variable Speed Drive Control | Commercial | 8.8579 | 13.2 | 248.3472
16 | Geothermal Heat Pump, EER=13, 10 tons | Commercial | 40.2491 | 1.3415 | 243.3544
17 | Heat Recovery Unit | Commercial | 29.5684 | 17.5851 | 223.2525
18 | Occupancy Sensor | Commercial | 42.0281 | 27.9005 | 222.6098
19 | High Bay T5 | Commercial | 41.9316 | 20.117 | 220.1835
20 | LED High Bay 83W (400W equivalent) | Commercial | 0 | 0 | 217.8036
21 | PC Network Power Management Enabling | Commercial | 17.2684 | 41.9904 | 209.2708
22 | Demand Control Ventilation (DCV) | Commercial | 100.9645 | 323.8431 | 193.1611
23 | Air Handler Optimization | Commercial | 5.7476 | 7.3708 | 171.678
24 | Flood LED 14W | Commercial | 20.7008 | 24.2439 | 163.4515
25 | Window Film (Standard) | Commercial | 31.8805 | -12.4197 | 153.7558
26 | Occupancy Sensor (hotels) | Commercial | 7.4744 | 0.50689 | 142.5661
27 | Heat Pump Water Heater (air source) | Commercial | 18.8187 | 11.6147 | 140.7515
28 | High-efficiency fan motors | Commercial | 14.4548 | 11.8723 | 116.6605
29 | 0.5 Faucet Aerator (DI) - Commercial | Commercial | 15.3609 | 9.3167 | 114.3666
30 | LED (12-Watt) | Commercial | 16.3333 | 15.6667 | 113.1533
31 | PC Manual Power Management Enabling | Commercial | 9.3108 | 22.6404 | 112.8347
32 | HE PTAC, EER=9.6, 1 ton | Commercial | 16.6111 | 0 | 108.6254
33 | LED Linear Tube 22W | Commercial | 14.1936 | 16.6576 | 107.8043
34 | Demand Defrost Electric | Commercial | 13.2854 | 10.9119 | 107.2229
35 | Printer Power Management Enabling | Commercial | 8.9539 | 22.388 | 106.2294
36 | Vending Misers (cooled machines only) | Commercial | 8.2698 | 10.325 | 106.2194
37 | Centrifugal Chiller, 0.51 kW/ton, 500 tons | Commercial | 30.452 | 0.10733 | 104.6785
38 | VSD for Chiller Pumps and Towers | Commercial | 19.7309 | 0.47228 | 101.3766
39 | DX Coil Cleaning | Commercial | 30.181 | 0 | 99.7554
40 | Monitor Power Management Enabling | Commercial | 8.1365 | 19.7851 | 98.6043
41 | Roof Insulation | Commercial | 52.6032 | 16.528 | 97.1359
42 | Separate Makeup Air / Exhaust Hoods AC | Commercial | 12.3688 | 1.8392 | 94.295
43 | Energy Recovery Ventilation (ERV) | Commercial | 65.43 | 110.0632 | 91.9691
44 | Server Virtualization | Commercial | 7.1911 | 17.4794 | 87.1023
45 | DX Packaged System, EER=11.9, 10 tons | Commercial | 12.2059 | 0 | 81.7741
46 | Outdoor LED 104W | Commercial | 2.8505 | 12.6348 | 70.5405
47 | Optimize Controls | Commercial | 3.4414 | 0.28006 | 67.2473
48 | Multiplex Compressor System | Commercial | 8.1983 | 6.7336 | 66.1664
49 | DX Tune Up/ Advanced Diagnostics | Commercial | 19.3028 | 0 | 63.7994
50 | Efficient compressor motor | Commercial | 7.8318 | 6.4326 | 63.2082
51 | Outdoor Lighting Controls (Photocell/Timeclock) | Commercial | 4.6276 | 0.89305 | 57.7293
52 | Chiller Tune Up/Diagnostics | Commercial | 16.4347 | 0.53539 | 57.5918
53 | High Efficiency Chiller Motors | Commercial | 10.2955 | 0 | 50.4074
54 | Oversized Air Cooled Condenser | Commercial | 5.6958 | 4.6782 | 45.9695
55 | Freezer-Cooler Replacement Gaskets | Commercial | 5.6731 | 4.6596 | 45.7863
56 | Duct/Pipe Insulation | Commercial | 9.108 | 0.07077 | 44.9055
57 | Anti-sweat (humidistat) controls | Commercial | 2.74 | 4.5007 | 44.2252
58 | Efficient Fryer | Commercial | 6.2092 | 1.0033 | 42.5423
59 | Griddle | Commercial | 6 | 1 | 42
60 | Convection Oven | Commercial | 5.6296 | 1.2857 | 41.0407
61 | Steamer | Commercial | 6 | 1 | 40
62 | Holding Cabinet | Commercial | 6 | 1 | 40
63 | EMS Optimization | Commercial | 1.7621 | 0.16938 | 36.4793
64 | Strip curtains for walk-ins | Commercial | 4.2408 | 3.4832 | 34.2266
65 | Night covers for display cases | Commercial | 0 | 3.1541 | 30.9926
66 | Heat Trap | Commercial | 3.8783 | 2.3535 | 29.1708
67 | 1.0 gpm Faucet Aerator (DI) -Commercial | Commercial | 3.6613 | 2.2206 | 27.2593
68 | Energy Star or Better Monitor | Commercial | 3.3519 | 5.3659 | 26.7425
69 | Compressor VSD retrofit | Commercial | 1.6266 | 1.3359 | 26.253
70 | High Efficiency Fan Motor, 15hp, 1800rpm, 92.4% | Commercial | 3.1381 | 4.3171 | 23.885
71 | Refrigeration Commissioning | Commercial | 2.8669 | 2.3547 | 23.1379
72 | Ice Machine | Commercial | 2.8188 | 2.3143 | 22.7384
73 | Copier Power Management Enabling | Commercial | 1.9116 | 4.9583 | 22.4653
74 | Floating head pressure controls | Commercial | 2.7257 | 2.2388 | 21.9986
75 | Lighting Control Tuneup | Commercial | 3.8084 | 2.2304 | 19.6041
76 | Packaged HP System, EER=11.7, 10 tons | Commercial | 5.2321 | 0 | 17.1044
77 | EMS - Chiller | Commercial | 2.7458 | 0.26522 | 14.1332
78 | High R-Value Glass Doors | Commercial | 1.6886 | 1.3869 | 13.6285
79 | LED Exit Sign | Commercial | 1.5303 | 1.659 | 11.033
80 | Demand Hot Gas Defrost | Commercial | 1.1684 | 0.95963 | 9.4295
81 | 1.5 gpm Faucet Aerator (DI) - Commercial | Commercial | 1.1372 | 0.68974 | 8.4669
82 | LED Display Lighting | Commercial | 0.77933 | 0.6401 | 6.2898
83 | Energy Star or Better Copier | Commercial | 0.72821 | 1.2435 | 5.6343
84 | Demand controlled circulating systems | Commercial | 0.56489 | 0.40132 | 4.65
85 | Evaporator fan controller for MT walk-ins | Commercial | 0.47296 | 0.38846 | 3.8171
86 | Hot Water Pipe Insulation | Commercial | 0.15187 | 0.090999 | 1.1323
87 | Solar Water Heater | Commercial | 0.0030848 | 0.0058857 | 0.023692
88 | Thermal Energy Storage (TES) | Commercial | 62.273 | 0.0018903 | -18.1781
Demand Response
| Load Managemnt | Commercial | 786 | 333 | 0
Renewable Energy
| Photovoltaics | Commercial | 5112 | 649 | 13506

## Industrial
Florida Power & Light Company
Docket No. 130199-EI
Staff's Second Set of Interrogatories
Interrogatory No. 25
Attachment No. 1
Tab 3 of 3
|  | Customer Class | 2014 Technical Potential
No. | Measure Name |  | Summer MW | Winter MW | Annual GWh
Energy Efficiency Measures
101 | Compressed Air-O&M | Industrial | 8.67 | 7.3614 | 57.6533
102 | Compressed Air - Controls | Industrial | 1.6181 | 1.3739 | 10.7601
103 | Compressed Air - System Optimization | Industrial | 6.361 | 5.4009 | 42.2994
104 | Compressed Air- Sizing | Industrial | 2.6078 | 2.2142 | 17.3412
105 | Comp Air - Replace 1-5 HP motor | Industrial | 0.058101 | 0.049331 | 0.38633
106 | Comp Air - ASD (1-5 hp) | Industrial | 0.010475 | 0.098344 | 0.77017
107 | Comp Air - Motor practices-1 (1-5 HP) | Industrial | 0.10745 | 0.091228 | 0.71444
108 | Comp Air - Replace 6-100 HP motor | Industrial | 0.36224 | 0.30757 | 2.4087
109 | Comp Air - ASD (6-100 hp) | Industrial | 0.13442 | 1.262 | 9.8838
110 | Comp Air - Motor practices-1 (6-100 HP) | Industrial | 0.40303 | 0.34219 | 2.6799
111 | Comp Air - Replace 100+ HP motor | Industrial | 0.33139 | 0.28137 | 2.2035
112 | Comp Air - ASD (100+ hp) | Industrial | 0.16329 | 1.533 | 12.0065
113 | Comp Air - Motor practices-1 (100+ HP) | Industrial | 0.42216 | 0.35844 | 2.8071
114 | Power recovery | Industrial | 0.0042637 | 0.00396 | 0.047994
115 | Refinery Controls | Industrial | 0.024772 | 0.023007 | 0.27884
201 | Fans - O&M | Industrial | 0.5738 | 0.51316 | 4.049
202 | Fans - Controls | Industrial | 4.8681 | 4.3525 | 34.4076
203 | Fans - System Optimization | Industrial | 0.95725 | 1.8122 | 14.3264
204 | Fans- Improve components | Industrial | 0.58575 | 0.52385 | 4.1334
205 | Fans - Replace 1-5 HP motor | Industrial | 0.056606 | 0.05061 | 0.40009
206 | Fans - ASD (1-5 hp) | Industrial | 0.0097293 | 0.096183 | 0.76036
207 | Fans - Motor practices-1 (1-5 HP) | Industrial | 0.10468 | 0.093594 | 0.73989
208 | Fans - Replace 6-100 HP motor | Industrial | 0.35293 | 0.31554 | 2.4944
209 | Fans - ASD (6-100 hp) | Industrial | 0.1074 | 1.062 | 8.38
210 | Fans - Motor practices-1 (6-100 HP) | Industrial | 0.45598 | 0.40779 | 3.2175
211 | Fans - Replace 100+ HP motor | Industrial | 0.32286 | 0.28867 | 2.282
212 | Fans - ASD (100+ hp) | Industrial | 0.17606 | 1.741 | 13.7372
213 | Fans - Motor practices-1 (100+ HP) | Industrial | 0.47763 | 0.42716 | 3.3703
214 | Optimize drying process | Industrial | 0.43203 | 0.39915 | 2.4382
301 | Pumps - O&M | Industrial | 3.7751 | 3.3765 | 28.0521
302 | Pumps - Controls | Industrial | 11.0792 | 9.9092 | 82.3267
303 | Pumps - System Optimization | Industrial | 8.7307 | 7.8086 | 64.8674
304 | Pumps - Sizing | Industrial | 3.5172 | 3.1458 | 26.1355
305 | Pumps - Replace 1-5 HP motor | Industrial | 0.072331 | 0.064692 | 0.53739
306 | Pumps - ASD (1-5 hp) | Industrial | 0.012646 | 0.12506 | 1.0389
307 | Pumps - Motor practices-1 (1-5 HP) | Industrial | 0.13376 | 0.11963 | 0.9938
308 | Pumps - Replace 6-100 HP motor | Industrial | 0.45096 | 0.40333 | 3.3505
309 | Pumps - ASD (6-100 hp) | Industrial | 0.17014 | 1.6826 | 13.9797
310 | Pumps - Motor practices-1 (6-100 HP) | Industrial | 0.50175 | 0.44876 | 3.7279
311 | Pumps - Replace 100+ HP motor | Industrial | 0.41255 | 0.36898 | 3.0651
312 | Pumps - ASD (100+ hp) | Industrial | 0.22691 | 2.244 | 18.6437
313 | Pumps - Motor practices-1 (100+ HP) | Industrial | 0.52558 | 0.47007 | 3.9049
401 | Bakery - Process (Mixing) - O&M | Industrial | 1.3051 | 1.1813 | 9.498
402 | O&M/drives spinning machines | Industrial | 0.50644 | 0.64138 | 2.008
403 | Air conveying systems | Industrial | 0.219 | 0.83539 | 5.1029
404 | Replace V-Belts | Industrial | 0.42955 | 0.39635 | 2.4364
405 | Drives - EE motor | Industrial | 0.6068 | 0.56761 | 4.4053
406 | Gap Forming papermachine | Industrial | 0.12062 | 0.11375 | 1.037
407 | High Consistency forming | Industrial | 0.11665 | 0.11001 | 1.0029
408 | Optimization control PM | Industrial | 0.35433 | 0.33415 | 3.0462
409 | Efficient practices printing press | Industrial | 0.6655 | 0.51538 | 4.881
410 | Efficient Printing press (fewer cylinders) | Industrial | 0.56429 | 0.437 | 4.1387
411 | Light cylinders | Industrial | 0.24534 | 0.19 | 1.7994
412 | Efficient drives | Industrial | 0.12894 | 0.099853 | 0.94568
413 | Clean Room - Controls | Industrial | 0.42408 | 0.36724 | 3.5165
414 | Clean Room - New Designs | Industrial | 0.16444 | 0.14126 | 1.7818
415 | Drives - Process Controls (batch + site) | Industrial | 0.40324 | 0.35701 | 3.8452
416 | Process Drives - ASD | Industrial | 0.049995 | 0.045315 | 0.48024
417 | O&M - Extruders/Injection Moulding | Industrial | 0.42712 | 0.37952 | 3.0077
418 | Extruders/injection Moulding-multipump | Industrial | 0.60696 | 0.53931 | 4.2741
419 | Direct drive Extruders | Industrial | 0.31184 | 0.27709 | 2.1959
420 | Injection Moulding - Impulse Cooling | Industrial | 0.22063 | 0.19604 | 1.5536
421 | Injection Moulding - Direct drive | Industrial | 0.19261 | 0.17114 | 1.3563
422 | Efficient grinding | Industrial | 0.43444 | 0.41214 | 3.662
423 | Process control | Industrial | 0.093128 | 0.08838 | 0.78444
424 | Process optimization | Industrial | 0.058545 | 0.05554 | 0.49348
425 | Drives - Process Control | Industrial | 0.06333 | 0.057686 | 0.35207
426 | Efficient drives - rolling | Industrial | 0.076036 | 0.06926 | 0.4227
427 | Drives - Optimization process (M&T) | Industrial | 0.70602 | 0.53351 | 3.9207
428 | Drives - Scheduling | Industrial | 0.068118 | 0.30413 | 2.3777
429 | Machinery | Industrial | 0.41009 | 0.31955 | 2.3766
430 | Efficient Machinery | Industrial | 0.051545 | 0.04934 | 0.42698
501 | Bakery - Process | Industrial | 0.5159 | 0.46694 | 3.7545
502 | Drying (UV/IR) | Industrial | 0.11916 | 0.26331 | 0.82437
503 | Heat Pumps - Drying | Industrial | 0.13034 | 0.12042 | 0.73559
504 | Top-heating (glass) | Industrial | 0.044148 | 0.041882 | 0.37213
505 | Efficient electric melting | Industrial | 0.15437 | 0.14061 | 0.85819
506 | Intelligent extruder (DOE) | Industrial | 0.0030626 | 0.0027896 | 0.017026
507 | Near Net Shape Casting | Industrial | 0.042122 | 0.038368 | 0.23417
508 | Heating - Process Control | Industrial | 0.15877 | 0.14462 | 0.88264
509 | Efficient Curing ovens | Industrial | 1.442 | 1.2234 | 9.5265
510 | Heating - Optimization process (M&T) | Industrial | 0.44404 | 0.35578 | 2.5215
511 | Heating - Scheduling | Industrial | 0.015916 | 0.068203 | 0.48367
551 | Efficient Refrigeration - Operations | Industrial | 1.0627 | 0.5771 | 6.187
552 | Optimization Refrigeration | Industrial | 1.8374 | 0.99784 | 10.6976
601 | Other Process Controls (batch + site) | Industrial | 0.21489 | 0.1846 | 2.3285
602 | Efficient desalter | Industrial | 0.00071804 | 0.0006669 | 0.0080826
603 | New transformers welding | Industrial | 0.48459 | 0.38943 | 2.8246
604 | Efficient processes (welding, etc.) | Industrial | 0.63327 | 0.55003 | 4.6449
701 | Centrifugal Chiller, 0.51 kW/ton, 500 tons | Industrial | 1.0528 | 0.61507 | 18.5558
702 | High Efficiency Chiller Motors | Industrial | 0.20816 | 0.12162 | 3.669
703 | EMS - Chiller | Industrial | 0.043364 | 0.025335 | 0.76432
704 | Chiller Tune Up/Diagnostics | Industrial | 0.21604 | 0.12622 | 3.8078
705 | VSD for Chiller Pumps and Towers | Industrial | 0.36925 | 0.21573 | 6.5083
706 | EMS Optimization - Chiller | Industrial | 0.1364 | 0.079693 | 2.4042
707 | Aerosole Duct Sealing - Chiller | Industrial | 0 | 0 | 0
711 | Cool Roof | Industrial | 5.5796 | 0.33374 | 22.5269
721 | DX Packaged System, EER=11.9, 10 tons | Industrial | 2.5765 | 0 | 15.815
722 | Hybrid Dessicant-DX System (Trane CDQ) | Industrial | 7.4072 | 0 | 45.3824
723 | Geothermal Heat Pump, EER=13, 10 tons | Industrial | 0.85038 | 0.16588 | 5.1702
724 | DX Tune Up/ Advanced Diagnostics | Industrial | 0.84423 | 0 | 2.5518
725 | DX Coil Cleaning | Industrial | 1.6524 | 0 | 4.9936
726 | Optimize Controls | Industrial | 0.10699 | 0.061796 | 1.8944
727 | Aerosol Duct Sealing | Industrial | 2.781 | 0.27115 | 18.4333
728 | Duct/Pipe Insulation | Industrial | 1.6087 | 0.16103 | 10.7633
729 | Window Film (Standard) | Industrial | 0.89288 | -0.012724 | 5.8574
730 | Roof Insulation | Industrial | 1.3519 | 0.12167 | 3.7038
732 | Run Time Optimizer | Industrial | 7.56 | 0 | 18.2024
733 | Dehumidification Hybrid Desiccant Heat Pump (5 Ton) | Industrial | 14.3612 | 1.4529 | 42.8534
801 | Premium T8, Elecctronic Ballast | Industrial | 9.6843 | 8.3034 | 64.078
802 | CFL Hardwired, Modular 18W | Industrial | 1.0653 | 0.92188 | 7.1085
803 | CFL Screw-in 18W | Industrial | 1.3681 | 1.1843 | 9.1347
804 | High Bay T5 | Industrial | 1.2093 | 1.0576 | 8.1288
805 | Occupancy Sensor | Industrial | 2.2076 | 1.9051 | 14.7587
806 | LED Linear Tube 22W | Industrial | 7.1389 | 6.2268 | 48.7193
807 | Flood LED 14W | Industrial | 0.81346 | 0.7175 | 1.6955
808 | LED High Bay 83W | Industrial | 0.79584 | 0.70392 | 2.6463
902 | Membranes for wastewater | Industrial | 0.016155 | 0.020459 | 0.064052
Demand Response
| Load Managemnt | Industrial | 59 | 17 | 0
Renewable Energy
| None | Industrial | 0 | 0 | 0