## TRK-5 (Res & Bus)
Florida Power & Light Company
Docket No. 130199-EI
Staff's Second Set of Interrogatories
Interrogatory No. 39
Attachment No. 1
Tab 1 of 1
TOTAL |  |  |  | Number of DSM Measures |  | Summer MW |  | Winter MW |  | Annual GWh
|  | Fuel | Years -to- | Surviving RIM | Surviving TRC | Surviving RIM | Surviving TRC | Surviving RIM | Surviving TRC | Surviving RIM | Surviving TRC
Case |  | Forecast | Payback Test | Path Screening | Path Screening | Path Screening | Path Screening | Path Screening | Path Screening | Path Screening | Path Screening
Base Case
| Without CO2 | Medium | 2 | 120 | 300 | 1675.0777 | 2294.5582 | 1257.8115 | 1384.1896 | 5327.7564 | 8752.9941
| With CO2 | Medium | 2 | 124 | 301 | 1550.3424 | 2154.8061 | 1192.6245 | 1401.274 | 4774.502 | 8581.6422
Sensitivities
| Case 1 | High | 2 | 231 | 290 | 1863.9336 | 2267.4638 | 1311.6787 | 1367.4332 | 6461.3647 | 8545.4815
| Case 2 | Low | 2 | 62 | 274 | 1428.1556 | 2422.4041 | 1078.0494 | 1365.3436 | 3567.1366 | 8769.6734
| Case 3 | Medium | 1 | 140 | 393 | 1952.0323 | 2912.9954 | 1294.7842 | 1651.2967 | 6306.0895 | 12192.2656
| Case 4 | Medium | 3 | 67 | 193 | 1138.6134 | 1399.9902 | 1057.9443 | 1090.9248 | 3280.4892 | 4820.1226
| Case 5 | High | 1 | 293 | 391 | 2183.6253 | 2891.2389 | 1413.6937 | 1650.6709 | 7927.7259 | 12081.587
| Case 6 | High | 3 | 151 | 187 | 1315.1321 | 1398.7685 | 1107.8798 | 1087.6083 | 4316.3468 | 4805.7109
| Case 7 | Low | 1 | 63 | 371 | 1428.9233 | 2716.4936 | 1078.9484 | 1621.6453 | 3573.1981 | 11206.2148
| Case 8 | Low | 3 | 43 | 169 | 1006.1748 | 1362.2681 | 1032.6558 | 1085.4807 | 2636.2444 | 4578.4448
RESIDENTIAL |  |  |  | Number of DSM Measures |  | Summer MW |  | Winter MW |  | Annual GWh
|  | Fuel | Years -to- | Surviving RIM | Surviving TRC | Surviving RIM | Surviving TRC | Surviving RIM | Surviving TRC | Surviving RIM | Surviving TRC
Case |  | Forecast | Payback Test | Path Screening | Path Screening | Path Screening | Path Screening | Path Screening | Path Screening | Path Screening | Path Screening
Base Case
| Without CO2 | Medium | 2 | 29 | 33 | 790.428 | 1163.769 | 583.5729 | 625.2753 | 1719.9323 | 3165.4876
| With CO2 | Medium | 2 | 31 | 31 | 770.4622 | 1023.7038 | 587.0824 | 642.1474 | 1749.3386 | 2991.629
Sensitivities
| Case 1 | High | 2 | 37 | 33 | 815.5635 | 1163.769 | 604.1139 | 625.2753 | 1823.555 | 3165.4876
| Case 2 | Low | 2 | 31 | 32 | 951.2429 | 1330.9323 | 584.9923 | 626.8182 | 2140.5392 | 3577.8565
| Case 3 | Medium | 1 | 31 | 42 | 981.8698 | 1622.4525 | 583.5729 | 772.0326 | 2171.9149 | 5235.6661
| Case 4 | Medium | 3 | 25 | 27 | 705.4447 | 791.0297 | 583.5729 | 569.3235 | 1519.5911 | 1617.3556
| Case 5 | High | 1 | 39 | 42 | 1007.0053 | 1622.4525 | 604.1139 | 772.0326 | 2275.5376 | 5235.6661
| Case 6 | High | 3 | 33 | 27 | 730.5802 | 791.0297 | 604.1139 | 569.3235 | 1623.2138 | 1617.3556
| Case 7 | Low | 1 | 31 | 38 | 951.2429 | 1395.9065 | 584.9923 | 746.71 | 2140.5392 | 4397.9577
| Case 8 | Low | 3 | 24 | 24 | 660.7869 | 766.7511 | 583.5729 | 570.8664 | 1446.3476 | 1577.742
COMMERCIAL/INDUSTRIAL |  |  |  | Number of DSM Measures |  | Summer MW |  | Winter MW |  | Annual GWh
|  | Fuel | Years -to- | Surviving RIM | Surviving TRC | Surviving RIM | Surviving TRC | Surviving RIM | Surviving TRC | Surviving RIM | Surviving TRC
Case |  | Forecast | Payback Test | Path Screening | Path Screening | Path Screening | Path Screening | Path Screening | Path Screening | Path Screening | Path Screening
Base Case
| Without CO2 | Medium | 2 | 91 | 267 | 884.6497 | 1130.7892 | 674.2386 | 758.9143 | 3607.824 | 5587.5065
| With CO2 | Medium | 2 | 93 | 270 | 779.8802 | 1131.1023 | 605.5421 | 759.1267 | 3025.1634 | 5590.0132
Sensitivities
| Case 1 | High | 2 | 194 | 257 | 1048.37 | 1103.6948 | 707.5648 | 742.1579 | 4637.8097 | 5379.9939
| Case 2 | Low | 2 | 31 | 242 | 476.9127 | 1091.4718 | 493.0571 | 738.5255 | 1426.5974 | 5191.8169
| Case 3 | Medium | 1 | 109 | 351 | 970.1626 | 1290.543 | 711.2113 | 879.264 | 4134.1746 | 6956.5995
| Case 4 | Medium | 3 | 42 | 166 | 433.1687 | 608.9605 | 474.3714 | 521.6012 | 1760.8981 | 3202.7669
| Case 5 | High | 1 | 254 | 349 | 1176.62 | 1268.7864 | 809.5797 | 878.6383 | 5652.1883 | 6845.9208
| Case 6 | High | 3 | 118 | 160 | 584.5519 | 607.7388 | 503.7659 | 518.2848 | 2693.133 | 3188.3553
| Case 7 | Low | 1 | 32 | 333 | 477.6804 | 1320.5871 | 493.9561 | 874.9353 | 1432.659 | 6808.257
| Case 8 | Low | 3 | 19 | 145 | 345.3879 | 595.5169 | 449.083 | 514.6143 | 1189.8968 | 3000.7028
337 (GSD & GSLD)
|  |  |  | Original |  | -30.9642 |  | 0 |  | -146.5501 |  |  |  |  | Current Batch |  |  | Corrected |  |  | Variance
|  |  |  | Corrected |  | 73.6723 |  | 0 |  | 348.6822 |  |  |  |  | SMW | WMW | GWh | SMW | WMW | GWh | SMW | WMW | GWh
|  |  |  | Adjustment |  | 42.7081 |  | 0 |  | 202.1321 |  | Residential | [11 empty] | SFD | MF | MO
|  |  |  | 203 (All) | [8 empty] | RSF263 | LED Directional 13W (Flood, Outdoor) | 9.8113 | 14.3396 | 192.2264 | 0 | 0 | 192.2264 | -9.8113 | -14.3396 | 0 | 55.88% | 37.6% | 6.517% | None
|  |  |  | Original |  |  | -17.4695 |  | -7.3757 |  | -217.8036
|  |  |  | Corrected |  |  | 0 |  | 0 |  | 217.8036 | Business | [11 empty] | GS | GSD | GSLD
|  |  |  | Adjustment |  |  | -17.4695 |  | -7.3757 |  | 0 |  | 203 | Outdoor LED 104W | 17.4695 | 7.3757 | 217.8036 | 0 | 0 | 217.8036 | -17.4695 | -7.3757 | 0 | 3.708% | 50.57% | 45.72% | None
|  |  |  | 337 (All) | [8 empty] | 337 | Run Time Optimizer | 31.7868 | 0 | 150.443 | 74.4948 | 0 | 352.5752 | 42.7081 | 0 | 202.1321 | 1.104% | 58.43% | 40.46% | 3
|  |  |  | Original |  |  | -31.7868 |  | 0 |  | -150.443 |  | 612 | 1.0 gpm Faucet Aerator (DI) -Commercial | 1.8106 | 1.0981 | 13.4802 | 3.6613 | 2.2206 | 27.2593 | 1.8507 | 1.1225 | 13.779 | 9.091% | 59.64% | 31.27% | None
|  |  |  | Corrected |  |  | 74.4948 |  | 0 |  | 352.5752
|  |  |  | Adjustment |  |  | 42.7081 |  | 0 |  | 202.1321
|  |  |  | Total Adjustment |  |  | 25.2385 |  | -7.3757 |  | 202.1321
|  |  |  | Number of DSM Measures |  | Summer MW |  | Winter MW |  | Annual GWh
|  | Fuel | Years -to- | Surviving RIM | Surviving TRC | Surviving RIM | Surviving TRC | Surviving RIM | Surviving TRC | Surviving RIM | Surviving TRC
Case |  | Forecast | Payback Test | Path Screening | Path Screening | Path Screening | Path Screening | Path Screening | Path Screening | Path Screening | Path Screening
Base Case
| Without CO2 | Medium | 2 | 120 | 300 | 1675.0777 | 2319.7968 | 1257.8115 | 1376.8139 | 5327.7564 | 8955.1262
| With CO2 | Medium | 2 | 124 | 301 | 1550.3424 | 2180.0446 | 1192.6245 | 1393.8984 | 4774.502 | 8783.7743
Sensitivities
| Case 1 | High | 2 | 231 | 290 | 1863.9336 | 2292.7023 | 1311.6787 | 1360.0575 | 6461.3647 | 8747.6137
| Case 2 | Low | 2 | 62 | 274 | 1428.1556 | 2447.6427 | 1078.0494 | 1357.968 | 3567.1366 | 8971.8056
| Case 3 | Medium | 1 | 140 | 393 | 1952.0323 | 2938.2339 | 1294.7842 | 1643.921 | 6306.0895 | 12394.3978
| Case 4 | Medium | 3 | 67 | 193 | 1138.6134 | 1425.2287 | 1057.9443 | 1083.5491 | 3280.4892 | 5022.2547
| Case 5 | High | 1 | 293 | 391 | 2183.6253 | 2916.4774 | 1413.6937 | 1643.2952 | 7927.7259 | 12283.7191
| Case 6 | High | 3 | 151 | 187 | 1315.1321 | 1424.007 | 1107.8798 | 1080.2326 | 4316.3468 | 5007.8431
| Case 7 | Low | 1 | 63 | 371 | 1428.9233 | 2741.7321 | 1078.9484 | 1614.2696 | 3573.1981 | 11408.3469
| Case 8 | Low | 3 | 43 | 169 | 1006.1748 | 1387.5066 | 1032.6558 | 1078.1051 | 2636.2444 | 4780.577