## Sheet1
Florida Power & Light Company
Docket No. 130199-EI
Staff's Fourth Set of Interrogatories
Interrogatory No. 91
Attachment No. 1
Tab 1 of 1
TRC - Preliminary Economic Screening & Achievable Potential Step 1 - Participant Costs
Surviving Measures Through This Step
# | Measure Code | Measure Name
1 | CD113 | Occupancy Sensor
2 | CD114 | Continuous Dimming
3 | CD123 | Occupancy Sensor
4 | CD125 | LED Linear Tube 22W
5 | CD146 | LED (12-Watt)
6 | CD201 | High Pressure Sodium 250W Lamp
7 | CD211 | Outdoor Lighting Controls HID (Photocell/Timeclock)
8 | CD309 | Chiller -Duct/Pipe Insulation
9 | CD314 | Chiller - Roof Insulation
10 | CD315 | Chiller - Cool Roof
11 | CD322 | Hybrid Dessicant-DX System (Trane CDQ)
12 | CD323 | Geothermal Heat Pump, EER=13, 10 tons
13 | CD330 | DX - Duct / Pipe Insulation
14 | CD335 | DX - Roof Insulation
15 | CD336 | DX - Cool Roof
16 | CD342 | Geothermal Heat Pump, EER=13, 10 tons
17 | CD345 | HP- Duct/Pipe Insulation
18 | CD350 | HP-Roof Insulation
19 | CD351 | Cool Roof - DX
20 | CD401 | High Efficiency Fan Motor, 15hp, 1800rpm, 92.4%
21 | CD511 | Anti-sweat (humidistat) controls
22 | CD517 | LED Display Lighting
23 | CD518 | Ice Machine
24 | CD703 | Server Virtulization
25 | CD722 | Monitor Power Management Enabling
26 | CD801 | Restaurant - Convection Oven
27 | CD811 | Restaurant - Efficient Fryer
28 | CD812 | Griddle
29 | CD814 | Holding Cabinet
30 | CL113 | Occupancy Sensor
31 | CL114 | Continuous Dimming
32 | CL123 | Occupancy Sensor
33 | CL125 | LED Linear Tube 22W
34 | CL146 | LED (12-Watt)
35 | CL201 | High Pressure Sodium 250W Lamp
36 | CL211 | Outdoor Lighting Controls HID (Photocell/Timeclock)
37 | CL309 | Chiller -Duct/Pipe Insulation
38 | CL314 | Chiller - Roof Insulation
39 | CL315 | Chiller - Cool Roof
40 | CL322 | Hybrid Dessicant-DX System (Trane CDQ)
41 | CL323 | Geothermal Heat Pump, EER=13, 10 tons
42 | CL330 | DX - Duct / Pipe Insulation
43 | CL335 | DX - Roof Insulation
44 | CL336 | DX - Cool Roof
45 | CL342 | Geothermal Heat Pump, EER=13, 10 tons
46 | CL345 | HP- Duct/Pipe Insulation
47 | CL350 | HP-Roof Insulation
48 | CL351 | Cool Roof - DX
49 | CL401 | High Efficiency Fan Motor, 15hp, 1800rpm, 92.4%
50 | CL511 | Anti-sweat (humidistat) controls
51 | CL517 | LED Display Lighting
52 | CL518 | Ice Machine
53 | CL606 | Demand controlled circulating systems
54 | CL703 | Server Virtulization
55 | CL722 | Monitor Power Management Enabling
56 | CL801 | Restaurant - Convection Oven
57 | CL811 | Restaurant - Efficient Fryer
58 | CL812 | Griddle
59 | CL814 | Holding Cabinet
60 | CS113 | Occupancy Sensor
61 | CS114 | Continuous Dimming
62 | CS123 | Occupancy Sensor
63 | CS125 | LED Linear Tube 22W
64 | CS146 | LED (12-Watt)
65 | CS201 | High Pressure Sodium 250W Lamp
66 | CS211 | Outdoor Lighting Controls HID (Photocell/Timeclock)
67 | CS309 | Chiller -Duct/Pipe Insulation
68 | CS314 | Chiller - Roof Insulation
69 | CS315 | Chiller - Cool Roof
70 | CS322 | Hybrid Dessicant-DX System (Trane CDQ)
71 | CS323 | Geothermal Heat Pump, EER=13, 10 tons
72 | CS330 | DX - Duct / Pipe insulation
73 | CS335 | DX - Roof Insulation
74 | CS336 | DX - Cool Roof
75 | CS342 | Geothermal Heat Pump, EER=13, 10 tons
76 | CS345 | HP- Duct/Pipe Insulation
77 | CS350 | HP-Roof Insulation
78 | CS351 | Cool Roof - DX
79 | CS401 | High Efficiency Fan Motor, 15hp, 1800rpm, 92.4%
80 | CS511 | Anti-sweat (humidistat) controls
81 | CS517 | LED Display Lighting
82 | CS518 | Ice Machine
83 | CS606 | Demand controlled circulating systems
84 | CS703 | Server Virtulization
85 | CS722 | Monitor Power Management Enabling
86 | CS801 | Restaurant - Convection Oven
87 | CS811 | Restaurant - Efficient Fryer
88 | CS812 | Griddle
89 | CS814 | Holding Cabinet
90 | IND105 | Comp Air - Replace 1-5 HP motor
91 | IND106 | Comp Air - ASD (1-5 hp)
92 | IND108 | Comp Air - Replace 6-100 HP motor
93 | IND205 | Fans - Replace 1-5 HP motor
94 | IND206 | Fans - ASD (1-5 hp)
95 | IND208 | Fans - Replace 6-100 HP motor
96 | IND305 | Pumps - Replace 1-5 HP motor
97 | IND306 | Pumps - ASD (1-5 hp)
98 | IND308 | Pumps - Replace 6-100 HP motor
99 | IND411 | Light cylinders
100 | IND415 | Drives - Process Controls (batch + site)
101 | IND422 | Efficient grinding
102 | IND506 | Intelligent extruder (DOE)
103 | IND708 | Chiller - Duct/Pipe Insulation
104 | IND710 | Chiller - Roof Insulation
105 | IND711 | Chiller -Cool Roof
106 | IND722 | Hybrid Dessicant-DX System (Trane CDQ)
107 | IND723 | Geothermal Heat Pump, EER=13, 10 tons
108 | IND728 | DX - Duct/Pipe Insulation
109 | IND730 | DX -Roof Insulation
110 | IND731 | DX - Cool Roof
111 | IND805 | Occupancy Sensor
112 | IND806 | LED Linear Tube 22W
113 | INL105 | Comp Air - Replace 1-5 HP motor
114 | INL106 | Comp Air - ASD (1-5 hp)
115 | INL108 | Comp Air - Replace 6-100 HP motor
116 | INL205 | Fans - Replace 1-5 HP motor
117 | INL206 | Fans - ASD (1-5 hp)
118 | INL208 | Fans - Replace 6-100 HP motor
119 | INL305 | Pumps - Replace 1-5 HP motor
120 | INL306 | Pumps - ASD (1-5 hp)
121 | INL308 | Pumps - Replace 6-100 HP motor
122 | INL411 | Light cylinders
123 | INL415 | Drives - Process Controls (batch + site)
124 | INL422 | Efficient grinding
125 | INL506 | Intelligent extruder (DOE)
126 | INL708 | Chiller - Duct/Pipe Insulation
127 | INL710 | Chiller - Roof Insulation
128 | INL711 | Chiller -Cool Roof
129 | INL722 | Hybrid Dessicant-DX System (Trane CDQ)
130 | INL723 | Geothermal Heat Pump, EER=13, 10 tons
131 | INL728 | DX - Duct/Pipe Insulation
132 | INL730 | DX -Roof Insulation
133 | INL731 | DX - Cool Roof
134 | INL805 | Occupancy Sensor
135 | INL806 | LED Linear Tube 22W
136 | RMF102 | 15 SEER Split-System Air Conditioner
137 | RMF103 | 17 SEER Split-System Air Conditioner
138 | RMF104 | 19 SEER Split-System Air Conditioner
139 | RMF105 | 14 SEER Split-System Heat Pump
140 | RMF106 | 15 SEER Split-System Heat Pump
141 | RMF107 | 17 SEER Split-System Heat Pump
142 | RMF111 | Sealed Attic w/Sprayed Foam Insulated Roof Deck - SS AC
143 | RMF113 | AC Maintenance (Indoor Coil Cleaning) - SS AC
144 | RMF117 | Reflective Roof - SS AC
145 | RMF118 | Radient Barrier - SS AC
146 | RMF119 | Window Film - SS AC
147 | RMF125 | Ceiling R-19 to R-38 Insulation - SS AC
148 | RMF126 | Wall 2x4 R-0 to Blow-In R-13 Insulation - SS AC
149 | RMF127 | Weather Strip/Caulk w/Blower Door - SS AC
150 | RMF132 | 15 SEER Split-System Heat Pump SS HP
151 | RMF133 | 17 SEER Split-System Heat Pump SS HP
152 | RMF137 | Sealed Attics
153 | RMF139 | AC Maintenance (Indoor Coil Cleaning) - SS HP
154 | RMF143 | Reflective Roof- SS HP
155 | RMF144 | Radient Barrier - SS HP
156 | RMF145 | Window Film - SS HP
157 | RMF151 | Ceiling R-19 to R-38 Insulation- SS HP
158 | RMF152 | Wall 2x4 R-0 to Blow-In R-13 Insulation - SS HP
159 | RMF153 | Weather Strip/Caulk w/Blower Door - SS HP
160 | RMF191 | HE Room Air Conditioner - EER 11
161 | RMF192 | HE Room Air Conditioner - EER 12
162 | RMF196 | Reflective Roof - Room AC
163 | RMF197 | Window Film- Room AC
164 | RMF200 | Single Pane Clear Windows to Dbl Pane Low-E Windows - Room AC
165 | RMF203 | Ceiling R-19 to R-38 Insulation- Room AC
166 | RMF204 | Wall 2x4 R-0 to Blow-In R-13 Insulation- Room AC
167 | RMF205 | Weather Strip/Caulk w/Blower Door - Room AC
168 | RMF251a | ROB 2L4'T8, 1EB - Indoor
169 | RMF251b | ROB 2L4'T8, 1EB - Outdoor
170 | RMF252a | RET 2L4'T8, 1EB - Indoor
171 | RMF252b | RET 2L4'T8, 1EB - Outdoor
172 | RMF351 | HE Freezer
173 | RMF401 | Heat Pump Water Heater (EF=2.9)
174 | RMF404 | AC Heat Recovery Units
175 | RMF406 | Pipe Wrap
176 | RMF408 | Water Heater Blanket
177 | RMF409 | Water Heater Temperature Check and Adjustment
178 | RMF410 | Water Heater Timeclock
179 | RMF503 | Energy Star CW CEE Tier 3 (MEF=2.2)
180 | RMF610 | High Efficiency CD (EF=3.01 w/moisture sensor)
181 | RMO102 | 15 SEER Split-System Air Conditioner
182 | RMO103 | 17 SEER Split-System Air Conditioner
183 | RMO104 | 19 SEER Split-System Air Conditioner
184 | RMO105 | 14 SEER Split-System Heat Pump
185 | RMO106 | 15 SEER Split-System Heat Pump
186 | RMO107 | 17 SEER Split-System Heat Pump
187 | RMO111 | Sealed Attic w/Sprayed Foam Insulated Roof Deck - SS AC
188 | RMO113 | AC Maintenance (Indoor Coil Cleaning) - SS AC
189 | RMO117 | Reflective Roof - SS AC
190 | RMO118 | Radient Barrier - SS AC
191 | RMO119 | Window Film - SS AC
192 | RMO122 | Single Pane Clear Windows to Dbl Pane Low-E Windows - SS AC
193 | RMO125 | Ceiling R-19 to R-38 Insulation - SS AC
194 | RMO126 | Wall 2x4 R-0 to Blow-In R-13 Insulation - SS AC
195 | RMO127 | Weather Strip/Caulk w/Blower Door - SS AC
196 | RMO132 | 15 SEER Split-System Heat Pump SS HP
197 | RMO133 | 17 SEER Split-System Heat Pump SS HP
198 | RMO137 | Sealed Attics
199 | RMO139 | AC Maintenance (Indoor Coil Cleaning) - SS HP
200 | RMO143 | Reflective Roof- SS HP
201 | RMO144 | Radient Barrier - SS HP
202 | RMO145 | Window Film - SS HP
203 | RMO148 | Single Pane Clear Windows to Dbl Pane Low-E Windows - SS HP
204 | RMO151 | Ceiling R-19 to R-38 Insulation- SS HP
205 | RMO152 | Wall 2x4 R-0 to Blow-In R-13 Insulation - SS HP
206 | RMO153 | Weather Strip/Caulk w/Blower Door - SS HP
207 | RMO191 | HE Room Air Conditioner - EER 11
208 | RMO192 | HE Room Air Conditioner - EER 12
209 | RMO196 | Reflective Roof - Room AC
210 | RMO197 | Window Film- Room AC
211 | RMO198 | Window Tinting - Room AC
212 | RMO200 | Single Pane Clear Windows to Dbl Pane Low-E Windows - Room AC
213 | RMO203 | Ceiling R-19 to R-38 Insulation- Room AC
214 | RMO204 | Wall 2x4 R-0 to Blow-In R-13 Insulation- Room AC
215 | RMO205 | Weather Strip/Caulk w/Blower Door - Room AC
216 | RMO251a | ROB 2L4'T8, 1EB - Indoor
217 | RMO251b | ROB 2L4'T8, 1EB - Outdoor
218 | RMO252a | RET 2L4'T8, 1EB - Indoor
219 | RMO252b | RET 2L4'T8, 1EB - Indoor
220 | RMO351 | HE Freezer
221 | RMO401 | Heat Pump Water Heater (EF=2.9)
222 | RMO404 | AC Heat Recovery Units
223 | RMO406 | Pipe Wrap
224 | RMO409 | Water Heater Temperature Check and Adjustment
225 | RMO410 | Water Heater Timeclock
226 | RMO503 | Energy Star CW CEE Tier 3 (MEF=2.2)
227 | RMO610 | High Efficiency CD (EF=3.01 w/moisture sensor)
228 | RSF102 | 15 SEER Split-System Air Conditioner
229 | RSF103 | 17 SEER Split-System Air Conditioner
230 | RSF104 | 19 SEER Split-System Air Conditioner
231 | RSF105 | 14 SEER Split-System Heat Pump
232 | RSF106 | 15 SEER Split-System Heat Pump
233 | RSF107 | 17 SEER Split-System Heat Pump
234 | RSF111 | Sealed Attic w/Sprayed Foam Insulated Roof Deck - SS AC
235 | RSF117 | Reflective Roof - SS AC
236 | RSF118 | Radient Barrier - SS AC
237 | RSF119 | Window Film - SS AC
238 | RSF120 | Window Tinting - SS AC
239 | RSF122 | Single Pane Clear Windows to Dbl Pane Low-E Windows - SS AC
240 | RSF125 | Ceiling R-19 to R-38 Insulation - SS AC
241 | RSF126 | Wall 2x4 R-0 to Blow-In R-13 Insulation - SS AC
242 | RSF132 | 15 SEER Split-System Heat Pump- SS HP
243 | RSF133 | 17 SEER Split-System Heat Pump- SS HP
244 | RSF137 | Sealed Attics
245 | RSF143 | Reflective Roof- SS HP
246 | RSF144 | Radient Barrier - SS HP
247 | RSF145 | Window Film - SS HP
248 | RSF146 | Window Tinting - SS HP
249 | RSF148 | Single Pane Clear Windows to Dbl Pane Low-E Windows - SS HP
250 | RSF151 | Ceiling R-19 to R-38 Insulation- SS HP
251 | RSF152 | Wall 2x4 R-0 to Blow-In R-13 Insulation - SS HP
252 | RSF191 | HE Room Air Conditioner - EER 11
253 | RSF192 | HE Room Air Conditioner - EER 12
254 | RSF196 | Reflective Roof - Room AC
255 | RSF197 | Window Film- Room AC
256 | RSF198 | Window Tinting - Room AC
257 | RSF199 | Default Window With Sunscreen - Room AC
258 | RSF200 | Single Pane Clear Windows to Dbl Pane Low-E Windows - Room AC
259 | RSF203 | Ceiling R-19 to R-38 Insulation- Room AC
260 | RSF204 | Wall 2x4 R-0 to Blow-In R-13 Insulation- Room AC
261 | RSF251a | ROB 2L4'T8, 1EB - Indoor
262 | RSF251b | ROB 2L4'T8, 1EB - Outdoor
263 | RSF252a | RET 2L4'T8, 1EB - Indoor
264 | RSF252b | RET 2L4'T8, 1EB - Outdoor
265 | RSF351 | HE Freezer
266 | RSF401 | Heat Pump Water Heater (EF=2.9)
267 | RSF404 | AC Heat Recovery Units
268 | RSF406 | Pipe Wrap
269 | RSF410 | Water Heater Timeclock
270 | RSF503 | Energy Star CW CEE Tier 3 (MEF=2.2)
271 | RSF610 | High Efficiency CD (EF=3.01 w/moisture sensor)
272 | RSF804 | PV-Powered Pool Pumps
273 | BUSPV | Business PV
274 | RESPV | Residential PV
275 | RESSWH | Residential Solar Water Heater
276 | BUSSWH | Business Solar Water Heater
277 | BUSPV_SCH | Business PV for Schools
278 | LOWINCOMESWH | Low-Income Solar Water Heater
TRC - Preliminary Economic Screening & Achievable Potential Step 2 - Administrative Costs
Surviving Measures Through This Step
# | Measure Code | Measure Name
1 | CD610 | Hot Water Pipe Insulation
2 | RMF112 | AC Maintenance (Outdoor Coil Cleaning) - SS AC
3 | RMF138 | AC Maintenance (Outdoor Coil Cleaning) - SS HP
4 | RMF198 | Window Tinting - Room AC
5 | RMF199 | Default Window With Sunscreen - Room AC
6 | RMF221 | CFL (18-Watt integral ballast), 0.5 hr/day
7 | RMF223 | LED (12-Watt) Indoor
8 | RMF231 | CFL (18-Watt integral ballast), 2.5 hr/day
9 | RMF241 | CFL (18-Watt integral ballast), 6.0 hr/day
10 | RMF263 | LED Directional 13W (Flood, Outdoor)
11 | RMF301 | HE Refrigerator - Energy Star version of above
12 | RMF405 | Low Flow Showerhead
13 | RMF407 | Faucet Aerators
14 | RMF411 | Heat Trap
15 | RMF502 | Energy Star CW CEE Tier 2 (MEF=2.0)
16 | RMF701 | Energy Star DW (EF=0.68)
17 | RMF962 | Smart Plug
18 | RMO112 | AC Maintenance (Outdoor Coil Cleaning) - SS AC
19 | RMO116 | Duct Repair - SS AC
20 | RMO120 | Window Tinting - SS AC
21 | RMO121 | Default Window With Sunscreen - SS AC
22 | RMO138 | AC Maintenance (Outdoor Coil Cleaning) - SS HP
23 | RMO142 | Duct Repair - SS HP
24 | RMO146 | Window Tinting - SS HP
25 | RMO147 | Default Window With Sunscreen - SS HP
26 | RMO199 | Default Window With Sunscreen - Room AC
27 | RMO221 | CFL (18-Watt integral ballast), 0.5 hr/day
28 | RMO223 | LED (12-Watt) Indoor
29 | RMO231 | CFL (18-Watt integral ballast), 2.5 hr/day
30 | RMO241 | CFL (18-Watt integral ballast), 6.0 hr/day
31 | RMO263 | LED Directional 13W (Flood, Outdoor)
32 | RMO301 | HE Refrigerator - Energy Star version of above
33 | RMO405 | Low Flow Showerhead
34 | RMO407 | Faucet Aerators
35 | RMO408 | Water Heater Blanket
36 | RMO411 | Heat Trap
37 | RMO502 | Energy Star CW CEE Tier 2 (MEF=2.0)
38 | RMO701 | Energy Star DW (EF=0.68)
39 | RMO962 | Smart Plug
40 | RSF112 | AC Maintenance (Outdoor Coil Cleaning) - SS AC
41 | RSF113 | AC Maintenance (Indoor Coil Cleaning) - SS AC
42 | RSF121 | Default Window With Sunscreen - SS AC
43 | RSF127 | Weather Strip/Caulk w/Blower Door - SS AC
44 | RSF138 | AC Maintenance (Outdoor Coil Cleaning) - SS HP
45 | RSF139 | AC Maintenance (Indoor Coil Cleaning) - SS HP
46 | RSF147 | Default Window With Sunscreen - SS HP
47 | RSF153 | Weather Strip/Caulk w/Blower Door - SS HP
48 | RSF205 | Weather Strip/Caulk w/Blower Door - Room AC
49 | RSF221 | CFL (18-Watt integral ballast), 0.5 hr/day
50 | RSF223 | LED (12-Watt) Indoor
51 | RSF231 | CFL (18-Watt integral ballast), 2.5 hr/day
52 | RSF241 | CFL (18-Watt integral ballast), 6.0 hr/day
53 | RSF263 | LED Directional 13W (Flood, Outdoor)
54 | RSF301 | HE Refrigerator - Energy Star version of above
55 | RSF405 | Low Flow Showerhead
56 | RSF407 | Faucet Aerators
57 | RSF408 | Water Heater Blanket
58 | RSF409 | Water Heater Temperature Check and Adjustment
59 | RSF411 | Heat Trap
60 | RSF502 | Energy Star CW CEE Tier 2 (MEF=2.0)
61 | RSF701 | Energy Star DW (EF=0.68)
62 | RSF962 | Smart Plug
TRC - Preliminary Economic Screening & Achievable Potential Step 4 - 2 Year Payback Screening
Surviving Measures Through This Step
# | Measure Code | Measure Name
1 | CD115 | Lighting Control Tuneup
2 | CD124 | Lighting Control Tuneup
3 | CD131 | CFL Screw-in 18W
4 | CD132 | Flood LED 14W
5 | CD161 | LED Exit Sign
6 | CD307 | Chiller - EMS Optimization
7 | CD308 | Chiller - Aerosole Duct Sealing
8 | CD327 | DX - Coil Cleaning
9 | CD328 | DX - Optimize Controls
10 | CD329 | DX - Aerosole Duct Sealing
11 | CD344 | HP- Aerosole Duct Sealing
12 | CD361 | HE PTAC, EER=9.6, 1 ton
13 | CD403 | Air Handler Optimization
14 | CD404 | Electronically Commutated Motors (ECM) on an Air Handler Unit
15 | CD407 | Separate Makeup Air / Exhaust Hoods AC
16 | CD502 | Strip curtains for walk-ins
17 | CD503 | Night covers for display cases
18 | CD505 | Efficient compressor motor
19 | CD507 | Floating head pressure controls
20 | CD508 | Refrigeration Commissioning
21 | CD510 | Demand Defrost Electric
22 | CD516 | Freezer-Cooler Replacement Gaskets
23 | CD603 | Heat Pump Water Heater (air source)
24 | CD611 | 0.5 Faucet Aerator (DI) - Commercial
25 | CD612 | 1.0 gpm Faucet Aerator (DI) -Commercial
26 | CD613 | 1.5 gpm Faucet Aerator (DI) - Commercial
27 | CD701 | PC Manual Power Management Enabling
28 | CD702 | PC Network Power Management Enabling
29 | CD711 | Energy Star or Better Monitor
30 | CD712 | Monitor Power Management Enabling
31 | CD721 | Energy Star or Better Monitor
32 | CD731 | Energy Star or Better Copier
33 | CD741 | Printer Power Management Enabling
34 | CD813 | Steamer
35 | CD901 | Vending Misers (cooled machines only)
36 | CL115 | Lighting Control Tuneup
37 | CL124 | Lighting Control Tuneup
38 | CL131 | CFL Screw-in 18W
39 | CL132 | Flood LED 14W
40 | CL153 | High Bay T5
41 | CL307 | Chiller - EMS Optimization
42 | CL308 | Chiller - Aerosole Duct Sealing
43 | CL327 | DX - Coil Cleaning
44 | CL328 | DX - Optimize Controls
45 | CL329 | DX - Aerosole Duct Sealing
46 | CL344 | HP- Aerosole Duct Sealing
47 | CL361 | HE PTAC, EER=9.6, 1 ton
48 | CL404 | Electronically Commutated Motors (ECM) on an Air Handler Unit
49 | CL407 | Separate Makeup Air / Exhaust Hoods AC
50 | CL502 | Strip curtains for walk-ins
51 | CL503 | Night covers for display cases
52 | CL505 | Efficient compressor motor
53 | CL507 | Floating head pressure controls
54 | CL510 | Demand Defrost Electric
55 | CL516 | Freezer-Cooler Replacement Gaskets
56 | CL603 | Heat Pump Water Heater (air source)
57 | CL611 | 0.5 Faucet Aerator (DI) - Commercial
58 | CL612 | 1.0 gpm Faucet Aerator (DI) -Commercial
59 | CL613 | 1.5 gpm Faucet Aerator (DI) - Commercial
60 | CL701 | PC Manual Power Management Enabling
61 | CL702 | PC Network Power Management Enabling
62 | CL711 | Energy Star or Better Monitor
63 | CL712 | Monitor Power Management Enabling
64 | CL721 | Energy Star or Better Monitor
65 | CL731 | Energy Star or Better Copier
66 | CL741 | Printer Power Management Enabling
67 | CL813 | Steamer
68 | CL901 | Vending Misers (cooled machines only)
69 | CS115 | Lighting Control Tuneup
70 | CS124 | Lighting Control Tuneup
71 | CS131 | CFL Screw-in 18W
72 | CS161 | LED Exit Sign
73 | CS307 | Chiller - EMS Optimization
74 | CS308 | Chiller - Aerosole Duct Sealing
75 | CS327 | DX - Coil Cleaning
76 | CS328 | DX - Optimize Controls
77 | CS329 | DX - Aerosole Duct Sealing
78 | CS344 | HP- Aerosole Duct Sealing
79 | CS361 | HE PTAC, EER=9.6, 1 ton
80 | CS403 | Air Handler Optimization
81 | CS404 | Electronically Commutated Motors (ECM) on an Air Handler Unit
82 | CS407 | Separate Makeup Air / Exhaust Hoods AC
83 | CS502 | Strip curtains for walk-ins
84 | CS503 | Night covers for display cases
85 | CS505 | Efficient compressor motor
86 | CS507 | Floating head pressure controls
87 | CS508 | Refrigeration Commissioning
88 | CS510 | Demand Defrost Electric
89 | CS516 | Freezer-Cooler Replacement Gaskets
90 | CS603 | Heat Pump Water Heater (air source)
91 | CS609 | Heat Trap
92 | CS611 | 0.5 Faucet Aerator (DI) - Commercial
93 | CS612 | 1.0 gpm Faucet Aerator (DI) -Commercial
94 | CS613 | 1.5 gpm Faucet Aerator (DI) - Commercial
95 | CS701 | PC Manual Power Management Enabling
96 | CS702 | PC Network Power Management Enabling
97 | CS711 | Energy Star or Better Monitor
98 | CS712 | Monitor Power Management Enabling
99 | CS721 | Energy Star or Better Monitor
100 | CS731 | Energy Star or Better Copier
101 | CS741 | Printer Power Management Enabling
102 | CS813 | Steamer
103 | CS901 | Vending Misers (cooled machines only)
104 | IND101 | Compressed Air-O&M
105 | IND102 | Compressed Air - Controls
106 | IND103 | Compressed Air - System Optimization
107 | IND104 | Compressed Air- Sizing
108 | IND109 | Comp Air - ASD (6-100 hp)
109 | IND112 | Comp Air - ASD (100+ hp)
110 | IND201 | Fans - O&M
111 | IND204 | Fans- Improve components
112 | IND209 | Fans - ASD (6-100 hp)
113 | IND212 | Fans - ASD (100+ hp)
114 | IND301 | Pumps - O&M
115 | IND302 | Pumps - Controls
116 | IND304 | Pumps - Sizing
117 | IND309 | Pumps - ASD (6-100 hp)
118 | IND312 | Pumps - ASD (100+ hp)
119 | IND401 | Bakery - Process (Mixing) - O&M
120 | IND403 | Air conveying systems
121 | IND404 | Replace V-Belts
122 | IND406 | Gap Forming papermachine
123 | IND407 | High Consistency forming
124 | IND409 | Efficient practices printing press
125 | IND417 | O&M - Extruders/Injection Moulding
126 | IND423 | Process control
127 | IND427 | Drives - Optimization process (M&T)
128 | IND501 | Bakery - Process
129 | IND504 | Top-heating (glass)
130 | IND507 | Near Net Shape Casting
131 | IND510 | Heating - Optimization process (M&T)
132 | IND551 | Efficient Refrigeration - Operations
133 | IND702 | High Efficiency Chiller Motors
134 | IND704 | Chiller- Tune Up/Diagnostics
135 | IND706 | Chiller - EMS Optimization
136 | IND707 | Chiller - Aerosole Duct Sealing
137 | IND725 | DX Coil Cleaning
138 | IND726 | DX -Optimize Controls
139 | IND727 | DX -Aerosole Duct Sealing
140 | IND803 | CFL Screw-in 18W
141 | IND807 | Flood LED 14W
142 | INL101 | Compressed Air-O&M
143 | INL102 | Compressed Air - Controls
144 | INL103 | Compressed Air - System Optimization
145 | INL104 | Compressed Air- Sizing
146 | INL109 | Comp Air - ASD (6-100 hp)
147 | INL112 | Comp Air - ASD (100+ hp)
148 | INL201 | Fans - O&M
149 | INL204 | Fans- Improve components
150 | INL209 | Fans - ASD (6-100 hp)
151 | INL212 | Fans - ASD (100+ hp)
152 | INL301 | Pumps - O&M
153 | INL302 | Pumps - Controls
154 | INL304 | Pumps - Sizing
155 | INL309 | Pumps - ASD (6-100 hp)
156 | INL312 | Pumps - ASD (100+ hp)
157 | INL401 | Bakery - Process (Mixing) - O&M
158 | INL403 | Air conveying systems
159 | INL404 | Replace V-Belts
160 | INL406 | Gap Forming papermachine
161 | INL407 | High Consistency forming
162 | INL409 | Efficient practices printing press
163 | INL417 | O&M - Extruders/Injection Moulding
164 | INL423 | Process control
165 | INL427 | Drives - Optimization process (M&T)
166 | INL501 | Bakery - Process
167 | INL504 | Top-heating (glass)
168 | INL507 | Near Net Shape Casting
169 | INL510 | Heating - Optimization process (M&T)
170 | INL551 | Efficient Refrigeration - Operations
171 | INL702 | High Efficiency Chiller Motors
172 | INL704 | Chiller- Tune Up/Diagnostics
173 | INL706 | Chiller - EMS Optimization
174 | INL707 | Chiller - Aerosole Duct Sealing
175 | INL725 | DX Coil Cleaning
176 | INL726 | DX -Optimize Controls
177 | INL727 | DX -Aerosole Duct Sealing
178 | INL803 | CFL Screw-in 18W
179 | INL804 | High Bay T5
180 | INL807 | Flood LED 14W
181 | RMF302 | Fridge Appliance Recycling
182 | RMF352 | Freeze Appliance Recycling
183 | RMF901 | Energy Star TV
184 | RMF911 | Energy Star Large Screen TV
185 | RMF921 | Energy Star Set-Top Box
186 | RMF931 | Energy Star DVD Player
187 | RMF941 | Energy Star VCR
188 | RMF951 | Energy Star Desktop PC
189 | RMF961 | Energy Star Laptop PC
190 | RMO302 | Fridge Appliance Recycling
191 | RMO352 | Freeze Appliance Recycling
192 | RMO901 | Energy Star TV
193 | RMO911 | Energy Star Large Screen TV
194 | RMO921 | Energy Star Set-Top Box
195 | RMO931 | Energy Star DVD Player
196 | RMO941 | Energy Star VCR
197 | RMO951 | Energy Star Desktop PC
198 | RMO961 | Energy Star Laptop PC
199 | RSF114 | Proper Refrigerant Charging and Air Flow - SS AC
200 | RSF140 | Proper Refrigerant Charging and Air Flow
201 | RSF302 | Fridge Appliance Recycling
202 | RSF352 | Freeze Appliance Recycling
203 | RSF802 | High Efficiency One Speed Pool Pump (1.5 hp)
204 | RSF901 | Energy Star TV
205 | RSF911 | Energy Star Large Screen TV
206 | RSF921 | Energy Star Set-Top Box
207 | RSF931 | Energy Star DVD Player
208 | RSF941 | Energy Star VCR
209 | RSF951 | Energy Star Desktop PC
210 | RSF961 | Energy Star Laptop PC