## TRC Measures
Florida Power & Light Company
Docket No. 130199-EI
Staff's Fourth Set of Interrogatories
Interrogatory No. 106
Attachment No. 1
Tab 1 of 1
Measures in TRC Achievable Potential not included in the proposed TRC 337MW Goals
| # | Measure Code | Measure Name
| 1 | CD154 | LED High Bay 83W
| 2 | CD202 | Outdoor Lighting Controls Merc Vpr(Photocell/Timeclock)
| 3 | CD203 | Outdoor LED 104W
| 4 | CD305 | Chiller - Tune Up/Diagnostics
| 5 | CD311 | Chiller - Window Film (Standard)
| 6 | CD326 | DX Tune Up/ Advanced Diagnostics
| 7 | CD332 | DX -Window Film (Standard)
| 8 | CD347 | HP-Window Film (Standard)
| 9 | CD362 | Occupancy Sensor (hotels)
| 10 | CD405 | Demand Control Ventilation (DCV)
| 11 | CD406 | Energy Recovery Ventilation (ERV)
| 12 | CD513 | High R-Value Glass Doors
| 13 | CD515 | Oversized Air Cooled Condenser
| 14 | CD732 | Copier Power Management Enabling
| 15 | CL154 | LED High Bay 83W
| 16 | CL161 | LED Exit Sign
| 17 | CL202 | Outdoor Lighting Controls Merc Vpr(Photocell/Timeclock)
| 18 | CL203 | Outdoor LED 104W
| 19 | CL305 | Chiller - Tune Up/Diagnostics
| 20 | CL311 | Chiller - Window Film (Standard)
| 21 | CL326 | DX Tune Up/ Advanced Diagnostics
| 22 | CL332 | DX -Window Film (Standard)
| 23 | CL347 | HP-Window Film (Standard)
| 24 | CL362 | Occupancy Sensor (hotels)
| 25 | CL405 | Demand Control Ventilation (DCV)
| 26 | CL406 | Energy Recovery Ventilation (ERV)
| 27 | CL508 | Refrigeration Commissioning
| 28 | CL513 | High R-Value Glass Doors
| 29 | CL732 | Copier Power Management Enabling
| 30 | CS132 | Flood LED 14W
| 31 | CS154 | LED High Bay 83W
| 32 | CS202 | Outdoor Lighting Controls Merc Vpr(Photocell/Timeclock)
| 33 | CS203 | Outdoor LED 104W
| 34 | CS305 | Chiller - Tune Up/Diagnostics
| 35 | CS311 | Chiller - Window Film (Standard)
| 36 | CS326 | DX Tune Up/ Advanced Diagnostics
| 37 | CS332 | DX -Window Film (Standard)
| 38 | CS347 | HP-Window Film (Standard)
| 39 | CS362 | Occupancy Sensor (hotels)
| 40 | CS405 | Demand Control Ventilation (DCV)
| 41 | CS406 | Energy Recovery Ventilation (ERV)
| 42 | CS513 | High R-Value Glass Doors
| 43 | CS732 | Copier Power Management Enabling
| 44 | IND107 | Comp Air - Motor practices-1 (1-5 HP)
| 45 | IND110 | Comp Air - Motor practices-1 (6-100 HP)
| 46 | IND111 | Comp Air - Replace 100+ HP motor
| 47 | IND113 | Comp Air - Motor practices-1 (100+ HP)
| 48 | IND114 | Power recovery
| 49 | IND115 | Refinery Controls
| 50 | IND202 | Fans - Controls
| 51 | IND203 | Fans - System Optimization
| 52 | IND207 | Fans - Motor practices-1 (1-5 HP)
| 53 | IND210 | Fans - Motor practices-1 (6-100 HP)
| 54 | IND211 | Fans - Replace 100+ HP motor
| 55 | IND213 | Fans - Motor practices-1 (100+ HP)
| 56 | IND214 | Optimize drying process
| 57 | IND215 | Power recovery
| 58 | IND216 | Refinery Controls
| 59 | IND303 | Pumps - System Optimization
| 60 | IND307 | Pumps - Motor practices-1 (1-5 HP)
| 61 | IND310 | Pumps - Motor practices-1 (6-100 HP)
| 62 | IND311 | Pumps - Replace 100+ HP motor
| 63 | IND313 | Pumps - Motor practices-1 (100+ HP)
| 64 | IND314 | Power recovery
| 65 | IND315 | Refinery Controls
| 66 | IND402 | O&M/drives spinning machines
| 67 | IND405 | Drives - EE motor
| 68 | IND408 | Optimization control PM
| 69 | IND410 | Efficient Printing press (fewer cylinders)
| 70 | IND412 | Efficient drives
| 71 | IND413 | Clean Room - Controls
| 72 | IND414 | Clean Room - New Designs
| 73 | IND416 | Process Drives - ASD
| 74 | IND418 | Extruders/injection Moulding-multipump
| 75 | IND419 | Direct drive Extruders
| 76 | IND420 | Injection Moulding - Impulse Cooling
| 77 | IND421 | Injection Moulding - Direct drive
| 78 | IND424 | Process optimization
| 79 | IND425 | Drives - Process Control
| 80 | IND426 | Efficient drives - rolling
| 81 | IND428 | Drives - Scheduling
| 82 | IND429 | Machinery
| 83 | IND430 | Efficient Machinery
| 84 | IND502 | Drying (UV/IR)
| 85 | IND503 | Heat Pumps - Drying
| 86 | IND505 | Efficient electric melting
| 87 | IND508 | Heating - Process Control
| 88 | IND509 | Efficient Curing ovens
| 89 | IND511 | Heating - Scheduling
| 90 | IND601 | Other Process Controls (batch + site)
| 91 | IND602 | Efficient desalter
| 92 | IND603 | New transformers welding
| 93 | IND604 | Efficient processes (welding, etc.)
| 94 | IND605 | Process control
| 95 | IND606 | Power recovery
| 96 | IND607 | Refinery Controls
| 97 | IND705 | Chiller VSD - for Pumps and Towers
| 98 | IND709 | Chiller -Window Film (Standard)
| 99 | IND724 | DX Tune Up/ Advanced Diagnostics
| 100 | IND729 | DX -Window Film (Standard)
| 101 | IND808 | LED High Bay 83W
| 102 | IND901 | Replace V-belts
| 103 | IND902 | Membranes for wastewater
| 104 | INL107 | Comp Air - Motor practices-1 (1-5 HP)
| 105 | INL110 | Comp Air - Motor practices-1 (6-100 HP)
| 106 | INL111 | Comp Air - Replace 100+ HP motor
| 107 | INL113 | Comp Air - Motor practices-1 (100+ HP)
| 108 | INL114 | Power recovery
| 109 | INL115 | Refinery Controls
| 110 | INL202 | Fans - Controls
| 111 | INL203 | Fans - System Optimization
| 112 | INL207 | Fans - Motor practices-1 (1-5 HP)
| 113 | INL210 | Fans - Motor practices-1 (6-100 HP)
| 114 | INL211 | Fans - Replace 100+ HP motor
| 115 | INL213 | Fans - Motor practices-1 (100+ HP)
| 116 | INL214 | Optimize drying process
| 117 | INL215 | Power recovery
| 118 | INL216 | Refinery Controls
| 119 | INL303 | Pumps - System Optimization
| 120 | INL307 | Pumps - Motor practices-1 (1-5 HP)
| 121 | INL310 | Pumps - Motor practices-1 (6-100 HP)
| 122 | INL311 | Pumps - Replace 100+ HP motor
| 123 | INL313 | Pumps - Motor practices-1 (100+ HP)
| 124 | INL314 | Power recovery
| 125 | INL315 | Refinery Controls
| 126 | INL402 | O&M/drives spinning machines
| 127 | INL405 | Drives - EE motor
| 128 | INL408 | Optimization control PM
| 129 | INL410 | Efficient Printing press (fewer cylinders)
| 130 | INL412 | Efficient drives
| 131 | INL413 | Clean Room - Controls
| 132 | INL414 | Clean Room - New Designs
| 133 | INL416 | Process Drives - ASD
| 134 | INL418 | Extruders/injection Moulding-multipump
| 135 | INL419 | Direct drive Extruders
| 136 | INL420 | Injection Moulding - Impulse Cooling
| 137 | INL421 | Injection Moulding - Direct drive
| 138 | INL424 | Process optimization
| 139 | INL425 | Drives - Process Control
| 140 | INL426 | Efficient drives - rolling
| 141 | INL428 | Drives - Scheduling
| 142 | INL429 | Machinery
| 143 | INL430 | Efficient Machinery
| 144 | INL502 | Drying (UV/IR)
| 145 | INL503 | Heat Pumps - Drying
| 146 | INL505 | Efficient electric melting
| 147 | INL508 | Heating - Process Control
| 148 | INL509 | Efficient Curing ovens
| 149 | INL511 | Heating - Scheduling
| 150 | INL601 | Other Process Controls (batch + site)
| 151 | INL602 | Efficient desalter
| 152 | INL603 | New transformers welding
| 153 | INL604 | Efficient processes (welding, etc.)
| 154 | INL605 | Process control
| 155 | INL606 | Power recovery
| 156 | INL607 | Refinery Controls
| 157 | INL705 | Chiller VSD - for Pumps and Towers
| 158 | INL709 | Chiller -Window Film (Standard)
| 159 | INL724 | DX Tune Up/ Advanced Diagnostics
| 160 | INL729 | DX -Window Film (Standard)
| 161 | INL808 | LED High Bay 83W
| 162 | INL901 | Replace V-belts
| 163 | INL902 | Membranes for wastewater
| 164 | RMF120 | Window Tinting - SS AC
| 165 | RMF121 | Default Window With Sunscreen - SS AC
| 166 | RMF122 | Single Pane Clear Windows to Dbl Pane Low-E Windows - SS AC
| 167 | RMF146 | Window Tinting - SS HP
| 168 | RMF147 | Default Window With Sunscreen - SS HP
| 169 | RMF148 | Single Pane Clear Windows to Dbl Pane Low-E Windows - SS HP
| 170 | RMO124 | Ceiling R-0 to R-19 Insulation - SS AC
| 171 | RMO150 | Ceiling R-0 to R-19 Insulation - SS HP
| 172 | RMO202 | Ceiling R-0 to R-19 Insulation- Room AC
| 173 | RSF116 | Duct Repair - SS AC
| 174 | RSF142 | Duct Repair - SS HP
| 175 | RSF801 | Two Speed Pool Pump (1.5 hp)
| 176 | RSF803 | Variable-Speed Pool Pump (<1 hp)
| 177 | CS317 | Thermal Energy Storage
| 178 | CD317 | Thermal Energy Storage
| 179 | CL317 | Thermal Energy Storage
Note: These measures were not selected in the optimization process which developed the TRC 337 MW DSM portfolio. However, FPL's TRC 576 MW resource plan, also analyzed for purposes of this docket, did include all of the above DSM measures. (The TRC 576 MW resource plan did not attempt to optimize DSM measures, but simply included all achievable potential DSM.)