## Sheet1
Florida Power & Light Company
Docket No. 130199-EI
Staff's Fourth Set of Interrogatories
Interrogatory No. 89-Supplemental
Attachment No. 1
Tab 1 of 1
Measures Passing UCT but Failing RIM
Economic Potential
Residential Measures
# | Measure Code | Measure Name
1 | RMF103 | 17 SEER Split-System Air Conditioner
2 | RMF105 | 14 SEER Split-System Heat Pump
3 | RMF120 | Window Tinting - SS AC
4 | RMF121 | Default Window With Sunscreen - SS AC
5 | RMF127 | Weather Strip/Caulk w/Blower Door - SS AC
6 | RMF146 | Window Tinting - SS HP
7 | RMF147 | Default Window With Sunscreen - SS HP
8 | RMF153 | Weather Strip/Caulk w/Blower Door - SS HP
9 | RMF198 | Window Tinting - Room AC
10 | RMF200 | Single Pane Clear Windows to Dbl Pane Low-E Windows - Room AC
11 | RMF205 | Weather Strip/Caulk w/Blower Door - Room AC
12 | RMF301 | HE Refrigerator - Energy Star version of above
13 | RMO103 | 17 SEER Split-System Air Conditioner
14 | RMO105 | 14 SEER Split-System Heat Pump
15 | RMO116 | Duct Repair - SS AC
16 | RMO117 | Reflective Roof - SS AC
17 | RMO120 | Window Tinting - SS AC
18 | RMO122 | Single Pane Clear Windows to Dbl Pane Low-E Windows - SS AC
19 | RMO127 | Weather Strip/Caulk w/Blower Door - SS AC
20 | RMO142 | Duct Repair - SS HP
21 | RMO143 | Reflective Roof- SS HP
22 | RMO146 | Window Tinting - SS HP
23 | RMO147 | Default Window With Sunscreen - SS HP
24 | RMO148 | Single Pane Clear Windows to Dbl Pane Low-E Windows - SS HP
25 | RMO153 | Weather Strip/Caulk w/Blower Door - SS HP
26 | RMO196 | Reflective Roof - Room AC
27 | RMO205 | Weather Strip/Caulk w/Blower Door - Room AC
28 | RMO301 | HE Refrigerator - Energy Star version of above
29 | RMO701 | Energy Star DW (EF=0.68)
30 | RSF102 | 15 SEER Split-System Air Conditioner
31 | RSF105 | 14 SEER Split-System Heat Pump
32 | RSF113 | AC Maintenance (Indoor Coil Cleaning) - SS AC
33 | RSF121 | Default Window With Sunscreen - SS AC
34 | RSF127 | Weather Strip/Caulk w/Blower Door - SS AC
35 | RSF132 | 15 SEER Split-System Heat Pump- SS HP
36 | RSF139 | AC Maintenance (Indoor Coil Cleaning) - SS HP
37 | RSF147 | Default Window With Sunscreen - SS HP
38 | RSF153 | Weather Strip/Caulk w/Blower Door - SS HP
39 | RSF191 | HE Room Air Conditioner - EER 11
40 | RSF205 | Weather Strip/Caulk w/Blower Door - Room AC
41 | RSF301 | HE Refrigerator - Energy Star version of above
42 | RSF801 | Two Speed Pool Pump (1.5 hp)
43 | RSF803 | Variable-Speed Pool Pump (<1 hp)
Measures Passing UCT but Failing RIM
Economic Potential
Commercial Measures
# | Measure Code | Measure Name
1 | CD113 | Occupancy Sensor
2 | CD125 | LED Linear Tube 22W
3 | CD146 | LED (12-Watt)
4 | CD201 | High Pressure Sodium 250W Lamp
5 | CD202 | Outdoor Lighting Controls Merc Vpr(Photocell/Timeclock)
6 | CD203 | Outdoor LED 104W
7 | CD304 | Chiller - EMS
8 | CD306 | Chiller - VSD for Pumps and Towers
9 | CD311 | Chiller - Window Film (Standard)
10 | CD314 | Chiller - Roof Insulation
11 | CD332 | DX -Window Film (Standard)
12 | CD335 | DX - Roof Insulation
13 | CD337 | Run Time Optimizer
14 | CD347 | HP-Window Film (Standard)
15 | CD350 | HP-Roof Insulation
16 | CD402 | Variable Speed Drive Control
17 | CD501 | High-efficiency fan motors
18 | CD504 | Evaporator fan controller for MT walk-ins
19 | CD506 | Compressor VSD retrofit
20 | CD509 | Demand Hot Gas Defrost
21 | CD511 | Anti-sweat (humidistat) controls
22 | CD513 | High R-Value Glass Doors
23 | CD514 | Multiplex Compressor System
24 | CD515 | Oversized Air Cooled Condenser
25 | CD606 | Demand controlled circulating systems
26 | CD608 | Heat Recovery Unit
27 | CD609 | Heat Trap
28 | CD610 | Hot Water Pipe Insulation
29 | CD732 | Copier Power Management Enabling
30 | CD812 | Griddle
31 | CD814 | Holding Cabinet
32 | CL113 | Occupancy Sensor
33 | CL125 | LED Linear Tube 22W
34 | CL146 | LED (12-Watt)
35 | CL161 | LED Exit Sign
36 | CL201 | High Pressure Sodium 250W Lamp
37 | CL202 | Outdoor Lighting Controls Merc Vpr(Photocell/Timeclock)
38 | CL203 | Outdoor LED 104W
39 | CL306 | Chiller - VSD for Pumps and Towers
40 | CL311 | Chiller - Window Film (Standard)
41 | CL314 | Chiller - Roof Insulation
42 | CL332 | DX -Window Film (Standard)
43 | CL335 | DX - Roof Insulation
44 | CL337 | Run Time Optimizer
45 | CL347 | HP-Window Film (Standard)
46 | CL350 | HP-Roof Insulation
47 | CL402 | Variable Speed Drive Control
48 | CL403 | Air Handler Optimization
49 | CL501 | High-efficiency fan motors
50 | CL504 | Evaporator fan controller for MT walk-ins
51 | CL506 | Compressor VSD retrofit
52 | CL508 | Refrigeration Commissioning
53 | CL509 | Demand Hot Gas Defrost
54 | CL511 | Anti-sweat (humidistat) controls
55 | CL513 | High R-Value Glass Doors
56 | CL514 | Multiplex Compressor System
57 | CL515 | Oversized Air Cooled Condenser
58 | CL517 | LED Display Lighting
59 | CL606 | Demand controlled circulating systems
60 | CL608 | Heat Recovery Unit
61 | CL609 | Heat Trap
62 | CL610 | Hot Water Pipe Insulation
63 | CL732 | Copier Power Management Enabling
64 | CL812 | Griddle
65 | CL814 | Holding Cabinet
66 | CS113 | Occupancy Sensor
67 | CS125 | LED Linear Tube 22W
68 | CS146 | LED (12-Watt)
69 | CS201 | High Pressure Sodium 250W Lamp
70 | CS202 | Outdoor Lighting Controls Merc Vpr(Photocell/Timeclock)
71 | CS203 | Outdoor LED 104W
72 | CS211 | Outdoor Lighting Controls HID (Photocell/Timeclock)
73 | CS302 | High Efficiency Chiller Motors
74 | CS304 | Chiller - EMS
75 | CS305 | Chiller - Tune Up/Diagnostics
76 | CS306 | Chiller - VSD for Pumps and Towers
77 | CS311 | Chiller - Window Film (Standard)
78 | CS314 | Chiller - Roof Insulation
79 | CS321 | DX Packaged System, EER=10.9, 10 tons
80 | CS332 | DX -Window Film (Standard)
81 | CS335 | DX - Roof Insulation
82 | CS337 | Run Time Optimizer
83 | CS341 | Packaged HP System, EER=10.9, 10 tons
84 | CS347 | HP-Window Film (Standard)
85 | CS350 | HP-Roof Insulation
86 | CS362 | Occupancy Sensor (hotels)
87 | CS402 | Variable Speed Drive Control
88 | CS501 | High-efficiency fan motors
89 | CS504 | Evaporator fan controller for MT walk-ins
90 | CS506 | Compressor VSD retrofit
91 | CS509 | Demand Hot Gas Defrost
92 | CS511 | Anti-sweat (humidistat) controls
93 | CS513 | High R-Value Glass Doors
94 | CS514 | Multiplex Compressor System
95 | CS515 | Oversized Air Cooled Condenser
96 | CS517 | LED Display Lighting
97 | CS606 | Demand controlled circulating systems
98 | CS608 | Heat Recovery Unit
99 | CS610 | Hot Water Pipe Insulation
100 | CS732 | Copier Power Management Enabling
101 | CS812 | Griddle
102 | CS814 | Holding Cabinet
Measures Passing UCT but Failing RIM
Economic Potential
Industrial Measures
# | Measure Code | Measure Name
1 | IND107 | Comp Air - Motor practices-1 (1-5 HP)
2 | IND108 | Comp Air - Replace 6-100 HP motor
3 | IND110 | Comp Air - Motor practices-1 (6-100 HP)
4 | IND111 | Comp Air - Replace 100+ HP motor
5 | IND113 | Comp Air - Motor practices-1 (100+ HP)
6 | IND114 | Power recovery
7 | IND115 | Refinery Controls
8 | IND202 | Fans - Controls
9 | IND203 | Fans - System Optimization
10 | IND207 | Fans - Motor practices-1 (1-5 HP)
11 | IND208 | Fans - Replace 6-100 HP motor
12 | IND210 | Fans - Motor practices-1 (6-100 HP)
13 | IND211 | Fans - Replace 100+ HP motor
14 | IND213 | Fans - Motor practices-1 (100+ HP)
15 | IND214 | Optimize drying process
16 | IND215 | Power recovery
17 | IND216 | Refinery Controls
18 | IND303 | Pumps - System Optimization
19 | IND307 | Pumps - Motor practices-1 (1-5 HP)
20 | IND308 | Pumps - Replace 6-100 HP motor
21 | IND310 | Pumps - Motor practices-1 (6-100 HP)
22 | IND311 | Pumps - Replace 100+ HP motor
23 | IND313 | Pumps - Motor practices-1 (100+ HP)
24 | IND314 | Power recovery
25 | IND315 | Refinery Controls
26 | IND405 | Drives - EE motor
27 | IND408 | Optimization control PM
28 | IND410 | Efficient Printing press (fewer cylinders)
29 | IND411 | Light cylinders
30 | IND412 | Efficient drives
31 | IND413 | Clean Room - Controls
32 | IND414 | Clean Room - New Designs
33 | IND415 | Drives - Process Controls (batch + site)
34 | IND416 | Process Drives - ASD
35 | IND418 | Extruders/injection Moulding-multipump
36 | IND419 | Direct drive Extruders
37 | IND420 | Injection Moulding - Impulse Cooling
38 | IND421 | Injection Moulding - Direct drive
39 | IND422 | Efficient grinding
40 | IND424 | Process optimization
41 | IND425 | Drives - Process Control
42 | IND426 | Efficient drives - rolling
43 | IND428 | Drives - Scheduling
44 | IND429 | Machinery
45 | IND430 | Efficient Machinery
46 | IND502 | Drying (UV/IR)
47 | IND503 | Heat Pumps - Drying
48 | IND505 | Efficient electric melting
49 | IND506 | Intelligent extruder (DOE)
50 | IND508 | Heating - Process Control
51 | IND509 | Efficient Curing ovens
52 | IND511 | Heating - Scheduling
53 | IND552 | Optimization Refrigeration
54 | IND601 | Other Process Controls (batch + site)
55 | IND602 | Efficient desalter
56 | IND603 | New transformers welding
57 | IND604 | Efficient processes (welding, etc.)
58 | IND605 | Process control
59 | IND606 | Power recovery
60 | IND607 | Refinery Controls
61 | IND703 | Chiller - EMS
62 | IND705 | Chiller VSD - for Pumps and Towers
63 | IND709 | Chiller -Window Film (Standard)
64 | IND710 | Chiller - Roof Insulation
65 | IND729 | DX -Window Film (Standard)
66 | IND730 | DX -Roof Insulation
67 | IND732 | Run Time Optimizer
68 | IND806 | LED Linear Tube 22W
69 | IND901 | Replace V-belts
70 | INL107 | Comp Air - Motor practices-1 (1-5 HP)
71 | INL108 | Comp Air - Replace 6-100 HP motor
72 | INL110 | Comp Air - Motor practices-1 (6-100 HP)
73 | INL111 | Comp Air - Replace 100+ HP motor
74 | INL113 | Comp Air - Motor practices-1 (100+ HP)
75 | INL114 | Power recovery
76 | INL115 | Refinery Controls
77 | INL202 | Fans - Controls
78 | INL203 | Fans - System Optimization
79 | INL207 | Fans - Motor practices-1 (1-5 HP)
80 | INL208 | Fans - Replace 6-100 HP motor
81 | INL210 | Fans - Motor practices-1 (6-100 HP)
82 | INL211 | Fans - Replace 100+ HP motor
83 | INL213 | Fans - Motor practices-1 (100+ HP)
84 | INL215 | Power recovery
85 | INL216 | Refinery Controls
86 | INL303 | Pumps - System Optimization
87 | INL307 | Pumps - Motor practices-1 (1-5 HP)
88 | INL308 | Pumps - Replace 6-100 HP motor
89 | INL310 | Pumps - Motor practices-1 (6-100 HP)
90 | INL311 | Pumps - Replace 100+ HP motor
91 | INL313 | Pumps - Motor practices-1 (100+ HP)
92 | INL314 | Power recovery
93 | INL315 | Refinery Controls
94 | INL405 | Drives - EE motor
95 | INL408 | Optimization control PM
96 | INL410 | Efficient Printing press (fewer cylinders)
97 | INL411 | Light cylinders
98 | INL412 | Efficient drives
99 | INL413 | Clean Room - Controls
100 | INL414 | Clean Room - New Designs
101 | INL415 | Drives - Process Controls (batch + site)
102 | INL416 | Process Drives - ASD
103 | INL418 | Extruders/injection Moulding-multipump
104 | INL419 | Direct drive Extruders
105 | INL420 | Injection Moulding - Impulse Cooling
106 | INL421 | Injection Moulding - Direct drive
107 | INL422 | Efficient grinding
108 | INL424 | Process optimization
109 | INL428 | Drives - Scheduling
110 | INL429 | Machinery
111 | INL430 | Efficient Machinery
112 | INL506 | Intelligent extruder (DOE)
113 | INL509 | Efficient Curing ovens
114 | INL511 | Heating - Scheduling
115 | INL552 | Optimization Refrigeration
116 | INL601 | Other Process Controls (batch + site)
117 | INL602 | Efficient desalter
118 | INL604 | Efficient processes (welding, etc.)
119 | INL605 | Process control
120 | INL606 | Power recovery
121 | INL607 | Refinery Controls
122 | INL703 | Chiller - EMS
123 | INL705 | Chiller VSD - for Pumps and Towers
124 | INL709 | Chiller -Window Film (Standard)
125 | INL710 | Chiller - Roof Insulation
126 | INL729 | DX -Window Film (Standard)
127 | INL730 | DX -Roof Insulation
128 | INL732 | Run Time Optimizer
129 | INL806 | LED Linear Tube 22W
130 | INL901 | Replace V-belts