## AchPot Measures in both RIM&TRC
Measures in Both RIM and TRC Achievable Potential
Residential Measures
# | Measure Name
1 | 100 106 15 SEER Split-System Heat Pump / Single Detached
2 | 100 116 Duct Repair / Single Detached
3 | 100 119 Window Film / Single Detached
4 | 100 121 Default Window With Sunscreen / Single Detached
5 | 100 122 Single Pane Clear Windows to Double Pane Low-E Windows / Single Detached
6 | 100 124 Ceiling R-0 to R-19 Insulation / Single Detached
7 | 130 132 15 SEER Split-System Heat Pump / Single Detached
8 | 130 141 Electronically Commutated Motors (ECM) on an Air Handler Unit / Single Detached
9 | 130 142 Duct Repair / Single Detached
10 | 130 145 Window Film / Single Detached
11 | 130 147 Default Window With Sunscreen / Single Detached
12 | 130 148 Single Pane Clear Windows to Double Pane Low-E Windows / Single Detached
13 | 130 150 Ceiling R-0 to R-19 Insulation / Single Detached
14 | 190 202 Ceiling R-0 to R-19 Insulation / Single Detached
15 | 100 105 14 SEER Split-System Heat Pump / Multi Attached
16 | 100 116 Duct Repair / Multi Attached
17 | 100 119 Window Film / Multi Attached
18 | 100 124 Ceiling R-0 to R-19 Insulation / Multi Attached
19 | 130 142 Duct Repair / Multi Attached
20 | 130 145 Window Film / Multi Attached
21 | 130 150 Ceiling R-0 to R-19 Insulation / Multi Attached
22 | 100 105 14 SEER Split-System Heat Pump / Single Detached - Manufactured
23 | 100 106 15 SEER Split-System Heat Pump / Single Detached - Manufactured
24 | 100 116 Duct Repair / Single Detached - Manufactured
25 | 100 122 Single Pane Clear Windows to Double Pane Low-E Windows / Single Detached - Manufactured
26 | 100 124 Ceiling R-0 to R-19 Insulation / Single Detached - Manufactured
27 | 130 132 15 SEER Split-System Heat Pump / Single Detached - Manufactured
28 | 130 142 Duct Repair / Single Detached - Manufactured
29 | 130 148 Single Pane Clear Windows to Double Pane Low-E Windows / Single Detached - Manufactured
30 | 130 150 Ceiling R-0 to R-19 Insulation / Single Detached - Manufactured
31 | Residential Load Management
Commercial Measures
# | Measure Name
1 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Office
2 | 300 305 Chiller Tune Up/Diagnostics / College
3 | 300 305 Chiller Tune Up/Diagnostics / Office
4 | 300 305 Chiller Tune Up/Diagnostics / Other
5 | 300 305 Chiller Tune Up/Diagnostics / Retail
6 | 300 305 Chiller Tune Up/Diagnostics / School
7 | 300 313 Ceiling Insulation / College
8 | 300 313 Ceiling Insulation / Food Store
9 | 300 313 Ceiling Insulation / Hospital
10 | 300 313 Ceiling Insulation / Hotel or Motel
11 | 300 313 Ceiling Insulation / Office
12 | 300 313 Ceiling Insulation / Other
13 | 300 313 Ceiling Insulation / Other Healthcare
14 | 300 313 Ceiling Insulation / Restaurant or Services
15 | 300 313 Ceiling Insulation / Retail
16 | 300 313 Ceiling Insulation / School
17 | 300 314 Roof Insulation / Food Store
18 | 300 314 Roof Insulation / Hospital
19 | 300 314 Roof Insulation / Office
20 | 300 314 Roof Insulation / Other Healthcare
21 | 300 314 Roof Insulation / Restaurant or Services
22 | 300 314 Roof Insulation / Retail
23 | 300 314 Roof Insulation / School
24 | 300 315 Cool Roof - Chiller / Office
25 | 300 315 Cool Roof - Chiller / Restaurant or Services
26 | 300 315 Cool Roof - Chiller / Retail
27 | 320 321 DX Packaged System, EER=10.9, 10 tons / College
28 | 320 321 DX Packaged System, EER=10.9, 10 tons / Food Store
29 | 320 321 DX Packaged System, EER=10.9, 10 tons / Hospital
30 | 320 321 DX Packaged System, EER=10.9, 10 tons / Hotel or Motel
31 | 320 321 DX Packaged System, EER=10.9, 10 tons / Office
32 | 320 321 DX Packaged System, EER=10.9, 10 tons / Other Healthcare
33 | 320 321 DX Packaged System, EER=10.9, 10 tons / Restaurant or Services
34 | 320 321 DX Packaged System, EER=10.9, 10 tons / Retail
35 | 320 321 DX Packaged System, EER=10.9, 10 tons / School
36 | 320 334 Ceiling Insulation / College
37 | 320 334 Ceiling Insulation / Food Store
38 | 320 334 Ceiling Insulation / Hotel or Motel
39 | 320 334 Ceiling Insulation / Office
40 | 320 334 Ceiling Insulation / Other
41 | 320 334 Ceiling Insulation / Other Healthcare
42 | 320 334 Ceiling Insulation / Retail
43 | 320 334 Ceiling Insulation / School
44 | 320 335 Roof Insulation / College
45 | 320 335 Roof Insulation / Food Store
46 | 320 335 Roof Insulation / Hotel or Motel
47 | 320 335 Roof Insulation / Office
48 | 320 335 Roof Insulation / Other
49 | 320 335 Roof Insulation / Other Healthcare
50 | 320 335 Roof Insulation / Retail
51 | 320 335 Roof Insulation / School
52 | 340 349 Ceiling Insulation / College
53 | 340 349 Ceiling Insulation / Hotel or Motel
54 | 340 349 Ceiling Insulation / Office
55 | 340 349 Ceiling Insulation / Other
56 | 340 349 Ceiling Insulation / Other Healthcare
57 | 340 349 Ceiling Insulation / Retail
58 | 340 349 Ceiling Insulation / School
59 | 340 350 Roof Insulation / Office
60 | 340 351 Cool Roof - DX / College
61 | 340 351 Cool Roof - DX / Food Store
62 | 340 351 Cool Roof - DX / Hospital
63 | 340 351 Cool Roof - DX / Hotel or Motel
64 | 340 351 Cool Roof - DX / Office
65 | 340 351 Cool Roof - DX / Other Healthcare
66 | 340 351 Cool Roof - DX / Restaurant or Services
67 | 340 351 Cool Roof - DX / Retail
68 | 340 351 Cool Roof - DX / School
69 | 360 361 HE PTAC, EER=9.6, 1 ton / College
70 | 360 361 HE PTAC, EER=9.6, 1 ton / Food Store
71 | 360 361 HE PTAC, EER=9.6, 1 ton / Office
72 | 360 361 HE PTAC, EER=9.6, 1 ton / Other
73 | 360 361 HE PTAC, EER=9.6, 1 ton / Other Healthcare
74 | 360 361 HE PTAC, EER=9.6, 1 ton / Retail
75 | 360 361 HE PTAC, EER=9.6, 1 ton / School
76 | 400 405 Demand Control Ventilation (DCV) / Hospital
77 | 400 406 Energy Recovery Ventilation (ERV) / College
78 | 400 406 Energy Recovery Ventilation (ERV) / Food Store
79 | 400 406 Energy Recovery Ventilation (ERV) / Hospital
80 | 400 406 Energy Recovery Ventilation (ERV) / Restaurant or Services
81 | 400 406 Energy Recovery Ventilation (ERV) / Retail
82 | Standby Generation
83 | Interruptible Service
84 | Curtailable Service
Industrial Measures
# | Measure Name
None