## (2) Row1
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 45
Attachment No. 1
Tab 1 of 5
Summer
|  | Summer | Reserve
Year | Projected Capacity & Firm Purchase Power Changes | MW | Margin
2019 | Okeechobee 3x1 GE 7HA02 with peak firing and wet compr. | 1586
| Total of MW changes to Summer firm capacity: | 1586 | 24.28%
2020 | Expiration of St. John's PPA | -375
| Total of MW changes to Summer firm capacity: | -375 | 22.85%
2021
| Total of MW changes to Summer firm capacity: | 0 | 23%
2022
| Total of MW changes to Summer firm capacity: | 0 | 21.55%
2023 | Filler Unit | 658.5
| Total of MW changes to Summer firm capacity: | 658.5 | 25.11%
2024 | Filler Unit | 658.5
| Total of MW changes to Summer firm capacity: | 658.5 | 22.64%
2025 | Filler Unit | 658.5
| Total of MW changes to Summer firm capacity: | 658.5 | 22.45%
2026 | Turkey Point 6 | 1100
| Expiration of Indiantown PPA | -330
| Total of MW changes to Summer firm capacity: | 770 | 20.07%
2027 | Turkey Point 7 | 1100
| Total of MW changes to Summer firm capacity: | 1100 | 23.72%
2028
| Total of MW changes to Summer firm capacity: | 0 | 20.88%
2029 | Filler Unit | 600
| Total of MW changes to Summer firm capacity: | 600 | 20.35%
2030 | Filler Unit | 750
| Total of MW changes to Summer firm capacity: | 750 | 20.34%
2031 | Filler Unit | 658.5
| Total of MW changes to Summer firm capacity: | 658.5 | 20.32%
2032 | Filler Unit | 658.5
| Filler Unit | 658.5
| Filler Unit | 658.5
| Turkey Point 3 Retirement | -811
| Total of MW changes to Summer firm capacity: | 1164.5 | 21.9%
2033 | Filler Unit | 658.5
| Filler Unit | 658.5
| Turkey Point 4 Retirement | -821
| Total of MW changes to Summer firm capacity: | 496 | 21.22%
2034 | Filler Unit | 658.5
| Total of MW changes to Summer firm capacity: | 658.5 | 21.36%
2035 | Filler Unit | 658.5
| Total of MW changes to Summer firm capacity: | 658.5 | 21.53%
2036 | Filler Unit | 658.5
| Filler Unit | 658.5
| St. Lucie 1 Retirement | -987
| Total of MW changes to Summer firm capacity: | 330 | 20.61%
2037 | Filler Unit | 658.5
| Total of MW changes to Summer firm capacity: | 658.5 | 20.88%
2038 | Filler Unit | 658.5
| Total of MW changes to Summer firm capacity: | 658.5 | 20.64%
2039 | Filler Unit | 658.5
| Total of MW changes to Summer firm capacity: | 658.5 | 20.77%
2040 | Filler Unit | 658.5
| Total of MW changes to Summer firm capacity: | 658.5 | 20.85%
2041 | Filler Unit | 658.5
| Total of MW changes to Summer firm capacity: | 658.5 | 21.8%
2042 | --- | ---
| Total of MW changes to Summer firm capacity: | 0 | 20.64%
2043 | Filler Unit | 658.5
| Filler Unit | 658.5
| St. Lucie 2 Retirement | -1050
| Total of MW changes to Summer firm capacity: | 267 | 20.9%
Note: Used 659 MW CC filler units for un-sited CC capacity from year 2023 through 2025 to facilitate
optimization simulation convergence and reduce running time.

## (2) Row2
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 45
Attachment No. 1
Tab 2 of 5
Summer
|  | Summer | Reserve
Year | Projected Capacity & Firm Purchase Power Changes | MW | Margin
2019 | Okeechobee GE 3x1 7HA02 with duct firing | 1582
| Total of MW changes to Summer firm capacity: | 1582 | 24.26%
2020 | Expiration of St. John's PPA | -375
| Total of MW changes to Summer firm capacity: | -375 | 22.85%
2021
| Total of MW changes to Summer firm capacity: | 0 | 23%
2022
| Total of MW changes to Summer firm capacity: | 0 | 21.55%
2023 | Filler Unit | 658.5
| Total of MW changes to Summer firm capacity: | 658.5 | 22.33%
2024 | Filler Unit | 658.5
| Total of MW changes to Summer firm capacity: | 658.5 | 22.63%
2025 | Filler Unit | 658.5
| Total of MW changes to Summer firm capacity: | 658.5 | 22.44%
2026 | Turkey Point 6 | 1100
| Expiration of Indiantown PPA | -330
| Total of MW changes to Summer firm capacity: | 770 | 22.46%
2027 | Turkey Point 7 | 1100
| Total of MW changes to Summer firm capacity: | 1100 | 23.71%
2028
| Total of MW changes to Summer firm capacity: | 0 | 20.87%
2029 | Filler Unit | 600
| Total of MW changes to Summer firm capacity: | 600 | 20.33%
2030 | Filler Unit | 750
| Total of MW changes to Summer firm capacity: | 750 | 20.33%
2031 | Filler Unit | 658.5
| Total of MW changes to Summer firm capacity: | 658.5 | 20.32%
2032 | Filler Unit | 658.5
| Filler Unit | 658.5
| Filler Unit | 658.5
| Turkey Point 3 Retirement | -811
| Total of MW changes to Summer firm capacity: | 1164.5 | 21.9%
2033 | Filler Unit | 658.5
| Filler Unit | 658.5
| Turkey Point 4 Retirement | -821
| Total of MW changes to Summer firm capacity: | 496 | 21.22%
2034 | Filler Unit | 658.5
| Total of MW changes to Summer firm capacity: | 658.5 | 21.36%
2035 | Filler Unit | 658.5
| Total of MW changes to Summer firm capacity: | 658.5 | 21.53%
2036 | Filler Unit | 658.5
| Filler Unit | 658.5
| St. Lucie 1 Retirement | -987
| Total of MW changes to Summer firm capacity: | 330 | 20.61%
2037 | Filler Unit | 658.5
| Total of MW changes to Summer firm capacity: | 658.5 | 20.88%
2038 | Filler Unit | 658.5
| Total of MW changes to Summer firm capacity: | 658.5 | 20.64%
2039 | Filler Unit | 658.5
| Total of MW changes to Summer firm capacity: | 658.5 | 20.77%
2040 | Filler Unit | 658.5
| Total of MW changes to Summer firm capacity: | 658.5 | 20.85%
2041 | Filler Unit | 658.5
| Total of MW changes to Summer firm capacity: | 658.5 | 21.8%
2042 | --- | ---
| Total of MW changes to Summer firm capacity: | 0 | 20.64%
2043 | Filler Unit | 658.5
| Filler Unit | 658.5
| St. Lucie 2 Retirement | -1050
| Total of MW changes to Summer firm capacity: | 267 | 20.9%
Note: Used 659 MW CC filler units for un-sited CC capacity from year 2023 through 2025 to facilitate
optimization simulation convergence and reduce running time.

## (2) Row 3
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 45
Attachment No. 1
Tab 3 of 5
Summer
|  | Summer | Reserve
Year | Projected Capacity & Firm Purchase Power Changes | MW | Margin
2019 | Okeechobee GE 3x1 7HA02 | 1482
| Total of MW changes to Summer firm capacity: | 1482 | 24.26%
2020 | Expiration of St. John's PPA | -375
| Total of MW changes to Summer firm capacity: | -375 | 22.85%
2021
| Total of MW changes to Summer firm capacity: | 0 | 23%
2022
| Total of MW changes to Summer firm capacity: | 0 | 21.55%
2023 | Filler Unit | 658.5
| Total of MW changes to Summer firm capacity: | 658.5 | 22.33%
2024 | Filler Unit | 658.5
| Total of MW changes to Summer firm capacity: | 658.5 | 22.63%
2025 | Filler Unit | 658.5
| Total of MW changes to Summer firm capacity: | 658.5 | 22.44%
2026 | Turkey Point 6 | 1100
| Expiration of Indiantown PPA | -330
| Total of MW changes to Summer firm capacity: | 770 | 22.46%
2027 | Turkey Point 7 | 1100
| Total of MW changes to Summer firm capacity: | 1100 | 23.71%
2028
| Total of MW changes to Summer firm capacity: | 0 | 20.49%
2029 | Filler Unit | 750
| Total of MW changes to Summer firm capacity: | 750 | 20.52%
2030 | Filler Unit | 750
| Total of MW changes to Summer firm capacity: | 750 | 20.51%
2031 | Filler Unit | 658.5
| Total of MW changes to Summer firm capacity: | 658.5 | 20.32%
2032 | Filler Unit | 658.5
| Filler Unit | 658.5
| Filler Unit | 658.5
| Turkey Point 3 Retirement | -811
| Total of MW changes to Summer firm capacity: | 1164.5 | 21.9%
2033 | Filler Unit | 658.5
| Filler Unit | 658.5
| Turkey Point 4 Retirement | -821
| Total of MW changes to Summer firm capacity: | 496 | 21.22%
2034 | Filler Unit | 658.5
| Total of MW changes to Summer firm capacity: | 658.5 | 21.36%
2035 | Filler Unit | 658.5
| Total of MW changes to Summer firm capacity: | 658.5 | 21.53%
2036 | Filler Unit | 658.5
| Filler Unit | 658.5
| St. Lucie 1 Retirement | -987
| Total of MW changes to Summer firm capacity: | 330 | 20.61%
2037 | Filler Unit | 658.5
| Total of MW changes to Summer firm capacity: | 658.5 | 20.88%
2038 | Filler Unit | 658.5
| Total of MW changes to Summer firm capacity: | 658.5 | 20.64%
2039 | Filler Unit | 658.5
| Total of MW changes to Summer firm capacity: | 658.5 | 20.77%
2040 | Filler Unit | 658.5
| Total of MW changes to Summer firm capacity: | 658.5 | 20.85%
2041 | Filler Unit | 658.5
| Total of MW changes to Summer firm capacity: | 658.5 | 21.8%
2042 | --- | ---
| Total of MW changes to Summer firm capacity: | 0 | 20.64%
2043 | Filler Unit | 658.5
| Filler Unit | 658.5
| St. Lucie 2 Retirement | -1050
| Total of MW changes to Summer firm capacity: | 267 | 20.9%
Note: Used 659 MW CC filler units for un-sited CC capacity from year 2023 through 2025 to facilitate
optimization simulation convergence and reduce running time.

## (3) Row 1
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 45
Attachment No. 1
Tab 4 of 5
Summer
|  | Summer | Reserve
Year | Projected Capacity & Firm Purchase Power Changes | MW | Margin
2019 | Okeechobee GE 3x1 7HA02 with peak firing and wet compr. | 1622
| Total of MW changes to Summer firm capacity: | 1622 | 22.77%
2020 | Expiration of St. John's PPA | -375
| Total of MW changes to Summer firm capacity: | -375 | 21.31%
2021
| Total of MW changes to Summer firm capacity: | 0 | 22.05%
2022
| Total of MW changes to Summer firm capacity: | 0 | 20.92%
2023 | Unsited CC | 1317
| Total of MW changes to Summer firm capacity: | 1317 | 24.39%
2024
| Total of MW changes to Summer firm capacity: | 0 | 22.18%
2025 | Unsited CC | 1317
| Total of MW changes to Summer firm capacity: | 1317 | 25.27%
2026 | Turkey Point 6 | 1100
| Expiration of Indiantown PPA | -330
| Total of MW changes to Summer firm capacity: | 770 | 21.48%
2027 | Turkey Point 7 | 1100
| Total of MW changes to Summer firm capacity: | 1100 | 22.96%
2028
| Total of MW changes to Summer firm capacity: | 0 | 24.47%
2029
| Total of MW changes to Summer firm capacity: | 0 | 21.82%
2030 | Filler Unit | 410
| Total of MW changes to Summer firm capacity: | 410 | 20.74%
2031 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.68%
2032 | Filler Unit | 660
| Filler Unit | 660
| Filler Unit | 660
| Turkey Point 3 Retirement | -811
| Total of MW changes to Summer firm capacity: | 1169 | 22.19%
2033 | Filler Unit | 660
| Filler Unit | 660
| Turkey Point 4 Retirement | -821
| Total of MW changes to Summer firm capacity: | 499 | 21.55%
2034 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.3%
2035 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.46%
2036 | Filler Unit | 660
| Filler Unit | 660
| St. Lucie 1 Retirement | -987
| Total of MW changes to Summer firm capacity: | 333 | 20.52%
2037 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.69%
2038 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.75%
2039 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.84%
2040 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.89%
2041 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.53%
2042 | --- | ---
| Total of MW changes to Summer firm capacity: | 0 | 20.18%
2043 | Filler Unit | 660
| Filler Unit | 660
| St. Lucie 2 Retirement | -1050
| Total of MW changes to Summer firm capacity: | 270 | 20.26%
2044 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.84%
Note: Analysis based on 2015 TYSP load forecast

## (3) Row 2
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 45
Attachment No. 1
Tab 5 of 5
Summer
|  | Summer | Reserve
Year | Projected Capacity & Firm Purchase Power Changes | MW | Margin
2019 | Okeechobee GE 3x1 7HA02 with peak firing and wet compr. | 1586
| Total of MW changes to Summer firm capacity: | 1586 | 22.61%
2020 | Expiration of St. John's PPA | -375
| Total of MW changes to Summer firm capacity: | -375 | 21.15%
2021
| Total of MW changes to Summer firm capacity: | 0 | 21.89%
2022
| Total of MW changes to Summer firm capacity: | 0 | 20.77%
2023 | Unsited CC | 1317
| Total of MW changes to Summer firm capacity: | 1317 | 24.24%
2024
| Total of MW changes to Summer firm capacity: | 0 | 22.03%
2025 | Unsited CC | 1317
| Total of MW changes to Summer firm capacity: | 1317 | 25.12%
2026 | Turkey Point 6 | 1100
| Expiration of Indiantown PPA | -330
| Total of MW changes to Summer firm capacity: | 770 | 21.33%
2027 | Turkey Point 7 | 1100
| Total of MW changes to Summer firm capacity: | 1100 | 22.82%
2028
| Total of MW changes to Summer firm capacity: | 0 | 24.34%
2029
| Total of MW changes to Summer firm capacity: | 0 | 21.69%
2030 | Filler Unit | 440
| Total of MW changes to Summer firm capacity: | 440 | 20.72%
2031 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.66%
2032 | Filler Unit | 660
| Filler Unit | 660
| Filler Unit | 660
| Turkey Point 3 Retirement | -811
| Total of MW changes to Summer firm capacity: | 1169 | 22.19%
2033 | Filler Unit | 660
| Filler Unit | 660
| Turkey Point 4 Retirement | -821
| Total of MW changes to Summer firm capacity: | 499 | 21.55%
2034 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.3%
2035 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.46%
2036 | Filler Unit | 660
| Filler Unit | 660
| St. Lucie 1 Retirement | -987
| Total of MW changes to Summer firm capacity: | 333 | 20.52%
2037 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.69%
2038 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.75%
2039 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.84%
2040 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.89%
2041 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 21.53%
2042 | --- | ---
| Total of MW changes to Summer firm capacity: | 0 | 20.18%
2043 | Filler Unit | 660
| Filler Unit | 660
| St. Lucie 2 Retirement | -1050
| Total of MW changes to Summer firm capacity: | 270 | 20.26%
2044 | Filler Unit | 660
| Total of MW changes to Summer firm capacity: | 660 | 20.84%
Note: Analysis based on 2015 TYSP load forecast