## Data
Florida Power & Light Company
Docket No. 150196-EI
Staff's Third Set of Interrogatories
Interrogatory No. 62 - Corrected
Attachment No. 2
Tab 1 of 1
Table Staff-62 (Part d & e)
Results of Updated Analyses of FPL Self-Build Generating Options
(Using Updated Assumptions Including new Forecasts for Fuel Cost and Load)
I. Results Using July 2015 Fuel Cost Forecast: Base Case
CC/CT Type | Manufacturer / Model | Summer Capacity (MW) | With Duct Firing? | With Peak Firing and Wet Compression? | Difference From Lowest Cost Resource Plan (CPVRR, millions)
3 x 1 CC | GE 7HA.02 | 1633 | No | Yes | ---
3 x 1 CC | GE 7HA.02 | 1622 | No | Yes | 35.0257
6 x 0 CT | GE 7FA.05 | 1386 | No | No | 71.8002
7 x 0 CT | GE 7FA.05 | 1617 | No | No | 89.7731
5 x 0 CT | GE 7FA.05 | 1155 | No | No | 105.9784
3 x 1 CC | Mitsubishi J | 1418 | Yes | No | 481.7949
3 x 1 CC | Siemens H | 1322 | Yes | No | 521.6801
II. Results Using July 2015 Fuel Cost Forecast: Low Band
CC/CT Type | Manufacturer / Model | Summer Capacity (MW) | With Duct Firing? | With Peak Firing and Wet Compression? | Difference From Lowest Cost Resource Plan (CPVRR, millions)
3 x 1 CC | GE 7HA.02 | 1633 | No | Yes | ---
3 x 1 CC | GE 7HA.02 | 1622 | No | Yes | 27.6402
6 x 0 CT | GE 7FA.05 | 1386 | No | No | 7.5911
7 x 0 CT | GE 7FA.05 | 1617 | No | No | 24.9218
5 x 0 CT | GE 7FA.05 | 1155 | No | No | 49.6248
3 x 1 CC | Mitsubishi J | 1418 | Yes | No | 473.6542
3 x 1 CC | Siemens H | 1322 | Yes | No | 501.4917
III. Results Using July 2015 Fuel Cost Forecast: High Band
CC/CT Type | Manufacturer / Model | Summer Capacity (MW) | With Duct Firing? | With Peak Firing and Wet Compression? | Difference From Lowest Cost Resource Plan (CPVRR, millions)
3 x 1 CC | GE 7HA.02 | 1633 | No | Yes | ---
3 x 1 CC | GE 7HA.02 | 1622 | No | Yes | 56.3467
6 x 0 CT | GE 7FA.05 | 1386 | No | No | 153.4419
7 x 0 CT | GE 7FA.05 | 1617 | No | No | 177.0211
5 x 0 CT | GE 7FA.05 | 1155 | No | No | 178
3 x 1 CC | Mitsubishi J | 1418 | Yes | No | 495.0495
3 x 1 CC | Siemens H | 1322 | Yes | No | 548.6063
Notes: | - CPVRR values are in 2015$.
- All generating options are assumed to be sited at FPL's Okeechobee site.
- All analyses were performed using FPL's most current planning assumptions as presented in FPL's 2015 Site Plan.
A number of these assumptions are updates to inputs utilized in the NPGU analysis which preceded the 2015 Site Plan.
In addition, two additional updates have been used in these analyses: the Oct.2015 load forecast and the July 2015 fuel
cost forecast.
- The CC unit in the first row of each table represents an enhanced design 1,633 MW version of OCEC Unit 1 (as referred
to on page 36 of FPL witness Sim's direct testimony).
- The CC unit in the second row of each table represents the 1,622 MW OCEC Unit 1 design that was designated as FPL's
NPGU and which was discussed in FPL's direct and rebuttal testimonies as OCEC Unit 1.
- The generating options in rows 3 through 7 represent enhanced designs of CT options and/or the best non-GE CC designs
identified in Exhibits SRS-4 or Exhibit SRS-5, 2nd Step, of FPL witness Sim's direct testimony.