## Sheet 1
Florida Power & Light Company Docket No. 150196-EI Staff's Fourth Set of Interrogatories Interrogatory No. 83 - Corrected Attachment No. 2 Tab 1 of 1
Table Staff - 83b-Corrected
Decrease in CPVRR Costs if OCEC (1622 MW) and All Subsequent
Future Capacity Additions Are Delayed by One Year
Difference by Components
($ Million, CPVRR 2015$)
Capital (Generation) | 584.0706
Capital (Transmission) | 25.4809
O&M | 336.8194
Fuel | -567.8337
Environmental | -140.3111
Total | 238.2261
Note: The calculation results in material decreases in the reserve margin in 2019 and numerous other years
in the scenario. This calculation does not account for the cost of short-term capacity that would be needed
in 2019 and subsequent years to enable FPL to meet two of its reliability criteria in multiple
years: the 20% minimum total reserve margin criterion and the 10% minimum generation-only
reserve margin criterion. In addition, it is unknown if this much PPA capacity would even be available
in all of the years in this scenario. Therefore, the projected decreases in CPVRR costs in this scenario
are likely overstated and unrealistic.
Table Staff - 83b-Corrected
Decrease in CPVRR Costs if OCEC (1586 MW) and All Subsequent
Future Capacity Additions Are Delayed by One Year
Difference by Components
($ Million, CPVRR 2015$)
Capital (Generation) | 580.8621
Capital (Transmission) | 25.525
O&M | 339.108
Fuel | -567.3258
Environmental | -140.7468
Total | 237.4224
Note: The calculation results in material decreases in the reserve margin in 2019 and numerous other years
in the scenario. This calculation does not account for the cost of short-term capacity that would be needed
in 2019 and subsequent years to enable FPL to meet two of its reliability criteria in multiple
years: the 20% minimum total reserve margin criterion and the 10% minimum generation-only
reserve margin criterion. In addition, it is unknown if this much PPA capacity would even be available
in all of the years in this scenario. Therefore, the projected decreases in CPVRR costs in this scenario
are likely overstated and unrealistic.