## Tab 1
Florida Power & Light Company
Docket No. 150196-EI
Staff's Fourth Set of Interrogatories
Interrogatory No. 79
Attachment No. 1
Tab 1 of 10
Tab 1 of 10
Table Staff - 79
(Refering to Exhibit SRS-5, Page 1 of 2)
Okeechobee 3X1 GE 7HA.02 DF 1582 MW
5 Year Extension Period Cost (2044 - 2048)
(CPVRR $)
Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Total
(Generation Capital) | (Transmission Capital) | (O&M) | (Fuel) | (Environmental) | ($millions)
($millions) | ($millions) | ($millions) | ($millions) | ($millions)
1155 | 99.021 | 656.35 | 6540.14 | 4539.135 | 12989.646
Note: The EGEAS model was used to conduct this analysis. The model provides nominal dollars for 30 years starting in 2014 through
2043. To capture 30 years of system cost for options with inservice dates in 2019, the model utilizes a five year extension
period from 2044 through 2048. The model only provides present value sums for this extension period as shown above.

## Tab 2
Florida Power & Light Company
Docket No. 150196-EI
Staff's Fourth Set of Interrogatories
Interrogatory No. 79
Attachment No. 1
Tab 2 of 10
Tab 2 of 10
Table Staff - 79
(Refering to Exhibit SRS-5, Page 1 of 2)
Okeechobee 3X1 GE 7HA.02 NDF 1482 MW
5 Year Extension Period Cost (2044 - 2048)
(CPVRR $)
Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Total
(Generation Capital) | (Transmission Capital) | (O&M) | (Fuel) | (Environmental) | ($millions)
($millions) | ($millions) | ($millions) | ($millions) | ($millions)
1146 | 98.651 | 660.481 | 6536.134 | 4536.412 | 12977.678
Note: The EGEAS model was used to conduct this analysis. The model provides nominal dollars for 30 years starting in 2014 through
2043. To capture 30 years of system cost for options with inservice dates in 2019, the model utilizes a five year extension
period from 2044 through 2048. The model only provides present value sums for this extension period as shown above.

## Tab 3
Florida Power & Light Company
Docket No. 150196-EI
Staff's Fourth Set of Interrogatories
Interrogatory No. 79
Attachment No. 1
Tab 3 of 10
Tab 3 of 10
Table Staff - 79
(Refering to Exhibit SRS-5, Page 1 of 2)
Okeechobee 3X1 GE 7HA.02 DF 1523 MW
5 Year Extension Period Cost (2044 - 2048)
(CPVRR $)
Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Total
(Generation Capital) | (Transmission Capital) | (O&M) | (Fuel) | (Environmental) | ($millions)
($millions) | ($millions) | ($millions) | ($millions) | ($millions)
1156.879 | 99.286 | 658.509 | 6543.943 | 4541.767 | 13000.384
Note: The EGEAS model was used to conduct this analysis. The model provides nominal dollars for 30 years starting in 2014 through
2043. To capture 30 years of system cost for options with inservice dates in 2019, the model utilizes a five year extension
period from 2044 through 2048. The model only provides present value sums for this extension period as shown above.

## Tab 4
Florida Power & Light Company
Docket No. 150196-EI
Staff's Fourth Set of Interrogatories
Interrogatory No. 79
Attachment No. 1
Tab 4 of 10
Tab 4 of 10
Table Staff - 79
(Refering to Exhibit SRS-5, Page 1 of 2)
Okeechobee 3X1 Mitsubishi J DF 1418 MW
5 Year Extension Period Cost (2044 - 2048)
(CPVRR $)
Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Total
(Generation Capital) | (Transmission Capital) | (O&M) | (Fuel) | (Environmental) | ($millions)
($millions) | ($millions) | ($millions) | ($millions) | ($millions)
1147 | 98.916 | 664.29 | 6539.615 | 4539.014 | 12988.835
Note: The EGEAS model was used to conduct this analysis. The model provides nominal dollars for 30 years starting in 2014 through
2043. To capture 30 years of system cost for options with inservice dates in 2019, the model utilizes a five year extension
period from 2044 through 2048. The model only provides present value sums for this extension period as shown above.

## Tab 5
Florida Power & Light Company
Docket No. 150196-EI
Staff's Fourth Set of Interrogatories
Interrogatory No. 79
Attachment No. 1
Tab 5 of 10
Tab 5 of 10
Table Staff - 79
(Refering to Exhibit SRS-5, Page 1 of 2)
Okeechobee 2X1 GE 7HA.02 DF 1054 MW
5 Year Extension Period Cost (2044 - 2048)
(CPVRR $)
Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Total
(Generation Capital) | (Transmission Capital) | (O&M) | (Fuel) | (Environmental) | ($millions)
($millions) | ($millions) | ($millions) | ($millions) | ($millions)
1151 | 99.84 | 665.495 | 6538.596 | 4538.088 | 12993.019
Note: The EGEAS model was used to conduct this analysis. The model provides nominal dollars for 30 years starting in 2014 through
2043. To capture 30 years of system cost for options with inservice dates in 2019, the model utilizes a five year extension
period from 2044 through 2048. The model only provides present value sums for this extension period as shown above.

## Tab 6
Florida Power & Light Company
Docket No. 150196-EI
Staff's Fourth Set of Interrogatories
Interrogatory No. 79
Attachment No. 1
Tab 6 of 10
Tab 6 of 10
Table Staff - 79
(Refering to Exhibit SRS-5, Page 1 of 2)
Okeechobee 3X1 Mitsubishi J NDF 1317 MW
5 Year Extension Period Cost (2044 - 2048)
(CPVRR $)
Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Total
(Generation Capital) | (Transmission Capital) | (O&M) | (Fuel) | (Environmental) | ($millions)
($millions) | ($millions) | ($millions) | ($millions) | ($millions)
1151 | 99.354 | 668.389 | 6537.671 | 4537.443 | 12993.857
Note: The EGEAS model was used to conduct this analysis. The model provides nominal dollars for 30 years starting in 2014 through
2043. To capture 30 years of system cost for options with inservice dates in 2019, the model utilizes a five year extension
period from 2044 through 2048. The model only provides present value sums for this extension period as shown above.

## Tab 7
Florida Power & Light Company
Docket No. 150196-EI
Staff's Fourth Set of Interrogatories
Interrogatory No. 79
Attachment No. 1
Tab 7 of 10
Tab 7 of 10
Table Staff - 79
(Refering to Exhibit SRS-5, Page 1 of 2)
Okeechobee 3X1 Siemens H DF 1322 MW
5 Year Extension Period Cost (2044 - 2048)
(CPVRR $)
Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Total
(Generation Capital) | (Transmission Capital) | (O&M) | (Fuel) | (Environmental) | ($millions)
($millions) | ($millions) | ($millions) | ($millions) | ($millions)
1149 | 99.357 | 654.106 | 6545.582 | 4542.873 | 12990.918
Note: The EGEAS model was used to conduct this analysis. The model provides nominal dollars for 30 years starting in 2014 through
2043. To capture 30 years of system cost for options with inservice dates in 2019, the model utilizes a five year extension
period from 2044 through 2048. The model only provides present value sums for this extension period as shown above.

## Tab 8
Florida Power & Light Company
Docket No. 150196-EI
Staff's Fourth Set of Interrogatories
Interrogatory No. 79
Attachment No. 1
Tab 8 of 10
Tab 8 of 10
Table Staff - 79
(Refering to Exhibit SRS-5, Page 1 of 2)
Okeechobee 3X1 Mitsubishi JAC DF 1350 MW
5 Year Extension Period Cost (2044 - 2048)
(CPVRR $)
Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Total
(Generation Capital) | (Transmission Capital) | (O&M) | (Fuel) | (Environmental) | ($millions)
($millions) | ($millions) | ($millions) | ($millions) | ($millions)
1148 | 99.181 | 666.64 | 6542.211 | 4540.551 | 12996.583
Note: The EGEAS model was used to conduct this analysis. The model provides nominal dollars for 30 years starting in 2014 through
2043. To capture 30 years of system cost for options with inservice dates in 2019, the model utilizes a five year extension
period from 2044 through 2048. The model only provides present value sums for this extension period as shown above.

## Tab 9
Florida Power & Light Company
Docket No. 150196-EI
Staff's Fourth Set of Interrogatories
Interrogatory No. 79
Attachment No. 1
Tab 9 of 10
Tab 9 of 10
Table Staff - 79
(Refering to Exhibit SRS-5, Page 1 of 2)
Okeechobee 3X1 Siemens H NDF 1221 MW
5 Year Extension Period Cost (2044 - 2048)
(CPVRR $)
Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Total
(Generation Capital) | (Transmission Capital) | (O&M) | (Fuel) | (Environmental) | ($millions)
($millions) | ($millions) | ($millions) | ($millions) | ($millions)
1153 | 99.794 | 658.328 | 6543.23 | 4541.439 | 12995.791
Note: The EGEAS model was used to conduct this analysis. The model provides nominal dollars for 30 years starting in 2014 through
2043. To capture 30 years of system cost for options with inservice dates in 2019, the model utilizes a five year extension
period from 2044 through 2048. The model only provides present value sums for this extension period as shown above.

## Tab 10
Florida Power & Light Company
Docket No. 150196-EI
Staff's Fourth Set of Interrogatories
Interrogatory No. 79
Attachment No. 1
Tab 10 of 10
Tab 10 of 10
Table Staff - 79
(Refering to Exhibit SRS-5, Page 1 of 2)
Okeechobee 3X1 Mitsubishi JAC NDF 1251 MW
5 Year Extension Period Cost (2044 - 2048)
(CPVRR $)
Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Total
(Generation Capital) | (Transmission Capital) | (O&M) | (Fuel) | (Environmental) | ($millions)
($millions) | ($millions) | ($millions) | ($millions) | ($millions)
1152 | 99.622 | 670.726 | 6539.549 | 4538.77 | 13000.667
Note: The EGEAS model was used to conduct this analysis. The model provides nominal dollars for 30 years starting in 2014 through
2043. To capture 30 years of system cost for options with inservice dates in 2019, the model utilizes a five year extension
period from 2044 through 2048. The model only provides present value sums for this extension period as shown above.