## OCEC 1582 MW
Florida Power & Light Company
Docket No. 150196-EI
Staff's Fourth Set of Interrogatories
Interrogatory No. 80
Attachment No.1
Tab 1 of 2
Page 1 of 2
Table Staff - 80
(Refering to Exhibit SRS-5, Page 1 of 2)
Okeechobee 3X1 GE 7HA.02 DF 1582 MW
(Nominal $)
| Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements |  | FPL's | Customer
Years | Generation Capital | Transmission Capital | O&M & Cap. Repl. | Fuel | Emissions | Total | Projected Sales * | Bill Impact **
| ($millions) | ($millions) | ($millions) | ($millions) | ($millions) | ($millions) | (MWh) | ($/1,000 kWh)
2019 | 208 | 15.362 | 42.136 | -105.777 | -0.327 | 159.394 | 119968294.6195 | 1.3286
2020 | 201 | 14.802 | 43.379 | -121.784 | -10.14 | 127.257 | 121659699.5679 | 1.046
2021 | 193 | 14.15 | 44.609 | -124.946 | -16.026 | 110.787 | 122065439.3847 | 0.9076
2022 | 186 | 13.544 | 45.89 | -135.836 | -15.162 | 94.436 | 122811300.97 | 0.76895
2023 | 178.956 | 12.98 | 47.065 | -94.48 | -12.982 | 131.539 | 124142724.5772 | 1.0596
2024 | 171.555 | 12.455 | 48.423 | -115.615 | -16.117 | 100.701 | 125817085.1085 | 0.80038
2025 | 164.982 | 11.956 | 49.833 | -132.462 | -18.868 | 75.441 | 126960392.2035 | 0.59421
2026 | 159.116 | 11.466 | 51.248 | -134.377 | -20.151 | 67.302 | 128621335.1606 | 0.52326
2027 | 151.975 | 10.976 | 52.615 | -113.304 | -19.418 | 82.844 | 130638965.4309 | 0.63414
2028 | 145.835 | 10.485 | 53.968 | -82.603 | -15.403 | 112.282 | 133058760.791 | 0.84385
2029 | 139.86 | 9.996 | 55.595 | -103.632 | -19.565 | 82.254 | 134917392.8228 | 0.60966
2030 | 133.385 | 9.505 | 57.145 | -99.277 | -20.292 | 80.466 | 137230930.3729 | 0.58635
2031 | 127.44 | 9.014 | 58.755 | -95.431 | -21.265 | 78.513 | 139265694.8282 | 0.56376
2032 | 121.329 | 8.525 | 60.246 | -76.851 | -18.948 | 94.301 | 141731504.6055 | 0.66535
2033 | 114.259 | 8.034 | 61.92 | -72.668 | -19.569 | 91.976 | 143216404.9893 | 0.64222
2034 | 108.801 | 7.62 | 63.526 | -63.914 | -19.129 | 96.904 | 144925543.2541 | 0.66865
2035 | 101.744 | 7.359 | 65.245 | -58.964 | -19.527 | 95.857 | 146643148.1129 | 0.65368
2036 | 96.189 | 7.176 | 67.078 | -61.095 | -20.719 | 88.629 | 148809910.5831 | 0.59559
2037 | 89.325 | 6.992 | 68.884 | -55.867 | -21.337 | 87.997 | 150197815.4201 | 0.58587
2038 | 83.752 | 6.809 | 70.727 | -51.04 | -20.48 | 89.768 | 151994418.4507 | 0.5906
2039 | 77.668 | 6.625 | 72.714 | -51.892 | -23.443 | 81.672 | 153792273.1418 | 0.53105
2040 | 73.226 | 6.441 | 74.641 | -41.467 | -20.241 | 92.6 | 156009360.7733 | 0.59355
2041 | 69.649 | 6.258 | 76.667 | -40.58 | -21.973 | 90.021 | 157558374.1982 | 0.57135
2042 | 65.56 | 6.074 | 78.935 | -46 | -24.952 | 79.617 | 159104640.244 | 0.50041
2043 | 62.797 | 5.89 | 81.15 | -44.498 | -26.409 | 78.93 | 160666229.4652 | 0.49127
* Billed KWh sales are adjusted for incremental DSM.
** This bill impact calculation is based on a comparison of two scenarios. In one scenario, a 1,582 MW version of the OCEC Unit 1 is assumed to be added
in 2019 and a scenario in which no new resources are added to replace this CC unit. Therefore, the two scenarios are not comparable in regard to
system reliability. The scenario with the 1,582 MW CC meets all three reliability criteria. The scenario with no addition violates two of FPL's three
reliability criteria and thus results in significantly system reliabiltiy for FPL's customers.
Note: The EGEAS model was used to develop this projection. The model provides nominal dollars for 30 years starting in 2014 through
2043. To capture 30 years of system cost for options with an in-service date in 2019, the model utilizes a five year extension
period from 2044 through 2048. However the model only provides a CPVRR sum for this extension period, therefore, customer
bill impact information can only be provided through 2043.

## OCEC 1633 MW
Florida Power & Light Company
Docket No. 150196-EI
Staff's Fourth Set of Interrogatories
Interrogatory No. 80
Attachment No.1
Tab 2 of 2
Page 2 of 2
Table Staff - 80
Okeechobee 3X1 GE 7HA.02 1,633 MW with Peak Firing and Wet Compression
(Nominal $)
| Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements |  | FPL's | Customer
Years | Generation Capital | Transmission Capital | O&M & Cap. Repl. | Fuel | Emissions | Total | Projected Sales * | Bill Impact **
| ($millions) | ($millions) | ($millions) | ($millions) | ($millions) | ($millions) | (MWh) | ($/1,000 kWh)
2019 | 117.9921 | 8.9728 | 4.1 | -18.01 | -0.11 | 112.9449 | 115028551.1789 | 0.98189
2020 | 189.8666 | 12.1092 | 10.1564 | -64.14 | -7.24 | 140.7521 | 115640730.7317 | 1.2172
2021 | 183.3348 | 11.6088 | 8.9622 | -76.9 | -9.15 | 117.8557 | 115762635.6472 | 1.0181
2022 | 177.0385 | 11.1355 | 19.2193 | -67.82 | -9.26 | 130.3132 | 115947585.3003 | 1.1239
2023 | 170.957 | 10.6911 | 19.9488 | -76.8 | -11.13 | 113.6669 | 116793938.0413 | 0.97323
2024 | 165.0713 | 10.2725 | 20.3368 | -57.45 | -9.63 | 128.6006 | 117910824.8191 | 1.0907
2025 | 159.3634 | 9.8714 | 24.363 | -45.34 | -9.53 | 138.7277 | 118626972.5012 | 1.1694
2026 | 153.8168 | 9.4759 | 24.8691 | -41.11 | -8.51 | 138.5418 | 119768718.5315 | 1.1567
2027 | 148.3429 | 9.0805 | 23.8522 | -43.04 | -9.11 | 129.1256 | 121079588.0998 | 1.0665
2028 | 142.8457 | 8.6851 | 41.5438 | -50.39 | -10.91 | 131.7746 | 122874115.1487 | 1.0724
2029 | 137.3089 | 8.2898 | 42.4989 | -50.14 | -10.77 | 127.1876 | 124720594.7755 | 1.0198
2030 | 131.3732 | 7.8946 | 41.0779 | -57.11 | -12.52 | 110.7157 | 126934224.194 | 0.87223
2031 | 125.4355 | 7.4993 | 38.1323 | -63.07 | -14.61 | 93.3872 | 128738761.412 | 0.7254
2032 | 119.4955 | 7.1042 | 56.115 | -67.16 | -16.38 | 99.1747 | 130624399.9548 | 0.75924
2033 | 113.5532 | 6.7162 | 46.7724 | -71.63 | -17.43 | 77.9818 | 131606155.0321 | 0.59254
2034 | 107.6088 | 6.3874 | 50.731 | -72.85 | -17.96 | 73.9172 | 133088676.4447 | 0.5554
2035 | 101.6621 | 6.1575 | 50.4339 | -73.39 | -18.36 | 66.5035 | 134779532.6099 | 0.49342
2036 | 95.7132 | 5.9761 | 44.3185 | -75.18 | -20.27 | 50.5579 | 136278792.3348 | 0.37099
2037 | 89.7621 | 5.7966 | 44.8619 | -74.89 | -20.95 | 44.5806 | 137404970.2337 | 0.32445
2038 | 83.8088 | 5.6172 | 40.6292 | -78.08 | -24.28 | 27.6952 | 138983691.8582 | 0.19927
2039 | 78.4381 | 5.4379 | 52.4724 | -81.6 | -24.88 | 29.8684 | 140651763.6759 | 0.21236
2040 | 74.2348 | 5.2586 | 43.1552 | -79.99 | -23.58 | 19.0786 | 142565521.5385 | 0.13382
2041 | 70.0369 | 5.0794 | 39.8856 | -79.91 | -23.8 | 11.2919 | 144168017.4701 | 0.078325
2042 | 66.9901 | 4.9068 | 44.2047 | -80.4 | -25.89 | 9.8115 | 145770812.3227 | 0.067308
2043 | 63.944 | 3.8163 | 50.4179 | -78.26 | -24.71 | 15.2081 | 147376143.8843 | 0.10319
2044 | 60.8986 | 3.2348 | 44.426 | -83.99 | -27.51 | -2.9406 | 148984031.5277 | -0.019738
2045 | 57.8539 | 3.1236 | 44.1515 | -86.4379 | -29.7108 | -11.0197 | 150594494.9039 | -0.073174
2046 | 54.81 | 3.0125 | 39.4869 | -88.9574 | -32.0877 | -23.7357 | 152207553.9463 | -0.15594
2047 | 51.7669 | 2.9013 | 38.2061 | -91.5507 | -34.6547 | -33.331 | 153823228.8747 | -0.21668
2048 | 48.7246 | 2.7902 | 32.5694 | -94.2199 | -37.4271 | -47.5628 | 155441540.2 | -0.30599
2049 | 21.5073 | 2.6792 | 29.2502 | -96.9673 | -40.4212 | -83.9518 | 157062508.7281 | -0.53451
* Billed KWh sales are adjusted for incremental DSM.
** This bill impact calculation is based on a comparison of two scenarios. In one scenario, a 1,633 MW updated version of the OCEC Unit 1 is assumed to
be added in 2019 and a scenario in which no new resources are added to replace this CC unit. Therefore, the two scenarios are not comparable in
regard to system reliability. The scenario with the 1,633 MW CC meets all three reliability criteria. The scenario with no addition violates two of FPL's
three reliability criteria and thus results in significantly system reliabiltiy for FPL's customers.
Note: The UPLAN model was used to develop this projection. The model provides all projections for all years shown in the above table.