## Tab 1
Florida Power & Light Company
Docket No. 150196-EI
Staff's Fourth Set of Interrogatories
Interrogatory No. 81
Attachment No. 1
Tab 1 of 5
Tab 1 of 5
Table Staff - 81
(Refering to Exhibit SRS-5, Page 2 of 2)
Okeechobee 3X1 GE 7HA.02 PF 1586 MW
5 Year Extension Period Cost (2045 - 2049)
(CPVRR $)
Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Total
(Generation Capital) | (Transmission Capital) | (O&M) | (Fuel) | (Environmental) | ($millions)
($millions) | ($millions) | ($millions) | ($millions) | ($millions)
1156 | 99.219 | 637.356 | 6535.377 | 4536.076 | 12964.028
Note: The EGEAS model was used to conduct this analysis. The model provides nominal dollars for 30 years starting in 2015 through
2044. To capture 30 years of system cost for options with inservice dates in 2019, the model utilizes a five year extension
period from 2045 through 2049. The model only provides present value sums for this extension period as shown above.

## Tab 2
Florida Power & Light Company
Docket No. 150196-EI
Staff's Fourth Set of Interrogatories
Interrogatory No. 81
Attachment No. 1
Tab 2 of 5
Tab 2 of 5
Table Staff - 81
(Refering to Exhibit SRS-5, Page 2 of 2)
Okeechobee 3X1 GE 7HA.02 DF 1582 MW
5 Year Extension Period Cost (2045 - 2049)
(CPVRR $)
Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Total
(Generation Capital) | (Transmission Capital) | (O&M) | (Fuel) | (Environmental) | ($millions)
($millions) | ($millions) | ($millions) | ($millions) | ($millions)
1157 | 99.219 | 637.656 | 6537.939 | 4537.809 | 12969.623
Note: The EGEAS model was used to conduct this analysis. The model provides nominal dollars for 30 years starting in 2015 through
2044. To capture 30 years of system cost for options with inservice dates in 2019, the model utilizes a five year extension
period from 2045 through 2049. The model only provides present value sums for this extension period as shown above.

## Tab 3
Florida Power & Light Company
Docket No. 150196-EI
Staff's Fourth Set of Interrogatories
Interrogatory No. 81
Attachment No. 1
Tab 3 of 5
Tab 3 of 5
Table Staff - 81
(Refering to Exhibit SRS-5, Page 2 of 2)
Okeechobee 3X1 GE 7HA.02 NDF 1482 MW
5 Year Extension Period Cost (2045 - 2049)
(CPVRR $)
Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Total
(Generation Capital) | (Transmission Capital) | (O&M) | (Fuel) | (Environmental) | ($millions)
($millions) | ($millions) | ($millions) | ($millions) | ($millions)
1163 | 99.841 | 643.434 | 6533.177 | 4534.385 | 12973.837
Note: The EGEAS model was used to conduct this analysis. The model provides nominal dollars for 30 years starting in 2015 through
2044. To capture 30 years of system cost for options with inservice dates in 2019, the model utilizes a five year extension
period from 2045 through 2049. The model only provides present value sums for this extension period as shown above.

## Tab 4
Florida Power & Light Company
Docket No. 150196-EI
Staff's Fourth Set of Interrogatories
Interrogatory No. 81
Attachment No. 1
Tab 4 of 5
Tab 4 of 5
Table Staff - 81
(Refering to Exhibit SRS-5, Page 2 of 2)
Okeechobee 3X1 GE 7HA.02 PF 1622 MW
5 Year Extension Period Cost (2045 - 2049)
(CPVRR $)
Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Total
(Generation Capital) | (Transmission Capital) | (O&M) | (Fuel) | (Environmental) | ($millions)
($millions) | ($millions) | ($millions) | ($millions) | ($millions)
1000.088 | 46.104 | 956.972 | 6514.024 | 4096.491 | 12613.679
Note: The EGEAS model was used to conduct this analysis. The model provides nominal dollars for 30 years starting in 2015 through
2044. To capture 30 years of system cost for options with inservice dates in 2019, the model utilizes a five year extension
period from 2045 through 2049. The model only provides present value sums for this extension period as shown above.

## Tab 5
Florida Power & Light Company
Docket No. 150196-EI
Staff's Fourth Set of Interrogatories
Interrogatory No. 81
Attachment No. 1
Tab 5 of 5
Tab 5 of 5
Table Staff - 81
(Refering to Exhibit SRS-5, Page 2 of 2)
Okeechobee 3X1 GE 7HA.02 PF 1586 MW
5 Year Extension Period Cost (2045 - 2049)
(CPVRR $)
Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Total
(Generation Capital) | (Transmission Capital) | (O&M) | (Fuel) | (Environmental) | ($millions)
($millions) | ($millions) | ($millions) | ($millions) | ($millions)
1000.553 | 46.166 | 959.206 | 6515.079 | 4097.089 | 12618.093
Note: The EGEAS model was used to conduct this analysis. The model provides nominal dollars for 30 years starting in 2015 through
2044. To capture 30 years of system cost for options with inservice dates in 2019, the model utilizes a five year extension
period from 2045 through 2049. The model only provides present value sums for this extension period as shown above.