## Discount Rate Adjustment
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 42 - Corrected
Attachment No. 1
Tab 1 of 21
Annual
Discount
Factor
| Year | 7.51%
| 2015 | 1
| 2016 | 0.93015
| 2017 | 0.86517
| 2018 | 0.80474
| 2019 | 0.74852
| 2020 | 0.69623
| 2021 | 0.6476
| 2022 | 0.60236
| 2023 | 0.56029
| 2024 | 0.52115
| 2025 | 0.48474
| 2026 | 0.45088
| 2027 | 0.41939
| 2028 | 0.39009
| 2029 | 0.36284
| 2030 | 0.33749
| 2031 | 0.31392
| 2032 | 0.29199
| 2033 | 0.27159
| 2034 | 0.25262
| 2035 | 0.23498
| 2036 | 0.21856
| 2037 | 0.20329
| 2038 | 0.18909
| 2039 | 0.17588
| 2040 | 0.1636
| 2041 | 0.15217
| 2042 | 0.14154
| 2043 | 0.13165
| 2044 | 0.12246
| 2045 | 0.1139
| 2046 | 0.10595
| 2047 | 0.098545
| 2048 | 0.091662
| 2049 | 0.085259
| 2050 | 0.079303
| 2051 | 0.073763
| 2052 | 0.068611
| 2053 | 0.063818
| 2054 | 0.05936
| 2055 | 0.055214
| 2056 | 0.051357
| 2057 | 0.047769
| 2058 | 0.044432
| 2059 | 0.041329
| 2060 | 0.038442
| 2061 | 0.035756
| 2062 | 0.033259
| 2063 | 0.030935
| 2064 | 0.028774
| 2065 | 0.026764
| 2066 | 0.024895
| 2067 | 0.023156
| 2068 | 0.021538
| 2069 | 0.020034
| 2070 | 0.018634
| 2071 | 0.017333
| 2072 | 0.016122
| 2073 | 0.014996
| 2074 | 0.013948
| 2075 | 0.012974
| 2076 | 0.012068
| 2077 | 0.011225
| 2078 | 0.010441
| 2079 | 0.0097112
| 2080 | 0.0090328
| 2081 | 0.0084019
| 2082 | 0.007815
| 2083 | 0.007269
| 2084 | 0.0067613
| 2085 | 0.006289
| 2086 | 0.0058497
| 2087 | 0.005441
| 2088 | 0.005061
| 2089 | 0.0047074
| 2090 | 0.0043786
| 2091 | 0.0040727
| 2092 | 0.0037882
| 2093 | 0.0035236
| 2094 | 0.0032775

## Row 1-pv
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 42 - Corrected
Attachment No. 1
Tab 2 of 21
1 | [7 empty] | Page 1 of 10
Table Staff - 42
(Refering to Exhibit SRS-5, Page 1 of 2)
Okeechobee 3X1 GE 7HA.02 DF 1582 MW
(Present Value 2015$)
|  | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Total | Customer Bill Impact ($/1,000 kWh) *
| Years | (Generation Capital) | (Transmission Capital) | (O&M) | (Fuel) | (Environmental) | ($millions)
|  | ($millions) | ($millions) | ($millions) | ($millions) | ($millions)
| 2019 | 155.6926 | 11.4988 | 41.1949 | 2831.1758 | 6.4979 | 3046.06 | -
| 2020 | 139.9432 | 10.3057 | 39.0247 | 2763.6377 | 266.6085 | 3219.5196 | -
| 2021 | 124.9868 | 9.1635 | 37.2137 | 2677.1155 | 365.0897 | 3213.5692 | -
| 2022 | 112.0394 | 8.1584 | 35.6424 | 2585.1262 | 303.3016 | 3044.2681 | -
| 2023 | 211.7878 | 16.9531 | 61.3574 | 2487.6845 | 319.6572 | 3097.44 | -
| 2024 | 189.6975 | 15.1669 | 58.7484 | 2446.8545 | 340.4007 | 3050.868 | -
| 2025 | 169.66 | 13.5098 | 58.5172 | 2360.3015 | 361.3821 | 2963.3705 | -
| 2026 | 151.9471 | 12.0381 | 54.4115 | 2211.3903 | 374.2011 | 2803.9881 | -
| 2027 | 135.4616 | 10.7258 | 50.8337 | 2023.5173 | 367.319 | 2587.8574 | -
| 2028 | 211.0387 | 17.368 | 70.2661 | 1919.9889 | 377.5158 | 2596.1776 | -
| 2029 | 189.04 | 15.5085 | 67.3189 | 1897.6805 | 404.8877 | 2574.4357 | -
| 2030 | 207.5593 | 17.1626 | 73.882 | 1872.5608 | 431.7102 | 2602.8749 | -
| 2031 | 225.0802 | 18.7096 | 80.2921 | 1813.1199 | 457.9557 | 2595.1576 | -
| 2032 | 314.7662 | 26.5172 | 104.5141 | 1834.2505 | 514.0433 | 2794.0912 | -
| 2033 | 353.8872 | 29.9338 | 117.7945 | 1848.6132 | 571.139 | 2921.3677 | -
| 2034 | 351.1449 | 29.6773 | 121.0349 | 1777.1597 | 594.7339 | 2873.7508 | -
| 2035 | 346.589 | 29.3353 | 123.7957 | 1713.2635 | 620.771 | 2833.7545 | -
| 2036 | 373.3032 | 31.6982 | 134.1372 | 1741.8548 | 692.0767 | 2973.0701 | -
| 2037 | 363.6934 | 30.9253 | 135.6143 | 1668.0027 | 713.4316 | 2911.6673 | -
| 2038 | 353.7936 | 29.9344 | 136.781 | 1614.6952 | 742.3393 | 2877.5436 | -
| 2039 | 343.5022 | 29.1402 | 137.5923 | 1561.2097 | 770.2145 | 2841.6589 | -
| 2040 | 333.2495 | 28.3264 | 138.0396 | 1505.7633 | 794.3223 | 2799.701 | -
| 2041 | 322.9051 | 27.4825 | 138.2134 | 1452.1008 | 818.9532 | 2759.6551 | -
| 2042 | 287.6103 | 24.4712 | 132.3289 | 1413.9071 | 840.4771 | 2698.7946 | -
| 2043 | 303.3293 | 25.8759 | 138.0475 | 1405.4016 | 901.9298 | 2774.584 | -
* Bill impact is calculated using the difference in revenue requirements of a particular option compared to the 1582 MW CC ( which is
the least cost option at this step of analysis).Therefore, there will be no bill impact calculated for the 1582 MW CC.
The bill impact is calculated based on the nominal annual revenue requirements, and not the present value revenue requirements.
Note: The EGEAS model was used to conduct this analysis. The model provides nominal dollars for 30 years starting in 2014 through
2043. To capture 30 years of system cost for options with inservice dates in 2019, the model utilizes a five year extension
period from 2044 through 2048. However the model only provides a CPVRR sum for this extension period, therefore, customer
bill impact information can only be provided through 2043. The CPVRR differences in SRS-5 are also calculated using this sum.

## Row 2-pv
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 42 - Corrected
Attachment No. 1
Tab 3 of 21
2 | [7 empty] | Page 2 of 10
Table Staff - 42
(Refering to Exhibit SRS-5, Page 1 of 2)
Okeechobee 3X1 GE 7HA.02 NDF 1482 MW
(Present Value 2015$)
|  | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Total | Customer Bill Impact ($/1,000 kWh)*
| Years | (Generation Capital) | (Transmission Capital) | (O&M) | (Fuel) | (Environmental) | ($millions)
|  | ($millions) | ($millions) | ($millions) | ($millions) | ($millions)
| 2019 | 153.447 | 11.4995 | 41.391 | 2831.1938 | 6.5114 | 3044.0427 | -0.022464
| 2020 | 137.8545 | 10.3064 | 39.1924 | 2763.277 | 266.5047 | 3217.135 | -0.028152
| 2021 | 123.044 | 9.1642 | 37.3762 | 2676.6078 | 364.9284 | 3211.1206 | -0.030975
| 2022 | 110.2323 | 8.159 | 35.7954 | 2585.2359 | 303.2004 | 3042.623 | -0.022237
| 2023 | 210.1069 | 16.9537 | 61.5053 | 2486.9623 | 319.52 | 3095.0482 | -0.034388
| 2024 | 188.6552 | 15.1675 | 58.887 | 2446.3495 | 340.2647 | 3049.3239 | -0.02355
| 2025 | 270.9712 | 22.3956 | 81.1702 | 2325.8164 | 355.1459 | 3055.4993 | 1.497
| 2026 | 242.5743 | 20.0016 | 77.5052 | 2178.8353 | 367.992 | 2886.9084 | 1.4298
| 2027 | 216.8224 | 17.8067 | 73.6693 | 1997.8442 | 362.0737 | 2668.2164 | 1.4667
| 2028 | 193.8747 | 15.8591 | 70.3863 | 1919.3917 | 377.2572 | 2576.769 | -0.37393
| 2029 | 173.075 | 14.1257 | 67.4289 | 1897.08 | 404.7052 | 2556.4148 | -0.36812
| 2030 | 199.7969 | 16.4967 | 75.4939 | 1870.1676 | 431.1135 | 2593.0687 | -0.21173
| 2031 | 217.8601 | 18.1329 | 81.8297 | 1810.903 | 457.3696 | 2586.0953 | -0.20729
| 2032 | 308.3424 | 26.0044 | 105.979 | 1832.3963 | 513.4838 | 2786.206 | -0.19054
| 2033 | 348.1838 | 29.4669 | 119.1978 | 1846.5928 | 570.4616 | 2913.9029 | -0.19191
| 2034 | 345.8399 | 29.2443 | 122.3639 | 1775.5654 | 594.1845 | 2867.198 | -0.17898
| 2035 | 341.8895 | 28.9323 | 125.0604 | 1711.7371 | 620.2425 | 2827.8618 | -0.17101
| 2036 | 368.7135 | 31.3236 | 135.3465 | 1740.4156 | 691.5285 | 2967.3276 | -0.17656
| 2037 | 359.6275 | 30.5775 | 136.7652 | 1666.6941 | 712.8945 | 2906.5587 | -0.16731
| 2038 | 350.0117 | 29.6114 | 137.8798 | 1612.9344 | 741.5983 | 2872.0357 | -0.19164
| 2039 | 339.9845 | 28.8403 | 138.6382 | 1560.0872 | 769.6689 | 2837.2192 | -0.16413
| 2040 | 329.9775 | 28.0628 | 139.0364 | 1504.7161 | 793.7715 | 2795.5643 | -0.16208
| 2041 | 319.8617 | 27.2796 | 139.165 | 1450.787 | 818.4457 | 2755.5389 | -0.17168
| 2042 | 284.921 | 24.3345 | 133.2369 | 1413.6593 | 840.117 | 2696.2687 | -0.11217
| 2043 | 300.6962 | 25.7842 | 138.9163 | 1404.5422 | 901.3887 | 2771.3275 | -0.15396
* Bill impact is calculated using the difference in revenue requirements of a particular option compared to the 1582 MW CC ( which is
the least cost option at this step of analysis).Therefore, there will be no bill impact calculated for the 1582 MW CC.
The bill impact is calculated based on the nominal annual revenue requirements, and not the present value revenue requirements.
Note: The EGEAS model was used to conduct this analysis. The model provides nominal dollars for 30 years starting in 2014 through
2043. To capture 30 years of system cost for options with inservice dates in 2019, the model utilizes a five year extension
period from 2044 through 2048. However the model only provides a CPVRR sum for this extension period, therefore, customer
bill impact information can only be provided through 2043. The CPVRR differences in SRS-5 are also calculated using this sum.

## Row 3-pv
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 42 - Corrected
Attachment No. 1
Tab 4 of 21
3 | [7 empty] | Page 3 of 10
Table Staff - 42
(Refering to Exhibit SRS-5, Page 1 of 2)
Okeechobee 3X1 GE 7HA.02 DF 1523 MW
(Present Value 2015$)
|  | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Total | Customer Bill Impact ($/1,000 kWh)*
| Years | (Generation Capital) | (Transmission Capital) | (O&M) | (Fuel) | (Environmental) | ($millions)
|  | ($millions) | ($millions) | ($millions) | ($millions) | ($millions)
| 2019 | 151.2508 | 11.4988 | 41.156 | 2838.9694 | 6.5136 | 3049.3887 | 0.037068
| 2020 | 136.0234 | 10.3057 | 38.9724 | 2770.6905 | 267.3242 | 3223.3162 | 0.044822
| 2021 | 121.6413 | 9.1635 | 37.1658 | 2683.7184 | 366.0585 | 3217.7475 | 0.052857
| 2022 | 108.7849 | 8.1584 | 35.596 | 2591.892 | 304.1226 | 3048.5539 | 0.057934
| 2023 | 208.8082 | 16.9531 | 61.3159 | 2493.4801 | 320.4691 | 3101.0264 | 0.051562
| 2024 | 187.2893 | 15.1669 | 58.7072 | 2452.5709 | 341.2544 | 3054.9887 | 0.062845
| 2025 | 167.4699 | 13.5098 | 59.4716 | 2365.5197 | 362.2822 | 2968.2533 | 0.07934
| 2026 | 149.7378 | 12.0381 | 55.3263 | 2216.4452 | 375.1348 | 2808.6822 | 0.080943
| 2027 | 133.8327 | 10.7258 | 50.7935 | 2028.4636 | 368.253 | 2592.0685 | 0.076861
| 2028 | 209.5357 | 17.368 | 70.1971 | 1924.2842 | 378.4212 | 2599.8062 | 0.069909
| 2029 | 187.5933 | 15.5085 | 67.2619 | 1902.0339 | 405.8445 | 2578.2422 | 0.077759
| 2030 | 210.1016 | 17.4893 | 74.7197 | 1875.6553 | 432.45 | 2610.4159 | 0.16282
| 2031 | 227.278 | 19.0025 | 81.0772 | 1815.9882 | 458.7176 | 2602.0635 | 0.15796
| 2032 | 316.6896 | 26.7773 | 105.2455 | 1836.8644 | 514.7616 | 2800.3383 | 0.15095
| 2033 | 355.8289 | 30.1657 | 118.4873 | 1850.8938 | 571.8478 | 2927.2235 | 0.15055
| 2034 | 352.6897 | 29.884 | 121.6957 | 1779.2166 | 595.4112 | 2878.8972 | 0.14057
| 2035 | 348.1619 | 29.5197 | 124.4287 | 1715.0747 | 621.4343 | 2838.6194 | 0.14119
| 2036 | 374.5672 | 31.8628 | 134.7432 | 1743.5493 | 692.7621 | 2977.4846 | 0.13573
| 2037 | 364.9526 | 31.0723 | 136.1964 | 1669.4575 | 714.0649 | 2915.7435 | 0.1335
| 2038 | 354.7998 | 30.0651 | 137.3426 | 1615.5061 | 742.7542 | 2880.4677 | 0.10174
| 2039 | 344.487 | 29.2564 | 138.1282 | 1562.3996 | 770.7989 | 2845.0701 | 0.12611
| 2040 | 334.1512 | 28.4294 | 138.5498 | 1506.7989 | 794.8623 | 2802.7917 | 0.1211
| 2041 | 323.6966 | 27.5737 | 138.7098 | 1452.6538 | 819.4913 | 2762.1252 | 0.10302
| 2042 | 288.3748 | 24.5516 | 132.8007 | 1414.7582 | 841.0192 | 2701.5044 | 0.12033
| 2043 | 303.892 | 25.9466 | 138.5006 | 1406.2168 | 902.4525 | 2777.0086 | 0.11462
* Bill impact is calculated using the difference in revenue requirements of a particular option compared to the 1582 MW CC ( which is
the least cost option at this step of analysis).Therefore, there will be no bill impact calculated for the 1582 MW CC.
The bill impact is calculated based on the nominal annual revenue requirements, and not the present value revenue requirements.
Note: The EGEAS model was used to conduct this analysis. The model provides nominal dollars for 30 years starting in 2014 through
2043. To capture 30 years of system cost for options with inservice dates in 2019, the model utilizes a five year extension
period from 2044 through 2048. However the model only provides a CPVRR sum for this extension period, therefore, customer
bill impact information can only be provided through 2043. The CPVRR differences in SRS-5 are also calculated using this sum.

## Row 4-pv
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 42 - Corrected
Attachment No. 1
Tab 5 of 21
4 | [7 empty] | Page 4 of 10
Table Staff - 42
(Refering to Exhibit SRS-5, Page 1 of 2)
Okeechobee 3X1 Mitsubishi J DF 1418 MW
(Present Value 2015$)
|  | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Total | Customer Bill Impact ($/1,000 kWh)*
| Years | (Generation Capital) | (Transmission Capital) | (O&M) | (Fuel) | (Environmental) | ($millions)
|  | ($millions) | ($millions) | ($millions) | ($millions) | ($millions)
| 2019 | 145.9618 | 11.4995 | 42.0153 | 2837.8511 | 6.5181 | 3043.8459 | -0.024657
| 2020 | 130.8921 | 10.3064 | 39.7954 | 2770.4294 | 267.3569 | 3218.7802 | -0.0087293
| 2021 | 117.2156 | 9.1642 | 37.9552 | 2683.418 | 365.8823 | 3213.6353 | 0.00083562
| 2022 | 104.8111 | 8.159 | 36.3532 | 2591.9986 | 304.1786 | 3045.5005 | 0.01666
| 2023 | 205.0644 | 16.9537 | 62.0477 | 2492.4408 | 320.4372 | 3096.9436 | -0.0071369
| 2024 | 183.9649 | 15.1675 | 59.4061 | 2451.7637 | 341.2127 | 3051.5148 | 0.0098635
| 2025 | 267.0933 | 22.3956 | 81.6719 | 2330.6619 | 356.0053 | 3057.828 | 1.5348
| 2026 | 239.4181 | 20.0016 | 77.993 | 2183.6864 | 368.919 | 2890.0181 | 1.4835
| 2027 | 213.8867 | 17.8067 | 74.1398 | 2001.57 | 362.845 | 2670.2483 | 1.5038
| 2028 | 191.1441 | 15.8591 | 70.8392 | 1923.1042 | 378.0448 | 2578.9914 | -0.33111
| 2029 | 170.5351 | 14.1257 | 68.1415 | 1900.8242 | 405.5662 | 2559.1927 | -0.31138
| 2030 | 201.1469 | 16.8234 | 76.8196 | 1872.7275 | 431.7486 | 2599.2661 | -0.07792
| 2031 | 219.4297 | 18.4255 | 83.102 | 1813.2659 | 458.0012 | 2592.2243 | -0.067095
| 2032 | 309.5104 | 26.2646 | 107.2088 | 1834.4324 | 514.0696 | 2791.4858 | -0.062957
| 2033 | 349.5417 | 29.6986 | 120.373 | 1848.7577 | 571.1811 | 2919.5521 | -0.046678
| 2034 | 346.8504 | 29.451 | 123.5055 | 1777.2456 | 594.7923 | 2871.8448 | -0.052061
| 2035 | 342.8294 | 29.1168 | 126.1586 | 1713.2115 | 620.7771 | 2832.0934 | -0.048205
| 2036 | 369.8063 | 31.4884 | 136.3991 | 1741.826 | 692.0859 | 2971.6055 | -0.045031
| 2037 | 360.4407 | 30.7245 | 137.7794 | 1668.0147 | 713.4367 | 2910.3959 | -0.041638
| 2038 | 350.7681 | 29.7421 | 138.8563 | 1614.1348 | 742.1434 | 2875.6447 | -0.066068
| 2039 | 340.6881 | 28.9566 | 139.5766 | 1561.2116 | 770.2166 | 2840.6495 | -0.037317
| 2040 | 330.6319 | 28.1659 | 139.9407 | 1505.7637 | 794.3007 | 2798.8029 | -0.03519
| 2041 | 320.4704 | 27.3707 | 140.0334 | 1451.7532 | 818.9561 | 2758.5839 | -0.044682
| 2042 | 285.3457 | 24.4149 | 134.0684 | 1414.5602 | 840.6481 | 2699.0372 | 0.010773
| 2043 | 301.2228 | 25.8549 | 139.7149 | 1405.2889 | 901.9055 | 2773.987 | -0.028226
* Bill impact is calculated using the difference in revenue requirements of a particular option compared to the 1582 MW CC ( which is
the least cost option at this step of analysis).Therefore, there will be no bill impact calculated for the 1582 MW CC.
The bill impact is calculated based on the nominal annual revenue requirements, and not the present value revenue requirements.
Note: The EGEAS model was used to conduct this analysis. The model provides nominal dollars for 30 years starting in 2014 through
2043. To capture 30 years of system cost for options with inservice dates in 2019, the model utilizes a five year extension
period from 2044 through 2048. However the model only provides a CPVRR sum for this extension period, therefore, customer
bill impact information can only be provided through 2043. The CPVRR differences in SRS-5 are also calculated using this sum.

## Row 5-pv
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 42 - Corrected
Attachment No. 1
Tab 6 of 21
5 | [7 empty] | Page 5 of 10
Table Staff - 42
(Refering to Exhibit SRS-5, Page 1 of 2)
Okeechobee 2X1 GE 7HA.02 DF 1054 MW
(Present Value 2015$)
|  | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Total | Customer Bill Impact ($/1,000 kWh)*
| Years | (Generation Capital) | (Transmission Capital) | (O&M) | (Fuel) | (Environmental) | ($millions)
|  | ($millions) | ($millions) | ($millions) | ($millions) | ($millions)
| 2019 | 116.0209 | 10.5961 | 34.075 | 2851.2983 | 6.5593 | 3018.5496 | -0.30636
| 2020 | 104.4352 | 9.4966 | 32.5991 | 2785.81 | 268.8775 | 3201.2184 | -0.21606
| 2021 | 93.2544 | 8.4441 | 30.658 | 2696.7954 | 367.8808 | 3197.0327 | -0.20919
| 2022 | 199.9844 | 17.6221 | 57.7883 | 2556.5026 | 299.3206 | 3131.2179 | 1.1754
| 2023 | 179.2912 | 15.7575 | 55.3847 | 2502.2228 | 322.0491 | 3074.7053 | -0.32686
| 2024 | 159.9921 | 14.0334 | 53.5333 | 2462.3977 | 342.8944 | 3032.8509 | -0.27478
| 2025 | 245.7646 | 21.3951 | 75.5704 | 2338.2549 | 357.397 | 3038.382 | 1.2188
| 2026 | 220.0302 | 19.1178 | 72.1456 | 2190.2408 | 370.2342 | 2871.7687 | 1.1688
| 2027 | 196.6919 | 17.0258 | 68.5457 | 2007.0657 | 363.9627 | 2653.2917 | 1.1943
| 2028 | 175.9306 | 15.1659 | 65.4871 | 1929.1327 | 379.1632 | 2564.8795 | -0.60299
| 2029 | 168.7209 | 14.5278 | 68.3523 | 1902.4392 | 406.121 | 2560.1612 | -0.29159
| 2030 | 210.9342 | 18.1609 | 77.3379 | 1871.3364 | 431.5033 | 2609.2728 | 0.13814
| 2031 | 228.2194 | 19.6159 | 83.5804 | 1812.4939 | 458.021 | 2601.9307 | 0.15493
| 2032 | 317.3941 | 27.3195 | 107.6839 | 1834.117 | 513.7948 | 2800.3094 | 0.15026
| 2033 | 356.6032 | 30.6353 | 120.8141 | 1848.5519 | 570.9054 | 2927.5098 | 0.15791
| 2034 | 353.4185 | 30.2833 | 123.9236 | 1776.1343 | 594.5708 | 2878.3306 | 0.12509
| 2035 | 348.7038 | 29.8546 | 126.5593 | 1712.7026 | 620.5962 | 2838.4164 | 0.13529
| 2036 | 374.8332 | 32.141 | 136.7896 | 1741.6161 | 691.8089 | 2977.1889 | 0.12664
| 2037 | 365.1164 | 31.3177 | 138.1396 | 1667.613 | 713.2515 | 2915.4382 | 0.1235
| 2038 | 354.9282 | 30.2963 | 139.2029 | 1613.6965 | 741.9275 | 2880.0514 | 0.087253
| 2039 | 344.5575 | 29.4585 | 139.9013 | 1561.3163 | 770.2148 | 2845.4485 | 0.1401
| 2040 | 334.0675 | 28.6064 | 140.2506 | 1504.8787 | 793.8731 | 2801.6763 | 0.077393
| 2041 | 323.5138 | 27.7557 | 140.3288 | 1450.9737 | 818.6158 | 2761.1878 | 0.063926
| 2042 | 288.1765 | 24.7501 | 134.3485 | 1414.211 | 840.4443 | 2701.9303 | 0.13924
| 2043 | 303.7242 | 26.1453 | 139.9786 | 1405.0705 | 901.7215 | 2776.6401 | 0.097202
* Bill impact is calculated using the difference in revenue requirements of a particular option compared to the 1582 MW CC ( which is
the least cost option at this step of analysis).Therefore, there will be no bill impact calculated for the 1582 MW CC.
The bill impact is calculated based on the nominal annual revenue requirements, and not the present value revenue requirements.
Note: The EGEAS model was used to conduct this analysis. The model provides nominal dollars for 30 years starting in 2014 through
2043. To capture 30 years of system cost for options with inservice dates in 2019, the model utilizes a five year extension
period from 2044 through 2048. However the model only provides a CPVRR sum for this extension period, therefore, customer
bill impact information can only be provided through 2043. The CPVRR differences in SRS-5 are also calculated using this sum.

## Row 6-pv
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 42 - Corrected
Attachment No. 1
Tab 7 of 21
27 | [7 empty] | Page 6 of 10
Table Staff - 42
(Refering to Exhibit SRS-5, Page 1 of 2)
Okeechobee 3X1 Mitsubishi J NDF 1317 MW
(Present Value 2015$)
|  | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Total | Customer Bill Impact ($/1,000 kWh)*
| Years | (Generation Capital) | (Transmission Capital) | (O&M) | (Fuel) | (Environmental) | ($millions)
|  | ($millions) | ($millions) | ($millions) | ($millions) | ($millions)
| 2019 | 142.9677 | 11.4906 | 42.1695 | 2838.5106 | 6.5219 | 3041.6602 | -0.048996
| 2020 | 128.8034 | 10.298 | 39.9381 | 2770.6815 | 267.311 | 3217.032 | -0.029369
| 2021 | 115.2728 | 9.1564 | 38.0951 | 2685.3213 | 365.9406 | 3213.7862 | 0.0027444
| 2022 | 103.004 | 8.1524 | 37.8091 | 2591.0402 | 304.4599 | 3044.4656 | 0.0026708
| 2023 | 203.3835 | 16.9481 | 62.1743 | 2492.085 | 320.3699 | 3094.9608 | -0.035644
| 2024 | 182.4015 | 15.1623 | 59.5275 | 2451.7345 | 341.1475 | 3049.9732 | -0.013647
| 2025 | 265.6391 | 22.3908 | 81.7887 | 2330.3555 | 355.9156 | 3056.0897 | 1.5066
| 2026 | 238.0655 | 19.9975 | 78.1044 | 2183.249 | 368.818 | 2888.2344 | 1.4527
| 2027 | 212.6286 | 17.8029 | 74.2455 | 2001.0387 | 362.7292 | 2668.4449 | 1.4709
| 2028 | 189.9738 | 15.8556 | 70.9363 | 1922.3123 | 377.9828 | 2577.0608 | -0.3683
| 2029 | 169.8094 | 14.1228 | 69.624 | 1901.0553 | 405.5285 | 2560.1401 | -0.29202
| 2030 | 206.8843 | 17.3655 | 78.4173 | 1870.5507 | 431.2235 | 2604.4412 | 0.033819
| 2031 | 224.4524 | 18.9114 | 84.633 | 1811.5258 | 457.5354 | 2597.058 | 0.043471
| 2032 | 314.1822 | 26.6967 | 108.6595 | 1832.709 | 513.572 | 2795.8195 | 0.041762
| 2033 | 353.3441 | 30.0831 | 121.7633 | 1846.9869 | 570.5779 | 2922.7552 | 0.035673
| 2034 | 350.3871 | 29.7938 | 124.8229 | 1775.9866 | 594.3285 | 2875.3188 | 0.042829
| 2035 | 346.1191 | 29.4227 | 127.4122 | 1712.0219 | 620.3595 | 2835.3354 | 0.04588
| 2036 | 372.6476 | 31.7616 | 137.5974 | 1740.7434 | 691.6739 | 2974.4239 | 0.041624
| 2037 | 363.0835 | 30.9682 | 138.9195 | 1667.1129 | 713.0427 | 2913.1267 | 0.047797
| 2038 | 353.0372 | 29.9592 | 139.9425 | 1613.313 | 741.7751 | 2878.0269 | 0.016816
| 2039 | 342.7987 | 29.1493 | 140.6131 | 1560.4337 | 769.8462 | 2842.841 | 0.043702
| 2040 | 332.4315 | 28.3368 | 140.9277 | 1505.1665 | 793.9755 | 2800.838 | 0.044549
| 2041 | 322.1443 | 27.5218 | 140.9758 | 1451.1637 | 818.642 | 2760.4476 | 0.033054
| 2042 | 286.9026 | 24.5482 | 134.9713 | 1413.995 | 840.3152 | 2700.7323 | 0.086044
| 2043 | 302.4077 | 25.9722 | 140.5768 | 1404.8717 | 901.5934 | 2775.4218 | 0.039604
* Bill impact is calculated using the difference in revenue requirements of a particular option compared to the 1582 MW CC ( which is
the least cost option at this step of analysis).Therefore, there will be no bill impact calculated for the 1582 MW CC.
The bill impact is calculated based on the nominal annual revenue requirements, and not the present value revenue requirements.
Note: The EGEAS model was used to conduct this analysis. The model provides nominal dollars for 30 years starting in 2014 through
2043. To capture 30 years of system cost for options with inservice dates in 2019, the model utilizes a five year extension
period from 2044 through 2048. However the model only provides a CPVRR sum for this extension period, therefore, customer
bill impact information can only be provided through 2043. The CPVRR differences in SRS-5 are also calculated using this sum.

## Row 7-pv
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 42 - Corrected
Attachment No. 1
Tab 8 of 21
34 | [7 empty] | Page 7 of 10
Table Staff - 42
(Refering to Exhibit SRS-5, Page 1 of 2)
Okeechobee 3X1 Siemens H DF 1322 MW
(Present Value 2015$)
|  | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Total | Customer Bill Impact ($/1,000 kWh)*
| Years | (Generation Capital) | (Transmission Capital) | (O&M) | (Fuel) | (Environmental) | ($millions)
|  | ($millions) | ($millions) | ($millions) | ($millions) | ($millions)
| 2019 | 139.2251 | 11.4988 | 33.7254 | 2850.3926 | 6.5286 | 3041.3705 | -0.052222
| 2020 | 125.3223 | 10.3057 | 31.859 | 2781.9848 | 268.4981 | 3217.9698 | -0.018297
| 2021 | 112.0348 | 9.1635 | 30.355 | 2696.1938 | 367.5952 | 3215.3423 | 0.022431
| 2022 | 99.9922 | 8.1584 | 30.2079 | 2601.5997 | 305.8285 | 3045.7866 | 0.020527
| 2023 | 201.1424 | 16.9531 | 55.0609 | 2501.8754 | 321.793 | 3096.8248 | -0.0088447
| 2024 | 180.3169 | 15.1669 | 52.7145 | 2461.235 | 342.6119 | 3052.0453 | 0.017955
| 2025 | 263.7001 | 22.3951 | 75.2306 | 2339.253 | 357.4033 | 3057.9821 | 1.5373
| 2026 | 236.262 | 20.0016 | 71.8061 | 2191.7161 | 370.3325 | 2890.1182 | 1.4852
| 2027 | 210.951 | 17.8063 | 68.1732 | 2008.921 | 364.2566 | 2670.1082 | 1.5013
| 2028 | 188.8036 | 15.8587 | 65.1052 | 1929.9019 | 379.5603 | 2579.2297 | -0.32652
| 2029 | 168.3581 | 14.1257 | 64.0541 | 1908.4594 | 407.2066 | 2562.204 | -0.24986
| 2030 | 205.5343 | 17.3678 | 73.0602 | 1877.5355 | 432.9167 | 2606.4145 | 0.076426
| 2031 | 223.1967 | 18.9136 | 79.48 | 1817.915 | 459.223 | 2598.7284 | 0.081678
| 2032 | 313.3063 | 26.6985 | 103.7327 | 1838.2189 | 515.1508 | 2797.1072 | 0.072877
| 2033 | 352.5293 | 30.0848 | 117.0397 | 1852.0307 | 572.1433 | 2923.8278 | 0.063247
| 2034 | 349.8818 | 29.7953 | 120.3139 | 1780.3648 | 595.8043 | 2876.1601 | 0.065806
| 2035 | 345.4141 | 29.4241 | 123.1108 | 1715.8548 | 621.7584 | 2835.5621 | 0.052461
| 2036 | 371.9919 | 31.7627 | 133.4743 | 1744.3663 | 693.1037 | 2974.6988 | 0.050077
| 2037 | 362.6769 | 30.9692 | 134.9906 | 1670.2283 | 714.3666 | 2913.2316 | 0.051232
| 2038 | 352.659 | 29.9601 | 136.1873 | 1616.0845 | 743.0416 | 2877.9326 | 0.013533
| 2039 | 342.4469 | 29.1502 | 137.0289 | 1562.9077 | 771.0571 | 2842.5909 | 0.034456
| 2040 | 332.2679 | 28.3377 | 137.5046 | 1507.2591 | 795.0755 | 2800.4448 | 0.029139
| 2041 | 321.84 | 27.5226 | 137.7054 | 1453.0803 | 819.718 | 2759.8662 | 0.0088031
| 2042 | 286.6195 | 24.5489 | 131.8366 | 1415.9085 | 841.4576 | 2700.3711 | 0.070004
| 2043 | 302.2761 | 25.9727 | 137.5835 | 1406.568 | 902.6723 | 2775.0726 | 0.023098
* Bill impact is calculated using the difference in revenue requirements of a particular option compared to the 1582 MW CC ( which is
the least cost option at this step of analysis).Therefore, there will be no bill impact calculated for the 1582 MW CC.
The bill impact is calculated based on the nominal annual revenue requirements, and not the present value revenue requirements.
Note: The EGEAS model was used to conduct this analysis. The model provides nominal dollars for 30 years starting in 2014 through
2043. To capture 30 years of system cost for options with inservice dates in 2019, the model utilizes a five year extension
period from 2044 through 2048. However the model only provides a CPVRR sum for this extension period, therefore, customer
bill impact information can only be provided through 2043. The CPVRR differences in SRS-5 are also calculated using this sum.

## Row 8-pv
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 42 - Corrected
Attachment No. 1
Tab 9 of 21 | [7 empty] | Page 8 of 10
Table Staff - 42
(Refering to Exhibit SRS-5, Page 1 of 2)
Okeechobee 3X1 Mitsubishi JAC DF 1350 MW
(Present Value 2015$)
|  | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Total | Customer Bill Impact ($/1,000 kWh)*
| Years | (Generation Capital) | (Transmission Capital) | (O&M) | (Fuel) | (Environmental) | ($millions)
|  | ($millions) | ($millions) | ($millions) | ($millions) | ($millions)
| 2019 | 141.4707 | 11.4988 | 41.9479 | 2843.8535 | 6.5234 | 3045.2943 | -0.0085273
| 2020 | 126.7147 | 10.3057 | 39.7285 | 2775.7445 | 267.8944 | 3220.3878 | 0.01025
| 2021 | 113.33 | 9.1635 | 37.8917 | 2688.5469 | 366.6316 | 3215.5638 | 0.025232
| 2022 | 101.7993 | 8.1584 | 37.0537 | 2595.9706 | 305.1364 | 3048.1184 | 0.052047
| 2023 | 202.2629 | 16.9531 | 61.9939 | 2496.4972 | 321.0411 | 3098.7483 | 0.018809
| 2024 | 181.3592 | 15.1669 | 59.355 | 2455.9214 | 341.8505 | 3053.653 | 0.042474
| 2025 | 264.6696 | 22.3951 | 81.6215 | 2334.2087 | 356.6069 | 3059.5018 | 1.562
| 2026 | 237.1637 | 20.0016 | 77.9426 | 2187.0369 | 369.5182 | 2891.6629 | 1.5118
| 2027 | 212.2092 | 17.8063 | 74.0761 | 2004.6047 | 363.4346 | 2672.1309 | 1.5382
| 2028 | 189.5837 | 15.8587 | 70.7713 | 1926.1071 | 378.66 | 2580.9808 | -0.29278
| 2029 | 169.0837 | 14.1257 | 69.0504 | 1904.4475 | 406.3032 | 2563.0105 | -0.23339
| 2030 | 203.8469 | 17.1498 | 77.6525 | 1874.4299 | 432.186 | 2605.265 | 0.051606
| 2031 | 221.6271 | 18.7184 | 83.8862 | 1814.902 | 458.4495 | 2597.5832 | 0.055484
| 2032 | 311.5543 | 26.5247 | 107.9409 | 1835.8888 | 514.4781 | 2796.3868 | 0.055471
| 2033 | 351.1713 | 29.9302 | 121.0729 | 1849.8981 | 571.4763 | 2923.5488 | 0.056076
| 2034 | 348.6187 | 29.6576 | 124.1684 | 1778.4623 | 595.1844 | 2876.0914 | 0.063929
| 2035 | 344.4742 | 29.301 | 126.7959 | 1714.2429 | 621.1662 | 2835.9802 | 0.064592
| 2036 | 371.1176 | 31.653 | 137.0071 | 1742.8928 | 692.5048 | 2975.1753 | 0.064727
| 2037 | 361.6604 | 30.8712 | 138.3891 | 1668.8921 | 713.7953 | 2913.6081 | 0.063563
| 2038 | 351.7136 | 29.873 | 139.4387 | 1614.9235 | 742.5082 | 2878.4569 | 0.031777
| 2039 | 341.7434 | 29.0726 | 140.1542 | 1561.8483 | 770.5342 | 2843.3528 | 0.062623
| 2040 | 331.6135 | 28.2689 | 140.5029 | 1506.3942 | 794.6181 | 2801.3976 | 0.06647
| 2041 | 321.2313 | 27.4617 | 140.5721 | 1452.2562 | 819.2533 | 2760.7745 | 0.046687
| 2042 | 286.0534 | 24.4953 | 134.5839 | 1415.0758 | 840.9595 | 2701.1678 | 0.10538
| 2043 | 301.7494 | 25.9256 | 140.2087 | 1405.8454 | 902.2111 | 2775.9402 | 0.064114
* Bill impact is calculated using the difference in revenue requirements of a particular option compared to the 1582 MW CC ( which is
the least cost option at this step of analysis).Therefore, there will be no bill impact calculated for the 1582 MW CC.
The bill impact is calculated based on the nominal annual revenue requirements, and not the present value revenue requirements.
Note: The EGEAS model was used to conduct this analysis. The model provides nominal dollars for 30 years starting in 2014 through
2043. To capture 30 years of system cost for options with inservice dates in 2019, the model utilizes a five year extension
period from 2044 through 2048. However the model only provides a CPVRR sum for this extension period, therefore, customer
bill impact information can only be provided through 2043. The CPVRR differences in SRS-5 are also calculated using this sum.

## Row 9-pv
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 42 - Corrected
Attachment No. 1
Tab 10 of 21
44 | [7 empty] | Page 9 of 10
Table Staff - 42
(Refering to Exhibit SRS-5, Page 1 of 2)
Okeechobee 3X1 Siemens H NDF 1221 MW
(Present Value 2015$)
|  | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Total | Customer Bill Impact ($/1,000 kWh)*
| Years | (Generation Capital) | (Transmission Capital) | (O&M) | (Fuel) | (Environmental) | ($millions)
|  | ($millions) | ($millions) | ($millions) | ($millions) | ($millions)
| 2019 | 136.231 | 11.4995 | 33.8759 | 2850.5281 | 6.5361 | 3038.6706 | -0.082288
| 2020 | 122.5373 | 10.3057 | 31.9983 | 2782.7987 | 268.4528 | 3216.0928 | -0.040457
| 2021 | 109.4444 | 9.1635 | 30.4864 | 2696.596 | 367.5849 | 3213.2752 | -0.0037193
| 2022 | 98.1851 | 8.1584 | 32.2113 | 2601.6912 | 305.4996 | 3045.7457 | 0.019974
| 2023 | 199.4615 | 16.9531 | 55.1937 | 2501.8491 | 321.151 | 3094.6084 | -0.040711
| 2024 | 178.7534 | 15.1669 | 52.848 | 2462.1356 | 342.6239 | 3051.5278 | 0.010062
| 2025 | 262.2459 | 22.3951 | 75.3828 | 2338.0833 | 357.2797 | 3055.3868 | 1.4952
| 2026 | 234.9093 | 20.0016 | 71.9706 | 2190.6389 | 370.1337 | 2887.6541 | 1.4427
| 2027 | 210.1123 | 17.8063 | 68.3569 | 2009.0326 | 364.1287 | 2669.4368 | 1.489
| 2028 | 187.6333 | 15.8587 | 65.3022 | 1929.9518 | 379.3075 | 2578.0536 | -0.34918
| 2029 | 169.0837 | 14.2393 | 65.6415 | 1906.8956 | 406.8841 | 2562.7442 | -0.23883
| 2030 | 210.9342 | 17.9051 | 74.7355 | 1874.6627 | 432.3109 | 2610.5485 | 0.16568
| 2031 | 228.2194 | 19.3946 | 81.0769 | 1814.9237 | 458.6862 | 2602.3008 | 0.16339
| 2032 | 317.6861 | 27.1262 | 105.2598 | 1837.0574 | 514.646 | 2801.7755 | 0.18568
| 2033 | 356.6032 | 30.4658 | 118.4914 | 1850.465 | 571.7571 | 2927.7825 | 0.16492
| 2034 | 353.4185 | 30.1351 | 121.694 | 1778.5868 | 595.4158 | 2879.2501 | 0.15021
| 2035 | 348.7038 | 29.7272 | 124.4271 | 1714.8164 | 621.3706 | 2839.0452 | 0.15354
| 2036 | 374.8332 | 32.0335 | 134.7382 | 1743.7559 | 692.6749 | 2978.0356 | 0.15267
| 2037 | 365.1164 | 31.2105 | 136.1831 | 1669.3898 | 713.9931 | 2915.893 | 0.13839
| 2038 | 354.9282 | 30.1749 | 137.3252 | 1615.7595 | 742.664 | 2880.8518 | 0.1151
| 2039 | 344.3817 | 29.341 | 138.1043 | 1562.6761 | 770.9175 | 2845.4205 | 0.13906
| 2040 | 334.0675 | 28.5067 | 138.533 | 1506.1663 | 794.5515 | 2801.8249 | 0.083213
| 2041 | 323.5138 | 27.672 | 138.6875 | 1452.0014 | 819.2315 | 2761.1062 | 0.060524
| 2042 | 288.0349 | 24.6807 | 132.7748 | 1414.5889 | 840.941 | 2701.0202 | 0.098828
| 2043 | 303.4609 | 26.0887 | 138.4717 | 1406.0638 | 902.3874 | 2776.4725 | 0.089278
* Bill impact is calculated using the difference in revenue requirements of a particular option compared to the 1582 MW CC ( which is
the least cost option at this step of analysis).Therefore, there will be no bill impact calculated for the 1582 MW CC.
The bill impact is calculated based on the nominal annual revenue requirements, and not the present value revenue requirements.
Note: The EGEAS model was used to conduct this analysis. The model provides nominal dollars for 30 years starting in 2014 through
2043. To capture 30 years of system cost for options with inservice dates in 2019, the model utilizes a five year extension
period from 2044 through 2048. However the model only provides a CPVRR sum for this extension period, therefore, customer
bill impact information can only be provided through 2043. The CPVRR differences in SRS-5 are also calculated using this sum.

## Row 10-pv
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 42 - Corrected
Attachment No. 1
Tab 11 of 21
62 | [7 empty] | Page 10 of 10
Table Staff - 42
(Refering to Exhibit SRS-5, Page 1 of 2)
Okeechobee 3X1 Mitsubishi JAC NDF 1251 MW
(Present Value 2015$)
|  | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Total | Customer Bill Impact ($/1,000 kWh)*
| Years | (Generation Capital) | (Transmission Capital) | (O&M) | (Fuel) | (Environmental) | ($millions)
|  | ($millions) | ($millions) | ($millions) | ($millions) | ($millions)
| 2019 | 138.4766 | 11.4988 | 42.0901 | 2844.0833 | 6.5271 | 3042.6759 | -0.037685
| 2020 | 124.626 | 10.3057 | 39.8685 | 2776.3815 | 267.8373 | 3219.0191 | -0.0059099
| 2021 | 111.3872 | 9.1629 | 38.0258 | 2690.4017 | 366.7061 | 3215.6836 | 0.026748
| 2022 | 99.9922 | 8.1584 | 38.868 | 2596.0953 | 304.7864 | 3047.9003 | 0.0491
| 2023 | 200.5821 | 16.9531 | 62.1188 | 2495.9168 | 320.9257 | 3096.4965 | -0.013565
| 2024 | 180.3169 | 15.1669 | 59.4952 | 2458.2384 | 342.0314 | 3055.2488 | 0.066811
| 2025 | 263.2153 | 22.3951 | 81.7398 | 2333.5611 | 356.4644 | 3057.3757 | 1.5275
| 2026 | 235.8111 | 20.0011 | 78.0566 | 2186.0972 | 369.3347 | 2889.3007 | 1.4711
| 2027 | 210.951 | 17.8063 | 74.2057 | 2003.7894 | 363.2635 | 2670.0159 | 1.4996
| 2028 | 188.4135 | 15.8587 | 70.8992 | 1925.4397 | 378.4895 | 2579.1006 | -0.32901
| 2029 | 168.3581 | 14.1254 | 70.5594 | 1903.548 | 406.1145 | 2562.7054 | -0.23962
| 2030 | 209.2468 | 17.6945 | 79.287 | 1872.1616 | 431.6103 | 2610.0001 | 0.15384
| 2031 | 226.6498 | 19.2062 | 85.4646 | 1812.8926 | 457.8876 | 2602.1008 | 0.15882
| 2032 | 316.2262 | 26.9586 | 109.4633 | 1834.5147 | 513.9134 | 2801.0762 | 0.16878
| 2033 | 355.2452 | 30.3164 | 122.5224 | 1848.2653 | 570.9839 | 2927.3332 | 0.15337
| 2034 | 352.1554 | 30.0019 | 125.5533 | 1777.0559 | 594.6882 | 2879.4548 | 0.1558
| 2035 | 347.5289 | 29.6086 | 128.112 | 1712.9669 | 620.7021 | 2838.9185 | 0.14987
| 2036 | 373.9589 | 31.9275 | 138.2654 | 1741.6682 | 692.0387 | 2977.8586 | 0.14723
| 2037 | 364.3032 | 31.116 | 139.5597 | 1667.8896 | 713.371 | 2916.2396 | 0.14974
| 2038 | 354.1718 | 30.0908 | 140.5585 | 1613.9888 | 742.0771 | 2880.887 | 0.11633
| 2039 | 343.854 | 29.2663 | 141.1998 | 1561.0254 | 770.1466 | 2845.4921 | 0.14171
| 2040 | 333.4131 | 28.4406 | 141.4902 | 1505.6589 | 794.2336 | 2803.2364 | 0.13852
| 2041 | 322.9051 | 27.6137 | 141.5165 | 1451.1739 | 818.7055 | 2761.9147 | 0.094244
| 2042 | 287.6103 | 24.6293 | 135.4874 | 1414.449 | 840.5877 | 2702.7637 | 0.17625
| 2043 | 303.066 | 26.0434 | 141.0677 | 1405.2747 | 901.8572 | 2777.309 | 0.12883
* Bill impact is calculated using the difference in revenue requirements of a particular option compared to the 1582 MW CC ( which is
the least cost option at this step of analysis).Therefore, there will be no bill impact calculated for the 1582 MW CC.
The bill impact is calculated based on the nominal annual revenue requirements, and not the present value revenue requirements.
Note: The EGEAS model was used to conduct this analysis. The model provides nominal dollars for 30 years starting in 2014 through
2043. To capture 30 years of system cost for options with inservice dates in 2019, the model utilizes a five year extension
period from 2044 through 2048. However the model only provides a CPVRR sum for this extension period, therefore, customer
bill impact information can only be provided through 2043. The CPVRR differences in SRS-5 are also calculated using this sum.

## Row 1-nom
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 42 - Corrected
Attachment No. 1
Tab 12 of 21
1 | [7 empty] | Page 1 of 10
Table Staff - 42
(Refering to Exhibit SRS-5, Page 1 of 2)
Okeechobee 3X1 GE 7HA.02 DF 1582 MW
(Nominal $)
|  | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Total | Customer Bill Impact ($/1,000 kWh) *
| Years | (Generation Capital) | (Transmission Capital) | (O&M) | (Fuel) | (Environmental) | ($millions)
|  | ($millions) | ($millions) | ($millions) | ($millions) | ($millions)
| 2019 | 208 | 15.362 | 55.035 | 3782.355 | 8.681 | 4069.433 | -
| 2020 | 201 | 14.802 | 56.051 | 3969.405 | 382.929 | 4624.187 | -
| 2021 | 193 | 14.15 | 57.464 | 4133.903 | 563.758 | 4962.275 | -
| 2022 | 186 | 13.544 | 59.171 | 4291.645 | 503.52 | 5053.88 | -
| 2023 | 378 | 30.258 | 109.511 | 4440.033 | 570.526 | 5528.328 | -
| 2024 | 364 | 29.103 | 112.729 | 4695.133 | 653.176 | 5854.141 | -
| 2025 | 350 | 27.87 | 120.718 | 4869.183 | 745.513 | 6113.284 | -
| 2026 | 337 | 26.699 | 120.678 | 4904.592 | 829.932 | 6218.901 | -
| 2027 | 323 | 25.575 | 121.21 | 4824.955 | 875.85 | 6170.59 | -
| 2028 | 541 | 44.523 | 180.128 | 4921.913 | 967.766 | 6655.33 | -
| 2029 | 521 | 42.742 | 185.533 | 5230.066 | 1115.883 | 7095.224 | -
| 2030 | 615 | 50.853 | 218.913 | 5548.414 | 1279.161 | 7712.341 | -
| 2031 | 717 | 59.6 | 255.773 | 5775.749 | 1458.832 | 8266.954 | -
| 2032 | 1078 | 90.815 | 357.936 | 6281.875 | 1760.477 | 9569.103 | -
| 2033 | 1303 | 110.215 | 433.715 | 6806.527 | 2102.913 | 10756.37 | -
| 2034 | 1390 | 117.477 | 479.114 | 7034.85 | 2354.242 | 11375.683 | -
| 2035 | 1475 | 124.844 | 526.845 | 7291.24 | 2641.853 | 12059.782 | -
| 2036 | 1708 | 145.031 | 613.727 | 7969.628 | 3166.506 | 13602.892 | -
| 2037 | 1789 | 152.121 | 667.084 | 8204.87 | 3509.355 | 14322.43 | -
| 2038 | 1871 | 158.305 | 723.352 | 8539.145 | 3925.783 | 15217.585 | -
| 2039 | 1953 | 165.678 | 782.288 | 8876.34 | 4379.095 | 16156.401 | -
| 2040 | 2037 | 173.146 | 843.772 | 9204.035 | 4855.325 | 17113.278 | -
| 2041 | 2122 | 180.604 | 908.282 | 9542.61 | 5381.824 | 18135.32 | -
| 2042 | 2032 | 172.892 | 934.919 | 9989.417 | 5938.068 | 19067.296 | -
| 2043 | 2304 | 196.546 | 1048.568 | 10675.017 | 6850.793 | 21074.924 | -
* Bill impact is calculated using the difference in revenue requirements of a particular option compared to the 1582 MW CC ( which is
the least cost option at this step of analysis).Therefore, there will be no bill impact calculated for the 1582 MW CC.
The bill impact is calculated based on the nominal annual revenue requirements, and not the present value revenue requirements.
Note: The EGEAS model was used to conduct this analysis. The model provides nominal dollars for 30 years starting in 2014 through
2043. To capture 30 years of system cost for options with inservice dates in 2019, the model utilizes a five year extension
period from 2044 through 2048. However the model only provides a CPVRR sum for this extension period, therefore, customer
bill impact information can only be provided through 2043.

## Row 2-nom
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 42 - Corrected
Attachment No. 1
Tab 13 of 21
2 | [7 empty] | Page 2 of 10
Table Staff - 42
(Refering to Exhibit SRS-5, Page 1 of 2)
Okeechobee 3X1 GE 7HA.02 NDF 1482 MW
(Nominal $)
|  | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Total | Customer Bill Impact ($/1,000 kWh)*
| Years | (Generation Capital) | (Transmission Capital) | (O&M) | (Fuel) | (Environmental) | ($millions)
|  | ($millions) | ($millions) | ($millions) | ($millions) | ($millions)
| 2019 | 205 | 15.363 | 55.297 | 3782.379 | 8.699 | 4066.738 | -0.022464
| 2020 | 198 | 14.803 | 56.292 | 3968.887 | 382.78 | 4620.762 | -0.028152
| 2021 | 190 | 14.151 | 57.715 | 4133.119 | 563.509 | 4958.494 | -0.030975
| 2022 | 183 | 13.545 | 59.425 | 4291.827 | 503.352 | 5051.149 | -0.022237
| 2023 | 375 | 30.259 | 109.775 | 4438.744 | 570.281 | 5524.059 | -0.034388
| 2024 | 362 | 29.104 | 112.995 | 4694.164 | 652.915 | 5851.178 | -0.02355
| 2025 | 559 | 46.201 | 167.45 | 4798.042 | 732.648 | 6303.341 | 1.497
| 2026 | 538 | 44.361 | 171.897 | 4832.389 | 816.161 | 6402.808 | 1.4298
| 2027 | 517 | 42.459 | 175.66 | 4763.739 | 863.343 | 6362.201 | 1.4667
| 2028 | 497 | 40.655 | 180.436 | 4920.382 | 967.103 | 6605.576 | -0.37393
| 2029 | 477 | 38.931 | 185.836 | 5228.411 | 1115.38 | 7045.558 | -0.36812
| 2030 | 592 | 48.88 | 223.689 | 5541.323 | 1277.393 | 7683.285 | -0.21173
| 2031 | 694 | 57.763 | 260.671 | 5768.687 | 1456.965 | 8238.086 | -0.20729
| 2032 | 1056 | 89.059 | 362.953 | 6275.525 | 1758.561 | 9542.098 | -0.19054
| 2033 | 1282 | 108.496 | 438.882 | 6799.088 | 2100.419 | 10728.885 | -0.19191
| 2034 | 1369 | 115.763 | 484.375 | 7028.539 | 2352.067 | 11349.744 | -0.17898
| 2035 | 1455 | 123.129 | 532.227 | 7284.744 | 2639.604 | 12034.704 | -0.17101
| 2036 | 1687 | 143.317 | 619.26 | 7963.043 | 3163.998 | 13576.618 | -0.17656
| 2037 | 1769 | 150.41 | 672.745 | 8198.433 | 3506.713 | 14297.301 | -0.16731
| 2038 | 1851 | 156.597 | 729.163 | 8529.833 | 3921.864 | 15188.457 | -0.19164
| 2039 | 1933 | 163.973 | 788.235 | 8869.958 | 4375.993 | 16131.159 | -0.16413
| 2040 | 2017 | 171.535 | 849.865 | 9197.634 | 4851.958 | 17087.992 | -0.16208
| 2041 | 2102 | 179.27 | 914.535 | 9533.976 | 5378.489 | 18108.27 | -0.17168
| 2042 | 2013 | 171.926 | 941.334 | 9987.666 | 5935.524 | 19049.45 | -0.11217
| 2043 | 2284 | 195.849 | 1055.167 | 10668.489 | 6846.683 | 21050.188 | -0.15396
* Bill impact is calculated using the difference in revenue requirements of a particular option compared to the 1582 MW CC ( which is
the least cost option at this step of analysis).Therefore, there will be no bill impact calculated for the 1582 MW CC.
The bill impact is calculated based on the nominal annual revenue requirements, and not the present value revenue requirements.
Note: The EGEAS model was used to conduct this analysis. The model provides nominal dollars for 30 years starting in 2014 through
2043. To capture 30 years of system cost for options with inservice dates in 2019, the model utilizes a five year extension
period from 2044 through 2048. However the model only provides a CPVRR sum for this extension period, therefore, customer
bill impact information can only be provided through 2043.

## Row 3-nom
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 42 - Corrected
Attachment No. 1
Tab 14 of 21
3 | [7 empty] | Page 3 of 10
Table Staff - 42
(Refering to Exhibit SRS-5, Page 1 of 2)
Okeechobee 3X1 GE 7HA.02 DF 1523 MW
(Nominal $)
|  | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Total | Customer Bill Impact ($/1,000 kWh)*
| Years | (Generation Capital) | (Transmission Capital) | (O&M) | (Fuel) | (Environmental) | ($millions)
|  | ($millions) | ($millions) | ($millions) | ($millions) | ($millions)
| 2019 | 202.066 | 15.362 | 54.983 | 3792.767 | 8.702 | 4073.88 | 0.037068
| 2020 | 195.37 | 14.802 | 55.976 | 3979.535 | 383.957 | 4629.64 | 0.044822
| 2021 | 187.834 | 14.15 | 57.39 | 4144.099 | 565.254 | 4968.727 | 0.052857
| 2022 | 180.597 | 13.544 | 59.094 | 4302.877 | 504.883 | 5060.995 | 0.057934
| 2023 | 372.682 | 30.258 | 109.437 | 4450.377 | 571.975 | 5534.729 | 0.051562
| 2024 | 359.379 | 29.103 | 112.65 | 4706.102 | 654.814 | 5862.048 | 0.062845
| 2025 | 345.482 | 27.87 | 122.687 | 4879.948 | 747.37 | 6123.357 | 0.07934
| 2026 | 332.1 | 26.699 | 122.707 | 4915.803 | 832.003 | 6229.312 | 0.080943
| 2027 | 319.116 | 25.575 | 121.114 | 4836.749 | 878.077 | 6180.631 | 0.076861
| 2028 | 537.147 | 44.523 | 179.951 | 4932.924 | 970.087 | 6664.632 | 0.069909
| 2029 | 517.013 | 42.742 | 185.376 | 5242.064 | 1118.52 | 7105.715 | 0.077759
| 2030 | 622.533 | 51.821 | 221.395 | 5557.583 | 1281.353 | 7734.685 | 0.16282
| 2031 | 724.001 | 60.533 | 258.274 | 5784.886 | 1461.259 | 8288.953 | 0.15796
| 2032 | 1084.587 | 91.706 | 360.441 | 6290.827 | 1762.937 | 9590.498 | 0.15095
| 2033 | 1310.149 | 111.069 | 436.266 | 6814.924 | 2105.523 | 10777.931 | 0.15055
| 2034 | 1396.115 | 118.295 | 481.73 | 7042.992 | 2356.923 | 11396.055 | 0.14057
| 2035 | 1481.694 | 125.629 | 529.539 | 7298.948 | 2644.676 | 12080.486 | 0.14119
| 2036 | 1713.783 | 145.784 | 616.5 | 7977.381 | 3169.642 | 13623.09 | 0.13573
| 2037 | 1795.194 | 152.844 | 669.947 | 8212.026 | 3512.47 | 14342.481 | 0.1335
| 2038 | 1876.321 | 158.996 | 726.322 | 8543.433 | 3927.977 | 15233.049 | 0.10174
| 2039 | 1958.599 | 166.339 | 785.335 | 8883.105 | 4382.418 | 16175.796 | 0.12611
| 2040 | 2042.512 | 173.776 | 846.891 | 9210.365 | 4858.626 | 17132.17 | 0.1211
| 2041 | 2127.201 | 181.203 | 911.544 | 9546.244 | 5385.36 | 18151.552 | 0.10302
| 2042 | 2037.401 | 173.46 | 938.252 | 9995.43 | 5941.898 | 19086.441 | 0.12033
| 2043 | 2308.274 | 197.083 | 1052.01 | 10681.209 | 6854.764 | 21093.34 | 0.11462
* Bill impact is calculated using the difference in revenue requirements of a particular option compared to the 1582 MW CC ( which is
the least cost option at this step of analysis).Therefore, there will be no bill impact calculated for the 1582 MW CC.
The bill impact is calculated based on the nominal annual revenue requirements, and not the present value revenue requirements.
Note: The EGEAS model was used to conduct this analysis. The model provides nominal dollars for 30 years starting in 2014 through
2043. To capture 30 years of system cost for options with inservice dates in 2019, the model utilizes a five year extension
period from 2044 through 2048. However the model only provides a CPVRR sum for this extension period, therefore, customer
bill impact information can only be provided through 2043.

## Row 4-nom
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 42 - Corrected
Attachment No. 1
Tab 15 of 21
4 | [7 empty] | Page 4 of 10
Table Staff - 42
(Refering to Exhibit SRS-5, Page 1 of 2)
Okeechobee 3X1 Mitsubishi J DF 1418 MW
(Nominal $)
|  | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Total | Customer Bill Impact ($/1,000 kWh)*
| Years | (Generation Capital) | (Transmission Capital) | (O&M) | (Fuel) | (Environmental) | ($millions)
|  | ($millions) | ($millions) | ($millions) | ($millions) | ($millions)
| 2019 | 195 | 15.363 | 56.131 | 3791.273 | 8.708 | 4066.475 | -0.024657
| 2020 | 188 | 14.803 | 57.158 | 3979.16 | 384.004 | 4623.125 | -0.0087293
| 2021 | 181 | 14.151 | 58.609 | 4143.635 | 564.982 | 4962.377 | 0.00083562
| 2022 | 174 | 13.545 | 60.351 | 4303.054 | 504.976 | 5055.926 | 0.01666
| 2023 | 366 | 30.259 | 110.743 | 4448.522 | 571.918 | 5527.442 | -0.0071369
| 2024 | 353 | 29.104 | 113.991 | 4704.553 | 654.734 | 5855.382 | 0.0098635
| 2025 | 551 | 46.201 | 168.485 | 4808.038 | 734.421 | 6308.145 | 1.5348
| 2026 | 531 | 44.361 | 172.979 | 4843.148 | 818.217 | 6409.705 | 1.4835
| 2027 | 510 | 42.459 | 176.782 | 4772.623 | 865.182 | 6367.046 | 1.5038
| 2028 | 490 | 40.655 | 181.597 | 4929.899 | 969.122 | 6611.273 | -0.33111
| 2029 | 470 | 38.931 | 187.8 | 5238.73 | 1117.753 | 7053.214 | -0.31138
| 2030 | 596 | 49.848 | 227.617 | 5548.908 | 1279.275 | 7701.648 | -0.07792
| 2031 | 699 | 58.695 | 264.724 | 5776.214 | 1458.977 | 8257.61 | -0.067095
| 2032 | 1060 | 89.95 | 367.165 | 6282.498 | 1760.567 | 9560.18 | -0.062957
| 2033 | 1287 | 109.349 | 443.209 | 6807.059 | 2103.068 | 10749.685 | -0.046678
| 2034 | 1373 | 116.581 | 488.894 | 7035.19 | 2354.473 | 11368.138 | -0.052061
| 2035 | 1459 | 123.914 | 536.901 | 7291.019 | 2641.879 | 12052.713 | -0.048205
| 2036 | 1692 | 144.071 | 624.076 | 7969.496 | 3166.548 | 13596.191 | -0.045031
| 2037 | 1773 | 151.133 | 677.734 | 8204.929 | 3509.38 | 14316.176 | -0.041638
| 2038 | 1855 | 157.288 | 734.327 | 8536.181 | 3924.747 | 15207.543 | -0.066068
| 2039 | 1937 | 164.634 | 793.57 | 8876.351 | 4379.107 | 16150.662 | -0.037317
| 2040 | 2021 | 172.165 | 855.393 | 9204.037 | 4855.193 | 17107.788 | -0.03519
| 2041 | 2106 | 179.869 | 920.242 | 9540.326 | 5381.843 | 18128.28 | -0.044682
| 2042 | 2016 | 172.494 | 947.209 | 9994.031 | 5939.276 | 19069.01 | 0.010773
| 2043 | 2288 | 196.386 | 1061.233 | 10674.161 | 6850.609 | 21070.389 | -0.028226
* Bill impact is calculated using the difference in revenue requirements of a particular option compared to the 1582 MW CC ( which is
the least cost option at this step of analysis).Therefore, there will be no bill impact calculated for the 1582 MW CC.
The bill impact is calculated based on the nominal annual revenue requirements, and not the present value revenue requirements.
Note: The EGEAS model was used to conduct this analysis. The model provides nominal dollars for 30 years starting in 2014 through
2043. To capture 30 years of system cost for options with inservice dates in 2019, the model utilizes a five year extension
period from 2044 through 2048. However the model only provides a CPVRR sum for this extension period, therefore, customer
bill impact information can only be provided through 2043.

## Row 5-nom
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 42 - Corrected
Attachment No. 1
Tab 16 of 21
5 | [7 empty] | Page 5 of 10
Table Staff - 42
(Refering to Exhibit SRS-5, Page 1 of 2)
Okeechobee 2X1 GE 7HA.02 DF 1054 MW
(Nominal $)
|  | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Total | Customer Bill Impact ($/1,000 kWh)*
| Years | (Generation Capital) | (Transmission Capital) | (O&M) | (Fuel) | (Environmental) | ($millions)
|  | ($millions) | ($millions) | ($millions) | ($millions) | ($millions)
| 2019 | 155 | 14.156 | 45.523 | 3809.238 | 8.763 | 4032.68 | -0.30636
| 2020 | 150 | 13.64 | 46.822 | 4001.251 | 386.188 | 4597.901 | -0.21606
| 2021 | 144 | 13.039 | 47.341 | 4164.292 | 568.068 | 4936.74 | -0.20919
| 2022 | 332 | 29.255 | 95.936 | 4244.126 | 496.911 | 5198.228 | 1.1754
| 2023 | 320 | 28.124 | 98.851 | 4465.981 | 574.795 | 5487.751 | -0.32686
| 2024 | 307 | 26.928 | 102.722 | 4724.958 | 657.961 | 5819.569 | -0.27478
| 2025 | 507 | 44.137 | 155.898 | 4823.702 | 737.292 | 6268.029 | 1.2188
| 2026 | 488 | 42.401 | 160.01 | 4857.685 | 821.134 | 6369.23 | 1.1688
| 2027 | 469 | 40.597 | 163.443 | 4785.727 | 867.847 | 6326.614 | 1.1943
| 2028 | 451 | 38.878 | 167.877 | 4945.353 | 971.989 | 6575.097 | -0.60299
| 2029 | 465 | 40.039 | 188.381 | 5243.181 | 1119.282 | 7055.883 | -0.29159
| 2030 | 625 | 53.811 | 229.153 | 5544.786 | 1278.548 | 7731.298 | 0.13814
| 2031 | 727 | 62.487 | 266.248 | 5773.755 | 1459.04 | 8288.53 | 0.15493
| 2032 | 1087 | 93.563 | 368.792 | 6281.418 | 1759.626 | 9590.399 | 0.15026
| 2033 | 1313 | 112.798 | 444.833 | 6806.301 | 2102.053 | 10778.985 | 0.15791
| 2034 | 1399 | 119.876 | 490.549 | 7030.791 | 2353.596 | 11393.812 | 0.12509
| 2035 | 1484 | 127.054 | 538.606 | 7288.853 | 2641.109 | 12079.622 | 0.13529
| 2036 | 1715 | 147.057 | 625.863 | 7968.536 | 3165.281 | 13621.737 | 0.12664
| 2037 | 1796 | 154.051 | 679.506 | 8202.953 | 3508.469 | 14340.979 | 0.1235
| 2038 | 1877 | 160.219 | 736.16 | 8533.863 | 3923.605 | 15230.847 | 0.087253
| 2039 | 1959 | 167.488 | 795.416 | 8876.946 | 4379.097 | 16177.947 | 0.1401
| 2040 | 2042 | 174.858 | 857.287 | 9198.628 | 4852.579 | 17125.352 | 0.077393
| 2041 | 2126 | 182.399 | 922.183 | 9535.203 | 5379.607 | 18145.392 | 0.063926
| 2042 | 2036 | 174.862 | 949.188 | 9991.564 | 5937.836 | 19089.45 | 0.13924
| 2043 | 2307 | 198.592 | 1063.236 | 10672.502 | 6849.211 | 21090.541 | 0.097202
* Bill impact is calculated using the difference in revenue requirements of a particular option compared to the 1582 MW CC ( which is
the least cost option at this step of analysis).Therefore, there will be no bill impact calculated for the 1582 MW CC.
The bill impact is calculated based on the nominal annual revenue requirements, and not the present value revenue requirements.
Note: The EGEAS model was used to conduct this analysis. The model provides nominal dollars for 30 years starting in 2014 through
2043. To capture 30 years of system cost for options with inservice dates in 2019, the model utilizes a five year extension
period from 2044 through 2048. However the model only provides a CPVRR sum for this extension period, therefore, customer
bill impact information can only be provided through 2043.

## Row 6-nom
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 42 - Corrected
Attachment No. 1
Tab 17 of 21
27 | [7 empty] | Page 6 of 10
Table Staff - 42
(Refering to Exhibit SRS-5, Page 1 of 2)
Okeechobee 3X1 Mitsubishi J NDF 1317 MW
(Nominal $)
|  | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Total | Customer Bill Impact ($/1,000 kWh)*
| Years | (Generation Capital) | (Transmission Capital) | (O&M) | (Fuel) | (Environmental) | ($millions)
|  | ($millions) | ($millions) | ($millions) | ($millions) | ($millions)
| 2019 | 191 | 15.351 | 56.337 | 3792.154 | 8.713 | 4063.555 | -0.048996
| 2020 | 185 | 14.791 | 57.363 | 3979.522 | 383.938 | 4620.614 | -0.029369
| 2021 | 178 | 14.139 | 58.825 | 4146.574 | 565.072 | 4962.61 | 0.0027444
| 2022 | 171 | 13.534 | 62.768 | 4301.463 | 505.443 | 5054.208 | 0.0026708
| 2023 | 363 | 30.249 | 110.969 | 4447.887 | 571.798 | 5523.903 | -0.035644
| 2024 | 350 | 29.094 | 114.224 | 4704.497 | 654.609 | 5852.424 | -0.013647
| 2025 | 548 | 46.191 | 168.726 | 4807.406 | 734.236 | 6304.559 | 1.5066
| 2026 | 528 | 44.352 | 173.226 | 4842.178 | 817.993 | 6405.749 | 1.4527
| 2027 | 507 | 42.45 | 177.034 | 4771.356 | 864.906 | 6362.746 | 1.4709
| 2028 | 487 | 40.646 | 181.846 | 4927.869 | 968.963 | 6606.324 | -0.3683
| 2029 | 468 | 38.923 | 191.886 | 5239.367 | 1117.649 | 7055.825 | -0.29202
| 2030 | 613 | 51.454 | 232.351 | 5542.458 | 1277.719 | 7716.982 | 0.033819
| 2031 | 715 | 60.243 | 269.601 | 5770.671 | 1457.493 | 8273.008 | 0.043471
| 2032 | 1076 | 91.43 | 372.133 | 6276.596 | 1758.863 | 9575.022 | 0.041762
| 2033 | 1301 | 110.765 | 448.328 | 6800.539 | 2100.847 | 10761.479 | 0.035673
| 2034 | 1387 | 117.938 | 494.109 | 7030.206 | 2352.637 | 11381.89 | 0.042829
| 2035 | 1473 | 125.216 | 542.236 | 7285.956 | 2640.102 | 12066.51 | 0.04588
| 2036 | 1705 | 145.321 | 629.559 | 7964.543 | 3164.663 | 13609.086 | 0.041624
| 2037 | 1786 | 152.332 | 683.342 | 8200.493 | 3507.442 | 14329.609 | 0.047797
| 2038 | 1867 | 158.436 | 740.071 | 8531.835 | 3922.799 | 15220.141 | 0.016816
| 2039 | 1949 | 165.73 | 799.463 | 8871.928 | 4377.001 | 16163.122 | 0.043702
| 2040 | 2032 | 173.21 | 861.426 | 9200.387 | 4853.205 | 17120.228 | 0.044549
| 2041 | 2117 | 180.862 | 926.435 | 9536.452 | 5379.779 | 18140.528 | 0.033054
| 2042 | 2027 | 173.436 | 953.588 | 9990.038 | 5936.924 | 19080.986 | 0.086044
| 2043 | 2297 | 197.277 | 1067.78 | 10670.992 | 6848.238 | 21081.287 | 0.039604
* Bill impact is calculated using the difference in revenue requirements of a particular option compared to the 1582 MW CC ( which is
the least cost option at this step of analysis).Therefore, there will be no bill impact calculated for the 1582 MW CC.
The bill impact is calculated based on the nominal annual revenue requirements, and not the present value revenue requirements.
Note: The EGEAS model was used to conduct this analysis. The model provides nominal dollars for 30 years starting in 2014 through
2043. To capture 30 years of system cost for options with inservice dates in 2019, the model utilizes a five year extension
period from 2044 through 2048. However the model only provides a CPVRR sum for this extension period, therefore, customer
bill impact information can only be provided through 2043.

## Row 7-nom
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 42 - Corrected
Attachment No. 1
Tab 18 of 21
34 | [7 empty] | Page 7 of 10
Table Staff - 42
(Refering to Exhibit SRS-5, Page 1 of 2)
Okeechobee 3X1 Siemens H DF 1322 MW
(Nominal $)
|  | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Total | Customer Bill Impact ($/1,000 kWh)*
| Years | (Generation Capital) | (Transmission Capital) | (O&M) | (Fuel) | (Environmental) | ($millions)
|  | ($millions) | ($millions) | ($millions) | ($millions) | ($millions)
| 2019 | 186 | 15.362 | 45.056 | 3808.028 | 8.722 | 4063.168 | -0.052222
| 2020 | 180 | 14.802 | 45.759 | 3995.757 | 385.643 | 4621.961 | -0.018297
| 2021 | 173 | 14.15 | 46.873 | 4163.363 | 567.627 | 4965.013 | 0.022431
| 2022 | 166 | 13.544 | 50.149 | 4318.993 | 507.715 | 5056.401 | 0.020527
| 2023 | 359 | 30.258 | 98.273 | 4465.361 | 574.338 | 5527.23 | -0.0088447
| 2024 | 346 | 29.103 | 101.151 | 4722.727 | 657.419 | 5856.4 | 0.017955
| 2025 | 544 | 46.2 | 155.197 | 4825.761 | 737.305 | 6308.463 | 1.5373
| 2026 | 524 | 44.361 | 159.257 | 4860.957 | 821.352 | 6409.927 | 1.4852
| 2027 | 503 | 42.458 | 162.555 | 4790.151 | 868.548 | 6366.712 | 1.5013
| 2028 | 484 | 40.654 | 166.898 | 4947.325 | 973.007 | 6611.884 | -0.32652
| 2029 | 464 | 38.931 | 176.535 | 5259.773 | 1122.274 | 7061.513 | -0.24986
| 2030 | 609 | 51.461 | 216.478 | 5563.154 | 1282.736 | 7722.829 | 0.076426
| 2031 | 711 | 60.25 | 253.186 | 5791.024 | 1462.869 | 8278.329 | 0.081678
| 2032 | 1073 | 91.436 | 355.26 | 6295.466 | 1764.27 | 9579.432 | 0.072877
| 2033 | 1298 | 110.771 | 430.936 | 6819.11 | 2106.611 | 10765.428 | 0.063247
| 2034 | 1385 | 117.944 | 476.26 | 7047.537 | 2358.479 | 11385.22 | 0.065806
| 2035 | 1470 | 125.222 | 523.93 | 7302.268 | 2646.055 | 12067.475 | 0.052461
| 2036 | 1702 | 145.326 | 610.694 | 7981.119 | 3171.205 | 13610.344 | 0.050077
| 2037 | 1784 | 152.337 | 664.016 | 8215.818 | 3513.954 | 14330.125 | 0.051232
| 2038 | 1865 | 158.441 | 720.212 | 8546.492 | 3929.497 | 15219.642 | 0.013533
| 2039 | 1947 | 165.735 | 779.085 | 8885.994 | 4383.886 | 16161.7 | 0.034456
| 2040 | 2031 | 173.215 | 840.502 | 9213.178 | 4859.929 | 17117.824 | 0.029139
| 2041 | 2115 | 180.867 | 904.943 | 9549.047 | 5386.85 | 18136.707 | 0.0088031
| 2042 | 2025 | 173.441 | 931.441 | 10003.557 | 5944.995 | 19078.434 | 0.070004
| 2043 | 2296 | 197.281 | 1045.044 | 10683.877 | 6856.433 | 21078.635 | 0.023098
* Bill impact is calculated using the difference in revenue requirements of a particular option compared to the 1582 MW CC ( which is
the least cost option at this step of analysis).Therefore, there will be no bill impact calculated for the 1582 MW CC.
The bill impact is calculated based on the nominal annual revenue requirements, and not the present value revenue requirements.
Note: The EGEAS model was used to conduct this analysis. The model provides nominal dollars for 30 years starting in 2014 through
2043. To capture 30 years of system cost for options with inservice dates in 2019, the model utilizes a five year extension
period from 2044 through 2048. However the model only provides a CPVRR sum for this extension period, therefore, customer
bill impact information can only be provided through 2043.

## Row 8-nom
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 42 - Corrected
Attachment No. 1
Tab 19 of 21
43 | [7 empty] | Page 8 of 10
Table Staff - 42
(Refering to Exhibit SRS-5, Page 1 of 2)
Okeechobee 3X1 Mitsubishi JAC DF 1350 MW
(Nominal $)
|  | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Total | Customer Bill Impact ($/1,000 kWh)*
| Years | (Generation Capital) | (Transmission Capital) | (O&M) | (Fuel) | (Environmental) | ($millions)
|  | ($millions) | ($millions) | ($millions) | ($millions) | ($millions)
| 2019 | 189 | 15.362 | 56.041 | 3799.292 | 8.715 | 4068.41 | -0.0085273
| 2020 | 182 | 14.802 | 57.062 | 3986.794 | 384.776 | 4625.434 | 0.01025
| 2021 | 175 | 14.15 | 58.511 | 4151.555 | 566.139 | 4965.355 | 0.025232
| 2022 | 169 | 13.544 | 61.514 | 4309.648 | 506.566 | 5060.272 | 0.052047
| 2023 | 361 | 30.258 | 110.647 | 4455.762 | 572.996 | 5530.663 | 0.018809
| 2024 | 348 | 29.103 | 113.893 | 4712.531 | 655.958 | 5859.485 | 0.042474
| 2025 | 546 | 46.2 | 168.381 | 4815.355 | 735.662 | 6311.598 | 1.562
| 2026 | 526 | 44.361 | 172.867 | 4850.579 | 819.546 | 6413.353 | 1.5118
| 2027 | 506 | 42.458 | 176.63 | 4779.859 | 866.588 | 6371.535 | 1.5382
| 2028 | 486 | 40.654 | 181.423 | 4937.597 | 970.699 | 6616.373 | -0.29278
| 2029 | 466 | 38.931 | 190.305 | 5248.716 | 1119.784 | 7063.736 | -0.23339
| 2030 | 604 | 50.815 | 230.085 | 5553.952 | 1280.571 | 7719.423 | 0.051606
| 2031 | 706 | 59.628 | 267.222 | 5781.426 | 1460.405 | 8274.681 | 0.055484
| 2032 | 1067 | 90.841 | 369.672 | 6287.486 | 1761.966 | 9576.965 | 0.055471
| 2033 | 1293 | 110.202 | 445.786 | 6811.258 | 2104.155 | 10764.401 | 0.056076
| 2034 | 1380 | 117.399 | 491.518 | 7040.006 | 2356.025 | 11384.948 | 0.063929
| 2035 | 1466 | 124.698 | 539.613 | 7295.408 | 2643.535 | 12069.254 | 0.064592
| 2036 | 1698 | 144.824 | 626.858 | 7974.377 | 3168.465 | 13612.524 | 0.064727
| 2037 | 1779 | 151.855 | 680.733 | 8209.245 | 3511.144 | 14331.977 | 0.063563
| 2038 | 1860 | 157.98 | 737.407 | 8540.352 | 3926.676 | 15222.415 | 0.031777
| 2039 | 1943 | 165.294 | 796.854 | 8879.971 | 4380.913 | 16166.032 | 0.062623
| 2040 | 2027 | 172.795 | 858.829 | 9207.891 | 4857.133 | 17123.648 | 0.06647
| 2041 | 2111 | 180.467 | 923.782 | 9543.631 | 5383.796 | 18142.676 | 0.046687
| 2042 | 2021 | 173.062 | 950.851 | 9997.674 | 5941.476 | 19084.063 | 0.10538
| 2043 | 2292 | 196.923 | 1064.984 | 10678.388 | 6852.93 | 21085.225 | 0.064114
* Bill impact is calculated using the difference in revenue requirements of a particular option compared to the 1582 MW CC ( which is
the least cost option at this step of analysis).Therefore, there will be no bill impact calculated for the 1582 MW CC.
The bill impact is calculated based on the nominal annual revenue requirements, and not the present value revenue requirements.
Note: The EGEAS model was used to conduct this analysis. The model provides nominal dollars for 30 years starting in 2014 through
2043. To capture 30 years of system cost for options with inservice dates in 2019, the model utilizes a five year extension
period from 2044 through 2048. However the model only provides a CPVRR sum for this extension period, therefore, customer
bill impact information can only be provided through 2043.

## Row 9-nom
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 42 - Corrected
Attachment No. 1
Tab 20 of 21
44 | [7 empty] | Page 9 of 10
Table Staff - 42
(Refering to Exhibit SRS-5, Page 1 of 2)
Okeechobee 3X1 Siemens H NDF 1221 MW
(Nominal $)
|  | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Total | Customer Bill Impact ($/1,000 kWh)*
| Years | (Generation Capital) | (Transmission Capital) | (O&M) | (Fuel) | (Environmental) | ($millions)
|  | ($millions) | ($millions) | ($millions) | ($millions) | ($millions)
| 2019 | 182 | 15.363 | 45.257 | 3808.209 | 8.732 | 4059.561 | -0.082288
| 2020 | 176 | 14.802 | 45.959 | 3996.926 | 385.578 | 4619.265 | -0.040457
| 2021 | 169 | 14.15 | 47.076 | 4163.984 | 567.611 | 4961.821 | -0.0037193
| 2022 | 163 | 13.544 | 53.475 | 4319.145 | 507.169 | 5056.333 | 0.019974
| 2023 | 356 | 30.258 | 98.51 | 4465.314 | 573.192 | 5523.274 | -0.040711
| 2024 | 343 | 29.103 | 101.407 | 4724.455 | 657.442 | 5855.407 | 0.010062
| 2025 | 541 | 46.2 | 155.511 | 4823.348 | 737.05 | 6303.109 | 1.4952
| 2026 | 521 | 44.361 | 159.622 | 4858.568 | 820.911 | 6404.462 | 1.4427
| 2027 | 501 | 42.458 | 162.993 | 4790.417 | 868.243 | 6365.111 | 1.489
| 2028 | 481 | 40.654 | 167.403 | 4947.453 | 972.359 | 6608.869 | -0.34918
| 2029 | 466 | 39.244 | 180.91 | 5255.463 | 1121.385 | 7063.002 | -0.23883
| 2030 | 625 | 53.053 | 221.442 | 5554.642 | 1280.941 | 7735.078 | 0.16568
| 2031 | 727 | 61.782 | 258.273 | 5781.495 | 1461.159 | 8289.709 | 0.16339
| 2032 | 1088 | 92.901 | 360.49 | 6291.488 | 1762.541 | 9595.42 | 0.18568
| 2033 | 1313 | 112.174 | 436.281 | 6813.345 | 2105.189 | 10779.989 | 0.16492
| 2034 | 1399 | 119.289 | 481.723 | 7040.499 | 2356.941 | 11397.452 | 0.15021
| 2035 | 1484 | 126.512 | 529.532 | 7297.849 | 2644.405 | 12082.298 | 0.15354
| 2036 | 1715 | 146.565 | 616.477 | 7978.326 | 3169.243 | 13625.611 | 0.15267
| 2037 | 1796 | 153.524 | 669.882 | 8211.693 | 3512.117 | 14343.216 | 0.13839
| 2038 | 1877 | 159.577 | 726.23 | 8544.773 | 3927.5 | 15235.08 | 0.1151
| 2039 | 1958 | 166.82 | 785.199 | 8884.677 | 4383.092 | 16177.788 | 0.13906
| 2040 | 2042 | 174.248 | 846.788 | 9206.498 | 4856.726 | 17126.26 | 0.083213
| 2041 | 2126 | 181.849 | 911.397 | 9541.957 | 5383.653 | 18144.856 | 0.060524
| 2042 | 2035 | 174.372 | 938.069 | 9994.234 | 5941.345 | 19083.02 | 0.098828
| 2043 | 2305 | 198.162 | 1051.79 | 10680.047 | 6854.269 | 21089.268 | 0.089278
* Bill impact is calculated using the difference in revenue requirements of a particular option compared to the 1582 MW CC ( which is
the least cost option at this step of analysis).Therefore, there will be no bill impact calculated for the 1582 MW CC.
The bill impact is calculated based on the nominal annual revenue requirements, and not the present value revenue requirements.
Note: The EGEAS model was used to conduct this analysis. The model provides nominal dollars for 30 years starting in 2014 through
2043. To capture 30 years of system cost for options with inservice dates in 2019, the model utilizes a five year extension
period from 2044 through 2048. However the model only provides a CPVRR sum for this extension period, therefore, customer
bill impact information can only be provided through 2043.

## Row 10-nom
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 42 - Corrected
Attachment No. 1
Tab 21 of 21
62 | [7 empty] | Page 10 of 10
Table Staff - 42
(Refering to Exhibit SRS-5, Page 1 of 2)
Okeechobee 3X1 Mitsubishi JAC NDF 1251 MW
(Nominal $)
|  | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Annual Revenue Requirements | Total | Customer Bill Impact ($/1,000 kWh)*
| Years | (Generation Capital) | (Transmission Capital) | (O&M) | (Fuel) | (Environmental) | ($millions)
|  | ($millions) | ($millions) | ($millions) | ($millions) | ($millions)
| 2019 | 185 | 15.362 | 56.231 | 3799.599 | 8.72 | 4064.912 | -0.037685
| 2020 | 179 | 14.802 | 57.263 | 3987.709 | 384.694 | 4623.468 | -0.0059099
| 2021 | 172 | 14.149 | 58.718 | 4154.419 | 566.254 | 4965.54 | 0.026748
| 2022 | 166 | 13.544 | 64.526 | 4309.855 | 505.985 | 5059.91 | 0.0491
| 2023 | 358 | 30.258 | 110.87 | 4454.726 | 572.79 | 5526.644 | -0.013565
| 2024 | 346 | 29.103 | 114.162 | 4716.977 | 656.305 | 5862.547 | 0.066811
| 2025 | 543 | 46.2 | 168.625 | 4814.019 | 735.368 | 6307.212 | 1.5275
| 2026 | 523 | 44.36 | 173.12 | 4848.495 | 819.139 | 6408.114 | 1.4711
| 2027 | 503 | 42.458 | 176.939 | 4777.915 | 866.18 | 6366.492 | 1.4996
| 2028 | 483 | 40.654 | 181.751 | 4935.886 | 970.262 | 6611.553 | -0.32901
| 2029 | 464 | 38.93 | 194.464 | 5246.237 | 1119.264 | 7062.895 | -0.23962
| 2030 | 620 | 52.429 | 234.928 | 5547.231 | 1278.865 | 7733.453 | 0.15384
| 2031 | 722 | 61.182 | 272.25 | 5775.025 | 1458.615 | 8289.072 | 0.15882
| 2032 | 1083 | 92.327 | 374.886 | 6282.78 | 1760.032 | 9593.025 | 0.16878
| 2033 | 1308 | 111.624 | 451.123 | 6805.246 | 2102.342 | 10778.335 | 0.15337
| 2034 | 1394 | 118.762 | 497 | 7034.439 | 2354.061 | 11398.262 | 0.1558
| 2035 | 1479 | 126.007 | 545.214 | 7289.978 | 2641.56 | 12081.759 | 0.14987
| 2036 | 1711 | 146.08 | 632.615 | 7968.774 | 3166.332 | 13624.801 | 0.14723
| 2037 | 1792 | 153.059 | 686.491 | 8204.314 | 3509.057 | 14344.921 | 0.14974
| 2038 | 1873 | 159.132 | 743.329 | 8535.409 | 3924.396 | 15235.266 | 0.11633
| 2039 | 1955 | 166.395 | 802.799 | 8875.292 | 4378.709 | 16178.195 | 0.14171
| 2040 | 2038 | 173.844 | 864.864 | 9203.397 | 4854.783 | 17134.888 | 0.13852
| 2041 | 2122 | 181.466 | 929.988 | 9536.519 | 5380.196 | 18150.169 | 0.094244
| 2042 | 2032 | 174.009 | 957.234 | 9993.246 | 5938.849 | 19095.338 | 0.17625
| 2043 | 2302 | 197.818 | 1071.509 | 10674.053 | 6850.242 | 21095.622 | 0.12883
* Bill impact is calculated using the difference in revenue requirements of a particular option compared to the 1582 MW CC ( which is
the least cost option at this step of analysis).Therefore, there will be no bill impact calculated for the 1582 MW CC.
The bill impact is calculated based on the nominal annual revenue requirements, and not the present value revenue requirements.
Note: The EGEAS model was used to conduct this analysis. The model provides nominal dollars for 30 years starting in 2014 through
2043. To capture 30 years of system cost for options with inservice dates in 2019, the model utilizes a five year extension
period from 2044 through 2048. However the model only provides a CPVRR sum for this extension period, therefore, customer
bill impact information can only be provided through 2043.