## Row 1-OCEC CC 1633
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 43 - Supplemental
Attachment No. 1
Tab 1 of 15
Page 1 of 7
Table Staff - 43
Staff Supplemental Request Updated Analyses
Okeechobee 3X1 GE 7HA.02 1,633 MW with Peak Firing and Wet Compression
(Nominal $)
|  | Annual Revenue | Annual Revenue
|  | Requirements | Requirements | Annual Revenue | Annual Revenue | Annual Revenue
|  | (Generation) | (Transmission | Requirements | Requirements | Requirements |  | FPL's | Customer
|  | Capital) | Capital) | (O&M) | (Fuel) | (Environmental) | Total | Projected Sales * | Bill Impact
| Years | ($millions) | ($millions) | ($millions) | ($millions) | ($millions) | ($millions) | (MWh) | ($/1,000 KWh)**
| 2019 | 117.9921 | 8.9728 | 4.1 | -18.01 | -0.11 | 112.9449 | 115028551.1789 | 0.98189
| 2020 | 189.8666 | 12.1092 | 10.1564 | -64.14 | -7.24 | 140.7521 | 115640730.7317 | 1.2172
| 2021 | 183.3348 | 11.6088 | 8.9622 | -76.9 | -9.15 | 117.8557 | 115762635.6472 | 1.0181
| 2022 | 177.0385 | 11.1355 | 19.2193 | -67.82 | -9.26 | 130.3132 | 115947585.3003 | 1.1239
| 2023 | 170.957 | 10.6911 | 19.9488 | -76.8 | -11.13 | 113.6669 | 116793938.0413 | 0.97323
| 2024 | 165.0713 | 10.2725 | 20.3368 | -57.45 | -9.63 | 128.6006 | 117910824.8191 | 1.0907
| 2025 | 159.3634 | 9.8714 | 24.363 | -45.34 | -9.53 | 138.7277 | 118626972.5012 | 1.1694
| 2026 | 153.8168 | 9.4759 | 24.8691 | -41.11 | -8.51 | 138.5418 | 119768718.5315 | 1.1567
| 2027 | 148.3429 | 9.0805 | 23.8522 | -43.04 | -9.11 | 129.1256 | 121079588.0998 | 1.0665
| 2028 | 142.8457 | 8.6851 | 41.5438 | -50.39 | -10.91 | 131.7746 | 122874115.1487 | 1.0724
| 2029 | 137.3089 | 8.2898 | 42.4989 | -50.14 | -10.77 | 127.1876 | 124720594.7755 | 1.0198
| 2030 | 131.3732 | 7.8946 | 41.0779 | -57.11 | -12.52 | 110.7157 | 126934224.194 | 0.87223
| 2031 | 125.4355 | 7.4993 | 38.1323 | -63.07 | -14.61 | 93.3872 | 128738761.412 | 0.7254
| 2032 | 119.4955 | 7.1042 | 56.115 | -67.16 | -16.38 | 99.1747 | 130624399.9548 | 0.75924
| 2033 | 113.5532 | 6.7162 | 46.7724 | -71.63 | -17.43 | 77.9818 | 131606155.0321 | 0.59254
| 2034 | 107.6088 | 6.3874 | 50.731 | -72.85 | -17.96 | 73.9172 | 133088676.4447 | 0.5554
| 2035 | 101.6621 | 6.1575 | 50.4339 | -73.39 | -18.36 | 66.5035 | 134779532.6099 | 0.49342
| 2036 | 95.7132 | 5.9761 | 44.3185 | -75.18 | -20.27 | 50.5579 | 136278792.3348 | 0.37099
| 2037 | 89.7621 | 5.7966 | 44.8619 | -74.89 | -20.95 | 44.5806 | 137404970.2337 | 0.32445
| 2038 | 83.8088 | 5.6172 | 40.6292 | -78.08 | -24.28 | 27.6952 | 138983691.8582 | 0.19927
| 2039 | 78.4381 | 5.4379 | 52.4724 | -81.6 | -24.88 | 29.8684 | 140651763.6759 | 0.21236
| 2040 | 74.2348 | 5.2586 | 43.1552 | -79.99 | -23.58 | 19.0786 | 142565521.5385 | 0.13382
| 2041 | 70.0369 | 5.0794 | 39.8856 | -79.91 | -23.8 | 11.2919 | 144168017.4701 | 0.078325
| 2042 | 66.9901 | 4.9068 | 44.2047 | -80.4 | -25.89 | 9.8115 | 145770812.3227 | 0.067308
| 2043 | 63.944 | 3.8163 | 50.4179 | -78.26 | -24.71 | 15.2081 | 147376143.8843 | 0.10319
| 2044 | 60.8986 | 3.2348 | 44.426 | -83.99 | -27.51 | -2.9406 | 148984031.5277 | -0.019738
| 2045 | 57.8539 | 3.1236 | 44.1515 | -86.4379 | -29.7108 | -11.0197 | 150594494.9039 | -0.073174
| 2046 | 54.81 | 3.0125 | 39.4869 | -88.9574 | -32.0877 | -23.7357 | 152207553.9463 | -0.15594
| 2047 | 51.7669 | 2.9013 | 38.2061 | -91.5507 | -34.6547 | -33.331 | 153823228.8747 | -0.21668
| 2048 | 48.7246 | 2.7902 | 32.5694 | -94.2199 | -37.4271 | -47.5628 | 155441540.2 | -0.30599
| 2049 | 21.5073 | 2.6792 | 29.2502 | -96.9673 | -40.4212 | -83.9518 | 157062508.7281 | -0.53451
* Billed KWh sales are adjusted for incremental DSM.
** This bill impact calculation is based on a comparison of two scenarios. In one scenario, a 1,633 MW updated version of the OCEC Unit 1 is assumed to
be added in 2019, and the second scenario is one in which no new resources are added to replace this CC unit. Therefore, the two scenarios are not comparable in
regard to system reliability. The scenario with the 1,633 MW CC meets all three reliability criteria. The scenario with no addition violates two of FPL's
three reliability criteria and thus results in significantly lower system reliability for FPL's customers.

## Row 2-OCEC CC 1622
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 43 - Supplemental
Attachment No. 1
Tab 2 of 15
1 | [8 empty] | Page 2 of 7
Table Staff - 43
Staff Supplemental Request Updated Analyses
Okeechobee 3X1 GE 7HA.02 1,622 MW with Peak Firing and Wet Compression
(Nominal $)
|  | Annual Revenue | Annual Revenue
|  | Requirements | Requirements | Annual Revenue | Annual Revenue | Annual Revenue
|  | (Generation) | (Transmission | Requirements | Requirements | Requirements |  | FPL's | Customer
|  | Capital) | Capital) | (O&M) | (Fuel) | (Environmental) | Total | Projected Sales * | Bill Impact
| Years | ($millions) | ($millions) | ($millions) | ($millions) | ($millions) | ($millions) | (MWh) | ($/1,000 KWh)**
| 2019 | 114.6048 | 8.9709 | 4.09 | -16.04 | -0.11 | 111.5156 | 115028551.1789 | 0.96946
| 2020 | 184.2176 | 12.1059 | 10.1264 | -59.64 | -6.81 | 139.9999 | 115640730.7317 | 1.2106
| 2021 | 177.8856 | 11.6056 | 8.9122 | -71.38 | -8.67 | 118.3534 | 115762635.6472 | 1.0224
| 2022 | 171.7818 | 11.1324 | 19.1893 | -62.66 | -8.68 | 130.7635 | 115947585.3003 | 1.1278
| 2023 | 165.8861 | 10.6881 | 19.8988 | -72.37 | -10.56 | 113.543 | 116793938.0413 | 0.97217
| 2024 | 160.1797 | 10.2696 | 20.2768 | -52.72 | -9.04 | 128.9661 | 117910824.8191 | 1.0938
| 2025 | 154.6454 | 9.8685 | 24.293 | -40.57 | -8.78 | 139.4568 | 118626972.5012 | 1.1756
| 2026 | 149.2669 | 9.4731 | 24.7891 | -35.19 | -7.52 | 140.8191 | 119768718.5315 | 1.1758
| 2027 | 143.9582 | 9.0778 | 23.7622 | -36.5 | -8.18 | 132.1182 | 121079588.0998 | 1.0912
| 2028 | 138.6257 | 8.6825 | 41.4738 | -45.27 | -10.05 | 133.4619 | 122874115.1487 | 1.0862
| 2029 | 133.2536 | 8.2873 | 42.4289 | -44.72 | -9.74 | 129.5098 | 124720594.7755 | 1.0384
| 2030 | 127.4826 | 7.8921 | 41.0379 | -51.59 | -11.3 | 113.5226 | 126934224.194 | 0.89434
| 2031 | 121.7095 | 7.497 | 38.0923 | -57.29 | -13.34 | 96.6689 | 128738761.412 | 0.75089
| 2032 | 117.1115 | 7.1621 | 56.1545 | -61.24 | -14.91 | 104.2781 | 130624399.9548 | 0.79831
| 2033 | 112.1187 | 6.814 | 46.8607 | -65.46 | -15.66 | 84.6734 | 131606155.0321 | 0.64339
| 2034 | 106.266 | 6.4813 | 50.8362 | -66.56 | -16.02 | 81.0035 | 133088676.4447 | 0.60864
| 2035 | 100.4137 | 6.2477 | 50.5884 | -67 | -16.26 | 73.9899 | 134779532.6099 | 0.54897
| 2036 | 94.5618 | 6.0629 | 44.5044 | -68.5 | -17.68 | 58.949 | 136278792.3348 | 0.43256
| 2037 | 88.7099 | 5.8801 | 45.0807 | -68.34 | -18.45 | 52.8807 | 137404970.2337 | 0.38485
| 2038 | 82.8579 | 5.6976 | 40.865 | -71.04 | -21.3 | 37.0805 | 138983691.8582 | 0.2668
| 2039 | 77.5748 | 5.5152 | 52.8477 | -74.49 | -21.83 | 39.6177 | 140651763.6759 | 0.28167
| 2040 | 73.4287 | 5.3328 | 43.5564 | -72.79 | -20.16 | 29.368 | 142565521.5385 | 0.206
| 2041 | 69.2724 | 5.1506 | 40.4158 | -72.74 | -20.3 | 21.7988 | 144168017.4701 | 0.1512
| 2042 | 66.2672 | 4.9749 | 44.825 | -71.66 | -20.88 | 23.527 | 145770812.3227 | 0.1614
| 2043 | 63.2627 | 3.8813 | 51.2693 | -70.98 | -20.81 | 26.6232 | 147376143.8843 | 0.18065
| 2044 | 60.2589 | 3.2968 | 45.2315 | -75.82 | -22.62 | 10.3471 | 148984031.5277 | 0.069451
| 2045 | 57.2558 | 3.1825 | 45.1041 | -78.0232 | -24.4296 | 3.0896 | 150594494.9039 | 0.020516
| 2046 | 54.2535 | 3.0683 | 40.4025 | -80.2907 | -26.384 | -8.9504 | 152207553.9463 | -0.058804
| 2047 | 51.2519 | 2.9545 | 39.0588 | -82.6244 | -28.4947 | -17.854 | 153823228.8747 | -0.11607
| 2048 | 48.251 | 2.8416 | 33.5526 | -85.0263 | -30.7743 | -31.1554 | 155441540.2 | -0.20043
| 2049 | 19.778 | 2.7291 | 30.3139 | -87.4982 | -33.2362 | -67.9134 | 157062508.7281 | -0.4324
* Billed KWh sales are adjusted for incremental DSM.
** This bill impact calculation is based on a comparison of two scenarios. In one scenario, a 1,622 MW updated version of the OCEC Unit 1 is assumed to
be added in 2019, and the second scenario is one in which no new resources are added to replace this CC unit. Therefore, the two scenarios are not comparable in
regard to system reliability. The scenario with the 1,622 MW CC meets all three reliability criteria. The scenario with no addition violates two of FPL's
three reliability criteria and thus results in significantly lower system reliability for FPL's customers.

## Row 3-OCEC 6 CT
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 43 - Supplemental
Attachment No. 1
Tab 3 of 15
1 | [8 empty] | Page 3 of 7
Table Staff - 43
Staff Supplemental Request Updated Analyses
Okeechobee 6x0 CT GE 7FA.05 1,386 MW
(Nominal $)
|  | Annual Revenue | Annual Revenue
|  | Requirements | Requirements | Annual Revenue | Annual Revenue | Annual Revenue
|  | (Generation) | (Transmission | Requirements | Requirements | Requirements |  | FPL's | Customer
|  | Capital) | Capital) | (O&M) | (Fuel) | (Environmental) | Total | Projected Sales * | Bill Impact
| Years | ($millions) | ($millions) | ($millions) | ($millions) | ($millions) | ($millions) | (MWh) | ($/1,000 KWh)**
| 2019 | 71.4636 | 9.5675 | 1.8911 | -0.73 | 0 | 82.1922 | 115028551.1789 | 0.71454
| 2020 | 112.3791 | 13.0944 | 1.9229 | -1.16 | -0.04 | 126.1964 | 115640730.7317 | 1.0913
| 2021 | 108.7278 | 12.5513 | 2.4533 | -3.67 | -0.33 | 119.7324 | 115762635.6472 | 1.0343
| 2022 | 105.196 | 12.0382 | 2.0388 | -2.6 | -0.02 | 116.6529 | 115947585.3003 | 1.0061
| 2023 | 101.7714 | 11.5566 | 8.4014 | -7.9 | -1.26 | 112.5694 | 116793938.0413 | 0.96383
| 2024 | 98.4429 | 11.1034 | 2.1606 | -2.45 | -0.09 | 109.1669 | 117910824.8191 | 0.92584
| 2025 | 95.2003 | 10.6692 | 2.2187 | -1.62 | -0.21 | 106.2583 | 118626972.5012 | 0.89573
| 2026 | 92.0338 | 10.2413 | 2.7768 | 0.17 | 0.2 | 105.4219 | 119768718.5315 | 0.88021
| 2027 | 88.8923 | 9.8135 | 2.3499 | 0.53 | 0.07 | 101.6557 | 121079588.0998 | 0.83958
| 2028 | 85.7206 | 9.3856 | 4.9088 | 0.47 | 0.15 | 100.635 | 122874115.1487 | 0.81901
| 2029 | 82.5091 | 8.9579 | 2.4479 | -0.1 | -0.13 | 93.6848 | 124720594.7755 | 0.75116
| 2030 | 78.8985 | 8.5302 | 2.5045 | 0.17 | -0.08 | 90.0231 | 126934224.194 | 0.70921
| 2031 | 75.2856 | 8.1025 | 9.6148 | 0.01 | 0.28 | 93.2928 | 128738761.412 | 0.72467
| 2032 | 98.1064 | 9.0264 | 4.2099 | -7.06 | -3.3 | 100.9826 | 130624399.9548 | 0.77308
| 2033 | 112.1118 | 9.501 | 5.5275 | -9.89 | -3.63 | 113.6203 | 131606155.0321 | 0.86334
| 2034 | 106.8559 | 9.0548 | 5.9517 | -10.06 | -4.16 | 107.6425 | 133088676.4447 | 0.8088
| 2035 | 101.6581 | 8.723 | 7.1545 | -13.1 | -5.07 | 99.3656 | 134779532.6099 | 0.73725
| 2036 | 96.5137 | 8.4497 | 8.4894 | -10.47 | -3.24 | 99.7428 | 136278792.3348 | 0.7319
| 2037 | 91.4186 | 8.1827 | 8.5224 | -7.06 | -3.47 | 97.5938 | 137404970.2337 | 0.71026
| 2038 | 86.369 | 7.9191 | 12.1399 | -8.93 | -4.58 | 92.9179 | 138983691.8582 | 0.66855
| 2039 | 81.6976 | 7.6566 | 22.3296 | -10.67 | -5.52 | 95.4938 | 140651763.6759 | 0.67894
| 2040 | 77.7213 | 7.3941 | 26.1601 | -11.89 | -5.16 | 94.2255 | 142565521.5385 | 0.66093
| 2041 | 73.5052 | 7.1317 | 32.9437 | -8.46 | -3.93 | 101.1906 | 144168017.4701 | 0.70189
| 2042 | 70.4402 | 6.8759 | 33.5327 | -9 | -6.16 | 95.6887 | 145770812.3227 | 0.65643
| 2043 | 67.3757 | 5.7023 | 36.8873 | -8.39 | -5.51 | 96.0652 | 147376143.8843 | 0.65184
| 2044 | 64.3119 | 5.0376 | 34.9523 | -4.29 | 0.79 | 100.8019 | 148984031.5277 | 0.6766
| 2045 | 61.2486 | 4.8433 | 37.41 | -4.3954 | 0.8532 | 99.9597 | 150594494.9039 | 0.66377
| 2046 | 58.1859 | 4.649 | 36.6666 | -4.5035 | 0.92146 | 95.9195 | 152207553.9463 | 0.63019
| 2047 | 55.1237 | 4.464 | 33.7797 | -4.6142 | 0.99517 | 89.7484 | 153823228.8747 | 0.58345
| 2048 | 52.062 | 4.2974 | 34.8432 | -4.7275 | 1.0748 | 87.5499 | 155441540.2 | 0.56323
| 2049 | 35.3282 | 4.1401 | 33.4208 | -4.8437 | 1.1608 | 69.2062 | 157062508.7281 | 0.44063
* Billed KWh sales are adjusted for incremental DSM.
** This bill impact calculation is based on a comparison of two scenarios. In one scenario, a 1,386 MW updated version of 6x0 CT is assumed to be
added in 2019, and the second scenario is one no new resources are added to replace this CC unit. Therefore, the two scenarios are not comparable in
regard to system reliability. The scenario with the 1,386 MW 6x0 CT meets all three reliability criteria. The scenario with no addition violates two
of FPL's three reliability criteria and thus results in significantly lower system reliability for FPL's customers.

## Row 4-OCEC 7 CT
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 43 - Supplemental
Attachment No. 1
Tab 4 of 15
1 | [8 empty] | Page 4 of 7
Table Staff - 43
Staff Supplemental Request Updated Analyses
Okeechobee 7x0 CT GE 7FA.05 1,617 MW
(Nominal $)
|  | Annual Revenue | Annual Revenue
|  | Requirements | Requirements | Annual Revenue | Annual Revenue | Annual Revenue
|  | (Generation) | (Transmission | Requirements | Requirements | Requirements |  | FPL's | Customer
|  | Capital) | Capital) | (O&M) | (Fuel) | (Environmental) | Total | Projected Sales * | Bill Impact
| Years | ($millions) | ($millions) | ($millions) | ($millions) | ($millions) | ($millions) | (MWh) | ($/1,000 KWh)**
| 2019 | 80.9928 | 10.292 | 2.0688 | -0.73 | 0 | 92.6236 | 115028551.1789 | 0.80522
| 2020 | 128.2472 | 14.2947 | 2.1051 | -1.16 | -0.04 | 143.4471 | 115640730.7317 | 1.2405
| 2021 | 124.004 | 13.6995 | 2.7164 | -3.67 | -0.32 | 136.4299 | 115762635.6472 | 1.1785
| 2022 | 119.9042 | 13.138 | 2.2302 | -2.6 | -0.02 | 132.6525 | 115947585.3003 | 1.1441
| 2023 | 115.9339 | 12.6113 | 2.2901 | -2.49 | -0.24 | 128.1054 | 116793938.0413 | 1.0968
| 2024 | 112.0804 | 12.1158 | 2.3617 | -2.45 | -0.09 | 124.0179 | 117910824.8191 | 1.0518
| 2025 | 108.3316 | 11.6415 | 2.4249 | -1.62 | -0.21 | 120.5681 | 118626972.5012 | 1.0164
| 2026 | 104.6767 | 11.1741 | 3.0745 | 0.17 | 0.2 | 119.2953 | 119768718.5315 | 0.99605
| 2027 | 101.0566 | 10.7067 | 2.5665 | 0.53 | 0.07 | 114.9298 | 121079588.0998 | 0.94921
| 2028 | 97.4076 | 10.2394 | 5.5517 | 0.47 | 0.15 | 113.8187 | 122874115.1487 | 0.9263
| 2029 | 93.7189 | 9.7721 | 2.6754 | -0.1 | -0.13 | 105.9365 | 124720594.7755 | 0.84939
| 2030 | 89.6312 | 9.3049 | 2.7377 | 0.17 | -0.08 | 101.7639 | 126934224.194 | 0.80171
| 2031 | 85.5413 | 8.8378 | 3.5061 | 0.01 | 0.28 | 98.1752 | 128738761.412 | 0.76259
| 2032 | 83.1613 | 8.4582 | 3.0048 | -1.02 | -0.3 | 93.3044 | 130624399.9548 | 0.7143
| 2033 | 80.2081 | 8.0563 | 3.1542 | -1.46 | -0.37 | 89.5885 | 131606155.0321 | 0.68073
| 2034 | 76.0049 | 7.6605 | 3.2593 | -2.08 | -0.74 | 84.1047 | 133088676.4447 | 0.63194
| 2035 | 71.8032 | 7.3856 | 3.4437 | -4.7 | -1.92 | 76.0125 | 134779532.6099 | 0.56398
| 2036 | 67.6027 | 7.1704 | 4.3282 | -1.9 | -0.29 | 76.9114 | 136278792.3348 | 0.56437
| 2037 | 63.4032 | 6.9573 | 3.6549 | -0.07 | -0.27 | 73.6755 | 137404970.2337 | 0.53619
| 2038 | 59.2044 | 6.7446 | 7.4912 | 0.34 | 0.12 | 73.9002 | 138983691.8582 | 0.53172
| 2039 | 55.3938 | 6.5319 | 14.1901 | -1.47 | 0.07 | 74.7158 | 140651763.6759 | 0.53121
| 2040 | 52.3579 | 6.3194 | 17.302 | -3.36 | -0.86 | 71.7593 | 142565521.5385 | 0.50334
| 2041 | 49.1302 | 6.1069 | 21.9415 | 0.25 | 0.42 | 77.8486 | 144168017.4701 | 0.53999
| 2042 | 47.0534 | 5.901 | 21.8388 | 1.07 | -0.12 | 75.7432 | 145770812.3227 | 0.5196
| 2043 | 44.9771 | 4.7773 | 20.8911 | -0.49 | -0.49 | 69.6655 | 147376143.8843 | 0.47271
| 2044 | 42.9013 | 4.1626 | 19.6829 | -1.31 | 0.66 | 66.0968 | 148984031.5277 | 0.44365
| 2045 | 40.826 | 4.0182 | 18.9372 | -1.3438 | 0.7128 | 63.1503 | 150594494.9039 | 0.41934
| 2046 | 38.7512 | 3.8738 | 19.0163 | -1.3785 | 0.76982 | 61.0327 | 152207553.9463 | 0.40098
| 2047 | 36.677 | 3.7301 | 17.225 | -1.4141 | 0.83141 | 57.0494 | 153823228.8747 | 0.37088
| 2048 | 34.6032 | 3.5876 | 15.2319 | -1.4506 | 0.89792 | 52.8701 | 155441540.2 | 0.34013
| 2049 | 16.7136 | 3.4458 | 11.8985 | -1.488 | 0.96976 | 31.5396 | 157062508.7281 | 0.20081
* Billed KWh sales are adjusted for incremental DSM.
** This bill impact calculation is based on a comparison of two scenarios. In one scenario, a 1,617 MW updated version of 7x0 CT is assumed to be
added in 2019, and the second scenario is one in which no new resources are added to replace this CC unit. Therefore, the two scenarios are not comparable in
regard to system reliability. The scenario with the 1,617 MW 7x0 CT meets all three reliability criteria. The scenario with no addition violates two
of FPL's three reliability criteria and thus results in significantly lower system reliability for FPL's customers.

## Row 5-OCEC 5 CT
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 43 - Supplemental
Attachment No. 1
Tab 5 of 15
1 | [8 empty] | Page 5 of 7
Table Staff - 43
Staff Supplemental Request Updated Analyses
Okeechobee 5x0 CT GE 7FA.05 1,155 MW
(Nominal $)
|  | Annual Revenue | Annual Revenue
|  | Requirements | Requirements | Annual Revenue | Annual Revenue | Annual Revenue
|  | (Generation) | (Transmission | Requirements | Requirements | Requirements |  | FPL's | Customer
|  | Capital) | Capital) | (O&M) | (Fuel) | (Environmental) | Total | Projected Sales * | Bill Impact
| Years | ($millions) | ($millions) | ($millions) | ($millions) | ($millions) | ($millions) | (MWh) | ($/1,000 KWh)**
| 2019 | 59.553 | 8.6413 | 1.5759 | -0.73 | 0 | 69.0402 | 115028551.1789 | 0.6002
| 2020 | 93.6492 | 11.558 | 4.1968 | -2.12 | -0.27 | 107.014 | 115640730.7317 | 0.9254
| 2021 | 90.6065 | 11.0794 | 2.0477 | -3.67 | -0.32 | 99.7436 | 115762635.6472 | 0.86162
| 2022 | 87.6633 | 10.6264 | 4.8148 | -3.4 | -0.43 | 99.2744 | 115947585.3003 | 0.8562
| 2023 | 202.7564 | 16.2308 | 8.8833 | -72.49 | -9.02 | 146.3604 | 116793938.0413 | 1.2532
| 2024 | 158.3045 | 13.6729 | 7.4169 | -30.82 | -3.9 | 144.6743 | 117910824.8191 | 1.227
| 2025 | 68.1047 | 8.8155 | 3.2392 | -1.62 | -0.21 | 78.3295 | 118626972.5012 | 0.6603
| 2026 | 65.8821 | 8.47 | 7.0714 | 0.17 | 0.2 | 81.7934 | 119768718.5315 | 0.68293
| 2027 | 63.6542 | 8.1215 | 4.6483 | 0.53 | 0.07 | 77.024 | 121079588.0998 | 0.63614
| 2028 | 61.3776 | 7.7705 | 5.8627 | 0.47 | 0.15 | 75.6308 | 122874115.1487 | 0.61551
| 2029 | 59.0457 | 7.4131 | 3.3775 | -0.1 | -0.13 | 69.6063 | 124720594.7755 | 0.5581
| 2030 | 56.3613 | 7.0456 | 15.4098 | 0.17 | -0.08 | 78.9067 | 126934224.194 | 0.62163
| 2031 | 191.7778 | 13.7383 | 13.4439 | -27.97 | -9.16 | 181.8299 | 128738761.412 | 1.4124
| 2032 | 191.229 | 13.4542 | 21.7284 | -26.9 | -9.59 | 189.9216 | 130624399.9548 | 1.454
| 2033 | 119.9227 | 9.5802 | 19.2095 | -16.03 | -4.89 | 127.7923 | 131606155.0321 | 0.97102
| 2034 | 114.3488 | 9.1374 | 31.7136 | -18.49 | -6.57 | 130.1397 | 133088676.4447 | 0.97784
| 2035 | 108.8601 | 8.7963 | 9.4655 | -17.7 | -6.04 | 103.3819 | 134779532.6099 | 0.76704
| 2036 | 103.4492 | 8.5083 | 27.7747 | -16.64 | -5.64 | 117.4521 | 136278792.3348 | 0.86185
| 2037 | 98.1102 | 8.2232 | 8.6977 | -13.89 | -5.04 | 96.1011 | 137404970.2337 | 0.6994
| 2038 | 92.8389 | 7.9739 | 24.1914 | -12.92 | -5.79 | 106.2942 | 138983691.8582 | 0.7648
| 2039 | 87.8247 | 7.7613 | 42.9882 | -18.23 | -7.71 | 112.6343 | 140651763.6759 | 0.8008
| 2040 | 83.304 | 7.5061 | 50.0268 | -13.78 | -3.43 | 123.6269 | 142565521.5385 | 0.86716
| 2041 | 78.5696 | 7.2092 | 42.816 | -10.68 | -2.6 | 115.3147 | 144168017.4701 | 0.79986
| 2042 | 74.7944 | 6.9188 | 54.055 | -10.14 | -3.23 | 122.3981 | 145770812.3227 | 0.83966
| 2043 | 71.5977 | 5.7106 | 83.649 | -10.52 | -4.99 | 145.4473 | 147376143.8843 | 0.98691
| 2044 | 68.9663 | 5.0113 | 55.4602 | -4.8 | 2.31 | 126.9479 | 148984031.5277 | 0.85209
| 2045 | 65.7348 | 4.7824 | 35.3472 | -4.9017 | 2.4948 | 103.4575 | 150594494.9039 | 0.68699
| 2046 | 61.9154 | 4.6016 | 67.7212 | -5.0054 | 2.6944 | 131.9273 | 152207553.9463 | 0.86676
| 2047 | 58.0961 | 4.4859 | 17.5785 | -5.1111 | 2.9099 | 77.9594 | 153823228.8747 | 0.50681
| 2048 | 54.6864 | 4.3558 | 53.2367 | -5.2189 | 3.1427 | 110.2028 | 155441540.2 | 0.70897
| 2049 | 39.7593 | 4.1945 | 41.2308 | -5.3288 | 3.3941 | 83.25 | 157062508.7281 | 0.53004
* Billed KWh sales are adjusted for incremental DSM.
** This bill impact calculation is based on a comparison of two scenarios. In one scenario, a 1,155 MW updated version of 5x0 CT is assumed to be
added in 2019, and the second scenario is one in which no new resources are added to replace this CC unit. Therefore, the two scenarios are not comparable in
regard to system reliability. The scenario with the 1,155 MW 5x0 CT meets all three reliability criteria. The scenario with no addition violates two
of FPL's three reliability criteria and thus results in significantly lower system reliability for FPL's customers.

## Row 6-OCEC CC Mitsubishi
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 43 - Supplemental
Attachment No. 1
Tab 6 of 15
1 | [8 empty] | Page 6 of 7
Table Staff - 43
Staff Supplemental Request Updated Analyses
Okeechobee CC Mitsubishi J 1,418 MW with Duct Firing
(Nominal $)
|  | Annual Revenue | Annual Revenue
|  | Requirements | Requirements | Annual Revenue | Annual Revenue | Annual Revenue
|  | (Generation) | (Transmission | Requirements | Requirements | Requirements |  | FPL's | Customer
|  | Capital) | Capital) | (O&M) | (Fuel) | (Environmental) | Total | Projected Sales * | Bill Impact
| Years | ($millions) | ($millions) | ($millions) | ($millions) | ($millions) | ($millions) | (MWh) | ($/1,000 KWh)**
| 2019 | 110.9878 | 8.9709 | 8.538 | -14.83 | -0.11 | 113.5567 | 115028551.1789 | 0.9872
| 2020 | 184.9734 | 12.1059 | 14.998 | -49.95 | -5.83 | 156.2973 | 115640730.7317 | 1.3516
| 2021 | 178.1034 | 11.6056 | 22.5677 | -62.49 | -7.49 | 142.2967 | 115762635.6472 | 1.2292
| 2022 | 171.4877 | 11.1324 | 28.5151 | -53.62 | -7.42 | 150.0952 | 115947585.3003 | 1.2945
| 2023 | 165.1069 | 10.6881 | 35.3702 | -64.86 | -9.68 | 136.6252 | 116793938.0413 | 1.1698
| 2024 | 158.9435 | 10.2696 | 34.1442 | -47.09 | -8.28 | 147.9873 | 117910824.8191 | 1.2551
| 2025 | 152.981 | 9.8685 | 31.9266 | -35.43 | -8.22 | 151.1261 | 118626972.5012 | 1.274
| 2026 | 147.2047 | 9.4731 | 35.1812 | -33.14 | -7.54 | 151.1791 | 119768718.5315 | 1.2623
| 2027 | 141.5328 | 9.0778 | 52.4041 | -34.18 | -8.22 | 160.6147 | 121079588.0998 | 1.3265
| 2028 | 135.8762 | 8.6825 | 47.3838 | -42.88 | -9.39 | 139.6726 | 122874115.1487 | 1.1367
| 2029 | 130.2203 | 8.2873 | 58.4212 | -41.08 | -9.72 | 146.1288 | 124720594.7755 | 1.1716
| 2030 | 124.565 | 7.8921 | 101.1825 | -45.09 | -8.62 | 179.9295 | 126934224.194 | 1.4175
| 2031 | 118.9108 | 7.497 | 85.6433 | -50.1 | -9.96 | 151.9911 | 128738761.412 | 1.1806
| 2032 | 136.2683 | 8.2783 | 81.1806 | -57.93 | -13.11 | 154.6873 | 130624399.9548 | 1.1842
| 2033 | 145.9548 | 8.6695 | 84.6371 | -61.77 | -13.75 | 163.7414 | 131606155.0321 | 1.2442
| 2034 | 138.8782 | 8.2626 | 82.356 | -64.65 | -15.63 | 149.2168 | 133088676.4447 | 1.1212
| 2035 | 131.8544 | 7.9596 | 79.3404 | -61.46 | -14.33 | 143.3643 | 134779532.6099 | 1.0637
| 2036 | 124.8797 | 7.7095 | 120.6889 | -63.03 | -15.64 | 174.6081 | 136278792.3348 | 1.2813
| 2037 | 117.9512 | 7.4652 | 113.3867 | -62.03 | -15.86 | 160.9131 | 137404970.2337 | 1.1711
| 2038 | 111.0654 | 7.2238 | 113.0872 | -64.42 | -18 | 148.9564 | 138983691.8582 | 1.0718
| 2039 | 104.7628 | 6.9833 | 126.6701 | -69 | -21 | 148.4162 | 140651763.6759 | 1.0552
| 2040 | 99.5693 | 6.743 | 119.2161 | -68.16 | -19.9 | 137.4684 | 142565521.5385 | 0.96425
| 2041 | 94.9233 | 6.5027 | 117.7442 | -61.35 | -15.15 | 142.6701 | 144168017.4701 | 0.98961
| 2042 | 90.278 | 6.269 | 153.496 | -64.51 | -17.93 | 167.603 | 145770812.3227 | 1.1498
| 2043 | 85.6336 | 5.1174 | 127.6468 | -62.95 | -17.73 | 137.7179 | 147376143.8843 | 0.93447
| 2044 | 81.374 | 4.4748 | 131.4966 | -63.64 | -16.63 | 137.0755 | 148984031.5277 | 0.92007
| 2045 | 77.3894 | 4.3026 | 152.2048 | -65.4737 | -17.9604 | 150.4627 | 150594494.9039 | 0.99912
| 2046 | 73.4056 | 4.1304 | 143.0378 | -67.3606 | -19.3972 | 133.816 | 152207553.9463 | 0.87917
| 2047 | 69.4226 | 3.9662 | 142.9765 | -69.3022 | -20.949 | 126.1142 | 153823228.8747 | 0.81986
| 2048 | 65.4405 | 3.8181 | 133.1321 | -71.3 | -22.6249 | 108.4658 | 155441540.2 | 0.69779
| 2049 | 36.922 | 3.6781 | 113.8071 | -73.3557 | -24.4349 | 56.6165 | 157062508.7281 | 0.36047
* Billed KWh sales are adjusted for incremental DSM.
** This bill impact calculation is based on a comparison of two scenarios. In one scenario, a 1,418 MW updated version of the OCEC Unit 1 is assumed to
be added in 2019, and the second scenario is one in which no new resources are added to replace this CC unit. Therefore, the two scenarios are not comparable in
regard to system reliability. The scenario with the 1,418 MW CC meets all three reliability criteria. The scenario with no addition violates two of FPL's
three reliability criteria and thus results in significantly lower system reliability for FPL's customers.

## Row 7-OCEC CC Siemens
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 43 - Supplemental
Attachment No. 1
Tab 7 of 15
1 | [8 empty] | Page 7 of 7
Table Staff - 43
Staff Supplemental Request Updated Analyses
Okeechobee CC Siemens H 1,322 MW with Duct Firing
(Nominal $)
|  | Annual Revenue | Annual Revenue
|  | Requirements | Requirements | Annual Revenue | Annual Revenue | Annual Revenue
|  | (Generation) | (Transmission | Requirements | Requirements | Requirements |  | FPL's | Customer
|  | Capital) | Capital) | (O&M) | (Fuel) | (Environmental) | Total | Projected Sales * | Bill Impact
| Years | ($millions) | ($millions) | ($millions) | ($millions) | ($millions) | ($millions) | (MWh) | ($/1,000 KWh)**
| 2019 | 105.9211 | 8.9709 | 8.583 | -12.97 | -0.11 | 110.395 | 115028551.1789 | 0.95972
| 2020 | 176.5292 | 12.1059 | 12.1467 | -49.48 | -5.52 | 145.7817 | 115640730.7317 | 1.2606
| 2021 | 169.9727 | 11.6056 | 13.9216 | -58.64 | -6.87 | 129.9899 | 115762635.6472 | 1.1229
| 2022 | 163.659 | 11.1324 | 22.2666 | -52.65 | -7.03 | 137.378 | 115947585.3003 | 1.1848
| 2023 | 275.5163 | 16.7178 | 34.3938 | -113.18 | -15.19 | 198.258 | 116793938.0413 | 1.6975
| 2024 | 227.956 | 14.1422 | 34.9879 | -67.76 | -10.52 | 198.806 | 117910824.8191 | 1.6861
| 2025 | 134.7681 | 9.2677 | 32.9134 | -31.09 | -6.35 | 139.5093 | 118626972.5012 | 1.176
| 2026 | 129.6716 | 8.9054 | 41.2866 | -28 | -5.59 | 146.2736 | 119768718.5315 | 1.2213
| 2027 | 124.6486 | 8.5401 | 41.275 | -24.88 | -5.4 | 144.1838 | 121079588.0998 | 1.1908
| 2028 | 119.6167 | 8.1724 | 42.1277 | -31.55 | -5.71 | 132.6568 | 122874115.1487 | 1.0796
| 2029 | 114.5634 | 7.7981 | 44.7799 | -31.15 | -5.66 | 130.3314 | 124720594.7755 | 1.045
| 2030 | 109.4906 | 7.4139 | 77.9225 | -38.09 | -7.66 | 149.077 | 126934224.194 | 1.1744
| 2031 | 242.5217 | 14.0897 | 52.9399 | -61.5 | -15.53 | 232.5213 | 128738761.412 | 1.8061
| 2032 | 221.7162 | 12.8751 | 78.8419 | -58.65 | -14.63 | 240.1532 | 130624399.9548 | 1.8385
| 2033 | 136.1138 | 8.3792 | 79.3097 | -49.57 | -11.17 | 163.0627 | 131606155.0321 | 1.239
| 2034 | 129.2678 | 7.9825 | 88.7599 | -50.2 | -12.95 | 162.8603 | 133088676.4447 | 1.2237
| 2035 | 122.4683 | 7.6883 | 70.7463 | -49.03 | -13.36 | 138.5128 | 134779532.6099 | 1.0277
| 2036 | 115.7111 | 7.446 | 93.1888 | -48.09 | -13.12 | 155.1359 | 136278792.3348 | 1.1384
| 2037 | 108.994 | 7.2036 | 68.1726 | -43.37 | -11.88 | 129.1203 | 137404970.2337 | 0.93971
| 2038 | 102.3153 | 6.9947 | 91.0702 | -45.24 | -14.41 | 140.7302 | 138983691.8582 | 1.0126
| 2039 | 96.1053 | 6.8219 | 106.5949 | -48.55 | -16.51 | 144.4621 | 140651763.6759 | 1.0271
| 2040 | 90.8511 | 6.6065 | 104.5952 | -44.06 | -13.93 | 144.0628 | 142565521.5385 | 1.0105
| 2041 | 86.1032 | 6.3493 | 100.854 | -41.64 | -12.69 | 138.9765 | 144168017.4701 | 0.96399
| 2042 | 81.356 | 6.0987 | 141.1408 | -38.34 | -11.73 | 178.5255 | 145770812.3227 | 1.2247
| 2043 | 77.1875 | 4.9303 | 135.8306 | -37.31 | -13 | 167.6384 | 147376143.8843 | 1.1375
| 2044 | 73.9508 | 4.2708 | 107.7457 | -37.85 | -13.66 | 134.4573 | 148984031.5277 | 0.90249
| 2045 | 70.3758 | 4.0816 | 100.3069 | -38.9186 | -14.7528 | 121.0928 | 150594494.9039 | 0.8041
| 2046 | 66.2133 | 3.9406 | 131.9555 | -40.0177 | -15.933 | 146.1587 | 152207553.9463 | 0.96026
| 2047 | 62.0512 | 3.8585 | 78.6975 | -41.148 | -17.2077 | 86.2515 | 153823228.8747 | 0.56072
| 2048 | 58.2989 | 3.7494 | 103.7161 | -42.3104 | -18.5843 | 104.8696 | 155441540.2 | 0.67466
| 2049 | 31.0065 | 3.603 | 74.1981 | -43.506 | -20.071 | 45.2307 | 157062508.7281 | 0.28798
* Billed KWh sales are adjusted for incremental DSM.
** This bill impact calculation is based on a comparison of two scenarios. In one scenario, a 1,322 MW updated version of the OCEC Unit 1 is assumed to
be added in 2019, and the second scenario is one in which no new resources are added to replace this CC unit. Therefore, the two scenarios are not comparable in
regard to system reliability. The scenario with the 1,322 MW CC meets all three reliability criteria. The scenario with no addition violates two of FPL's
three reliability criteria and thus results in significantly lower system reliability for FPL's customers.

## Row 1-OCEC CC 1633 - pv
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 43 - Supplemental
Attachment No. 1
Tab 8 of 15
Page 1 of 7
Table Staff - 43
Staff Supplemental Request Updated Analyses
Okeechobee 3X1 GE 7HA.02 1,633 MW with Peak Firing and Wet Compression
(Present Value 2015$)
|  | Annual Revenue | Annual Revenue
|  | Requirements | Requirements | Annual Revenue | Annual Revenue | Annual Revenue
|  | (Generation) | (Transmission | Requirements | Requirements | Requirements
|  | Capital) | Capital) | (O&M) | (Fuel) | (Environmental) | Total
| Years | ($millions) | ($millions) | ($millions) | ($millions) | ($millions) | ($millions)
| 2019 | 88.3197 | 6.7164 | 3.0689 | -13.4809 | -0.082337 | 84.5418
| 2020 | 132.1917 | 8.4308 | 7.0712 | -44.6565 | -5.0407 | 97.9965
| 2021 | 118.7276 | 7.5178 | 5.8039 | -49.8004 | -5.9255 | 76.3233
| 2022 | 106.6413 | 6.7076 | 11.577 | -40.8522 | -5.5779 | 78.4958
| 2023 | 95.7847 | 5.99 | 11.177 | -43.0299 | -6.236 | 63.6859
| 2024 | 86.0264 | 5.3535 | 10.5985 | -29.9399 | -5.0186 | 67.0198
| 2025 | 77.2503 | 4.7851 | 11.8098 | -21.9782 | -4.6196 | 67.2473
| 2026 | 69.3532 | 4.2725 | 11.213 | -18.5357 | -3.837 | 62.4659
| 2027 | 62.2129 | 3.8082 | 10.0033 | -18.0504 | -3.8206 | 54.1534
| 2028 | 55.7227 | 3.388 | 16.2058 | -19.6566 | -4.2559 | 51.4039
| 2029 | 49.8212 | 3.0079 | 15.4203 | -18.1928 | -3.9078 | 46.1488
| 2030 | 44.3378 | 2.6644 | 13.8636 | -19.2743 | -4.2254 | 37.366
| 2031 | 39.3766 | 2.3542 | 11.9705 | -19.7989 | -4.5864 | 29.3161
| 2032 | 34.8916 | 2.0744 | 16.3851 | -19.6101 | -4.7828 | 28.9581
| 2033 | 30.8404 | 1.8241 | 12.7031 | -19.4543 | -4.7339 | 21.1794
| 2034 | 27.1844 | 1.6136 | 12.8158 | -18.4035 | -4.5371 | 18.6731
| 2035 | 23.8881 | 1.4469 | 11.8507 | -17.2449 | -4.3142 | 15.6267
| 2036 | 20.9192 | 1.3062 | 9.6863 | -16.4315 | -4.4302 | 11.05
| 2037 | 18.2481 | 1.1784 | 9.1202 | -15.2247 | -4.259 | 9.063
| 2038 | 15.8477 | 1.0622 | 7.6827 | -14.7644 | -4.5912 | 5.237
| 2039 | 13.796 | 0.95643 | 9.2291 | -14.3522 | -4.376 | 5.2534
| 2040 | 12.1447 | 0.8603 | 7.0601 | -13.0862 | -3.8576 | 3.1212
| 2041 | 10.6575 | 0.77293 | 6.0694 | -12.1599 | -3.6217 | 1.7183
| 2042 | 9.4818 | 0.6945 | 6.2568 | -11.3799 | -3.6645 | 1.3887
| 2043 | 8.4184 | 0.50242 | 6.6377 | -10.3032 | -3.2532 | 2.0022
| 2044 | 7.4574 | 0.39612 | 5.4403 | -10.2851 | -3.3688 | -0.36009
| 2045 | 6.5897 | 0.35579 | 5.029 | -9.8455 | -3.3841 | -1.2552
| 2046 | 5.8069 | 0.31916 | 4.1835 | -9.4247 | -3.3996 | -2.5147
| 2047 | 5.1014 | 0.28591 | 3.765 | -9.0219 | -3.4151 | -3.2846
| 2048 | 4.4662 | 0.25576 | 2.9854 | -8.6364 | -3.4306 | -4.3597
| 2049 | 1.8337 | 0.22843 | 2.4938 | -8.2673 | -3.4463 | -7.1576

## Row 2-OCEC CC 1622 - pv
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 43 - Supplemental
Attachment No. 1
Tab 9 of 15
1 | [6 empty] | Page 2 of 7
Table Staff - 43
Staff Supplemental Request Updated Analyses
Okeechobee 3X1 GE 7HA.02 1,622 MW with Peak Firing and Wet Compression
(Present Value 2015$)
|  | Annual Revenue | Annual Revenue
|  | Requirements | Requirements | Annual Revenue | Annual Revenue | Annual Revenue
|  | (Generation) | (Transmission | Requirements | Requirements | Requirements
|  | Capital) | Capital) | (O&M) | (Fuel) | (Environmental) | Total
| Years | ($millions) | ($millions) | ($millions) | ($millions) | ($millions) | ($millions)
| 2019 | 85.7842 | 6.7149 | 3.0614 | -12.0063 | -0.082337 | 83.4719
| 2020 | 128.2587 | 8.4285 | 7.0503 | -41.5234 | -4.7414 | 97.4728
| 2021 | 115.1987 | 7.5158 | 5.7715 | -46.2257 | -5.6147 | 76.6457
| 2022 | 103.4749 | 6.7057 | 11.5589 | -37.744 | -5.2285 | 78.767
| 2023 | 92.9435 | 5.9884 | 11.149 | -40.5478 | -5.9166 | 63.6164
| 2024 | 83.4772 | 5.352 | 10.5672 | -27.4749 | -4.7112 | 67.2103
| 2025 | 74.9632 | 4.7837 | 11.7758 | -19.666 | -4.256 | 67.6007
| 2026 | 67.3017 | 4.2713 | 11.1769 | -15.8665 | -3.3906 | 63.4928
| 2027 | 60.374 | 3.8071 | 9.9655 | -15.3076 | -3.4306 | 55.4085
| 2028 | 54.0765 | 3.387 | 16.1785 | -17.6594 | -3.9204 | 52.0622
| 2029 | 48.3498 | 3.007 | 15.3949 | -16.2262 | -3.5341 | 46.9914
| 2030 | 43.0247 | 2.6635 | 13.8501 | -17.4114 | -3.8137 | 38.3133
| 2031 | 38.207 | 2.3535 | 11.9579 | -17.9844 | -4.1877 | 30.3462
| 2032 | 34.1955 | 2.0913 | 16.3966 | -17.8815 | -4.3536 | 30.4483
| 2033 | 30.4508 | 1.8507 | 12.7271 | -17.7786 | -4.2532 | 22.9968
| 2034 | 26.8452 | 1.6373 | 12.8424 | -16.8145 | -4.047 | 20.4633
| 2035 | 23.5948 | 1.4681 | 11.887 | -15.7434 | -3.8207 | 17.3858
| 2036 | 20.6676 | 1.3251 | 9.7269 | -14.9715 | -3.8642 | 12.884
| 2037 | 18.0342 | 1.1954 | 9.1646 | -13.8931 | -3.7508 | 10.7503
| 2038 | 15.6679 | 1.0774 | 7.7273 | -13.4332 | -4.0277 | 7.0117
| 2039 | 13.6442 | 0.97003 | 9.2951 | -13.1016 | -3.8396 | 6.9681
| 2040 | 12.0128 | 0.87244 | 7.1258 | -11.9083 | -3.2981 | 4.8045
| 2041 | 10.5412 | 0.78377 | 6.1501 | -11.0689 | -3.0891 | 3.3171
| 2042 | 9.3795 | 0.70414 | 6.3445 | -10.1428 | -2.9554 | 3.33
| 2043 | 8.3287 | 0.51099 | 6.7498 | -9.3448 | -2.7397 | 3.505
| 2044 | 7.3791 | 0.40371 | 5.5389 | -9.2847 | -2.77 | 1.2671
| 2045 | 6.5216 | 0.36249 | 5.1375 | -8.8871 | -2.7826 | 0.35191
| 2046 | 5.7479 | 0.32507 | 4.2805 | -8.5065 | -2.7953 | -0.94826
| 2047 | 5.0506 | 0.29115 | 3.8491 | -8.1423 | -2.808 | -1.7594
| 2048 | 4.4228 | 0.26046 | 3.0755 | -7.7936 | -2.8208 | -2.8558
| 2049 | 1.6862 | 0.23268 | 2.5845 | -7.46 | -2.8337 | -5.7902

## Row 3-OCEC 6 CT - pv
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 43 - Supplemental
Attachment No. 1
Tab 10 of 15
1 | [6 empty] | Page 3 of 7
Table Staff - 43
Staff Supplemental Request Updated Analyses
Okeechobee 6x0 CT GE 7FA.05 1,386 MW
(Present Value 2015$)
|  | Annual Revenue | Annual Revenue
|  | Requirements | Requirements | Annual Revenue | Annual Revenue | Annual Revenue
|  | (Generation) | (Transmission | Requirements | Requirements | Requirements
|  | Capital) | Capital) | (O&M) | (Fuel) | (Environmental) | Total
| Years | ($millions) | ($millions) | ($millions) | ($millions) | ($millions) | ($millions)
| 2019 | 53.4921 | 7.1615 | 1.4155 | -0.54642 | 0 | 61.5227
| 2020 | 78.2422 | 9.1168 | 1.3388 | -0.80763 | -0.027849 | 87.8623
| 2021 | 70.4122 | 8.1282 | 1.5887 | -2.3767 | -0.21371 | 77.5387
| 2022 | 63.3661 | 7.2513 | 1.2281 | -1.5661 | -0.012047 | 70.2674
| 2023 | 57.021 | 6.475 | 4.7072 | -4.4263 | -0.70596 | 63.071
| 2024 | 51.3032 | 5.7865 | 1.126 | -1.2768 | -0.046903 | 56.892
| 2025 | 46.1477 | 5.1718 | 1.0755 | -0.78528 | -0.1018 | 51.5079
| 2026 | 41.4963 | 4.6176 | 1.252 | 0.07665 | 0.090176 | 47.5328
| 2027 | 37.2802 | 4.1156 | 0.98553 | 0.22227 | 0.029357 | 42.633
| 2028 | 33.4387 | 3.6612 | 1.9149 | 0.18334 | 0.058513 | 39.2567
| 2029 | 29.9376 | 3.2503 | 0.88819 | -0.036284 | -0.047169 | 33.9927
| 2030 | 26.6278 | 2.8789 | 0.84525 | 0.057374 | -0.027 | 30.3823
| 2031 | 23.6336 | 2.5435 | 3.0183 | 0.0031392 | 0.087897 | 29.2864
| 2032 | 28.6462 | 2.6356 | 1.2292 | -2.0615 | -0.96357 | 29.486
| 2033 | 30.4489 | 2.5804 | 1.5012 | -2.6861 | -0.98589 | 30.8586
| 2034 | 26.9942 | 2.2875 | 1.5035 | -2.5414 | -1.0509 | 27.1929
| 2035 | 23.8872 | 2.0497 | 1.6811 | -3.0782 | -1.1913 | 23.3485
| 2036 | 21.0942 | 1.8468 | 1.8555 | -2.2883 | -0.70814 | 21.7999
| 2037 | 18.5849 | 1.6635 | 1.7326 | -1.4353 | -0.70543 | 19.8403
| 2038 | 16.3318 | 1.4974 | 2.2956 | -1.6886 | -0.86605 | 17.5702
| 2039 | 14.3693 | 1.3467 | 3.9274 | -1.8767 | -0.97088 | 16.7959
| 2040 | 12.7151 | 1.2097 | 4.2797 | -1.9452 | -0.84417 | 15.4151
| 2041 | 11.1853 | 1.0852 | 5.013 | -1.2874 | -0.59803 | 15.3982
| 2042 | 9.9701 | 0.97322 | 4.7462 | -1.2739 | -0.87189 | 13.5438
| 2043 | 8.8702 | 0.75072 | 4.8563 | -1.1046 | -0.72541 | 12.6473
| 2044 | 7.8754 | 0.61689 | 4.2802 | -0.52534 | 0.096741 | 12.3439
| 2045 | 6.9764 | 0.55167 | 4.2611 | -0.50065 | 0.097182 | 11.3857
| 2046 | 6.1646 | 0.49255 | 3.8847 | -0.47713 | 0.097625 | 10.1623
| 2047 | 5.4322 | 0.43991 | 3.3288 | -0.4547 | 0.09807 | 8.8443
| 2048 | 4.7721 | 0.39391 | 3.1938 | -0.43333 | 0.098517 | 8.025
| 2049 | 3.012 | 0.35298 | 2.8494 | -0.41297 | 0.098966 | 5.9004

## Row 4-OCEC 7 CT - pv
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 43 - Supplemental
Attachment No. 1
Tab 11 of 15
1 | [6 empty] | Page 4 of 7
Table Staff - 43
Staff Supplemental Request Updated Analyses
Okeechobee 7x0 CT GE 7FA.05 1,617 MW
(Present Value 2015$)
|  | Annual Revenue | Annual Revenue
|  | Requirements | Requirements | Annual Revenue | Annual Revenue | Annual Revenue
|  | (Generation) | (Transmission | Requirements | Requirements | Requirements
|  | Capital) | Capital) | (O&M) | (Fuel) | (Environmental) | Total
| Years | ($millions) | ($millions) | ($millions) | ($millions) | ($millions) | ($millions)
| 2019 | 60.6249 | 7.7038 | 1.5486 | -0.54642 | 0 | 69.3308
| 2020 | 89.2902 | 9.9525 | 1.4657 | -0.80763 | -0.027849 | 99.8728
| 2021 | 80.305 | 8.8718 | 1.7591 | -2.3767 | -0.20723 | 88.352
| 2022 | 72.2258 | 7.9139 | 1.3434 | -1.5661 | -0.012047 | 79.9049
| 2023 | 64.9561 | 7.0659 | 1.2831 | -1.3951 | -0.13447 | 71.7755
| 2024 | 58.4104 | 6.3141 | 1.2308 | -1.2768 | -0.046903 | 64.6315
| 2025 | 52.513 | 5.6431 | 1.1754 | -0.78528 | -0.1018 | 58.4445
| 2026 | 47.1968 | 5.0382 | 1.3862 | 0.07665 | 0.090176 | 53.788
| 2027 | 42.3817 | 4.4903 | 1.0764 | 0.22227 | 0.029357 | 48.1999
| 2028 | 37.9977 | 3.9943 | 2.1657 | 0.18334 | 0.058513 | 44.3995
| 2029 | 34.005 | 3.5457 | 0.97074 | -0.036284 | -0.047169 | 38.4381
| 2030 | 30.2501 | 3.1404 | 0.92396 | 0.057374 | -0.027 | 34.3448
| 2031 | 26.8531 | 2.7744 | 1.1006 | 0.0031392 | 0.087897 | 30.8191
| 2032 | 24.2823 | 2.4697 | 0.87739 | -0.29783 | -0.087597 | 27.244
| 2033 | 21.784 | 2.188 | 0.85665 | -0.39653 | -0.10049 | 24.3317
| 2034 | 19.2005 | 1.9352 | 0.82337 | -0.52545 | -0.18694 | 21.2467
| 2035 | 16.872 | 1.7354 | 0.80918 | -1.1044 | -0.45115 | 17.8611
| 2036 | 14.7754 | 1.5672 | 0.94598 | -0.41527 | -0.063383 | 16.8099
| 2037 | 12.8895 | 1.4144 | 0.74302 | -0.014231 | -0.054889 | 14.9778
| 2038 | 11.1952 | 1.2754 | 1.4165 | 0.064292 | 0.022691 | 13.974
| 2039 | 9.7429 | 1.1489 | 2.4958 | -0.25855 | 0.012312 | 13.1413
| 2040 | 8.5657 | 1.0338 | 2.8306 | -0.54969 | -0.14069 | 11.7397
| 2041 | 7.4761 | 0.9293 | 3.3388 | 0.038043 | 0.063911 | 11.8462
| 2042 | 6.66 | 0.83524 | 3.0911 | 0.15145 | -0.016985 | 10.7207
| 2043 | 5.9214 | 0.62895 | 2.7504 | -0.06451 | -0.06451 | 9.1717
| 2044 | 5.2536 | 0.50974 | 2.4103 | -0.16042 | 0.080822 | 8.094
| 2045 | 4.6502 | 0.45768 | 2.157 | -0.15306 | 0.08119 | 7.193
| 2046 | 4.1055 | 0.41042 | 2.0147 | -0.14604 | 0.08156 | 6.4662
| 2047 | 3.6143 | 0.36758 | 1.6974 | -0.13935 | 0.081932 | 5.622
| 2048 | 3.1718 | 0.32885 | 1.3962 | -0.13296 | 0.082305 | 4.8462
| 2049 | 1.425 | 0.29378 | 1.0144 | -0.12686 | 0.08268 | 2.689

## Row 5-OCEC 5 CT - pv
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 43 - Supplemental
Attachment No. 1
Tab 12 of 15
1 | [6 empty] | Page 5 of 7
Table Staff - 43
Staff Supplemental Request Updated Analyses
Okeechobee 5x0 CT GE 7FA.05 1,155 MW
(Present Value 2015$)
|  | Annual Revenue | Annual Revenue
|  | Requirements | Requirements | Annual Revenue | Annual Revenue | Annual Revenue
|  | (Generation) | (Transmission | Requirements | Requirements | Requirements
|  | Capital) | Capital) | (O&M) | (Fuel) | (Environmental) | Total
| Years | ($millions) | ($millions) | ($millions) | ($millions) | ($millions) | ($millions)
| 2019 | 44.5767 | 6.4682 | 1.1796 | -0.54642 | 0 | 51.6781
| 2020 | 65.2019 | 8.0471 | 2.9219 | -1.476 | -0.18798 | 74.5069
| 2021 | 58.6768 | 7.175 | 1.3261 | -2.3767 | -0.20723 | 64.594
| 2022 | 52.8051 | 6.4009 | 2.9002 | -2.048 | -0.25902 | 59.7992
| 2023 | 113.6014 | 9.0938 | 4.9772 | -40.6151 | -5.0538 | 82.0036
| 2024 | 82.4999 | 7.1256 | 3.8653 | -16.0618 | -2.0325 | 75.3966
| 2025 | 33.0133 | 4.2733 | 1.5702 | -0.78528 | -0.1018 | 37.9696
| 2026 | 29.705 | 3.819 | 3.1884 | 0.07665 | 0.090176 | 36.8792
| 2027 | 26.6957 | 3.406 | 1.9494 | 0.22227 | 0.029357 | 32.3028
| 2028 | 23.9428 | 3.0312 | 2.287 | 0.18334 | 0.058513 | 29.5028
| 2029 | 21.4242 | 2.6898 | 1.2255 | -0.036284 | -0.047169 | 25.256
| 2030 | 19.0217 | 2.3779 | 5.2007 | 0.057374 | -0.027 | 26.6306
| 2031 | 60.2028 | 4.3127 | 4.2203 | -8.7803 | -2.8755 | 57.08
| 2032 | 55.8371 | 3.9285 | 6.3445 | -7.8546 | -2.8002 | 55.4554
| 2033 | 32.5703 | 2.6019 | 5.2172 | -4.3537 | -1.3281 | 34.7077
| 2034 | 28.8871 | 2.3083 | 8.0115 | -4.671 | -1.6597 | 32.8762
| 2035 | 25.5795 | 2.0669 | 2.2242 | -4.1591 | -1.4193 | 24.2922
| 2036 | 22.61 | 1.8596 | 6.0705 | -3.6369 | -1.2327 | 25.6705
| 2037 | 19.9452 | 1.6717 | 1.7682 | -2.8238 | -1.0246 | 19.5368
| 2038 | 17.5552 | 1.5078 | 4.5744 | -2.4431 | -1.0949 | 20.0995
| 2039 | 15.447 | 1.3651 | 7.561 | -3.2064 | -1.3561 | 19.8106
| 2040 | 13.6284 | 1.228 | 8.1843 | -2.2544 | -0.56114 | 20.2251
| 2041 | 11.9559 | 1.097 | 6.5153 | -1.6252 | -0.39564 | 17.5475
| 2042 | 10.5864 | 0.97929 | 7.651 | -1.4352 | -0.45718 | 17.3243
| 2043 | 9.4261 | 0.75182 | 11.0127 | -1.385 | -0.65695 | 19.1486
| 2044 | 8.4454 | 0.61367 | 6.7915 | -0.58779 | 0.28288 | 15.5456
| 2045 | 7.4874 | 0.54472 | 4.0261 | -0.55832 | 0.28416 | 11.7841
| 2046 | 6.5597 | 0.48752 | 7.1748 | -0.5303 | 0.28546 | 13.9772
| 2047 | 5.7251 | 0.44207 | 1.7323 | -0.50368 | 0.28676 | 7.6825
| 2048 | 5.0126 | 0.39926 | 4.8798 | -0.47837 | 0.28807 | 10.1014
| 2049 | 3.3898 | 0.35762 | 3.5153 | -0.45432 | 0.28938 | 7.0978

## Row 6-OCEC CC Mitsubishi - pv
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 43 - Supplemental
Attachment No. 1
Tab 13 of 15
1 | [6 empty] | Page 6 of 7
Table Staff - 43
Staff Supplemental Request Updated Analyses
Okeechobee CC Mitsubishi J 1,418 MW with Duct Firing
(Present Value 2015$)
|  | Annual Revenue | Annual Revenue
|  | Requirements | Requirements | Annual Revenue | Annual Revenue | Annual Revenue
|  | (Generation) | (Transmission | Requirements | Requirements | Requirements
|  | Capital) | Capital) | (O&M) | (Fuel) | (Environmental) | Total
| Years | ($millions) | ($millions) | ($millions) | ($millions) | ($millions) | ($millions)
| 2019 | 83.0768 | 6.7149 | 6.3909 | -11.1006 | -0.082337 | 84.9997
| 2020 | 128.7849 | 8.4285 | 10.4422 | -34.7769 | -4.059 | 108.8196
| 2021 | 115.3397 | 7.5158 | 14.6148 | -40.4685 | -4.8505 | 92.1513
| 2022 | 103.2978 | 6.7057 | 17.1764 | -32.2987 | -4.4695 | 90.4117
| 2023 | 92.5069 | 5.9884 | 19.8174 | -36.3401 | -5.4236 | 76.549
| 2024 | 82.8329 | 5.352 | 17.7942 | -24.5408 | -4.3151 | 77.1231
| 2025 | 74.1565 | 4.7837 | 15.4762 | -17.1744 | -3.9846 | 73.2573
| 2026 | 66.3719 | 4.2713 | 15.8626 | -14.9422 | -3.3996 | 68.1639
| 2027 | 59.3569 | 3.8071 | 21.9775 | -14.3346 | -3.4474 | 67.3595
| 2028 | 53.004 | 3.387 | 18.484 | -16.7271 | -3.6629 | 54.4849
| 2029 | 47.2492 | 3.007 | 21.1976 | -14.9055 | -3.5268 | 53.0215
| 2030 | 42.04 | 2.6635 | 34.1486 | -15.2176 | -2.9092 | 60.7253
| 2031 | 37.3284 | 2.3535 | 26.8851 | -15.7274 | -3.1266 | 47.713
| 2032 | 39.7891 | 2.4172 | 23.704 | -16.915 | -3.828 | 45.1673
| 2033 | 39.6405 | 2.3546 | 22.9869 | -16.7764 | -3.7344 | 44.4712
| 2034 | 35.0837 | 2.0873 | 20.805 | -16.332 | -3.9485 | 37.6955
| 2035 | 30.9826 | 1.8703 | 18.6431 | -14.4416 | -3.3672 | 33.6871
| 2036 | 27.2939 | 1.685 | 26.378 | -13.7759 | -3.4183 | 38.1626
| 2037 | 23.9788 | 1.5176 | 23.0509 | -12.6103 | -3.2242 | 32.7127
| 2038 | 21.0017 | 1.366 | 21.384 | -12.1814 | -3.4037 | 28.1667
| 2039 | 18.4261 | 1.2283 | 22.2793 | -12.136 | -3.6936 | 26.1041
| 2040 | 16.2894 | 1.1031 | 19.5035 | -11.1509 | -3.2556 | 22.4896
| 2041 | 14.4445 | 0.98952 | 17.9172 | -9.3356 | -2.3054 | 21.7101
| 2042 | 12.778 | 0.88731 | 21.7259 | -9.1308 | -2.5378 | 23.7226
| 2043 | 11.274 | 0.67372 | 16.8051 | -8.2876 | -2.3342 | 18.131
| 2044 | 9.9648 | 0.54798 | 16.1027 | -7.7932 | -2.0365 | 16.7858
| 2045 | 8.8149 | 0.49008 | 17.3365 | -7.4576 | -2.0457 | 17.1381
| 2046 | 7.777 | 0.4376 | 15.1543 | -7.1366 | -2.0551 | 14.1773
| 2047 | 6.8413 | 0.39085 | 14.0897 | -6.8294 | -2.0644 | 12.428
| 2048 | 5.9984 | 0.34998 | 12.2031 | -6.5355 | -2.0738 | 9.9422
| 2049 | 3.1479 | 0.31359 | 9.703 | -6.2542 | -2.0833 | 4.8271

## Row 7-OCEC CC Siemens - pv
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 43 - Supplemental
Attachment No. 1
Tab 14 of 15
1 | [6 empty] | Page 7 of 7
Table Staff - 43
Staff Supplemental Request Updated Analyses
Okeechobee CC Siemens H 1,322 MW with Duct Firing
(Present Value 2015$)
|  | Annual Revenue | Annual Revenue
|  | Requirements | Requirements | Annual Revenue | Annual Revenue | Annual Revenue
|  | (Generation) | (Transmission | Requirements | Requirements | Requirements
|  | Capital) | Capital) | (O&M) | (Fuel) | (Environmental) | Total
| Years | ($millions) | ($millions) | ($millions) | ($millions) | ($millions) | ($millions)
| 2019 | 79.2843 | 6.7149 | 6.4246 | -9.7083 | -0.082337 | 82.6331
| 2020 | 122.9058 | 8.4285 | 8.4569 | -34.4497 | -3.8432 | 101.4983
| 2021 | 110.0743 | 7.5158 | 9.0156 | -37.9753 | -4.449 | 84.1815
| 2022 | 98.5821 | 6.7057 | 13.4126 | -31.7144 | -4.2346 | 82.7514
| 2023 | 154.3677 | 9.3668 | 19.2704 | -63.4131 | -8.5107 | 111.081
| 2024 | 118.7986 | 7.3701 | 18.2338 | -35.3129 | -5.4825 | 103.6072
| 2025 | 65.3279 | 4.4925 | 15.9545 | -15.0707 | -3.0781 | 67.6261
| 2026 | 58.4666 | 4.0153 | 18.6154 | -12.6247 | -2.5204 | 65.9521
| 2027 | 52.2759 | 3.5816 | 17.3102 | -10.4343 | -2.2647 | 60.4686
| 2028 | 46.6613 | 3.188 | 16.4336 | -12.3073 | -2.2274 | 51.7481
| 2029 | 41.5683 | 2.8295 | 16.248 | -11.3025 | -2.0537 | 47.2895
| 2030 | 36.9525 | 2.5021 | 26.2985 | -12.8552 | -2.5852 | 50.3127
| 2031 | 76.1323 | 4.423 | 16.6189 | -19.306 | -4.8752 | 72.993
| 2032 | 64.7391 | 3.7594 | 23.0211 | -17.1253 | -4.2718 | 70.1226
| 2033 | 36.9677 | 2.2757 | 21.5401 | -13.4629 | -3.0337 | 44.2869
| 2034 | 32.6559 | 2.0166 | 22.4227 | -12.6816 | -3.2715 | 41.1421
| 2035 | 28.7771 | 1.8066 | 16.6237 | -11.5209 | -3.1393 | 32.5471
| 2036 | 25.29 | 1.6274 | 20.3675 | -10.5106 | -2.8675 | 33.9067
| 2037 | 22.1579 | 1.4645 | 13.8591 | -8.8169 | -2.4151 | 26.2494
| 2038 | 19.3471 | 1.3227 | 17.2208 | -8.5546 | -2.7248 | 26.6111
| 2039 | 16.9034 | 1.1999 | 18.7484 | -8.5392 | -2.9039 | 25.4086
| 2040 | 14.8631 | 1.0808 | 17.1116 | -7.2081 | -2.2789 | 23.5684
| 2041 | 13.1023 | 0.96618 | 15.347 | -6.3364 | -1.931 | 21.1481
| 2042 | 11.5152 | 0.86321 | 19.9771 | -5.4267 | -1.6603 | 25.2686
| 2043 | 10.162 | 0.64909 | 17.8826 | -4.912 | -1.7115 | 22.0702
| 2044 | 9.0558 | 0.52299 | 13.1942 | -4.635 | -1.6728 | 16.4652
| 2045 | 8.016 | 0.4649 | 11.4252 | -4.4329 | -1.6804 | 13.7928
| 2046 | 7.0151 | 0.41749 | 13.9802 | -4.2397 | -1.688 | 15.485
| 2047 | 6.1149 | 0.38023 | 7.7553 | -4.0549 | -1.6957 | 8.4997
| 2048 | 5.3438 | 0.34368 | 9.5068 | -3.8782 | -1.7035 | 9.6125
| 2049 | 2.6436 | 0.30719 | 6.326 | -3.7093 | -1.7112 | 3.8563

## Discount Rate
Florida Power & Light Company
Docket No. 150196-EI
Staff's Second Set of Interrogatories
Interrogatory No. 43 - Supplemental
Attachment No. 1
Tab 15 of 15
Annual
Discount
Factor
| Year | 7.51%
| 2015 | 1
| 2016 | 0.93015
| 2017 | 0.86517
| 2018 | 0.80474
| 2019 | 0.74852
| 2020 | 0.69623
| 2021 | 0.6476
| 2022 | 0.60236
| 2023 | 0.56029
| 2024 | 0.52115
| 2025 | 0.48474
| 2026 | 0.45088
| 2027 | 0.41939
| 2028 | 0.39009
| 2029 | 0.36284
| 2030 | 0.33749
| 2031 | 0.31392
| 2032 | 0.29199
| 2033 | 0.27159
| 2034 | 0.25262
| 2035 | 0.23498
| 2036 | 0.21856
| 2037 | 0.20329
| 2038 | 0.18909
| 2039 | 0.17588
| 2040 | 0.1636
| 2041 | 0.15217
| 2042 | 0.14154
| 2043 | 0.13165
| 2044 | 0.12246
| 2045 | 0.1139
| 2046 | 0.10595
| 2047 | 0.098545
| 2048 | 0.091662
| 2049 | 0.085259