## Response
Florida Power & Light Company
Docket No. 160021-EI
OPC's Ninth Set of Interrogatories
Interrogatory No. 240
Attachment No. 1
Tab 1 of 1
Plant | Year Unit Installed | Year Retired | Total Installed Capacity (MWs)* | Fuel Type* | Reason Retired | Use of Site for Company Generation | Disposition of Assets | Design Temperature (oF) / Pressure (PSIG)
Fort Myers Unit 1 | 1958 | 2001 | 558 | Oil | No longer economic to operate | Modernized CCGT Generation | Demolished | 1000 / 1450
Fort Myers Unit 2 | 1969 | [6 empty] | 1000 / 2400
Sanford Unit 4 | 1972 | 2002 | 436 | Oil and Gas | No longer economic to operate | Modernized CCGT Generation | Demolished | 1000 / 2400
Sanford Unit 5 | 1973 | 2001 | 436 | Oil | No longer economic to operate | Modernized CCGT Generation | Demolished | 1000 / 2400
Cape Canaveral Unit 1 | 1965 | 2010 | 804 | Oil and Gas | No longer economic to operate | Modernized CCGT Generation | Demolished | 1000 / 2400
Cape Canaveral Unit 2 | 1969 | [6 empty] | 1000 / 2400
Riviera Unit 3 | 1962 | 2011 | 621 | Oil and Gas | No longer economic to operate | Modernized CCGT Generation | Demolished | 1000 / 2000
Riviera Unit 4 | 1963 | [6 empty] | 1000 / 2000
Cutler Unit 5 | 1954 | 2012 | 236 | Gas | No longer economic to operate | Not in Use | Demolished | 950 / 1250
Cutler Unit 6 | 1955 | [6 empty] | 1000 / 1450
Port Everglades Unit 1 | 1960 | 2012 | 450.5 | Oil and Gas | No longer economic to operate | Modernized CCGT Generation | Demolished | 1000 / 2000
Port Everglades Unit 2 | 1961 | [6 empty] | 1000 / 2000
Sanford Unit 3 | 1959 | 2012 | 156 | Oil and Gas | No longer economic to operate | Not in Use | Demolished | 1000 / 1450
Port Everglades Unit 3 | 1964 | 2013 | 804 | Oil and Gas | No longer economic to operate | Modernized CCGT Generation | Demolished | 1000 / 2400
Port Everglades Unit 4 | 1965 | [6 empty] | 1000 / 2400
Putnam Unit 1 | 1978 | 2014 | 580 | Gas and Oil | No longer economic to operate | Not in Use | Demolished | 943 / 1150
Putnam Unit 2 | 1977 | [6 empty] | 943 / 1150
Turkey Point Unit 2 | 1968 | 2013 | 402 | Oil and Gas | No longer economic to operate | Converted to synchronous condenser | Demolished** | 1000 / 2400
*Nameplate MWs and Fuel Type specified are consistent with FPL's Ten Year Site Plan at time of unit retirement. **Except for equipment components associated with synchronous condenser operation.
Site/Unit | Retirement date | Retirements
Ft. Myers Comm | 2001-09-01 | 2867897.32
Ft. Myers Comm (Retiring) | 2001-09-01 | 5711246.96
Ft. Myers U1 | 2001-09-01 | 11865963.74
Ft. Myers U2 | 2001-09-01 | 31301074.88
Sanford U4 (Retiring) | 2002-08-01 | 34884387.01
Sanford U5 (Retiring) | 2001-10-01 | 32588815.33
CapeCanaveral Comm | 2010-12-01 | 17592910.77
CapeCanaveral U1 | 2010-12-01 | 93736888.77
CapeCanaveral U2 | 2010-12-01 | 73921656.16
Riviera Comm | 2011-08-01 | 18363191.03
Riviera U3 | 2011-08-01 | 51914382.95
Riviera U4 | 2011-08-01 | 41605247.53
Cutler Comm | 2012-11-01 | 10090268.75
Cutler U5 | 2012-11-01 | 14302784.39
Cutler U6 | 2012-11-01 | 29638052.88
PtEverglades U1 | 2012-11-01 | 58687125.38
PtEverglades U2 | 2012-11-01 | 67241657.7
Sanford Comm | 2012-11-01 | 228258.61
Sanford U3 | 2012-11-01 | 32453349.42
PtEverglades Comm | 2013-01-01 | 33054219.34
PtEverglades U3 | 2013-01-01 | 125339041.69
PtEverglades U4 | 2013-01-01 | 133440048.94
Putnam Comm | 2014-12-01 | 64335236.04
Putnam U1 | 2014-12-01 | 85617453.96
Putnam U2 | 2014-12-01 | 79655130.77
Turkey Point Unit 2 | 2013-12-01 | 65626552.24
Site | Dismantlement Cost | Gross Salvage1
Fort Myers | 13487668.25 | 0
Cape Canaveral | 14353350.26 | 0
Cutler2 | 8190530.66 | 0
Port Everglades | 38566140.64 | -100000
Putnam2 | 15660830.08 | -5107320.54
Riviera | 13545398.22 | -1932410
Turkey Point Unit 22 | 18480864.76 | 0
Sanford U4 & U5 | 9041160.61 | 0
Sanford U3 | 10579524.52 | 0
1 Gross salvage represents salvage realized from the sale of capital spare parts at each site. The salvage
from scrap is included in the dismantlement cost as this was assigned to the demolition contractors.
FPL is unable to validate that this was the case for Ft. Myers and Sanford units 4 & 5, which occurred
in the early 2000's.
2 Dismantlement activities are not complete.