## 2017 Capacity Calc
| 0 |  | (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | OPC 006722 |  | (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10)
|  |  | AVG 12CP | Projected | Projected | Demand | Energy | Projected | Projected | Percentage | Percentage | FPL RC-16 |  | Percentage | Percentage | Energy | Demand | Total | Projected | Billing KW | Projected | Capacity | Capacity
|  | Rate Schedule | Load Factor | Sales at | AVG 12 CP | Loss | Loss | Sales at | AVG 12 CP | of Sales at | of Demand at | Rate Schedule |  | of Sales at | of Demand at | Related Cost | Related Cost | Capacity | Sales at | Load Factor | Billed KW | Recovery | Recovery
|  |  | at Meter | Meter | at Meter | Expansion | Expansion | Generation | at Generation | Generation | Generation |  |  | Generation | Generation | 25% | 75% | Costs | Meter |  | at Meter | Factor | Factor | RDC | SDD
|  |  | (%) | (kwh) | (kW) | Factor | Factor | (kwh) | (kW) | (%) | (%) |  |  | (%) | (%) | ($) | ($) | ($) | (kwh) | (%) | (kw) | ($/kw) | ($/kwh) | ($/kwh) | ($/kwh)
RS(T)-1 | RS(T)-1 | RS1/RST1 | 58.94% | 56993678507 | 11039198 | 1.0644 | 1.0486 | 59765223146.9764 | 11750233.508 | 53.19% | 58.9% | RS1/RST1 | RS(T)-1 | 53.19% | 58.9% | 44301494 | 147166956 | 191468450 | 56993678507 |  | - | - | 0.00336
GS(T)-1 | GS(T)-1 | GS1/GST1 | 64.79% | 5968792122 | 1051582 | 1.0644 | 1.0486 | 6259048414.3857 | 1119314.4688 | 5.571% | 5.611% | GS1/GST1/WIES1 | GS(T)-1 | 5.571% | 5.611% | 4639574 | 14018964 | 18658538 | 5968792122 |  | - | - | 0.00313
GSD(T)-1 | GSD(T)-1 | GSD1/GSDT1/HLFT1 (21-499 kW) | 72.51% | 25825428784 | 4065940 | 1.0643 | 1.0486 | 27079651061.2138 | 4327480.8666 | 24.1% | 21.69% | GSD1/GSDT1/HLFT1 (21-499 kW) | GSD(T)-1 / HLFT-1 / SDTR-1A & 1B | 24.1% | 21.69% | 20073028 | 54199960 | 74272988 | 25825428784 | 50.15% | 70537996 | 1.05 | -
OS-2 | OS-2 | OS2 | 91.91% | 10793313 | 1341 | 1.057 | 1.0267 | 11081409.4543 | 1417.4015 | 0.009863% | 0.007105% | OS2 | OS-2 | 0.009863% | 0.007105% | 8214 | 17752 | 25966 | 10793313 |  |  | - | 0.00241
GSLD(T)-1 | GSLD(T)-1 | GSLD1/GSLDT1/CS1/CST1/HLFT2 (500-1,999 kW) | 73% | 10507497706 | 1643144 | 1.0632 | 1.0478 | 11009610925.2354 | 1747065.7653 | 9.799% | 8.758% | GSLD1/GSLDT1/CS1/CST1/HLFT2 (500-1,999 kW) | GSLD(T)-1 / CS(T)-1 / HLFT-2 / SDTR-2A & 2B | 9.799% | 8.758% | 8160970 | 21881297 | 30042267 | 10507497706 | 56.71% | 25380757 | 1.18 | -
GSLD(T)-2 | GSLD(T)-2 | GSLD2/GSLDT2/CS2/CST2/HLFT3(2,000+ kW) | 87.35% | 2515470925 | 328755 | 1.0548 | 1.0411 | 2618937617.759 | 346766.8403 | 2.331% | 1.738% | GSLD2/GSLDT2/CS2/CST2/HLFT3 (2,000+ kW) | GSLD(T)-2 / CS(T)-2 / HLFT-3 / SDTR-3A & 3B | 2.331% | 1.738% | 1941310 | 4343115 | 6284425 | 2515470925 | 65.79% | 5237500 | 1.2 | -
GSLD(T)-3 | GSLD(T)-3 | GSLD3/GSLDT3/CS3/CST3 | 85.79% | 172992260 | 23019 | 1.0218 | 1.017 | 175934024.5713 | 23521.6564 | 0.1566% | 0.1179% | GSLD3/GSLDT3/CS3/CST3 | GSLD(T)-3 / CS(T)-3 | 0.1566% | 0.1179% | 130413 | 294599 | 425012 | 172992260 | 55.99% | 423239 | 1 | -
SST-DST | SST-1D | SST1D1/SST1D2/SST1D3/ISST1D | 78% | 11856926 | 1735 | 1.0348 | 1.0267 | 12173412.5449 | 1795.418 | 0.01084% | 0.009% | SST1D1/SST1D2/SST1D3/ISST1D | SST-1D | 0.01084% | 0.009% | 9024 | 22487 | 31511 | 11856926 | 29.68% | 54718 | - | - | 0.14 | 0.07
SST-TST | SST-1T | SST1T/ISST1T | 107% | 89667754 | 9564 | 1.0218 | 1.017 | 91192570.3236 | 9772.8451 | 0.08117% | 0.04899% | SST1T/ISST1T | SST-1T | 0.08117% | 0.04899% | 67597 | 122401 | 189998 | 89667754 | 11.32% | 1085123 | - | - | 0.14 | 0.07
CILC-1D | CILC-1D & CILC-1G | CILC D/CILC G | 87% | 2789043893 | 365960 | 1.0532 | 1.0405 | 2902097607.6883 | 385438.168 | 2.583% | 1.932% | CILC D/CILC G | CILC-1D/CILC-1G | 2.583% | 1.932% | 2151205 | 4827458 | 6978663 | 2789043893 | 74.14% | 5153021 | 1.35 | -
CILC-1T | CILC-1T | CILC T | 90.92% | 1508335314 | 189373 | 1.0218 | 1.017 | 1533984827.9629 | 193508.2599 | 1.365% | 0.97% | CILC T | CILC-1T | 1.365% | 0.97% | 1137080 | 2423613 | 3560693 | 1508335314 | 76.34% | 2706705 | 1.32 | -
MET | MET | MET | 71.42% | 91208296 | 14579 | 1.0348 | 1.0267 | 93642839.1915 | 15086.6849 | 0.08335% | 0.07563% | MET | MET | 0.08335% | 0.07563% | 69414 | 188955 | 258369 | 91208296 | 64.62% | 193357 | 1.34 | -
SL-1 | OL-1 & SL-1 | OL1/SL1/PL1 | 585% | 658706942 | 12853 | 1.0644 | 1.0486 | 690739190.8781 | 13680.8626 | 0.6148% | 0.06858% | OL1/SL1/PL1 | OL-1 / SL-1 | 0.6148% | 0.06858% | 512016 | 171347 | 683363 | 658706942 |  | - | - | 0.00104
SL-2 | GSCU-1& SL-2 | SL2, GSCU1 | 94.83% | 103004444 | 12400 | 1.0644 | 1.0486 | 108013445.3865 | 13198.6849 | 0.09614% | 0.06616% | SL2/GSCU1 | SL-2 / GSCU-1 | 0.09614% | 0.06616% | 80066 | 165308 | 245374 | 103004444 |  | - | - | 0.00238
|  | TOTAL |  | 107246477186 | 18759443 |  |  | 112351330493.5715 | 19948281.4305 | 100% | 100% | TOTAL |  | (3): 83281405; (4): 249844212; (5): 333125619.2436; (6): 107246477186; (8): 110772416
CILC-1D
CILC-1G
CILC-1T
GSCU-1
GSD(T)-1
GSLD(T)-1
GSLD(T)-2
GSLD(T)-3
GS(T)-1
MET
OL-1
OS-2
RS(T)-1
SL-1
SL-2
Can come from Load FC by Rate Class - Individual Rate Class Tabs
Must come from E-10

## 2017 Clause Allocations
OPC 006723
FPL RC-16
RATE LOAD RESEARCH INPUT
January 2017 through December 2017
(Utilized for calculation of recovery factors for the capacity, environmental, and conservation clauses)
RATE | AVG 12 CP | ANNUAL | AVG 12 CP |  | LOAD FACTOR
CLASS | LOAD FACTOR | SALES | (KW) (3) | AVG 12 GCP (4) | AVG 12 NCP (5) | AVG 12 NCP on Peak (6) | LF % (7)
| % (1) | (KWH) (2) |  | (kW) (2) | (kW) (2) | (kW) (2)
RS(T)-1 | 58.94% | 56993678507 | 11039198 |  | 27467906.102 |  | 23.69%
GS(T)-1 | 64.79% | 5968792122 | 1051582 |  | 2009590.6342 |  | 33.91%
GSD(T)-1 / HLFT-1 / SDTR-1A & 1B | 72.51% | 25825428784 | 4065940 |  | 5878166.328 |  | 50.15%
OS-2 | 91.88% | 10793313 | 1341 |  | 12941.0936 |  | 9.521%
GSLD(T)-1 / CS(T)-1 / HLFT-2 / SDTR-2A & 2B | 73% | 10507497706 | 1643144 |  | 2115063.1153 |  | 56.71%
GSLD(T)-2 / CS(T)-2 / HLFT-3 / SDTR-3A & 3B | 87.35% | 2515470925 | 328755 |  | 436458.3054 |  | 65.79%
GSLD(T)-3 / CS(T)-3 | 85.79% | 172992260 | 23019 |  |  | 35269.9275 | 55.99%
SST-1D | 78.01% | 11856926 | 1735 |  | 4559.8343 |  | 29.68%
SST-1T | 107% | 89667754 | 9564 |  | 90426.8967 |  | 11.32%
CILC-1D/CILC-1G | 87% | 2789043893 | 365960 |  |  | 429418.4165 | 74.14%
CILC-1T | 90.92% | 1508335314 | 189373 |  |  | 225558.7425 | 76.34%
MET | 71.42% | 91208296 | 14579 | 16113.0746 |  |  | 64.62%
OL-1 / SL-1 | 585% | 658706942 | 12853 |  | 153650.3864 |  | 48.94%
SL-2 / GSCU-1 | 94.83% | 103004444 | 12400 |  | 12695.9263 |  | 92.62%
TOTAL |  | 107246477186 | 18759443 | 16113.0746 | 38181458.6222 | 690247.0864
Notes:
(1) AVG 12 CP LF = (KWH / 8760 / AVG 12 CP) * 100
(2) Source: 2010 Rate Case
(3) Source: 2010 Rate Case
(4) AVG 12 GCP was used for MET.
(5) AVG 12 NCP was used for RS(T)-1, GS(T)-1, GSD(T)-1, GSLD(T)-1, GSLD(T)-2, SST-1T, SST-1D, OS-2, OL-1/SL-1, SL-2/GSCU-1
(6) AVG 12 On Peak NCP was used for CILC-1D/CILC-1G, CILC-1T and GSLD(T)-3
(7) LF% = (KWH / 8760 / AVG 12 NCP or AVG 12 On Peak NCP or AVG 12 GCP as applicable (refer to note 5)) * 100
(8) Totals may not add due to rounding

## 2018 Capacity Calc
OPC 006724
FPL RC-16
|  |  | (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) |  |  | (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10)
|  |  | AVG 12CP | Projected | Projected | Demand | Energy | Projected | Projected | Percentage | Percentage |  |  | Percentage | Percentage | Energy | Demand | Total | Projected | Billing KW | Projected | Capacity | Capacity
|  | Rate Schedule | Load Factor | Sales at | AVG 12 CP | Loss | Loss | Sales at | AVG 12 CP | of Sales at | of Demand at | Rate Schedule |  | of Sales at | of Demand at | Related Cost | Related Cost | Capacity | Sales at | Load Factor | Billed KW | Recovery | Recovery
|  |  | at Meter | Meter | at Meter | Expansion | Expansion | Generation | at Generation | Generation | Generation |  |  | Generation | Generation |  |  | Costs | Meter |  | at Meter | Factor | Factor | RDC | SDD
|  |  | (%) | (kwh) | (kW) | Factor | Factor | (kwh) | (kW) | (%) | (%) |  |  | (%) | (%) | ($) | ($) | ($) | (kwh) | (%) | (kw) | ($/kw) | ($/kwh) | ($/kwh) | ($/kwh)
RS(T)-1 | RS(T)-1 | RS1/RST1 | 58.6% | 57361215879 | 11174101 | 1.0647 | 1.0487 | 60152152952.2209 | 11896720.4218 | 53.23% | 58.94% | RS1/RST1 | RS(T)-1 | 53.23% | 58.94% | 41223771 | 136936412 | 178160183 | 57361215879 |  | - | - | 0.00311
GS(T)-1 | GS(T)-1 | GS1/GST1 | 64.43% | 6001791085 | 1063437 | 1.0647 | 1.0487 | 6293811067.2854 | 1132208.548 | 5.57% | 5.61% | GS1/GST1/WIES1 | GS(T)-1 | 5.57% | 5.61% | 4313306 | 13032211 | 17345517 | 6001791085 |  | - | - | 0.00289
GSD(T)-1 | GSD(T)-1 | GSD1/GSDT1/HLFT1 (21-499 kW) | 72.1% | 25949742256 | 4108842 | 1.0646 | 1.0486 | 27210682777.3015 | 4374204.3446 | 24.08% | 21.67% | GSD1/GSDT1/HLFT1 (21-499 kW) | GSD(T)-1 / HLFT-1 / SDTR-1A & 1B | 24.08% | 21.67% | 18648160 | 50348989 | 68997149 | 25949742256 | 50.16% | 70875341 | 0.97 | -
OS-2 | OS-2 | OS2 | 91.44% | 10819466 | 1351 | 1.0572 | 1.0266 | 11107614.6189 | 1428.2456 | 0.00983% | 0.007076% | OS2 | OS-2 | 0.00983% | 0.007076% | 7612 | 16440 | 24052 | 10819466 |  |  | - | 0.00222
GSLD(T)-1 | GSLD(T)-1 | GSLD1/GSLDT1/CS1/CST1/HLFT2 (500-1,999 kW) | 72.58% | 10561627481 | 1661042 | 1.0635 | 1.0478 | 11066572154.0241 | 1766511.4934 | 9.794% | 8.752% | GSLD1/GSLDT1/CS1/CST1/HLFT2 (500-1,999 kW) | GSLD(T)-1 / CS(T)-1 / HLFT-2 / SDTR-2A & 2B | 9.794% | 8.752% | 7584198 | 20333314 | 27917512 | 10561627481 | 56.71% | 25511208 | 1.09 | -
GSLD(T)-2 | GSLD(T)-2 | GSLD2/GSLDT2/CS2/CST2/HLFT3(2,000+ kW) | 86.84% | 2511431587 | 330132 | 1.055 | 1.0411 | 2614724686.0357 | 348280.8976 | 2.314% | 1.726% | GSLD2/GSLDT2/CS2/CST2/HLFT3 (2,000+ kW) | GSLD(T)-2 / CS(T)-2 / HLFT-3 / SDTR-3A & 3B | 2.314% | 1.726% | 1791936 | 4008864 | 5800800 | 2511431587 | 65.79% | 5229404 | 1.11 | -
GSLD(T)-3 | GSLD(T)-3 | GSLD3/GSLDT3/CS3/CST3 | 85.3% | 175782528 | 23525 | 1.0219 | 1.017 | 178772996.5126 | 24040.5825 | 0.1582% | 0.1191% | GSLD3/GSLDT3/CS3/CST3 | GSLD(T)-3 / CS(T)-3 | 0.1582% | 0.1191% | 122518 | 276718 | 399236 | 175782528 | 66.11% | 364234 | 1.1 | -
SST-DST | SST-1D | SST1D1/SST1D2/SST1D3/ISST1D | 77.57% | 11856926 | 1745 | 1.0349 | 1.0266 | 12172704.6948 | 1805.8296 | 0.01077% | 0.008947% | SST1D1/SST1D2/SST1D3/ISST1D | SST-1D | 0.01077% | 0.008947% | 8342 | 20786 | 29128 | 11856926 | 29.68% | 54718 | - | - | 0.13 | 0.06
SST-TST | SST-1T | SST1T/ISST1T | 106.4% | 89667754 | 9618 | 1.0219 | 1.017 | 91193210.4716 | 9828.7916 | 0.08071% | 0.0487% | SST1T/ISST1T | SST-1T | 0.08071% | 0.0487% | 62497 | 113134 | 175631 | 89667754 | 11.32% | 1085123 | - | - | 0.13 | 0.06
CILC-1D | CILC-1D & CILC-1G | CILC D/CILC G | 86.5% | 2788466160 | 367984 | 1.0534 | 1.0405 | 2901480881.7595 | 387634.1012 | 2.568% | 1.921% | CILC D/CILC G | CILC-1D/CILC-1G | 2.568% | 1.921% | 1988457 | 4461837 | 6450294 | 2788466160 | 74.14% | 5151963 | 1.25 | -
CILC-1T | CILC-1T | CILC T | 90.41% | 1532421391 | 193499 | 1.0219 | 1.017 | 1558491433.1705 | 197739.7947 | 1.379% | 0.9797% | CILC T | CILC-1T | 1.379% | 0.9797% | 1068073 | 2276071 | 3344144 | 1532421391 | 76.34% | 2749942 | 1.22 | -
MET | MET | MET | 71.01% | 91241144 | 14669 | 1.0349 | 1.0266 | 93671116.9426 | 15180.3522 | 0.0829% | 0.07521% | MET | MET | 0.0829% | 0.07521% | 64195 | 174732 | 238927 | 91241144 | 64.57% | 193561 | 1.23 | -
SL-1 | OL-1 & SL-1 | OL1/SL1/PL1 | 581.5% | 668275032 | 13119 | 1.0647 | 1.0487 | 700790269.5754 | 13967.3944 | 0.6202% | 0.0692% | OL1/SL1/PL1 | OL-1 / SL-1 | 0.6202% | 0.0692% | 480269 | 160771 | 641040 | 668275032 |  | - | - | 0.00096
SL-2 | GSCU-1& SL-2 | SL2, GSCU1 | 94.28% | 104537486 | 12657 | 1.0647 | 1.0487 | 109623806.7962 | 13475.5172 | 0.09702% | 0.06677% | SL2/GSCU1 | SL-2 / GSCU-1 | 0.09702% | 0.06677% | 75128 | 155109 | 230237 | 104537486 |  | - | - | 0.0022
|  | TOTAL |  | 107858876175 | 18975721 |  |  | 112995247671.4097 | 20183026.3144 | 100% | 100% | TOTAL |  | (3): 77438462; (4): 232315388; (5): 309753849.8664; (6): 107858876175; (8): 111215494
CILC-1D
CILC-1G
CILC-1T
GSCU-1
GSD(T)-1
GSLD(T)-1
GSLD(T)-2
GSLD(T)-3
GS(T)-1
MET
OL-1
OS-2
RS(T)-1
SL-1
SL-2

## 2018 Clause Allocations
OPC 006725
FPL RC-16
RATE LOAD RESEARCH INPUT
January 2018 through December 2018
(Utilized for calculation of recovery factors for the capacity, environmental, and conservation clauses)
RATE | AVG 12 CP | ANNUAL | AVG 12 CP |  | LOAD FACTOR
CLASS | LOAD FACTOR | SALES | (KW) (3) | AVG 12 GCP (4) | AVG 12 NCP (5) | AVG 12 NCP on Peak (6) | LF % (7)
| % (1) | (KWH) (2) |  | (kW) (2) | (kW) (2) | (kW) (2)
RS(T)-1 | 58.6% | 57361215879 | 11174101 |  | 27641626.4161 |  | 23.69%
GS(T)-1 | 64.43% | 6001791085 | 1063437 |  | 2020606.7945 |  | 33.91%
GSD(T)-1 / HLFT-1 / SDTR-1A & 1B | 72.1% | 25949742256 | 4108842 |  | 5906278.3988 |  | 50.16%
OS-2 | 91.42% | 10819466 | 1351 |  | 12972.5301 |  | 9.521%
GSLD(T)-1 / CS(T)-1 / HLFT-2 / SDTR-2A & 2B | 72.58% | 10561627481 | 1661042 |  | 2125933.9818 |  | 56.71%
GSLD(T)-2 / CS(T)-2 / HLFT-3 / SDTR-3A & 3B | 86.84% | 2511431587 | 330132 |  | 435783.6506 |  | 65.79%
GSLD(T)-3 / CS(T)-3 | 85.3% | 175782528 | 23525 |  |  | 30352.7949 | 66.11%
SST-1D | 77.57% | 11856926 | 1745 |  | 4559.8343 |  | 29.68%
SST-1T | 106.4% | 89667754 | 9618 |  | 90426.8967 |  | 11.32%
CILC-1D/CILC-1G | 86.5% | 2788466160 | 367984 |  |  | 429330.2129 | 74.14%
CILC-1T | 90.41% | 1532421391 | 193499 |  |  | 229161.8054 | 76.34%
MET | 71% | 91241144 | 14669 | 16130.0832 |  |  | 64.57%
OL-1 / SL-1 | 581.5% | 668275032 | 13119 |  | 155883.7133 |  | 48.94%
SL-2 / GSCU-1 | 94.28% | 104537486 | 12657 |  | 12922.1227 |  | 92.35%
TOTAL |  | 107858876175 | 18975721 | 16130.0832 | 38406994.3389 | 688844.8132
Notes:
(1) AVG 12 CP LF = (KWH / 8760 / AVG 12 CP) * 100
(2) Source: 2010 Rate Case
(3) Source: 2010 Rate Case
(4) AVG 12 GCP was used for MET.
(5) AVG 12 NCP was used for RS(T)-1, GS(T)-1, GSD(T)-1, GSLD(T)-1, GSLD(T)-2, SST-1T, SST-1D, OS-2, OL-1/SL-1, SL-2/GSCU-1
(6) AVG 12 On Peak NCP was used for CILC-1D/CILC-1G, CILC-1T and GSLD(T)-3
(7) LF% = (KWH / 8760 / AVG 12 NCP or AVG 12 On Peak NCP or AVG 12 GCP as applicable (refer to note 5)) * 100
(8) Totals may not add due to rounding

## 2019 Capacity Calc
OPC 006726
FPL RC-16
|  |  | (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) |  |  | (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10)
|  |  | AVG 12CP | Projected | Projected | Demand | Energy | Projected | Projected | Percentage | Percentage |  |  | Percentage | Percentage | Energy | Demand | Total | Projected | Billing KW | Projected | Capacity | Capacity
|  | Rate Schedule | Load Factor | Sales at | AVG 12 CP | Loss | Loss | Sales at | AVG 12 CP | of Sales at | of Demand at | Rate Schedule |  | of Sales at | of Demand at | Related Cost | Related Cost | Capacity | Sales at | Load Factor | Billed KW | Recovery | Recovery
|  |  | at Meter | Meter | at Meter | Expansion | Expansion | Generation | at Generation | Generation | Generation |  |  | Generation | Generation |  |  | Costs | Meter |  | at Meter | Factor | Factor | RDC | SDD
|  |  | (%) | (kwh) | (kW) | Factor | Factor | (kwh) | (kW) | (%) | (%) |  |  | (%) | (%) | ($) | ($) | ($) | (kwh) | (%) | (kw) | ($/kw) | ($/kwh) | ($/kwh) | ($/kwh)
RS(T)-1 | RS(T)-1 | RS1/RST1 | 58.6% | 57730448509 | 11246029 | 1.0647 | 1.0487 | 60539350770.3697 | 11973299.9432 | 53.27% | 58.99% | RS1/RST1 | RS(T)-1 | 53.27% | 58.99% | 37710704 | 125263687 | 162974391 | 57730448509 |  | - | - | 0.00282
GS(T)-1 | GS(T)-1 | GS1/GST1 | 64.43% | 6029078746 | 1068272 | 1.0647 | 1.0487 | 6322426422.3302 | 1137356.2232 | 5.564% | 5.603% | GS1/GST1/WIES1 | GS(T)-1 | 5.564% | 5.603% | 3938317 | 11898928 | 15837245 | 6029078746 |  | - | - | 0.00263
GSD(T)-1 | GSD(T)-1 | GSD1/GSDT1/HLFT1 (21-499 kW) | 72.1% | 26061775857 | 4126582 | 1.0646 | 1.0486 | 27328160274.6553 | 4393090.0514 | 24.05% | 21.64% | GSD1/GSDT1/HLFT1 (21-499 kW) | GSD(T)-1 / HLFT-1 / SDTR-1A & 1B | 24.05% | 21.64% | 17023046 | 45960150 | 62983196 | 26061775857 | 50.16% | 71181333 | 0.88 | -
OS-2 | OS-2 | OS2 | 91.44% | 10752359 | 1342 | 1.0572 | 1.0266 | 11038720.3968 | 1418.7311 | 0.009714% | 0.006989% | OS2 | OS-2 | 0.009714% | 0.006989% | 6876 | 14843 | 21719 | 10752359 |  |  | - | 0.00202
GSLD(T)-1 | GSLD(T)-1 | GSLD1/GSLDT1/CS1/CST1/HLFT2 (500-1,999 kW) | 72.58% | 10610067590 | 1668660 | 1.0635 | 1.0478 | 11117328153.7373 | 1774613.2058 | 9.783% | 8.743% | GSLD1/GSLDT1/CS1/CST1/HLFT2 (500-1,999 kW) | GSLD(T)-1 / CS(T)-1 / HLFT-2 / SDTR-2A & 2B | 9.783% | 8.743% | 6925120 | 18565859 | 25490979 | 10610067590 | 56.71% | 25628213 | 0.99 | -
GSLD(T)-2 | GSLD(T)-2 | GSLD2/GSLDT2/CS2/CST2/HLFT3(2,000+ kW) | 86.84% | 2538624542 | 333707 | 1.055 | 1.0411 | 2643036064.7302 | 352052.432 | 2.326% | 1.734% | GSLD2/GSLDT2/CS2/CST2/HLFT3 (2,000+ kW) | GSLD(T)-2 / CS(T)-2 / HLFT-3 / SDTR-3A & 3B | 2.326% | 1.734% | 1646380 | 3683144 | 5329524 | 2538624542 | 65.79% | 5286026 | 1.01 | -
GSLD(T)-3 | GSLD(T)-3 | GSLD3/GSLDT3/CS3/CST3 | 85.3% | 177842598 | 23801 | 1.0219 | 1.017 | 180868113.0814 | 24322.6314 | 0.1592% | 0.1198% | GSLD3/GSLDT3/CS3/CST3 | GSLD(T)-3 / CS(T)-3 | 0.1592% | 0.1198% | 112665 | 254461 | 367126 | 177842598 | 66.11% | 368502 | 1 | -
SST-DST | SST-1D | SST1D1/SST1D2/SST1D3/ISST1D | 77.57% | 11856926 | 1745 | 1.0349 | 1.0266 | 12172704.6948 | 1805.8296 | 0.01071% | 0.008897% | SST1D1/SST1D2/SST1D3/ISST1D | SST-1D | 0.01071% | 0.008897% | 7583 | 18892 | 26475 | 11856926 | 29.68% | 54718 | - | - | 0.12 | 0.06
SST-TST | SST-1T | SST1T/ISST1T | 106.4% | 89667754 | 9618 | 1.0219 | 1.017 | 91193210.4716 | 9828.7916 | 0.08025% | 0.04842% | SST1T/ISST1T | SST-1T | 0.08025% | 0.04842% | 56805 | 102828 | 159633 | 89667754 | 11.32% | 1085123 | - | - | 0.12 | 0.06
CILC-1D | CILC-1D & CILC-1G | CILC D/CILC G | 86.5% | 2785458444 | 367587 | 1.0534 | 1.0405 | 2898351264.9842 | 387215.9016 | 2.551% | 1.908% | CILC D/CILC G | CILC-1D/CILC-1G | 2.551% | 1.908% | 1805419 | 4051021 | 5856440 | 2785458444 | 74.14% | 5146406 | 1.14 | -
CILC-1T | CILC-1T | CILC T | 90.41% | 1551367200 | 195892 | 1.0219 | 1.017 | 1577759554.3246 | 200185.2405 | 1.388% | 0.9862% | CILC T | CILC-1T | 1.388% | 0.9862% | 982806 | 2094322 | 3077128 | 1551367200 | 76.34% | 2783940 | 1.11 | -
MET | MET | MET | 71.01% | 91224719 | 14666 | 1.0349 | 1.0266 | 93654254.505 | 15177.2477 | 0.08242% | 0.07477% | MET | MET | 0.08242% | 0.07477% | 58338 | 158783 | 217121 | 91224719 | 64.57% | 193526 | 1.12 | -
SL-1 | OL-1 & SL-1 | OL1/SL1/PL1 | 581.5% | 677742842 | 13305 | 1.0647 | 1.0487 | 710718740.3463 | 14165.4228 | 0.6254% | 0.06979% | OL1/SL1/PL1 | OL-1 / SL-1 | 0.6254% | 0.06979% | 442715 | 148197 | 590912 | 677742842 |  | - | - | 0.00087
SL-2 | GSCU-1& SL-2 | SL2, GSCU1 | 94.28% | 106037921 | 12839 | 1.0647 | 1.0487 | 111197246.1703 | 13669.287 | 0.09785% | 0.06734% | SL2/GSCU1 | SL-2 / GSCU-1 | 0.09785% | 0.06734% | 69266 | 143007 | 212273 | 106037921 |  | - | - | 0.002
|  | TOTAL |  | 108471946007 | 19084045 |  |  | 113637255494.7978 | 20298200.9389 | 100% | 100% | TOTAL |  | (3): 70786040; (4): 212358122; (5): 283144162.0066; (6): 108471946007; (8): 111727787
CILC-1D
CILC-1G
CILC-1T
GSCU-1
GSD(T)-1
GSLD(T)-1
GSLD(T)-2
GSLD(T)-3
GS(T)-1
MET
OL-1
OS-2
RS(T)-1
SL-1
SL-2

## 2020 Capacity Calc
OPC 006727
FPL RC-16
|  |  | (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) |  |  | (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10)
|  |  | AVG 12CP | Projected | Projected | Demand | Energy | Projected | Projected | Percentage | Percentage |  |  | Percentage | Percentage | Energy | Demand | Total | Projected | Billing KW | Projected | Capacity | Capacity
|  | Rate Schedule | Load Factor | Sales at | AVG 12 CP | Loss | Loss | Sales at | AVG 12 CP | of Sales at | of Demand at | Rate Schedule |  | of Sales at | of Demand at | Related Cost | Related Cost | Capacity | Sales at | Load Factor | Billed KW | Recovery | Recovery
|  |  | at Meter | Meter | at Meter | Expansion | Expansion | Generation | at Generation | Generation | Generation |  |  | Generation | Generation |  |  | Costs | Meter |  | at Meter | Factor | Factor | RDC | SDD
|  |  | (%) | (kwh) | (kW) | Factor | Factor | (kwh) | (kW) | (%) | (%) |  |  | (%) | (%) | ($) | ($) | ($) | (kwh) | (%) | (kw) | ($/kw) | ($/kwh) | ($/kwh) | ($/kwh)
RS(T)-1 | RS(T)-1 | RS1/RST1 | 58.6% | 58440270496 | 11384304 | 1.0647 | 1.0487 | 61283709481.6798 | 12120517.0675 | 53.36% | 59.07% | RS1/RST1 | RS(T)-1 | 53.36% | 59.07% | 36297887 | 120545974 | 156843861 | 58440270496 |  | - | - | 0.00268
GS(T)-1 | GS(T)-1 | GS1/GST1 | 64.43% | 6085932828 | 1078346 | 1.0647 | 1.0487 | 6382046766.5648 | 1148081.7 | 5.557% | 5.595% | GS1/GST1/WIES1 | GS(T)-1 | 5.557% | 5.595% | 3780039 | 11418376 | 15198415 | 6085932828 |  | - | - | 0.0025
GSD(T)-1 | GSD(T)-1 | GSD1/GSDT1/HLFT1 (21-499 kW) | 72.1% | 26303800774 | 4164903 | 1.0646 | 1.0486 | 27581945579.1766 | 4433885.9459 | 24.02% | 21.61% | GSD1/GSDT1/HLFT1 (21-499 kW) | GSD(T)-1 / HLFT-1 / SDTR-1A & 1B | 24.02% | 21.61% | 16336582 | 44097714 | 60434296 | 26303800774 | 50.16% | 71842365 | 0.84 | -
OS-2 | OS-2 | OS2 | 91.44% | 10731982 | 1340 | 1.0572 | 1.0266 | 11017800.7078 | 1416.6167 | 0.009593% | 0.006904% | OS2 | OS-2 | 0.009593% | 0.006904% | 6526 | 14089 | 20615 | 10731982 |  |  | - | 0.00192
GSLD(T)-1 | GSLD(T)-1 | GSLD1/GSLDT1/CS1/CST1/HLFT2 (500-1,999 kW) | 72.58% | 10711232894 | 1684571 | 1.0635 | 1.0478 | 11223330106.3922 | 1791534.4904 | 9.772% | 8.731% | GSLD1/GSLDT1/CS1/CST1/HLFT2 (500-1,999 kW) | GSLD(T)-1 / CS(T)-1 / HLFT-2 / SDTR-2A & 2B | 9.772% | 8.731% | 6647495 | 17817909 | 24465404 | 10711232894 | 56.71% | 25872574 | 0.95 | -
GSLD(T)-2 | GSLD(T)-2 | GSLD2/GSLDT2/CS2/CST2/HLFT3(2,000+ kW) | 86.84% | 2556310055 | 336032 | 1.055 | 1.0411 | 2661448968.2175 | 354505.2481 | 2.317% | 1.728% | GSLD2/GSLDT2/CS2/CST2/HLFT3 (2,000+ kW) | GSLD(T)-2 / CS(T)-2 / HLFT-3 / SDTR-3A & 3B | 2.317% | 1.728% | 1576357 | 3525772 | 5102129 | 2556310055 | 65.79% | 5322852 | 0.96 | -
GSLD(T)-3 | GSLD(T)-3 | GSLD3/GSLDT3/CS3/CST3 | 85.3% | 179386360 | 24008 | 1.0219 | 1.017 | 182438138.0537 | 24534.1681 | 0.1588% | 0.1196% | GSLD3/GSLDT3/CS3/CST3 | GSLD(T)-3 / CS(T)-3 | 0.1588% | 0.1196% | 108057 | 244007 | 352064 | 179386360 | 66.11% | 371701 | 0.95 | -
SST-DST | SST-1D | SST1D1/SST1D2/SST1D3/ISST1D | 77.57% | 11856926 | 1745 | 1.0349 | 1.0266 | 12172704.6948 | 1805.8296 | 0.0106% | 0.008801% | SST1D1/SST1D2/SST1D3/ISST1D | SST-1D | 0.0106% | 0.008801% | 7210 | 17960 | 25170 | 11856926 | 29.68% | 54718 | - | - | 0.11 | 0.05
SST-TST | SST-1T | SST1T/ISST1T | 106.4% | 89667754 | 9618 | 1.0219 | 1.017 | 91193210.4716 | 9828.7916 | 0.0794% | 0.0479% | SST1T/ISST1T | SST-1T | 0.0794% | 0.0479% | 54013 | 97753 | 151766 | 89667754 | 11.32% | 1085123 | - | - | 0.11 | 0.05
CILC-1D | CILC-1D & CILC-1G | CILC D/CILC G | 86.5% | 2789864163 | 368168 | 1.0534 | 1.0405 | 2902935544.9128 | 387827.9267 | 2.528% | 1.89% | CILC D/CILC G | CILC-1D/CILC-1G | 2.528% | 1.89% | 1719387 | 3857187 | 5576574 | 2789864163 | 74.14% | 5154546 | 1.08 | -
CILC-1T | CILC-1T | CILC T | 90.41% | 1564963142 | 197608 | 1.0219 | 1.017 | 1591586794.8326 | 201938.849 | 1.386% | 0.9841% | CILC T | CILC-1T | 1.386% | 0.9841% | 942685 | 2008406 | 2951091 | 1564963142 | 76.34% | 2808338 | 1.05 | -
MET | MET | MET | 71.01% | 91232930 | 14667 | 1.0349 | 1.0266 | 93662684.1839 | 15178.2825 | 0.08155% | 0.07397% | MET | MET | 0.08155% | 0.07397% | 55476 | 150957 | 206433 | 91232930 | 64.57% | 193544 | 1.07 | -
SL-1 | OL-1 & SL-1 | OL1/SL1/PL1 | 581.5% | 687698248 | 13500 | 1.0647 | 1.0487 | 721158531.3312 | 14373.0333 | 0.6279% | 0.07005% | OL1/SL1/PL1 | OL-1 / SL-1 | 0.6279% | 0.07005% | 427137 | 142949 | 570086 | 687698248 |  | - | - | 0.00083
SL-2 | GSCU-1& SL-2 | SL2, GSCU1 | 94.28% | 107515874 | 13017 | 1.0647 | 1.0487 | 112747109.6722 | 13858.7981 | 0.09817% | 0.06754% | SL2/GSCU1 | SL-2 / GSCU-1 | 0.09817% | 0.06754% | 66779 | 137834 | 204613 | 107515874 |  | - | - | 0.0019
|  | TOTAL |  | 109630464426 | 19291827 |  |  | 114851393420.8915 | 20519286.7476 | 100% | 100% | TOTAL |  | (3): 68025630; (4): 204076887; (5): 272102517.0301; (6): 109630464426; (8): 112705761
CILC-1D
CILC-1G
CILC-1T
GSCU-1
GSD(T)-1
GSLD(T)-1
GSLD(T)-2
GSLD(T)-3
GS(T)-1
MET
OL-1
OS-2
RS(T)-1
SL-1
SL-2