## 2014
OPC 013333
FPL RC-16
Transmission Pulloff Cost Analysis
Per 2015 Transmission Work Order for Typical Substation Loop
Provided by David K. Weda <David.K.Weda@fpl.com>
Labor
| Account | Vehicles
Description | Number | & Misc | Materials | Other | Total
Poles & Fixtures | 355 | 60023 | 31853 |  | 91876
OH Conductors & Devices | 356 | 59559 | 16228 |  | 75787
Subtotal Transmission Plant |  | 119582 | 48081 | 0 | 167663
Distribution - Station Equipment | 362 | 32717 | 25607 |  | 58324
General - Comm Equip, Fiber Optic Cable & Dev. | 397 |  |  |  | 0
General - Engineering & Overhead | 399 |  |  | 32860 | 32860
Total Plant Plant |  | 152299 | 73688 | 32860 | 258847
Removal Costs | 108 | 5959 |  |  | 5959
O&M - Maintenance of OH Transmission | 571 | 7095 | 1741 |  | 8836
O&M - Maintenance of Fiber Optic | 935 | 237 |  |  | 237
Total Pulloffs Cost - Typical Substation Loop |  | 165590 | 75429 | 32860 | 273879
NOTES: In 2013, the cost of the transmission pulloff was changed to include all costs of the work orders (primary pulloff costs
already included all costs). All costs should be included, since all costs are incurred when a work order is completed.
R:\_2016 RateCase (GC Folder)\OPC's 1st PODs\OPC's 1st POD No. 1\COST OF SERVICE\(2) JURIS SEP STUDY\INPUTS\III. EXTERNAL FACTORS\Transmission Pulloffs\[2) 2014 Trans Pulloff Analysis.xlsx]2014

## 2013
OPC 013334
FPL RC-16
Transmission Pulloff Cost Analysis
Per 2014 Transmission Work Order for Typical Substation Loop
Provided by David K. Weda <David.K.Weda@fpl.com>
Labor
| Account | Vehicles
Description | Number | & Misc | Materials | Other | Total
Poles & Fixtures | 355 | 55166 | 31632 |  | 86798
OH Conductors & Devices | 356 | 53058 | 15068 |  | 68126
Subtotal Transmission Plant |  | 108224 | 46700 | 0 | 154924
Distribution - Station Equipment | 362 | 29785 | 25467 |  | 55252
General - Comm Equip, Fiber Optic Cable & Dev. | 397 |  |  |  | 0
General - Engineering & Overhead | 399 |  |  | 34774 | 34774
Total Plant Plant |  | 138009 | 72167 | 34774 | 244950
Removal Costs | 108 | 5307 |  |  | 5307
O&M - Maintenance of OH Transmission | 571 | 6302 | 1746 |  | 8048
O&M - Maintenance of Fiber Optic | 935 | 211 |  |  | 211
Total Pulloffs Cost - Typical Substation Loop |  | 149829 | 73913 | 34774 | 258516
NOTES: In 2013, the cost of the transmission pulloff was changed to include all costs of the work orders (primary pulloff costs
already included all costs). All costs should be included, since all costs are incurred when a work order is completed.

## 2012
OPC 013335
FPL RC-16
Transmission Pulloff Cost Analysis
Per 2013 Transmission Work Order for Typical Substation Loop
Provided by David K. Weda <David.K.Weda@fpl.com>
Labor
| Account | Vehicles
Description | Number | & Misc | Materials | Other | Total
Poles & Fixtures | 355 | 55070 | 28501 |  | 83571
OH Conductors & Devices | 356 | 53243 | 16349 |  | 69592
Subtotal Transmission Plant |  | 108313 | 44850 | 0 | 153163
Distribution - Station Equipment | 362 | 29784 | 25878 |  | 55662
General - Comm Equip, Fiber Optic Cable & Dev. | 397 |  |  |  | 0
General - Engineering & Overhead | 399 |  |  | 35235 | 35235
Total Plant Plant |  | 138097 | 70728 | 35235 | 244060
Removal Costs | 108 | 5307 |  |  | 5307
O&M - Maintenance 0f OH Transmission | 571 | 6302 | 1699 |  | 8001
O&M - Maintenance 0f Fiber Optic | 935 | 211 |  |  | 211
Total Pulloffs Cost - Typical Substation Loop |  | 149917 | 72427 | 35235 | 257579

## 2011
OPC 013336
FPL RC-16
Transmission Pulloff Cost Analysis
Per 2012 Transmission Work Order for Typical Substation Loop
Provided by David K. Weda <David.K.Weda@fpl.com>
Labor
| Account | Vehicles
Description | Number | & Misc | Materials | Other | Total
Poles & Fixtures | 355 | 48525 | 28705 |  | 77230
OH Conductors & Devices | 356 | 44335 | 16326 |  | 60661
Subtotal Transmission Plant |  | 92860 | 45031 | 0 | 137891
Distribution - Station Equipment | 362 | 25822 | 23332 |  | 49154
General - Comm Equip, Fiber Optic Cable & Dev. | 397 |  |  |  | 0
General - Engineering & Overhead | 399 |  |  | 39059 | 39059
Total Plant Plant |  | 118682 | 68363 | 39059 | 226104
Removal Costs | 108 | 3932 |  |  | 3932
O&M - Maintenance 0f OH Transmission | 571 | 5718 | 1715 |  | 7433
O&M - Maintenance 0f Fiber Optic | 935 | 175 |  |  | 175
Total Pulloffs Cost - Typical Substation Loop |  | 128507 | 70078 | 39059 | 237644

## 2010
OPC 013337
FPL RC-16
Transmission Pulloff Cost Analysis
Per 2011 Transmission Work Order for Typical Substation Loop
Provided by David K. Weda <David.K.Weda@fpl.com>
Labor
| Account | Vehicles
Description | Number | & Misc | Materials | Other | Total
Poles & Fixtures | 355 | 48525 | 27507 |  | 76032
OH Conductors & Devices | 356 | 44203 | 15217 |  | 59420
Subtotal Transmission Plant |  | 92728 | 42724 | 0 | 135452
Distribution - Station Equipment | 362 | 25670 | 23184 |  | 48854
General - Comm Equip, Fiber Optic Cable & Dev. | 397 |  |  |  | 0
General - Engineering & Overhead | 399 |  |  | 36778 | 36778
Total Plant Plant |  | 118398 | 65908 | 36778 | 221084
Removal Costs | 108 | 3932 |  |  | 3932
O&M - Maintenance 0f OH Transmission | 571 | 5718 | 1669 |  | 7387
O&M - Maintenance 0f Fiber Optic | 935 | 327 |  |  | 327
Total Pulloffs Cost - Typical Substation Loop |  | 128375 | 67577 | 36778 | 232730

## 2009
OPC 013338
FPL RC-16
Transmission Pulloff Cost Analysis
Per 2010 Transmission Work Order for Typical Substation Loop
Provided by Jose Coto
Labor
| Account | Vehicles
Description | Number | & Misc | Materials | Other | Total
Poles & Fixtures | 355 | 48524 | 26083 |  | 74607
OH Conductors & Devices | 356 | 44205 | 15013 |  | 59218
Subtotal Transmission Plant |  | 92729 | 41096 | 0 | 133825
Distribution - Station Equipment | 362 | 25670 | 24534 |  | 50204
General - Comm Equip, Fiber Optic Cable & Dev. | 397 |  |  |  | 0
General - Engineering & Overhead | 399 |  |  | 23188 | 23188
Total Plant Plant |  | 118399 | 65630 | 23188 | 207217
Removal Costs | 108 | 3932 |  |  | 3932
O&M - Maintenance 0f OH Transmission | 571 | 5718 | 1670 |  | 7388
O&M - Maintenance 0f Fiber Optic | 935 | 327 |  |  | 327
Total Pulloffs Cost - Typical Substation Loop |  | 128376 | 67300 | 23188 | 218864

## 2008
OPC 013339
FPL RC-16
Transmission Pulloff Cost Analysis
Per 2009 Transmission Work Order for Typical Substation Loop
Provided by Jose Coto
Labor
| Account | Vehicles
Description | Number | & Misc | Materials | Other | Total
Poles & Fixtures | 355 | 41553 | 25934 |  | 67487
OH Conductors & Devices | 356 | 43814 | 14870 |  | 58684
Subtotal Transmission Plant |  | 85367 | 40804 | 0 | 126171
Distribution - Station Equipment | 362 | 20024 | 24416 |  | 44440
General - Comm Equip, Fiber Optic Cable & Dev. | 397 |  |  |  | 0
General - Engineering & Overhead | 399 |  |  | 21497 | 21497
Total Plant Plant |  | 105391 | 65220 | 21497 | 192108
Removal Costs | 108 | 4006 |  |  | 4006
O&M - Maintenance 0f OH Transmission | 571 | 4888 | 1658 |  | 6546
O&M - Maintenance 0f Fiber Optic | 935 | 331 |  |  | 331
Total Pulloffs Cost - Typical Substation Loop |  | 114616 | 66878 | 21497 | 202991

## 2007
OPC 013340
FPL RC-16
Transmission Pulloff Cost Analysis
Per 2007 Transmission Work Order for Typical Substation Loop
Provided by Jose Coto
Labor
| Account | Vehicles
Description | Number | & Misc | Materials | Other | Total
Poles & Fixtures | 355 | 41148 | 21141 |  | 62289
OH Conductors & Devices | 356 | 44287 | 14702 |  | 58989
Subtotal Transmission Plant |  | 85435 | 35843 | 0 | 121278
Distribution - Station Equipment | 362 | 19955 | 18616 |  | 38571
General - Comm Equip, Fiber Optic Cable & Dev. | 397 |  |  |  | 0
General - Engineering & Overhead | 399 |  |  | 23493 | 23493
Total Plant Plant |  | 105390 | 54459 | 23493 | 183342
Removal Costs | 108 | 4007 |  |  | 4007
O&M - Maintenance 0f OH Transmission | 571 | 4887 | 1583 |  | 6470
O&M - Maintenance 0f Fiber Optic | 935 | 330 |  |  | 330
Total Pulloffs Cost - Typical Substation Loop |  | 114614 | 56042 | 23493 | 194149