## Equip Cost - 2014
OPC 013355
FPL RC-16
Estimated cost for CILC/CDR Equipment - 2014
1. Equipment Start-up Costs: | Estimated Cost
A) CILC/CDR Load Control Device: LCI-200 with wireless modem | 1231.71
B) CILC/CDR Load Control Notification Device: LCM-100 monitor with digital display. | 760
C) CILC/CDR Load Control Junction Box: LCJB (M&S 420-070-007) | 249.21
D) CILC/CDR Universal Terminal Box: UTB for step down transformer (M&S 420-000-980) | 77.91
Labor | 181.68
2500.51
E) Load profile meter: wireless RUG type Non PQ (M&S 402-330-330) $674.17 vs. Standard wireless electronic demand AMI meter (M&S 405-610-000) $147.00. | 527.17
3027.68
Notes:
A) CILC/CDR load control device (LCI-200 with wireless modem) includes the following components:
LCI-200 base unit (Per Technicom Inc invoice #70579 dated 11-17-10) | 387
LCI-200 additional contact input (Per Technicom Inc invoice #70579 dated 11-17-10) | 5.75
LCI-200 mounting feet (Per Technicom Inc invoice #70579 dated 11-17-10) | 15.05
Modem adapter for LCI-200 interface with Digi wireless modem (Per Technicom email dated 3/20/14) | 240
Power supply for LCI-200 (Per Technicom email dated 6-5-14) | 100
Wireless 3G modem (Per Digi email dated 3/11/14 ) | 483.91
Total | 1231.71
B) CILC/CDR load control notification device (LCM-100) consists of the following components:
LCM-100 load control monitor (Per Technicom email dated 6-5-14) | 725
LCM-100 cable. DB-15 pigtail,10 ft. (Per Technicom Inc invoice #70333 dated 12-11-08) | 35
Total | 760
All items (A thru E) exclude shipping & handling, installation & labor, stores loading, etc.
One time initial installation for load control equipment requires approx. 4 hrs labor by Meter Man.@ $45.42/hr | 181.68
2. Primary Aerial Switch (M&S 270-274-505) (see note below) | 20000
Note: Used where applicable on large primary metered locations. Currently, there are approximately
14 locations with these aerial switches. CILC=11, CDR=3
1 additional CILC location, Florida Institute of Technology, uses a padmounted switch
CILC/CDR have a monthly Non ECCR Customer charge or Admin adder that is higher than other base rates
Note on B7: FPL_User: Includes LCI-200, Step Down TX, Modem Adapter Board, Wireless Modem.
Note on B8: FPL_User: Includes digital display monitor and 10 ft pig tail cable.
Note on B9: FPL_User: Equipment cost Per M&S database; Edwin Allisetti ISC email 6/6/14
Note on B10: FPL_User: Equipment cost per M&S database; Edwin Allisetti ISC email 6/6/14
Note on B13: FPL_User: Equipment cost per Jim DeMars email 6/6/14
Note on B33: FPL_User: Per Haydee Escobar / Ozzie Brito 1/22/14 Total Pay rate including loaders: Straight time = $45.42; estimated 4 hours labor per installation - being verified through Field Meters
Note on B35: Haywood, Dan J: This is the estimated installed cost in the past when these devices were being installed; current (2014) switch equipment-only cost for a primary aerial switch is $8,930.50 however this does not include additional equipment associated to switch or labor. Current "all in" costs would likely be >$20k but DSM has no plans to install additional aerial switches.