## 2017 TRANS-SERV 12CP AT GEN
OPC 013072
FPL RC-16
RC2016 - DRY RUN - 2016 SEPARATION STUDY
TRANSMISSION SERVICE TO OTHERS - FORECAST
INPUT TO FPL101
2015-2019 FORECAST
TRANSMISSION SYSTEM (BASED ON 12CP):
2017 Firm Network Transmission Forecast (@ GEN) |  | 2010924.3637
÷ Transmission Voltage Level Factor |  | 1
÷ Transmission Line Loss Expansion Factor (2017) |  | 1.0216
Firm Network Transmission Forecast - 12 CP @ Meter |  | 1968329.7088 | A
Less: 2017 Forecast - Wholesale Customers - 12 CP @ Meter (FIRM)
BLOUNTSTOWN |  | -8809 | A
FKEC |  | -129765 | A
LEE |  | -662058 | A
NEW SMYRNA BEACH |  | -31812 | A
SEMINOLE |  | -195764 | A
WAUCHULA |  | -12725 | A
WINTER PARK |  | -58729 | A
HOMESTEAD |  | -2936 | A
QUINCY |  | -3100 | A
2017 Net Firm Network Transmission Forecast - 12 CP @ Meter | Sum of A | 862631.7088
2017 Long-Term Point-to-Point (LFP) Transmission Forecast (@ GEN) |  | 324556
÷ Transmission Voltage Level Factor |  | 1
÷ Transmission Line Loss Expansion Factor (2017) |  | 1.0216
2017 Net Firm LFP Transmission Forecast - 12 CP @ Meter |  | 317681.375
TOTAL Transmission Forecast @ Meter | 2016 | 1180313.0838 | TRANS-SERV INPUT
x Transmission Line Loss Factor (2017 FCST) |  | 1.0216
TRANSMISSION SERVICES FORECAST - 12 CP @ GENERATION |  | 1205855.0589

## Ext Factors - Calc - 2016
OPC 013073
FPL RC-16
RC2016 - 2016 Prior, 2017 Test Year, 2018 Subsequent - AS FILED | Dec 2016 | Dec 2017
BLOUNTSTOWN
FPL101
12 CP @ Meter | 8809 | 0 | -8809
12 CP @ Meter Adjustment | 0 | 0 | 0
Load Control Impact on CP (ADJ_CP12) | 0 | 0 | 0
Firm Transmission Service for Others (Trans Service Peak Adj) | 0 | 0 | 0
12 CP @ Meter Adjusted | 0 | 0 | 0
Voltage Level % - Transm | 1 | 1 | 0
Loss Expansion Factor - Transm | 1.0267 | 1.0267 | 0
Transmission 12CP at Generator | 0 | 0 | 0
FKEC |  |  | 0
FPL101 |  |  | 0
12 CP @ Meter | 129765 | 130882 | 1117
12 CP @ Meter Adjustment | 0 | 0 | 0
Load Control Impact on CP (ADJ_CP12) |  | 0 | 0
Firm Transmission Service for Others (Trans Service Peak Adj) |  | 0 | 0
12 CP @ Meter Adjusted |  | 130966.232 | 130966.232
Voltage Level % - Transm |  | 1 | 1
Loss Expansion Factor - Transm |  | 1.0267 | 1.0267
Transmission 12CP at Generator |  | 134464.34 | 134464.34
SEMINOLE |  |  | 0
FPL101 |  |  | 0
12 CP @ Meter | 195764 | 195726 | -38
12 CP @ Meter Adjustment | 0 | 0 | 0
Load Control Impact on CP (ADJ_CP12) |  | 0 | 0
Firm Transmission Service for Others (Trans Service Peak Adj) |  | 0 | 0
12 CP @ Meter Adjusted |  | 195784.1643 | 195784.1643
Voltage Level % - Transm |  | 1 | 1
Loss Expansion Factor - Transm |  | 1.0267 | 1.0267
Transmission 12CP at Generator |  | 201013.5593 | 201013.5593
LCEC |  |  | 0
FPL101 |  |  | 0
12 CP @ Meter | 662058 | 664343 | 2285
12 CP @ Meter Adjustment | 0 | 0 | 0
Load Control Impact on CP (ADJ_CP12) | 0 | 0 | 0
Firm Transmission Service for Others (Trans Service Peak Adj) | 0 | 0 | 0
12 CP @ Meter Adjusted |  | 664262.2318 | 664262.2318
Voltage Level % - Transm |  | 1 | 1
Loss Expansion Factor - Transm |  | 1.0267 | 1.0267
Transmission 12CP at Generator |  | 682004.676 | 682004.676
WAUCHULA |  |  | 0
FPL101 |  |  | 0
12 CP @ Meter | 12725 | 0 | -12725
12 CP @ Meter Adjustment | 0 | 0 | 0
Load Control Impact on CP (ADJ_CP12) | 0 | 0 | 0
Firm Transmission Service for Others (Trans Service Peak Adj) | 0 | 0 | 0
12 CP @ Meter Adjusted | 0 | 0 | 0
Voltage Level % - Transm | 1 | 1 | 0
Loss Expansion Factor - Transm | 1.0267 | 1.0267 | 0
Transmission 12CP at Generator | 0 | 0 | 0
WINTER PARK |  |  | 0
FPL101 |  |  | 0
12 CP @ Meter | 58729 | 9786 | -48943
12 CP @ Meter Adjustment | 0 | 0 | 0
Load Control Impact on CP (ADJ_CP12) | 0 | 0 | 0
Firm Transmission Service for Others (Trans Service Peak Adj) |  | 0 | 0
12 CP @ Meter Adjusted |  | 9772.4503 | 9772.4503
Voltage Level % - Transm |  | 1 | 1
Loss Expansion Factor - Transm |  | 1.0267 | 1.0267
Transmission 12CP at Generator |  | 10033.4725 | 10033.4725
NEW SMRYNA BEACH |  |  | 0
FPL101 |  |  | 0
12 CP @ Meter | 31812 | 7340 | -24472
12 CP @ Meter Adjustment | 0 | 0 | 0
Load Control Impact on CP (ADJ_CP12) | 0 | 0 | 0
Firm Transmission Service for Others (Trans Service Peak Adj) | 0 | 0 | 0
12 CP @ Meter Adjusted |  | 7328.78 | 7328.78
Voltage Level % - Transm |  | 1 | 1
Loss Expansion Factor - Transm |  | 1.0267 | 1.0267
Transmission 12CP at Generator |  | 7524.5317 | 7524.5317
HOMESTEAD |  |  | 0
FPL101 |  |  | 0
12 CP @ Meter | 2936 | 3425 | 489
12 CP @ Meter Adjustment | 0 | 0 | 0
Load Control Impact on CP (ADJ_CP12) | 0 | 0 | 0
Firm Transmission Service for Others (Trans Service Peak Adj) |  | 0 | 0
12 CP @ Meter Adjusted |  | 3419.9106 | 3419.9106
Voltage Level % - Transm |  | 1 | 1
Loss Expansion Factor - Transm |  | 1.0267 | 1.0267
Transmission 12CP at Generator |  | 3511.2564 | 3511.2564
QUINCY |  |  | 0
FPL101 |  |  | 0
12 CP @ Meter | 3100 | 3099 | -1
12 CP @ Meter Adjustment | 0 | 0 | 0
Load Control Impact on CP (ADJ_CP12) | 0 | 0 | 0
Firm Transmission Service for Others (Trans Service Peak Adj) |  | 0 | 0
12 CP @ Meter Adjusted |  | 3094.1286 | 3094.1286
Voltage Level % - Transm |  | 1 | 1
Loss Expansion Factor - Transm |  | 1.0267 | 1.0267
Transmission 12CP at Generator |  | 3176.7728 | 3176.7728
Rate Class Total |  |  | 0
FPL101 |  |  | 0
12 CP @ Meter | 1014627.8976 | 1014627.8976 | 0
12 CP @ Meter Adjustment | 0 | 0 | 0
Load Control Impact on CP (ADJ_CP12) |  | 0 | 0
Firm Transmission Service for Others (Trans Service Peak Adj) |  | 0 | 0
12 CP @ Meter Adjusted |  | 1014627.8976 | 1014627.8976
Voltage Level % - Transm |  | 11 | 11
Loss Expansion Factor - Transm |  | 11.2938 | 11.2938
Transmission 12CP at Generator |  | 1041728.6088 | 1041728.6088

## LLS Exec Summary - 2016
OPC 013074
FPL RC-16
Florida Power & Light Company
Loss Study - Summary of Loss Expansion Factors
RC2016 | [7 empty] | RC2016 - DRY RUN
|  |  | Demand Expansion Factor | [6 empty] | Demand Expansion Factor
| Voltage Level |  | 2017 FCST | 2016 FCST | Variance |  | OLD |  | Voltage Level | 2017 FCST | 2016 FCST | Variance
| Transmission |  | 1.0216 | 1.0241 | -0.0024344 |  | 1.0267 |  | Transmission | 1.0242 | 1.0241 | 0.00010936
| Primary |  | 1.0347 | 1.0374 | -0.0027035 |  | 1.0426 |  | Primary | 1.0373 | 1.0374 | -9.136e-05
| Secondary |  | 1.064 | 1.0741 | -0.01007 |  | 1.0785 |  | Secondary | 1.0741 | 1.0741 | 6.547e-05
|  |  | Energy | Demand
| Transmission |  | 1.017 | 1.0267
| Primary |  | 1.0267 | 1.0426
| Secondary |  | 1.0486 | 1.0785
|  | TRANS | 1.0216 | 1.0216 | 1.0347 | 1.064
|  | PRIMARY | 1.0347
|  | SECOND | 1.064

## TRANSMISSION PEAKS - 2016
OPC 013075
FPL RC-16
FLORIDA POWER & LIGHT COMPANY
2016 TRANSMISSION SERVICES FORECAST (KW)
| 2016-01-01 | 2016-02-01 | 2016-03-01 | 2016-04-01 | 2016-05-01 | 2016-06-01 | 2016-07-01 | 2016-08-01 | 2016-09-01 | 2016-10-01 | 2016-11-01 | 2016-12-01 | TOTAL | AVERAGE
FIRM NETWORK
Blountstown | 8836.5243 | 8836.5243 | 8836.5243 | 8836.5243 | 8836.5243 | 8836.5243 | 8836.5243 | 8836.5243 | 8836.5243 | 8836.5243 | 8836.5243 | 8836.5243 | 106038.2916 | 8836.5243
Winter Park | 58910.162 | 58910.162 | 58910.162 | 58910.162 | 58910.162 | 58910.162 | 58910.162 | 58910.162 | 58910.162 | 58910.162 | 58910.162 | 58910.162 | 706921.944 | 58910.162
LCEC | 604666.4836 | 730902.1047 | 656140.9112 | 604586.621 | 589253.3479 | 683666.2905 | 751936.573 | 731373.6171 | 764891.8541 | 656848.0274 | 693441.7622 | 570382.4275 | 8038090.0201 | 669840.835
FKEC | 109141.7675 | 109331.1863 | 116332.3066 | 110395.9258 | 131100.9767 | 139358.9995 | 143422.0395 | 155362.1791 | 151554.5195 | 139815.4035 | 133674.8766 | 118593.1385 | 1558083.3192 | 129840.2766
Wauchula | 12763.8684 | 12763.8684 | 12763.8684 | 12763.8684 | 12763.8684 | 12763.8684 | 12763.8684 | 12763.8684 | 12763.8684 | 12763.8684 | 12763.8684 | 12763.8684 | 153166.4212 | 12763.8684
Vero Beach | 177000 | 154000 | 123000 | 127000 | 140000 | 154000 | 152000 | 164000 | 154000 | 145000 | 124000 | 139000 | 1753000 | 146083.3333
FMPA | 420200 | 391600 | 342500 | 368000 | 415200 | 451600 | 467200 | 475200 | 433500 | 400600 | 358600 | 344200 | 4868400 | 405700
SECI | 521466 | 427422 | 381260 | 360521 | 409183 | 442770 | 439071 | 438159 | 443170 | 384147 | 371047 | 401928 | 5020144 | 418345.3333
Georgia Transmission Corp. | 18000 | 18000 | 18000 | 18000 | 18000 | 15450 | 15450 | 15450 | 15450 | 18450 | 18450 | 18450 | 207150 | 17262.5
Lake Worth | 68926.3151 | 67308.5638 | 70321.6255 | 73587.4609 | 82333.4287 | 86478.9164 | 89926.7488 | 90452.5179 | 87318.1248 | 81969.4347 | 73102.1355 | 69401.5295 | 941126.8017 | 78427.2335
Homestead | 17673.0486 | 5891.0162 | 0 | 2945.5081 | 11782.0324 | 19636.7207 | 24545.9008 | 17673.0486 | 20618.5567 | 7854.6883 | 0 | 0 | 128620.5204 | 10718.3767
New Smyrna Beach | 19636.7207 | 39273.4413 | 39273.4413 | 24545.9008 | 19636.7207 | 29455.081 | 39273.4413 | 44182.6215 | 44182.6215 | 34364.2612 | 24545.9008 | 19636.7207 | 378006.8729 | 31500.5727
Quincy | 18654.8846 | 23342.4742 | 21369.3667 | 19162.4448 | 22637.0545 | 27179.7349 | 26867.9823 | 18654.8846 | 24822.5037 | 21870.3976 | 25166.863 | 22615.5817 | 272344.1728 | 22695.3477
FNO TOTALS | 2055875.7748 | 2047581.3413 | 1848708.2061 | 1789255.4162 | 1919637.1157 | 2130106.2977 | 2230204.2405 | 2231018.4236 | 2220018.735 | 1971429.7674 | 1902539.0929 | 1784717.9526 | 24131092.3638 | 2010924.3637
LT POINT-TO-POINT
FMPA St Lucie Delivery Service | 37056 | 37056 | 37056 | 37056 | 37056 | 37056 | 37056 | 37056 | 37056 | 37056 | 37056 | 37056 | 444672 | 37056
OUC St Lucie Delivery Service | 62000 | 62000 | 62000 | 62000 | 62000 | 62000 | 62000 | 62000 | 62000 | 62000 | 62000 | 62000 | 744000 | 62000
Homestead | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 480000 | 40000
OUC Port Charlotte | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 3000 | 3000 | 46000 | 3833.3333
Seminole | 150000 | 150000 | 150000 | 150000 | 150000 | 150000 | 150000 | 150000 | 150000 | 150000 | 150000 | 150000 | 1800000 | 150000
TEC Oleander | 160000 | 160000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 320000 | 26666.6667
LES Sarasota | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 60000 | 5000
0
0
0
0
LFP TOTALS | 458056 | 458056 | 298056 | 298056 | 298056 | 298056 | 298056 | 298056 | 298056 | 298056 | 297056 | 297056 | 3894672 | 324556
TOTAL 2016 TRANS SERVICES FORECAST | 2513931.7748 | 2505637.3413 | 2146764.2061 | 2087311.4162 | 2217693.1157 | 2428162.2977 | 2528260.2405 | 2529074.4236 | 2518074.735 | 2269485.7674 | 2199595.0929 | 2081773.9526 | 28025764.3638 | 2335480.3637