## Addl Equip Groups - COS REVISED
OPC 013349
FPL RC-16
2014
[6 empty] | COST | COST
| POSITION 2 | M & S |  |  |  | PER | PER
METER TYPE | INDICATOR | NUMBER | DESCRIPTION | # UNITS |  | UNIT | METER
1 Phase, Current Transformer | Q, R, S | 115 42000 9 | WIRE, CONTROL, MTR 9/C :51 | 100 | feet | 2.3447 | 234.475
(1 PH CT) |  | 432 22300 8 | TRANSFORMER,CT,600V,300:5,IW | 2 |  | 56.79 | 113.58
348.055
3 Phase, Current Transformer | T, U, V | 115 42000 9 | WIRE, CONTROL, MTR 9/C :51 | 100 | feet | 2.3447 | 234.475
(3 PH CT) |  | 432 22300 8 | TRANSFORMER,CT,600V,300:5,IW | 3 |  | 56.79 | 170.37
404.845
1 Phase, Current & Voltage Transformer | W | 420 71000 6 | BRACKET, PRIMARY METERING MOUNT, 15KV | 1 |  | 459.54 | 459.54
(1 PH CVT) |  | 115 42000 9 | WIRE, CONTROL, MTR 9/C :51 | 100 | feet | 2.3447 | 234.475
|  | 432 22300 8 | TRANSFORMER,CT,600V,300:5,IW | 1 |  | 56.79 | 56.79
|  | 434 62500 6 | TRANSFORMER,POTENTIAL,15KV,OUT,70:1,1B | 1 |  | 479.02 | 479.02
1229.825
1 Phase, Current & Voltage Transformer for GSLD(T)-3 | W | 420 71000 6 | BRACKET, PRIMARY METERING MOUNT, 15KV | 1 |  | 459.54 | 459.54
(1 PH CVT GSLD(T)-3) |  | 115 42000 9 | WIRE, CONTROL, MTR 9/C :51 | 100 | feet | 2.3447 | 234.475
no registered usage in 2014 |  | 432 22300 8 | TRANSFORMER,CT,600V,300:5,IW | 1 |  | 56.79 | 56.79
|  | 434 62500 6 | TRANSFORMER,POTENTIAL,15KV,OUT,70:1,1B | 1 |  | 479.02 | 479.02
1229.825
3 Phase, Current & Voltage Transformer | X, Y, Z | 115 42000 9 | WIRE, CONTROL, MTR 9/C :51 | 150 | feet | 2.3447 | 351.7125
(3 PH CVT) |  | 433 72005 5 | TRANSFORMER,CURRENT,25KV,200:5A,WOUND | 3 |  | 1112.8 | 3338.4
|  | 434 78500 3 | TRANSFORMER, VOLTAGE 25KV INDOOR 120:1 | 3 |  | 1641 | 4923
8613.1125
1 Phase, Self Contained + SSDR | A, B, C, E, G, I
(1 PH SC + SSDR)
1 meter registering use in 2014 - 9C in RS(T)-1
3 Phase, Self Contained + SSDR | J, L, N
(3 PH SC + SSDR)
1 meter registering use in 2014 - 9N in GSLD(T)-1
1 Phase, Current Transformer + SSDR | Q, R, S | 115 42000 9 | WIRE, CONTROL, MTR 9/C :51 | 100 | feet | 2.3447 | 234.475
(1 PH CT + SSDR) |  | 432 22300 8 | TRANSFORMER,CT,600V,300:5,IW | 2 |  | 56.79 | 113.58
no registered usage in 2014 | [6 empty] | 348.055
3 Phase, Current Transformer + SSDR | T, U, V | 115 42000 9 | WIRE, CONTROL, MTR 9/C :51 | 150 | feet | 2.3447 | 351.7125
(3 PH CT + SSDR) |  | 432 22300 8 | TRANSFORMER,CT,600V,300:5,IW | 3 |  | 56.79 | 170.37
150 meters registering use in 2014 - 9T, 9U AND 9V in | [6 empty] | 522.0825
various rate classes
3 Phase, Current & Voltage Transformer + SSDR | X, Y, Z | 115 42000 9 | WIRE, CONTROL, MTR 9/C :51 | 100 | feet | 2.3447 | 234.475
(3 PH CVT + SSDR OTHER) |  | 433 72005 5 | TRANSFORMER,CURRENT,25KV,200:5A,WOUND | 3 |  | 1112.8 | 3338.4
78 meters registering use in 2014 - 9X AND 9Y in |  | 434 78500 3 | TRANSFORMER, VOLTAGE 25KV INDOOR 120:1 | 3 |  | 1641 | 4923
various rate classes | [6 empty] | 8495.875
3 Phase, Current & Voltage Transformer + SSDR for GSLD(T)-3 | X, Y, Z | 115 42000 9 | WIRE, CONTROL, MTR 9/C :51 | 150 | feet | 2.3447 | 351.7125
(3 PH CVT + SSDR GSLD(T)-3) |  | 433 72005 5 | TRANSFORMER,CURRENT,25KV,200:5A,WOUND | 3 |  | 1112.8 | 3338.4
78 meters registering use in 2014 - 9X AND 9Y in GSLD(T)-3 |  | 434 78500 3 | TRANSFORMER, VOLTAGE 25KV INDOOR 120:1 | 3 |  | 1641 | 4923
8613.1125
3 Phase, Current & Voltage Transformer + SSDR for Wholesale | X, Y, Z | 115 42000 9 | WIRE, CONTROL, MTR 9/C :51 | 150 | feet | 2.3447 | 351.7125
(3 PH CVT + SSDR WHOLESALE) |  | 430 87015 4 | WWW-TX,INSTR,CT,3000:5A, FR STD 550KV RTZ | 3 |  | 40613.33 | 121839.99
10 meters registering use in 2014 - 9Y for FKEC and LCEC | [6 empty] | 122191.7025
3 Phase, Current & Voltage Transformer | X, Y, Z | 115 42000 9 | WIRE, CONTROL, MTR 9/C :51 | 150 | feet | 2.3447 | 351.7125
(3 PH CVT OTHER) |  | 433 72005 5 | TRANSFORMER,CURRENT,25KV,200:5A,WOUND | 3 |  | 1112.8 | 3338.4
|  | 434 78500 3 | TRANSFORMER, VOLTAGE 25KV INDOOR 120:1 | 3 |  | 1641 | 4923
8613.1125
3 Phase, Current & Voltage Transformer for GSLD(T)-3 | X, Y, Z | 115 42000 9 | WIRE, CONTROL, MTR 9/C :51 | 150 | feet | 2.3447 | 351.7125
(3 PH CVT GSLD(T)-3) |  | 433 72005 5 | TRANSFORMER,CURRENT,25KV,200:5A,WOUND | 3 |  | 1112.8 | 3338.4
1 meter registering use in 2014 - SY in GSLD(T)-3 |  | 434 78500 3 | TRANSFORMER, VOLTAGE 25KV INDOOR 120:1 | 3 |  | 1641 | 4923
8613.1125
1 Phase, Self Contained | A, B, C, E, G, I | n/a | n/a
(1 PH SC)
3 Phase, Self Contained | J, L, N | n/a | n/a
(3 PH SC)

## Addl Equipment Groups - Meters
OPC 013350
FPL RC-16
2014
Per Jim DeMars - 6/30/2015
| POSITION 2 | M & S |  |  |  | Revised List
METER TYPE | INDICATOR | NUMBER | DESCRIPTION | # UNITS |  | M&S # | Qty. | Comments
1 Phase, Current Transformer | Q, R, S | 420 71000 6 | Bracket Primary Metering | 1 |  | 0 | 0 | Customer Purchased CT Cabinet
(1 PH CT) |  | 115 42000 9 | CNT Wire | 100 | feet | 115-420-009 | 100'
|  | 432 22300 8 | CT-1 CT, 600V, IW | 2 |  | 432-223-008 | 2 | This CT mounts in a cabinet, not on an pole-mounted bracket
3 Phase, Current Transformer | T, U, V | 420 71000 6 | Bracket Primary Metering | 1 |  | 0 | 0 | Customer Purchased CT Cabinet
(3 PH CT) |  | 115 42000 9 | CNT Wire | 100 | feet | 115-420-009 | 100'
|  | 432 22300 8 | CT-1 CT, 600V, IW | 3 |  | 432-223-008 | 3 | This CT mounts in a cabinet, not on an pole-mounted bracket
1 Phase, Current & Voltage Transformer | W | 420 71000 6 | Bracket Primary Metering | 1 |  | 420-710-006 | 1
(1 PH CVT) |  | 115 42000 9 | CNT Wire | 100 | feet | 115-420-009 | 100'
|  | 433 52300 5 | CT-3 15KV, 300 | 1 |  | 432-223-008 | 1
|  | 434 62500 6 | PT 15KV, OUT | 1 |  | 434-625-006 | 1
1 Phase, Current & Voltage Transformer for GSLD(T)-3 | W | 420 71000 6 | Bracket Primary Metering | 1 |  | 420-710-006 | 1
(1 PH CVT GSLD(T)-3) |  | 115 42000 9 | CNT Wire | 100 | feet | 115-420-009 | 100'
no registered usage in 2014 |  | 433 52300 5 | CT-3 15KV, 300 | 1 |  | 432-223-008 | 1
|  | 434 62500 6 | PT 15KV, OUT | 1 |  | 434-625-006 | 1
|  | 523 15100 8 | TLC-3 Compensator TX Loss | 1 |  | N/A | 0 | TLC is feature included in the high-end meters
3 Phase, Current & Voltage Transformer | X, Y, Z | 420 71000 6 | Bracket Primary Metering | 1 |  | 420-710-006 | 0
(3 PH CVT) |  | 115 42000 9 | CNT Wire | 100 | feet | 115-420-009 | 150'
|  | 433 52300 5 | CT-3 15KV, 300 | 3 |  | 433-720-005 | 3 | 433-720-005 - 25KV, 200 - more commonly used
|  | 434 62500 6 | PT 15KV, OUT | 2 |  | 434-785-003 | 3 | 434-785-003 - 25KV - more commonly used
|  | Primary Meter Cabinet |  |  |  | 161-022-606 | 1 | Charged back to customer
1 Phase, Self Contained + SSDR | A, B, C, E, G, I | 405 33100 8 | SSDR | 1 |  | N/A | 0 | SSDR function is included in RUG meter (recorder-under-glass)
(1 PH SC + SSDR)
1 meter registering use in 2014 - 9C in RS(T)-1
3 Phase, Self Contained + SSDR | J, L, N | 405 33100 8 | SSDR | 1 |  | N/A | 0 | SSDR function is included in RUG meter (recorder-under-glass)
(3 PH SC + SSDR)
1 meter registering use in 2014 - 9N in GSLD(T)-1
1 Phase, Current Transformer + SSDR | Q, R, S | 420 71000 6 | Bracket Primary Metering | 1 |  | 0 | 0 | Customer Purchased CT Cabinet
(1 PH CT + SSDR) |  | 115 42000 9 | CNT Wire | 100 | feet | 115-420-009 | 100'
no registered usage in 2014 |  | 432 22300 8 | CT-1 CT, 600V, IW | 2 |  | 432-223-008 | 2 | This CT mounts in a cabinet, not on an pole-mounted bracket
|  | 405 33100 8 | SSDR | 1 |  | N/A | 0 | SSDR function is included in RUG meter (recorder-under-glass)
3 Phase, Current Transformer + SSDR | T, U, V | 420 71000 6 | Bracket Primary Metering | 1 |  | 0 | 0 | Customer Purchased CT Cabinet
(3 PH CT + SSDR) |  | 115 42000 9 | CNT Wire | 100 | feet | 115-420-009 | 150'
150 meters registering use in 2014 - 9T, 9U AND 9V in |  | 432 22300 8 | CT-1 CT, 600V, IW | 3 |  | 432-223-008 | 3 | This CT mounts in a cabinet, not on an pole-mounted bracket
various rate classes |  | 405 33100 8 | SSDR | 1 |  | N/A | 0 | SSDR function is included in RUG meter (recorder-under-glass)
3 Phase, Current & Voltage Transformer + SSDR | X, Y, Z | 420 71000 6 | Bracket Primary Metering | 1 |  | 420-710-006 | 0
(3 PH CVT + SSDR OTHER) |  | 115 42000 9 | CNT Wire | 100 | feet | 115-420-009 | 100'
78 meters registering use in 2014 - 9X AND 9Y in |  | 433 52300 5 | CT-3 15KV, 300 | 3 |  | 433-720-005 | 3 | 433-720-005 - 25KV, 200 - more commonly used
various rate classes |  | 434 62500 6 | PT 15KV, OUT | 2 |  | 434-785-003 | 3 | 434-785-003 - 25KV - more commonly used
|  | 405 33100 8 | SSDR | 1 |  | N/A | 0 | SSDR function is included in RUG meter (recorder-under-glass)
|  | Primary Meter Cabinet |  |  |  | 161-022-606 | 1 | Charged back to customer
3 Phase, Current & Voltage Transformer + SSDR for GSLD(T)-3 | X, Y, Z | 420 71000 6 | Bracket Primary Metering | 1 |  | 420-710-006 | 0
(3 PH CVT + SSDR GSLD(T)-3) |  | 115 42000 9 | CNT Wire | 100 | feet | 115-420-009 | 150'
78 meters registering use in 2014 - 9X AND 9Y in GSLD(T)-3 |  | 433 52300 5 | CT-3 15KV, 300 | 3 |  | 433-720-005 | 3 | 433-720-005 - 25KV, 200 - more commonly used
|  | 434 62500 6 | PT 15KV, OUT | 2 |  | 434-785-003 | 3 | 434-785-003 - 25KV - more commonly used
|  | 523 15100 8 | TLC-3 Compensator TX Loss | 1 |  | N/A | 0 | TLC is feature included in the high-end meters
|  | 405 33100 8 | SSDR | 1 |  | N/A | 0 | SSDR function is included in RUG meter (recorder-under-glass)
|  | Primary Meter Cabinet |  |  |  | 161-022-606 | 1 | Charged back to customer
3 Phase, Current & Voltage Transformer + SSDR for Wholesale | X, Y, Z | 420 71000 6 | Bracket Primary Metering | 1 |  | 420-710-006 | 0
(3 PH CVT + SSDR WHOLESALE) |  | 115 42000 9 | CNT Wire | 100 | feet | 115-420-009 | 150'
10 meters registering use in 2014 - 9Y for FKEC and LCEC |  | 433 52300 5 | CT-3 15KV, 300 | 3 |  | 433-720-005 | 0 | 433-720-005 - 25KV, 200 - more commonly used
|  | 434 62500 6 | PT 15KV, OUT | 2 |  | 434-785-003 | 0 | 434-785-003 - 25KV - more commonly used
|  | 430 87015 4 | CT/VT Unit TX, INSTR, CT, 3000 | 3 |  | 430-870-154 | 3 | It appears to be an either/or, we use this or we use the individual components above.
|  | 405 33100 8 | SSDR | 1 |  | N/A | 0 | SSDR function is included in RUG meter (recorder-under-glass)
|  | Primary Meter Cabinet |  |  |  | 161-022-606 | 1 | Charged back to customer
3 Phase, Current & Voltage Transformer | X, Y, Z | 420 71000 6 | Bracket Primary Metering | 1 |  | 420-710-006 | 0
(3 PH CVT OTHER) |  | 115 42000 9 | CNT Wire | 100 | feet | 115-420-009 | 150'
|  | 433 52300 5 | CT-3 15KV, 300, WW | 3 |  | 433-720-005 | 3 | 433-720-005 - 25KV, 200 - more commonly used
|  | 434 62500 6 | PT 15KV, OUT | 2 |  | 434-785-003 | 3 | 434-785-003 - 25KV - more commonly used
|  | Primary Meter Cabinet |  |  |  | 161-022-606 | 1 | Charged back to customer
3 Phase, Current & Voltage Transformer for GSLD(T)-3 | X, Y, Z | 420 71000 6 | Bracket Primary Metering | 1 |  |  | 0
(3 PH CVT GSLD(T)-3) |  | 115 42000 9 | CNT Wire | 100 | feet | 115-420-009 | 150'
1 meter registering use in 2014 - SY in GSLD(T)-3 |  | 433 52300 5 | CT-3 15KV, 300 | 3 |  | 433-720-005 | 3 | 433-720-005 - 25KV, 200 - more commonly used
|  | 434 62500 6 | PT 15KV, OUT | 2 |  | 434-785-003 | 3 | 434-785-003 - 25KV - more commonly used
|  | 523 15100 8 | TLC-3 Compensator TX Loss | 1 |  | N/A | 0 | TLC is feature included in the high-end meters
|  | Primary Meter Cabinet |  |  |  | 161-022-606 | 1 | Charged back to customer
1 Phase, Self Contained | A, B, C, E, G, I | n/a | n/a
(1 PH SC)
3 Phase, Self Contained | J, L, N | n/a | n/a
(3 PH SC)
1 Phase, IT Rated | Q, R, S, | CNT Wire |  |  |  | 115-420-009 | 100'
(1 PH IT Rated) |  | CT-1 CT, 600V, IW |  |  |  | 432-223-008 | 2 | This CT mounts in a customer purchased cabinet, not on an pole-mounted bracket
1 Phase, IT Rated | T, U, V | CNT Wire |  |  |  | 115-420-009 | 100'
(3 PH IT Rated) |  | CT-1 CT, 600V, IW |  |  |  | 432-223-008 | 3 | This CT mounts in a customer purchased cabinet, not on an pole-mounted bracket
3 Phase, IT Rated | W | Bracket Primary Metering |  |  |  | 420-710-006 | 1
(1 PH IT Rated) |  | CNT Wire |  |  |  | 115-420-009 | 100
|  | CT-3 15KV, 300 |  |  |  | 432-223-008 | 1
|  | PT 15KV, OUT |  |  |  | 434-625-006 | 1
3 Phase, IT Rated | X, Y, Z | CNT Wire |  |  |  | 115-420-009 | 150'
(3 PH IT Rated) |  | CT-3 15KV, 300 |  |  |  | 433-720-005 | 3 | 433-720-005 - 25KV, 200 - more commonly used
|  | PT 15KV, OUT |  |  |  | 434-785-003 | 3 | 434-785-003 - 25KV - more commonly used
|  | Primary Meter Cabinet |  |  |  | 161-022-606 | 1 | Charged back to customer
PER J. DEMARS: the term IT RATED is interchangeable with CT and CVT, anything not SC

## Additional Equip Groups - COS
OPC 013351
FPL RC-16
2014
| POSITION 2 | M & S
METER TYPE | INDICATOR | NUMBER | DESCRIPTION | # UNITS
1 Phase, Current Transformer | Q, R, S | 420 71000 6 | Bracket Primary Metering | 1
(1 PH CT) |  | 115 42000 9 | CNT Wire | 100 | feet
|  | 432 22300 8 | CT-1 CT, 600V, IW | 2
3 Phase, Current Transformer | T, U, V | 420 71000 6 | Bracket Primary Metering | 1
(3 PH CT) |  | 115 42000 9 | CNT Wire | 100 | feet
|  | 432 22300 8 | CT-1 CT, 600V, IW | 3
1 Phase, Current & Voltage Transformer | W | 420 71000 6 | Bracket Primary Metering | 1
(1 PH CVT) |  | 115 42000 9 | CNT Wire | 100 | feet
|  | 433 52300 5 | CT-3 15KV, 300 | 1
|  | 434 62500 6 | PT 15KV, OUT | 1
1 Phase, Current & Voltage Transformer for GSLD(T)-3 | W | 420 71000 6 | Bracket Primary Metering | 1
(1 PH CVT GSLD(T)-3) |  | 115 42000 9 | CNT Wire | 100 | feet
no registered usage in 2014 |  | 433 52300 5 | CT-3 15KV, 300 | 1
|  | 434 62500 6 | PT 15KV, OUT | 1
|  | 523 15100 8 | TLC-3 Compensator TX Loss | 1
3 Phase, Current & Voltage Transformer | X, Y, Z | 420 71000 6 | Bracket Primary Metering | 1
(3 PH CVT) |  | 115 42000 9 | CNT Wire | 100 | feet
|  | 433 52300 5 | CT-3 15KV, 300 | 3
|  | 434 62500 6 | PT 15KV, OUT | 2
1 Phase, Self Contained + SSDR | A, B, C, E, G, I | 405 33100 8 | SSDR | 1
(1 PH SC + SSDR)
1 meter registering use in 2014 - 9C in RS(T)-1
3 Phase, Self Contained + SSDR | J, L, N | 405 33100 8 | SSDR | 1
(3 PH SC + SSDR)
1 meter registering use in 2014 - 9N in GSLD(T)-1
1 Phase, Current Transformer + SSDR | Q, R, S | 420 71000 6 | Bracket Primary Metering | 1
(1 PH CT + SSDR) |  | 115 42000 9 | CNT Wire | 100 | feet
no registered usage in 2014 |  | 432 22300 8 | CT-1 CT, 600V, IW | 2
|  | 405 33100 8 | SSDR | 1
3 Phase, Current Transformer + SSDR | T, U, V | 420 71000 6 | Bracket Primary Metering | 1
(3 PH CT + SSDR) |  | 115 42000 9 | CNT Wire | 100 | feet
150 meters registering use in 2014 - 9T, 9U AND 9V in |  | 432 22300 8 | CT-1 CT, 600V, IW | 3
various rate classes |  | 405 33100 8 | SSDR | 1
3 Phase, Current & Voltage Transformer + SSDR | X, Y, Z | 420 71000 6 | Bracket Primary Metering | 1
(3 PH CVT + SSDR OTHER) |  | 115 42000 9 | CNT Wire | 100 | feet
78 meters registering use in 2014 - 9X AND 9Y in |  | 433 52300 5 | CT-3 15KV, 300 | 3
various rate classes |  | 434 62500 6 | PT 15KV, OUT | 2
|  | 405 33100 8 | SSDR | 1
3 Phase, Current & Voltage Transformer + SSDR for GSLD(T)-3 | X, Y, Z | 420 71000 6 | Bracket Primary Metering | 1
(3 PH CVT + SSDR GSLD(T)-3) |  | 115 42000 9 | CNT Wire | 100 | feet
78 meters registering use in 2014 - 9X AND 9Y in GSLD(T)-3 |  | 433 52300 5 | CT-3 15KV, 300 | 3
|  | 434 62500 6 | PT 15KV, OUT | 2
|  | 523 15100 8 | TLC-3 Compensator TX Loss | 1
|  | 405 33100 8 | SSDR | 1
3 Phase, Current & Voltage Transformer + SSDR for Wholesale | X, Y, Z | 420 71000 6 | Bracket Primary Metering | 1
(3 PH CVT + SSDR WHOLESALE) |  | 115 42000 9 | CNT Wire | 100 | feet
10 meters registering use in 2014 - 9Y for FKEC and LCEC |  | 433 52300 5 | CT-3 15KV, 300 | 3
|  | 434 62500 6 | PT 15KV, OUT | 2
|  | 430 87015 4 | CT/VT Unit TX, INSTR, CT, 3000 | 3
|  | 405 33100 8 | SSDR | 1
3 Phase, Current & Voltage Transformer | X, Y, Z | 420 71000 6 | Bracket Primary Metering | 1
(3 PH CVT OTHER) |  | 115 42000 9 | CNT Wire | 100 | feet
|  | 433 52300 5 | CT-3 15KV, 300 | 3
|  | 434 62500 6 | PT 15KV, OUT | 2
3 Phase, Current & Voltage Transformer for GSLD(T)-3 | X, Y, Z | 420 71000 6 | Bracket Primary Metering | 1
(3 PH CVT GSLD(T)-3) |  | 115 42000 9 | CNT Wire | 100 | feet
1 meter registering use in 2014 - SY in GSLD(T)-3 |  | 433 52300 5 | CT-3 15KV, 300 | 3
|  | 434 62500 6 | PT 15KV, OUT | 2
|  | 523 15100 8 | TLC-3 Compensator TX Loss | 1
1 Phase, Self Contained | A, B, C, E, G, I | n/a | n/a
(1 PH SC)
3 Phase, Self Contained | J, L, N | n/a | n/a
(3 PH SC)
1 Phase, IT Rated | Q, R, S, T, U, V
(1 PH IT Rated)
3 Phase, IT Rated | W, X, Y, Z
(3 PH IT Rated)