## E-17
Schedule E-17 | [5 empty] | LOAD RESEARCH DATA |  |  |  |  | Page___of___
FLORIDA PUBLIC SERVICE COMMISSION |  |  |  | EXPLANATION: | For each rate class that is not 100% metered by time recording meters, provide |  |  |  |  | Type of Data Shown:
[5 empty] | the estimated historic value and 90% confidence interval by month from the latest load |  |  |  |  | ____ Projected Test Year Ended ___/___/___
COMPANY: FLORIDA POWER & LIGHT COMPANY |  |  |  |  | research for (1) contribution to monthly system peaks (coincident), (2) monthly |  |  |  |  | ____ Prior Year Ended ___/___/___
| AND SUBSIDIARIES |  |  |  | non coincident peak (class peaks) and (3) monthly customer maximum demand |  |  |  |  | X Historical Test Year Ended 12/31/14
[5 empty] | (billing demand for demand classes). For classes that are 100% metered with time recording |  |  |  |  | Witness: Renae B. Deaton
DOCKET NO: 160021-EI |  |  |  |  | meters, provide actual monthly values for the aforementioned demands and identify such
as actual values. Provide the annual kWh as well as the 12 CP Load Factor, Class
NCP Load Factor and the Customer Load Factor for each class.
| (1) |  | (2) | (3) |  |  | (4) |  |  | (5)
Actual
|  |  |  | Actual |  |  | Actual |  |  | Customer
Line | Rate |  | Month and | Coincident |  |  | Class |  |  | Maximum
No. | Class |  | Year | Peak (CP) |  |  | Peak (GNCP) |  |  | Demand (NCP)
|  |  |  | kW |  |  | kW |  |  | kW
1
2 | CILC-1D |  | 2014-01-01 | 323588 |  |  | 379547 |  |  | 458243
3 |  |  | 2014-02-01 | 364544 |  |  | 382269 |  |  | 459732
4 |  |  | 2014-03-01 | 290522 |  |  | 344528 |  |  | 413518
5 |  |  | 2014-04-01 | 350991 |  |  | 375042 |  |  | 443271
6 |  |  | 2014-05-01 | 324593 |  |  | 362582 |  |  | 431321
7 |  |  | 2014-06-01 | 362640 |  |  | 372897 |  |  | 450407
8 |  |  | 2014-07-01 | 350324 |  |  | 368770 |  |  | 441994
9 |  |  | 2014-08-01 | 351877 |  |  | 376342 |  |  | 448459
10 |  |  | 2014-09-01 | 369087 |  |  | 387428 |  |  | 463776
11 |  |  | 2014-10-01 | 341846 |  |  | 363279 |  |  | 435039
12 |  |  | 2014-11-01 | 375563 |  |  | 379131 |  |  | 452544
13 |  |  | 2014-12-01 | 314053 |  |  | 345387 |  |  | 420066
14
15
16
17 | Annual Coincident Peak (CP): |  |  | 375563 | 2014-11-01 |  |  | Annual kWh: |  | 2754149770
18
19 | 12 Month Coincident Peak Average (12 CP): |  |  | 343302.3333 |  |  |  | 12 CP Load Factor: |  | 91.58%
20
21 | Class Peak (GNCP): |  |  | 387428 | 2014-09-01 |  |  | GNCP Load Factor: |  | 81.15%
22
23 | Customers Maximum Demand (NCP): |  |  | 463776 | 2014-09-01 |  |  | NCP Load Factor: |  | 67.79%
24
25
26 | Notes: MFR is based on historical data from FPL's 2014 Load Research Study.
27
28
29
30
31
32
33
34
35
Supporting Schedules: |  | E-11 | [6 empty] | Recap Schedules:
| (1) |  | (2) | (3) |  |  | (4) |  |  | (5)
Actual
|  |  |  | Actual |  |  | Actual |  |  | Customer
Line | Rate |  | Month and | Coincident |  |  | Class |  |  | Maximum
No. | Class |  | Year | Peak (CP) |  |  | Peak (GNCP) |  |  | Demand (NCP)
|  |  |  | kW |  |  | kW |  |  | kW
1
2 | CILC-1G |  | 2014-01-01 | 23400 |  |  | 25511 |  |  | 32282
3 |  |  | 2014-02-01 | 25496 |  |  | 26507 |  |  | 32547
4 |  |  | 2014-03-01 | 20253 |  |  | 23547 |  |  | 28670
5 |  |  | 2014-04-01 | 24417 |  |  | 25426 |  |  | 30998
6 |  |  | 2014-05-01 | 16151 |  |  | 17549 |  |  | 22757
7 |  |  | 2014-06-01 | 17984 |  |  | 18673 |  |  | 24700
8 |  |  | 2014-07-01 | 16615 |  |  | 18246 |  |  | 23339
9 |  |  | 2014-08-01 | 16941 |  |  | 17883 |  |  | 23168
10 |  |  | 2014-09-01 | 17285 |  |  | 18434 |  |  | 23532
11 |  |  | 2014-10-01 | 15990 |  |  | 17067 |  |  | 21299
12 |  |  | 2014-11-01 | 16716 |  |  | 17204 |  |  | 21898
13 |  |  | 2014-12-01 | 13987 |  |  | 15812 |  |  | 20323
14
15
16
17 | Annual Coincident Peak (CP): |  |  | 25496 | 2014-02-01 |  |  | Annual kWh: |  | 146937202
18
19 | 12 Month Coincident Peak Average (12 CP): |  |  | 18769.5833 |  |  |  | 12 CP Load Factor: |  | 89.37%
20
21 | Class Peak (GNCP): |  |  | 26507 | 2014-02-01 |  |  | GNCP Load Factor: |  | 63.28%
22
23 | Customers Maximum Demand (NCP): |  |  | 32547 | 2014-02-01 |  |  | NCP Load Factor: |  | 51.54%
24
25
26 | Notes: MFR is based on historical data from FPL's 2014 Load Research Study.
27
28
29
30
31
32
33
34
35
Supporting Schedules: |  | E-11 | [6 empty] | Recap Schedules:
| (1) |  | (2) | (3) |  |  | (4) |  |  | (5)
Actual
|  |  |  | Actual |  |  | Actual |  |  | Customer
Line | Rate |  | Month and | Coincident |  |  | Class |  |  | Maximum
No. | Class |  | Year | Peak (CP) |  |  | Peak (GNCP) |  |  | Demand (NCP)
|  |  |  | kW |  |  | kW |  |  | kW
1
2 | CILC-1T |  | 2014-01-01 | 160829 |  |  | 170267 |  |  | 196499
3 |  |  | 2014-02-01 | 135945 |  |  | 171842 |  |  | 199166
4 |  |  | 2014-03-01 | 150750 |  |  | 178811 |  |  | 202415
5 |  |  | 2014-04-01 | 167741 |  |  | 187233 |  |  | 212940
6 |  |  | 2014-05-01 | 184273 |  |  | 191114 |  |  | 217041
7 |  |  | 2014-06-01 | 170480 |  |  | 185371 |  |  | 223592
8 |  |  | 2014-07-01 | 180279 |  |  | 189900 |  |  | 217914
9 |  |  | 2014-08-01 | 167317 |  |  | 185458 |  |  | 217506
10 |  |  | 2014-09-01 | 168288 |  |  | 190694 |  |  | 219527
11 |  |  | 2014-10-01 | 160680 |  |  | 193326 |  |  | 216229
12 |  |  | 2014-11-01 | 163485 |  |  | 178305 |  |  | 211240
13 |  |  | 2014-12-01 | 154874 |  |  | 184525 |  |  | 204465
14
15
16
17 | Annual Coincident Peak (CP): |  |  | 184273 | 2014-05-01 |  |  | Annual kWh: |  | 1366653995
18
19 | 12 Month Coincident Peak Average (12 CP): |  |  | 163745.0833 |  |  |  | 12 CP Load Factor: |  | 95.28%
20
21 | Class Peak (GNCP): |  |  | 193326 | 2014-10-01 |  |  | GNCP Load Factor: |  | 80.7%
22
23 | Customers Maximum Demand (NCP): |  |  | 223592 | 2014-06-01 |  |  | NCP Load Factor: |  | 69.77%
24
25
26 | Notes: MFR is based on historical data from FPL's 2014 Load Research Study.
27
28
29
30
31
32
33
34
35
Supporting Schedules: |  | E-11 | [6 empty] | Recap Schedules:
| (1) |  | (2) | (3) |  | (4) | (5) |  | (6) | (7) |  | (8)
Estimated
|  |  |  | Estimated |  | 90% | Estimated |  | 90% | Customer |  | 90%
Line | Rate |  | Month and | Coincident |  | Confidence | Class |  | Confidence | Maximum |  | Confidence
No. | Class |  | Year | Peak (CP) |  | Interval | Peak (GNCP) |  | Interval | Demand (NCP) |  | Interval
|  |  |  | kW |  | kW | kW |  | kW | kW |  | kW
1
2 | GS(T)-1 |  | 2014-01-01 | 640150 | 6.49% | 41545.735 | 1231551 | 5.88% | 72415.1988 | 2544592 | 4.25% | 108145.16
3 | (GS-1, GST-1) |  | 2014-02-01 | 1270152 | 5.14% | 65285.8128 | 1313378 | 5.33% | 70003.0474 | 2358162 | 3.97% | 93619.0314
4 |  |  | 2014-03-01 | 663577 | 6.23% | 41340.8471 | 1182539 | 5.57% | 65867.4223 | 2153780 | 4.37% | 94120.186
5 |  |  | 2014-04-01 | 1273390 | 5.58% | 71055.162 | 1384291 | 5.18% | 71706.2738 | 2253607 | 4.11% | 92623.2477
6 |  |  | 2014-05-01 | 1274265 | 4.52% | 57596.778 | 1434550 | 4.71% | 67567.305 | 2375819 | 3.74% | 88855.6306
7 |  |  | 2014-06-01 | 1595520 | 4.26% | 67969.152 | 1605649 | 4.33% | 69524.6017 | 2591468 | 3.44% | 89146.4992
8 |  |  | 2014-07-01 | 1462737 | 4.65% | 68017.2705 | 1543768 | 4.51% | 69623.9368 | 2452926 | 3.52% | 86342.9952
9 |  |  | 2014-08-01 | 1210875 | 4.99% | 60422.6625 | 1293480 | 5.02% | 64932.696 | 2081883 | 4.3% | 89520.969
10 |  |  | 2014-09-01 | 1286582 | 4.78% | 61498.6196 | 1398431 | 4.73% | 66145.7863 | 2202357 | 3.65% | 80386.0305
11 |  |  | 2014-10-01 | 1154527 | 5.62% | 64884.4174 | 1241796 | 5.64% | 70037.2944 | 1999212 | 4.79% | 95762.2548
12 |  |  | 2014-11-01 | 1201871 | 6.71% | 80645.5441 | 1211747 | 6.42% | 77794.1574 | 2120300 | 5.05% | 107075.15
13 |  |  | 2014-12-01 | 688842 | 7.91% | 54487.4022 | 954068 | 7.46% | 71173.4728 | 1905819 | 5.6% | 106725.864
14
15
16
17 | Annual Coincident Peak (CP): |  |  | 1595520 | 2014-06-01 |  |  | Annual kWh: |  | 5891689683
18
19 | 12 Month Coincident Peak Average (12 CP): |  |  | 1143540.6667 |  |  |  | 12 CP Load Factor: |  | 58.81%
20
21 | Class Peak (GNCP): |  |  | 1605649 | 2014-06-01 |  |  | GNCP Load Factor: |  | 41.89%
22
23 | Customers Maximum Demand (NCP): |  |  | 2591468 | 2014-06-01 |  |  | NCP Load Factor: |  | 25.95%
24
25
26 | Notes: MFR is based on historical data from FPL's 2014 Load Research Study.
27
28
29
30
31
32
33
34
35
Supporting Schedules: |  | E-11 | [6 empty] | Recap Schedules:
| (1) |  | (2) | (3) |  | (4) | (5) |  | (6) | (7) |  | (8)
Estimated
|  |  |  | Estimated |  | 90% | Estimated |  | 90% | Customer |  | 90%
Line | Rate |  | Month and | Coincident |  | Confidence | Class |  | Confidence | Maximum |  | Confidence
No. | Class |  | Year | Peak (CP) |  | Interval | Peak (GNCP) |  | Interval | Demand (NCP) |  | Interval
|  |  |  | kW |  | kW | kW |  | kW | kW |  | kW
1
2 | GSCU-1 |  | 2014-01-01 | 10834 | 1.08% | 117.0072 | 11473 | 3.95% | 453.1835 | 12264 | 3.82% | 468.4848
3 |  |  | 2014-02-01 | 11332 | 0.4% | 45.328 | 11409 | 1.68% | 191.6712 | 11976 | 1.87% | 223.9512
4 |  |  | 2014-03-01 | 9990 | 0.38% | 37.962 | 10046 | 0.8% | 80.368 | 10536 | 2.15% | 226.524
5 |  |  | 2014-04-01 | 10062 | 7.11% | 715.4082 | 10666 | 1.07% | 114.1262 | 11033 | 2.06% | 227.2798
6 |  |  | 2014-05-01 | 10660 | 0.29% | 30.914 | 10712 | 1.27% | 136.0424 | 10960 | 1.66% | 181.936
7 |  |  | 2014-06-01 | 10992 | 0.57% | 62.6544 | 11291 | 4.78% | 539.7098 | 12039 | 5.5% | 662.145
8 |  |  | 2014-07-01 | 10653 | 0.79% | 84.1587 | 10819 | 2.26% | 244.5094 | 11202 | 3.18% | 356.2236
9 |  |  | 2014-08-01 | 9201 | 0.33% | 30.3633 | 9338 | 3.95% | 368.851 | 10094 | 4.91% | 495.6154
10 |  |  | 2014-09-01 | 9381 | 0.27% | 25.3287 | 9488 | 3.49% | 331.1312 | 10387 | 5.01% | 520.3887
11 |  |  | 2014-10-01 | 8673 | 0.26% | 22.5498 | 8854 | 4.64% | 410.8256 | 9892 | 7.35% | 727.062
12 |  |  | 2014-11-01 | 8945 | 0.49% | 43.8305 | 8999 | 1.35% | 121.4865 | 9425 | 2.73% | 257.3025
13 |  |  | 2014-12-01 | 8689 | 0.42% | 36.4938 | 9115 | 9.8% | 893.27 | 9746 | 9.78% | 953.1588
14
15
16
17 | Annual Coincident Peak (CP): |  |  | 11332 | 2014-02-01 |  |  | Annual kWh: |  | 83883616
18
19 | 12 Month Coincident Peak Average (12 CP): |  |  | 9951 |  |  |  | 12 CP Load Factor: |  | 96.23%
20
21 | Class Peak (GNCP): |  |  | 11473 | 2014-01-01 |  |  | GNCP Load Factor: |  | 83.46%
22
23 | Customers Maximum Demand (NCP): |  |  | 12264 | 2014-01-01 |  |  | NCP Load Factor: |  | 78.08%
24
25
26 | Notes: MFR is based on historical data from FPL's 2014 Load Research Study.
27
28
29
30
31
32
33
34
35
Supporting Schedules: |  | E-11 | [6 empty] | Recap Schedules:
| (1) |  | (2) | (3) |  | (4) | (5) |  | (6) | (7) |  | (8)
Actual
|  |  |  | Actual |  | 90% | Actual |  | 90% | Customer |  | 90%
Line | Rate |  | Month and | Coincident |  | Confidence | Class |  | Confidence | Maximum |  | Confidence
No. | Class |  | Year | Peak (CP) |  | Interval | Peak (GNCP) |  | Interval | Demand (NCP) |  | Interval
|  |  |  | kW |  | kW | kW |  | kW | kW |  | kW
1
2 | GSD(T)-1 |  | 2014-01-01 | 2794071 | 4.23% | 118189.2033 | 3888033 | 3.18% | 123639.4494 | 6282120 | 4.07% | 255682.284
3 | (GSD-1, GSDT-1, |  | 2014-02-01 | 3877250 | 2.93% | 113603.425 | 3967306 | 2.9% | 115051.874 | 5938173 | 4.18% | 248215.6314
4 | HLFT-1, |  | 2014-03-01 | 2873867 | 4.02% | 115529.4534 | 3590660 | 3.46% | 124236.836 | 5366713 | 4.36% | 233988.6868
5 | SDTR-1A & SDTR-1B) |  | 2014-04-01 | 3602331 | 3.83% | 137969.2773 | 4103300 | 3.7% | 151822.1 | 5693067 | 4.15% | 236262.2805
6 |  |  | 2014-05-01 | 3815983 | 2.66% | 101505.1478 | 4223266 | 3.27% | 138100.7982 | 5852618 | 3.7% | 216546.866
7 |  |  | 2014-06-01 | 4336638 | 2.68% | 116221.8984 | 4442457 | 2.73% | 121279.0761 | 6123182 | 3.83% | 234517.8706
8 |  |  | 2014-07-01 | 4134365 | 2.6% | 107493.49 | 4347017 | 3.01% | 130845.2117 | 6001395 | 4.43% | 265861.7985
9 |  |  | 2014-08-01 | 4169735 | 2.39% | 99656.6665 | 4508362 | 2.93% | 132095.0066 | 6107329 | 4.12% | 251621.9548
10 |  |  | 2014-09-01 | 4428678 | 2.13% | 94330.8414 | 4772110 | 2.51% | 119779.961 | 6484783 | 3.64% | 236046.1012
11 |  |  | 2014-10-01 | 4188243 | 2.72% | 113920.2096 | 4327672 | 2.81% | 121607.5832 | 6038095 | 4.27% | 257826.6565
12 |  |  | 2014-11-01 | 4453263 | 3.19% | 142059.0897 | 4453263 | 3.19% | 142059.0897 | 6298926 | 4.07% | 256366.2882
13 |  |  | 2014-12-01 | 3240267 | 3.54% | 114705.4518 | 3712640 | 3.26% | 121032.064 | 5503340 | 4.18% | 230039.612
14
15
16
17 | Annual Coincident Peak (CP): |  |  | 4453263 | 2014-11-01 |  |  | Annual kWh: |  | 25137063891
18
19 | 12 Month Coincident Peak Average (12 CP): |  |  | 3826224.25 |  |  |  | 12 CP Load Factor: |  | 75%
20
21 | Class Peak (GNCP): |  |  | 4772110 | 2014-09-01 |  |  | GNCP Load Factor: |  | 60.13%
22
23 | Customers Maximum Demand (NCP): |  |  | 6484783 | 2014-09-01 |  |  | NCP Load Factor: |  | 44.25%
24
25
26 | Notes: MFR is based on historical data from FPL's 2014 Load Research Study.
27
28
29
30
31
32
33
34
35
Supporting Schedules: |  | E-11 | [6 empty] | Recap Schedules:
| (1) |  | (2) | (3) |  | (4) | (5) |  | (6) | (7) |  | (8)
Actual
|  |  |  | Actual |  | 90% | Actual |  | 90% | Customer |  | 90%
Line | Rate |  | Month and | Coincident |  | Confidence | Class |  | Confidence | Maximum |  | Confidence
No. | Class |  | Year | Peak (CP) |  | Interval | Peak (GNCP) |  | Interval | Demand (NCP) |  | Interval
|  |  |  | kW |  | kW | kW |  | kW | kW |  | kW
1
2 | GSLD(T)-1 |  | 2014-01-01 | 1177783 | 3.73% | 43931.3059 | 1587181 | 2.78% | 44123.6318 | 1901308 | 2.82% | 53616.8856
3 | (GSLD-1, GSLDT-1, |  | 2014-02-01 | 1541580 | 2.5% | 38539.5 | 1635866 | 2.63% | 43023.2758 | 1892253 | 2.71% | 51280.0563
4 | CS-1, CST-1, HLFT-2 |  | 2014-03-01 | 1086605 | 3.58% | 38900.459 | 1481351 | 2.91% | 43107.3141 | 1729101 | 2.98% | 51527.2098
5 | SDTR-2A & SDTR-2B) |  | 2014-04-01 | 1432104 | 3.19% | 45684.1176 | 1607753 | 3.09% | 49679.5677 | 1830157 | 3.02% | 55270.7414
6 |  |  | 2014-05-01 | 1478147 | 2.28% | 33701.7516 | 1696002 | 2.82% | 47827.2564 | 1965224 | 2.87% | 56401.9288
7 |  |  | 2014-06-01 | 1628458 | 2.38% | 38757.3004 | 1685675 | 2.52% | 42479.01 | 2049263 | 2.98% | 61068.0374
8 |  |  | 2014-07-01 | 1588464 | 2.68% | 42570.8352 | 1675900 | 2.9% | 48601.1 | 1987275 | 3.27% | 64983.8925
9 |  |  | 2014-08-01 | 1649246 | 2.49% | 41066.2254 | 1801163 | 3.24% | 58357.6812 | 2078038 | 3.05% | 63380.159
10 |  |  | 2014-09-01 | 1745649 | 2.29% | 39975.3621 | 1892928 | 2.55% | 48269.664 | 2198142 | 2.72% | 59789.4624
11 |  |  | 2014-10-01 | 1667874 | 2.61% | 43531.5114 | 1755255 | 2.77% | 48620.5635 | 2013645 | 2.67% | 53764.3215
12 |  |  | 2014-11-01 | 1781884 | 3.11% | 55416.5924 | 1810063 | 2.98% | 53939.8774 | 2074129 | 2.9% | 60149.741
13 |  |  | 2014-12-01 | 1285620 | 2.95% | 37925.79 | 1614253 | 3% | 48427.59 | 1879991 | 2.83% | 53203.7453
14
15
16
17 | Annual Coincident Peak (CP): |  |  | 1781884 | 2014-11-01 |  |  | Annual kWh: |  | 10371084083
18
19 | 12 Month Coincident Peak Average (12 CP): |  |  | 1505284.5 |  |  |  | 12 CP Load Factor: |  | 78.65%
20
21 | Class Peak (GNCP): |  |  | 1892928 | 2014-09-01 |  |  | GNCP Load Factor: |  | 62.54%
22
23 | Customers Maximum Demand (NCP): |  |  | 2198142 | 2014-09-01 |  |  | NCP Load Factor: |  | 53.86%
24
25
26 | Notes: MFR is based on historical data from FPL's 2014 Load Research Study.
27
28
29
30
31
32
33
34
35
Supporting Schedules: |  | E-11 | [6 empty] | Recap Schedules:
| (1) |  | (2) | (3) |  |  | (4) |  |  | (5)
Actual
|  |  |  | Actual |  |  | Actual |  |  | Customer
Line | Rate |  | Month and | Coincident |  |  | Class |  |  | Maximum
No. | Class |  | Year | Peak (CP) |  |  | Peak (GNCP) |  |  | Demand (NCP)
|  |  |  | kW |  |  | kW |  |  | kW
1
2 | GSLD(T)-2 |  | 2014-01-01 | 247004 |  |  | 354006 |  |  | 446941
3 | (GSLD-2, GSLDT-2 |  | 2014-02-01 | 326775 |  |  | 346208 |  |  | 426909
4 | CS-2, CST-2 |  | 2014-03-01 | 265142 |  |  | 316709 |  |  | 392437
5 | HLFT-3 |  | 2014-04-01 | 291917 |  |  | 337405 |  |  | 413252
6 | SDTR-3A, SDTR-3B) |  | 2014-05-01 | 293308 |  |  | 338744 |  |  | 423632
7 |  |  | 2014-06-01 | 325246 |  |  | 360551 |  |  | 452702
8 |  |  | 2014-07-01 | 307838 |  |  | 343410 |  |  | 432433
9 |  |  | 2014-08-01 | 325433 |  |  | 365959 |  |  | 461029
10 |  |  | 2014-09-01 | 341951 |  |  | 384908 |  |  | 480660
11 |  |  | 2014-10-01 | 323384 |  |  | 351669 |  |  | 436302
12 |  |  | 2014-11-01 | 365158 |  |  | 373929 |  |  | 452938
13 |  |  | 2014-12-01 | 289470 |  |  | 334840 |  |  | 413751
14
15
16
17 | Annual Coincident Peak (CP): |  |  | 365158 | 2014-11-01 |  |  | Annual kWh: |  | 2481632027
18
19 | 12 Month Coincident Peak Average (12 CP): |  |  | 308552.1667 |  |  |  | 12 CP Load Factor: |  | 91.81%
20
21 | Class Peak (GNCP): |  |  | 384908 | 2014-09-01 |  |  | GNCP Load Factor: |  | 73.6%
22
23 | Customers Maximum Demand (NCP): |  |  | 480660 | 2014-09-01 |  |  | NCP Load Factor: |  | 58.94%
24
25
26 | Notes: MFR is based on historical data from FPL's 2014 Load Research Study.
27
28
29
30
31
32
33
34
35
Supporting Schedules: |  | E-11 | [6 empty] | Recap Schedules:
| (1) |  | (2) | (3) |  |  | (4) |  |  | (5)
Actual
|  |  |  | Actual |  |  | Actual |  |  | Customer
Line | Rate |  | Month and | Coincident |  |  | Class |  |  | Maximum
No. | Class |  | Year | Peak (CP) |  |  | Peak (GNCP) |  |  | Demand (NCP)
|  |  |  | kW |  |  | kW |  |  | kW
1
2 | GSLD(T)-3 |  | 2014-01-01 | 19167 |  |  | 24808 |  |  | 31597
3 | (GSLD-3, GSLDT-3 |  | 2014-02-01 | 15436 |  |  | 26358 |  |  | 32420
4 | CS-3, CST-3) |  | 2014-03-01 | 23929 |  |  | 26008 |  |  | 31244
5 |  |  | 2014-04-01 | 28302 |  |  | 32321 |  |  | 37329
6 |  |  | 2014-05-01 | 22695 |  |  | 33464 |  |  | 37663
7 |  |  | 2014-06-01 | 20561 |  |  | 24514 |  |  | 29860
8 |  |  | 2014-07-01 | 20326 |  |  | 23763 |  |  | 30407
9 |  |  | 2014-08-01 | 26019 |  |  | 28206 |  |  | 30465
10 |  |  | 2014-09-01 | 19106 |  |  | 24664 |  |  | 30515
11 |  |  | 2014-10-01 | 23779 |  |  | 27435 |  |  | 29255
12 |  |  | 2014-11-01 | 18663 |  |  | 26489 |  |  | 34428
13 |  |  | 2014-12-01 | 14299 |  |  | 28713 |  |  | 35529
14
15
16
17 | Annual Coincident Peak (CP): |  |  | 28302 | 2014-04-01 |  |  | Annual kWh: |  | 161314413
18
19 | 12 Month Coincident Peak Average (12 CP): |  |  | 21023.5 |  |  |  | 12 CP Load Factor: |  | 87.59%
20
21 | Class Peak (GNCP): |  |  | 33464 | 2014-05-01 |  |  | GNCP Load Factor: |  | 55.03%
22
23 | Customers Maximum Demand (NCP): |  |  | 37663 | 2014-05-01 |  |  | NCP Load Factor: |  | 48.89%
24
25
26 | Notes: MFR is based on historical data from FPL's 2014 Load Research Study.
27
28
29
30
31
32
33
34
35
Supporting Schedules: |  | E-11 | [6 empty] | Recap Schedules:
| (1) |  | (2) | (3) |  |  | (4) |  |  | (5)
Actual
|  |  |  | Actual |  |  | Actual |  |  | Customer
Line | Rate |  | Month and | Coincident |  |  | Class |  |  | Maximum
No. | Class |  | Year | Peak (CP) |  |  | Peak (GNCP) |  |  | Demand (NCP)
|  |  |  | kW |  |  | kW |  |  | kW
1
2 | METRO |  | 2014-01-01 | 12924 |  |  | 15931 |  |  | 18217 | 5.44%
3 |  |  | 2014-02-01 | 12611 |  |  | 16334 |  |  | 19529 | 0%
4 |  |  | 2014-03-01 | 9034 |  |  | 16009 |  |  | 18333 | 0%
5 |  |  | 2014-04-01 | 13327 |  |  | 15901 |  |  | 19636 | 6.4%
6 |  |  | 2014-05-01 | 15147 |  |  | 16016 |  |  | 19302 | 7.32%
7 |  |  | 2014-06-01 | 13525 |  |  | 16493 |  |  | 19589 | 4.03%
8 |  |  | 2014-07-01 | 15710 |  |  | 16494 |  |  | 20575 | 0%
9 |  |  | 2014-08-01 | 15115 |  |  | 16573 |  |  | 20749 | 0%
10 |  |  | 2014-09-01 | 15833 |  |  | 16315 |  |  | 20366 | 0%
11 |  |  | 2014-10-01 | 14209 |  |  | 16308 |  |  | 19748 | 0%
12 |  |  | 2014-11-01 | 12357 |  |  | 16525 |  |  | 18832 | 0%
13 |  |  | 2014-12-01 | 11987 |  |  | 15723 |  |  | 17805 | 0%
14
15
16
17 | Annual Coincident Peak (CP): |  |  | 15833 | 2014-09-01 |  |  | Annual kWh: |  | 91405382
18
19 | 12 Month Coincident Peak Average (12 CP): |  |  | 13481.5833 |  |  |  | 12 CP Load Factor: |  | 77.4%
20
21 | Class Peak (GNCP): |  |  | 16573 | 2014-08-01 |  |  | GNCP Load Factor: |  | 62.96%
22
23 | Customers Maximum Demand (NCP): |  |  | 20749 | 2014-08-01 |  |  | NCP Load Factor: |  | 50.29%
24
25
26 | Notes: MFR is based on historical data from FPL's 2014 Load Research Study.
27
28
29
30
31
32
33
34
35
Supporting Schedules: |  | E-11 | [6 empty] | Recap Schedules:
| (1) |  | (2) | (3) |  |  | (4) |  |  | (5)
Actual
|  |  |  | Actual |  |  | Actual |  |  | Customer
Line | Rate |  | Month and | Coincident |  |  | Class |  |  | Maximum
No. | Class |  | Year | Peak (CP) |  |  | Peak (GNCP) |  |  | Demand (NCP)
|  |  |  | kW |  |  | kW |  |  | kW
1
2 | OL-1 |  | 2014-01-01 | 2375 |  |  | 20308 |  |  | 20308
3 |  |  | 2014-02-01 | 0 |  |  | 23536 |  |  | 23536
4 |  |  | 2014-03-01 | 0 |  |  | 22679 |  |  | 22679
5 |  |  | 2014-04-01 | 0 |  |  | 24797 |  |  | 24797
6 |  |  | 2014-05-01 | 0 |  |  | 25707 |  |  | 25707
7 |  |  | 2014-06-01 | 0 |  |  | 27201 |  |  | 27201
8 |  |  | 2014-07-01 | 0 |  |  | 26082 |  |  | 26082
9 |  |  | 2014-08-01 | 0 |  |  | 24714 |  |  | 24714
10 |  |  | 2014-09-01 | 0 |  |  | 23891 |  |  | 23891
11 |  |  | 2014-10-01 | 0 |  |  | 21754 |  |  | 21754
12 |  |  | 2014-11-01 | 0 |  |  | 21117 |  |  | 21117
13 |  |  | 2014-12-01 | 0 |  |  | 20192 |  |  | 20192
14
15
16
17 | Annual Coincident Peak (CP): |  |  | 2375 | 2014-01-01 |  |  | Annual kWh: |  | 100653586
18
19 | 12 Month Coincident Peak Average (12 CP): |  |  | 197.9167 |  |  |  | 12 CP Load Factor: |  | 5806%
20
21 | Class Peak (GNCP): |  |  | 27201 | 2014-06-01 |  |  | GNCP Load Factor: |  | 42.24%
22
23 | Customers Maximum Demand (NCP): |  |  | 27201 | 2014-06-01 |  |  | NCP Load Factor: |  | 42.24%
24
25
26 | Notes: MFR is based on historical data from FPL's 2014 Load Research Study.
27 | OL-1 is an unmetered rate class, its usage characteristics are modeled based on the estimated number of burn hours, or estimated hours of operation.
28
29
30
31
32
33
34
35
Supporting Schedules: |  | E-11 | [6 empty] | Recap Schedules:
| (1) |  | (2) | (3) |  | (4) | (5) |  | (6) | (7) |  | (8)
Estimated
|  |  |  | Estimated |  | 90% | Estimated |  | 90% | Customer |  | 90%
Line | Rate |  | Month and | Coincident |  | Confidence | Class |  | Confidence | Maximum |  | Confidence
No. | Class |  | Year | Peak (CP) |  | Interval | Peak (GNCP) |  | Interval | Demand (NCP) |  | Interval
|  |  |  | kW |  | kW | kW |  | kW | kW |  | kW
1
2 | OS-2 |  | 2014-01-01 | 575 | 27.53% | 158.2975 | 9128 | 14.13% | 1289.7864 | 12787 | 13.28% | 1289.7864
3 |  |  | 2014-02-01 | 622 | 19.54% | 121.5388 | 11286 | 10.24% | 1155.6864 | 14298 | 9.03% | 1155.6864
4 |  |  | 2014-03-01 | 998 | 31.55% | 314.869 | 12949 | 11.26% | 1458.0574 | 15555 | 10.75% | 1458.0574
5 |  |  | 2014-04-01 | 790 | 20.3% | 160.37 | 8683 | 11.83% | 1027.1989 | 13976 | 11.1% | 1027.1989
6 |  |  | 2014-05-01 | 773 | 17.5% | 135.275 | 8170 | 15.38% | 1256.546 | 13816 | 11.94% | 1256.546
7 |  |  | 2014-06-01 | 966 | 13.5% | 130.41 | 7644 | 14.91% | 1139.7204 | 12794 | 12.13% | 1139.7204
8 |  |  | 2014-07-01 | 801 | 16% | 128.16 | 5191 | 24.05% | 1248.4355 | 9867 | 19.63% | 1248.4355
9 |  |  | 2014-08-01 | 1181 | 39.98% | 472.1638 | 5634 | 23.11% | 1302.0174 | 10312 | 19.28% | 1302.0174
10 |  |  | 2014-09-01 | 1114 | 21.53% | 239.8442 | 8161 | 13.74% | 1121.3214 | 14478 | 12.44% | 1121.3214
11 |  |  | 2014-10-01 | 990 | 30.65% | 303.435 | 9538 | 13.09% | 1248.5242 | 13181 | 10.88% | 1248.5242
12 |  |  | 2014-11-01 | 617 | 15.11% | 93.2287 | 11457 | 9.64% | 1104.4548 | 15913 | 9.44% | 1104.4548
13 |  |  | 2014-12-01 | 460 | 16.14% | 74.244 | 9996 | 11.35% | 1134.546 | 14634 | 10.43% | 1134.546
14
15
16
17 | Annual Coincident Peak (CP): |  |  | 1181 | 2014-08-01 |  |  | Annual kWh: |  | 11284726
18
19 | 12 Month Coincident Peak Average (12 CP): |  |  | 823.9167 |  |  |  | 12 CP Load Factor: |  | 156.4%
20
21 | Class Peak (GNCP): |  |  | 12949 | 2014-03-01 |  |  | GNCP Load Factor: |  | 9.948%
22
23 | Customers Maximum Demand (NCP): |  |  | 15913 | 2014-11-01 |  |  | NCP Load Factor: |  | 8.095%
24
25
26 | Notes: MFR is based on historical data from FPL's 2014 Load Research Study.
27
28
29
30
31
32
33
34
35
Supporting Schedules: |  | E-11 | [6 empty] | Recap Schedules:
| (1) |  | (2) | (3) |  | (4) | (5) |  | (6) | (7) |  | (8)
Estimated
|  |  |  | Estimated |  | 90% | Estimated |  | 90% | Customer |  | 90%
Line | Rate |  | Month and | Coincident |  | Confidence | Class |  | Confidence | Maximum |  | Confidence
No. | Class |  | Year | Peak (CP) |  | Interval | Peak (GNCP) |  | Interval | Demand (NCP) |  | Interval
|  |  |  | kW |  | kW | kW |  | kW | kW |  | kW
1
2 | RS(T)-1 |  | 2014-01-01 | 11077038 | 7.11% | 787577.4018 | 11077038 | 7.11% | 787577.4018 | 31622291 | 3.05% | 787577.4018
3 | (RS-1, RTR-1) |  | 2014-02-01 | 8343846 | 4.91% | 409682.8386 | 9753860 | 4.65% | 453554.49 | 28595438 | 3.11% | 453554.49
4 |  |  | 2014-03-01 | 9137675 | 5.13% | 468762.7275 | 9243748 | 5.14% | 475128.6472 | 24475525 | 3.28% | 475128.6472
5 |  |  | 2014-04-01 | 9768230 | 5.27% | 514785.721 | 9768230 | 5.27% | 514785.721 | 23465021 | 3.6% | 514785.721
6 |  |  | 2014-05-01 | 10308619 | 4.18% | 430900.2742 | 10678156 | 4.6% | 491195.176 | 24187937 | 3.15% | 491195.176
7 |  |  | 2014-06-01 | 11349872 | 3.92% | 444914.9824 | 11881815 | 4.03% | 478837.1445 | 24936290 | 2.65% | 478837.1445
8 |  |  | 2014-07-01 | 11904960 | 3.97% | 472626.912 | 12367046 | 4.06% | 502102.0676 | 24681439 | 2.8% | 502102.0676
9 |  |  | 2014-08-01 | 11754348 | 3.5% | 411402.18 | 12241609 | 3.56% | 435801.2804 | 24975444 | 2.67% | 435801.2804
10 |  |  | 2014-09-01 | 12728890 | 3.44% | 437873.816 | 14177423 | 3.42% | 484867.8666 | 28467250 | 2.51% | 484867.8666
11 |  |  | 2014-10-01 | 10976136 | 3.84% | 421483.6224 | 11505260 | 3.68% | 423393.568 | 25549473 | 2.58% | 423393.568
12 |  |  | 2014-11-01 | 9078625 | 4.85% | 440313.3125 | 9678526 | 4.77% | 461665.6902 | 28590187 | 3.04% | 461665.6902
13 |  |  | 2014-12-01 | 8994864 | 5.75% | 517204.68 | 8995446 | 6.28% | 564914.0088 | 27467322 | 3.12% | 564914.0088
14
15
16
17 | Annual Coincident Peak (CP): |  |  | 12728890 | 2014-09-01 |  |  | Annual kWh: |  | 55169774401
18
19 | 12 Month Coincident Peak Average (12 CP): |  |  | 10451925.25 |  |  |  | 12 CP Load Factor: |  | 60.26%
20
21 | Class Peak (GNCP): |  |  | 14177423 | 2014-09-01 |  |  | GNCP Load Factor: |  | 44.42%
22
23 | Customers Maximum Demand (NCP): |  |  | 31622291 | 2014-01-01 |  |  | NCP Load Factor: |  | 19.92%
24
25
26 | Notes: MFR is based on historical data from FPL's 2014 Load Research Study.
27
28
29
30
31
32
33
34
35
Supporting Schedules: |  | E-11 | [6 empty] | Recap Schedules:
| (1) |  | (2) | (3) |  |  | (4) |  |  | (5)
Actual
|  |  |  | Actual |  |  | Actual |  |  | Customer
Line | Rate |  | Month and | Coincident |  |  | Class |  |  | Maximum
No. | Class |  | Year | Peak (CP) |  |  | Peak (GNCP) |  |  | Demand (NCP)
|  |  |  | kW |  |  | kW |  |  | kW
1
2 | SL-1 |  | 2014-01-01 | 11539 |  |  | 98671 |  |  | 98671
3 | (SL-1, PL-1) |  | 2014-02-01 | 0 |  |  | 111238 |  |  | 111238
4 |  |  | 2014-03-01 | 0 |  |  | 132005 |  |  | 132005
5 |  |  | 2014-04-01 | 0 |  |  | 126507 |  |  | 126507
6 |  |  | 2014-05-01 | 0 |  |  | 132850 |  |  | 132850
7 |  |  | 2014-06-01 | 0 |  |  | 129852 |  |  | 129852
8 |  |  | 2014-07-01 | 0 |  |  | 140741 |  |  | 140741
9 |  |  | 2014-08-01 | 0 |  |  | 125898 |  |  | 125898
10 |  |  | 2014-09-01 | 0 |  |  | 124291 |  |  | 124291
11 |  |  | 2014-10-01 | 0 |  |  | 98173 |  |  | 98173
12 |  |  | 2014-11-01 | 0 |  |  | 108524 |  |  | 108524
13 |  |  | 2014-12-01 | 0 |  |  | 118061 |  |  | 118061
14
15
16
17 | Annual Coincident Peak (CP): |  |  | 11539 | 2014-01-01 |  |  | Annual kWh: |  | 517147145
18
19 | 12 Month Coincident Peak Average (12 CP): |  |  | 961.5833 |  |  |  | 12 CP Load Factor: |  | 6139%
20
21 | Class Peak (GNCP): |  |  | 140741 | 2014-07-01 |  |  | GNCP Load Factor: |  | 41.95%
22
23 | Customers Maximum Demand (NCP): |  |  | 140741 | 2014-07-01 |  |  | NCP Load Factor: |  | 41.95%
24
25
26 | Notes: MFR is based on historical data from FPL's 2014 Load Research Study.
27 | SL-1 is an unmetered rate class, its usage characteristics are modeled based on the estimated number of burn hours, or estimated hours of operation.
28
29
30
31
32
33
34
35
Supporting Schedules: |  | E-11 | [6 empty] | Recap Schedules:
| (1) |  | (2) | (3) |  |  | (4) |  |  | (5)
Actual
|  |  |  | Actual |  |  | Actual |  |  | Customer
Line | Rate |  | Month and | Coincident |  |  | Class |  |  | Maximum
No. | Class |  | Year | Peak (CP) |  |  | Peak (GNCP) |  |  | Demand (NCP)
|  |  |  | kW |  |  | kW |  |  | kW
1
2 | SL-2 |  | 2014-01-01 | 3473 |  |  | 3473 |  |  | 3473
3 |  |  | 2014-02-01 | 3853 |  |  | 3853 |  |  | 3853
4 |  |  | 2014-03-01 | 3488 |  |  | 3488 |  |  | 3488
5 |  |  | 2014-04-01 | 3597 |  |  | 3597 |  |  | 3597
6 |  |  | 2014-05-01 | 3481 |  |  | 3481 |  |  | 3481
7 |  |  | 2014-06-01 | 3601 |  |  | 3601 |  |  | 3601
8 |  |  | 2014-07-01 | 3484 |  |  | 3484 |  |  | 3484
9 |  |  | 2014-08-01 | 3499 |  |  | 3499 |  |  | 3499
10 |  |  | 2014-09-01 | 3381 |  |  | 3381 |  |  | 3381
11 |  |  | 2014-10-01 | 3483 |  |  | 3483 |  |  | 3483
12 |  |  | 2014-11-01 | 3566 |  |  | 3566 |  |  | 3566
13 |  |  | 2014-12-01 | 3503 |  |  | 3503 |  |  | 3503
14
15
16
17 | Annual Coincident Peak (CP): |  |  | 3853 | 2014-02-01 |  |  | Annual kWh: |  | 30903259
18
19 | 12 Month Coincident Peak Average (12 CP): |  |  | 3534.0833 |  |  |  | 12 CP Load Factor: |  | 99.82%
20
21 | Class Peak (GNCP): |  |  | 3853 | 2014-02-01 |  |  | GNCP Load Factor: |  | 91.56%
22
23 | Customers Maximum Demand (NCP): |  |  | 3853 | 2014-02-01 |  |  | NCP Load Factor: |  | 91.56%
24
25
26 | Notes: MFR is based on historical data from FPL's 2014 Load Research Study.
27 | SL-2 is an unmetered rate class, its usage characteristics are modeled based on a constant usage load profile, 100% load factor.
28
29
30
31
32
33
34
35
Supporting Schedules: |  | E-11 | [6 empty] | Recap Schedules:
| (1) |  | (2) | (3) |  |  | (4) |  |  | (5)
Actual
|  |  |  | Actual |  |  | Actual |  |  | Customer
Line | Rate |  | Month and | Coincident |  |  | Class |  |  | Maximum
No. | Class |  | Year | Peak (CP) |  |  | Peak (GNCP) |  |  | Demand (NCP)
|  |  |  | kW |  |  | kW |  |  | kW
1
2 | SST-1(D) |  | 2014-01-01 | 1716 |  |  | 3083 |  |  | 3451
3 | (SST-1D, SST-2D |  | 2014-02-01 | 3494 |  |  | 4470 |  |  | 4709
4 | & SST-3D) |  | 2014-03-01 | 4628 |  |  | 5550 |  |  | 7495
5 |  |  | 2014-04-01 | 2847 |  |  | 4126 |  |  | 5032
6 |  |  | 2014-05-01 | 1674 |  |  | 5238 |  |  | 6049
7 |  |  | 2014-06-01 | 2158 |  |  | 3018 |  |  | 3858
8 |  |  | 2014-07-01 | 2207 |  |  | 3591 |  |  | 4558
9 |  |  | 2014-08-01 | 1374 |  |  | 4705 |  |  | 5892
10 |  |  | 2014-09-01 | 1472 |  |  | 3722 |  |  | 4355
11 |  |  | 2014-10-01 | 1157 |  |  | 2842 |  |  | 5026
12 |  |  | 2014-11-01 | 23 |  |  | 4342 |  |  | 4745
13 |  |  | 2014-12-01 | 639 |  |  | 1124 |  |  | 1317
14
15
16
17 | Annual Coincident Peak (CP): |  |  | 4628 | 2014-03-01 |  |  | Annual kWh: |  | 15794046
18
19 | 12 Month Coincident Peak Average (12 CP): |  |  | 1949.0833 |  |  |  | 12 CP Load Factor: |  | 92.5%
20
21 | Class Peak (GNCP): |  |  | 5550 | 2014-03-01 |  |  | GNCP Load Factor: |  | 32.49%
22
23 | Customers Maximum Demand (NCP): |  |  | 7495 | 2014-03-01 |  |  | NCP Load Factor: |  | 24.06%
24
25
26 | Notes: MFR is based on historical data from FPL's 2014 Load Research Study.
27
28
29
30
31
32
33
34
35
Supporting Schedules: |  | E-11 | [6 empty] | Recap Schedules:
| (1) |  | (2) | (3) |  |  | (4) |  |  | (5)
Actual
|  |  |  | Actual |  |  | Actual |  |  | Customer
Line | Rate |  | Month and | Coincident |  |  | Class |  |  | Maximum
No. | Class |  | Year | Peak (CP) |  |  | Peak (GNCP) |  |  | Demand (NCP)
|  |  |  | kW |  |  | kW |  |  | kW
1
2 | SST-1(T) |  | 2014-01-01 | 4428 |  |  | 23786 |  |  | 72610
3 |  |  | 2014-02-01 | 4455 |  |  | 28525 |  |  | 66743
4 |  |  | 2014-03-01 | 5431 |  |  | 26449 |  |  | 83941
5 |  |  | 2014-04-01 | 13901 |  |  | 21693 |  |  | 66018
6 |  |  | 2014-05-01 | 3369 |  |  | 33037 |  |  | 93509
7 |  |  | 2014-06-01 | 1884 |  |  | 34118 |  |  | 66562
8 |  |  | 2014-07-01 | 1350 |  |  | 15725 |  |  | 36647
9 |  |  | 2014-08-01 | 8026 |  |  | 20400 |  |  | 53502
10 |  |  | 2014-09-01 | 31709 |  |  | 39259 |  |  | 97677
11 |  |  | 2014-10-01 | 5136 |  |  | 24496 |  |  | 66460
12 |  |  | 2014-11-01 | 12666 |  |  | 36623 |  |  | 92768
13 |  |  | 2014-12-01 | 5108 |  |  | 29585 |  |  | 64722
14
15
16
17 | Annual Coincident Peak (CP): |  |  | 31709 | 2014-09-01 |  |  | Annual kWh: |  | 57680521
18
19 | 12 Month Coincident Peak Average (12 CP): |  |  | 8121.9167 |  |  |  | 12 CP Load Factor: |  | 81.07%
20
21 | Class Peak (GNCP): |  |  | 39259 | 2014-09-01 |  |  | GNCP Load Factor: |  | 16.77%
22
23 | Customers Maximum Demand (NCP): |  |  | 97677 | 2014-09-01 |  |  | NCP Load Factor: |  | 6.741%
24
25
26 | Notes: MFR is based on historical data from FPL's 2014 Load Research Study.
27
28
29
30
31
32
33
34
35
Supporting Schedules: |  | E-11 | [6 empty] | Recap Schedules: